PUBLIC UTILITIES COMMISSION OF THE STATE OF CALIFORNIA

ENERGY DIVISION	RESOLUTION E-5350	December 19, 2024

RESOLUTION

Resolution E-5350. Approval of the Database for Energy-Efficient Resources updates for Program Year 2026-2027 and revised version for Program Years 2025 and 2024.

PROPOSED OUTCOME:

DEER2026 Update (effective January 1, 2026)

Revise DEER2025 Update (effective January 1, 2025)

Revise DEER2024 Update (retroactive to January 1, 2024)

SAFETY CONSIDERATIONS:

There are no safety considerations associated with this resolution.

ESTIMATED COST:

- There are no costs associated with this resolution.

By Energy Division’s own motion in Compliance with D.15-10-028.

__________________________________________________________

# SUMMARY

This Resolution approves updates to the Database for Energy-Efficient Resources (DEER) for program year (PY) 2026 and a revised version of DEER for PY2025 and PY2024, in compliance with D.15-10-028, D.21-05-031, and Resolutions E-4818, E-4952, E-5009, E-5082, E-5152, and E-5221. This update also directs forward-looking research and addresses significant transitions for the DEER and measure package system maintenance and operation.

All updated DEER assumptions, methods, values and supporting documentation are available on the DEER Module on the California Energy Data and Reporting System (CEDARS).

# BACKGROUND

The Database for Energy Efficient Resources (DEER) contains information on energy-efficient technologies and measures. DEER provides estimates of the typical energy-savings potential for these technologies in residential and nonresidential applications. DEER is used by California Energy Efficiency (EE) Program Administrators (PAs), private sector implementers, and the EE industry across the country to develop and design energy efficiency programs.

The DEER database has a 30-year history, starting in the 1990s under the California Energy Commission (CEC) where responsibility for developing energy efficiency measure parameters was delegated to a broad stakeholder coalition. With the 2006-08 energy-efficiency (EE) portfolio cycle, the CPUC staff assumed responsibility for the DEER and began hosting it on the “DEEResources” suite of websites.

## Relevant Regulatory Background

The California Public Utilities Commission (Commission or CPUC) Decision D.15-10-028, Ordering Paragraph 17 states: “Commission staff shall propose changes to the Database of Energy Efficient Resources once annually via Resolution, with the associated comment/protest period provided by General Order 96-B. However, Commission staff may make changes at any time without a Resolution to fix errors or to change documentation.” D.15-10-028 retains the direction from D.12-05-015 that DEER values be updated for consistency with existing and updated state and federal codes and standards while incorporating these changes into the DEER update. D.21-05-031 retains previous direction regarding CPUC staff latitude in updating DEER. D.21-05-031 also adopts and Resolution E-5152 enacted a biennial update schedule for DEER, eliminates the DEER and non-DEER distinction for EE measures, and redefines the scope of the DEER resolution to:

a) lock down the version of ex ante (savings estimates before installation) EE values used for planning and claims; b) direct research to inform future DEER updates; and c) manage deemed ex ante processes.

Resolution E-5082 initiated the transition of existing DEER and measure package systems to a software platform jointly co-funded by the IOUs, called the Electronic Technical Resource Manual (eTRM), and conferred conditional designation “data source of record” to the eTRM. Resolution E-5082 also outlined a schedule and benchmarks for the phased transition from DEER to the eTRM as the new “data source of record” for the typical deemed energy savings values for energy efficiency measures.

In addition, Resolution E--4952 (DEER2020), adopted on October 11, 2018, clarified and specified issues in Resolution E-4818, adopted on March 2, 2017. Among other things, these resolutions ordered many significant changes, including guidance on the peak demand period, building prototypes, and measure analysis software control (MASControl3) updates.

## Timing and Applicability of DEER Updates

DEER updates flow into the EE portfolio development process by providing new deemed energy savings estimates and other EE measure parameter updates for program design. New energy savings estimates, and underlying assumptions, methods, and values, inform the direction of energy efficiency programs. These allow program administrators to shift program eligibility requirements and incentive support mechanisms to deliver the most reliable, cost-effective energy savings. DEER updates may also reflect new market conditions. The PAs are required to ensure new assumptions and values are incorporated into the next cycle of EE programs by considering a) when the next update is planned, b) the fundamental assumptions for the update, and c) whether shifts to their programs to capture cost-effective savings are needed. Updates to DEER methods apply to EE technical measure package development and custom project energy savings estimates as well as program delivery decisions.

The terminology “DEERxxxx” is used to designate the version of updated parameters and is independent of the conversion to using eTRM. The year shown reflects the program year that a given update takes effect. Beginning January 1, 2022, DEER no longer refers to the ExAnte and Preliminary Ex Ante Review (PEAR) databases, since these data now are accessed via the eTRM.

## Scoping Document and Updates for DEER2026 and Revised DEER2024

On August 1, 2024, the CPUC Energy Division released for public comment a Scoping Document outlining the proposed issues and updates to be addressed in this DEER resolution. The Scoping Document described the various issues that may be considered in this resolution and the rationale for why these issues need to be addressed. Twelve stakeholders, including all four investor-owned utilities (IOUs), submitted comments on the Scoping Document. Below are the issues raised most frequently in the comments:

Measure package update timeline

In support of load shape updates

Refrigerant leakage impacts

Running the Cost Effectiveness Tool (CET) from within eTRM

eTRM table structure changes

Mid-cycle adjustments to locked ex ante values

FuelID table replacing FuelSubID table

In consideration of the comments to the Scoping Document, the topic areas addressed in this DEER update are summarized in Table 1. The guidance for these updates is described in the Discussion section that follows. A more detailed technical description of the changes and additions is provided in Attachment A to this Resolution. Complete documentation and supporting material on the updated assumptions and methods and updated DEER elements such as database tables, calculators, and web pages are available at the DEER Module on CEDARS.

Table 1. DEER2026 Update

| Priority | Effort |  | DEER Version |  | Sector |  | Measure/Tech Group |  |  |  |  | Forecasted Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Residential | Non-Res | Lighting | HVAC* | DHW* | Envelope | Plug/Process | UES* | NTG* | EUL* | Measure Cost | Other |
|  |  |  |  | Update Topic Area |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Management of DEER Processes |  |  |  |  |  |  |  |  |  |  |  |  |
| !!!! | $$$ |  | 2024-2028 | A. Updates to eTRM and Measure Packages | X | X | X | X | X | X | X | X | X | X | X | X |
| !!!! | $$$ |  | 2024-2028 | B. DEER System and Measure Package Updates | X | X | X | X | X | X | X | X | X | X | X | X |
| !!!! | $$$ |  | 2024 | C. DEER 2028 Update and Measure Package Submission/Review Timeline | X | X | X | X | X | X | X |  |  |  |  |  |
| !!!! | $$$ |  | 2024 | D. Mid-Cycle Adjustments to the Locked Ex-Ante Values | X | X | X | X | X | X | X | X |  |  |  | X |
| !!! | $$ |  | 2024-2026 | E. Structural Changes to DEER Tables | X | X | X | X | X | X | X |  |  |  |  | X |
| !!! | $$ |  | 2023-2028 | F. Updates to DEER Support Table Values | X | X | X | X | X | X | X |  | X | X |  | X |
|  |  |  |  | Research Needs for PY2028-29 |  |  |  |  |  |  |  |  |  |  |  |  |
| !! | $$ | 2028 |  | G. Research to Improve HVAC Refrigerant Charge Values | X | X |  | X |  |  |  |  |  |  |  | X |
| !! | $$ | 2028 |  | H. VRF Heat Pump and AC Performance Curves |  | X |  | X |  |  |  | X |  |  |  |  |
| !! | $$ | 2028 |  | I. Improvements for Commercial Water Heater and Hot Water Measures |  | X |  |  | X |  |  | X |  |  |  |  |
|  |  |  |  | Measure Adoption |  |  |  |  |  |  |  |  |  |  |  |  |
| !!! | $ | 2026 |  | J. Guidance from 2021 Custom Industrial, Agricultural, and Commercial Impact Evaluation |  | X | X |  |  |  |  |  |  | X |  |  |
| !! | $ | 2024-2025 |  | K. Guidance from EUL Studies | X | X |  | X | X | X |  |  |  | X |  |  |
| !! | $ | 2026 |  | L. Guidance Based on Other Studies | X | X | X | X | X | X | X | X | X |  |  |  |
| !! | $ | 2026 |  | M. Guidance from Review of 2023 EM&V Reports | X | X | X | X | X | X | X | X | X |  |  |  |

*HVAC=Heating, Ventilation, Air Conditioning; DWH=Domestic Water Heating; NTG=Net-to-Gross; UES=Unit Energy Savings; EUL=Effective Useful Life

# DISCUSSION

Pursuant to D.15-10-028, the Energy Division published a DEER Update Scoping Document on the proposed list of updates for DEER2026 and revised DEER2025 and DEER2024 items on August 1, 2024. The list of topic areas that this Resolution will incorporate are summarized below and described in detail in Attachment A, DEER2026 Update Summary.

## Management of DEER Processes

### Updates to eTRM

Effective Program Year: 2024-2026. California’s statewide electronic Technical Reference Manual (eTRM) is the Official Source of California Energy Efficiency Measure Data, and the sole source for energy efficiency measure package development, submittal, review, and publishing. Measure developers shall follow the CPUC and eTRM rules and procedures  collected in the documents provided by the California Technical Forum (CalTF) as they move measures through the development phase prior to submittal.

#### CalTF and eTRM Funding

Effective Program Year: 2024. Per D.23-02-002, IOUs may fund the CalTF and eTRM from their program budgets and/or evaluation budgets. Consistent with E-5082 direction, the IOU funding shall not exceed EE portfolio budget caps as ordered in 
D. 18-05-041 to fund the eTRM development. IOUs shall identify the funding sources for eTRM and CalTF in their Mid Cycle Advice Letter (MCAL) filings.

#### eTRM Source Code Documentation

Effective Program Year: 2026. The eTRM has been providing monthly files to the CPUC of the source code, but the industry standard is for code to be documented and version-controlled using a Git platform (e.g., GitHub). This is expected to improve transparency and traceability and allow stakeholders to have a better understanding of the changes that occur. SDG&E is currently the Program Administrator (PA) lead that oversees and manages eTRM and the responsible party for initiating and managing this task. There may be portions of the code that will need to be password-protected and hidden from public view for security purposes. A risk assessment shall be performed that balances the competing needs for transparency and security.

#### Measure Lifecycle Management (MLM) in DEER

Effective Program Year: 2025. In Resolution E-5221, staff proposed to establish a DEER database table to track existing and planned updates to current and future measure packages. This Measure Lifecycle Management (MLM) table will help manage measure package updates in a more strategic manner, including the identification of new research to inform planned updates and manage measure package review timelines to avoid highly compressed review and comment periods. The MLM is currently in draft form and will be shared for CPUC review and approval before the next round of measure package updates for PY2028 that will be planned for in 2025. CPUC Staff and stakeholders will target MLM completion to review alongside the DEER2028 Measure Package Update Schedule to aid in the scoping of DEER2028 measure package updates.

#### Assess Enabling Filtering on CPUC Support Tables

Effective Program Year: 2026. For CPUC Support Tables, CalTF shall identify and assess options to mimic the “Add a filter” functionality that is currently provided for the “Advanced Full Screen View” of all Shared Values Tables. The most needed feature—involving the ability to show records based on their status—might be achieved by creating radio buttons (e.g., expired records, currently active, future, or a combination).

#### eTRM Table Structure Changes

The fields contained in the permutations table and the CPUC Support Tables within the eTRM shall be updated as needed to support evolving policies and measure development. Updates to fields may result from fields added to the DEER support tables in the DEER database or they may be required in the permutations (e.g. Restricted Permutation Flag). Measure developers may work with CalTF to identify those fields and communicate a process whereby the permutation tables will be changed to accommodate the new data. Where the new fields and associated data impact DEER, California Energy Data and Reporting System (CEDARS), or the Cost Effectiveness Tool (CET), CPUC staff will review and approve necessary changes to meet these needs.

Effective Program Year: 2024. The source status table in DEER is no longer maintained as the eTRM is the data source of record for active measure packages, using the Measure Detail ID. The eTRM may discontinue synchronizing with this table nightly and remove it from the CPUC Support Table page. The source status table will remain in DEER for a minimum of five years but will no longer be updated by Ex Ante Review.

Effective Program Year: 2026. Replace the FuelSubID field with the FuelID field to reflect the replacement of the FuelSub table with the Fuel table in DEER. More details are provided in Attachment A.

Effective Program Year: 2028. Refrigerant related fields will need to be added to the eTRM permutations to enable tracking the refrigerant effects of energy efficiency measures that contain refrigerants. The DEERMeasureID field in the permutations may go unused as the DEER Measure table is longer maintained by Ex Ante Review.

### DEER System and Measure Package Updates

Effective Program Year: 2024-2028. This section describes updates to the DEER system encompassing any changes to policies that affect the eTRM and measure packages.

#### Refrigerant Leakage Impacts

Effective Program Year: 2024-2026. For mid-cycle new offerings added to existing measure packages or mid-cycle updates to existing measure packages (e.g. code or standard change), measure package developers shall use the CPUC’s Refrigerant Avoided Cost Calculator (RACC) and Fuel Substitution Calculator (RACC-FSC_v3.0 and RACC-FSC_v3.1) that was released on April 22, 2024 and November 1, 2024, respectively. Either version of the workbook shall also be used for 2026 measure package updates. Future updates to the RACC-FSC_v3.1 will occur in the DEER Update Resolution.

#### Refrigerant Benefits/Costs for EULs Exceeding 20 Years

Effective Program Year: 2024-2026. The avoided refrigerant leakage emissions for accelerated replacement (AR) measure application types sometimes consider an end-of-life (EOL) refrigerant leakage event for the counterfactual standard practice equipment that occurs beyond the life of the measure, requiring avoided costs 40 years from the present date. The RefrigerantACC (RACC) table in the DEER database will be updated with new values each time a set of new set of avoided cost calculators (ACCs) are adopted and data will be extrapolated as necessary to yield 40 years of forecasts.

#### Water-Energy Nexus (WEN) Impacts

Effective Program Year: 2024. The embedded-water-energy savings are stored independently of the direct energy savings within the eTRM to facilitate reporting and cost-effectiveness calculations.

#### Lighting Baseline Updates

Effective Program Year: 2024-2026. The standard practice baseline in measure packages will conform to the updated values in the Modified Lighting Calculator (MLC).  The new MLC update and corresponding standard practice efficacy will be effective upon approval. Any new mid-cycle measure package submissions should use the most up-to-date baseline values. Existing measure packages using the MLC methodology will be updated to reflect the latest MLC methodology in the DEER2026 version of the measure package.

#### Definition of Incentive and Rebate

Effective Program Year: 2026. Per D.08-07-006:

The SPM [standard practice manual] defines the incentive (INC) term very narrowly as the type of incentive that can be treated as a transfer payment in the SPM TRC [Total Resource Cost] formulation. The definition of the INC term, as set forth in the SPM, is restricted to "dollar benefits" such as rebates or rate incentives (monthly bill credits) paid by the sponsoring utility to the customers participating in the program. Moreover, the SPM is very clear that the term "participant" refers to the customer participating in the program, and that this transfer incentive (INC) is one that is paid directly to the participating customer.

In the CET Input Guide, the values that are input to the INC term are referred to as rebates, i.e., “UnitEndUserRebate.”

All other program expenses such as payments to manufacturers, distributors, contractors, builders, or energy service companies are referred to as costs or non-rebate incentives and should not be confused with the narrow definition of a rebate described above.

This is not a change to policy, but a re-statement and clarification of existing policy.

#### Clarification of Deemed Measure Cost and Incentive Reporting to CEDARS

Effective Program Year: 2026. Measure level incentives reported to the Cost Effectiveness Tool (CET) for inclusion in the cost effectiveness tests must be only the portion of the incentive that reduces the customer cost of the measure. Incentives that do not reduce the customer measure cost must be reported as program level costs. Any program costs that cannot be assigned at a measure level should be entered into one, or distributed among several, of the Program Administration cost fields. These program costs will not reduce the participant measure costs in the CET calculation.

#### Peak Load Definition

Effective Program Year: 2028. Resolution E-5152 DEER2023 Update made an error in the definition of a heat wave, originally defined in D.06-06-063. This change to DEER was ordered in Resolution E-4952 OP 1. The error was made in the Attachment on page A-12 and A-13 in Section A3-3 “Peak demand period definition update.” The text is corrected as follows with red text added:

The heat wave has the highest index value computed by adding and giving equal weight to each of these values:

- The peak temperature over the three-day period

- Average temperature over the three-day period

The average temperature from 4 p.m. noon to 9 p.m. 6 p.m. over the three-day period

The criteria above are used to determine which days to use for determining the peak demand. Using the corrected definition, the heat wave start day changes for CZ06 from 9/2 to 6/29, for CZ09 from 9/1 to 9/2, and for CZ11 from 6/29 to 8/12. The peak demand window is still from 4 p.m. to 9 p.m.

#### Vintage and Era Definitions

Effective Program Year: 2026. Starting in PY2026, the recent and old building eras are removed, and the existing era represents all existing buildings. Existing shall refer to any building built or permitted before 2026. New shall refer to any building permitted and built in 2026 and beyond. The guidance on vintage and era definitions through the Residential and Commercial EnergyPlus prototypes extends to include agricultural and industrial sectors.

#### EnergyPlus Prototypes

Effective Program Year: 2026. The DEER prototypes (residential and commercial) have transitioned from a DOE2 based system to EnergyPlus building simulation models. The new prototypes use Modelkit to facilitate the building of input files and running batch simulation models. The entire system including post processing scripts are available on GitHub for use in PY2026-27 measure updates. A new final version of California Energy Efficiency code, 2025 Title-24, was enacted in September 2024. This new code should be used as the baseline for all modeled measures effective PY2026. Because measure packages were submitted prior to September 2024, measures were based on draft versions of the 2025 Title-24. If the final 2025 Title-24 code results in changes from the draft version, CPUC will update the building prototype code files and measure package developers will update any affected measure packages.

#### Data Requirements for Distributor/Contractor-Delivered Measures

Effective Program Year: 2024. The data collection requirements outlined in Resolution E-5221 should continue to be listed in measure packages moving forward. SiteID is not a replacement for end-user or customer tracking data for evaluation purposes.

### DEER 2028 Update and Measure Package Submission/Review Timeline

Effective Program Year: 2024. This resolution sets forth the schedule for DEER Update and for submission of measure packages for CPUC staff approval for PY2028-29. The timeline and schedule are provided in Table 2.

Table 2. Tentative PY2028-2029 DEER Update Cycle Timeline

| Description | Responsible Party | Due Date | Approval Date | Effective Date |
| --- | --- | --- | --- | --- |
| Draft DEER2028 Update Resolution | CPUC | 2026-07-31 | - | - |
| DEER2028 Update Resolution | CPUC | - | 2026-10-30 | 2028-01-01* |
| Measure Package Update Schedule | PAs/ Stakeholders | 2025-08-01** | - | - |
| Measure Package Submittals | PAs | 2026-03-31** | 2026-07-31+ | 2028-01-01* |

* There may be exceptions when updates become effective mid-cycle.

** Draft for workflow scheduling; updates to the schedule may be made if needed. Future updates such as EnergyPlus prototypes, EM&V evaluations, and CPUC guidance will be incorporated into the review of the Measure Package Update Schedule to properly stagger measure package submissions and reviews.

+ Per Draft Resolution release, adoption in Final Resolution.

CPUC staff will work with PAs to set a prioritized schedule of updates for all PY2028-29 measure packages resulting from updates directed in Sections E and F. PAs may submit additional updates to measure packages beyond what is directed and may include additional measure packages for update during that time. Examples of such updates may include, but are not limited to costs, new study data, and Evaluation, Measurement, and Verification (EM&V) results. Only measure packages adopted in the DEER2028 will be included in the set of deemed measures for the PY2028-29 program cycle.

Staff will work with the PAs to develop a schedule of submissions so measure packages requiring more time to develop and review can be submitted well before the standard three-month timeframe for review and approval to avoid delays. It is the responsibility of the PAs to follow the agreed schedule for submissions or risk measure packages not being included in the DEER resolution and therefore not receiving approval.

### Mid-Cycle Adjustments to the Locked Ex-Ante Values

Effective Program Year: 2024. D. 21-05-031 (p. 39) locks ex-ante values used in Potential & Goals as well as claims for the two-year DEER cycle. It further notes that there may be mid-cycle adjustments that will account for reasonable corrections to the existing locked values and allow new measures to be added to the portfolio. Mid-cycle reasonable correction measure package updates will be reviewed on a case-by-case basis to determine measure package effectiveness as stipulated by D. 21-05-031. Mid-cycle corrections to existing locked values will be communicated to the lead IOU for stakeholder awareness. PAs may still submit new measures during the cycle, but ex ante values adopted in DEER2026 will remain locked. New measures or offerings are effective upon approval. Changes to existing measures are effective 90 days after approval.

#### Codes and Standards

Effective Program Year: 2024. As discussed in Resolution E-5221, anticipated changes to codes and standards that occur mid-cycle shall be planned for by Portfolio Administrators (PAs). ENERGY STAR® standards will be updated in 2025. In addition, EPA finalized the American Innovation and Manufacturing Act, AIM in October 2023 and as of January 2, 2025, all manufactured HVAC systems and products shall use refrigerants having a global warming potential (GWP) of no more than 700. This update to the code will result in reduced CO2e emissions stemming from refrigerant leakage and the benefits of those avoided emissions. This will also mean that more fuel substitution measure package permutations are expected to pass Part 2 (to pass the fuel substitution requirement of not increasing CO2e emissions) of the fuel substitution test.

#### Policy Updates

Effective Program Year 2024. In addition to codes and standards updates that trigger mid-cycle measure package updates, PAs shall plan for mid-cycle updates that are triggered by a Decision that either sunsets or modifies a parameter used by a measure package.

### Structural Changes to DEER Tables

Effective Program Year: 2024-2026. The changes listed in the subsections to follow will be made to the structures of some new and existing DEER database tables.

#### Retiring Table for Fuel Substitution Measures

Effective Program Year: 2024. CPUC staff is retiring the recently added “FuelSub” table that was added to DEER’s “costeff” schema. In its place, the “FuelID” table described in Section E.2 was added.

#### Adding FuelID Table

Effective Program Year: 2026. In response to D.23-04-035, the need for a more detailed set of descriptors became necessary as a means to distinguish between exempt and non-exempt measure package offerings. This table shall be added to the eTRM’s CPUC Support Table repository. This field shall be added to the eTRM’s permutations table for 2026 measure offerings and populated by CalTF on the back end.

#### Locking Measure and Energy Impact Tables

Effective Program Year: 2026. New records will no longer be added to either the “Measure” table or the “EnergyImpact” table. The eTRM will be the only repository for deemed measure package offering permutations and their respective unit energy savings values and their unit energy consumption values (both end-use, only, and whole building). CEDARS Reporting no longer test the Measure IDs in the DEER database and rely solely on the eTRM’s Measure Detail ID to validate claims.

#### Field Changes to the TechType Table

Effective Program Year: 2024. Several fields were added to the TechType table to support D.23-04-035 and enable enhanced analysis (IsExempt, HasElectric Alt, HasRefrig, HasRefrigAlt, UsesElec, and UsesGas). Two fields are also proposed for removal from the TechType table to increase measure package flexibility (NormUnit and defEULCode).

#### Building Weights Table Created

Effective Program Year: 2024. For transparency and ease of access, the “BldgWts” table was added to the “applic” schema of the DEER database that contains building weights and HVAC weights to be used for post-processing of energy impacts. These are also available for use by the eTRM to calculate the percent change in savings between a new measure package version and its prior version.

### Updates to DEER Support Table Values

Effective Program Year: 2023-2028. The following changes to the DEER support table values are planned.

#### Updates to Net-to-Gross Table

Effective Program Year: 2024. Four NTG IDs are expired and no longer available for use as of October 16, 2024 (All-Ltg-LED-WRR, NonRes-Out-Ltg-LEDFixt, Res-InCmn-Ltg-LEDFixt, and Res-OutCmn-Ltg-LEDFixt). These were established when, per Resolution E-4952, NTG ratios were going to have above-code and below-code components. Until new EM&V results become available, the default NTG IDs shall be used.  In addition, CPUC staff has the authority to change the Custom project NTG values based on current studies or evaluation results.

#### Updates to Delivery Types

Effective Program Year: 2026. As indicated in Resolution E-5221, the selection of delivery types are updated to:

Disaggregate the upstream channel (currently UpDeemed) into ones where the party receiving the incentives is either a manufacturer, a distributor, or a retailer (Up-Manuf, Mid-Distr, and Mid-Retail).

Aggregate the deemed and custom options for both downstream and direct install option (currently DnDeemed, DnCust, DnDeemDI, and DnCustDI) since the Measure Impact Type already indicates whether a measure was deemed or custom (Down and DI).

In 2026, the Upstream Flag used by CEDARS is no longer expected to be needed. Until that time, the Upstream Flag will be set to “true” for the upstream delivery type and “null” for either of the midstream delivery types.

#### Updates to Measure Impact Types

Effective Program Year: 2026. Since there is no longer a distinction between DEER and non-DEER measures and the FuelID will be added to eTRM permutations for program year 2025, the list of available Measure Impact Types are consolidated.

#### Updates to EULs

##### EUL for Residential Behavioral NMEC Programs

Effective Program Year: 2025. Since data were submitted by Pacific Gas & Electric that showed evidence of a population-level Normalized Metered Energy Consumption (NMEC) Residential Behavioral Program delivering measurable savings for two years, a request was received to extend the EUL from one to two years. A new EUL ID has been created (Res-Behavioral-NMEC) where each year's energy savings will be empirically derived in accordance with NMEC rules.

##### Residential Weatherization Measures

Effective Program Year: 2024. Documentation was submitted to Ex Ante Review to support the addition of three building weatherization EUL_IDs and EULs.

##### Other Mid-cycle EUL Additions

Effective Program Year: 2023-2024. Documentation was submitted to Ex Ante Review to support the addition of 11 EUL_IDs and EULs for water-energy nexus measures, commercial gas patio heaters, and residential fan controllers for HVAC systems.

#### Updates to Building Weights Using 2022 Commercial End Use Study (CEUS)

Effective Program Year: 2028. Using the data provided by the 2022 Commercial End Use Study (CEUS), updated building weights for the “Com” sector-level commercial building type will be added to the Building Weights table.

#### New GasImpactProfileIDs

Effective Program Year: 2026. Three new gas impact profile IDs were added for use with fuel substitution measures that substitute gas appliances with electric ones. These were needed so that new avoided cost combinations could be generated that included the methane leakage adders included in the 2024 avoided cost updates.

#### New TechTypes

Effective Program Year: 2026. Many of the food service technologies and some pool/spa technologies are either gas-burning or all electric. In these instances, existing TechTypes were split into two distinct TechTypes (e.g., the “Fryer” TechType is replaced with “Fryer-Elec” and “Fryer-Gas” TechTypes).

## Research Needs for PY2028-29

Effective Program Year: 2028. The focus of future research plans needs to center around forecasting important updates that will have significant impact on deemed measure savings. Future codes and standards and emerging technologies are two broad categories that influence how measure baseline definitions evolve resulting from new codes and standards. Additional research may be needed to bridge case studies to a reliable sample or pilot evaluation that can be used to create a new measure. Beyond baseline research and in support of new measures, further research could support new policies and use assumptions that could be updated with research. These items may not be measure specific and could affect default parameters such as NTG or EUL.

### Research to Improve HVAC Refrigerant Charge Values

Effective Program Year: 2028. Since the emissions due to refrigerant leakage have a direct effect on both the cost effectiveness of a given measure offering and—for fuel substitution measures—whether a given measure offering permutation does not increase net CO2e emissions per part two of the fuel substitution test, it is important to have a better understanding of the refrigerant charge (lb./NormUnit) for HVAC systems and products.

### Variable Refrigerant Flow (VRF) Heat Pump and AC Performance Curves

Effective Program Year: 2028. SDG&E has funded additional research in high efficiency equipment using inverter-driven compressors with variable refrigerant flow to further address data gaps in the study that SDG&E performed in 2023. This is phase 2 of research that began with the scope presented in Section M. We support this research and recommend relying on published independent lab-test data rather than manufacturer data to inform performance curves.

### Improvements for Commercial Water Heater and Hot Water Measures

Effective Program Year: 2028. Although a literature and internet research effort to identify recent hot water load profiles for commercial buildings found no better available data, the Ex Ante Review Team will revisit this effort now that the last of the data gathered during the 2019 Commercial End Use Study (CEUS) has been published. Additional activity-level load shapes (e.g., gyms, laundromats) will also be pursued for development. CPUC staff and staff consultants will also explore pathways to migrating commercial measures currently modeled using the DEER Water Heater Calculator to EnergyPlus.

## Measure Adoption

Effective Program Year: 2024-2025 and 2026-2027. Per D.21-05-031, this resolution adopts and locks approved ex ante values contained in the measure packages for PY2026-2027 and mid-cycle change from PY2024-25. The list of measure packages adopted and locked for PY2024-25 is listed in Appendix A1 and the list of measure packages adopted and locked for PY2026-27 is in Appendix A2. All measures that will be active in that program year will be adopted and locked, not just those with updates. New measures can be added mid-cycle and will be tracked with start and end dates of those measures in the eTRM.

The dispositions and guidance documents used to inform the measure updates for PY2026-27 are provided for reference in Appendices A3 and A4 respectively. New guidance that has not been previously issued is provided in the sections that follow.

### Guidance from 2021 Custom Industrial, Agricultural, and Commercial (CIAC) Impact Evaluation

Effective Program Year: 2026. The 2020-2021 CIAC study evaluated electric and gas energy reductions by the CIAC programs, which includes Savings by Design (SBD) and custom programs. While there are no changes to current DEER values resulting from this study, CPUC staff agrees with the relevant recommendations. First, lighting applications should use area-specific hours of use (HOU) categories when the DEER building-specific hours of use are found to be inappropriate for a given site. Further—per D.12.05.015—PAs may conduct a study to develop HOUs if DEER values are neither available nor applicable. Second, it is recommended that deemed portions of custom projects are filed as separate deemed claims and clearly identified in the custom application.

### Guidance from Effective Useful Life (EUL) Studies

Effective Program Year: 2024-2025. This section summarizes CPUC guidance for measure packages related to three recent effective useful life (EUL) studies.

#### 2023 Residential Insulation EUL Study Updates

Effective Program Year: 2024. The CPUC Group A 2023 Residential Insulation EUL Study FINAL Report published in December 2023 presents the report findings of a 30-year EUL for ceiling and wall insulation measures. The findings of this study updated the insulation measures for program years 2024-25 with the new EULs per O.P. 5 in D.23-04-035.

#### 2023 Residential HVAC and Water Heating EUL Study Updates

Effective Program Year: 2025. The 2023 Residential HVAC and Water Heating EUL Study set updated the EULs for fuel substitution HVAC and water heating measures. The study focused on both measure case and baseline equipment EULs and the results led to an increase to the residential EULs for heat pumps and air conditioners (except room/window units), gas furnaces, heat pump water heaters, gas storage water heaters, and gas tankless water heaters. We direct that the EULs established in this study shall be used for the DEER2026 cycle but also allow program administrators to utilize the updated values for their 2025 programs.  This allows the programs to utilize the most current EUL to best capture the true values of these technologies and not miss opportunities to increase installations during the 2025 program year.  Although residential central air conditioning was not part of this EUL study, the EUL (ID: HV-ResAC) was increased from 15 years to 23 years so that it was equal to the EUL of heat pumps.  This is consistent with the commercial EUL, in that the air conditioner EUL was consistent with heat pump EUL.

#### 2023 Commercial Measure EUL Study Updates

Effective Program Year: 2025. The 2023 Commercial Measure EUL Study set out to update the EULs for fuel substitution HVAC and water heating measures. The study focused on both measure case and baseline equipment EULs and the results led to an increase to the commercial EULS for heat pumps and air conditioners (except room/window units), heat pump water heaters and gas tankless water heaters. The EUL for gas storage water heaters was decreased from 15 to 13 years. The EULs established in this study should be formally adopted into the DEER2026 cycle, but for these EULs we allow the values to be used in 2025 for reasons stated earlier.

### Guidance Based on Other Studies

Effective Program Year: 2026. This section summarizes CPUC guidance for measure packages related to three other recent studies.

#### Hard-to-Reach (HTR) Net-to-Gross Ratios for Direct Install Delivery Type

Effective Program Year: 2026. Resolution E-5221 required research to determine whether there was evidence for having different default net-to-gross ratios (NTGRs) for HTR and non-HTR customers participating in direct install and downstream programs. The results of the “Group A Forward-Looking Research: Cross-Program Net-to-Gross Ratios for Hard-to-Reach Customers” found no statistically significant evidence to support having different NTGRs for participants in either residential or commercial direct install programs. We direct that the default NTGRs for direct install programs are modified to 0.90 for residential programs and 0.70 for commercial ones. These changes do not, however, modify the expectation that programs will continue to serve HTR customers and track which are categorized as HTR and by which criteria.

#### High-SEER Heat Pump and AC Performance Curves

Effective Program Year: 2026. The study “Adding SEER2 VCHP Offerings to DEER,” funded by SDG&E tried to obtain manufacturer performance data from a wide range of systems but only succeeded at getting sufficient information from two manufacturers, one product line from each. Although we do not recommend updating the performance curves at this time, we do agree with the study’s other recommendations and therefore order that variable compressor systems are modeled using the MULTISPEED function in EnergyPlus, setting the number of compressor speeds to four, and using no cycling losses for speeds two through four. The study also recommends, and we order, that measure packages include program requirements intended to ensure that the new offerings function correctly.

IOUs shall require the use of controls and thermostats recommended by the original equipment manufacturer.

IOUs shall require that outdoor units must be capable of “variable capacity” performance (reference the definition we provided in the “Introduction to VCHP Technology” section of this report, based on AHRI 210/240 definitions).

- If high efficiency air handling unit offerings are pursued, consider performance requirements such as an electronically commutated motor (ECM) or a minimum of three fan speed settings.

#### Boiler Compliance with Condensation of Exhaust Gases and energy efficiency

Effective Program Year: 2026. CPUC staff has approved measures for condensing boilers, but it is necessary to verify that they operate in a mode where the return water temperatures are low enough to allow for condensing of water vapor in the exhaust gases. Based on the study’s key findings we order that measure package developers revise impacts estimates for condensing boilers so that in retrofit applications the boilers are expected to operate in condensing mode less than 50% of the time and the expectation for condensing operation in new construction applications should be greater than 90%. Furthermore, we order programs claiming these measures ensure the following conditions are met:

- The hot water return temperature must be below 130 °F and the supply hot-water temperatures should not exceed 140 °F.

- For retrofit projects (replacing boilers only), ensure the existing end use equipment (e.g., heating coils, radiators, etc.) and recommissioning is designed for these lower supply temperatures.

### Guidance from Review of PY2021 and PY2022 EM&V Reports for Deemed Measure Claims

Effective Program Year: 2026. EM&V market sector evaluation results and/or special studies will continue to be some of the primary sources for DEER measure and measure package updates. Evaluation results with sufficient rigor and precision will be used to update DEER and measure package assumptions. Parameters in need of data to reduce uncertainty or increase accuracy will also be identified and fed back into the next EM&V cycle. This review is focused on evaluations of PY2021 and PY2022 claims. These final evaluation study results informed updates to deemed measures that are hereby adopted as follows:

- Increase residential faucet aerator NTG: We direct that the NTG ratio for the residential faucet aerator (all residential building types except multi-family) is increased from 0.59 to 0.85 based on the Residential Direct Install Program EM&V report for PY2021.

- Increase residential low-flow showerhead NTG: We direct that the NTG ratio for the residential low-flow showerhead is increased from 0.70 to 0.85 based on the Residential Direct Install Program EM&V report for PY2021.

- Increase nonresidential/multifamily hot-water pipe insulation NTG: We direct that the NTG ratio for the nonresidential and multifamily hot water pipe insulation (direct install and multi-family only) is increased from 0.55 to 0.65 based on the Local Third-party Program EM&V report for PY2021.

- Decrease residential smart fan controller NTG: We direct that the NTG ratio for the residential smart fan controller for air conditioners is decreased from 0.88 to 0.80 based on the Residential Direct Install Program EM&V report for PY2021.

- Decrease residential smart thermostat NTG: We direct that the NTG ratio for the residential smart thermostat (direct install) is decreased from 0.95 to 0.85 based on the Residential Direct Install Program EM&V report for PY2021.

- Establish commercial/multifamily gas dryer modulating valve NTG: We direct that a new NTG ID is generated for the commercial and multifamily gas dryer modulating valve (downstream and excluding dwellings) with a ratio of 0.85 based on the Local Third-party Program EM&V report for PY2021.

- Establish residential water-heater pipe wrap NTG: We direct that a new NTG ID is generated for residential water heater pipe wrap (direct install only) with a ratio of 0.90 based on the Local Third-party Program EM&V report for PY2021.

- Investigate residential smart thermostat UES: The low gross realization rates for the residential smart thermostat measures found in the Residential Direct Install Program EM&V report for PY2021 indicate further reductions of the electric and gas unit energy savings values are needed. We direct the measure package developer to investigate the means by which the smart thermostat realize savings and adjust the UES methodology and estimates.

- Update methodology for residential smart fan controller UES: Findings from the Residential Direct Install Program EM&V report for PY2021 on the residential smart fan controller measures indicate a need for a revised savings methodology estimate. The low realization rate for this measure in multiple evaluation cycles and the high uncertainty in the deemed savings methodology indicate the need for an updated laboratory or field study of fan controllers. We direct the measure package developer to generate an updated methodology as it is applied to contemporary HVAC systems for relating the part-load ratio to savings impacts for smart fan controllers which use the same methodology as this measure (that will be retired.)

- Update residential brushless fan motor UES: Findings from the Residential Direct Install Program EM&V report for PY2021 on the residential brushless fan motor replacement measures recommend revising two key inputs since they are affected by system capacity: existing fan power draw and HVAC system run-hours. We direct the measure package developer to update the measure’s assumed existing power draw based on newer fan motor power draw data and to correct the modeled equipment sizing with AC capacity using data collected through the Quality Residential HVAC Services Program.

- Update residential faucet aerator UES: Findings from the Residential Direct Install Program EM&V report for PY2021 regarding the residential faucet aerator measures indicate a need to update assumptions used by the Unit Energy Savings (UES) calculation methodology. The evaluation found very low gross realization rates for these measures and recommended reducing uncertainty in assumptions of hot water consumption and changes to fixture flow rates. We direct the measure package developer to update the UES savings methodology with updated hot water usage rates, electric water heater saturation, and changes to fixture flow rate values based on new research or the best available data.

# COMMENTS

Public Utilities Code section 311(g)(1) provides that this resolution must be served on all parties and subject to at least 30 days public review. Please note that comments are due 20 days from the mailing date of this resolution. Section 311(g)(2) provides that this 30-day review period and 20-day comment period may be reduced or waived upon the stipulation of all parties in the proceeding. Interested stakeholders do not need to have party status in order to submit comments on the resolution.

The 30-day review and 20-day comment period for the draft of this resolution was neither waived nor reduced. Accordingly, this draft resolution was mailed for comments on November 15, 2024.

On December 4, 2024, comments on the draft resolution were submitted by Renew Home, Local Government Sustainable Energy Coalition (LGSEC), Willdan, Southern California Regional Energy Network (SoCalREN), Pacific Gas and Electric Company, (PG&E), San Diego Gas & Electric Company (SDG&E), Southern California Edison Company (SCE), and Southern California Gas Company (SCG). A summary of the comments requesting changes and updates to this Resolution and the CPUC staff response to those comments is provided below. Comments and responses are presented using the same headings in the preceding Discussion section. Comments involving typos have been omitted and all typos have been corrected in this document. Some comments were deemed out of scope and not addressed.

###### Updates to eTRM

CalTF and eTRM Funding

Comment summary: SCG requested updating the section heading to include CalTF in the heading since the text references both eTRM and CalTF.

CPUC staff response: We have updated the section heading to include CalTF.

          - Measure Lifecycle Management (MLM) in DEER

Comment summary: SCG requested clarification on operationalizing the MLM, specifically focused on the required synchronization between the DEER database and eTRM website to aid in the automated functionality.

CPUC staff response: The details of operationalizing the MLM between eTRM and DEER will be discussed in future meetings. At the time of Resolution E-5350, keeping details and scope open-ended allows for flexibility in operationalizing the best procedure for the ex-ante team, IOUs, and measure developers.

Assess Enabling Filtering on CPUC Support Tables

Comment summary: SCG both questioned the premise of and requested clarification regarding assessing scope and budget needed to accomplish the benefit of enabling filtering to CPUC Support Tables in eTRM.

CPUC staff response: CPUC staff have considered SCG’s request and maintain that an assessment should be conducted in 2025 that will improve the useability of the CPUC Support Tables. It is expected that this will be a collaborative process between CPUC staff, the IOUs, and CalTF.

###### DEER System and Measure Package Updates

Refrigerant Leakage Impacts

Comment summary: SCE requested clarification on how future approvals will be provided for claiming avoided emissions when refrigerant in existing equipment is recovered and documentation is provided.

CPUC staff response: Functionality to claim recovered avoided emissions will require CPUC Staff review and approval. This resolution cannot approve giving credit for refrigerant recovery at existing equipment and cannot anticipate the timeline nor the mechanism for said approval.

          - Lighting Baseline Updates

Comment summary: SCE has concerns about the MLC update process proposed in this Resolution and the timelines between deemed and custom applications of future MLC updates. Additionally, SCE would like confirmation on their understanding of the biennial update schedule relative to the deemed lighting measure packages and their respective baselines.

CPUC staff response: We confirm here the removal of language referring to an updated MLC every two years to align with the Resolution. Any new lighting measure package should use the most up-to-date MLC and standard practice baselines. Deemed lighting measure packages should follow the biennial update resolution schedule and update measure packages every two years using the most up-to-date MLC and standard practice baselines at the time of measure package development.

Definition of Incentive and Rebate

Comment summary: PG&E requested that the “final resolution explicitly clarify that any program incentive amounts that reduce the customer’s cost of an energy efficiency measure -- … that ‘buy down’ the cost of the EE measure for the customer -- should result in the same Total Resource Cost calculation outcome.” PG&E also “suggests that it is reasonable to conclude that the intent of the Standard Practice Manual (SPM) incentive definition is for ‘incentives’ to include only those expenditures that directly offset the cost of an EE intervention to a participant, in contrast with expenditures that provide information or auditing services and not measure cost offset benefits, and thus incentives need not be limited to rebates paid directly to a participant.” Finally, PG&E requested that 2026 be the effective program year to allow changes to be made to the CET. SCG pointed out a phrasing that could cause confusion.

CPUC staff response: The confusing phrasing has been modified in the resolution. CPUC staff agrees that incentive or rebate dollars that "buy down" the cost of the measure result in same TRC if the incentive or rebate is less than the measure cost. The examples in Attachment 9 of D.07-09-043 only deal with cases where the rebate and incentive are less than the measure cost. However, the TRC is not the same when the "buy down" is larger than the measure cost. D.07-09-043 addresses this directly on pg. 157 in footnote 239 where they state “As discussed in D.06-06-063, the TRC will fail to capture all costs only in the limited instance when the dollar rebate incentive to a participating customer exceeds the participants’ cost of purchasing and installing the measure. This “excess” rebate cost will not currently be captured by the TRC cost formulations, due to the treatment of these costs as a transfer payment in the SPM formulation. For this reason, we use the “dual test” of cost-effectiveness (PAC and TRC tests) in evaluating the cost effectiveness of energy efficiency and utilize a weighted average of the PAC and TRC tests in calculating the PEB [Performance Earnings Basis].”

CPUC staff disagrees with PGE's interpretation of the SPM and CPUC Decisions and maintains that Rebate and Incentive have specifically different definitions from each other to distinguish a cash transfer from a non-cash transfer. Only a cash transfer is considered a transfer payment. On page 68, D.06-06-063 explains the conceptual basis for ignoring transfer payments in the development of the TRC. When some parties (participants) receive cash transfers from other parties (ratepayers), and both parties are encompassed in the scope of the test, those cash transfers are excluded from the test. Decision language cannot be altered in a resolution.

Clarification of Deemed Measure Cost and Incentive Reporting to CEDARS

Comment summary: Four stakeholders commented on this section. SCG pointed out that this resolution conflicts with the definition of the “UnitIncentiveToOthers” field provided in the CET Input Guide. SoCalREN requested additional examples of incentives that reduce the customer cost versus those that do not reduce the customer cost.

SCE requested “clearer definitions and instructions regarding labor and material cost calculations, customer copays, and related measure inputs to avoid ambiguities.” They also requested clarity around the decision language “paid by the sponsoring utility” and wanted to confirm that the actual payment to the customer could be made by a third-party implementer (3P) or regional energy network (REN). SCE incorrectly interpreted the resolution paragraphs describing how the direct install incentive fields would be determined when there is a customer co-pay. In addition, SCE believes that deemed measures delivered through all pathways should use deemed measure cost values in the cost effectiveness calculations.

Lastly, PG&E requested that the resolution “explicitly delegate responsibility to the Cost Effectiveness Tool (CET) subgroup of the Reporting Project Coordination Group (PCG) to determine any appropriate CET modifications that may be needed to ensure the CET calculations are consistent with the Resolution and other CPUC cost-effectiveness policy.”

CPUC staff response: CPUC staff states the definition of the “UnitIncentiveToOthers” field provided in the CET Input Guide must be modified to be consistent with this resolution. The attachment to this resolution has been modified to provide additional examples of incentives that do not reduce the customer cost and to provide more clarity around customer co-pays and related measure inputs. The new language directs that deemed measures, regardless of delivery type, use measure costs from deemed measure packages. CPUC staff agrees that a rebate can be paid by either the IOU, a REN, or a 3P using funds that come from the IOUs Electric Public Purpose Program charges. The CET subgroup of the PCG is an appropriate group to make modifications to the CET, and to ensure that the equations therein are consistent with CPUC policies.

Peak Load Definition

Comment summary: SCE requested confirmation that the peak load definition is adequate for the corrected hour window to now include hours outside of the DEER peak demand hours and the proposed correction is consistent with the California Independent System Operator’s (CAISO’s) peak day and typical peak average distribution per hour of day.

CPUC staff response: Per CPUC staff, D.06-06-063 does not address whether the peak period must coincide with the hours used to identify the heat wave period. It makes sense that the heat wave is defined by a longer window that begins earlier than the peak electric period since it can take several hours for outdoor heat to penetrate and accumulate inside buildings.

Comment summary: PG&E proposed a modification to the days to use for calculating peak demand and recommends the Resolution be updated and present a corrected table since the peak days were incorrectly reported in Resolution E-5221.

CPUC staff response: Per CPUC staff, Section B.7 has been revised. Additionally, the effective date is set for 2028 to allow for changes to be made to DEER models and measure packages for the affected climate zones. CPUC staff has not determined how their definition of the peak period compares with CAISO’s peak day and typical peak average distributions per hour of day.

Vintage and Era Definitions

Comment summary: SCE and SCG requested clarification on the status of building vintage measure package language and the DEER definitions of the building vintages, respectively.

CPUC staff response: There are no changes needed to measure packages at this time to update building vintage eligibility language. In the future, the measure package template should be updated to standardize language. The DEER database definitions for Ex and New building vintages have been updated in DEER to clarify the coalescing of existing building vintages described in Section B.8.

EnergyPlus Prototypes

Comment summary: SCE proposed enhanced stakeholder engagement, training, and technical guidance on modeling tools like EnergyPlus. They also call for updates and validation efforts to improve assumptions and methodologies for program measures. They also recommend the Commission continue supporting research and evaluation on DEER prototype assumptions to improve accuracy of energy models. They also ask that the Resolution clarify which measure packages will be affected by 2025 CA Title 24 updates.

CPUC staff response: CPUC staff agrees that enhanced stakeholder engagement and further research and evaluation on DEER prototype assumptions are good things to consider in 2025. The 2025 CA Title 24 revisions to measure packages are effectively mid-cycle updates since the final 2025 CA Title 24 code was published after measure package submissions. The CPUC staff and IOUs can collaborate outside of the Resolution to verify any PY2026 measure package updates required by differences between the draft and final 2025 CA Title 24 code.

Load Shape Updates

Comment summary: SCG pointed out that the language in this section suggested that gas load shapes would also be stored as 8,760s and that it made little sense to increase to do so given that avoided costs for gas are provided on a monthly basis.

CPUC staff response: CPUC staff agrees that 8,760s are unnecessary for gas load shapes. That said, storing their GLSPs offers the benefit of enabling a future assessment of the extent to which they might both benefit from updates and coalescing those updates. Given the uncertainty of the timing of the load shape update work, however, this section has been removed from the resolution altogether.

###### DEER 2028 Update and Measure Package Submission/Review Timeline

Comment summary: SCE and SCG commented on the DEER 2028 Update Resolution timelines in Table 2.

CPUC staff response: A tentative measure package submittal date of 2026-03-31 was added for PY2028 measure packages. Table 2 includes the term tentative to allow for improvements to the future schedule.

###### Mid-Cycle Adjustments to the Locked Ex-Ante Values

Comment summary: SDG&E suggested including language to specify the locked ex-ante values section of D.21-05-031 includes forecasting and portfolio budget planning.

CPUC staff response: CPUC staff agrees and has added in this language in the Attachment.

Comment summary: SoCalREN is concerned about what constitutes as reasonable corrections to the existing locked ex-ante values.

CPUC staff response: CPUC agrees and improvements to the process are always welcome and are best executed through future decisions and proceedings.

Codes and Standards

Comment summary: SDG&E suggests clarifying and modifying the CEC CA Title 24 change requirement for eTRM model measures that use the "New" building type.

CPUC staff response: CPUC staff acknowledges new baselines may be needed for NR, NC, and AR measure application types (MATs.) Measures with none of those MATs would not need to be revised.

###### Structural Changes to DEER Tables

          - Adding FuelID Table

Comment summary: PGE pointed out that the description for the “Exempt-NC-AllElec” FuelID is likely incorrect and may cause confusion as written.

CPUC staff response: The description has been corrected in the DEER database and in Attachment A.

Comment summary: SCE asked whether the addition of the FuelID to each measure package permutation will require a mid-cycle update and sought an update on the status of the preparation of the Technical Guidance Document defining a Viable Electric Alternative (VEA).

CPUC staff response: CPUC staff expect that populating the new FuelID field in the eTRM can be done on the back end without requiring advancing the measure package versions for PY2026. New mid-cycle measure packages or offerings will not require the FuelID field.

Comment summary: SCG pointed out that the table that the FuelID table is replacing—the FuelSubID table—was never added to the eTRM’s repository of CPUC Support Tables. Furthermore, they requested clarification of some descriptions and questioned the need for some of the FuelIDs.

CPUC staff response: CPUC staff does not believe that it is necessary to move the section, but has clarified that the FuelID table is to be added to the eTRM’s repository of CPUC Support Tables. In response to their comments, changes were made to the FuelIDs and their descriptions as indicated in Attachment A and in the DEER database.

          - Field Changes to the TechType Table

Comment summary: SCG pointed out that some of the TechTypes are missing flags in either the UsesGas or the UsesElec field. They also recommended consistency in name suffixes (e.g., “-Gas”).

CPUC staff response: Both comments have been addressed in this resolution and in the DEER database.

###### Updates to DEER Support Table Values

Updates to Net-to-Gross Table

Comment summary: SCE commented that third-party implementers designing and implementing new programs should not be subject to the low NTGs that were determined by legacy non-third- party programs. SCE suggests the Commission Staff to engage with stakeholders through workshops or other similar forums to increase participation in the third-party EE market.

CPUC staff response: CPUC staff promote using the best available and most accurate data-based values available. This is best served through scoping the next round of impact evaluations.

Comment summary: SoCalREN highlighted the significant impact on public sector programs relating to the expiration of the NonRes-Out-Ltg-LEDFixt NTG ID.

CPUC staff response: The decision to expire the NonRES-Out-Ltg-LEDFixt NTG ID was after careful review and collaboration with the ex-ante custom review team. Changes were communicated in the Draft Resolution and distributed to the Service List. This NTG ID will remain expired and can be updated if included in future EM&V.

          - Updates to Building Weights Using 2022 Commercial End-Use Study (CEUS)

Comment summary: SCE recommended providing supporting documentation, including all data sources, methods, and assumptions used for the development of both building and HVAC system weights and for these to be made available in CEDARS for improved transparency.

CPUC staff response: CPUC staff created the Building Weights table with this very objective in mind. Each weight that is added to the table includes a citation to its source for improved transparency. There are, however, no plans to post these to weights to CEDARS since they are available at the eTRM.

New GasImpactProfileIDs

Comment summary: SCG pointed out that the draft resolution indicated that the new GasImpactProfileIDs are effective PY2024. SCE requested that  these updates are delayed until 2028.

CPUC staff response: CPUC staff clarifies that these go into effect in 2026 and the resolution has been corrected. The new gas impact profiles are necessary for use in 2026 to accurately calculate the cost effectiveness of residential fuel substitution measures. It is expected that these updates can be made on the back end in the eTRM without needing to advance the affected measure package versions.

New TechTypes

Comment summary: SCE requested that the use of the new TechTypes be delayed until PY2028 to minimize the updates needed to finalize the measure packages for PY2026.

CPUC staff response: Given the importance of understanding the fuel used by each TechType, CPUC staff has decided that these updates need to occur for the 2026 measure packages. It is expected that these updates can be made on the back end in the eTRM without needing to advance the affected measure package versions.

###### Improvements for Commercial Water Heater and Hot Water Measures

Comment summary: SCE commented that improvements to water heating measure estimation methods are needed. They promote migrating all water heating savings estimates from the DEER Water Heater Calculator to EnergyPlus models. Further, they recommend creating a working group to support research and development for water heating and/or supporting the transition to EnergyPlus.

CPUC staff response: CPUC staff concur that more of the water heating measure savings estimates should be determined using EnergyPlus, but cannot commit to a schedule for these updates at this time.

###### Guidance from 2021 Custom Industrial, Agricultural, and Commercial (CIAC) Impact Evaluation

Comment summary: SCE requested more clarification and a communication process to ensure newly adopted NTG ratios in the NTG table are properly adopted downstream. SCE requests clear directions on when the NTG ratios should be claimed in custom projects.

CPUC staff response: CPUC staff will provide guidance in the future to help document the communication process and direction on adopting these NTG ratios.

###### Guidance from Effective Useful Life (EUL) Studies

          - 2023 Residential HVAC and Water Heating EUL Study Updates

Comment summary: SCE, SDG&E, and SCG raised questions on the adoption of the EUL values in DEER because of the 2023 Residential HVAC and Water Heating EUL Study.

CPUC staff response: The DEER database is updated in accordance with this Resolution with new EUL ID records for the DEER2025 adoption of the EUL IDs in this study. Instead of overwriting the existing DEER2026 EUL IDs, new records were made as DEER2025 version records to ensure PY2026 measure packages do not need additional updates. The EUL IDs in this study are effective on January 1, 2025. The measure packages impacted by the new EUL IDs should also be effective January 1, 2025. CPUC staff is using best available data to implement the EUL IDs studied.

2023 Commercial Measure EUL Study Updates

Comment summary: SDG&E and SCG raised a question on the adoption of the EUL values in DEER because of the 2023 Commercial HVAC and Water Heating EUL Study.

CPUC staff response: The DEER database is updated in accordance with this Resolution with new EUL ID records for the DEER2025 adoption of the EUL IDs in this study. The EUL IDs in this study are effective on January 1, 2025. The measure packages impacted by the new EUL IDs will also be effective January 1, 2025. CPUC staff is using best available data to implement the EUL IDs studied.

###### Guidance Based on Other Studies

Hard-to-Reach (HTR) Net-to-Gross Ratios for Direct Install Delivery Type

Comment summary: SCE, LGSEC, and Willdan raised concerns regarding the statistical validity of the findings used to modify the NTG ratio for commercial direct install programs.

CPUC staff response: Although CPUC staff concur that the same size was rather small, the study showed that direct-install programs serving commercial customers had a high NTGR (0.70) than the standing default NTGR (0.60) for commercial measures. This was an important finding. CPUC staff uses NTG values that are supported by the best available data. When better data becomes available, CPUC staff may consider further changes.

###### Guidance from Review of PY2021 and PY2022 EM&V Reports

Numbered items that received no stakeholder comments are skipped in the list that follows.

- Comment summary: SCG suggested changes to the description, sector, and delivery type for the NTG ID for pipe insulation.

- CPUC staff response: These changes were made in DEER and in Attachment A.

- Comment summary: SCG suggested changes to the description, sector, and delivery type for the NTG ID for gas dryer modulating valves.

- CPUC staff response: After reviewing the tracking data used for this program evaluation, the NTG update pertains to only downstream delivery type. A change was made in DEER and in Attachment A to clarify this includes multifamily common area applications.

- Comment summary: SCG suggested a change to the delivery type for the NTG ID for pipe wrap.

- CPUC staff response: This change was made in DEER and in Attachment A.

- Comment summary: Renew Home commented that—since customer surveys revealed potentially suboptimal program designs—findings from that evaluation should not be extrapolated to smart thermostat savings statewide. SCE commented that the quote from the impact evaluation report contained errors.

- CPUC staff response: While the Resolution called out for an update to the savings, after detailed SME review of the measure package, we found the EM&V findings from this study were too vague to implement savings changes at the statewide level. The savings were re-evaluated, but ultimately not changed. Furthermore, the errors in the quotation were corrected.

# FINDINGS

- We find it reasonable for the eTRM to continue to be administered by the PAs.

- Decision D.15-10-028 retains the direction from D.12-05-015 that DEER values be updated to be consistent with existing and updated state and federal codes and standards.

- Decision D.15-10-028 also states that CPUC staff may make changes at any time without a Resolution to fix errors or to change documentation.

- It is appropriate to update the DEER values as result of a) updates to underlying methodology, b) updates for corrections and clarifications, c) updates based on evaluation study results, d) new code updates, e) review of market and research studies, and f) addition of new measures.

- Decision D.05-01-055 establishes the CPUC Energy Division authority to review and approve measures, including authority to designate a set of values as the deemed data source of record.

# THEREFORE, IT IS ORDERED THAT:

- The DEER2026 and Revised DEER2024 and DEER2025 Updates, listed in Table 1, as described in Attachment A, and per supporting documentation available on the DEER Module at the CEDARS website, are approved with effective dates as listed. The Appendices and the Attachment to this resolution may be updated by staff as needed.

- Pacific Gas and Electric Company (PG&E), Southern California Electric Company (SCE), Southern California Gas Company (SCG), and San Diego Gas & Electric (SDG&E), the San Francisco Bay Area Regional Energy Network (BayREN), Southern California Regional Energy Network (SoCalREN), Tri-County Regional Energy Network (3CREN), Lancaster Choice Energy (LCE), and Marin Clean Energy (MCE) must use the updated assumptions, methods and values for Program Years 2024 and 2025 planning and savings claims, and Program Years 2026-27 planning, implementation and reporting.

- Pacific Gas and Electric Company (PG&E), Southern California Electric Company (SCE), Southern California Gas Company (SCG), and San Diego Gas & Electric (SDG&E), the San Francisco Bay Area Regional Energy Network (BayREN), Southern California Regional Energy Network (SoCalREN), Tri-County Regional Energy Network (3CREN), Lancaster Choice Energy (LCE), and Marin Clean Energy (MCE) must follow the updated process adopted in this resolution for deemed ex ante activities as directed in this resolution.

- Pacific Gas and Electric Company (PG&E), Southern California Electric Company (SCE), Southern California Gas Company (SCG), and San Diego Gas & Electric (SDG&E), the San Francisco Bay Area Regional Energy Network (BayREN), Southern California Regional Energy Network (SoCalREN), Tri-County Regional Energy Network (3CREN), Lancaster Choice Energy (LCE), and Marin Clean Energy (MCE) must comply with the updated schedule for activities adopted in this resolution unless expressly authorized by CPUC staff.

This Resolution is effective today.

I certify that the foregoing resolution was duly introduced, passed and adopted at a conference of the Public Utilities Commission of the State of California held on December 19, 2024; the following Commissioners voting favorably thereon:

/s/ RACHEL PETERSON

Rachel Peterson

Executive Director

ALICE REYNOLDS

President

DARCIE HOUCK

JOHN REYNOLDS

KAREN DOUGLAS

MATTHEW BAKER

Commissioners

Appendices

A1. PY2024-25 Mid-Cycle Measure Package Updates

Expected mid-cycle updates for PY2024-25 in Table A1.1 are current as of the adoption of the final resolution. These measure packages are measures that have planned code or standard updates that go into effect in 2025, before the DEER2026 measure package version update. The eTRM version numbers may differ from this table based on other mid-cycle versions and approvals. See the eTRM for the most current version numbers.

Table A1.1. PY2024-25 Mid-Cycle Measure Package Updates

| Measure Package ID | Measure Name | Mid-Cycle Update Reason | Program Year | Lead IOU |
| --- | --- | --- | --- | --- |
| SWFS030-01 | Pressure Fryer, Commercial | New measure package | 2024, effective upon approval | SCG |
| SWHC001-06 | Wall Furnace, Residential | EUL Update | 2025 | SCG |
| SWHC002-05 | Intermittent Pilot Light, Residential | EUL Update | 2025 | SCG |
| SWHC005-04 | Water-Cooled Chiller | CARB Refrigerant Standard | 2025 | SDGE |
| SWHC006-05* | Demand Control Ventilation for Single Zone HVAC | EUL Update | 2025 | PG&E |
| SWHC013-05* | Unitary Air-Cooled Air Conditioner, Over 65 kBtu/hr, Commercial | CARB Refrigerant Standard and EUL Update | 2025 | SDGE |
| SWHC014-05* | Unitary Air-Cooled Air Conditioner or Heat Pump, Under 65 kBtu/hr, Commercial | EPA AIM Act and CARB Refrigerant Standards and EUL Update | 2025 | SDGE |
| SWHC020-04 | Air-Cooled Screw Chiller, Path A | CARB Refrigerant Standard | 2025 | SDGE |
| SWHC023-06* | VFDs for Unitary HVAC Systems, Commercial | EUL Update | 2025 | PG&E |
| SWHC027-05* | Package Terminal Air Conditioner or Heat Pump, Under 24 kBtu/hr | CARB Refrigerant Standard and EUL Update | 2025 | SDGE |
| SWHC039-08 | Smart Thermostat, Residential | New measure offerings | 2024, effective upon approval | SCE |
| SWHC041-07* | Software-Controlled Switch Reluctance Motor | EUL Update | 2025 | SCE |
| SWHC043-04 | Multiple Capacity Unitary Air-Cooled Commercial Air Conditioners Between 65 and 240 kBtu/hr | New measure offerings | 2024, effective upon approval | SDGE |
| SWHC043-05* | Multiple Capacity Unitary Air-Cooled Commercial Air Conditioners Between 65 and 240 kBtu/hr | CARB Refrigerant Standard and EUL Update | 2025 | SDGE |
| SWHC044-06* | Ductless HVAC, Residential, Fuel Substitution | CARB Refrigerant Standard and EUL Update | 2025 | SCE |
| SWHC045-05* | Heat Pump HVAC, Residential, Fuel Substitution | CARB Refrigerant Standard and EUL Update | 2025 | SCE |
| SWHC046-05* | Packaged Heat Pump Air Conditioner Commercial, Fuel Substitution | CARB Refrigerant Standard and EUL Update | 2025 | SCE |
| SWHC047-06* | Gas Fireplace, Residential | EUL Update | 2025 | SCG |
| SWHC049-05* | Ducted AC and HP HVAC Equipment, Residential | CARB Refrigerant Standard and EUL Update | 2025 | SDGE |
| SWHC050-05* | Ductless Heat Pump, Residential | CARB Refrigerant Standard and EUL Update | 2025 | SDGE |
| SWHC059-04 | Smart Fan Controller, Residential | EUL Update | 2025 | SDGE |
| SWHC062-01 | Occupancy Fan Controller, Commercial | New measure package | 2024, effective upon approval | PG&E |
| SWLG019-01 | LED, Indoor Horticulture | New measure package | 2024, effective upon approval | SCE |
| SWMI003-01 | High-Efficiency Toilets, Residential and Commercial | New measure package | 2024, effective upon approval | SDGE |
| SWRE005-05* | Heat Pump Pool Heater, Residential, Fuel Substitution | EUL Update | 2025 | SCE |
| SWSV014-04* | Lifecycle Refrigerant Management, Residential | CARB Refrigerant Standard | 2025 | PG&E |
| SWWB008-04* | All-Electric Homes, Residential, New Construction | CARB Refrigerant Standard and EUL Update | 2025 | PG&E |
| SWWH001-04 | Faucet Aerator, Residential | New measure offerings | 2024, effective upon approval | SCG |
| SWWH002-04 | Low-Flow Showerhead, Residential | New measure offerings | 2024, effective upon approval | SCG |
| SWWH003-03 | TSV with and without an Integrated Low-Flow Showerhead, Residential | New measure offerings | 2024, effective upon approval | SCG |
| SWWH006-09* | Tankless Water Heater, Commercial | EUL Update | 2025 | SCG |
| SWWH007-07* | Storage Water Heater, Commercial | EUL Update | 2025 | SCG |
| SWWH012-05* | Storage Water Heater, Residential | EUL Update | 2025 | SCG |
| SWWH013-05* | Tankless Water Heater, Residential | EUL Update | 2025 | SCG |
| SWWH014-07* | Heat Pump Water Heater, Residential | EUL Update | 2025 | SCE |
| SWWH016-05* | Domestic Hot Water Loop Temperature Controller, Multifamily & Commercial | EUL Update | 2025 | SCG |
| SWWH017-05 | Hot Water Pipe Insulation, Nonresidential and Multifamily | New measure offerings | 2024, effective upon approval | SCG |
| SWWH019-05 | Faucet Aerator, Commercial | New measure offerings | 2024, effective upon approval | SCG |
| SWWH020-05 | Low-Flow Showerhead, Commercial | New measure offerings | 2024, effective upon approval | SCG |
| SWWH025-09* | Heat Pump Water Heater, Residential, Fuel Substitution | EUL Update | 2025 | SCE |
| SWWH026-03 | Water Heater Pipe Wrap, Residential | New measure offerings | 2024, effective upon approval | SCG |
| SWWH026-05* | Water Heater Pipe Wrap, Residential | EUL Update | 2025 | SCG |
| SWWH027-06* | Heat Pump Water Heater, Commercial, Fuel Substitution | EUL Update | 2025 | SCE |
| SWWH028-04 | Large Heat Pump Water Heater, Commercial and Multifamily, Fuel Substitution | Error correction | 2024 | SCE |
| SWWH028-06* | Large Heat Pump Water Heater, Commercial and Multifamily, Fuel Substitution | EUL Update | 2025 | SCE |
| SWWH031-05* | Heat Pump Water Heater, Commercial | EUL Update | 2025 | SCE |

*PY2025 measure package versions that are not yet approved.

A2. PY2026-27 Measures

The list provided in Table A2.1 is current as of the adoption of the final resolution. The eTRM version numbers may differ from this table based on other mid-cycle versions and approvals. See the eTRM for the most current version numbers.

Table A2.1. DEER2026-27 Measure Packages to be Updated

| Measure Package ID | Measure Name | Program Year | Lead IOU |
| --- | --- | --- | --- |
| SWAP003-05+ | Clothes Dryer, Residential | 2026 | SCG |
| SWAP004-04 | Clothes Washer, Residential & Multifamily | 2026 | SCG |
| SWAP005-04 | Ozone Laundry, Commercial | 2026 | SCG |
| SWAP006-05 | Dishwasher, Residential | 2026 | SCG |
| SWAP007-04 | Room Air Conditioner, Residential | 2026 | SDGE |
| SWAP008-04 | Room Air Cleaner, Residential | 2026 | SDGE |
| SWAP011-05 | Vending and Beverage Merchandise Controller | 2026 | SCE |
| SWAP012-03 | Gas Dryer Modulating Valve, Commercial and Multifamily | 2026 | SCG |
| SWAP013-06 | Cooking Appliances, Residential, Fuel Substitution | 2026 | SCE |
| SWAP014-05+ | Heat Pump Clothes Dryer, Residential, Fuel Substitution | 2026 | SCE |
| SWAP015-04 | Efficient Electric Cooking Appliances, Residential | 2026 | SDGE |
| SWAP017-04 | Oven, Gas, Residential | 2026 | SCG |
| SWBE001-05 | Greenhouse Heat Curtain | 2026 | SCG |
| SWBE002-05 | Greenhouse Infrared Film | 2026 | SCG |
| SWBE006-04 | Ceiling Insulation, Residential | 2026 | SCG |
| SWBE007-04 | Wall Insulation, Residential | 2026 | SCG |
| SWBE010-02+ | Deeply Buried Ducts, Residential | 2026 | MCE |
| SWCA001-05 | Air Compressor VFD Retrofit | 2026 | SCE |
| SWCR001-05 | Anti-Sweat Heat Controls | 2026 | SCE |
| SWCR002-05 | Low-Temperature Display Case Doors with No Anti-Sweat Heaters | 2026 | SCE |
| SWCR003-04 | High Efficiency Motor Retrofit for Refrigerated Display Case | 2026 | SCE |
| SWCR007-05+ | Floating Head Pressure Controls, Multiplex | 2026 | PG&E |
| SWCR008-05 | Floating Suction Controls, Multiplex | 2026 | SCE |
| SWCR010-05 | Bare Suction Line Insulation | 2026 | SCE |
| SWCR014-05 | Medium or Low-Temperature Display Case | 2026 | SCE |
| SWCR015-04 | Medium-Temperature Case Doors | 2026 | PG&E |
| SWCR017-05 | Ultra-Low Temperature Freezer | 2026 | PG&E |
| SWCR018-05 | Reach-In Refrigerator or Freezer, Commercial | 2026 | PG&E |
| SWCR019-04 | Low-Temperature Coffin to Reach-In Display Case Conversion | 2026 | PG&E |
| SWCR020-04 | Medium-Temperature Open Display Case Retrofit | 2026 | PG&E |
| SWCR021-04 | Medium or Low-Temperature Display Case with Doors | 2026 | PG&E |
| SWFS001-04 | Convection Oven, Commercial | 2026 | SCG |
| SWFS002-05 | Door Type Dishwasher, Commercial | 2026 | SCG |
| SWFS003-05 | Combination Oven, Commercial | 2026 | SCG |
| SWFS004-03 | Griddle, Commercial | 2026 | SCG |
| SWFS005-05 | Steamer, Commercial | 2026 | SCG |
| SWFS006-04 | Ice Machine, Commercial | 2026 | PG&E |
| SWFS007-05 | Insulated Hot Food Holding Cabinet | 2026 | SCE |
| SWFS008-03 | Conveyor Oven, Gas, Commercial | 2026 | SCG |
| SWFS009-04 | Commercial Deck Oven, Electric | 2026 | SCE |
| SWFS010-04 | Commercial Hand Wrap Machine, Electric | 2026 | SCE |
| SWFS011-07 | Fryer, Commercial | 2026 | SCG |
| SWFS012-04 | Exhaust Hood Demand Controlled Ventilation, Commercial | 2026 | SCE |
| SWFS013-04 | Low-Flow Pre-Rinse Spray Valve | 2026 | SCG |
| SWFS014-04 | Rack Oven, Gas, Commercial | 2026 | SCG |
| SWFS016-04 | Refrigerated Chef Base | 2026 | SCE |
| SWFS017-04 | Automated Conveyor Broiler, Commercial | 2026 | SCG |
| SWFS018-06 | Undercounter Dishwasher, Commercial | 2026 | SCG |
| SWFS019-04 | Underfired Broiler, Commercial | 2026 | SCG |
| SWFS021-05 | Commercial Fryer, Fuel Substitution | 2026 | SCE |
| SWFS022-04 | Commercial Convection Oven, Fuel Substitution | 2026 | SCE |
| SWFS023-04 | Contact Conveyor Toaster, Commercial | 2026 | SCE |
| SWFS024-03 | Hot Food Holding Cabinet | 2026 | SCG |
| SWFS025-03 | Radiant Conveyor Toaster, Commercial | 2026 | SCG |
| SWFS026-03 | Cooktop, Commercial | 2026 | SCG |
| SWFS027-02 | Soup Well, Electric, Commercial | 2026 | SCG |
| SWFS028-02 | Steam Table, Electric, Commercial | 2026 | SCG |
| SWFS029-02 | Rotisserie, Gas, Commercial | 2026 | SCG |
| SWFS030-02 | Pressure Fryer, Commercial | 2026 | SCG |
| SWHC001-05 | Wall Furnace, Residential | 2026 | SCG |
| SWHC002-04 | Intermittent Pilot Light, Residential | 2026 | SCG |
| SWHC004-07+ | Space Heating Boiler, Commercial and Multifamily | 2026 | SCG |
| SWHC005-05+ | Water-Cooled Chiller | 2026 | SDGE |
| SWHC006-04 | Demand Control Ventilation for Single Zone HVAC | 2026 | PG&E |
| SWHC008-03+ | VSD For Central Plant System | 2026 | SCE |
| SWHC009-05+ | Supply Fan Controls, Commercial | 2026 | SDGE |
| SWHC012-04+ | Classroom HVAC Occupancy Sensor | 2026 | SCE |
| SWHC013-06+ | Unitary Air-Cooled AC and HP, over 65 kBtu/hr, Commercial | 2026 | SDGE |
| SWHC014-06+ | Unitary Air-Cooled AC and HP, below 65 kBtu/hr, Commercial | 2026 | SDGE |
| SWHC018-05 | VSD for HVAC Fan Controls, Commercial | 2026 | PG&E |
| SWHC020-05 | Air Cooled Screw Chiller, Path A | 2026 | SDGE |
| SWHC023-05 | Enhanced Ventilation for Packaged HVAC | 2026 | PG&E |
| SWHC024-05+ | Drive Belt for HVAC Fan, Commercial | 2026 | SCE |
| SWHC027-06 | Package Terminal Air Conditioner or Heat Pump, Under 24 kBtu/hr | 2026 | SDGE |
| SWHC031-04 | Furnace, Residential | 2026 | SCG |
| SWHC038-05 | Brushless Fan Motor Replacement, Residential | 2026 | SCE |
| SWHC039-09 | Smart Thermostat, Residential | 2026 | SCE |
| SWHC041-06 | Software-Controlled Switch Reluctance Motor | 2026 | SCE |
| SWHC043-06 | Multiple Capacity Unitary Air-Cooled Commercial Air Conditioners Between 65 and 240 kBtu/hr | 2026 | SDGE |
| SWHC044-05+ | Ductless HVAC, Residential, Fuel Substitution | 2026 | SCE |
| SWHC045-04+ | Heat Pump HVAC, Residential, Fuel Substitution | 2026 | SCE |
| SWHC046-04+ | Packaged Heat Pump Air Conditioner, Commercial, Fuel Substitution | 2026 | SCE |
| SWHC047-05 | Gas Fireplace, Residential | 2026 | SCG |
| SWHC049-06+ | Ducted AC and HP HVAC Equipment, Residential | 2026 | SDGE |
| SWHC050-06+ | Ductless Heat Pump, Residential | 2026 | SDGE |
| SWHC054-02 | Heat Recovery Ventilation, Residential | 2026 | SCG |
| SWHC057-02 | Space Heating Gas Absorption Heat Pump, Multifamily | 2026 | SCG |
| SWHC058-02 | Patio Heater, Gas, Commercial and Residential | 2026 | SCG |
| SWHC059-03 | Smart Fan Controller, Residential | 2026 | SDGE |
| SWLG020-03 | UL Type B LED Mogul Base Lamp HID Retrofits for Outdoor Area/Pole and Decorative Fixtures | 2026 | SCE |
| SWMI002-03 | No Savings | 2026 | SDGE |
| SWMI003-02 | High-Efficiency Toilets, Residential and Commercial | 2026 | SDGE |
| SWPR001-03 | Ventilation Fan, Agricultural | 2026 | PG&E |
| SWPR002-03 | VFD for Glycol Pump Motor | 2026 | PG&E |
| SWPR003-03 | Steam Trap, Commercial | 2026 | SCG |
| SWPR004-05 | Circulating Block Heater | 2026 | SCE |
| SWPR005-03 | VFD for Dust Collection Fan | 2026 | PG&E |
| SWPR006-03 | VSD For Ventilation Fan, Agricultural | 2026 | PG&E |
| SWPR007-02 | Steam Boiler Economizer, Industrial | 2026 | SCG |
| SWPR008-02 | VFD on Rod Beam Pump | 2026 | PG&E |
| SWRE001-04 | Pool Cover, Commercial | 2026 | SCG |
| SWRE003-04 | Heater for Pool or Spa, Commercial and Multifamily | 2026 | SCG |
| SWRE004-04 | Pool Heater, Residential | 2026 | SCG |
| SWRE005-04 | Heat Pump Pool Heater, Residential, Fuel Substitution | 2026 | SCE |
| SWSV001-07 | Duct Seal, Residential | 2026 | SDGE |
| SWSV005-04 | Economizer Repair, Commercial | 2026 | SDGE |
| SWSV010-04 | Economizer Controls, Commercial | 2026 | SDGE |
| SWSV013-05 | Duct Optimization, Residential | 2026 | SDGE |
| SWSV014-03 | Lifecycle Refrigerant Management, Residential | 2026 | PG&E |
| SWWB002-02 | Universal Audit Tool | 2026 | PG&E |
| SWWB004-03 | Home Energy Reports | 2026 | PG&E |
| SWWB007-02+ | Business Energy Reports | 2026 | SCE |
| SWWB008-03+ | All-Electric Homes, Residential, New Construction | 2026 | PG&E |
| SWWH001-05 | Faucet Aerator, Residential | 2026 | SCG |
| SWWH002-05 | Low-Flow Showerhead, Residential | 2026 | SCG |
| SWWH003-04 | TSV with and without an Integrated Low-Flow Showerhead, Residential | 2026 | SCG |
| SWWH004-04 | Laminar Flow Restrictor, Commercial | 2026 | SCG |
| SWWH005-07 | Boiler, Commercial | 2026 | SCG |
| SWWH006-08 | Tankless Water Heater, Commercial | 2026 | SCG |
| SWWH007-06 | Storage Water Heater, Commercial | 2026 | SCG |
| SWWH008-02 | Boiler, Process | 2026 | PG&E |
| SWWH010-03 | Boiler, Multifamily | 2026 | SCG |
| SWWH011-03 | Central Storage Water Heater, Multifamily | 2026 | SCG |
| SWWH012-04+ | Storage Water Heater, Residential | 2026 | SCG |
| SWWH013-04+ | Tankless Water Heater, Residential | 2026 | SCG |
| SWWH014-06+ | Heat Pump Water Heater, Residential | 2026 | SCE |
| SWWH015-04+ | Demand Control for Centralized Water Heater Recirculation Pump, Multifamily & Commercial | 2026 | SCG |
| SWWH016-04+ | Domestic Hot Water Loop Temperature Controller, Multifamily & Commercial | 2026 | SCG |
| SWWH017-06 | Hot Water Pipe Insulation, Nonresidential and Multifamily | 2026 | SCG |
| SWWH018-05 | Hot Water Tank Insulation, Nonresidential and Multifamily | 2026 | SCG |
| SWWH019-06 | Faucet Aerator, Commercial | 2026 | SCG |
| SWWH020-06 | Low-Flow Showerhead, Commercial | 2026 | SCG |
| SWWH021-02 | Recirculation Pump Timer, Commercial | 2026 | SCG |
| SWWH023-03 | Diverting Tub Spout with TSV, Residential | 2026 | SCG |
| SWWH025-08+ | Heat Pump Water Heater, Residential, Fuel Substitution | 2026 | SCE |
| SWWH026-04 | Water Heater Pipe Wrap, Residential | 2026 | SCG |
| SWWH027-05 | Heat Pump Water Heater, Commercial, Fuel Substitution | 2026 | SCE |
| SWWH028-05 | Large Heat Pump Water Heater, Commercial and Multifamily, Fuel Substitution | 2026 | SCE |
| SWWH031-04 | Heat Pump Water Heater, Commercial | 2026 | SCE |
| SWWH032-02 | Solar Thermal Water Heating System, Residential | 2026 | SCG |
| SWWH033-03 | Gas Heat Pump Water Heater, Multifamily | 2026 | SCG |
| SWWH034-03 | Solar Thermal Water Heating System, Commercial and Multifamily | 2026 | SCG |
| SWWP004-04+ | Water Pump Upgrade | 2026 | SCE |
| SWWP005-04 | Enhanced VFD on Irrigation Pump | 2026 | PG&E |

+ PY2026 measure package under review and not yet approved.

A3. Dispositions

The list of 2023-2024 dispositions that will impact PY 2026-27 measure packages is listed in Table A3.1. These documents can be downloaded from the DEER Module on CEDARS. In this context, a disposition refers to a document that summarizes why a measure was approved or rejected.  This is typically used for when measure packages are high-profile measure packages and/or measure packages that constitute significant savings potential or changes as the result of measure package updates.

Table A3.1. Measure Package Dispositions Directing Updates for PY2026-2027

| Measure ID | Title | Date | Summary of Direction |
| --- | --- | --- | --- |
| SWWH028-04 | Large Heat Pump Water Heater, Commercial and Multifamily, Fuel Substitution | 2024-06-10 | Disposition approves the statewide measure package Large Heat Pump Water Heater, Commercial and Multifamily, Fuel Substitution: SWWH028-04 to be effective retroactively on January 1, 2024, and expire on December 31, 2025. This disposition summarizes the error correction that necessitated a correction in multifamily savings values retroactive to PY24. |
| SWHC045-02 | Heat Pump HVAC, Residential, Fuel Substitution | 2023-08-16 | Disposition approves the statewide measure package Heat Pump HVAC, Residential, Fuel Substitution: SWHC045-02 to be effective on November 13, 2023, and expire on December 31, 2023. The program administrators are directed to revise the measure package for PY 2024-2025 based on NTG eligibility changes from the PY2020 HVAC Fuel Substitution Impact Evaluation report. These updates will persist into the PY26-27 version of the measure package. |
| SWHC044-03 | Ductless HVAC, Residential, Fuel Substitution | 2023-08-16 | Disposition approves the statewide measure package Ductless HVAC, Residential, Fuel Substitution: SWHC044-03 to be effective on November 13, 2023, and expire on December 31, 2023. The program administrators are directed to revise the measure package for PY 2024-2025 based on NTG eligibility changes from the PY2020 HVAC Fuel Substitution Impact Evaluation report. These updates will persist into the PY26-27 version of the measure package. |
| SWHC050-03 | Ductless Heat Pump, Residential | 2023-08-06 | Disposition approves the statewide measure package Ductless Heat Pump, Residential: SWHC050-03 to be effective on November 8, 2023. The key updates for this measure package included integrating the EnergyPlus modeling update, which will continue to be utilized for PY26-27. |
| SWHC049-03 | SEER Rated AC and HP HVAC Equipment, Residential | 2023-04-01 | Disposition approves the statewide measure package SEER Rated AC and HP HVAC Equipment: SWHC049-03 to be effective retroactively on January 1, 2023. The key updates for this measure package included integrating the EnergyPlus modeling update, which will continue to be utilized for PY26-27. |

A4. Measure Package Guidance

Table A4.1 lists the guidance released since the last DEER Resolution that informs PY2026-27 Measure Updates. These documents can be downloaded from CEDARS at https://cedars.cpuc.ca.gov/deer-resources/deemed-measure-packages/guidance/.

Table A4.1. Measure Package Guidance for PY2026-2027

| Date | Title (linked to full document) | Summary |
| --- | --- | --- |
| 2024-06-28 | New Construction Measure Application Type Definition and Best Practices (Rev1) | This guidance document amendment provides additional clarification on nuanced applications of measure application types (MATs) across the deemed portfolio in the eTRM. |
| 2024-06-06 | Direct Install Delivery Type Description | This guidance document clarifies the definition of the direct install (DI) delivery type. The definition has implications on how incentive costs are reported for making energy savings claims, which can also impact the Total Resource Cost (TRC). |
| 2024-05-16 | Rebate Greater than IMC – Revised CPUC Guidance | This guidance document clarifies the instances, reasons, and documentation required when the rebate to the customer exceeds the Incremental Measure Cost (IMC). |
| 2024-05-15 | Documentation Requirements for SB1414, Title 24 and Permitting Compliance | This guidance clarifies the intent of measure package language that specifies the following of local and state laws. In addition, the guidance document lays out how reporting should differ depending on program delivery type. |
| 2024-04-19 | New Construction Measure Application Type Definition and Best Practices | This guidance clarifies the definition of the new construction measure application type and avoid ambiguity with the normal replacement measure application type. |
| 2023-12-14 | Documentation Requirements for Existing Conditions | This guidance document summarizes specific measure package guidance when existing conditions are required to be known to select a measure package offering. In some midstream or upstream scenarios this information cannot be collected, so the guidance provides assumptions to follow. |
| 2023-10-26 | Preponderance of Evidence Requirements for Accelerated Replacement of Deemed Measures | This guidance document summarizes the deemed measure package preponderance of evidence (POE) data collection requirements and is effective on January 1, 2024. |
| 2023-10-20 | Ex/Any Building Vintage Update Requirements for DEER2024 | This guidance document is to follow up on prior direction confirming the use of ‘Any’ building vintage is not applicable. The guidance document also confirms how this impacts the permutations and claims. |
| 2023-08-21 | Acceptance of Deviation from Resolution E-5152, Section C.11 | This guidance document addresses the addition of two new fields in the eTRM permutations and CEDARS to provide first and second baseline definitions to avoid errors in the claim data when savings are populated into the incorrect base case column. |
| 2023-06-14 | CPUC Guidance on Definition of "Gas Measure" in Decision D.23-04-035 | This guidance document clarifies the definition of a gas measure for the purposes of compliance with Ordering Paragraph 3 in Decision D.23-04-035. |
| 2023-04-18 | Definition of "In the Marketplace" | Guidance to provide a more concrete definition for “in the marketplace” to add clarity to the eligibility of the “All-Default<=2yrs” NTG ID. |
| 2022-10-18 | Measure Package Plan Template | Measure package plan template for PA use to receive early feedback from CPUC Staff on a measure package prior to its submission. |
| 2022-09-27 | Guidance RE: NTG_ID for Non-Residential Unitary/Split AC/HP Systems for DEER2023/2024 Measure Packages | This guidance clarifies NTG ID revisions for the SWHC013, SWHC014, and SWHC043 measure packages. |
| 2022-08-16 | CPUC Guidance Clarifying Requirements for Residential Duct Seal and Duct Optimization | This guidance memo clarifies the duct sealing test method, required leakage reduction, and savings by building era approaches to develop measure package savings values in the Duct Seal and Duct Optimization measure packages. |
| 2022-07-01 | CPUC Guidance on Unitary HVAC Equipment Data Collection Requirements and Eligibility Requirements | This guidance document outlines requested changes to the measure package language that are no longer applicable. |
| 2022-06-09 | Measure Package Adoption by PAs | This guidance sets for the process for PAs and third-party implementers to upload and adopt PA implementation codes in eTRM. |
| 2022-06-02 | Addendum to Measure Package Documenting Incentive Greater than Incremental Measure Cost | This guidance sets for the process and documentation required for PAs to submit an addendum to measure packages informing the CPUC Energy Division as to the need to provide an incentive which is greater than the incremental measure cost. |

Attachment 1:

E-5350 DEER2026 Attachment A

https://docs.cpuc.ca.gov/SearchRes.aspx?docformat=ALL&docid=385864616

https://cedars.cpuc.ca.gov/deer-resources/

D.15-10-28, at 80, states “D.12-05-015 allowed additional mid-cycle changes if there are new state and federal codes and standards that affect DEER values. Specifically, the decision stated in Conclusion of Law 84: ‘We generally agree with parties’ request that ex ante values should be adopted and held constant throughout the portfolio cycle. However, mid-cycle updates of ex ante values are warranted if newly adopted codes or standards take effect during the cycle.’”

D.15-10-28, at 80, quotes from D.12-05-015: “Conclusion of Law 80 states: ‘Our Staff should have significant latitude in performing DEER and other policy oversight functions and, absent specific directives to the contrary, should not be required to consult with or otherwise utilize any other groups to perform this work.’”

https://www.caetrm.com

https://docs.cpuc.ca.gov/PublishedDocs/Published/G000/M346/K161/346161639.PDF

https://docs.cpuc.ca.gov/PublishedDocs/Published/G000/M232/K459/232459122.PDF

https://docs.cpuc.ca.gov/PublishedDocs/Published/G000/M179/K264/179264220.PDF

The Scoping Document for DEER2026 Update was posted on August 1, 2024, and is located at: https://pda.energydataweb.com/#!/documents/4015/view.

Supporting material is at https://cedars.cpuc.ca.gov/deer-resources/tools/supporting-files/resource/2/history/

https://www.caetrm.com/

https://docs.cpuc.ca.gov/PublishedDocs/Published/G000/M346/K161/346161639.PDF, p. 11.

Git is a distributed version control system that tracks changes in any set of computer files, usually used for computer programming.

https://cedars.cpuc.ca.gov/deer-resources/tools/supporting-files/file/3105/download. On November 1, 2024, RACC-FSC_v3.1 was released to formulaically distinguish between different DEER Versions of EUL values.

“The staff proposal recommends, among other things, that consideration of the Refrigerant Avoided Cost Calculator be transferred from R.22-11-013 to the resolution process for biennial updates to the Database for Energy Efficiency Resources.” (See https://docs.cpuc.ca.gov/PublishedDocs/Efile/G000/M516/K988/516988077.PDF.)

https://edcentralserver.files.com/preview/f/f7b564868ffdc879/CET_Input_Guide_10132022.xlsx

D.06-06-063 OP 1. The DEER version adopted in D.12-05-015 utilizes a 3-day “heat wave” that occurs on consecutive days in June through September such that the three consecutive days do not include weekends or holidays, and where the heat wave is ranked by giving equal weight to the peak temperature during the 72-hour period, the average temperature during the 72-hour period and the average temperature from noon – 6 pm over the three days.

https://docs.cpuc.ca.gov/PublishedDocs/Published/G000/M232/K459/232459122.PDF

Commercial water heating measures, however, continue to use the DEER Water Heater Calculator to determine energy usage and savings.

Modelkit is a free and open-source, cross-platform framework for parametric building energy modeling.

https://bigladdersoftware.com/projects/modelkit/

https://github.com/sound-data/DEER-Prototypes-EnergyPlus

https://pda.energydataweb.com/api/downloads/2816/CIAC 2020-2021 Evaluation Final Report - Revised.pdf

https://pda.energydataweb.com/api/downloads/3903/CPUC Group A 2023 Residential Insulation EUL Study Final Report.pdf

https://pda.energydataweb.com/api/downloads/3952/CPUC Group A 2023 Res HVAC and DHW EUL Study Final Report.pdf

https://pda.energydataweb.com/api/view/3980/CPUC%20Group%20A%202023%20Commercial%20 HVAC%20and%20Water%20Heating%20EUL%20Study%20Final%20Report.pdf

https://pda.energydataweb.com/#!/documents/4023/view

“CPUC Group A Residential Direct Install Program Impact Evaluation - Program Year 2021,” DNV, April 26, 2023. (www.calmac.org/publications/CPUC_Group_A_PY2021_Residential_Install_Program_Impact_Evaluation_-_Final_Report_CALMAC.pdf)

Ibid.

“EM&V Group A – Final Impact Evaluation Report Local Third-Party Programs – Program Year 2021,” DNV, April 24, 2023. (www.calmac.org/publications/Group_A_PY2021_Local_Third-Party_Impact_Evaluation_-_Final_Report_CALMAC.pdf)

“CPUC Group A Residential Direct Install Program Impact Evaluation - Program Year 2021,” DNV, April 26, 2023. (www.calmac.org/publications/CPUC_Group_A_PY2021_Residential_Install_Program_Impact_Evaluation_-_Final_Report_CALMAC.pdf)

Ibid.

“EM&V Group A – Final Impact Evaluation Report Local Third-Party Programs – Program Year 2021,” DNV, April 24, 2023. (www.calmac.org/publications/Group_A_PY2021_Local_Third-Party_Impact_Evaluation_-_Final_Report_CALMAC.pdf)

Ibid.

“CPUC Group A Residential Direct Install Program Impact Evaluation - Program Year 2021,” DNV, April 26, 2023. (www.calmac.org/publications/CPUC_Group_A_PY2021_Residential_Install_Program_Impact_ Evaluation_-_Final_Report_CALMAC.pdf)

Ibid.

Ibid.

Ibid.

https://cedars.cpuc.ca.gov/deer-resources/deemed-measure-packages/dispositions/