##### Pacific Gas & Electric Co. (PG&E), Southern California Edison (SCE), and San Diego Gas & Electric (SDG&E)

# Proposed Customer Reliability Report Template Pursuant to Administrative Law Judge’s Ruling

Grid Reliability OIR R.24-05-023

December 15, 2025

Contents

Introduction	1

Narrative Requirements	3

Appendix A: Proposed Narrative Report Template	5

Section 1: Utility Procedures	5

Section 2: Proposed Reliability Metrics	6

Section 3: Methodology and Use Limitations	6

Section 4: Report Alignment to CPUC & OEIS	7

Section 5: Joint Utility Recommendations and Requirement Interpretations	8

Appendix B : Proposed Customer Reliability Schema	10

Appendix C : WMDR Schema	10

# Introduction

Pursuant to the August 22, 2025 Assigned Commissioner’s & Administrative Law Judge’s Ruling Modifying Track 1 Schedule of Activities (Ruling Modifying Track 1), Pacific Gas and Electric (PG&E), Southern California Edison (SCE) and San Diego Gas and Electric (SDG&E) (collectively, the Joint IOUs) hereby submit the jointly developed Proposed Narrative Template and Proposed Customer Reliability Schema, attached hereto as Appendix A and Appendix B, respectively, along with Appendix C, which references back to each IOU’s OEIS WMDR quarterly reports. Pursuant to Commission Rule of Practice and Procedure 11.6, on October 13, 2025, the Joint IOUs requested an extension of time for this submission to December 15, 2025. This extension was granted on October 27, 2025.1

Concurrently with this submission, the Joint IOUs provide the following comments, which are incorporated by reference into Appendix A and Appendix B.

- Annual Customer Reliability Report and Quarterly Data Submission

The Joint IOUs aim to provide the Commission with accurate reliability reporting that complies with the requirements of this rulemaking. Based on our experiences performing reliability reporting to various regulatory agencies, we strongly believe an in annual cadence for the Annual  Customer Reliability Report with a data submission, followed by a quarterly data submission . This will provide the Commission with its desired level of accuracy. More frequent reporting intervals would not provide sufficient time for event investigations or work programs to finalize data to ensure complete, accurate, and verifiable records at the time of submission. Annual reporting will help ensure that Energy Safety receives the most up-to-date information as it exists in each Joint IOUs’ respective systems of record. The annual submittal timeframe should align with the Annual Electric Reliability Report of July 15 or later.3 The Annual Customer Reliability Report with a data submission shall be submitted via advice letter within 30-days of July 15 each year beginning on July 15, 2027. The Annual Electric Reliability Report shall be submitted as part of this Template and  Customer Reliability Schema on all service lists where the Annual Electric Reliability Report are filed and served. Beginning in October 2027, and two weeks after the beginning of each new quarter on October 15, January 15, and April 15 of each year, Pacific Gas and Electric Company, Southern California Edison Company, and San Diego Gas & Electric Company shall submit updated data submissions to align with the annual customer reliability report. These quarterly data submissions on October 15, January 15, and April 15 shall be submitted to the Commission Safety Policy and Energy Division Staff via secure File Transfer Protocol as compliance filings.

If the Joint IOUs want to submit updates or enhancements they shall submit them via an advice letter every 3 years from the date of first submission on July 15, 2029, within 30-days and during this window of time every two years thereafter. Updates and enhancements shall focus on whether or how data and the mechanism of reporting the data is still relevant and whether proposals for

submittal cadence, timing, sequencing and/or integrating existing reporting into this Template and Customer Reliability Schema is reasonable. Upon filing, the Advice Letter shall be served on the service list of this Rulemaking 24-05-023 and in accordance with General Order 96-B.1

Additionally, there is a significant amount of time, effort, and resources required to gather, validate, and report this information to the Commission. Given the substantial resources required, we further emphasize the recommendation that this report be submitted on an annual basis.

Under this submission schedule, data on customer reliability would be provided for the previous calendar year (January 1 to December 31).

The above customer reliability report and data submission reporting requirements shall end on August 15, 2036.

1 Email Ruling Re: Issuance of Ruling Modifying Track 2, dated October 27, 2025. Please note that the title of the referenced ruling contains a typographical error. The title uses the phrasing “Track 2” but the ruling modifies Track 1.

3 CPUC Decision D.16-01-008 directs the California Investor Owned Utilities (PG&E, SCE, SDG&E, Bear Valley Electric Service, PacifiCorp, and Liberty Utilities/CalPeco Electric) to annually prepare electric system reliability reports detailing the previous year’s electric reliability on the system and division levels.

1

1 SPD Recommendation for added language detailing the submission methods of the Narrative Report and the Schema Report described by the Joint IOUs in Appendix C of this document. Compliance filing details based on SPD recommendations during  management discussion for submission requirements.

- Sufficient Time to Provide the First Report

We also respectfully urge the Commission to provide sufficient time for the Joint IOUs to establish processes and procedures for meeting new reporting obligations, gathering the required data, validating the data, and packaging the data in the most useful and understandable form before the Commission requires the submission of the initial report using this template. Because of the significant time and effort required for this work, the Joint IOUs request that the Commission allow at least six additional months from either the finalization of the template or the Annual Electric Reliability Report submission (whichever comes later) before the first report is due.

- Confidentiality

The proposed template for the narrative report and data schema should be classified as a non-confidential public document since there is no apparent confidential information populating the template submittal. Once the submitted narrative report and data schema are fully populated, the Joint IOUs will protect all data deemed confidential; accordingly, this may require some or all these documents to be submitted to the CPUC under declaration of confidentiality.

- Concerns Regarding Customer Outage Analysis Requirement 3.f.

The Ruling Modifying Track 1 requires that the Joint IOUs’ proposed reporting template include “Infrastructure information about the primary circuit that serves the meter (e.g., overhead vs underground).”4 ) The Proposed Customer Reliability Schema currently includes this information on the “Customer Level” tab at lines 17-18.

The Joint IOUs note that the overhead (OH) vs. underground (UG) distinction fails to provide adequate context for the service provided to a customer. At the circuit level, the percentage of OH versus UG does not indicate whether, or to what extent, the service from the substation to the customer is OH or UG. Similarly, identifying the primary service point as OH or UG (e.g., via a padmount transformer or a pole-top transformer) does not necessarily correlate with whether or how much of the service from the substation to the customer is OH or UG. (The IOUs do not maintain how much of the service from the substation to the customer is OH or UG at a customer level.) As a result, the Joint IOUs believe no meaningful information, insights, or conclusions can be drawn from this data. This proposal still provides the percentage of overhead and  underground infrastructure for each customer's primary circuit and will include the conductor  type (i.e. bare/covered/Insulated) in the Customer information table of the data schema.2 Thus, the Joint IOUs recommend that requirement 3.f. be reconsidered, omitted, or revised.

2 SPD recommendation to deny the Joint IOUs request to omit overhead vs underground circuit information is informed by the recommendation 3.f. referred to by IOUs in this section, ALJ’s Ruling Modifying Track 1 Schedule of Activities filed August 22,  2025, at 6

4 See Ruling Modifying Track 1 at Customer Outage Analysis 3.f, p.6, (underlining in original).

2

The Joint IOUs appreciate the opportunity to collaborate and prepare a draft reliability schema and proposed analysis to support our shared goals of a safe and reliable grid for our customers.

# Narrative Requirements

Referenced Section Definitions from R.24-05-023:

- GP – Guiding Principles

- COA – Customer Outage Analysis

- DUA – Defining Units of Analysis

| Ruling Reference | Requirement | Narrative Report Reference |
| --- | --- | --- |
| 1 GP | Must explain how customers are notified and communicated with before, during, and after planned and unplanned outages | Section 1.1 |
| 4 GP | Must propose which existing reports (or reporting requirements) may be redundant and capable of being consolidated in (and required for) any Customer Reliability Report | Section 4 |
| 5 GP | Methodologies, and supporting documents that will enable any Customer Reliability Report to enhance transparency and monitoring. | Section 3 |
| 1 COA | The joint draft Customer Reliability Report Template must define the requirements of an analysis that would, in any submitted Customer Reliability Report, measure and explain the causes of planned and unplanned outages for customers. - Proposing outage cause definitions aligned with current Commission reporting requirements. - Proposing the addition of outage cause definitions based on OEIS Wildfire Mitigation Plan Guidelines, and the Institute of Electrical and Electronics Engineers 1782. Other outage category definitions that are nationally recognized and industry standards may be considered. - Proposing an analysis (and related metrics for reporting) on how Protective Equipment and Device Settings affect reliability performance. - Utilizing demographic, economic, population, geographic units, infrastructure, and customer definitions established in the Defining Units of Analysis. - Proposing an analysis of reliability in disadvantaged and vulnerable communities as well as Tribal governments as established in the Defining Units of Analysis | Section 1.2 Section 2 |

3

| Ruling Reference | Requirement | Narrative Report Reference |
| --- | --- | --- |
| 2 COA | The joint draft Customer Reliability Report Template must define the requirements of a systemwide analysis that measures the frequency and duration of planned and unplanned outages, and number of people. This includes: - Proposing reliability metrics that align with and/or supplement current Commission reliability reporting, and include, but are not limited to: - Total number of outages and duration experienced by unique customers within a designated geographic area. - Existing reported reliability statistical categories used by the IOUs for customers within a designated geographic area. - Identifying groups of customers who experience repetitive outages and the causes. - Augmenting information to address gaps in outage reporting analysis. - Utilizing demographic, economic, population, geographic units, infrastructure, and customer definitions established in the Defining Units of Analysis. - Proposing an analysis of reliability in disadvantaged and vulnerable communities as established in the Defining Units of Analysis. | Section 2 |
| 3 DUA | The joint draft Customer Reliability Report Template must define demographic, economic, and population data for customer types that will be used in the Customer Outage Analysis that is included in any submitted Customer Reliability Report to assess patterns of planned and unplanned outages. A. Defining residential customer types to include medical baseline, multi-residential, and any other relevant categories. b. Categorizing commercial customers using the North American Industry Classification System (NAICS). c. Defining community characteristics that include disadvantaged, vulnerable communities as defined by existing tools or metrics (see Public Utilities Code section 1601(e)6) | Section 2 |

4

# Appendix A: Proposed Narrative Report Template

## Section 1: Utility Procedures

- Notifications: IOU must explain how customers are notified or communicated during the  outage (planned, unplanned i.e., PSPS) event: IOU must explain how customers are  notified or communicated during different outage types: Planned outage report for PSPS, Fast-Trip, and EPSS events. Unplanned outage reporting for weather or extreme event  and non-extreme event outages:

  - Before an outage occurs (Planned outages only)

  - During an outage

  - After the outage

  - Before, during, and after PSPS and PEDS events per ESRB-8 and D.19-05-042 or any follow up decision stemming from R.18-12-0053

  - Communication efforts made to Public Safety Partners and customers with medical needs during outages4

- Mitigation Actions: Each IOU must explain what steps were taken to prevent, restore and mitigate outages:

  - Preventing outages

  - Restoring outages

  - Mitigating outages

- Shared Definitions:

  - Access and Functional Needs (AFN): Any customers falling under the GO166 definition for Access and Functional Needs Populations

  - Essential Customers: Any customers falling under the GO166 definition for Essential Customers along with D. 02-04-060

  - Region/District: IOUs’ definition of Region and District

3 See Opening comments of Center for Accessible Technology, January 9, 2026, at 4 ("The template should require separate explanations for: How customers are notified IN ADVANCE of planned maintenance outages; How customers are notified IN  ADVANCE of PSPS/de-energization events (which have distinct notification requirements under R.18-12-005); How utilities  communicate with customers DURING different types of outages, with separate discussions for: planned maintenance, PSPS,  weather-related unplanned, fast-trip unplanned, and other unplanned outages; How utilities communicate with customers  AFTER the conclusion of outages."); opening comments of Center for Accessible Technology, January 9, 2026, at 2 ("The  template makes no reference to fast-trip outages (also called EPSS by PG&E). The Scoping Memo specifically addresses fast-trip  outages, so the IOUs must clarify that the template incorporates this data."); reply comments of Joint Local Governments and Joint CCAs, January 26, 2026, at 2-3 ("De-energization (PSPS) and fast-trip (EPSS) outage information should be specifically  identified and analyzed in the utilities' reports.").

4 See opening comments of Center for Accessible Technology, January 9, 2026, at 4, 6 ("Notifications to Public Safety Partners should be discussed separately from general customer notifications. Public Safety Partners include first responders at local,  state and federal levels, water and communication providers, CCAs, affected POUs and electrical cooperatives, the Commission,  CalOES and CAL FIRE, as defined in R.18-12-005. These entities play critical roles in emergency response and require specific  communication protocols. The template should include specific discussion of communication and outreach to the most  vulnerable customer groups, particularly those with medical needs who face heightened health and safety risks during outages.").

  - Census Geographic Levels: Census County and Tract5

  - Customer Type:

    - Residential

    - Multi-residential

    - Commercial

  - Public Safety Partners: Entities with critical emergency response roles during outages, as  defined in R.18-12-005. First Responders at the local, state and federal level, water and  communication providers, CCAs, affected POUs/electrical cooperatives, the Commission, California Office of Emergency Services and California Department of Fire and Forestry Protection. 6

  - Community Type:

    - Disadvantaged communities (DAC): Define by SB535

    - Tribal communities: Defined by California Native American Heritage Commission

  - Cause codes:

  - IEEE 1782 Section 4.4 (Category ONLY – No subcategory)

- Customer indices:

  - CEMI: IEEE 1366

  - CELID (Total): IEEE 1366

  - Outage Definition:

    - Planned: Outages where customers are able to be notified, excluding PSPS  outages

      - Public Safety Power Shutoff/De-energization (PSPS)

      - Fast-Trip (Emergency Power Supply System – EPSS)7

    - Unplanned: All other outages, including PSPS. No secondary outages. Unplanned:

5 See reply comments of Joint Local Governments and Joint CCAs, January 26, 2026, at 3 ("The Commission should adopt RCRC's recommendation to include a geospatial overlay of reliability metrics at the census tract or county level to provide more  granular insight into reliability issues impacting vulnerable communities."); opening comments of City and County of San  Francisco, January 9, 2026, at 2 ("Rather than relying solely on aggregated narrative descriptions of notification practices, the template should require disaggregated data showing notification performance by geography, demographics, and equity metrics. This would allow stakeholders to identify whether notification practices are reaching all affected populations effectively.").

6 See opening comments of Center for Accessible Technology, January 9, 2026, at 5-6 ("The template should add a definition for 'Public Safety Partners' using the definition from R.18-12-005: 'First responders at local, state and federal level, water and  communication providers, CCAs, affected POUs and electrical cooperatives, the Commission, CalOES and CAL FIRE.' The  template should require utilities to report on notifications to Public Safety Partners and coordination with them for mitigation  purposes.").

7 See opening comments of Public Advocates Office, January 9, 2026, at 3-5 ("PSPS is the result of a utility executive decision to shut off power - it is the exemplar illustration of what a utility can accomplish when given advance notice. In no way is PSPS an  unplanned outage. Classifying PSPS as 'unplanned' would mix outages that could cause a wildfire ignition with outages that are  caused by a wildfire mitigation program."); opening comments of Center for Accessible Technology, January 9, 2026, at p. 3  ("PSPS events should be classified as planned outages, not unplanned. PSPS involves utilities making deliberate operational  decisions to de-energize power lines based on fire weather forecasts and system conditions. These are planned events that  trigger specific notification requirements under R.18-12-005."); reply comments of Center for Accessible Technology, January  26, 2026, at 4 ("In no way is a PSPS an unplanned outage."); reply comments of Joint Local Governments and Joint CCAs, January 26, 2026, at 3 ("We agree with Cal Advocates and CforAT that the proposal to designate de-energization events as 'unplanned' is questionable, given that the utilities control the decision to shut the power off and generally have lead-time before making that  decision."); opening comments of Center for Accessible Technology, January 9, 2026, at 2, 4 ("The template makes no reference  to fast-trip outages (also called EPSS by PG&E). The Scoping Memo specifically addresses fast-trip outages, so the IOUs must  clarify that the template incorporates this data."); reply comments of Joint Local Governments and Joint CCAs, January 26, 2026, at 2-3 ("De-energization (PSPS) and fast-trip (EPSS) outage information should be specifically identified and analyzed in the  utilities' reports.").

Outages that occur without advanced customer notification. No secondary outages.

      - Extreme weather event outages (major storms, heat events, natural  disasters)

      - Non-extreme event outages. 8

5

8 See opening comments of Public Advocates Office, January 9, 2026, at 6 ("Without this information, it is impossible to evaluate utility performance in relation to weather conditions, Red Flag Warnings, seasonal patterns, or climate-driven events. This data  is essential for analyzing the effectiveness of wildfire mitigation measures and understanding how utilities are responding to  specific environmental conditions.").

## Section 2: Proposed Reliability Metrics

IOU must explain and suggest reliability metrics for:

- Economics

- Geographics

- Demographics

*See 3 COA *Please note, Rulemaking does not require that we make metrics and share them within PDF. The Joint IOUS are only asked to suggest metrics for the above.

- CEMI (Customers Experiencing Multiple Interruptions) Summary from 5+ (Includes MED and exclude MED)

  - Summary CEMI (5+) over the total number of customers served

  - Summary CEMI (5+) over the districts

  - Summary CEMI (5+) under AFN categorization

  - Summary CEMI (5+) under different Customer Type

  - Summary CEMI (5+) under different Community Type

  - Summary CEMI (5+) for outages only with protective equipment enabled

- CELID ( Cust ome rs Expe rien c in g Lon g Inte rrupt ion Dur atio ns ) (Total) Summary from 8+ (Includes MED and exclude MED)

  - Summary CELID (8+) over the total number of customers served

  - Summary CELID (8+) over the districts

  - Summary CELID (8+) under AFN categorization

  - Summary CELID (8+) under different Customer Type

  - Summary CELID (8+) under different Community Type

  - Summary CELID (8+) for outages only with protective equipment enabled

- SAIDI (System Average Interruption Duration Index)

  - Summary SAIDI across all customers served

  - Summary SAIDI by district

  - Summary SAIDI under AFN categorization

  - Summary SAIDI under different Customer Type

  - Summary SAIDI under different Community Type

  - Summary SAIDI for outages only with protective equipment enabled

- SAIFI (System Average Interruption Duration Index)

  - Summary SAIFI across all customers served

  - Summary SAIFI by district

  - Summary SAIFI under AFN categorization

  - Summary SAIFI under different Customer Type

  - Summary SAIFI under different Community Type

  - Summary SAIFI for outages only with protective equipment enabled

- CAIDI (System Average Interruption Duration Index)

  - Summary CAIDI across all customers served

  - Summary CAIDI by district

  - Summary CAIDI under AFN categorization

  - Summary CAIDI under different Customer Type

  - Summary CAIDI under different Community Type

  - Summary CAIDI for outages only with protective equipment enabled

- MAIFI (System Average Interruption Frequency Index)9

  - Summary MAIFI across all customers served

  - Summary MAIFI by district

  - Summary MAIFI under AFN categorization

  - Summary MAIFI under different Customer Type

  - Summary MAIFI under different Community Type

  - Summary MAIFI for outages only with protective equipment enabled All metrics will be sortable by individual economic indicators such as:

    - Area median income, poverty level, geographic indicators (rural, suburban, urban), and demographic indicators (CalEnviroScreen score, life expectancy, etc.)10

## Section 3: Methodology and Use Limitations

Describe the methodology for how the data were developed. This includes, at a minimum, identifying the sources (by filename) from which the data were derived and an explanation of how data were pulled from those sources. Also, describe any data field collection techniques aligned with Data Standards Metadata Guidelines.

Methodology will consist of CEMI, and CELID, SAIDI, and SAIFI11 calculations for Section 2: Demographic Reliability Metrics. Pending limitations until analysis/data is established.

6

9 SPD recommendation to include SAIDI (System Average Interruption Duration Index) and SAIFI (System Average Interruption Frequency Index) as standard IEEE 1366 reliability metrics, in addition to CEMI and CELID, to provide a view of system reliability  performance. Informed by party requests for both averaged and un-averaged data. See opening comments of Joint Local  Governments and Joint CCAs, January 9, 2026, at 6-7; reply comments of Joint Local Governments and Joint CCAs, January 26,  2026, at 4.

10 SPD recommendation to provide these additional criteria based on Ruling recommendations for identifying differing economic and demographic customer groups ALJ’s Ruling Modifying Track 1 Schedule of Activities filed August 22, 2025, at 6

11 SPD recommendation to include SAIDI (System Average Interruption Duration Index) and SAIFI (System Average Interruption Frequency Index) as standard IEEE 1366 reliability metrics, in addition to CEMI and CELID, to provide a view of system reliability  performance. Informed by party requests for both averaged and un-averaged data. See opening comments of Joint Local  Governments and Joint CCAs, January 9, 2026, at 6-7; reply comments of Joint Local Governments and Joint CCAs, January 26,  2026, at 4.

## Section 4: Report Alignment to CPUC & OEIS

- Wildfire Mitigation Data Report (WMDR)

  - For efficiency and to avoid redundancy, the Joint Utilities would point CPUC to the WMDR quarterly spatial report for the following data requested. This data consistently refreshes on a quarterly basis. The CircuitID field can be used to join data from this Customer Reliability Report to the Spatial Wildfire Mitigation Data Report. See WMDR Schema Appendix C for reference.

| Customer Reliability Report Data Request | Description | Joint Utility Notes | Data Location |
| --- | --- | --- | --- |
| Outage Cause Details | Utilities are to provide outage level details |  | WMDR Unplanned Outage Feature Class |
| Preventative and Mitigation Activities | Utilities WMP programs |  | WMDR Initiatives Feature Datasets (Asset Inspection Point, Asset, Grid, VM) |
| Improvement Buckets | Reliability Improvement |  | WMDR Initiatives Feature Datasets (Asset Inspection, Grid Hardening, VM) |
| Circuit Information | OH, UG Assets |  | WMDR Asset Line Feature Dataset (Transmission, Primary Distribution, Secondary Distribution) |
| General Area Information | Service Territory, District, Division, DAC, Tribal Designation |  | WMDR Admin Area Feature Dataset (All)12 |

- Annual Electric Reliability Reporting Requirements for California Electric Utilities

  - Decision 16-01-008, Rulemaking 14-12-014 (Filed Dec 18th, 2014)

12 SPD recommendation to eliminate the Joint IOU proposal for Outage Cause Details and General Area Information to be pulled from the WMPQDR. Outage cause details and general area information are already provided in the data schema. This addresses  party concerns about streamlined reporting and data integration. See opening comments of Public Advocates Office, January 9,  2026, at 7-8; opening comments of Joint Local Governments and Joint CCAs, January 9, 2026, at 1-2.

7

## Section 5: Joint Utility Recommendations and Requirement Interpretations

- Requirement Interpretations:

| Customer Reliability Report Data Requirements | Description | Joint Utility Notes | Data Location |
| --- | --- | --- | --- |
| Notification Type | Data must show how customers are notified and communicated before, during, and after planned and unplanned outages. | Joint utilities are providing data for this requirement in written format found in Section1: Utility Procedures of this document. This is because customers receive an array of notification types depending on the outage type. | N/A |
| Prevention, Restoration and Mitigation for Outages | Must show cause, prevention, restoration, and mitigation for outages (planned and unplanned). | Joint utilities are providing data for this requirement in written format found in Section 1: Utility Procedures of this document. | N/A |
| Electric Distribution Infrastructure | Must define the categories of electric distribution infrastructure to be represented along designated geographic units | Joint utilities are providing OH and UG information as a percentage at the customer level (see appendix). Asset data is also available within the WMDR. | Customer Level, WMDR Assets |
| Customer meters with a decline in average reliability greater than “X percent, as measured by the reliability metrics in part (a), over the past 5 years. | Each utility will identify the customers with a CEMI (5+) for 5 consecutive years (reporting year + 4 previous years) in the | Joint utilities are providing customer level reliability in the underlying data schema | Customer Level Table |

8

| Customer Reliability Report Data Requirements | Description | Joint Utility Notes | Data Location |
| --- | --- | --- | --- |
|  | underlying data schema |  |  |
| Improvement Buckets | Must define reliability improvement categories to be represented along designated geographic units | Joint utilities are providing WMP Initiative information. They may provide reliability improvement efforts that are not specifically documented in the WMP response. | WMDR Initiatives |

9

# Appendix B : Proposed Customer Reliability Schema

Customer level information to provide to the CPUC underseal in a separate report for the reporting calendar for both planned and unplanned outages:

  - Appendix B - Proposed Customer Reliability Schema.xlsx

    - Data Requirements

    - Customer Level Table

    - Customer Notification Table

    - Outage Level Table

# Appendix C : WMDR Schema

WMDR schema will not be expressly filled out for this report's submission, as the required data is already available in the OEIS WMDR quarterly reports. See Section 4 for more details:

  - Appendix C - WMDR Schema.xlsx

    - Primary Distribution Line

    - Transmission Line

    - Substation

    - Grid Hardening

    - Asset Inspection

    - Vegetation Inspection

    - Vegetation Management

10

Data Requirements from Customer Reliability Reporting Template (Grid Reliability OIR R.24-05-023)

| Requirement | Description | Reference | Source |
| --- | --- | --- | --- |
| Customer Information | Measure and explain the causes of planned and unplanned outages for customers | 1 COA | Customer Level |
| Outage Categorization | Define and align outage categories to include all types of planned and unplanned outages | 1 DUA | Outage Level |
| Notifications | Data must show how customers are notified and communicated before, during, and after planned and unplanned outages. | 1.1 GP | Narrative Report |
| Cause Definitions | Defined outage causes. | 1.aCOA, 1.b COA | Outage Level |
| Protective Equipment and Device Settings affect reliability performance | Data on EPSS and device settings must be leveraged for analysis. | 1.c COA, 3.c. COA | Outage Level |
| Demographic Analysis | Customer Demographic information. | 1.d COA | Customer Level |
| Vulnerablity Analysis | Reliability in disadvantaged and vulnerable communities as well as Tribal governments. | 1.e COA | Customer Level |
| Outage Frequency | Measures the frequency and duration of planned and unplanned outages, and number of people | 2 COA | Customer Level |
| Outage Cause Details (Cause, prevention, restoration, mitigation) | Must show cause, prevention, restoration, and mitigation for outages (planned and unplanned). | 2 GP | Narrative Report |
| Federal Info Processing Standards | Defines census tracts, counties, metro stats, etc. | 2.a DUA | Customer Level |
| Total outages and duration by unique customers | Within designated geographic areas. ID groups who experience repetitive outages and causes. | 2.a. COA | Customer Level |
| Native American Heritage | List of Tribes for Native American/Tribal distinction. | 2.b DUA | Customer Level |
| Protective Equipment and Device Settings performance | Protective Equipment and Device Settings affect reliability performance | 2.c COA | Outage Level |
| Geographic Units | geographic units unique to the IOU. | 2.d DUA | Customer Level |
| Aligned Contents, Metrics , Analysis with other commissioned CPUC reports | Must leverage and connect info from existing reports for planned/ unplanned outages. | 3 GP | Narrative Report |
| Customer Type | medical baseline, multi-residential. | 3.a DUA | Customer Level |
| Customer Reliability | Currently used reliability metrics (e.g., CEMI, CELID) | 3.a-c COA | Customer Level |
| Commercial Customers Categorized | Categorizing commercial customers using the North American Industry Classification System (NAICS). | 3.b DUA | Customer Level |
| Social Vulnerability Index | Disadvantaged, vulnerable communities and outage impacts. | 3.c DUA | Customer Level |
| Declining reliability customers | Customer experience a CEMI (5+) for 5 consecutive years. | 3.d COA | Customer Level |
| Outage Duration Details | Ratio of Planned and Unplanned Analysis, Momentary and Secondary. | 3.e COA | Customer Level |
| Outage by Meter | The number and total duration of outages at each meter. | 3b COA | Customer Level |
| Asset Location | Infrastructure information about the primary circuit that serves the meter (e.g., overhead vs underground). | 3f COA | Customer Level |
| Electric Distribution Infrastructure | categories of electric distribution infrastructure to be represented along designated geographic units. | 4 DUA | Customer Level |
| Identify redundant reports | Identify reports capable of being consolidated in this report. | 4 GP | Narrative Report |
| Improvement Buckets | define reliability improvement categories to be represented along designated geographic units. | 5 DUA | Narrative Report |
| Customer Privacy | Ensure PII adherence and data sharing best practices. | 6 DUA | Narrative Report |

Link to Data Guidelines:	https://efiling.energysafety.ca.gov/eFiling/Getfile.aspx?fileid=58132&shareable=true&_gl=1*12vc9dw*_ga*NTIwNzU3ODIzLjE3NTM3NDI4MTY.*_ga_69TD0KNT0F*czE3NTgyMzYzNDUkbzE0JGcwJHQxNzU4MjM2MzQ1JGo2MCRsMCRoMA..*_ga_340RFMFNWY*czE3NTgyMzYzNDUkbzgk  ZzAkdDE3NTgyMzYzNDUkajYwJGwwJGgw*_ga_DCP197HRSL*czE3NTgyMzYzNDUkbzEzJGcwJHQxNzU4MjM2MzQ1JGo2MCRsMCRoMA..

### Submission Format

###### Narrative Report: Submit as a PDF or Word document; and

###### Data underpinning the report should be made available to

###### the CPUC through a secure File Transfer Protocol and updated with each report submission

### Referenced Section Definitions from R.24-05-023

###### GP - Guiding Principles

###### COA - Customer Outage Analysis DUA - Defining Units of Analysis

Customer Level from Customer Reliability Reporting Template (Grid Reliability OIR R.24-05-023)

| General Category/Description | Field | Data Type/Entry | Definitions | Referenced Section | Eotes |
| --- | --- | --- | --- | --- | --- |
| Primary key of customer | MeterID | Numerical |  | Customer Outage Analysis/Section 3 | One record per customer. {Eǆ. 2Ϭ25) |
| Geographic/Demographic | AFN | Y/N | GO166 | Customer Outage Analysis/Section 3a |  |
| Geographic/Demographic | MBL | Y/N | GO166 | Customer Outage Analysis/Section 3a |  |
| Geographic/Demographic | Essential Customer | Y/N | GO166 | Customer Outage Analysis/Section 3a |  |
| Geographic/Demographic | Region | String | Define by IOU | Customer Outage Analysis/Section 3 |  |
| Geographic/Demographic | District | String | Define by IOU | Customer Outage Analysis/Section 3{ii) |  |
| Geographic/Demographic | FIPS County Code | String | FIPs | Customer Outage Analysis/Section 3{i) | Confirm Census track to use ũointly͖ ǁhich code |
| Geographic/Demographic | Customer Type | Residential/Multi- Residential/Commercial |  | Defining Units of Analysis/Section 3a and 3b |  |
| Geographic/Demographic | North American Industry Classification System {NAICS) | String | Categorizing commercial customers using the North American Industry Classification System {NAICS) | Defining Units of Analysis/Section 3b |  |
| Geographic/Demographic | Origin Land Use | Domain |  | Defined Units of Analysis/Section 2a |  |
| Geographic/Demographic | Wildland Urban Interface | Domain | California Fire Code {Title 24, Part 7) | Defined Units of Analysis/Section 2a |  |
| Geographic/Demographic | High Fire Threat District | Domain | Cal Fire | Defined Units of Analysis/Section 2a |  |
| Geographic/Demographic | Disadvantaged Communities {DAC) | String | SB535 | Customer Outage Analysis/1e, Defined Units of Analysis/Section 3c |  |
| Geographic/Demographic | Native American Tribe Distinction | Tribal | California Native American Heritage Commission's list of tribes. | Defining Units of Analysis/Section 2b |  |
| Infrastructure | OH | Percentage | Percent overhead miles on the circuit | Customer Outage Analysis/Section 3f |  |
| Infrastructure | UG | Percentage | Percent underground miles on the circuit | Customer Outage Analysis/Section 3f |  |
| Infrastructure | CircuitID | Numerical | Circuit identifier in WMDR | Customer Outage Analysis/Section 3f |  |
| Reliability {Reporting Calendar Year) | Number of Planned Outages | Numerical | IEEE 1366 CEMI | Customer Outage Analysis/Section 3eiii |  |
| Reliability {Reporting Calendar Year) | Number of Unplanned Outages | Numerical | IEEE 1366 CEMI | Customer Outage Analysis/Section 3eiii |  |
| Reliability {Reporting Calendar Year) | Ratio of Planned/Unplanned Outages | Numerical | Not defined in any industry standard | Customer Outage Analysis/Section 3eii |  |
| Reliability {Reporting Calendar Year) | Ratio of M/S Outages | Numerical | Not defined in any industry standard | Customer Outage Analysis/Section 3eiii |  |
| Reliability {Reporting Calendar Year) | Number of Momentary Outages | Numerical | Not defined in any industry standard | Customer Outage Analysis/Section 3b |  |
| Reliability {Reporting Calendar Year) | Number of Sustained Outages {CEMI) | Numerical | IEEE 1366 CEMI | Customer Outage Analysis/Section 3b |  |
| Reliability {Reporting Calendar Year) | Maǆ Duration {hr) - CELID{s) | Numerical | IEEE 1366 CELID {single) | Customer Outage Analysis/Section 3b |  |
| Reliability {Reporting Calendar Year) | Total Duration {hr) - CELID{t) | Numerical | IEEE 1366 CELID {total) | Customer Outage Analysis/Section 3b |  |
| Reliability {Reporting Calendar Year) | Average Duration {hr) | Numerical |  | Customer Outage Analysis/Section 3a |  |
| Reliability {Reporting Calendar Year) | CEMI {5н) for 5 Years | Y/N | IEEE 1366 CEMI - Customer eǆperience a CEMI {5н) for 5 consecutive years | Customer Outage Analysis/Section 3b |  |

Customer Notifications from Customer Reliability Reporting Template (Grid Reliability OIR R.24-05-023)

| General Category/Description | Field | General Category/Description | Data Type/Entry | Referenced Section | Eotes |
| --- | --- | --- | --- | --- | --- |
| Primary key of customer | MeterID | Unique ID for a specific meter. Must be a traceable stable ID within the electrical corporation’s operations/processes. Primary key for the Customer Meter feature. This field is required. | Integer | 1 COA | Many |
| Primary key of outage | OutageID | The unique ID for outage event. Primary key for the Transmission Unplanned Outage feature class. This field is required | Text | 1.1 GP | Many |
| Reliability {Reporting Calendar Year) | BeforeNotification | Was a notification sent to customer prior to a planned outage. | Domain: Yes, No | 1.1 GP |  |
| Reliability {Reporting Calendar Year) | BeforeNotificationType | Type of notification sent. Null if no notification. | Domain for Methodology: Letters, Text, Calls, Door knocks, Other, see comment | 1.1 GP |  |
| Reliability {Reporting Calendar Year) | BeforeNotificationTypeComment | Provide comment if "Other, see comment" was utilized in BeforeNotificationType. | Text | 1.1 GP |  |
| Reliability {Reporting Calendar Year) | DuringNotification | Was a notification sent to customer during the outage. | Domain: Yes, No | 1.1 GP |  |
| Reliability {Reporting Calendar Year) | DuringNotificationType | Type of notification sent. Null if no notification. | Domain for Methodology: Letters, Text, Calls, Door knocks, Other, see comment | 1.1 GP |  |
| Reliability {Reporting Calendar Year) | DuringNotificationTypeComment | Provide comment if "Other, see comment" was utilized in DuringNotificationType. | Text | 1.1 GP |  |
| Reliability {Reporting Calendar Year) | AfterNotification | Was a notification sent to customer after the outage. | Domain: Yes, No | 1.1 GP |  |
| Reliability {Reporting Calendar Year) | AfterNotificationType | Type of notification sent. Null if no notification was sent to the customer. | Domain for Methodology: Letters, Text, Calls, Door knocks, Other, see comment | 1.1 GP |  |
| Reliability {Reporting Calendar Year) | AfterNotificationTypeComment | Provide comment if "Other, see comment" was utilized in AfterNotificationType. | Text | 1.1 GP |  |

Outage Level from Customer Reliability Reporting Template (Grid Reliability OIR R.24-05-023)

| General Category/Description |  |  | Field | General Category/Description | Data Type/Entry | Referenced Section | Eotes |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Primary Key of outage |  |  | OutageID | Primary key for Outage feature class. This field is required. | Text | 1.1 GP |  |
| Reliability {Reporting Calendar Year) |  |  | PlannedUnplanned | Was the outage planned our unplanned. | Domain: Planned, Unplanned | 2 GP |  |
| Reliability {Reporting Calendar Year) |  |  | StartTime | Date and time value of outage start | Date/Time | COA 3.a |  |
| Reliability {Reporting Calendar Year) |  |  | EndTime | Date and time value of outage end | Date/Time | COA 3.a |  |
| Reliability {Reporting Calendar Year) |  |  | BasicCause | High-level category for event cause. Possible values: • Dig-in • Fire • Object contact • Vegetation contact • Equipment failure • Wire-to-wire contact • Contamination • Vandalism/theft • Lightning • Government agency request • Customer request • Emergency repairs • Unknown • Planned • Other, see comment | Domain: see description | 2 GP, 1a COA, 1b COA |  |
| Reliability {Reporting Calendar Year) |  |  | Planned_PSPS | Was the outage planned as a PSPS event. | Boolean (Yes, No) | COA 3.a |  |
| Reliability {Reporting Calendar Year) |  |  | Planned_PEDS | Was the outage planned as a PEDS event. | Boolean (Yes, No) | COA 3.a |  |
| Reliability {Reporting Calendar Year) |  |  | BasicCauseComment | Add "Other, see comment" details | Domain: see description | 2 GP, 1a COA, 1b COA |  |
| Reliability {Reporting Calendar Year) |  |  | RapidFaultSetting | Identify whether rapid fault detection settings were used for this outage (aka EPSS, fast trip, fast curve, etc.). Possible values: • Yes • No This field is required. | Domain: Yes, No | 1c COA, 3e COA |  |
| Reliability {Reporting Calendar Year) |  |  | ReclosureSetting | If the subject circuit is equipped with reclosing capabilities, indicate whether the reclose function was enabled or disabled at the time of the outage. If the subject circuit is not equipped with reclosing capabilities, enter “N/A.” Possible values: • Enabled • Disabled • N/A This field is required. | Domain: Enabled, Disabled, N/A | 1c COA, 3e COA |  |
| Reliability |  |  | AFN_Customers | Count of customers with active AFN status impacted by outage | Integer | 4 DUA |  |
| {Reporting Calendar Year) |  |  |  |  |  |  |  |

| Reliability {Reporting Calendar Year) | MBL_Customers | Count of customers with active MBL status impacted by outage | Integer | 4 DUA |
| --- | --- | --- | --- | --- |
| Reliability {Reporting Calendar Year) | Essential_Customers | Count of customers with active Essential Customer status impacted by outage | Integer13 | 4 DUA |
| Reliability {Reporting Calendar Year) | IsolationDeviceType | Type of protective device that operated. Possible values: • Circuit breaker - Fuse • Recloser • Switch • Other, see comment • Use “N/A” only where no device operated. | Domain: Circuit breaker, fuse, reclosure, switch | 1c COA |
| Foreign key of circuit | CircuitID | ID of circuit associated with asset. Foreign key to the asset line features if the electrical corporation does not have persistent unique segment IDs. This field OR SegmentID is required. | Integer | 3f COA |

13 See opening comments of Public Advocates Office, January 9, 2026, at 5-6 ("The customer status associated with a meter is not static. Customers may enroll in or disenroll from Medical Baseline or AFN programs, customers may move to different addresses, and new customers may move into a location previously occupied by an AFN customer. Because many of these changes will occur over the course of a year, a single annual report will contain inaccuracies unless the utilities evaluate and provide information on customer status at the time of each outage  event. The utilities must clarify how they propose to accurately record a given outage's impact on a sensitive customer class on a per-event basis, maintaining a record of changes throughout the year."); reply comments of Public Advocates Office, January 26, 2026, at 5 ("Cal  Advocates also points out that the customer status associated with a meter is not static; for example, a customer may become AFN or Medical Baseline or customers may move to different addresses. As many of these changes will occur over a year, a single annual report will contain  inaccuracies unless the utilities evaluate and provide information on customer status at the time of each event."); opening comments of Center for Accessible Technology, January 9, 2026, at 5-7 ("While the AFN definition from GO 166 is appropriate, the Commission should also  require utilities to separately break out data about 'Known Customers with Disabilities or Medical Needs.' This population faces unique heightened health and safety risks during power outages that require specific analysis beyond the broader AFN category."); opening comments of  Joint Local Governments and Joint CCAs, January 9, 2026, at 3 ("Essential Customers are defined in the Shared Definitions but do not appear in the itemized 'Customer Types' list. Outage impacts to essential customers—which include critical infrastructure and public safety partners—are integral to understanding community impacts and public safety risks during outages.").

Appendix C: WMDR Schema

List of Reference Feature Classes

Please note, existing quarterly WMP reporting already provides a comprehensive view of the following infrastructure and initiatives performed within the electrical corporations service territories. Joint utilities are providing the existing schema of this report in the appendix to use as reference and to satisfy the guiding principles regarding mitigation and prevention insights.

Primary Distribution Line Transmission Line Substation

Grid Hardening Asset Inspection Vegetation Inspection

Vegetation Management

#### Primary Distribution Line Feature Class

| Feature | Field | Description | Aligns with Office of Energy Infrastructures mandatory Data Guidelines Reporting? | Data Guidelines Location, Page# | Data Type |
| --- | --- | --- | --- | --- | --- |
| Primary Distribution Line | SegmentID | Unique ID of circuit segment. Must be a unique value that identifies this portion of the circuit and a traceable stable ID within the electrical corporation’s operations/processes. Primary Key for the feature class unless the electrical corporation does not uniquely identify segments with persistent IDs. This field is required IF the electrical corporation has persistent stable IDs for circuit segments. A segment may be anything more granular than a circuit, including a single span. | Yes | 18 | Text |
| Primary Distribution Line | CircuitID | Unique ID for a specific circuit. Must be a traceable stable ID within the electrical corporation’s operations/processes. Primary Key for the feature class if the electrical corporation does not uniquely identify segments with persistent IDs. This field is required. | Yes | 18 | Text |
| Primary Distribution Line | UtilityID | Standardized identification name of the electrical corporation. Possible values: • BVES • HWT • Liberty • LS Power • PacifiCorp • PG&E • SCE • SDG&E • TBC This field is required. | Yes | 18 | Domain |
| Primary Distribution Line | SubstationID | ID of substation associated with asset. Foreign key to the Substation feature. This field is required. | Yes | 18 | Text |
| Primary Distribution Line | CircuitName | Name of circuit associated with asset. Leave null if there is no unique circuit name that is different than the circuit ID. There is no need to repeat CircuitID values in this field. This field is optional. | Yes | 18 | Text |
| Primary Distribution Line | ConductorType | Type of conductor. Possible values: • Bare • Covered • Insulated • Other, see comment This field is required. | Yes | 18 | Domain |
| Primary Distribution Line | ConductorTypeCommen t | Conductor type not listed in the options above. This field is required IF ConductorType is “Other, see comment”. | Yes | 18 | Text |
| Primary Distribution Line | AssetOHUG | Is the asset overhead or underground? Possible values: • Overhead - Underground This field is required. | Yes | 19 | Domain |
| Primary Distribution Line | NominalVoltagekV | Nominal voltage (in kilovolts) of conductor. Do not use more than two decimal places. This field is required. | Yes | 19 | Number |
| Primary Distribution Line | OperatingVoltagekV | Operating voltage (in kilovolts) of conductor. Do not use more than two decimal places. This field is required. | Yes | 19 | Number |

| Primary Distribution Line | SubstationName | Name of substation associated with asset. This field is optional. | Yes | 19 | Text |
| --- | --- | --- | --- | --- | --- |
| Primary Distribution Line | ConductorMaterial | Conductor material. Possible values: • All aluminum conductor (AAC) • All aluminum alloy conductor (AAAC) • Aluminum conductor aluminum reinforced (ACAR) • Aluminum conductor steel reinforced (ACSR) • Aluminum conductor steel supported (ACSS) • Copper (Cu) • Other, see comment This field is required. | Yes | 19 | Domain |
| Primary Distribution Line | ConductorMaterialCom ment | Conductor material not listed in the options above. This field is required IF ConductorMaterial is “Other, see comment”. | Yes | 19 | Text |
| Primary Distribution Line | ConductorSize | Size of conductor (e.g., No. 4 Cu or 1/0 ACSR). This field is required. | Yes | 19 | Text |
| Primary Distribution Line | ConductorOD | Overall diameter of the conductor in inches. This field is required. | Yes | 19 | Number |
| Primary Distribution Line | LastInspectionDate | Date of the last inspection. This field is required. | Yes | 19 | Date |
| Primary Distribution Line | LastMaintenanceDate | Date of the last maintenance. This field is required. | Yes | 19 | Date |
| Primary Distribution Line | InstallationDate | Date the asset was installed. This field OR InstallationYear OR EstimatedAge is required. | Yes | 19 | Date |
| Primary Distribution Line | InstallationYear | Year of asset installation. Use four digits. This field OR InstallationDate OR EstimatedAge is required. | Yes | 19 | Number |
| Primary Distribution Line | EstimatedAge | The estimated age of the asset in years. Only use this field if the InstallationYear and InstallationDate values are unknown. Possible values: • 0-9 • 10-19 • 20-29 • 30-39 • 40-49 • 50-59 • 60-69 • 70-79 - 80-89 • 90-99 • 100+ This field OR InstallationDate OR InstallationYear is required. | Yes | 19 | Domain |
| Primary Distribution Line | UsefulLifespan | The number of years an asset is expected to have a useful functioning existence upon initial installation. This field is required. | Yes | 19 | Number |
| Primary Distribution Line | AmpacityRating | Nominal ampacity rating of the conductor in amperes. This field is required. | Yes | 20 | Number |
| Primary Distribution Line | OverallUtilityRisk | Overall risk calculated for the segment as required in WMP guidelines section 4. Note that the electrical corporation is not required to calculate risk for lines vs. support structures, only to do one or the other. Depending on the electrical corporation’s approach, it may report risk for line segments for some or all of its infrastructure, or it may calculate for both. This field is required IF the electrical corporation performs its risk ranking on primary distribution lines (rather than on support structures only). | Yes | 20 | Number |

| Primary Distribution Line | IgnitionRisk | Ignition risk (component of overall risk) calculated for the segment as required in WMP guidelines section 4. Note that the electrical corporation is not required to calculate risk for lines vs. support structures, only to do one or the other. Depending on the electrical corporation’s approach, it may report risk for line segments for some or all of its infrastructure, or it may calculate for both. This field is required IF the electrical corporation performs its risk ranking on primary distribution lines (rather than on support structures only). | Yes | 20 | Number |
| --- | --- | --- | --- | --- | --- |
| Primary Distribution Line | PSPSRisk | PSPS Risk (component of overall risk) calculated for the segment as required in WMP guidelines section 4. Note that the electrical corporation is not required to calculate risk for lines vs. support structures, only to do one or the other. Depending on the electrical corporation’s approach, it may report risk for line segments for some or all of its infrastructure, or it may calculate for both. This field is required IF the electrical corporation performs its risk ranking on primary distribution lines (rather than on support structures only). | Yes | 20 | Number |

#### Transmission Feature Class

| Feature | Field | Description | Aligns with Office of Energy Infrastructures mandatory Data Guidelines Reporting? | Data Guidelines Location, Page# | Data Type |
| --- | --- | --- | --- | --- | --- |
| Transmission Line | SegmentID | Unique ID of circuit segment. Must be a unique value that identifies this portion of the circuit and a traceable stable ID within the electrical corporation’s operations/processes. Primary Key for the feature class unless the electrical corporation does not uniquely identify segments with persistent IDs. This field is required IF the electrical corporation has persistent stable IDs for circuit segments. A segment may be anything more granular than a circuit, including a single span. | Yes | 23 | Text |
| Transmission Line | CircuitID | Unique ID for a specific circuit. Must be a traceable stable ID within the electrical corporation’s operations/processes. Primary Key for the feature class if the electrical corporation does not uniquely identify segments with persistent IDs. This field is required. | Yes | 23 | Text |
| Transmission Line | UtilityID | Standardized identification name of the electrical corporation. Possible values: • BVES • HWT • Liberty • LS Power • PacifiCorp • PG&E • SCE • SDG&E • TBC This field is required. | Yes | 23 | Domain |
| Transmission Line | LineClass | Classification of line asset. Possible values: • Transmission • Sub- Transmission This field is required. | Yes | 23 | Domain |
| Transmission Line | CircuitName | Name of circuit associated with asset. Leave null if there is no unique circuit name that is different than the circuit ID. There is no need to repeat CircuitID values in this field. This field is optional. | Yes | 23 | Text |
| Transmission Line | ConductorType | Type of conductor. Possible values: • Bare • Covered • Insulated • Other, see comment This field is required. | Yes | 23 | Domain |
| Transmission Line | ConductorTypeCommen t | Conductor type not listed in the options above. This field is required IF ConductorType is “Other, see comment”. | Yes | 23 | Text |
| Transmission Line | AssetOHUG | Is the asset overhead or underground? Possible values: • Overhead - Underground This field is required. | Yes | 23 | Domain |
| Transmission Line | NominalVoltagekV | Nominal voltage (in kilovolts) of conductor. Do not use more than two decimal places. This field is required. | Yes | 24 | Number |
| Transmission Line | OperatingVoltagekV | Operating voltage (in kilovolts) of conductor. Do not use more than two decimal places. This field is required. | Yes | 24 | Number |

| Transmission Line | ConductorMaterial | Conductor material. Possible values: • All aluminum conductor (AAC) • All aluminum alloy conductor (AAAC) • Aluminum conductor aluminum reinforced (ACAR) • Aluminum conductor steel reinforced (ACSR) • Aluminum conductor steel supported (ACSS) • Copper (Cu) • Other, see comment This field is required. | Yes | 24 | Domain |
| --- | --- | --- | --- | --- | --- |
| Transmission Line | ConductorMaterialCom ment | Conductor material not listed in the options above. This field is required IF ConductorMaterial is “Other, see comment”. | Yes | 24 | Text |
| Transmission Line | ConductorSize | Size of conductor (e.g., No. 4 Cu or 1/0 ACSR). This field is required. | Yes | 24 | Text |
| Transmission Line | ConductorOD | Overall diameter of the conductor in inches. This field is required. | Yes | 24 | Number |
| Transmission Line | LastInspectionDate | Date of the last inspection. This field is required. | Yes | 24 | Date |
| Transmission Line | LastMaintenanceDate | Date of the last maintenance. This field is required. | Yes | 24 | Date |
| Transmission Line | InstallationDate | Date the asset was installed. This field OR InstallationYear OR EstimatedAge is required. | Yes | 24 | Date |
| Transmission Line | InstallationYear | Year of asset installation. Use four digits. This field OR InstallationDate OR EstimatedAge is required. | Yes | 24 | Number |
| Transmission Line | EstimatedAge | The estimated age of the asset in years. Only use this field if the InstallationYear and InstallationDate values are unknown. Possible values: • 0-9 • 10-19 • 20-29 • 30-39 • 40-49 • 50-59 • 60-69 • 70-79 - 80-89 • 90-99 • 100+ This field OR InstallationDate OR InstallationYear is required. | Yes | 24 | Domain |
| Transmission Line | UsefulLifespan | The number of years an asset is expected to have a useful functioning existence upon initial installation. This field is required. | Yes | 24 | Number |
| Transmission Line | AmpacityRating | Nominal ampacity rating of the conductor in amperes. This field is required. | Yes | 24 | Number |
| Transmission Line | OverallUtilityRisk | Overall risk calculated for the segment as required in WMP guidelines section 4. Note that the electrical corporation is not required to calculate risk for lines vs. support structures, only to do one or the other. Depending on the electrical corporation’s approach, it may report risk for line segments for some or all of its infrastructure, or it may calculate for both. This field is required IF the electrical corporation performs its risk ranking on transmission lines (rather than on support structures only). | Yes | 24 | Number |

| Transmission Line | IgnitionRisk | Ignition risk (component of overall risk) calculated for the segment as required in WMP guidelines section 4. Note that the electrical corporation is not required to calculate risk for lines vs. support structures, only to do one or the other. Depending on the electrical corporation’s approach, it may report risk for line segments for some or all of its infrastructure, or it may calculate for both. This field is required IF the electrical corporation performs its risk ranking on transmission lines (rather than on support structures only). | Yes | 25 | Number |
| --- | --- | --- | --- | --- | --- |
| Transmission Line | PSPSRisk | PSPS Risk (component of overall risk) calculated for the segment as required in WMP guidelines section 4. Note that the electrical corporation is not required to calculate risk for lines vs. support structures, only to do one or the other. Depending on the electrical corporation’s approach, it may report risk for line segments for some or all of its infrastructure, or it may calculate for both. This field is required IF the electrical corporation performs its risk ranking on transmission lines (rather than on support structures only). | Yes | 25 | Number |

#### Substation Feature Class

| Feature | Field | Description | Aligns with Office of Energy Infrastructures mandatory Data Guidelines Reporting? | Data Guidelines Location, Page# | Data Type |
| --- | --- | --- | --- | --- | --- |
| Substation | SubstationID | ID of substation associated with asset. Must be a traceable stable ID within the electrical corporation’s operations/processes. Primary key for the Substation feature. This field is required. | Yes | 34 | Text |
| Substation | UtilityID | Standardized identification name of the electrical corporation. Possible values: • BVES • HWT • Liberty • LS Power • PacifiCorp • PG&E • SCE • SDG&E • TBC This field is required. | Yes | 34 | Domain |
| Substation | SubstationName | Name of substation. This field is optional. | Yes | 34 | Text |
| Substation | SubstationNominalVolta gekV | Nominal voltage (in kilovolts) ratings associated with the substation. Include all applicable voltages separated by slashes (e.g., “230/139/69/12”). Ranges are also acceptable (e.g., “0-60”). This field is required. | Yes | 34 | Text |
| Substation | SubstationOperatingVolt agekV | Operating voltage (in kilovolts) ratings associated with the substation. Include all applicable voltages separated by slashes (e.g., “230/139/69/12”). Ranges are also acceptable (e.g., “0-60”). This field is required. | Yes | 34 | Text |
| Substation | SubstationRating | Power rating of the substation in mega volt amps (MVAs). This field is required. | Yes | 34 | Number |
| Substation | LastInspectionDate | Date of the last inspection. This field is required. | Yes | 34 | Date |
| Substation | InstallationDate | Date the first asset of the substation was installed. This field OR InstallationYear is required. | Yes | 34 | Date |
| Substation | InstallationYear | Year of asset installation. Use four digits. This field OR InstallationDate is required. | Yes | 34 | Number |
| Substation | HFTDClass | The CPUC high-fire threat district (HFTD) area the asset intersects. For these data, anything outside Tiers 2 and 3 must be categorized as “Non-HFTD.” Do not record any Zone 1 or Tier 1 values. Possible values: • Tier 3 • Tier 2 • Non-HFTD • HFTD data can be downloaded from: https://ia.cpuc.ca.gov/firemap. This field is required. | Yes | 35 | Domain |

#### Grid Hardening Feature Class

| Feature | Field | Description | Aligns with Office of Energy Infrastructures mandatory Data Guidelines Reporting? | Data Guidelines Location, Page# | Data Type |
| --- | --- | --- | --- | --- | --- |
| Grid Hardening Line | GhID | Unique ID or job ID of a grid hardening activity. Primary key for the Grid Hardening Line feature class. This field is required. | Yes | 58 | Text |
| Grid Hardening Line | AssetOHUG | Is the asset overhead or underground? Possible values: • Overhead - Underground This field is required. | Yes | 58 | Domain |
| Grid Hardening Line | UtilityID | Standardized identification name of the electrical corporation. Possible values: • BVES • HWT • Liberty • LS Power • PacifiCorp • PG&E • SCE • SDG&E • TBC This field is required. | Yes | 59 | Domain |
| Grid Hardening Line | UMATID | This is the Utility Mitigation Activity Tracking ID, a unique tracking ID for a given activity. This ID must match the UTILITY MITIGATION ACTIVITY TRACKING ID and UMAT fields for the same activity in all data submissions for the activity’s entire lifecycle. This field must correspond with the Utility Mitigation Activity Tracking ID referenced where the activity is discussed in the electrical corporation’s WMP(s). This field should remain static even if WMP category, WMP initiative, or WMP Section numbers change. This field is required. | Yes | 59 | Text |
| Grid Hardening Line | SegmentID | ID of specific circuit segment on which work was done. Foreign key to the Asset Line feature classes if the electrical corporation has persistent unique segment IDs. A segment may be anything more granular than a circuit, including a single span. This field is required IF the activity represented by the point is focused on conductor AND the electrical corporation has persistent stable IDs for circuit segments. | Yes | 59 | Text |
| Grid Hardening Line | CircuitID | ID of specific circuit on which work was done. Foreign key to the Asset Line feature classes if the electrical corporation does not have persistent unique segment IDs. This field is required IF the activity represented by the point is focused on conductor AND SegmentID is not populated. | Yes | 59 | Text |

| Grid Hardening Line | LineClass | Identifies the feature class where the Segment or Circuit ID should be found. Possible values: • Transmission Line • Primary Distribution Line • Secondary Distribution Line This field is required IF the activity represented by the point is focused on conductor. | Yes | 59 | Domain |
| --- | --- | --- | --- | --- | --- |
| Grid Hardening Line | GridHardeningLocationO rAddress | Address or location description for the grid hardening location. This field is optional. | Yes | 59 | Text |
| Grid Hardening Line | WMPInitiative | The name of the WMP mitigation initiative, as defined by Energy Safety, under which the activity is organized. See Appendix C. WMP Initiative Classification for acceptable field values. | Yes | 59 | Text |
| Grid Hardening Line | WMPActivity | The name for the WMP mitigation activity. This will be defined either by the electrical corporation or Energy Safety, according to Appendix A of the WMP Guidelines. See Appendix C. WMP Initiative Classification for acceptable field values of activities defined by Energy Safety. This field is required. | Yes | 59 | Text |
| Grid Hardening Line | ActivityDescription | Description of the activity. | Yes | 59 | Text |
| Grid Hardening Line | WMPSection | Section of the electrical corporation’s most recent WMP explaining the initiative. This field is required. | Yes | 59 | Text |
| Grid Hardening Line | DescriptionOfWork | Additional description of the grid hardening work. This field is optional. | Yes | 59 | Text |
| Grid Hardening Line | FieldNotes | Any additional notes, particularly from field workers. This field is optional. | Yes | 59 | Text |
| Grid Hardening Line | GhStatus | The status of the grid hardening activity. Possible values: • Planned - In progress • Complete This field is required. | Yes | 60 | Domain |
| Grid Hardening Line | UnitsRepresented | The number of initiative target units represented by the line, if not equal to the line’s length. Blank (null) values will be interpreted as the line representing its length. This field is required IF the line represents a different number of units than its length. | Yes | 60 | Number |
| Grid Hardening Line | StartDate | Start date of the grid hardening project. If exact date is not known, may approximate as first day of the month in which project began. This field is required IF GhStatus is “In progress” OR “Complete”. | Yes | 60 | Date |
| Grid Hardening Line | Endite | Completion date of the grid hardening project. If exact date is not known, may approximate as last day of month in which project was completed. This field is required IF GhStatus is “Complete”. | Yes | 60 | Date |
| Grid Hardening Line | LineDeenergized | Do lines need to be de-energized to perform the work? Possible values: • Yes • No This field is required. | Yes | 60 | Domain |

| Grid Hardening Line | PerformedBy | Who performed the grid hardening activity? Possible values: • Utility staff • Contractor • Other, see comment This field is required. | Yes | 60 | Domain |
| --- | --- | --- | --- | --- | --- |
| Grid Hardening Line | PerformedByComment | Entity that performed grid hardening and is not listed in options above. This field is required IF PerformedBy is “Other, see comment”. | Yes | 60 | Text |
| Grid Hardening Line | HFTDClass | The CPUC High Fire Threat District (HFTD) area that the grid hardening project intersects. For these data, anything outside Tiers 2 and 3 must be categorized as “NonHFTD.” Do not record any Zone 1 or Tier 1 values. If a data line spans multiple HFTD areas, list them under the “HFTDClassComment” field. Possible values: • Tier 3 • Tier 2 • Non-HFTD • Multiple, see comment • HFTD data can be downloaded from: https://ia.cpuc.ca.gov/firemap. This field is required. | Yes | 60 | Domain |
| Grid Hardening Line | HFTDClassComment | If the project line intersects multiple HFTD areas, list all of them here. This field is required IF HFTDClass is “Multiple, see comment”. | Yes | 60 | Text |
| Grid Hardening Point | GhID | Unique ID or job ID of a grid hardening activity. Primary key for the Grid Hardening Point feature class. This field is required. | Yes | 60 | Text |
| Grid Hardening Point | AssetLocation | Is the asset overhead or underground? Possible values: • Overhead - Underground • Surface (Padmount) This field is required. | Yes | 61 | Domain |
| Grid Hardening Point | UtilityID | Standardized identification name of the electrical corporation. Possible values: • BVES • HWT • Liberty • LS Power • PacifiCorp • PG&E • SCE • SDG&E • TBC This field is required. | Yes | 61 | Domain |
| Grid Hardening Point | UMATID | This is the Utility Mitigation Activity Tracking ID, a unique tracking ID for a given activity. This ID must match the UTILITY MITIGATION ACTIVITY TRACKING ID and UMAT fields for the same activity in all data submissions for the activity’s entire lifecycle. This field must correspond with the Utility Mitigation Activity Tracking ID referenced where the activity is discussed in the electrical corporation’s WMP(s). This field should remain static even if WMP category, WMP initiative, or WMP Section numbers change. This field is required. | Yes | 61 | Text |
| Grid Hardening Point | AssetID | Unique ID for a specific point asset. Foreign key to all the related Asset Point feature class attribute tables. For Support Structure, use Support Structure ID. For Transformer Site, use Transformer Site ID. This field is required IF the activity represented by the point is focused on an individual asset recorded as a point in data submitted to Energy Safety. | Yes | 61 | Text |

| Grid Hardening Point | AssetFeature | Identifies the feature class where the asset ID should be found. Possible values: • Camera • Connection Device • Fuse • Lightning Arrester • Substation • Support Structure • Switchgear • Transformer Site • Weather Station This field is required IF the activity represented by the point is focused on an individual asset recorded as a point in data submitted to Energy Safety. | Yes | 61 | Domain |
| --- | --- | --- | --- | --- | --- |
| Grid Hardening Point | SegmentID | ID of specific circuit segment inspected, if any. Foreign key to the Asset Line feature classes if the electrical corporation has persistent unique segment IDs. A segment may be anything more granular than a circuit, including a single span. This field is required IF the activity represented by the point is focused on conductor AND the electrical corporation has persistent stable IDs for circuit segments. | Yes | 61 | Text |
| Grid Hardening Point | CircuitID | ID of specific circuit inspected, if any. Foreign key to the Asset Line feature classes if the electrical corporation does not have persistent unique segment IDs. This field is required IF the activity represented by the point is focused on conductor AND SegmentID is not populated. | Yes | 62 | Text |
| Grid Hardening Point | LineClass | Identifies the feature class where the Segment or Circuit ID should be found. Possible values: • Transmission Line • Primary Distribution Line • Secondary Distribution Line This field is required IF the activity represented by the point is focused on conductor. | Yes | 62 | Domain |
| Grid Hardening Point | GridHardeningLocationO rAddress | Address or location description for the grid hardening location. This field is optional. | Yes | 62 | Text |
| Grid Hardening Point | WMPInitiative | The name of the WMP mitigation initiative, as defined by Energy Safety, under which the activity is organized. See Appendix C. WMP Initiative Classification for acceptable field values. | Yes | 62 | Text |
| Grid Hardening Point | WMPActivity | The name for the WMP mitigation activity. This will be defined either by the electrical corporation or Energy Safety, according to Appendix A of the WMP Guidelines. See Appendix C. WMP Initiative Classification for acceptable field values of activities defined by Energy Safety. This field is required. | Yes | 62 | Text |
| Grid Hardening Point | ActivityDescription | Description of the activity. | Yes | 62 | Text |
| Grid Hardening Point | WMPSection | Section of the electrical corporation’s most recent WMP explaining the initiative. This field is required. | Yes | 62 | Domain |

| Grid Hardening Point | DescriptionOfWork | Additional description of the grid hardening work. This field is optional. | Yes | 62 | Text |
| --- | --- | --- | --- | --- | --- |
| Grid Hardening Point | FieldNotes | Any additional notes, particularly from field workers. This field is optional. | Yes | 62 | Text |
| Grid Hardening Point | GhStatus | The status of the grid hardening activity. Possible values: • Planned - In progress • Complete This field is required. | Yes | 62 | Domain |
| Grid Hardening Point | UnitsRepresented | The number of initiative target units represented by the point if more than 1. For example, the electrical corporation may represent multiple assets replaced at a single location with one point. Blank (null) and “1” values will be interpreted as representing a single unit. This field is required IF the point represents more than 1 target unit. | Yes | 62 | Number |
| Grid Hardening Point | StartDate | Start date of the grid hardening project. If exact date is not known, may approximate as first day of the month in which project began. This field is required IF GhStatus is “In progress” OR “Complete”. | Yes | 62 | Date |
| Grid Hardening Point | EndDate | Completion date of the grid hardening project. If exact date is not known, may approximate as last day of month in which project was completed. Not required for projects which are in progress. This field is required IF GhStatus is “Complete”. | Yes | 62 | Date |
| Grid Hardening Point | LineDeenergized | Do lines need to be de-energized to perform the work? Possible values: • Yes • No This field is required. | Yes | 63 | Domain |
| Grid Hardening Point | PerformedBy | Who performed the grid hardening activity? Possible values: • Utility staff • Contractor • Other, see comment This field is required. | Yes | 63 | Domain |
| Grid Hardening Point | PerformedByComment | Entity that performed grid hardening and is not listed in options above. This field is required IF PerformedBy is “Other, see comment”. | Yes | 63 | Text |
| Grid Hardening Point | HFTDClass | The CPUC high-fire threat district (HFTD) area the grid hardening project intersects. For these data, anything outside Tiers 2 and 3 must be categorized as “Non-HFTD.” Do not record any Zone 1 or Tier 1 values. Possible values: • Tier 3 • Tier 2 • Non-HFTD • HFTD data can be downloaded from: https://ia.cpuc.ca.gov/firemap. This field is required. | Yes | 63 | Domain |

#### Asset Inspection Feature Class

| Feature | Field | Description | Aligns with Office of Energy Infrastructures mandatory Data Guidelines Reporting? | Data Guidelines Location, Page# | Data Type |
| --- | --- | --- | --- | --- | --- |
| Asset Inspection Line | AiID | Unique ID or job ID of an asset inspection activity. Primary key for the Asset Inspection Line feature class. This field is required. | Yes | 48 | Text |
| Asset Inspection Line | UtilityID | Standardized identification name of the electrical corporation. Possible values: • BVES • HWT • Liberty • LS Power • PacifiCorp • PG&E • SCE • SDG&E • TBC This field is required. | Yes | 48 | Domain |
| Asset Inspection Line | UMATID | This is the Utility Mitigation Activity Tracking ID, a unique tracking ID for a given activity. This ID must match the UTILITY MITIGATION ACTIVITY TRACKING ID and UMATID fields for the same activity in all data submissions for the activity’s entire lifecycle. This field must correspond with the Utility Mitigation Activity Tracking ID referenced where the activity is discussed in the electrical corporation’s WMP(s). This field should remain static even if WMP category, WMP initiative, or WMP Section numbers change. This field is required. | Yes | 48 | Text |
| Asset Inspection Line | ActivityClass | Was the activity performed ONLY to meet requirements of statute or regulation, or done at the electrical corporation’s discretion? Inspections done at increased frequency relative to requirements or normal operations are considered discretionary. • Possible values: • Regulatory • Discretionary This field is required. | Yes | 48 | Domain |
| Asset Inspection Line | SegmentID | ID of specific circuit segment inspected. Foreign key to the Asset Line feature classes if the electrical corporation has persistent unique segment IDs. A segment may be anything more granular than a circuit, including a single span. This field is required IF the inspection activity represented by the point is focused on conductor AND the electrical corporation has persistent stable IDs for circuit segments. | Yes | 48 | Text |

| Asset Inspection Line | CircuitID | ID of specific circuit inspected. Foreign key to the Asset Line feature classes if the electrical corporation does not have persistent unique segment IDs. This field is required IF the inspection activity represented by the point is focused on conductor AND SegmentID is not populated. | Yes | 48 | Text |
| --- | --- | --- | --- | --- | --- |
| Asset Inspection Line | LineClass | Identifies the feature class where the Segment ID should be found. Possible values: • Transmission Line • Primary Distribution Line • Secondary Distribution Line This field is required IF the inspection activity represented by the line is focused on conductor. | Yes | 48 | Domain |
| Asset Inspection Line | InspectionLocationOrAd dress | Address or location description for the inspection location. This field is optional. | Yes | 48 | Text |
| Asset Inspection Line | WMPInitiative | The name of the WMP mitigation initiative, as defined by Energy Safety, under which the activity is organized. See Appendix C. WMP Initiative Classification for acceptable field values. | Yes | 49 | Text |
| Asset Inspection Line | WMPActivity | The name for the WMP mitigation activity. This will be defined either by the electrical corporation or Energy Safety, according to Appendix A of the WMP Guidelines. See Appendix C. WMP Initiative Classification for acceptable field values of activities defined by Energy Safety. This field is required. | Yes | 49 | Text |
| Asset Inspection Line | ActivityDescription | Description of the activity. | Yes | 49 | Text |
| Asset Inspection Line | InspectionProgramName | Inspection program name for the inspection activity. This must match the program name as specified in the electrical corporation’s WMP. This may be the same as “WMP Activity”. This field is required. | Yes | 49 | Text |
| Asset Inspection Line | WMPSection | Section of the electrical corporation’s most recent WMP explaining the initiative. This field is required. | Yes | 49 | Text |
| Asset Inspection Line | InspectionStatus | Status of the asset inspection. Possible Values: • Planned • In progress • Complete This field is required. | Yes | 49 | Domain |
| Asset Inspection Line | UnitsRepresented | The number of initiative target units represented by the line, if not equal to the line’s length. Blank (null) values will be interpreted as the line representing its length. This field is required IF the line represents a different number of units than its length. | Yes | 49 | Number |

| Asset Inspection Line | InspectionStartDate | The date when an asset inspection began. If exact date is not known, may • approximate as first day of the month in which inspection began. This field is required IF InspectionStatus is “In progress” OR “Complete”. | Yes | 49 | Date |
| --- | --- | --- | --- | --- | --- |
| Asset Inspection Line | InspectionEndDate | The date when an asset inspection was completed. If the asset inspection was started and completed on the same day, “InspectionStartDate” and “InspectionEndDate” will have the same value. If exact date is not known, may approximate as last day of the month in which inspection was completed. This field is required IF InspectionStatus is “Complete”. | Yes | 49 | Date |
| Asset Inspection Line | PerformedBy | Who performed the asset inspection? Possible values: • Utility staff - Contractor • Other, see comment This field is required. | Yes | 49 | Domain |
| Asset Inspection Line | PerformedByComment | Inspector description not listed in the options above. This field is required IF PerformedBy is “Other, see comment”. | Yes | 49 | Text |
| Asset Inspection Line | InspectionType | The type of asset inspection performed. Possible values: • Patrol • Detailed • Pole loading • Other, see comment This field is required. | Yes | 49 | Domain |
| Asset Inspection Line | InspectionTypeComment | Inspection type description not listed in the options above. This field is required IF InspectionType is “Other, see comment” | Yes | 49 | Text |
| Asset Inspection Line | InspectionComment | Additional comments related to the asset management inspection. This field is optional. | Yes | 50 | Text |
| Asset Inspection Line | FindingL1 | Number of Level 1 findings per GO 95 rule 18-B1. This field is required. | Yes | 50 | Number |
| Asset Inspection Line | FindingL2 | Number of Level 2 findings per GO 95 rule 18-B1. This field is required. | Yes | 50 | Number |
| Asset Inspection Line | FindingL3 | Number of Level 3 findings per GO 95 rule 18-B1. This field is required. | Yes | 50 | Number |
| Asset Inspection Line | InspectionMethod | The method by which the asset inspection was conducted. Possible values: • Ground inspection • Climbing • Lift/bucket truck - Aerial: drone • Aerial: helicopter • Aerial: fixed wing • Other, see comment • “Aerial – drone” should be used for all unmanned aerial vehicles regardless of configuration (rotor vs. fixed-wing). “Lift/bucket truck” should be used for any similar methods. “Ground inspection” should be understood not to involve any climbing or lifting equipment or drone technology. This field is required. | Yes | 50 | Domain |

| Asset Inspection Line | InspectionMethodComm ent | Inspection method not listed in the options above—or multiple inspection methods listed in the options above. If multiple, list all values separated by commas. This field is required IF InspectionMethod is “Other, see comment”. | Yes | 50 | Text |
| --- | --- | --- | --- | --- | --- |
| Asset Inspection Line | DataCaptureSensorType | Type of sensor used to record data during the inspection, if any. Do not identify sensors used only for real-time visualization during the inspection. Possible values: • None • Aerial laser scanning • Terrestrial laser scanning • Aerial imagery (visible) • Aerial imagery (thermal) • Other, see comment This field is required. | Yes | 50 | Domain |
| Asset Inspection Line | DataCaptureSensorType Comment | Type of sensor other than those identified as options in the Data Capture Sensor Type field. This field is required IF DataCaptureSensorType is “Other, see comment”. | Yes | 50 | Text |
| Asset Inspection Line | FieldNotes | Any additional notes, particularly from field workers. This field is optional. | Yes | 50 | Text |
| Asset Inspection Line | HFTDClass | The CPUC High Fire Threat District (HFTD) area that the asset inspection intersects. For these data, anything outside Tiers 2 and 3 must be categorized as “Non-HFTD.” Do not record any Zone 1 or Tier 1 values. If a data line spans multiple HFTD areas, list them under the “HFTDClassComment” field. Possible values: • Tier 3 • Tier 2 • Non-HFTD • Multiple, see comment • HFTD data can be downloaded from: https://ia.cpuc.ca.gov/firemap. This field is required. | Yes | 50 | Domain |
| Asset Inspection Line | HFTDClassComment | If the project line intersects multiple HFTD areas, list all of them here. This field is required IF HFTDClass is “Multiple, see comment”. | Yes | 50 | Text |
| Asset Inspection Point | AiID | Unique ID or job ID of an asset inspection activity. Primary key for the Asset Inspection Point feature class. This field is required. | Yes | 51 | Text |
| Asset Inspection Point | UtilityID | Standardized identification name of the electrical corporation. Possible values: • BVES • HWT • Liberty • LS Power • PacifiCorp • PG&E • SCE • SDG&E • TBC This field is required. | Yes | 51 | Domain |

| Asset Inspection Point | UMATID | This is the Utility Mitigation Activity Tracking ID, a unique tracking ID for a given activity. This ID must match the UTILITY MITIGATION ACTIVITY TRACKING ID AND UMAT fields for the same activity in all data submissions for the activity’s entire lifecycle. This field must correspond with the Utility Mitigation Activity Tracking ID referenced where the activity is discussed in the electrical corporation’s WMP(s). This field should remain static even if WMP category, WMP initiative, or WMP Section numbers change. This field is required. | Yes | 51 | Text |
| --- | --- | --- | --- | --- | --- |
| Asset Inspection Point | ActivityClass | Was the activity performed ONLY to meet requirements of statute or regulation, or done at the electrical corporation’s discretion? Inspections done at increased frequency relative to requirements or normal operations are considered discretionary. • Possible values: • Regulatory • Discretionary This field is required. | Yes | 51 | Domain |
| Asset Inspection Point | AssetID | Unique ID for a specific point asset. Foreign key to all the related Asset Point feature class attribute tables. For Support Structure, use Support Structure ID. For Transformer Site, use Transformer Site ID. This field is required IF the inspection activity represented by the point is focused on an individual asset recorded as a point in data submitted to Energy Safety. | Yes | 51 | Text |
| Asset Inspection Point | AssetFeature | Identifies the feature class where the asset ID should be found. Possible values: • Camera • Connection Device • Fuse • Lightning Arrester • Substation • Support Structure • Switchgear • Transformer Site • Weather Station This field is required IF the inspection activity represented by the point is focused on an individual asset recorded as a point in data submitted to Energy Safety. | Yes | 51 | Domain |
| Asset Inspection Point | SegmentID | ID of specific circuit segment inspected, if any. Foreign key to the Asset Line feature classes if the electrical corporation has persistent unique segment IDs. A segment may be anything more granular than a circuit, including a single span. This field is required IF the inspection activity represented by the point is focused on conductor AND the electrical corporation has persistent stable IDs for circuit segments. | Yes | 52 | Text |

| Asset Inspection Point | CircuitID | ID of specific circuit inspected, if any. Foreign key to the Asset Line feature classes if the electrical corporation does not have persistent unique segment IDs. This field is required IF the inspection activity represented by the point is focused on conductor AND SegmentID is not populated. | Yes | 52 | Text |
| --- | --- | --- | --- | --- | --- |
| Asset Inspection Point | LineClass | Identifies the feature class where the Segment or Circuit ID should be found. Possible values: • Transmission Line • Primary Distribution Line • Secondary Distribution Line This field is required IF the inspection activity represented by the point is focused on conductor. | Yes | 52 | Domain |
| Asset Inspection Point | InspectionLocationOrAd dress | Address or location description for the inspection location. This field is optional. | Yes | 52 | Text |
| Asset Inspection Point | WMPInitiative | The name of the WMP mitigation initiative, as defined by Energy Safety, under which the activity is organized. See Appendix C. WMP Initiative Classification for acceptable field values. | Yes | 52 | Text |
| Asset Inspection Point | WMPActivity | The name for the WMP mitigation activity. This will be defined either by the electrical corporation or Energy Safety, according to Appendix A of the WMP Guidelines. See Appendix C. WMP Initiative Classification for acceptable field values of activities defined by Energy Safety. This field is required. | Yes | 52 | Text |
| Asset Inspection Point | ActivityDescription | Description of the activity. | Yes | 52 | Text |
| Asset Inspection Point | InspectionProgramName | Inspection program name for the inspection activity. This must match the program name as specified in the electrical corporation’s WMP. This may be the same as “WMP Activity”. This field is required. | Yes | 52 | Text |
| Asset Inspection Point | WMPSection | Section of the electrical corporation’s most recent WMP explaining the initiative. This field is required. | Yes | 52 | Text |
| Asset Inspection Point | InspectionStatus | Status of the asset inspection. Possible Values: • Planned • In progress • Complete This field is required. | Yes | 52 | Domain |
| Asset Inspection Point | UnitsRepresented | The number of initiative target units represented by the point if more than 1. For example, the electrical corporation may represent multiple assets inspected at a single location with one point. The electrical corporation may enter “1” if desired, however, this is not necessary, as blank (null) values will also be interpreted as representing a single unit. This field is required IF the point represents more than one target unit. | Yes | 52 | Number |

| Asset Inspection Point | InspectionStartDate | The date when an asset inspection began. If exact date is not known, may • approximate as first day of the month in which inspection began. This field is required IF InspectionStatus is “In progress” OR “Complete”. | Yes | 52 | Date |
| --- | --- | --- | --- | --- | --- |
| Asset Inspection Point | InspectionEndDate | The date when an asset inspection was completed. If the asset inspection was started and completed on the same day, “InspectionStartDate” and “InspectionEndDate” will have the same value. If exact date is not known, may approximate as last day of the month in which inspection was completed. This field is required IF InspectionStatus is “Complete”. | Yes | 53 | Date |
| Asset Inspection Point | PerformedBy | Who performed the asset inspection? Possible values: • Utility staff - Contractor • Other, see comment This field is required. | Yes | 53 | Domain |
| Asset Inspection Point | PerformedByComment | Inspector description not listed in the options above. This field is required IF PerformedBy is “Other, see comment”. | Yes | 53 | Text |
| Asset Inspection Point | InspectionType | The type of asset inspection performed. Possible values: • Patrol • Detailed • Pole loading • Other, see comment This field is required. | Yes | 53 | Domain |
| Asset Inspection Point | InspectionTypeComment | Inspection type description not listed in the options above. This field is required IF InspectionType is “Other, see comment” | Yes | 53 | Text |
| Asset Inspection Point | InspectionComment | Additional comments related to the asset management inspection. This field is optional. | Yes | 53 | Text |
| Asset Inspection Point | FindingL1 | Number of Level 1 findings per GO 95 rule 18-B1. This field is required. | Yes | 53 | Number |
| Asset Inspection Point | FindingL2 | Number of Level 2 findings per GO 95 rule 18-B1. This field is required. | Yes | 53 | Number |
| Asset Inspection Point | FindingL3 | Number of Level 3 findings per GO 95 rule 18-B1. This field is required. | Yes | 53 | Number |
| Asset Inspection Point | InspectionMethod | The method by which the asset inspection was conducted. Possible values: • Ground inspection • Climbing • Lift/bucket truck - Aerial: drone • Aerial: helicopter • Aerial: fixed wing • Other, see comment • “Aerial – drone” should be used for all unmanned aerial vehicles regardless of configuration (rotor vs. fixed-wing). “Lift/bucket truck” should be used for any similar methods. “Ground inspection” should be understood not to involve any climbing or lifting equipment or drone technology. This field is required. | Yes | 53 | Domain |

| Asset Inspection Point | InspectionMethodComm ent | Inspection method not listed in the options above—or multiple inspection methods listed in the options above. If multiple, list all values separated by commas. This field is required IF InspectionMethod is “Other, see comment”. | Yes | 53 | Text |
| --- | --- | --- | --- | --- | --- |
| Asset Inspection Point | DataCaptureSensorType | Type of sensor used to record data during the inspection, if any. Do not identify sensors used only for real-time visualization during the inspection. Possible values: • None • Aerial laser scanning • Terrestrial laser scanning • Aerial imagery (visible) • Aerial imagery (thermal) • Other, see comment This field is required. | Yes | 54 | Domain |
| Asset Inspection Point | DataCaptureSensorType Comment | Type of sensor other than those identified as options in the Data Capture Sensor Type field. This field is required IF DataCaptureSensorType is “Other, see comment”. | Yes | 54 | Text |
| Asset Inspection Point | FieldNotes | Any additional notes, particularly from field workers. This field is optional. | Yes | 54 | Text |
| Asset Inspection Point | HFTDClass | The CPUC high-fire threat district (HFTD) area the asset inspection intersects. For this data, anything outside Tiers 2 and 3 must be categorized as “Non-HFTD.” Do not record any Zone 1 or Tier 1 values. Possible values: • Tier 3 • Tier 2 • Non-HFTD • HFTD data can be downloaded from: https://ia.cpuc.ca.gov/firemap. This field is required. | Yes | 54 | Domain |
| Asset Inspection Polygon | AiID | Unique ID or job ID of an asset inspection activity. Primary key for the Asset Inspection Polygon feature class. This field is required. | Yes | 54 | Text |
| Asset Inspection Polygon | UtilityID | Standardized identification name of the electrical corporation. Possible values: • BVES • HWT • Liberty • LS Power • PacifiCorp • PG&E • SCE • SDG&E • TBC This field is required. | Yes | 54 | Domain |
| Asset Inspection Polygon | UMATID | This is the Utility Mitigation Activity Tracking ID, a unique tracking ID for a given activity. This ID must match the UTILITY MITIGATION ACTIVITY TRACKING ID and UMAT fields for the same activity in all data submissions for the activity’s entire lifecycle. This field must correspond with the Utility Mitigation Activity Tracking ID referenced where the activity is discussed in the electrical corporation’s WMP(s). This field should remain static even if WMP category, WMP initiative, or WMP Section numbers change. This field is required. | Yes | 54 | Text |

| Asset Inspection Polygon | ActivityClass | Was the activity performed ONLY to meet requirements of statute or regulation, or done at the electrical corporation’s discretion? Inspections done at increased frequency relative to requirements or normal operations are considered discretionary. • Possible values: • Regulatory • Discretionary This field is required. | Yes | 55 | Domain |
| --- | --- | --- | --- | --- | --- |
| Asset Inspection Polygon | AssetID | Unique ID for a specific point asset. Foreign key to all the related Asset Point feature class attribute tables. For Support Structure, use Support Structure ID. For Transformer Site, use Transformer Site ID. This field is required IF the inspection activity represented by the point is focused on an individual asset recorded as a point in data submitted to Energy Safety. | Yes | 55 | Text |
| Asset Inspection Polygon | AssetFeature | Identifies the feature class where the asset ID should be found. Possible values: • Camera • Connection Device • Fuse • Lightning Arrester • Substation • Support Structure • Switchgear • Transformer Site • Weather Station This field is required IF the inspection activity represented by the point is focused on an individual asset recorded as a point in data submitted to Energy Safety. | Yes | 55 | Domain |
| Asset Inspection Polygon | SegmentID | ID of specific circuit segment inspected, if any. Foreign key to the Asset Line feature classes if the electrical corporation has persistent unique segment IDs. A segment may be anything more granular than a circuit, including a single span. This field is required IF the inspection activity represented by the point is focused on conductor AND the electrical corporation has persistent stable IDs for circuit segments. | Yes | 55 | Text |
| Asset Inspection Polygon | CircuitID | ID of specific circuit inspected, if any. Foreign key to the Asset Line feature classes if the electrical corporation does not have persistent unique segment IDs. This field is required IF the inspection activity represented by the point is focused on conductor AND SegmentID is not populated. | Yes | 55 | Text |
| Asset Inspection Polygon | LineClass | Identifies the feature class where the Segment or Circuit ID should be found. Possible values: • Transmission Line • Primary Distribution Line • Secondary Distribution Line This field is required IF the inspection activity represented by the polygon is focused on conductor. | Yes | 55 | Domain |

| Asset Inspection Polygon | WMPInitiative | The name of the WMP mitigation initiative, as defined by Energy Safety, under which the activity is organized. See Appendix C. WMP Initiative Classification for acceptable field values. | Yes | 55 | Text |
| --- | --- | --- | --- | --- | --- |
| Asset Inspection Polygon | WMPActivity | The name for the WMP mitigation activity. This will be defined either by the electrical corporation or Energy Safety, according to Appendix A of the WMP Guidelines. See Appendix C. WMP Initiative Classification for acceptable field values of activities defined by Energy Safety. This field is required. | Yes | 55 | Text |
| Asset Inspection Polygon | ActivityDescription | Description of the activity. | Yes | 55 | Text |
| Asset Inspection Polygon | InspectionProgramName | Inspection program name for the inspection activity. This must match the program name as specified in the electrical corporation’s WMP. This may be the same as “WMP Activity”. This field is required. | Yes | 56 | Text |
| Asset Inspection Polygon | WMPSection | Section of the electrical corporation’s most recent WMP explaining the initiative. This field is required. | Yes | 56 | Text |
| Asset Inspection Polygon | InspectionStatus | Status of the asset inspection. Possible Values: • Planned • In progress • Complete This field is required. | Yes | 56 | Domain |
| Asset Inspection Polygon | UnitsRepresented | The number of initiative target units represented by the polygon, if not equal to the polygon’s area. Blank (null) values will be interpreted as the polygon representing its area. This field is required IF the polygon represents a different number of units than its area. | Yes | 56 | Number |
| Asset Inspection Polygon | InspectionStartDate | The date when an asset inspection began. If exact date is not known, may • approximate as first day of the month in which inspection began. This field is required IF InspectionStatus is “In progress” OR “Complete”. | Yes | 56 | Date |
| Asset Inspection Polygon | InspectionEndDate | The date when an asset inspection was completed. If the asset inspection was started and completed on the same day, “InspectionStartDate” and “InspectionEndDate” will have the same value. If exact date is not known, may approximate as last day of the month in which inspection was completed. This field is required IF InspectionStatus is “Complete”. | Yes | 56 | Date |
| Asset Inspection Polygon | PerformedBy | Who performed the asset inspection? Possible values: • Utility staff - Contractor • Other, see comment This field is required. | Yes | 56 | Domain |
| Asset Inspection Polygon | PerformedByComment | Inspector description not listed in the options above. This field is required IF “PerformedBy” is “Other, see comment”. | Yes | 56 | Text |

| Asset Inspection Polygon | InspectionType | The type of asset inspection performed. Possible values: • Patrol • Detailed • Pole loading • Other, see comment This field is required. | Yes | 56 | Domain |
| --- | --- | --- | --- | --- | --- |
| Asset Inspection Polygon | InspectionTypeComment | Inspection type description not listed in the options above. This field is required IF InspectionType is “Other, see comment” | Yes | 56 | Text |
| Asset Inspection Polygon | InspectionComment | Additional comments related to the asset management inspection. This field is optional. | Yes | 56 | Text |
| Asset Inspection Polygon | FindingL1 | Number of Level 1 findings per GO 95 rule 18-B1. This field is required. | Yes | 56 | Number |
| Asset Inspection Polygon | FindingL2 | Number of Level 2 findings per GO 95 rule 18-B1. This field is required. | Yes | 56 | Number |
| Asset Inspection Polygon | FindingL3 | Number of Level 3 findings per GO 95 rule 18-B1. This field is required. | Yes | 56 | Number |
| Asset Inspection Polygon | InspectionMethod | The method by which the asset inspection was conducted. Possible values: • Ground inspection • Climbing • Lift/bucket truck - Aerial: drone • Aerial: helicopter • Aerial: fixed wing • Other, see comment • “Aerial: drone” should be used for all unmanned aerial vehicles regardless of configuration (rotor vs. fixed-wing). “Lift/bucket truck” should be used for any similar methods. “Ground inspection” should be understood not to involve any climbing or lifting equipment or drone technology. This field is required. | Yes | 57 | Domain |
| Asset Inspection Polygon | InspectionMethodComm ent | Inspection method not listed in the options above—or multiple inspection methods listed in the options above. If multiple, list all values separated by commas. This field is required IF InspectionMethod is “Other, see comment”. | Yes | 57 | Text |
| Asset Inspection Polygon | DataCaptureSensorType | Type of sensor used to record data during the inspection, if any. Do not identify sensors used only for real-time visualization during the inspection. Possible values: • None • Aerial laser scanning • Terrestrial laser scanning • Aerial imagery (visible) • Aerial imagery (thermal) • Other, see comment This field is required. | Yes | 57 | Domain |
| Asset Inspection Polygon | DataCaptureSensorType Comment | Type of sensor other than those identified as options in the Data Capture Sensor Type field. This field is required IF DataCaptureSensorType is “Other, see comment”. | Yes | 57 | Text |
| Asset Inspection Polygon | FieldNotes | Any additional notes, particularly from field workers. This field is optional. | Yes | 57 | Text |

| Asset Inspection Polygon | HFTDClass | The CPUC High Fire Threat District (HFTD) area that the asset inspection intersects. For this data, anything outside Tiers 2 and 3 must be categorized as “Non-HFTD.” Do not record any Zone 1 or Tier 1 values. If a data polygon spans multiple HFTD areas, list them under the “HFTDClassComment” field. Possible values: • Tier 3 • Tier 2 • Non-HFTD • Multiple, see comment • HFTD data can be downloaded from: https://ia.cpuc.ca.gov/firemap. This field is required. | Yes | 57 | Domain |
| --- | --- | --- | --- | --- | --- |
| Asset Inspection Polygon | HFTDClassComment | If a project polygon intersects multiple HFTD areas, list all of them here. This field is required IF HFTDClass is “Multiple, see comment”. | Yes | 57 | Text |

#### Vegetation Inspection Feature Class

| Feature | Field | Description | Aligns with Office of Energy Infrastructures mandatory Data Guidelines Reporting? | Data Guidelines Location, Page# | Data Type |
| --- | --- | --- | --- | --- | --- |
| Vegetation Inspection Line | VmiID | Unique ID or job ID of a vegetation inspection activity. Primary key for the Vegetation Inspection Line feature class. This field is required. | Yes | 72 | Text |
| Vegetation Inspection Line | UtilityID | Standardized identification name of the electrical corporation. Possible values: • BVES • HWT • Liberty • LS Power • PacifiCorp • PG&E • SCE • SDG&E • TBC This field is required. | Yes | 72 | Domain |
| Vegetation Inspection Line | UMATID | This is the Utility Mitigation Activity Tracking ID, a unique tracking ID for a given activity. This ID must match the UTILITY MITIGATION ACTIVITY TRACKING ID and UMAT fields for the same activity in all data submissions for the activity’s entire lifecycle. This field must correspond with the Utility Mitigation Activity Tracking ID referenced where the activity is discussed in the electrical corporation’s WMP(s). This field should remain static even if WMP category, WMP initiative, or WMP Section numbers change. This field is required. | Yes | 73 | Text |
| Vegetation Inspection Line | ActivityClass | Was the activity performed ONLY to meet requirements of statute or regulation, or done at the electrical corporation’s discretion? Inspections done at increased frequency relative to requirements or normal operations are considered discretionary. • Possible values: • Regulatory • Discretionary This field is required. | Yes | 73 | Domain |
| Vegetation Inspection Line | SegmentID | ID of the specific circuit segment inspected, if any. Foreign key to the Asset Line feature classes if the electrical corporation has persistent unique segment IDs. A segment may be anything more granular than a circuit, including a single span. This field is required IF the inspection activity represented by the line is focused on conductor (e.g., radial clearance) AND the electrical corporation has persistent stable IDs for circuit segments. | Yes | 73 | Text |

| Vegetation Inspection Line | CircuitID | ID of the specific circuit inspected, if any. Foreign key to the Asset Line feature classes if the electrical corporation does not have persistent unique segment IDs. This field is required IF the inspection activity represented by the line is focused on conductor (e.g., radial clearance) AND SegmentID is not populated. | Yes | 73 | Text |
| --- | --- | --- | --- | --- | --- |
| Vegetation Inspection Line | LineClass | Identifies the feature class where the segment or circuit ID should be found. Possible values: • Transmission Line • Primary Distribution Line • Secondary Distribution Line This field is required IF the inspection activity represented by the line is focused on conductor (e.g., radial clearance). | Yes | 73 | Domain |
| Vegetation Inspection Line | InspectionLocationOrAd dress | Address or location description for the inspection location. This field is optional. | Yes | 73 | Text |
| Vegetation Inspection Line | WMPInitiative | The name of the WMP mitigation initiative, as defined by Energy Safety, under which the activity is organized. See Appendix C. WMP Initiative Classification for acceptable field values. | Yes | 73 | Text |
| Vegetation Inspection Line | WMPActivity | The name for the WMP mitigation activity. This will be defined either by the electrical corporation or Energy Safety, according to Appendix A of the WMP Guidelines. See Appendix C. WMP Initiative Classification for acceptable field values of activities defined by Energy Safety. This field is required. | Yes | 73 | Text |
| Vegetation Inspection Line | ActivityDescription | Description of the activity. | Yes | 73 | Text |
| Vegetation Inspection Line | InspectionProgramName | Inspection program name for the inspection activity. This must match the program name as specified in the electrical corporation’s WMP. This may be the same as “WMP Activity”. This field is required. | Yes | 73 | Text |
| Vegetation Inspection Line | WMPSection | Section of the electrical corporation’s most recent WMP explaining the initiative. This field is required. | Yes | 73 | Text |
| Vegetation Inspection Line | InspectionStatus | The status of the vegetation inspection project. Possible values: • Planned • In progress • Complete This field is required. | Yes | 74 | Domain |
| Vegetation Inspection Line | UnitsRepresented | The number of initiative target units represented by the line, if not equal to the line’s length. Blank (null) values will be interpreted as the line representing its length. This field is required IF the line represents a different number of units than its length. | Yes | 74 | Number |

| Vegetation Inspection Line | InspectionStartDate | The date when a vegetation management inspection began or is planned to begin. If exact date is not known, may approximate to first day of the month inspection was started. May leave null for planned inspections. This field is required IF InspectionStatus is “In progress” OR “Complete”. | Yes | 74 | Date |
| --- | --- | --- | --- | --- | --- |
| Vegetation Inspection Line | InspectionEndDate | The date when a vegetation management inspection ended or is planned to end. If exact date is not known, may approximate to last day of the month inspection was finished. This field is required IF InspectionStatus is “Complete”. | Yes | 74 | Date |
| Vegetation Inspection Line | InspectionType | Initiative activities related to the vegetation management project. If multiple activities are related, list them in the “InspectionType” comment field. Possible values: • Assessing trees with the potential to strike • Clearances, required • Clearances, beyond requirements • Hazard trees • Tree mortality • Other, see comment This field is required. | Yes | 74 | Domain |
| Vegetation Inspection Line | InspectionTypeComment | Inspection type description not listed in the options above. If multiple activities are related to the project, list them here. This field is required IF InspectionType is “Other, see comment”. | Yes | 74 | Text |
| Vegetation Inspection Line | PerformedBy | Who performed the asset inspection? Possible values: • Utility staff - Contractor • Other, see comment This field is required. | Yes | 74 | Domain |
| Vegetation Inspection Line | PerformedByComment | Inspector description not listed in the options above. This field is required IF PerformedBy is “Other, see comment”. | Yes | 74 | Text |
| Vegetation Inspection Line | CommercialHarvest | Does the inspection involve commercial harvest? Possible values: - Yes • No This field is required. | Yes | 74 | Domain |
| Vegetation Inspection Line | TreeTrimCount | The number of trees identified for trimming from the vegetation management inspection. Trees over 6” DBH and outside a 4’ radius of the conductor must be counted. This field is required. | Yes | 74 | Number |
| Vegetation Inspection Line | TreeRemovalCount | The number of trees identified for removal from the vegetation management inspection. Trees over 6” DBH and outside a 4’ radius of the conductor must be counted. This field is required. | Yes | 74 | Number |
| Vegetation Inspection Line | InspectionComment | Additional comments regarding the vegetation inspection project. This field is optional. | Yes | 75 | Text |

| Vegetation Inspection Line | InspectionMethod | Inspection method. Possible values: • Ground inspection • Climbing • Lift/bucket truck • Aerial: drone • Aerial: helicopter • Aerial: fixed wing • Other, see comment • “Aerial: drone” should be used for all unmanned aerial vehicles regardless of configuration (rotor vs. fixed-wing). “Lift/bucket truck” should be used for any similar methods. “Ground inspection” should be understood not to involve any climbing or lifting equipment or drone technology. This field is required. | Yes | 75 | Domain |
| --- | --- | --- | --- | --- | --- |
| Vegetation Inspection Line | InspectionMethodComm ent | Inspection method description not listed in the options above. This field is required IF InspectionMethod is “Other, see comment”. | Yes | 75 | Text |
| Vegetation Inspection Line | DataCaptureSensorType | Type of sensor used to record data during the inspection, if any. Do not identify sensors used only for real-time visualization during the inspection. Possible values: • None • Aerial laser scanning • Terrestrial laser scanning • Aerial imagery (visible) • Aerial imagery (thermal) • Other, see comment This field is required. | Yes | 75 | Domain |
| Vegetation Inspection Line | DataCaptureSensorType Comment | Type of sensor other than those identified as options in the Data Capture Sensor Type field. This field is required IF DataCaptureSensorType is “Other, see comment”. | Yes | 75 | Text |
| Vegetation Inspection Line | HFTDClass | The CPUC High Fire Threat District (HFTD) area that the vegetation management project intersects. For these data, anything outside Tiers 2 and 3 must be categorized as “Non-HFTD.” Do not record any Zone 1 or Tier 1 values. If a data line spans multiple HFTD areas, list them under the “HFTDClassComment” field. Possible values: • Tier 3 • Tier 2 • Non-HFTD • Multiple, see comment • HFTD data can be downloaded from: https://ia.cpuc.ca.gov/firemap. This field is required. | Yes | 75 | Domain |
| Vegetation Inspection Line | HFTDClassComment | If the project line intersects multiple HFTD areas, list all of them here. This field is required IF HFTDClass is “Multiple, see comment”. | Yes | 75 | Text |
| Vegetation Inspection Point | VmiID | Unique ID or job ID of a vegetation inspection activity. Primary key for the Vegetation Inspection Point feature class. This field is required. | Yes | 75 | Text |
| Vegetation Inspection Point | UtilityID | Standardized identification name of the electrical corporation. Possible values: • BVES • HWT • Liberty • LS Power • PacifiCorp • PG&E • SCE • SDG&E • TBC This field is required. | Yes | 76 | Domain |

| Vegetation Inspection Point | UMATID | This is the Utility Mitigation Activity Tracking ID, a unique tracking ID for a given activity. This ID must match the UTILITY MITIGATION ACTIVITY TRACKING ID and UMAT fields for the same activity in all data submissions for the activity’s entire lifecycle. This field must correspond with the Utility Mitigation Activity Tracking ID referenced where the activity is discussed in the electrical corporation’s WMP(s). This field should remain static even if WMP category, WMP initiative, or WMP Section numbers change. This field is required. | Yes | 76 | Text |
| --- | --- | --- | --- | --- | --- |
| Vegetation Inspection Point | ActivityClass | Was the activity performed ONLY to meet requirements of statute or regulation, or done at the electrical corporation’s discretion? Inspections done at increased frequency relative to requirements or normal operations are considered discretionary. • Possible values: • Regulatory • Discretionary This field is required. | Yes | 76 | Domain |
| Vegetation Inspection Point | AssetID | Unique ID for a specific point asset. Foreign key to the Asset Point features. For support structures, use Support Structure ID. For transformers, use Transformer Site ID. This field is required IF the inspection activity represented by the point is focused on an individual asset recorded as a point in data submitted to Energy Safety. | Yes | 76 | Text |
| Vegetation Inspection Point | AssetFeature | Identifies the feature class where the asset ID should be found. Possible values: • Camera • Connection Device • Fuse • Lightning Arrester • Substation • Support Structure • Switchgear • Transformer Site • Weather Station This field is required IF the inspection activity represented by the point is focused on an individual asset recorded as a point in data submitted to Energy Safety. | Yes | 76 | Domain |
| Vegetation Inspection Point | SegmentID | ID of the specific circuit segment inspected, if any. Foreign key to the Asset Line feature classes if the electrical corporation has persistent unique segment IDs. A segment may be anything more granular than a circuit, including a single span. This field is required IF the inspection activity represented by the point is focused on conductor (e.g., radial clearance) AND the electrical corporation has persistent stable IDs for circuit segments. | Yes | 76 | Text |

| Vegetation Inspection Point | CircuitID | ID of the specific circuit inspected, if any. Foreign key to the Asset Line feature classes if the electrical corporation does not have persistent unique segment IDs. This field is required IF the inspection activity represented by the point is focused on conductor (e.g., radial clearance) AND SegmentID is not populated. | Yes | 77 | Text |
| --- | --- | --- | --- | --- | --- |
| Vegetation Inspection Point | LineClass | Identifies the feature class where the segment or circuit ID should be found. Possible values: • Transmission Line • Primary Distribution Line • Secondary Distribution Line This field is required IF the inspection activity represented by the point is focused on conductor (e.g., radial clearance). | Yes | 77 | Domain |
| Vegetation Inspection Point | InspectionLocationOrAd dress | Address or location description for the inspection location. This field is optional. | Yes | 77 | Text |
| Vegetation Inspection Point | IsTree | Does the point represent a tree or other vegetation location? Possible values: • Yes • No This field is required. | Yes | 77 | Domain |
| Vegetation Inspection Point | VegetationGenus | Genus of vegetation. This field may be left null for palms and bamboo. This field is required IF the point represents an individual tree or shrub AND VegetationCommonName is not “Palm” or “Bamboo”. | Yes | 77 | Text |
| Vegetation Inspection Point | VegetationSpecies | Species of vegetation. Do not use “sp.” except for the following genera: Acacia, Agave Ailanthus, Albizia, Arctostaphylos, Callistemon, Casuarina, Catalpa, Ceanothus, Citrus, Corymbia, Eucalyptus, Lagerstroemia, Ligustrum, Malus, Melaleuca, Photinia, Pittosporum, Podocarpus, Prunus, Pyrus, Salix, Strlitzia, Syzygium, Tamarix. This field may be filled out as “sp.” or left null for the above genera and may be left null for palms and bamboo. This field is required IF IsTree is not “No” AND VegetationCommonName is not “Palm” or “Bamboo” AND VegetationGenus is not in the list above. | Yes | 77 | Text |
| Vegetation Inspection Point | VegetationCommonNam e | Common name of vegetation. This field is required IF IsTree is not “No” and the tree represented is a Palm or Bamboo. | Yes | 77 | Text |
| Vegetation Inspection Point | TreeHeight | Tree height (feet). Round the value. This field is required if IsTree is not “No”. | Yes | 77 | Number |
| Vegetation Inspection Point | TreeDiameter | Tree diameter at breast height (inches). Round the value. This field is required if IsTree is not “No”. | Yes | 77 | Number |
| Vegetation Inspection Point | TreeDistance | Distance (in feet) between tree or shrub and the electrical corporation’s nearest utility asset. This field is required if IsTree is not “No”. | Yes | 77 | Number |

| Vegetation Inspection Point | DangerTree | For points representing individual trees: Is this a “danger tree” per 14 CCR 895.1? • Possible values: • Yes • No This field is required if IsTree is not “No”. | Yes | 77 | Domain |
| --- | --- | --- | --- | --- | --- |
| Vegetation Inspection Point | WMPInitiative | The name of the WMP mitigation initiative, as defined by Energy Safety, under which the activity is organized. See Appendix C. WMP Initiative Classification for acceptable field values. | Yes | 77 | Text |
| Vegetation Inspection Point | WMPActivity | The name for the WMP mitigation activity. This will be defined either by the electrical corporation or Energy Safety, according to Appendix A of the WMP Guidelines. See Appendix C. WMP Initiative Classification for acceptable field values of activities defined by Energy Safety. This field is required. | Yes | 77 | Text |
| Vegetation Inspection Point | ActivityDescription | Description of the activity. | Yes | 78 | Text |
| Vegetation Inspection Point | InspectionProgramName | Inspection program name for the inspection activity. This must match the program name as specified in the electrical corporation’s WMP. This may be the same as “WMP Activity”. This field is required. | Yes | 78 | Text |
| Vegetation Inspection Point | WMPSection | Section of the electrical corporation’s most recent WMP explaining the initiative. This field is required. | Yes | 78 | Text |
| Vegetation Inspection Point | InspectionStatus | The status of the vegetation inspection project. Possible values: • Planned • In progress • Complete This field is required. | Yes | 78 | Domain |
| Vegetation Inspection Point | UnitsRepresented | The number of initiative target units represented by the point if more than 1. For example, the electrical corporation may represent multiple assets replaced at a single location with one point. Blank (null) and “1” values will be interpreted as representing a single unit. This field is required IF the point represents more than 1 target unit. | Yes | 78 | Number |
| Vegetation Inspection Point | InspectionStartDate | The date when a vegetation management inspection began or is planned to begin. If exact date is not known, may approximate to first day of the month inspection was started. May leave null for planned inspections. This field is required IF InspectionStatus is “In progress” OR “Complete”. | Yes | 78 | Date |
| Vegetation Inspection Point | InspectionEndDate | The date when a vegetation management inspection ended or is planned to end. If exact date is not known, may approximate to last day of the month inspection was finished. This field is required IF InspectionStatus is “Complete”. | Yes | 78 | Date |

| Vegetation Inspection Point | InspectionType | Initiative activities related to the vegetation management project. If multiple activities are related, list them in the “InspectionType” comment field. Possible values: • Assessing trees with the potential to strike • Clearances, required • Clearances, beyond requirements • Hazard trees • Tree mortality • Other, see comment This field is required. | Yes | 78 | Domain |
| --- | --- | --- | --- | --- | --- |
| Vegetation Inspection Point | InspectionTypeComment | Inspection type description not listed in the options above. If multiple activities are related to the project, list them here. This field is required IF InspectionType is “Other, see comment”. | Yes | 78 | Text |
| Vegetation Inspection Point | PerformedBy | Who performed the asset inspection? Possible values: • Utility staff - Contractor • Other, see comment This field is required. | Yes | 78 | Domain |
| Vegetation Inspection Point | PerformedByComment | Inspector description not listed in the options above. This field is required IF PerformedBy is “Other, see comment”. | Yes | 78 | Text |
| Vegetation Inspection Point | CommercialHarvest | Does the inspection involve commercial harvest? Possible values: - Yes • No This field is required. | Yes | 78 | Domain |
| Vegetation Inspection Point | TreeTrimCount | The number of trees identified for trimming from the vegetation management inspection. Trees over 6” DBH and outside a 4’ radius of the conductor must be reported. This field is required. | Yes | 79 | Number |
| Vegetation Inspection Point | TreeRemovalCount | The number of trees identified for removal from the vegetation management inspection. Trees over 6” DBH and outside a 4’ radius of the conductor must be reported. This field is required. | Yes | 79 | Number |
| Vegetation Inspection Point | InspectionComment | Additional comments regarding the vegetation inspection project. This field is optional. | Yes | 79 | Text |
| Vegetation Inspection Point | InspectionMethod | Inspection method. Possible values: • Ground inspection • Climbing • Lift/bucket truck • Aerial: drone • Aerial: helicopter • Aerial: fixed wing • Other, see comment • • “Aerial: drone” should be used for all unmanned aerial vehicles regardless of configuration (rotor vs. fixed-wing). “Lift/bucket truck” should be used for any similar methods. “Ground inspection” should be understood not to involve any climbing or lifting equipment or drone technology. This field is required. | Yes | 79 | Domain |
| Vegetation Inspection Point | InspectionMethodComm ent | Inspection method description not listed in the options above. This field is required if “InspectionMethod” is “Other, see comment”. | Yes | 79 | Text |

| Vegetation Inspection Point | DataCaptureSensorType | Type of sensor used to record data during the inspection, if any. Do not identify sensors used only for real-time visualization during the inspection. Possible values: • None • Aerial laser scanning • Terrestrial laser scanning • Aerial imagery (visible) • Aerial imagery (thermal) • Other, see comment This field is required. | Yes | 79 | Domain |
| --- | --- | --- | --- | --- | --- |
| Vegetation Inspection Point | DataCaptureSensorType Comment | Type of sensor other than those identified as options in the Data Capture Sensor Type field. This field is required IF DataCaptureSensorType is “Other, see comment”. | Yes | 79 | Text |
| Vegetation Inspection Point | HFTDClass | The CPUC high-fire threat district (HFTD) area the management inspection intersects. For these data, anything outside Tiers 2 and 3 must be categorized as “Non-HFTD.” Do not record any Zone 1 or Tier 1 values. Possible values: • Tier 3 • Tier 2 • Non-HFTD • HFTD data can be downloaded from: https://ia.cpuc.ca.gov/firemap. This field is required. | Yes | 79 | Domain |
| Vegetation Inspection Polygon | VmiID | Unique ID or job ID of a vegetation inspection activity. Primary key for the Vegetation Inspection Polygon feature class. This field is required. | Yes | 80 | Text |
| Vegetation Inspection Polygon | UtilityID | Standardized identification name of the electrical corporation. Possible values: • BVES • HWT • Liberty • LS Power • PacifiCorp • PG&E • SCE • SDG&E • TBC This field is required. | Yes | 80 | Domain |
| Vegetation Inspection Polygon | UMATID | This is the Utility Mitigation Activity Tracking ID, a unique tracking ID for a given activity. This ID must match the UTILITY MITIGATION ACTIVITY TRACKING ID and UMAT fields for the same activity in all data submissions for the activity’s entire lifecycle. This field must correspond with the Utility Mitigation Activity Tracking ID referenced where the activity is discussed in the electrical corporation’s WMP(s). This field should remain static even if WMP category, WMP initiative, or WMP Section numbers change. This field is required. | Yes | 80 | Text |
| Vegetation Inspection Polygon | Activity Class | Was the activity performed ONLY to meet requirements of statute or regulation, or done at the electrical corporation’s discretion? Inspections done at increased frequency relative to requirements or normal operations are considered discretionary. • Possible values: • Regulatory • Discretionary This field is required. | Yes | 80 | Domain |

| Vegetation Inspection Polygon | SegmentID | ID of the specific circuit segment inspected. Foreign key to the Asset Line feature classes if the electrical corporation has persistent unique segment IDs. A segment may be anything more granular than a circuit, including a single span. This field is required IF the inspection activity represented by the polygon is focused on conductor (e.g., radial clearance) AND the electrical corporation has persistent stable IDs for circuit segments. | Yes | 80 | Text |
| --- | --- | --- | --- | --- | --- |
| Vegetation Inspection Polygon | CircuitID | ID of the specific circuit inspected. Foreign key to the Asset Line feature classes if the electrical corporation does not have persistent unique segment IDs. This field is required IF the inspection activity represented by the polygon is focused on conductor (e.g., radial clearance) AND SegmentID is not populated. | Yes | 80 | Text |
| Vegetation Inspection Polygon | LineClass | Identifies the feature class where the segment or circuit ID should be found. Possible values: • Transmission Line • Primary Distribution Line • Secondary Distribution Line This field is required IF the inspection activity represented by the polygon is focused on conductor (e.g., radial clearance). | Yes | 80 | Domain |
| Vegetation Inspection Polygon | AssetID | Unique ID for a specific point asset. Must be traceable stable ID within a specific asset class. Foreign key to all the related Asset Point feature class attribute tables. For Support Structure, use Support Structure ID. For Transformer Site, use Transformer Site ID. This field is required IF the inspection activity represented by the point is focused on an individual asset recorded as a point in data submitted to Energy Safety. | Yes | 81 | Text |
| Vegetation Inspection Polygon | AssetFeature | Identifies the feature class where the asset ID should be found. Possible values: • Camera • Connection Device • Fuse • Lightning Arrester • Substation • Support Structure • Switchgear • Transformer Site • Weather Station This field is required IF the inspection activity represented by the point is focused on an individual asset recorded as a point in data submitted to Energy Safety. | Yes | 81 | Domain |
| Vegetation Inspection Polygon | InspectionLocationOrAd dress | Address or location description for the inspection location. This field is optional. | Yes | 81 | Text |
| Vegetation Inspection Polygon | WMPInitiative | The name of the WMP mitigation initiative, as defined by Energy Safety, under which the activity is organized. See Appendix C. WMP Initiative Classification for acceptable field values. | Yes | 81 | Text |

| Vegetation Inspection Polygon | WMPActivity | The name for the WMP mitigation activity. This will be defined either by the electrical corporation or Energy Safety, according to Appendix A of the WMP Guidelines. See Appendix C. WMP Initiative Classification for acceptable field values of activities defined by Energy Safety. This field is required. | Yes | 81 | Text |
| --- | --- | --- | --- | --- | --- |
| Vegetation Inspection Polygon | ActivityDescription | Description of the activity. | Yes | 81 | Text |
| Vegetation Inspection Polygon | InspectionProgramName | Inspection program name for the inspection activity. This must match the program name as specified in the electrical corporation’s WMP. This may be the same as “WMP Activity”. This field is required. | Yes | 81 | Text |
| Vegetation Inspection Polygon | WMPSection | Section of the electrical corporation’s most recent WMP explaining the initiative. This field is required. | Yes | 81 | Text |
| Vegetation Inspection Polygon | InspectionStatus | The status of the vegetation inspection project. Possible values: • Planned • In progress • Complete This field is required. | Yes | 81 | Domain |
| Vegetation Inspection Polygon | UnitsRepresented | The number of initiative target units represented by the polygon, if not equal to the polygon’s area. Blank (null) values will be interpreted as the polygon representing its area. This field is required IF the polygon represents a different number of units than its area. | Yes | 81 | Number |
| Vegetation Inspection Polygon | InspectionStartDate | The date when a vegetation management inspection began or is planned to begin. If exact date is not known, may approximate to first day of the month inspection was started. May leave null for planned inspections. This field is required IF InspectionStatus is “In progress” OR “Complete”. | Yes | 81 | Date |
| Vegetation Inspection Polygon | InspectionEndDate | The date when a vegetation management inspection ended or is planned to end. If exact date is not known, may approximate to last day of the month inspection was finished. This field is required IF InspectionStatus is “Complete”. | Yes | 82 | Date |
| Vegetation Inspection Polygon | InspectionType | Initiative activities related to the vegetation management project. If multiple activities are related, list them in the “InspectionType” comment field. Possible values: • Assessing trees with the potential to strike • Clearances, required • Clearances, beyond requirements • Hazard trees • Tree mortality • Other, see comment This field is required. | Yes | 82 | Domain |
| Vegetation Inspection Polygon | InspectionTypeComment | Inspection type description not listed in the options above. If multiple activities are related to the project, list them here. This field is required IF InspectionType is “Other, see comment”. | Yes | 82 | Text |

| Vegetation Inspection Polygon | PerformedBy | Who performed the asset inspection? Possible values: • Utility staff - Contractor • Other, see comment This field is required. | Yes | 82 | Domain |
| --- | --- | --- | --- | --- | --- |
| Vegetation Inspection Polygon | PerformedByComment | Inspector description not listed in the options above. This field is required IF PerformedBy is “Other, see comment”. | Yes | 82 | Text |
| Vegetation Inspection Polygon | CommercialHarvest | Does the inspection involve commercial harvest? Possible values: - Yes • No This field is required. | Yes | 82 | Domain |
| Vegetation Inspection Polygon | TreeTrimCount | The number of trees identified for trimming from the vegetation management inspection. Trees over 6” DBH and outside a 4’ radius of the conductor must be counted. This field is required. | Yes | 82 | Number |
| Vegetation Inspection Polygon | TreeRemovalCount | The number of trees identified for removal from the vegetation management inspection. Trees over 6” DBH and outside a 4’ radius of the conductor must be counted. This field is required. | Yes | 82 | Number |
| Vegetation Inspection Polygon | InspectionComment | Additional comments regarding the vegetation inspection project. This field is optional. | Yes | 82 | Text |
| Vegetation Inspection Polygon | InspectionMethod | Inspection method. Possible values: • Ground inspection • Climbing • Lift/bucket truck • Aerial: drone • Aerial: helicopter • Aerial: fixed wing • Other, see comment • “Aerial – drone” should be used for all unmanned aerial vehicles regardless of configuration (rotor vs. fixed-wing). “Lift/bucket truck” should be used for any similar methods. “Ground inspection” should be understood not to involve any climbing or lifting equipment or drone technology. This field is required. | Yes | 83 | Domain |
| Vegetation Inspection Polygon | InspectionMethodComm ent | Inspection method description not listed in the options above. This field is required IF InspectionMethod is “Other, see comment”. | Yes | 83 | Text |
| Vegetation Inspection Polygon | DataCaptureSensorType | Type of sensor used to record data during the inspection, if any. Do not identify sensors used only for real-time visualization during the inspection. Possible values: • None • Aerial laser scanning • Terrestrial laser scanning • Aerial imagery (visible) • Aerial imagery (thermal) • Other, see comment This field is required. | Yes | 83 | Domain |
| Vegetation Inspection Polygon | DataCaptureSensorType Comment | Type of sensor other than those identified as options in the Data Capture Sensor Type field. This field is required IF DataCaptureSensorType is “Other, see comment”. | Yes | 83 | Text |

| Vegetation Inspection Polygon | HFTDClass | The CPUC High Fire Threat District (HFTD) area that the vegetation management project intersects. For these data, anything outside Tiers 2 and 3 must be categorized as “Non-HFTD.” Do not record any Zone 1 or Tier 1 values. If a data polygon spans multiple HFTD areas, list them under the “HFTDClassComment” field. Possible values: • Tier 3 • Tier 2 • Non-HFTD • Multiple, see comment • HFTD data can be downloaded from: https://ia.cpuc.ca.gov/firemap. This field is required. | Yes | 83 | Domain |
| --- | --- | --- | --- | --- | --- |
| Vegetation Inspection Polygon | HFTDClassComment | If the project polygon intersects multiple HFTD areas, list all of them here. This field is required IF HFTDClass is “Multiple, see comment”. | Yes | 83 | Text |

#### Vegetation Management Feature Class

| Feature | Field | Description | Aligns with Office of Energy Infrastructures mandatory Data Guidelines Reporting? | Data Guidelines Location, Page# | Data Type |
| --- | --- | --- | --- | --- | --- |
| Vegetation Management Project Line | VmpID | Unique ID or job ID of an initiative. Primary key for Vegetation Management Project Line feature class. This field is required. | Yes | 84 | Text |
| Vegetation Management Project Line | UtilityID | Standardized identification name of the electrical corporation. Possible values: • BVES • HWT • Liberty • LS Power • PacifiCorp • PG&E • SCE • SDG&E • TBC This field is required. | Yes | 85 | Domain |
| Vegetation Management Project Line | UMATID | This is the Utility Mitigation Activity Tracking ID, a unique tracking ID for a given activity. This ID must match the UTILITY MITIGATION ACTIVITY TRACKING ID and UMAT fields for the same activity in all data submissions for the activity’s entire lifecycle. This field must correspond with the Utility Mitigation Activity Tracking ID referenced where the activity is discussed in the electrical corporation’s WMP(s). This field should remain static even if WMP category, WMP initiative, or WMP Section numbers change. This field is required. | Yes | 85 | Text |
| Vegetation Management Project Line | ActivityClass | Was the activity performed ONLY to meet requirements of statute or regulation, or done at the electrical corporation’s discretion? Clearances to greater than required distance are considered discretionary. Possible values: • Regulatory • Discretionary This field is required. | Yes | 85 | Domain |
| Vegetation Management Project Line | SegmentID | ID of the specific circuit segment on which the work was done, if any. Foreign key to the Asset Line features if the electrical corporation has persistent unique segment IDs. A segment may be anything more granular than a circuit, including a single span. This field is required IF the VM activity represented by the line is focused on conductor (e.g., radial clearance) AND the electrical corporation has persistent stable IDs for circuit segments. | Yes | 85 | Text |

| Vegetation Management Project Line | CircuitID | ID of the specific circuit on which the work was done, if any. Foreign key to the Asset • Line features if the electrical corporation does not have persistent unique segment IDs. This field is required IF the activity represented by the point is focused on conductor (e.g., radial clearance) AND SegmentID is not populated. | Yes | 85 | Text |
| --- | --- | --- | --- | --- | --- |
| Vegetation Management Project Line | LineClass | Identifies the feature class where the segment or circuit ID should be found. Possible values: • Transmission Line • Primary Distribution Line • Secondary Distribution Line This field is required IF SegmentID or CircuitID is populated. | Yes | 85 | Domain |
| Vegetation Management Project Line | ProjectLocationOrAddres s | Address or location description for project location. This field is optional. | Yes | 85 | Text |
| Vegetation Management Project Line | RadialClearanceDistanc e | What radial clearance distance was implemented for this project, in feet? For projects not involving radial clearance, enter “-99”. This should be the actual clearance standard implemented, NOT the minimum clearance per regulations, if those are different (i.e., where the electrical corporation is implementing “enhanced” clearances via greater distance than required). This field is required. | Yes | 85 | Number |
| Vegetation Management Project Line | LineDeenergized | Do the power lines need to be de-energized to perform the work? Possible values: • Yes • No This field is required. | Yes | 86 | Domain |
| Vegetation Management Project Line | WMPInitiative | The name of the WMP mitigation initiative, as defined by Energy Safety, under which the activity is organized. See Appendix C. WMP Initiative Classification for acceptable field values. | Yes | 86 | Text |
| Vegetation Management Project Line | WMPActivity | The name for the WMP mitigation activity. This will be defined either by the electrical corporation or Energy Safety, according to Appendix A of the WMP Guidelines. See Appendix C. WMP Initiative Classification for acceptable field values of activities defined by Energy Safety. This field is required. | Yes | 86 | Text |
| Vegetation Management Project Line | ActivityDescription | Description of the activity. | Yes | 86 | Text |
| Vegetation Management Project Line | WMPSection | Section of the electrical corporation’s most recent WMP explaining the initiative. This field is required. | Yes | 86 | Text |

| Vegetation Management Project Line | VmpStatus | Status of the vegetation management project. Possible Values: • Planned • In progress • Complete This field is required. | Yes | 86 | Domain |
| --- | --- | --- | --- | --- | --- |
| Vegetation Management Project Line | HerbicideUse | Are any herbicides planned to be used or were any herbicides used as part of the project? Possible values: • Yes • No This field is required. | Yes | 86 | Domain |
| Vegetation Management Project Line | HerbicideName | If any herbicides are planned for use or were used, list the specific products used / to be used. This field is required IF HerbicideUse is not “No”. | Yes | 86 | Text |
| Vegetation Management Project Line | UnitsRepresented | The number of initiative target units represented by the line, if not equal to the line’s length. Blank (null) values will be interpreted as the line representing its length. This field is required IF the line represents a different number of units than its length. | Yes | 86 | Number |
| Vegetation Management Project Line | DescriptionOfWork | Additional description of the vegetation management work. This field is optional. | Yes | 86 | Text |
| Vegetation Management Project Line | StartDate | The start date of the vegetation management project. This field must have values for all projects that have a value of “Complete” or “In Progress” in the“VmpStatus” field. If exact date is not known, may approximate as the first day of the month in which project began. May leave null for planned projects. This field is required IF VmpStatus is “In progress” OR “Complete”. | Yes | 86 | Date |
| Vegetation Management Project Line | EndDate | The completion date of the vegetation management project. This field must at least have values for all projects that have a value of “Complete” in the VmpStatus field. If exact date is not known, the electrical corporation may approximate EndDate as the last day of the month in which project was completed. This field is required IF VmpStatus is “Complete”. | Yes | 86 | Date |
| Vegetation Management Project Line | CoastalRedwoodExempti on | Coastal redwood exception to clearance being applied. Possible values: • Yes • No This field is required. | Yes | 86 | Domain |
| Vegetation Management Project Line | EncroachPermit | Is an encroachment permit required for the vegetation management project? Possible values: • Yes • No This field is required. | Yes | 87 | Domain |
| Vegetation Management Project Line | EnvPermit | Is special environmental permitting needed for the vegetation management project? • Possible values: • Yes • No This field is required. | Yes | 87 | Domain |

| Vegetation Management Project Line | EnvPermitProject | Specific activity (e.g., timber harvest under an exemption) for which a permit was obtained. This field is required IF EnvPermit is “Yes”. | Yes | 87 | Text |
| --- | --- | --- | --- | --- | --- |
| Vegetation Management Project Line | CALFIREHdNumber | If applicable, enter the CAL FIRE harvest document number applicable to the initiative. When the permitted project is timber harvest under an exemption, this field must include the harvest document number of the exemption (e.g., 2-20EX-01049-BUT). This field is required IF the project has a CAL FIRE harvest document. | Yes | 87 | Text |
| Vegetation Management Project Line | OtherEnvPermitDocume ntation | For any projects that do not have a CAL FIRE harvest document number or that have a CAL FIRE Harvest document number and additional permit documentation, enter any key details about environmental permit documentation and project ID numbers. This field is required if EnvPermit is “Yes” and CALFIREHdNumber is not populated. | Yes | 87 | Text |
| Vegetation Management Project Line | CommercialHarvest | Does the initiative involve commercial harvest? Possible values: • Yes • No This field is required. | Yes | 87 | Domain |
| Vegetation Management Project Line | SlashManagement | How is brush or slash generated by the vegetation management project being managed or treated? Possible values: • None • Lopping • Chipping • Removal • Other, see comment • “Slash”, pursuant to PRC § 4525.7, means branches or limbs less than four inches in Diameter, and bark and split products debris left on the ground as a result of Timber Operations. This field is required. | Yes | 87 | Domain |
| Vegetation Management Project Line | SlashManagementCom ments | Brush/slash management method not listed above. This field is required IF SlashManagement is “Other, see comment”. | Yes | 87 | Text |
| Vegetation Management Project Line | TreeTrimCountPlanned | Number of trees planned for trimming in the project. Trees over 6” DBH and outside a 4’ radius of the conductor must be counted. Enter “0” if tree trimming is not part of the vegetation project. This field is required. | Yes | 87 | Number |
| Vegetation Management Project Line | TreeRemovalCountPlann ed | Number of trees planned for removal in the project. Trees over 6” DBH and outside a 4’ radius of the conductor must be counted. Enter “0” if tree removal is not part of the vegetation project. This field is required. | Yes | 87 | Number |
| Vegetation Management Project Line | TreeTrimCountActl | Number of trees actually trimmed as part of the project. Trees over 6” DBH and outside a 4’ radius of the conductor must be counted. Enter “0” if tree trimming is not part of the vegetation project. This field is required IF VmpStatus is “Complete”. | Yes | 88 | Number |

| Vegetation Management Project Line | TreeRemovalCountActl | Number of trees actually removed as part of the project. Trees over 6” DBH and outside a 4’ radius of the conductor must be counted. Enter “0” if tree removal is not part of the vegetation project. This field is required IF VmpStatus is “Complete”. | Yes | 88 | Number |
| --- | --- | --- | --- | --- | --- |
| Vegetation Management Project Line | WoodDestination | Record how boles of trees (6" diameter and greater) will be treated. If multiple destinations apply, list them all in the “VegetationDestinationComment” field. • Possible values: • Sawmill • Firewood • Biomass facility • Left whole on-site • Left chipped on-site • Burned on-site • None • Other, see comment • “Left whole on-site” includes bucked logs – whole means “not chipped”. “None” means no such material will be generated (e.g., pole brushing). This field is required. | Yes | 88 | Domain |
| Vegetation Management Project Line | WoodDestinationComm ent | Wood destination not listed above; or, if multiple destinations apply, list them here. This field is required IF WoodDestination is “Other, see comment”. | Yes | 88 | Domain |
| Vegetation Management Project Line | HFTDClass | The CPUC High Fire Threat District (HFTD) area that the vegetation management project intersects. For these data, anything outside Tiers 2 and 3 must be categorized as “Non-HFTD.” Do not record any Zone 1 or Tier 1 values. If a data line spans multiple HFTD areas, list them under the “HFTDClassComment” field. Possible values: • Tier 3 • Tier 2 • Non-HFTD • Multiple, see comment • HFTD data can be downloaded from: https://ia.cpuc.ca.gov/firemap. This field is required. | Yes | 88 | Domain |
| Vegetation Management Project Line | HFTDClassComment | If the project line intersects multiple HFTD areas, list all of them here. This field is required IF HFTDClass is “Multiple, see comment”. | Yes | 88 | Text |
| Vegetation Management Project Point | VmpID | Unique ID or job ID of an initiative. Primary key for Vegetation Management Project Point feature class. This field is required. | Yes | 89 | Text |
| Vegetation Management Project Point | UtilityID | Standardized identification name of the electrical corporation. Possible values: • BVES • HWT • Liberty • LS Power • PacifiCorp • PG&E • SCE • SDG&E • TBC This field is required. | Yes | 89 | Domain |

| Vegetation Management Project Point | UMATID | This is the Utility Mitigation Activity Tracking ID, a unique tracking ID for a given activity. This ID must match the UTILITY MITIGATION ACTIVITY TRACKING ID and UMAT fields for the same activity in all data submissions for the activity’s entire lifecycle. This field must correspond with the Utility Mitigation Activity Tracking ID referenced where the activity is discussed in the electrical corporation’s WMP(s). This field should remain static even if WMP category, WMP initiative, or WMP Section numbers change. This field is required. | Yes | 89 | Text |
| --- | --- | --- | --- | --- | --- |
| Vegetation Management Project Point | ActivityClass | Was the activity performed ONLY to meet requirements of statute or regulation, or done at the electrical corporation’s discretion? Clearances to greater than required distance are considered discretionary. Possible values: • Regulatory • Discretionary This field is required. | Yes | 89 | Domain |
| Vegetation Management Project Point | AssetID | Unique ID for a specific point asset. Must be traceable stable ID within a specific asset class. Foreign key to all the related Asset Point feature class attribute tables. For Support Structure, use Support Structure ID. For Transformer Site, use Transformer Site ID. This field is required IF the VM activity represented by the point is focused on an individual asset recorded as a point in data submitted to Energy Safety. | Yes | 89 | Text |
| Vegetation Management Project Point | AssetFeature | Identifies the feature class where the asset ID should be found. Possible values: • Camera • Connection Device • Fuse • Lightning Arrester • Substation • Support Structure • Switchgear • Transformer Site • Weather Station This field is required IF the VM activity represented by the point is focused on an individual asset recorded as a point in data submitted to Energy Safety. | Yes | 90 | Domain |
| Vegetation Management Project Point | SegmentID | ID of the specific circuit segment on which the work was done, if any. Foreign key to the Asset Line features if the electrical corporation has persistent unique segment IDs. A segment may be anything more granular than a circuit, including a single span. This field is required IF the VM activity represented by the point is focused on conductor (e.g., radial clearance) AND the electrical corporation has persistent stable IDs for circuit segments. | Yes | 90 | Text |

| Vegetation Management Project Point | CircuitID | ID of the specific circuit on which the work was done, if any. Foreign key to the Asset • Line features if the electrical corporation does not have persistent unique segment IDs. This field is required IF the VM activity represented by the point is focused on conductor (e.g., radial clearance) AND SegmentID is not populated. | Yes | 90 | Text |
| --- | --- | --- | --- | --- | --- |
| Vegetation Management Project Point | LineClass | Identifies the feature class where the segment or circuit ID should be found. Possible values: • Transmission Line • Primary Distribution Line • Secondary Distribution Line This field is required IF SegmentID or CircuitID is populated. | Yes | 90 | Domain |
| Vegetation Management Project Point | ProjectLocationOrAddres s | Address or location description for vegetation project location. This field is optional. | Yes | 90 | Text |
| Vegetation Management Project Point | IsTree | Does the point represent a tree or other vegetation location? Possible values: • Yes • No This field is required. | Yes | 90 | Domain |
| Vegetation Management Project Point | TreeID | A unique ID associated with the individual tree within the scope of the vegetation management project. This field is optional. | Yes | 90 | Text |
| Vegetation Management Project Point | VegetationGenus | Genus of vegetation. This field may be left null for palms and bamboo. This field is required IF IsTree is not “No” AND VegetationCommonName is not “Palm” or “Bamboo”. | Yes | 90 | Text |
| Vegetation Management Project Point | VegetationSpecies | Species of vegetation. Do not use “sp.” except for the following genera: Acacia, Agave Ailanthus, Albizia, Arctostaphylos, Callistemon, Casuarina, Catalpa, Ceanothus, Citrus, Corymbia, Eucalyptus, Lagerstroemia, Ligustrum, Malus, Melaleuca, Photinia, Pittosporum, Podocarpus, Prunus, Pyrus, Salix, Strelitzia, Syzygium,Tamarix. This field may be filled out as “sp.” or left null for the above genera and may be left null for palms and bamboo. This field is required IF IsTree is not “No” AND VegetationCommonName is not “Palm” or “Bamboo” AND VegetationGenus is not in the list above. | Yes | 90 | Text |
| Vegetation Management Project Point | VegetationCommonNam e | Common name of vegetation. This field is required IF IsTree is not “No” and the tree represented is a Palm or Bamboo. | Yes | 91 | Text |
| Vegetation Management Project Point | SpeciesGrowthRate | Generalized growth rate of the subject tree species. Possible values: • Slow growing • Moderately growing • Fast growing This field is required IF IsTree is not “No”. | Yes | 91 | Domain |

| Vegetation Management Project Point | TreeHeight | Tree height (feet). Round the value. Maximum value: 300. This field is required IF IsTree is not “No”. | Yes | 91 | Number |
| --- | --- | --- | --- | --- | --- |
| Vegetation Management Project Point | TreeDiameter | Tree diameter at breast height (inches). Round the value. This field is required IF IsTree is not “No”. | Yes | 91 | Number |
| Vegetation Management Project Point | DangerTree | For points representing individual trees: Is this a “danger tree” per 14 CCR 895.1? • Possible values: • Yes • No This field is IF IsTree is not “No”. | Yes | 91 | Domain |
| Vegetation Management Project Point | RadialClearanceDistanc e | What radial clearance distance was implemented for this project, in feet? Leave null for projects not involving radial clearance. This should be the actual clearance standard implemented, NOT the minimum clearance per regulations, if those are different (i.e., where the electrical corporation is implementing “enhanced” clearances via greater distance than required). This field is required. | Yes | 91 | Number |
| Vegetation Management Project Point | LineDeenergized | Do the power lines need to be de-energized to perform the work? Possible values: • Yes • No This field is required. | Yes | 91 | Domain |
| Vegetation Management Project Point | WMPInitiative | The name of the WMP mitigation initiative, as defined by Energy Safety, under which the activity is organized. See Appendix C. WMP Initiative Classification for acceptable field values. | Yes | 91 | Text |
| Vegetation Management Project Point | WMPActivity | The name for the WMP mitigation activity. This will be defined either by the electrical corporation or Energy Safety, according to Appendix A of the WMP Guidelines. See Appendix C. WMP Initiative Classification for acceptable field values of activities defined by Energy Safety. This field is required. | Yes | 91 | Text |
| Vegetation Management Project Point | ActivityDescription | Description of the activity. | Yes | 91 | Text |
| Vegetation Management Project Point | WMPSection | Section of the electrical corporation’s most recent WMP explaining the initiative. This field is required. | Yes | 91 | Text |
| Vegetation Management Project Point | VmpStatus | Status of the vegetation management project. Possible Values: • Planned • In progress • Complete This field is required. | Yes | 91 | Domain |
| Vegetation Management Project Point | HerbicideUse | Are any herbicides planned to be used or were any herbicides used as part of the project? Possible values: • Yes • No This field is required. | Yes | 91 | Domain |

| Vegetation Management Project Point | HerbicideName | If any herbicides are planned for use or were used, list the specific products used / to be used. This field is required IF HerbicideUse is not “No”. | Yes | 92 | Text |
| --- | --- | --- | --- | --- | --- |
| Vegetation Management Project Point | UnitsRepresented | The number of initiative target units represented by the point if more than 1. For example, the electrical corporation may represent multiple assets replaced at a single location with one point. Blank (null) and “1” values will be interpreted as representing a single unit. This field is required IF the point represents more than 1 target unit. | Yes | 92 | Number |
| Vegetation Management Project Point | DescriptionOfWork | Additional description of the vegetation management work. This field is optional. | Yes | 92 | Text |
| Vegetation Management Project Point | StartDate | The start date of the vegetation management project. This field must have values for all projects that have a value of “Complete” or “In progress” in the VmpStatus field. If exact date is not known, may approximate as the first day of the month in which project began. This field is required IF VmpStatus is “In progress” OR “Complete”. | Yes | 92 | Date |
| Vegetation Management Project Point | EndDate | The completion date of the vegetation management project. This field must have values for all projects that have a value of “Complete” in the VmpStatus field. If exact date is not known, may approximate as last day of the month in which project was completed. This field is required IF VmpStatus is “Complete”. | Yes | 92 | Date |
| Vegetation Management Project Point | CoastalRedwoodExempti on | Coastal redwood exception to clearance being applied. Possible values: • Yes • No This field is required. | Yes | 92 | Domain |
| Vegetation Management Project Point | EncroachPermit | Is an encroachment permit required for the vegetation management project? Possible values: • Yes • No This field is required. | Yes | 92 | Domain |
| Vegetation Management Project Point | EnvPermit | Is special environmental permitting needed for the vegetation management project? • Possible values: • Yes • No This field is required. | Yes | 92 | Domain |
| Vegetation Management Project Point | EnvPermitProject | Specific activity (e.g., timber harvest under an exemption) for which a permit was obtained. This field is required IF EnvPermit is “Yes”. | Yes | 92 | Text |
| Vegetation Management Project Point | CALFIREHdNumber | If applicable, enter the CAL FIRE harvest document number applicable to the initiative. When the permitted project is timber harvest under an exemption, this field must include the harvest document number of the exemption (e.g., 2-20EX-01049-BUT). This field is required IF the project has a CAL FIRE harvest document. | Yes | 92 | Text |

| Vegetation Management Project Point | OtherEnvPermitDocume ntation | For any projects that do not have a CAL FIRE harvest document number or that have a CAL FIRE Harvest document number and additional permit documentation, enter any key details about environmental permit documentation and project ID numbers. This field is required if EnvPermit is “Yes” and CALFIREHdNumber is not populated. | Yes | 92 | Text |
| --- | --- | --- | --- | --- | --- |
| Vegetation Management Project Point | CommercialHarvest | Does the initiative involve commercial harvest? Possible values: • Yes • No This field is required. | Yes | 92 | Domain |
| Vegetation Management Project Point | SlashManagement | How is brush or slash generated by the vegetation management project being managed or treated? Possible values: • None • Lopping • Chipping • Removal • Other, see comment • “Slash”, pursuant to PRC § 4525.7, means branches or limbs less than four inches in Diameter, and bark and split products debris left on the ground as a result of Timber Operations. This field is required. | Yes | 93 | Domain |
| Vegetation Management Project Point | SlashManagementCom ments | Brush/slash management method not listed above. This field is required IF SlashManagement is “Other, see comment”. | Yes | 93 | Text |
| Vegetation Management Project Point | TreeTrimCountPlanned | Number of trees planned for trimming in the project. Trees over 6” DBH and outside a 4’ radius of the conductor must be counted. Enter “0” if tree trimming is not part of the vegetation project. This field is required. | Yes | 93 | Number |
| Vegetation Management Project Point | TreeRemovalCountPlann ed | Number of trees planned for removal in the project. Trees over 6” DBH and outside a 4’ radius of the conductor must be counted. Enter “0” if tree removal is not part of the vegetation project. This field is required. | Yes | 93 | Number |
| Vegetation Management Project Point | TreeTrimCountActl | Number of trees actually trimmed as part of the project. Trees over 6” DBH and outside a 4’ radius of the conductor must be counted. Enter “0” if tree trimming is not part of the vegetation project. This field is required IF VmpStatus is “Complete”. | Yes | 93 | Number |
| Vegetation Management Project Point | TreeRemovalCountActl | Number of trees actually removed as part of the project. Trees over 6” DBH and outside a 4’ radius of the conductor must be counted. Enter “0” if tree removal is not part of the vegetation project. This field is required IF VmpStatus is “Complete”. | Yes | 93 | Number |

| Vegetation Management Project Point | WoodDestination | Record how boles of trees (6" diameter and greater) will be treated. If multiple destinations apply, list them all in the “VegetationDestinationComment” field. • Possible values: • Sawmill • Firewood • Biomass facility • Left whole on-site • Left chipped on-site • Burned on-site • None • Other, see comment • “Left whole on-site” includes bucked logs – whole means “not chipped”. “None” means no such material will be generated (e.g. pole brushing). This field is required. | Yes | 93 | Domain |
| --- | --- | --- | --- | --- | --- |
| Vegetation Management Project Point | WoodDestinationComm ent | Wood destination not listed above; or, if multiple destinations apply, list them here. This field is required IF WoodDestination is “Other, see comment”. | Yes | 93 | Text |
| Vegetation Management Project Point | HFTDClass | The CPUC High Fire Threat District (HFTD) area that the vegetation management project intersects. For these data, anything outside Tiers 2 and 3 must be categorized as “Non-HFTD.” Do not record any Zone 1 or Tier 1 values. Possible values: • Tier 3 • Tier 2 • Non-HFTD • HFTD data can be downloaded from: https://ia.cpuc.ca.gov/firemap. This field is required. | Yes | 94 | Domain |
| Vegetation Management Project Polygon | VmpID | Unique ID or job ID of an initiative. Primary key for Vegetation Management Project Polygon feature class. This field is required. | Yes | 94 | Text |
| Vegetation Management Project Polygon | UtilityID | Standardized identification name of the electrical corporation. Possible values: • BVES • HWT • Liberty • LS Power • PacifiCorp • PG&E • SCE • SDG&E • TBC This field is required. | Yes | 94 | Domain |
| Vegetation Management Project Polygon | UMATID | This is the Utility Mitigation Activity Tracking ID, a unique tracking ID for a given activity. This ID must match the UTILITY MITIGATION ACTIVITY TRACKING ID and UMAT fields for the same activity in all data submissions for the activity’s entire lifecycle. This field must correspond with the Utility Mitigation Activity Tracking ID referenced where the activity is discussed in the electrical corporation’s WMP(s). This field should remain static even if WMP category, WMP initiative, or WMP Section numbers change. This field is required. | Yes | 94 | Text |
| Vegetation Management Project Polygon | ActivityClass | Was the activity performed ONLY to meet requirements of statute or regulation, or done at the electrical corporation’s discretion? Clearances to greater than required distance are considered discretionary. Possible values: • Regulatory • Discretionary This field is required. | Yes | 94 | Text |

| Vegetation Management Project Polygon | AssetID | Unique ID for a specific point asset. Must be traceable stable ID within a specific asset class. Foreign key to all the related Asset Point feature class attribute tables. • For Support Structure, use Support Structure ID. For Transformer Site, use • Transformer Site ID. This field is required IF the VM activity represented by the point is focused on an individual asset recorded as a point in data submitted to Energy Safety. | Yes | 95 | Text |
| --- | --- | --- | --- | --- | --- |
| Vegetation Management Project Polygon | AssetFeature | Identifies the feature class where the asset ID should be found. Possible values: • Camera • Connection Device • Fuse • Lightning Arrester • Substation • Support Structure • Switchgear • Transformer Site • Weather Station This field is required IF AssetID is populated. | Yes | 95 | Text |
| Vegetation Management Project Polygon | SegmentID | ID of the specific circuit segment on which the work was done, if any. Foreign key to the Asset Line features if the electrical corporation has persistent unique segment IDs. A segment may be anything more granular than a circuit, including a single span. This field is required IF the activity represented by the point is focused on conductor (e.g., radial clearance) AND the electrical corporation has persistent stable IDs for circuit segments. | Yes | 95 | Text |
| Vegetation Management Project Polygon | CircuitID | ID of the specific circuit on which the work was done, if any. Foreign key to the Asset • Line features if the electrical corporation does not have persistent unique segment IDs. This field is required IF the activity represented by the point is focused on conductor (e.g., radial clearance) AND SegmentID is not populated. | Yes | 95 | Text |
| Vegetation Management Project Polygon | LineClass | Identifies the feature class where the segment or circuit ID should be found. Possible values: • Transmission Line • Primary Distribution Line • Secondary Distribution Line This field is required IF SegmentID or CircuitID is populated. | Yes | 95 | Domain |
| Vegetation Management Project Polygon | ProjectLocationOrAddres s | Address or location description for project location. This field is optional. | Yes | 95 | Text |
| Vegetation Management Project Polygon | LineDeenergized | Do the power lines need to be de-energized to perform the work? Possible values: • Yes • No This field is required. | Yes | 95 | Domain |
| Vegetation Management Project Polygon | WMPInitiative | The name of the WMP mitigation initiative, as defined by Energy Safety, under which the activity is organized. See Appendix C. WMP Initiative Classification for acceptable field values. | Yes | 95 | Text |

| Vegetation Management Project Polygon | WMPActivity | The name for the WMP mitigation activity. This will be defined either by the electrical corporation or Energy Safety, according to Appendix A of the WMP Guidelines. See Appendix C. WMP Initiative Classification for acceptable field values of activities defined by Energy Safety. This field is required. | Yes | 95 | Text |
| --- | --- | --- | --- | --- | --- |
| Vegetation Management Project Polygon | ActivityDescription | Description of the activity. | Yes | 95 | Text |
| Vegetation Management Project Polygon | WMPSection | Section of the electrical corporation’s most recent WMP explaining the initiative. This field is required. | Yes | 96 | Text |
| Vegetation Management Project Polygon | VmpStatus | Status of the vegetation management project. Possible Values: • Planned • In progress • Complete This field is required. | Yes | 96 | Domain |
| Vegetation Management Project Polygon | HerbicideUse | Are any herbicides planned to be used or were any herbicides used as part of the project? Possible values: • Yes • No This field is required. | Yes | 96 | Domain |
| Vegetation Management Project Polygon | HerbicideName | If any herbicides are planned for use or were used, list the specific products used / to be used. This field is required IF HerbicideUse is not “No”. | Yes | 96 | Text |
| Vegetation Management Project Polygon | UnitsRepresented | The number of initiative target units represented by the polygon, if not equal to the polygon’s area. Blank (null) values will be interpreted as the polygon representing its area. This field is required IF the polygon represents a different number of units than its area. | Yes | 96 | Number |
| Vegetation Management Project Polygon | DescriptionOfWork | Additional description of the vegetation management work. This field is optional. | Yes | 96 | Text |
| Vegetation Management Project Polygon | StartDate | The start date of the vegetation management project. This field must have values for all projects that have a value of “Complete” or “In Progress” in the VmpStatus field. If exact date is not known, may approximate as the first day of the month in which project began. This field is required IF VmpStatus is “In progress” OR “Complete”. | Yes | 96 | Date |
| Vegetation Management Project Polygon | EndDate | The completion date of the vegetation management project. This field must at least have values for all projects that have a value of “Complete” in the VmpStatus field. If exact date is not known, may approximate as last day of the month in which project was completed. This field is required IF VmpStatus is “Complete”. | Yes | 96 | Date |

| Vegetation Management Project Polygon | CoastalRedwoodExempti on | Coastal redwood exception to clearance being applied. Possible values: • Yes • No This field is required. | Yes | 96 | Domain |
| --- | --- | --- | --- | --- | --- |
| Vegetation Management Project Polygon | EncroachPermit | Is an encroachment permit required for the vegetation management project? Possible values: • Yes • No This field is required. | Yes | 96 | Domain |
| Vegetation Management Project Polygon | EnvPermit | Is special environmental permitting needed for the vegetation management project? • Possible values: • Yes • No This field is required. | Yes | 96 | Domain |
| Vegetation Management Project Polygon | EnvPermitProject | Specific activity (e.g., timber harvest under an exemption) for which a permit was obtained. This field is required IF EnvPermit is “Yes”. | Yes | 96 | Text |
| Vegetation Management Project Polygon | CALFIREHdNumber | If applicable, enter the CAL FIRE harvest document number applicable to the initiative. When the permitted project is timber harvest under an exemption, this field must include the harvest document number of the exemption (e.g., 2-20EX01049-BUT). This field is required IF the project has a CAL FIRE harvest document. | Yes | 97 | Text |
| Vegetation Management Project Polygon | OtherEnvPermitDocume ntation | For any projects that do not have a CAL FIRE harvest document number or that have a CAL FIRE Harvest document number and additional permit documentation, enter any key details about environmental permit documentation and project ID numbers. This field is required if EnvPermit is “Yes” and CALFIREHdNumber is not populated. | Yes | 97 | Domain |
| Vegetation Management Project Polygon | CommercialHarvest | Does the initiative involve commercial harvest? Possible values: • Yes • No This field is required. | Yes | 97 | Domain |
| Vegetation Management Project Polygon | SlashManagement | How is brush or slash generated by the vegetation management project being managed or treated? Possible values: • None • Lopping • Chipping • Removal • Other, see comment • “Slash”, pursuant to PRC § 4525.7, means branches or limbs less than four inches in Diameter, and bark and split products debris left on the ground as a result of Timber Operations. This field is required. | Yes | 97 | Domain |
| Vegetation Management Project Polygon | SlashManagementCom ments | Brush/slash management method not listed above. This field is required IF SlashManagement is “Other, see comment”. | Yes | 97 | Text |

| Vegetation Management Project Polygon | TreeTrimCountPlanned | Number of trees planned for trimming in the project. Trees over 6” DBH and outside a 4’ radius of the conductor must be counted. Enter “0” if tree trimming is not part of the vegetation project or if TreeTrimAcreagePlanned is used instead. This field is required. | Yes | 97 | Number |
| --- | --- | --- | --- | --- | --- |
| Vegetation Management Project Polygon | TreeTrimAcreagePlanned | Acreage of trees planned for trimming in the project. Use two decimal places. Enter “0” if tree trimming is not part of the project or if TreeTrimCountPlanned is used instead. This field is required. | Yes | 97 | Number |
| Vegetation Management Project Polygon | TreeRemovalCountPlann ed | Number of trees planned for removal in the project. Trees over 6” DBH and outside a 4’ radius of the conductor must be counted. Enter “0” if tree removal is not part of the vegetation project or if TreeRemovalAcreagePlanned is used instead. This field is required. | Yes | 97 | Number |
| Vegetation Management Project Polygon | TreeRemovalAcreagePla nned | Acreage of trees planned for removal in the project. Use two decimal places. Enter “0” if tree removal is not part of the vegetation project or if TreeRemovalCountPlanned is used instead. This field is required. | Yes | 97 | Number |
| Vegetation Management Project Polygon | TreeTrimCountActl | Number of trees actually trimmed as part of the project. Not relevant for projects that are planned or in progress. Trees over 6” DBH and outside a 4’ radius of the conductor must be counted. Enter “0” if tree trimming is not part of the vegetation project or if TreeTrimAcreageActl is used instead. This field is required IF VmpStatus is “Complete”. | Yes | 97 | Number |
| Vegetation Management Project Polygon | TreeTrimAcreageActl | Acreage of trees actually trimmed as part of the in the project. Not relevant for projects that are planned or in progress. Enter “0” if tree trimming is not part of the vegetation project or if TreeTrimCountActl is used instead. This field is required IF VmpStatus is “Complete”. | Yes | 98 | Number |
| Vegetation Management Project Polygon | TreeRemovalCountActl | Number of trees actually removed as part of the project. Not relevant for projects that are planned or in progress. Enter “0” if tree removal is not part of the vegetation project or TreeRemovalAcreageActl is used instead. This field is required IF VmpStatus is “Complete”. | Yes | 98 | Number |
| Vegetation Management Project Polygon | TreeRemovalAcreageActl | Acreage of trees actually removed as part of the project. Not relevant for projects that are planned or in progress. Enter “0” if tree removal is not part of the vegetation project or if TreeRemovalCountActl is used instead. This field is required IF VmpStatus is “Complete”. | Yes | 98 | Number |

| Vegetation Management Project Polygon | WoodDestination | Record how boles of trees (6" diameter and greater) will be treated. If multiple destinations apply, list them all in the “VegetationDestinationComment” field. • Possible values: • Sawmill • Firewood • Biomass facility • Left whole on-site • Left chipped on-site • Burned on-site • None • Other, see comment • “Left whole on-site” includes bucked logs – whole means “not chipped”. “None” means no such material will be generated (e.g., pole brushing). This field is required. | Yes | 98 | Domain |
| --- | --- | --- | --- | --- | --- |
| Vegetation Management Project Polygon | WoodDestinationComm ent | Wood destination not listed above; or, if multiple destinations apply, list them here. This field is required IF WoodDestination is “Other, see comment”. | Yes | 98 | Text |
| Vegetation Management Project Polygon | HFTDClass | The CPUC High Fire Threat District (HFTD) area that the vegetation management project intersects. For these data, anything outside Tiers 2 and 3 must be categorized as “Non-HFTD.” Do not record any Zone 1 or Tier 1 values. If a data polygon spans multiple HFTD areas, list them under the “HFTDClassComment” field. Possible values: • Tier 3 • Tier 2 • Non-HFTD • Multiple, see comment • HFTD data can be downloaded from: https://ia.cpuc.ca.gov/firemap. This field is required. | Yes | 98 | Domain |
| Vegetation Management Project Polygon | HFTDClassComment | If the project polygon intersects multiple HFTD areas, list all of them here. This field is required IF HFTDClass is “Multiple, see comment”. | Yes | 98 | Text |