STATE OF CALIFORNIA                                                 ARNOLD SCHWARZENEGGER, Governor

PUBLIC UTILITIES COMMISSION

505 VAN NESS AVENUE

SAN FRANCISCO, CA 94102-3298

July 24, 2006									Agenda ID #5846

Ratesetting

TO:  PARTIES OF RECORD IN RULEMAKING 06-03-004

This is the draft decision of Administrative Law Judge (ALJ) Dorothy Duda.  It will not appear on the Commission’s agenda for at least 30 days after the date it is mailed.  The Commission may act then, or it may postpone action until later.

When the Commission acts on the draft decision, it may adopt all or part of it as written, amend or modify it, or set it aside and prepare its own decision.  Only when the Commission acts does the decision become binding on the parties.

Parties to the proceeding may file comments on the draft decision as provided in Article 19 of the Commission’s “Rules of Practice and Procedure,” accessible on the Commission’s website at http://www.cpuc.ca.gov.  Pursuant to Rule 77.3 opening comments shall not exceed 15 pages.

Comments must be filed with the Commission’s Docket Office.  Comments should be served on parties to this proceeding in accordance with Rules 2.3 and 2.3.1.  Electronic copies of comments should be sent to ALJ Duda at dot@cpuc.ca.gov.  All parties must serve hard copies on the ALJ and the Assigned Commissioner, and for that purpose I suggest hand delivery, overnight mail or other expeditious methods of service.  The current service list for this proceeding is available on the Commission’s website, www.cpuc.ca.gov.

/s/  ANGELA K. MINKIN

Angela K. Minkin, Chief

Administrative Law Judge

ANG:sid

Attachment

ALJ/DOT/sid	DRAFT	Agenda ID #5846

Ratesetting

Decision DRAFT DECISION OF ALJ DUDA  (Mailed 7/24/2006)

BEFORE THE PUBLIC UTILITIES COMMISSION OF THE STATE OF CALIFORNIA

| Order Instituting Rulemaking Regarding Policies, Procedures and Rules for the California Solar Initiative, the Self-Generation Incentive Program and Other Distributed Generation Issues. | Rulemaking 06-03-004 (Filed March 2, 2006) |
| --- | --- |

OPINION ADOPTING PERFORMANCE-BASED INCENTIVES, AN ADMINISTRATIVE STRUCTURE, AND OTHER PHASE ONE PROGRAM ELEMENTS FOR THE CALIFORNIA SOLAR INITIATIVE

TABLE OF CONTENTS

Title                                                                                                                    Page

OPINION ADOPTING PERFORMANCE-BASED INCENTIVES, AN ADMINISTRATIVE STRUCTURE, AND OTHER PHASE ONE PROGRAM ELEMENTS FOR THE CALIFORNIA SOLAR INITIATIVE	2

I.	Summary	2

II.	Background	7

III.	Performance Based Incentives and Treatment
of Federal Tax Incentives	10

A.	Incentive Levels and Interaction with Federal Tax Incentives	11

1.	One Incentive Rate for Residential and Commercial Segments	16

2.	Higher Rebate Level for Tax Exempt Entities	18

3.	Conclusion	21

B.	Performance-Based Incentives for Large Solar Projects	21

1.	Size Threshold for PBI	24

2.	Time-Differentiated Payments	26

3.	Payment Period	27

4.	Capacity Factor	28

5.	Performance Cap	30

6.	Funding Security	32

7.	Discount Rate	32

8.	Frequency of PBI Payments	33

9.	Phase In of PBI Structure	34

10.	Conclusion	36

C.	Expected Performance Based Buydown (EPBB) Incentives 
for Smaller Solar Projects	38

1.	System Rating	39

2.	Design Factor	41

3.	EPBB Verification	46

4.	Conclusion	48

IV.	Program Administration	49

A.	Parties’ Comments	51

B.	Discussion	53

1.	Existing SGIP Administrators Will Administer CSI	53

2.	IRS Tax Concerns	56

3.	Statewide Online Application Process	58

4.	Program Handbook	60

5.	CSI Program Forum	61

V.	Metering Requirements	62

A.	Metering Quality and Accuracy	65

B.	Communicating Solar Performance	70

1.	Ensuring Solar Performance is Monitored in 2007	70

2.	Independent Performance Monitoring	74

3.	Access to Solar Performance Information	75

C.	Further Work in CSI Handbook Process and CSI Program Forum	76

D.	TOU Tariffs	77

VI.	Incentive Adjustment Mechanism	78

A.	Incentive Adjustment Mechanism Based Solely
on Volume of MWs	81

B.	Incentive Levels May Vary by Utility Territory	84

C.	Additional Incentive Adjustments	86

VII.	Funding Levels	88

A.	Parties’ Positions	89

B.	Discussion	90

1.	Reserve CSI Funds for Residential Customers	91

2.	Residential and Non-Residential MW Triggers	93

3.	Periodic CSI Review Process	99

VIII.	Energy Efficiency Requirements and Incentives for
Solar Technologies other than PV	100

IX.	Comments on Draft Decision	100

X.	Assignment of Proceeding	100

Findings of Fact	100

Conclusions of Law	104

ORDER	111

APPENDIX A – PBI Levelized Payment Explanation

OPINION ADOPTING PERFORMANCE-BASED INCENTIVES, AN ADMINISTRATIVE STRUCTURE, AND OTHER PHASE ONE PROGRAM ELEMENTS FOR THE CALIFORNIA SOLAR INITIATIVE

# Summary

This decision adopts performance-based incentives (PBI) for payments to qualifying solar photo-voltaic (PV) technologies through the Commission's California Solar Initiative (CSI.)  In addition, the decision adopts an administrative structure and other program design features for successful implementation of the CSI.

Beginning on January 1, 2007, the Commission will pay PBI for solar projects 100 kilowatts (kW) and larger, with payments based on kilowatt hours (kWh) of solar power produced over a five-year period.  Solar projects receiving PBI incentives will be paid a flat per kWh payment, determined monthly and incorporating an 8% discount rate.  The Commission will pay incentives to solar projects below 100 kW through an up-front incentive, known as an "Expected Performance Based Buydown" (EPBB), based on an estimate of the system's future performance.  EPBB incentives combine the optimal performance benefits of PBI with the administrative simplicity of a one-time incentive paid at the time of project installation.  This order adopts the following initial incentive rates for PBI and EPBB payments based on three customer designations--residential, commercial, and government/non-profit:

Table 1:  Summary of Initial Adopted Incentive Rates for 2007

| Sector | EPBB Incentive (per watt) for projects below 100 kW | PBI Payment (per kwh) for projects 100 kW and larger |
| --- | --- | --- |
| Residential | $2.50 | $0.39 |
| Commercial | 2.50 | 0.39 |
| Government/Non-Profit | 3.25 | 0.50 |

The Commission modifies the single CSI incentive rate of $2.80 per watt adopted in Decision (D.) 06-01-024 in favor of rates tailored to consider the tax effects seen by these three customer groupings.  Residential and commercial customers are paid the same incentive rate, despite different tax effects, because they have different payback periods for their solar investments.  Tax-exempt government and non-profit entities who do not receive federal tax credits shall receive a higher incentive rate, unless they choose to engage in third-party ownership and financing for their solar projects.  In that case, they would receive the lower commercial rate.

These incentive levels will be automatically reduced over the duration of the CSI program in 10 steps based on the volume of megawatts (MWs) of solar installations.  We find it is reasonable to link incentive reductions to achieved levels of solar demand.  Therefore, as demand for solar rebates reaches the MW levels specified in this order, CSI incentive payments will automatically drop.  This approach avoids the risk of incentives dropping prematurely, before the economics of the solar industry reflect growing demand, as would be the case with calendar year reductions.  Additionally, the order finds:  (1) solar incentive levels may vary by utility service area, depending on the pace of solar demand in each utility's territory; and (2) incentive levels may differ based on demand in the residential and non-residential customer sectors.  Thus, the MW targets that trigger automatic incentive reductions are allocated across the utilities and customer segments, as follows:

Table 2

CSI MW Targets by Utility and Customer Class

|  |  | PG&E (MW) |  | SCE (MW) |  | SDG&E (MW) |  | So Cal Gas (MW) |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Step | MW in Step | Res | Non-Res | Res | Non-Res | Res | Non-Res | Res | Non-Res |
| 1 | 50 | -- | -- | -- | -- | -- | -- | -- | -- |
| 2 | 70 | 10 | 21 | 8 | 16 | 3 | 6 | 2 | 4 |
| 3 | 100 | 15 | 29 | 11 | 23 | 4 | 9 | 3 | 6 |
| 4 | 130 | 19 | 38 | 15 | 30 | 6 | 11 | 4 | 8 |
| 5 | 170 | 25 | 50 | 19 | 39 | 7 | 15 | 5 | 10 |
| 6 | 230 | 33 | 68 | 26 | 52 | 10 | 20 | 7 | 14 |
| 7 | 300 | 44 | 88 | 34 | 68 | 13 | 26 | 9 | 18 |
| 8 | 400 | 58 | 118 | 45 | 91 | 17 | 35 | 12 | 24 |
| 9 | 500 | 73 | 147 | 56 | 114 | 21 | 44 | 15 | 30 |
| 10 | 650 | 94 | 192 | 73 | 148 | 28 | 57 | 19 | 39 |
| Totals |  | 1122 |  | 867 |  | 332 |  | 230 |  |
| Percent |  | 44% |  | 34% |  | 13% |  | 9% |  |

Table 3

Incentive Levels by MW Step ($/watt)

| Step | MW in Step | Gov’t/ Non-Profit | Res | Commercial |
| --- | --- | --- | --- | --- |
| 1 | 50 | $2.80 | $2.80 | $2.80 |
| 2 | 70 | $3.25 | $2.50 | $2.50 |
| 3 | 100 | $2.95 | $2.20 | $2.20 |
| 4 | 130 | $2.65 | $1.90 | $1.90 |
| 5 | 170 | $2.30 | $1.55 | $1.55 |
| 6 | 230 | $1.85 | $1.10 | $1.10 |
| 7 | 300 | $1.40 | $0.65 | $0.65 |
| 8 | 400 | $1.10 | $0.35 | $0.35 |
| 9 | 500 | $0.90 | $0.25 | $0.25 |
| 10 | 650 | $0.70 | $0.20 | $0.20 |

In our initial CSI decision, we endeavored to preserve program simplicity by having a single statewide incentive that adjusted either on a calendar year basis or with demand level, whichever was sooner.  However, the comments now persuade us to sacrifice some program simplicity in favor of a more complex program design that the solar industry, the utilities, and many commenting parties contend has a better chance of accomplishing the Commission's long-term solar goals.  Therefore, we modify our initial CSI program design to allow incentives to respond to the level of demand for solar rebates, reserve program funds for residential customers, and allow the program in each utility territory to unfold at its own pace.

This order finds that to ensure program continuity, the administrators of the Commission's existing Self-Generation Incentive Program (SGIP), namely Pacific Gas and Electric Company (PG&E), Southern California Edison Company (SCE), Southern California Gas Company (SoCalGas) and the San Diego Regional Energy Office (SDREO), should administer all aspects of the CSI program in 2007.  Nevertheless, the order finds there are still good reasons to consider non-utility, or independent, administration for the residential retrofit portion of CSI in the future.  In Phase II of this proceeding, the Commission will consider statewide marketing and outreach for CSI and whether the Commission should direct one entity to handle statewide administration of residential retrofit solar programs.

Other notable features of this order include development of a statewide on-line application process and database, drafting of the initial CSI Program Handbook, and creation of a "CSI Program Forum" to provide a further process for stakeholder involvement in the on-going implementation of CSI.

With regard to metering of solar projects, this decision requires revenue grade solar production meters for all solar projects that receive CSI incentives because accurate measurement of solar output is of paramount importance to ensure optimum value for both solar owners and ratepayers.  The decision sets minimum metering requirements, including a performance reporting capability.  Further discussion of technical standards, communication protocols and other specific metering requirements will occur as part of the initial CSI Program Handbook or the on-going CSI Program Forum.  Interested parties are encouraged to establish a metering and data committee of appropriate technical personnel from the solar, utility, and metering industries to participate in these discussions.

Incentives for non-PV solar projects and energy efficiency requirements will be addressed in a separate order, as soon as possible.

Finally, the order establishes a future review process where significant features of CSI may be reexamined by the Commission through a future rulemaking.

Staff of California Energy Commission (CEC) has worked collaboratively with Energy Division staff on all aspects of this proceeding and consulted with the Administrative Law Judge (ALJ) and the Assigned Commissioner on the issues resolved in this order.

# Background

In D.06-01-024 (the “January CSI Decision”), the Commission collaborated with the CEC to jointly create the CSI, an 11-year $3.2 billion incentive program with the goal of ensuring that customers of California’s investor-owned utilities install 3,000 MW of new solar facilities at their homes and businesses in California.  The Commission will implement the CSI in partnership with the CEC, and the initiative runs from 2006 through 2016.  The Commission portion of the CSI targets the installation of 2,600 MW of solar technologies, based on a budget of $2.8 billion derived from the distribution rates of PG&E, SCE, SoCalGas, and SDG&E.  The CEC portion of the program targets 400 MW of solar installations in new home construction, using a budget of $350 million derived from renewable energy Public Goods Charge funds.

As the Commission stated in D.06-01-024, the objectives of the CSI are to add clean energy to peak demand resources, to reduce risk by diversifying the state’s energy portfolio, and to reduce the need for transmission and distribution system additions.  Through the CSI, the Commission and CEC endeavor to transform the existing energy market to make solar products cost-effective, with the goal of eliminating the need for incentive payments after 2016.  (D.06-01-024, mimeo. at 4.)

In 2006, the first year of the CSI, incentives to solar projects are funded through the Commission’s Self-Generation Incentive Program (SGIP) and the CEC’s Emerging Renewables Program (ERP).  The SGIP provides monetary incentives for customers to install distributed generation, including solar PV technologies with a capacity of 30 kW or more.  Solar facilities of this size are generally installed by commercial and industrial customers.  The ERP provides incentives for solar PV projects of less than 30 kW, most of which are installed by or for residential customers.

Beginning in 2007, the Commission will consolidate its implementation of all solar incentives into the CSI, while the ongoing SGIP will fund distributed generation projects that are non-solar.  In addition, a portion of the CEC’s current solar incentive program will transfer to Commission oversight, specifically solar projects that are less than 30 kW in capacity for existing homes and non-residential facilities.  The CEC portion of the CSI will focus on solar incentives solely to the residential new construction market.

Following adoption of D.06-01-024, the Commission opened Rulemaking (R.) 06-03-004 (the “CSI/DG OIR”) to develop program rules and policies for the CSI.  In Phase I of this rulemaking, the Commission has explored whether to adopt performance-based incentives for PV facilities, whether to adjust incentives to account for federal tax credits, the proper incentive levels for solar technologies other than PV, and other issues regarding the structure and adjustment of these incentive payments.  Phase I has also included an examination of the appropriate administrative structure for implementation of the CSI, and energy efficiency and metering requirements for CSI projects.

The key issue in Phase I is whether to amend the incentive levels the Commission adopted in D.06-01-024 in order to bring a performance dimension to incentive payments.  The Energy Division staff held a workshop on March 16, 2006 on the topic of performance-based incentives.  Following the workshop, Energy Division staff prepared a proposal for CSI Incentive Design and Administration that was circulated to all parties through an ALJ’s Ruling on April 25, 2006.  A further workshop was held on May 4, 2006 to allow parties to ask questions about the Staff Proposal.  On May 9, 2006, the ALJ issued a ruling with one modification to the Staff Proposal related to administration of CSI.  Interested parties filed opening and reply comments on the Staff Proposal on May 16 and May 25, 2006, respectively.

Comments were filed by Americans for Solar Power (ASPv), R. Thomas Beach, the California Farm Bureau Federation (Farm Bureau), Californians for Renewable Energy (CARE), jointly by the California Solar Energy Industries Association (Cal SEIA), PV Now and the Vote Solar Initiative (hereinafter “Joint Solar Parties”), City and County of San Francisco (CCSF), Clean Power Markets, Consumer Federation of California (CFC), the Commission’s Division of Ratepayer Advocates (DRA), Energy Innovations Inc., Fat Spaniel Technologies Inc. (FST), Golden Sierra Power, Michael Kyes, PG&E, Pacific Power Management, NorCal Solar Energy Association, SCE, jointly by SDG&E and SoCalGas, San Diego Regional Energy Office (SDREO), Solargenix Energy Inc., Sun Light and Power Company (Sun Light), and The Utility Reform Network (TURN).

Reply Comments were filed by ASPv, R. Thomas Beach, jointly by CalSEIA, Crossborder Energy, PV Now, Sunlight & Power and Vote Solar Initiative (Joint Solar Parties), CFC, DRA, Energy Producers and Users Coalition (EPUC), FST, Michael Kyes, PG&E, SCE, SDREO, SDG&E/SocalGas, Solargenix Sun Light, and TURN.

# Performance Based Incentives and Treatment of Federal Tax Incentives

The two existing solar incentive programs managed by the Commission and the CEC, namely the SGIP and ERP respectively, currently provide payments on the basis of solar project size.  In other words, a project owner is paid the full incentive on the basis of the project’s rated electrical capacity at the time of installation.

In D.06-01-024, the Commission stated its intent to further explore PBI to fund solar projects, concluding that a good incentive program is one that promotes efficient operation of solar facilities.  The Commission reasoned that existing capacity-based incentives do not recognize power production or motivate good project management and maintenance once the project is installed.  In contrast, performance-based incentives pay the project owner on the basis of energy production and, in theory, promote efficient operation of solar projects.

The decision also noted that the Federal Energy Policy Act of 2005 provides tax incentives for solar projects, and these federal tax credits could obviate the need for some or all state-sponsored solar incentives.  The decision found the record unclear as to how federal tax credits may affect solar investment decisions and stated the Commission’s intent to gather more information on this subject.

On March 16, 2006, the Commission sponsored a workshop on the subject of performance-based incentives and federal tax credits.  Presentations were given at the workshop by Tom Hoff of Clean Power Research, a consultant to the National Renewable Energy Laboratory (NREL) and the CEC, and Ryan Wiser from the Lawrence Berkeley National Laboratory.  In addition, panels of interested parties discussed various PBI alternatives and presented views on the tax consequences of various incentive structures.

In the sections below, we address the overall incentive level for CSI programs beginning in 2007, and two methods for bringing a performance dimension to the incentive structure, namely a structure incorporating PBI for solar projects 100 kW and larger, as well as up front performance-based payments, known as an EPBB, initially for projects less than 100 kW.

## Incentive Levels and Interaction with
Federal Tax Incentives

In D.06-01-024, the Commission adopted a solar incentive level for 2006 of $2.80 per watt, along with a mechanism to reduce the CSI incentive level in each calendar year through 2016, or when specific MW levels of program participation had been reached.  In D.06-05-025, the Commission implemented the first “trigger” reduction to $2.50 per watt to take effect as soon as 50 MW of solar applications had reached "conditional reservation" status.

Following the March 2006 workshop on PBI, the Energy Division staff issued a proposal to differentiate incentive levels based on the tax credits available to different system owners.  In effect, the Staff proposes to realign CSI incentives in 2007, the first year of the program, and every year thereafter through 2016.  The Staff Proposal recommends reducing the 2007 CSI incentive level to $1.50 per watt for commercial customers and to $2.25 per watt for residential and tax-exempt customers, such as federal, state and local governments, schools, and non-profit organizations who cannot take advantage of federal tax incentives.

Staff reasoned that commercial customers can take advantage of the federal tax credit of 30% of solar installation costs, while residential customers' tax credit is capped at $2000.  In an attempt to minimize these differences in the effective cost of solar facilities after tax credits, Staff proposed a lower incentive of $1.50 per watt for commercial customers, while allowing residential and tax exempt entities to receive $2.25 per watt.  The Staff’s incentive proposals were selected based on calculations that considered installed system costs, expected solar production, retail energy prices, tax credits, and a 10-year simple payback for a solar facility with a 25-year life.  (Staff Proposal, pp. 11-12.)  Staff analyzed the effective net cost per kWh for solar installations based on these assumptions, both for taxable and non-taxable entities.  (Staff Proposal, pp. 17-18.)   Staff further supported its proposed 75¢ per watt differential in the incentive rate by reasoning that residential system owners, unlike commercial system owners, are unable to take advantage of the tax benefits of depreciation.  Residential systems, which are smaller in size, are typically more costly per installed watt than commercial systems.

In response to the Staff Proposal, the solar industry generally opposes the $1.50 per watt level proposed by Staff, arguing that this level is too significant a reduction from the current rebate level of $2.80 per watt.  Specifically, the Joint Solar parties and ASPv contend the reduction in incentive levels in the Staff proposal is premature, risks disrupting the solar market, and does not account for the actual state of the solar market.  The Joint Solar parties cite data from the SGIP program administrators, which suggests the rate of customer applications for rebates at $2.80 per watt has slowed considerably.  They also claim that reducing the incentive level to $1.50 per watt would result in an even larger rebate reduction when combined with other elements of the Staff Proposal, particularly Staff’s proposals to change how system capacity is measured, use a “design factor” in calculating EPBB payments, and ignore the time value of money in PBI payments.  Therefore, the Joint Solar parties maintain the rebate should remain at $2.80 per watt until there is further market response.

Sun Light comments that the incentive levels proposed by Staff are inadequate and will prevent the Commission from meeting its goal of 2,600 MW of solar installations.  Sun Light contends the CSI MW goal will only be met with a growing pool of solar suppliers and incentive levels that motivate buyers.  To supports its view, Sun Light provides data from the CEC’s current solar rebate program indicating a trend away from residential toward commercial installations, with residential growth rates flat since 2003.  (Sun Light, 5/16/06, pp. 5 and 9.)  According to Sun Light, this trend indicates that growth in the solar industry is slower than what is needed for the CSI to reach its MW targets.  It contends high solar material costs are driving systems costs up, not down, and the incentive levels proposed by staff will not motivate residential or commercial customers to invest in solar.

Sun Light also provides a survey performed by Cal SEIA indicating the payback periods required by various customer segments.  Sun Light maintains that residential customers are satisfied with longer paybacks ranging from 10 to 15 years, while commercial customers often find a six to eight-year payback more reasonable.  Sun Light contends that government and non-profit customers are not always price conscious, their decisions are often politically motivated, and therefore, they may be less concerned with payback term.  Sun Light uses this insight on payback terms and other critical assumptions regarding costs for PV systems, labor, and electricity costs to perform a detailed analysis of rebate levels and the internal rates of return they generate.  Based on this analysis, Sun Light concludes the $1.50 per watt level proposed by Staff will result in an unacceptably long payback term for commercial customers that would lead to massive reductions in commercial PV sales.  Sun Light suggests 2006 residential rebate levels be retained at $2.80 per watt to provide a reasonable payback for residential solar investors and steady growth in the residential market sector.  For 2007, Sun Light recommends that both residential and commercial rebates be $2.70 per watt, declining in later years by $0.25 per watt each year.

Regarding the federal tax credit, ASPv claims it is premature to differentiate rebates between the private and public sectors on the basis of the federal tax credit.  ASPv provides specific recommendations for an incentive level of $.492/kwh (corresponding to $4.31/watt), which it later revised to $.39/kwh (or $3.42/watt), based on its own analysis of the PV market and the returns it assumes investors require.  Golden Sierra expresses concern that Staff’s proposed incentive levels are based on incorrect assumptions regarding capacity factors and payback periods for solar facilities.  Golden Sierra contends the higher incentive rate for non-taxable entities fails to account for their willingness to accept a longer payback period and other financial benefits these entities might receive, such as CEC low-interest loans.  Golden Sierra recommends a starting incentive rate of $.36 to $.40/kwh (equating to $3.15 to $3.50 per watt).

Comments on the Staff Proposal from other interested parties present additional concerns.  SDG&E/SoCalGas supports Staff’s proposed incentive rates, but they express concern that it will be administratively difficult to prevent government and non-profit applicants from gaming the system to receive the higher non-taxable incentive rate.  PG&E and SCE oppose incentives proposed by solar industry commentors, which are higher than those adopted in D.06-01-024.  SCE argues these incentive levels are inflated and will result in fewer total installations within the CSI budget.  CARE proposes that residential and non-profit organizations should receive an incentive closer to $4.00/watt to bring solar costs for residential and non-profit customers in line with costs for taxable entities.

The starting incentive level for the 2007 CSI program is a critical threshold decision.  The debate on this topic has been informed by analyses performed both by Staff and the parties, all with competing assumptions about discount rates, payback periods, and the effect of tax incentives on financial decision-making.  In reviewing the various proposals, we find that certain assumptions are more reasonable than others and inform our decision-making.

We will modify the single incentive rate adopted in D.06-01-024 in favor of two separate incentive rates, one for the commercial and residential sectors, and a separate rate for tax-exempt entities.  These new incentive rates will take effect on January 1, 2007 as follows:

Table 4:  2007 Initial Solar Incentive Rates

| Residential Customers | $2.50/watt |
| --- | --- |
| Commercial Customers | $2.50/watt |
| Government/Non-Profit Customers | $3.25/watt |

### One Incentive Rate for Residential and Commercial Segments

First, we adopt a single incentive rate of $2.50 per watt for both the commercial and residential customer classes despite the Staff proposal to pay commercial $1.50 per watt and residential $2.25 per watt.  We are persuaded by the comments of solar industry participants that a reduction to $1.50 per watt at this time for the commercial segment would prove disruptive to the solar market, particularly coupled with the introduction of performance-based incentives through PBI and EPBB.  We prefer to keep the incentive level at a steady rate for now and avoid introducing numerous changes at once into the CSI program.  Pursuant to D.06-01-024, the $2.80/watt rate for 2006 will drop to $2.50/watt when 50 MW of conditional reservations are reached.  We now find that the rate should remain at $2.50 per watt, until program administrators receive applications and reserve incentives for an additional 70 MW of solar installations.  In Section VI below, we discuss future adjustments to the incentive rate throughout the duration of CSI.

Moreover, the commentors persuade us that Staff may have relied on inaccurate assumptions in its analysis supporting the $1.50/watt incentive level.  For example, Staff assumed a 10-year payback level for all customer classes and a 20% capacity factor.  In contrast, solar participants claim that commercial customers require a shorter payback, in the realm of six to eight years, and capacity factors of 16% to 18% are more reasonable.  Sun Light claims an incentive level of $2.50/watt provides a reasonable payback for commercial customers and a reduction to $1.50/watt ignores high solar module costs.  We find these comments on payback periods, capacity factors, and module costs provide sufficient justification to leave incentives at $2.50/watt at this time.

We will adopt a residential incentive rate of $2.50/watt, the same as the commercial rebate.  Although staff had proposed that residential customers should receive a higher rebate level than commercial customers because their federal tax credits are capped at $2,000, we are persuaded by the comments of solar participants that residential customers are generally willing to accept a longer payback period for their solar investment.  Thus, even though residential customers receive less federal tax benefit, the Staff assumption of a 10-year payback for residential customers may have been too short.  We see no reason to pay residential customers a higher rebate when comments suggest they may accept a payback period of up to 15 years.

We will not lower the residential incentive rate to $2.25/watt, as Staff had proposed, because Sun Light convincingly points to data indicating slower growth in the residential solar sector in the last few years.  Again, we do not think it advisable to lower the current incentive level when data indicates slower adoption of solar technology in this market segment.  We prefer to keep incentives at their current level while we await further experience with the introduction of a performance dimension to incentive payments through an EPBB mechanism for residential customers, as discussed further in Section III.C below.

Solar parties alleged they need higher incentive levels than those proposed by Staff, arguing solar panels are a large portion of installed system costs and costs have risen in the last year due to a world shortage of silicon.  Parties estimate the worldwide silicon shortage will lessen by 2009.  Despite these comments, we will not increase incentives over their current levels for those customers taking advantage of federal tax credits.  As Staff noted in its proposal, the CSI budget cannot support higher incentives in 2007 and still maintain reasonable levels throughout the duration of the CSI program.

### Higher Rebate Level for Tax Exempt Entities

We will adopt a higher incentive rate of $3.25/watt for tax-exempt entities such as government and non-profit institutions.  As Staff pointed out, these entities are not eligible for the substantial federal tax credits available to commercial enterprises to offset the costs of system installation unless they can somehow take advantage of sophisticated third-party financing techniques.  Under a third-party ownership arrangement, a for-profit entity owns the solar facility installed on a tax-exempt entity’s property and sells or leases the energy from that system, through a power purchase agreement, to the tax-exempt entity at a discounted rate that reflects some part of the various tax benefits available to the taxable owner.  This strategy may not be feasible for all tax-exempt entities.  Complex power purchase agreements may not be readily embraced by local government and public agency elected boards, or non-profit boards.  We run the risk of discouraging non-profit entities from making solar investments if we pay them the same incentive as commercial entities, thereby forcing them to use third-party ownership arrangements to get a tax benefit and bring installation costs in line with those entities that receive a federal tax credit.

Parties did not dispute Staff’s analysis that the net effective cost per kWh of solar is higher for those entities that cannot reap federal tax advantages.  Nevertheless, the comments generally do not support a higher incentive for tax-exempt entities, citing difficulty administering two incentive levels and the risk of gaming.  Solar industry participants suggest this segment is less price-sensitive, willing to accept a lengthy payback period, and has access to other incentives such as low cost loans.

We are hesitant to ignore Staff’s proposal despite its lack of support from parties.  The Staff analysis shows a significantly higher net cost per kWh for a tax-exempt entity making a solar investment.  We note there was no participation from the government or non-profit sector in comments on this topic.  Lack of support from parties does not mean the idea is not worthy.  Further, Staff research on SGIP program participation indicates that government and non-profit institutions have been a vital component of SGIP program participation and we do not want to risk losing penetration in that sector as we transition to CSI.

For these reasons, we conclude the $0.75 per watt differential proposed by Staff is reasonable because it will mitigate the higher net solar costs for tax-exempt entities and will allow government and non-profit entities to consider solar investments without third-party financing and ownership arrangements.  Of course, tax-exempt entities may still find it to their advantage to use third-party financing, and if they do so, they will be paid at the lower incentive level of $2.50/watt.  Tax-exempt entities who apply for the higher incentive level must include with their incentive application a certification under penalty of perjury from their Chief Financial Officer or equivalent that they are a government or non-profit entity and they are not receiving federal tax benefits through financing arrangements.  We conclude it is reasonable to adopt this rate, at least for the first few years of the CSI.  We will reassess the necessity for the higher tax exempt rate after a few years of data and experience.

### Conclusion

In summary, we modify the single CSI incentive of $2.80/watt adopted in D.06-01-024 in favor of rates tailored to consider the tax effects seen by residential, commercial and tax-exempt customers.  Residential and commercial customers will be paid the same incentive rate, even though they experience different tax effects, because they have different payback periods for their solar investments.  Tax-exempt entities will receive a higher rate, unless they choose to engage in third-party financing arrangements.  We shall revisit the necessity for this higher incentive rate for tax-exempt entities after a few years of experience with CSI.  In addition, we will reconsider incentive levels for all customer classes if the federal tax credit is not extended past December 31, 2007.

## Performance-Based Incentives for Large Solar Projects

We now turn to the issue of whether a PBI structure is a prudent and effective way to encourage installation of well-performing solar systems, given the Commission’s earlier statements in D.06-01-024 that a good incentive program is one that promotes efficient operation solar projects.

The basic rationale for a PBI structure is to ensure that ratepayer subsidies for solar are paid based on effective system design, installation, and ultimately on performance, and not simply the rated capacity of the physical components.  In the past, incentives were paid up front to help reduce the net investment cost of a solar system.  These incentives may have been paid either as a percentage of the capital cost up to a cap or as a fixed contribution based on the rated wattage capacity of the solar system.  Neither approach necessarily motivates the system designer to deliver a well-designed and installed system, nor ensures the system owner will attend to ongoing maintenance and performance of the system.

Thus, the Commission has been motivated to move in the direction of paying incentives based on solar system performance.  The Staff Proposal recommended a PBI incentive structure for large solar installations with the following basic parameters:

- Base the PBI incentive on the dollar-per-watt incentive level for 2007, then convert it to a cents-per- kWh payment.

- Apply a system capacity factor of 20% to estimate kWh production per watt.

- Apply PBI to systems greater than 100 kW in size, but allow smaller systems to opt-in to the PBI structure.

- Offer fixed and flat PBI payments over five years, with no discount rate incorporated into the payment.

- Cap PBI payments at 10% over estimated output to preserve the CSI budget in the event there are very high performance technologies.

- Pay building-integrated PV systems using the PBI structure, regardless of size.

- Do not apply PBI to new construction applications.

- Consider phasing in the PBI structure over a period of three years, with:

  - 50% of the incentive paid up front, and 50% via PBI in 2007,

  - 25% of the incentive up front,  and 75% via PBI in 2008, and

  - 100% PBI in 2009.

Parties’ comments on the Staff Proposal were generally supportive of moving towards a PBI structure.  No party argued against PBI, though one party did recommend offering consumers a choice of a PBI or an up-front, capacity-based payment, pointing out there is not yet an example of a successful PBI program in place in the country.

We remain convinced that the reasons for moving forward with PBI are compelling.  A PBI incentive structure accounts for five distinct factors that affect system performance:

- Actual system rating may differ from the reported rating due to incorrect equipment ratings and/or poor workmanship during installation;

- System design may not be optimal due to orientation (compass direction and tilt) and shading issues;

- Geographical location may reduce output because some areas of California have a better solar resource than others;

- System performance may be less than ideal due to poor system maintenance, e.g., dirty modules or equipment failures that are not repaired in a timely manner; and

- Weather variability may be different than the estimated typical year, thus resulting in a lower or higher amount of energy production than was expected.

Overall, under a PBI structure, consumers will be motivated to focus on the proper installation, maintenance, and performance of their systems.  For all of the reasons stated above, we elect to move to a PBI structure now.  Thus, for the remainder of this section, we will focus on the details of how to design the appropriate PBI structure.

### Size Threshold for PBI

The first issue we encounter in PBI design is whether to apply PBI to all systems or only those systems over a certain size threshold.  As noted above, the Staff Proposal would apply PBI only to those systems over 100 kW in size.

All parties representing the solar industry agree with the Staff Proposal to apply PBI initially only to projects over 100 kW in size.  In addition, ASPv would make PBI mandatory for newer, innovative solar technologies such as building integrated PV and bifacial modules, since system ratings are not yet capable of estimating output from these technologies.  As noted earlier, Sun Light, while supporting PBI in general, suggests offering each customer installing a system over 100 kW a choice between PBI and a capacity-based incentive payment.

Several parties, including PG&E and TURN, suggest starting PBI with systems over 100 kW but then transitioning PBI’s application to smaller systems over time as the industry gains more experience with PBI payments.  SCE would apply PBI to all systems over 30 kW immediately and transition down to systems as small as 10 kW over time.  A number of other parties, including DRA, SDG&E/SoCalGas, SDREO, and CFC, would apply PBI immediately to all non-residential systems, regardless of size.  Only CFC recommends applying PBI to residential systems immediately, though SDG&E and SoCalGas also recommend that the Commission consider this in 2007.  CFC reasons that the only exception to the PBI requirement should be low-income households and businesses that are credit-worthy but unable to obtain “reasonable” financing.  Several parties provided statistics showing that the number of projects in the size category over 100 kW is very small, while the solar system capacity associated with those projects is comparatively large.

Overall, we find parties provided little justification for the size threshold recommendations in their comments.  Based on the lack of compelling evidence or reasoning offered by the parties in their comments, we prefer to adopt the Staff recommendation to require initially a PBI structure for systems 100 kW and larger.  The main reason offered by Staff for this initial recommendation was the ability of customers investing in larger systems to finance additional system costs up front.

Lowering the size threshold at this time would potentially limit investments in solar systems by smaller commercial customers, i.e., those who are likely to invest in solar systems in the 30 kW to 100 kW size range.  We are concerned that suddenly expecting these customers to pay for or finance an extra 30% to 40% of a solar facility cost, absent an up-front incentive, could jeopardize their investments in solar.  Moreover, the EPBB approach to incentives for systems under 100 kW (discussed below in Section III.C) takes different but equally important steps to align incentives with realistic and site-specific expectations of performance for smaller systems.  We prefer to start PBI with the larger systems and then transition to smaller systems over time, in order to allow sales and financing arrangements to evolve in the direction of PBI.  We conclude that after an initial transition period and more experience with the PBI structure, we will be able to apply this structure to smaller systems.  We envision a two or three year transition period before applying PBI to smaller systems in the 30 to 100 kW range.  Therefore, we anticipate applying PBI to all systems over 30 kW beginning in 2010.

In the meantime, we will allow any system, regardless of size, to “opt-in” to a PBI payment structure beginning in 2007.  There are some high-performing systems and system designs that may benefit from a PBI structure because of their performance characteristics, if the customer is willing to forego an up front payment in favor of a presumably-larger PBI payment over time.  Certain other newer solar technologies, such as concentrating solar PV and tracking systems, also may opt in to the PBI to the extent their system size characteristic does not already require it.  In addition, we will require that all building-integrated PV systems be paid on a PBI basis, because no accurate system rating yet exists to evaluate the likely performance characteristics of these systems.  Finally, we will exempt all new construction applications from a PBI requirement, regardless of size, in order to allow the net up front cost of a solar system to be integrated into the financing of the new building as a whole.  Solar installations on new construction projects will be paid under the EPBB approach outlined in Section III.C.

### Time-Differentiated Payments

Although the Staff Proposal did not address time-differentiated payments, several parties commented on whether PBI payments should vary based on the time of day that the solar system produces energy.  In particular, Thomas Beach recommended time-differentiated PBI payments.  The rationale for this recommendation is that while south-facing systems will provide a larger total kWh output annually, west-facing systems offer greater value in kWh produced during the peak period (but lower annual kWh).

SCE, in its reply comments, rejects the concept of time-differentiated PBI payments as too complex.  SCE maintains that the on-peak benefits of solar do not necessarily translate into transmission and distribution system benefits.  The utility also points out that net energy metering already rewards on-peak performance of systems through time differentiated net energy credits for customers on time-of-use (TOU) rates.

At this time, we will not require time-differentiated PBI payments because of the added complexity in calculating and communicating the value of solar incentives.  Moreover, many customers are already on TOU rate schedules that vary energy prices throughout the day, so that solar production reduces utility bills at values mirroring the TOU rates.  In addition, most customers with solar facilities already participate in the net energy metering program which is inherently time-differentiated for those on TOU rates.

Though we will not make PBI payments time-differentiated at this time, we remain interested in structuring the payment of solar incentives to further reward on-peak delivery of kWh to the system.  The ultimate goal of the CSI is to produce valuable energy during peak times.  In general, we are attracted to the German feed-in tariff system, which combines our two-part approach (i.e., PBI and net energy metering) into one payment for system performance that can be time-differentiated.  We believe it is preferable to embed time-differentiated signals into a tariff structure rather than an incentive structure such as PBI.  Therefore, we will not require a time-differentiated PBI structure at this time, but will ask our staff to continue investigating and evaluating alternative incentive structures for later phases of the program.

### Payment Period

We now address over what period of time to make PBI payments. The Staff Proposal recommended payments over a five-year period.

Most parties generally agreed with the Staff Proposal to offer PBI payments over a five-year period.  SDG&E/SoCalGas would prefer to make PBI payments over the life of a system (20 to 30 years), but stated that they can accept the Staff Proposal.  CCSF commented that public entities might prefer a 10-year payment stream to match the payment stream of project financing, but CCSF would not object to a five-year structure.

We see a tradeoff between the preferred payment period for ratepayers and solar investors.  A shorter payment period is more attractive to solar buyers and has lower administrative costs.  A longer period guarantees pay-for-performance for ratepayers, but incurs higher administrative costs and risks stalling the solar market since most homeowners and businesses are less likely to invest in solar if they have to wait 20 to 30 years to recoup their investment.  We see no reason to depart from the Staff recommendation of a five-year performance payment period for PBI because it will have lower administrative costs and less market risk than a longer payment period.  This is a reasonable balance between the current up-front payment structure and longer-term payments over the life of the system.

### Capacity Factor

In order to provide continuity to the market from the current capacity-based incentive structure, Staff proposed to convert the per-watt up front incentive payment to a PBI payment (in cents per kWh) using a capacity factor to calculate expected system output.  Staff initially proposed using a 20% capacity factor, based on CEC-alternating current (AC) ratings.

Many parties provided data in support of their recommendations in this area. PG&E states that Itron data from the SGIP program shows an average capacity factor of 16% for systems installed through 2004.  They recommend using this capacity factor initially, and then adjusting the capacity factor in subsequent years based on further data.  CFC cites U.S. Department of Energy (DOE) and CEC data on capacity factors, showing that in 2004, the average commercial system capacity factor was 14%, and in 2005, the average residential system capacity factor was 16%.  According to CFC, these sources project that average capacity factors will reach the 18%-20% range by 2010.

The Joint Solar Parties suggest 18% using CEC-AC wattage, or a higher 20% factor if a different rating method known as “system AC” is used.  SDG&E/SoCalGas, and SCE all suggest using 20%.  Sun Light suggests starting at 18.5% and then increasing the capacity factor by 10% over the 10 years of the program.  TURN suggests incorporating an assumption of a 1% per year degradation factor.  Golden Sierra Power suggests a lower capacity factor, because of lower solar production when panels are not matched to the inverter, but it does not propose a specific capacity factor.

We are persuaded that the 20% capacity factor proposed by Staff may have been too optimistic.  The data cited by PG&E and CFC indicates as much.  The comments of many parties suggest the same, preferring a lower capacity factor based on historic system performance.  We accept the recommendation of the Joint Solar Parties, who propose an 18% capacity factor as a reasonable mid-point for the beginning of the program in 2007, based on CEC-AC wattage ratings.

At the same time, we are convinced by some commentors that a higher capacity factor can act as a performance target.  CFC presents DOE data that capacity factors should reach the 18%-20% range in a few years.  We prefer to send a strong signal to encourage increases in system performance over time.  Therefore, we will start with an 18% capacity factor for 2007, but we will increase the assumption automatically to 20% beginning with Step 4 of the Incentive Adjustment Mechanism, as discussed in Section VI of this decision.  We anticipate that the Step 4 incentive level will not be reached for a few years, which should correspond to the higher capacity factors DOE projects.  This will reward those technologies and installations with the best performance.  We choose the Step 4 incentive level for this adjustment now in order to calculate and publish the specific incentive levels per kWh that will be paid in upcoming years.

We may consider subsequent changes to the capacity factor assumptions in later program years based on future evaluation findings regarding market trends in system output.

### Performance Cap

The issue here is whether to put an upper limit on incentive payments to high performing systems as a way to manage the CSI budget.  The Staff Proposal suggested capping payments for system performance at 10% above the output produced by the assumed capacity factor.

The utilities generally favor the imposition of some sort of performance cap in order to track and manage budgets, although PG&E suggests a cap should not discourage innovation.  SCE, on the other hand, reasons that innovation needs to come from within the solar industry, rather than through the program offering rewards with unlimited upward incentives.

In contrast, the solar industry is unanimous in its opposition to the performance cap provision of the Staff Proposal.  The Joint Solar Parties feel that such a performance cap undermines the entire purpose of having PBI.  ASPv agrees that a performance cap discourages maximum system output.  The solar industry parties suggest the budget can be managed by estimating each system’s expected output at the reservation stage and then reserving the appropriate funding for the project at that time.

We agree with the solar industry that the imposition of a performance cap is inconsistent with our overall goal of rewarding systems for higher performance.  We wish to send a clear and strong signal that high-performing designs and installations are desirable in this program.  We also agree that the CSI budget can be managed if program administrators make a reasonable forecast of incentive payments at the time of system installation based on the design characteristics of each project.  In addition, TURN points out that most systems experience a modest degradation of performance over time, which will tend to work in favor of preserving budget funding.  Therefore, we do not adopt the performance cap suggested by staff.  A solar facility receiving PBI payments will be paid for actual output over the five-year payment period.  Nevertheless, the program administrators must operate within their total budgeted CSI funds, as set forth in D.06-01-024.  Although we will not put a limit on the incentives paid to any one project through PBI, beyond the 5 MW limit adopted by the Commission in January, the program administrators may not exceed their individual budgets and the total CSI program budget will not be exceeded.

### Funding Security

The Staff Proposal recommended that the program administrators set aside reserved PBI incentive funds for completed systems in an interest-bearing escrow account.  No party commented on this provision in the Staff Proposal.

We agree with Staff that it is important to send a clear signal to the solar industry and the financial community that the money for PBI payments will be available for the full five-year PBI period.  Therefore, we will require the each program administrator to deposit the expected PBI payments for all completed solar projects into a single interest-bearing escrow account for each administrator so it is available for the five-year incentive payment period.

### Discount Rate

In the Staff Proposal, Staff did not include a discount rate when calculating the five year PBI incentive payments.  Instead, Staff recommended offering a flat incentive payment for the sake of simplicity.

Parties representing the solar industry, as well as PG&E, disagreed with the Staff Proposal to ignore the discount rate.  Neither ASPv nor the Joint Solar Parties propose a specific discount rate, though the Joint Solar Parties embed a 10% rate in some of their calculations.  PG&E does not recommend a specific rate either, although it contends PBI should be made equally attractive with an up-front EPBB payment in order to entice smaller systems to opt in to the PBI structure.  Sun Light recommends using an 8% discount rate.

We elect to apply a discount rate of 8%.  Applying a discount rate is appropriate for several reasons.  First, we find it reasonable to offer a comparable net present value for PBI as compared to the current up-front payment structure and not penalize those systems that must wait five years to receive their full PBI payments.  Second, as PG&E points out, offering this additional incentive may cause some smaller systems to opt-in to the PBI structure, which furthers the overall program goal of increasing system performance.  Finally, the budgetary cash flow consequences of a discount rate will be partially offset by the requirement that program administrators place incentive funds for PBI projects in an interest-bearing escrow account over the five years of the PBI period.  In addition to interest growth, the escrow account may grow to the extent systems under-perform based on the average capacity factor used to set incentive levels and budgets.

We choose an 8% discount rate because we find it a reasonable assumption for the range of interest rates different solar buyers might receive on deferred payment streams.  ASPv and the Joint Solar Parties suggest a 10% rate, but we prefer the more conservative 8% rate used by Sun Light for its analyses.

Although we will apply a discount rate of 8%, we still wish to keep the incentive payment structure simple.  Therefore, in our incentive calculations offered at the end of this section in Table 5, we express the PBI incentive structure in levelized cents per kWh over five years.  The incentive level will not change for each individual solar system over the five-year performance period. Instead, the level of the incentive payments has been adjusted to account for the 8% discount rate on a net present value basis.

### Frequency of PBI Payments

We now address how frequently a solar system owner should receive PBI payments over the five-year period, and whether these payments should be incorporated with utility bills.  The Staff Proposal recommended monthly payments, on utility bills, if possible, with quarterly payments if monthly payments prove too administratively costly or burdensome.

The Joint Solar Parties agree with monthly PBI payments to best match cash flow for installment payments on solar systems, and suggested this be paid in an off-bill mechanism to make the incentive most visible to the system owner.  SDG&E/SocalGas indicated they plan to support monthly on-bill payment of PBI incentives within a short transition period following this decision, and to add on-bill system performance data on a later schedule.  PG&E indicated that while it already reports net energy metering credits monthly on-bill, it could not immediately make incentive payments in the same way.  PG&E suggests it could arrange a monthly payment through its off-bill Alternate Billing System.  SCE prefers to pay incentives quarterly by a separate check and performance statement.  SCE contends an on-bill payment by January 2007 would be “very challenging” based on the time and cost of billing system modifications.

We are pleased to see that most utilities can accommodate some form of monthly PBI payments, whether on or off-bill, and that this comports with the preference of one set of solar parties.  We will require PBI payments at this time on a monthly basis, consistent with our desire for frequent customer feedback on system performance.  We allow utilities discretion whether to make the payment with the utility bill or separately at this time.  Those utilities that can offer monthly payments on or parallel to utility bills are applauded for their abilities to do so at their earliest opportunity.  SDREO should make arrangements with SDG&E for monthly on-bill PBI payments, which may be separate from a solar system performance reporting mechanism.

### Phase In of PBI Structure

The Staff Proposal suggested the option of phasing in the PBI incentive structure over a three-year period, to allow the solar industry time to prepare the market for higher up-front investments under PBI.  Specifically, Staff suggested that half of the total incentive could be given up front in 2007, with the remaining half paid based on performance.  In 2008, 25% of the total incentive could be given up front, with 75% paid out in PBI.  By 2009, all incentives would be through the PBI structure for applicable system sizes.

The Joint Solar Parties favor an even more gradual phase in of PBI than recommended in the Staff Proposal.  Under their phase-in proposal, PBI payments would reach a maximum of 50% of the incentive as of 2010, with smaller percentages paid through a PBI mechanism in earlier years, starting at 20% in 2007.  The rationale is that such a system would avoid forcing system owners to rely on third-party ownership structures due to their own lack of capital for solar investment.  In addition, the Joint Solar Parties argue that larger systems already have an inherent incentive to police the performance of their systems because of the large capital investments associated with their system installations.  They also contend PBI will make solar installations more expensive for customers due to the increased costs of financing.

SDREO agrees with the Staff Proposal for a three-year phase in, in order to avoid market disruption.  TURN favors a four-year phase in period. Pacific Power Management would phase in PBI in six-month increments over two years, because financing for the larger up front costs is a significant hurdle for commercial customers.

The utilities, CCSF, and ASPv, on the other hand, prefer an immediate switch to a PBI incentive structure.  They argue that phasing in a PBI structure will be a confusing, administrative hassle.  In addition, they feel that instituting PBI immediately will send a strong signal to the market that the Commission values performance.  Further, they argue that PBI is easier to administer, easier to verify, and generally clearer than a phased in approach.

We choose to institute PBI immediately as of January 1, 2007.  We note that the solar industry parties differ in their opinions on this topic.  Both SCE and SDG&E/SoCalGas indicate that systems over 100 kW to which PBI will be applied only account for about 1% of the total project applications each year.  These systems account for about one-third of the installed capacity, however.  They are also typically installed by sophisticated building owners, who generally have access to a greater array of financing options than smaller system owners.  We are not persuaded that an immediate transition to PBI will cause market disruption.  We understand that most systems over 100 kW are already financed at the 60%-70% level.  Thus, the transition to 100% financing should not be as significant a hurdle for these types of installations.

Finally, we are persuaded that phasing in the PBI structure will be more confusing to administer and to explain, thereby diluting the clear signal we wish to send to the solar market that we are interested in rewarding high-performance systems and installations.  Therefore, we will move to the PBI structure as described herein, for systems 100 kW and larger, starting January 1, 2007.  We anticipate moving to PBI for systems larger than 30 kW in 2010.

### Conclusion

As noted above, the Commission will apply a PBI structure to all systems 100 kW and larger beginning on January 1, 2007.  Any other size system may also opt in to the PBI structure.  The Commission will require building integrated systems to receive incentives through a PBI structure, but will not require new construction solar installations to be paid through PBI.  Beginning in January 2009, we will require systems over 30 kW to be on a PBI incentive structure.

The PBI payments will be made over a five-year period following system installation.  Payments should be made on a monthly basis, but payments do not need to be on utility bills at this time.  Payments will not be time-differentiated.

Payment levels identified in this decision take into account an 8% discount rate to provide comparability of PBI payments with EPBB payments addressed in the next section of this decision.  PBI payments for completed projects will be deposited in an interest bearing escrow account to ensure their security over the period of the expected PBI payments.

PBI incentive levels also incorporate an assumed capacity factor of 18%, calculated on CEC-AC wattage ratings, beginning January 1, 2007.  Once Step 4 of the Incentive Adjustment Mechanism is reached, the PBI payment is based on a capacity factor of 20% of CEC-AC wattage.  Finally, PBI payments will not be subject to a performance cap for budget purposes.

The adopted PBI incentive rates over the duration of CSI are shown in the table below.   Appendix A provides the calculations supporting the levelized payments in this table.

Table 5

Levelized PBI Monthly Payment Amounts at 8% Discount Rate

|  |  | PBI payments (per kWh) |  |  |
| --- | --- | --- | --- | --- |
| MW Step | MW in step | Residential | Commercial | Government Non-Profit |
| 1 | 50 | n/a | n/a | n/a |
| 2 | 70 | $0.39 | $0.39 | $0.50 |
| 3 | 100 | $0.34 | $0.34 | $0.46 |
| 4 | 130 | $0.26 | $0.26 | $0.37 |
| 5 | 170 | $0.22 | $0.22 | $0.32 |
| 6 | 230 | $0.15 | $0.15 | $0.26 |
| 7 | 300 | $0.09 | $0.09 | $0.19 |
| 8 | 400 | $0.05 | $0.05 | $0.15 |
| 9 | 500 | $0.03 | $0.03 | $0.12 |
| 10 | 650 | $0.03 | $0.03 | $0.10 |

## Expected Performance Based Buydown (EPBB) Incentives for Smaller Solar Projects

Given our preference to move toward performance-based incentives, we must address the issue of how to develop an incentive structure for systems less than 100 KW that combines many of the optimal performance benefits of PBI with the administrative simplicity of a one-time incentive paid up front at the time of system installation.

The Staff Proposal recommended an incentive methodology, the EPBB, which pays an up-front incentive based on a system’s estimated future performance.  The methodology considers factors such as solar system capacity ratings and system design (i.e., location, orientation, and shading).  Staff proposed EPBB incentives would be paid based on the following formula:

EPBB Incentive = Incentive Rate x System Rating x Design Factor

This EPBB incentive formula would apply initially to systems under 100 kW, and to all new construction, regardless of size.  In the case of new construction, staff believes an up-front payment best motivates the builder or developer to include solar in a new building design because these entities may not be the long-term owners or occupants of the property.

Most parties’ comments were supportive of EPBB as an incentive structure.  Many parties proposed refinements to a number of technical issues, which we address below.

### System Rating

A system rating attempts to quantify, in wattage, how well the components of a solar generator will perform when combined into a single system.  The two primary components are the solar modules and the inverter.  Manufacturers and independent testing facilities assign ratings to panels and to inverters to estimate their expected individual performance.  A total system rating can be estimated by factoring in additional system losses due to installation variables and operational losses.  In estimating total system performance, the primary differences among the calculations are the system loss input factors.  The CEC developed a methodology known as “CEC-AC,” which rates system components based on PVUSA test conditions.  The PVUSA test facility rating accounts for additional losses, such as those due to system wiring mismatch.

Staff proposes that EPBB calculations use a “System AC” rating, which uses a flat 10% loss factor as a proxy for overall system losses that are likely, yet unaccounted for in other methodologies.  The System AC rating is the product of three multipliers:  a Photovoltaic Test Condition rating (PTC) developed by the PV testing lab PVUSA, the inverter efficiency rating, and an assumed overall loss of 10%.  The CEC-AC rating does not include a 10% loss factor.

Most parties, including Joint Solar Parties, ASPv, Michael Kyes, and PG&E, generally support moving from the current CEC-AC towards a “true system AC” rating system, which corresponds more closely to actual system performance.  ASPv cautions, however, against adopting a methodology which assumes a specific loss rate, as loss rates may vary.  ASPv argues that it makes more sense to wait until actual system output can be routinely verified before moving to “true system AC” as the basis for incentive payments.  ASPv, along with SDG&E/SoCalGas, recommend retaining the CEC-AC rating for now.  Joint Solar Parties and PG&E support a system rating similar to the Staff Proposal.  SCE recommends a workshop to determine whether a better method exists to determine a solar facility’s true peak AC capacity rating, perhaps one which begins with the Standard Test Conditions (STC) Power maximum peak rating.  The STC rating is a peer-reviewed international standard to which equipment is tested, and is stamped on all solar panels.  Otherwise, SCE supports a verified rating, which can only be determined through system output metering.  All parties agree it is essential to maintain consistency, whichever method is adopted.

For now, we will retain the current CEC-AC rating system as the basis for calculating EPBB incentive payments because we are persuaded by the arguments of ASPv that System AC ratings are not verifiable at this time.  While System AC ratings may be more accurate, they cannot be verified until systems are installed.  This could introduce delay in introduction of the EPBB incentive method.  We believe CEC-AC ratings serve as a reasonable proxy until a true system rating or verification method is developed.  Additionally CEC-AC ratings for EPBB are consistent with the capacity factor we use to calculate PBI incentives for larger systems.  While we agree with parties that the CSI should move towards developing a true system rating, we doubt that it can be developed in time for CSI implementation in 2007.

### Design Factor

The other major factor in the EPBB incentive formula is the “design factor,” which is a ratio comparing a given solar facility’s expected to optimal output.  The Staff Proposal calls for the EPBB design factor to include measurements for compass orientation, tilt, and shading, calculated at the time the project’s incentive application is submitted.  The design factor is measured relative to a reference, or “optimally designed,” solar system.  The factor equals the ratio of simulated solar output for a customer’s specific system divided by the simulated output for an identical system designed for maximum energy output.

Design Factor = 	Simulated solar output of customer’s proposed system

Simulated solar output for optimal reference system

In the Staff Proposal, an optimally designed system is assumed to be oriented south, tilted 30º, and without any shading.  Staff requested comments on how the EPBB should account for systems with solar tracking mechanisms, which produce more output than a simple fixed panel installation.  Additionally, the staff supports utilizing an estimation tool, to be available online and in other forms, to calculate the EPBB design factor, noting that a number of these tools already exist.

The Staff proposed that the design calculation should not consider geographic location.  While the Staff Proposal acknowledges that geographical location affects expected system performance due to variations in annual insolation, or sun exposure, around the state, Staff believes that since all ratepayers contribute to the CSI funding, the EPBB structure should neither punish nor reward solar customers based on their location in the state.

There were no parties who agreed with the Staff Proposal to disregard geographic location.  Most parties, namely CFC, Golden Sierra, PG&E, SCE, SDG&E/SoCalGas, and TURN, agreed that including geographic location would result in the highest level of overall system production at the lowest cost, even if it means lower incentives for the north coast compared to southern inland zones.

Several parties including Thomas Beach, CFC, Michael Kyes, SCE, and TURN argue that a system oriented to the west reaches peak production during a time more closely aligned to the utilities’ system peak demand, and yields energy of higher value, compared to a south-facing system that may reach maximum output at noon or in the early afternoon.  Therefore, they argue, the EPBB design factor should be adjusted to properly reward west-facing systems.  ASPv believes this approach would result in less overall energy production, as total solar output is maximized when solar panels or collectors face south.  SCE suggests that PV systems be given maximum incentives when positioned in either a south or southwestern direction.  TURN and PG&E propose that west-facing systems oriented between 180º and 270º receive equivalent design factor ratings.  Some argue that an ideal tilt could be determined for each compass direction.  In addition, parties recommend determining a system’s optimal tilt at location-specific latitudes rather than a standard 30º, citing the wide variance in latitudes from north to south in California.

Only three parties commented on whether to consider tracking capability as a specific design factor.  SCE argued against the inclusion, pointing out that a higher performing system will be compensated by higher bill savings.  SDG&E/SoCalGas contend that since minimal historical data exists on tracker performance, the Commission should revisit this issue when sufficient data is available.

Parties supported the use of various performance estimation tools, citing the Clean Power Estimator, Solar Pathfinder, and PV Watts.  These estimation tools are available in down-loadable software versions.  Michael Kyes suggests that a portable table-based reference system is likely to be more reliable than a software-based system, particularly in the early stages of implementation.

Based on the comments, we must consider which elements to include in the EPBB system design factor.  First, we must take into account whether the ultimate EPBB goal is to promote peak solar production, or maximum total solar output.  We believe it is important to incorporate both approaches to fully achieve the benefits that diversity and flexibility can provide within the total portfolio of CSI projects.  We will allow equivalent “optimal” design factors for south, southwest, and west orientations (i.e., for systems oriented with a compass direction anywhere in the range of 180º to 270º).  In other words, the optimal reference system in the denominator of the design factor ratio does not have to face south, but can face south, southwest, or west.  This will necessitate determining an optimal reference tilt for different compass directions (e.g., a 30º tilt when facing south, but perhaps a higher degree of tilt when facing west ).

Second, there were no parties who proposed a design factor for trackers, and we will not adopt one at this time.  As discussed in the PBI section of this decision, systems of any size which utilize trackers will be allowed to opt in to PBI whenever the solar owner believes the PBI payment better rewards the enhanced performance of trackers.  We may revisit this issue in the future as historical tracker data becomes available.

Third, parties provided compelling reasons why EPBB should take geographical location into account in the incentive payment calculation.  Variability in California's geographic and climate factors affects the levels of solar energy production possible around the state.  If we include a geography component in the design factor, this ensures the ratepayer investment results in the highest possible solar energy production per dollar of ratepayer support.  With geography included in the design factor, EPBB does a more precise job of estimating likely system performance.  This achieves our overall objective of pay-for-performance solar incentives, while still using an up-front incentive payment for smaller solar installations, and parallels the similar outcome obtained from the metered performance structure of PBI for larger systems.

Now that we have determined the elements to incorporate in the design factor, we must address how to turn these design elements into a user-friendly estimation tool that can be incorporated into the CSI Program Handbook and used by program participants.  Solar companies, program administrators and EPBB incentive applicants would use this estimation tool, either as software or a set of reference tables, to calculate their incentive payments.  In short, we direct the program administrators to ensure a set of technical protocols and a corresponding user-friendly estimation tool (either software or a set of reference tables) are developed to calculate the design factor.  The technical protocols and estimation tool should include the following characteristics:

- All systems oriented between 180º and 270º, facing south, southwest, and west, will be treated equally.

- An “optimal orientation tilt” that corresponds to the different acceptable compass directions from 180º to 270º.

- Location-specific criteria which account for varying degrees of solar insolation, based on local climate and geography.

- An “optimal latitude tilt” that relates to local latitude.

To accomplish this, we direct the program administrators collectively to issue a single solicitation for a technical expert or experts(s) to provide a single design factor protocol and an initial estimation tool.  We state “initial estimation tool” because we do not wish to preclude the development of a variety of estimation tools based on identical design factor criteria, but we want to ensure that at least one is available to calculate EPBB incentives as of January 2007.  The program administrators should ensure this protocol and initial estimation tool are incorporated in the initial CSI Program Handbook.  We intend to circulate a draft of the initial handbook, according to the schedule in Section IV.B.4.

### EPBB Verification

The Staff Proposal calls for projects sized between 30 kW and 100 kW to receive a post-construction inspection to verify the accuracy of system data submitted in the original CSI incentive application.  The proposal also recommends a verification protocol whereby actual system output would be measured for one month following installation.  The program administrator would compare actual output with the expected output.  For systems under 30 kW, the proposal recommends random verification.  As added protection for performance, the Staff Proposal invited comments on whether there should be warranty requirements beyond those now used in SGIP.

Most parties agree with the need to verify the accuracy of system characteristics described in incentive applications.  There was little support, however, to require the administrators to collect actual system performance data.  SDG&E/SoCalGas believe on-site inspection that verifies easily observable system characteristics (i.e., number of modules, orientation, and tilt) should be required for all systems.  PG&E points out that it already visits each site to inspect system interconnections.  The CCSF and SCE recommended requiring warranties on equipment to protect both consumers and ratepayers.

We see two primary issues associated with system verification.  The first is administrative feasibility.  Verification will add time and cost to program overhead, whether it is performed by third-party verification services or by utility interconnection personnel.  If we require the utilities to perform system output verification for all system sizes as part of an interconnection inspection, this will require additional personnel training and time, and has the potential to delay the interconnection process for solar or other distributed generation facilities.  We must weigh the potential for higher administrative costs and delays in interconnection practices against the benefits of verifying the accuracy of solar incentive applications.  We find it reasonable to require program administrators to verify system characteristics for all systems between 30 kW and 100 kW, as these larger systems will receive significant ratepayer investment through the EPBB incentive.  We will adopt the Staff recommendation to require administrators to perform a statistically reasonable random sample of systems under 30 kW to verify their design characteristics.  We will not require the administrators to collect one month of system data at this time, but we may revisit this issue in the future, if warranted.

As suggested in the Staff Proposal, project installers who fail three random inspections must be excluded from program participation.  Program administrators should incorporate this into the CSI Handbook.  In addition, we direct the staff and program administrators to ensure that measurement and evaluation (M&E) plans include an assessment of system output for a sample of solar installations.  This may occur through analysis of system output metered data or through alternative, site-specific data collection methods.

The second issue is the availability of trained personnel to perform the verification procedures.  All system verification visits must be performed by trained personnel, whether the verification is performed by utility interconnection inspectors, other utility personnel, or contractors.  We will require program administrators to develop a training plan for EPBB site inspectors that is consistent among the participating utilities.

As a final protection, we will continue to require equipment providers to provide the five-year equipment warranty already required under the SGIP program rules.  We direct program administrators to ensure that all installers continue to report expected annual output performance on program application forms.

### Conclusion

We adopt EPBB incentive payments for solar projects under 100 kW and all new construction regardless of size, to begin no sooner than January 1, 2007, as set forth in the Table below.

Table 6

EPPB Monthly Payment Amounts

|  |  | EPBB payments (per watt) |  |  |
| --- | --- | --- | --- | --- |
| MW Step | MW per step | Residential | Commercial | Government/ Non-Profit |
| 1 | 50 | n/a | n/a | n/a |
| 2 | 70 | $2.50 | $2.50 | $3.25 |
| 3 | 100 | $2.20 | $2.20 | $2.95 |
| 4 | 130 | $1.90 | $1.90 | $2.65 |
| 5 | 170 | $1.55 | $1.55 | $2.30 |
| 6 | 230 | $1.10 | $1.10 | $1.85 |
| 7 | 300 | $0.65 | $0.65 | $1.40 |
| 8 | 400 | $0.35 | $0.35 | $1.10 |
| 9 | 500 | $0.25 | $0.25 | $0.90 |
| 10 | 650 | $0.20 | $0.20 | $0.70 |

We anticipate that in 2010, EPBB will apply only to projects less than 30 kW.

# Program Administration

The fundamental debate concerning CSI administration is whether to expand the role of the existing SGIP administrators into solar program areas they do not currently handle,  or direct the utilities to contract with an independent, non-profit administrator for some portion of the CSI program, and if so, for which portions of the program.  An explanation of the current circumstances may clarify this.

Currently, administration of solar incentives depends on project size.  Solar incentives for facilities above 30 kW are handled through the Commission’s SGIP, which is currently administered by four entities -- PG&E, SCE, SoCalGas and SDREO.  SDREO is a private non-profit corporation that has experience administering a variety of energy programs in the San Diego area.  Solar incentives for facilities less than 30 kW are currently handled by the CEC.  Beginning in 2007, this size distinction will no longer be relevant because the CEC’s focus will shift to solar incentives solely for residential new construction and it will no longer handle incentives for any solar retrofit projects less than 30 kW.  Incentives for projects of this size, which are predominantly residential projects, will need to shift to a new administrative structure.

Aware of the impending administrative question, the Commission found in D.06-01-024 that third-party administration of the residential retrofit portion of the CSI by one or more non-profit organizations, was most likely to accomplish the Commission’s solar objectives.  Specifically, the Commission stated:

The residential retrofit portion of the CSI program is one that is well-suited to third-party administration. It is an area where, in the past, the administration has been done by the CEC and not the utilities.  Thus, a new administrative structure will need to be developed in any case.  We expect to explore, over the next year, a pilot approach using third-party administration initially only for the residential retrofit portion of the program.

For the commercial and industrial sector, we find it prudent to continue the status quo with existing program administrators, including SDREO.  (Page 35.)

In its April 2006 Staff Proposal, the Staff expanded upon the Commission’s suggestion to explore non-profit administration for residential retrofit projects by recommending non-profit administration for all projects less than 100 kW.  Essentially, the Staff proposed separate administration for large and small systems to correspond to the Staff Proposal for two incentive structures.  For systems 100 kW and larger that receive incentives based on measured performance, the current SGIP administrators would continue their work.  For systems below 100 kW that receive an up front EPBB payment, Staff proposed that PG&E should conduct a competitive bidding process to select and contract with a non-profit administrator.  Significantly, the utilities would, by necessity, remain in fiscal control of the contract.  An advisory panel would consult with PG&E on administrator selection, and PG&E would make the final selection in consultation with the advisory panel.

Staff supported its proposal by reasoning that if the utilities could contract with a non-profit administrator with a demonstrated commitment to promoting solar development and innovation, that non-profit would be committed to the long-term success and sustainability of the CSI program.  Further, a non-profit could ensure marketing and outreach to all ratepayers without perceived or inherent conflicts that might discourage solar installations.  Staff reasoned that expanding non-profit administration to all projects less than 100 kW would achieve economies of scale in administrative costs by consolidating large numbers of homogenous transactions within a single entity.  The Staff Proposal claimed that existing program administrators, with the exception of SDREO, have neither the experience nor the infrastructure to handle large numbers of applications for small solar system incentives.  Despite its proposal for non-profit administration, Staff stated it remained an unresolved issue whether the Internal Revenue Service (IRS) would determine that a program administered by a non-profit under contract to one or more utilities would be able to offer non-taxable residential incentives.  Based on this alleged uncertainty, Staff requested comment on whether administration by a non-utility entity could jeopardize or restrict a residential participant’s ability to take advantage of solar tax credits under IRS rules.

## Parties’ Comments

Numerous commenting parties, including the Joint Solar Parties, the utilities, DRA, Michael Kyes, Solargenix, TURN, and Sun Light, voiced support for the current SGIP administrators continuing in their role for the CSI.  These parties expressed concern there is insufficient time available for a new administrative structure to be in place for the January 2007 CSI starting date without market disruption.  Additionally, these commentors argued in favor of continuing with the current SGIP administrators based on their past performance as administrators and a belief that the utilities are best positioned to meet their customers’ overall energy needs.  PG&E defended its experience and proven infrastructure to handle a high volume of transactions based on its expertise delivering energy efficiency and low-income programs over many years.  PG&E also contended it has demonstrated its commitment to solar power through its many voluntary reallocations of budgets from non-renewable programs to fund solar projects from 2001 through 2005.  According to PG&E, utility administration of CSI programs can provide numerous “one stop shopping” advantages due to the utilities’ continuing role in interconnection, billing, new service connections, energy efficiency audits, and other programs.

Several commentors, notably the utilities and DRA, noted the Commission recently rejected the concept of independent administration for energy efficiency programs in D.05-01-055, in part over concerns with the Commission’s ability to exercise control over an independent administrative entity.  The Commission also determined there were benefits from the utilities’ role in administration given their role in integrated resource planning.  These parties generally allege there is no reason for the Commission to revisit the concept of non-utility administration for CSI when the concept was rejected for energy efficiency programs.

In contrast, a number of parties, namely; ASPv, Clean Power Markets Inc., CFC, Golden Sierra, NorCal Solar Energy Association, and SDREO, argued the CSI would be better served by an independent administrator for small systems based on an alleged lack of utility commitment to promoting solar development and potential conflicts of interest with other utility goals.  SDREO described the benefits of an independent administrator more closely aligned to customer needs and the state’s sustainable energy goals, rather than a profit motive.  It further noted the positive relationships and local alliances a non-profit entity can foster with community stakeholders and other non-profits to maximize education, outreach and program service delivery.  Parties also expressed the view that independent administration would have lower overhead costs than the current administrative structure for SGIP.

Many parties expressed the view that before moving to a non-profit administrative structure, the Commission should first obtain an IRS ruling on whether non-utility administration would jeopardize the ability of a residential applicant to take advantage of federal tax credits.

## Discussion

The key debate is whether to expand the role of the existing administrators into program areas they do not currently handle, or direct the utilities to contract with a non-profit administrator for some portion of the CSI program, and if so, which portion.

### Existing SGIP Administrators Will Administer CSI

The utilities and SDREO already administer solar incentives through the SGIP for all projects above 30 kW and many argue they are well situated to take on CSI administration and provide one-stop shopping for energy efficiency, solar and interconnection purposes.  Staff had proposed keeping the existing SGIP administrators only for commercial projects over 100 kW, while expanding non-profit administration to all projects under 100 kW, both residential and commercial.  If we adopted the Staff Proposal, we would actually reduce the administration role of the utilities and SDREO by handing administration for all projects between 30 kW and 100 kW to a non-profit administrator.

We find it more reasonable to define CSI administration in terms of customer sector, i.e., residential or non-residential, than by project size distinctions.  A size distinction worked in the past when size was the dividing line between CEC and Commission programs.  Now that the Commission will oversee residential solar retrofits of any size, it is more meaningful to discuss administration options based on residential and non-residential distinctions.

With that as a framework, we find it reasonable to allow the existing SGIP administrators to continue in their roles and administer the CSI in 2007 and beyond for the non-residential sector.  This will allow all non-residential projects, regardless of size, to be handled essentially in the manner they are handled today.  Although the Staff had proposed reducing the role of the existing administrators by limiting them to projects above 100 kW, we disagree with this suggestion.  The comments persuade us that if we limited the existing administrators to solar projects above 100 kW, they would be left with very few projects to administer, as the majority of applications are for projects below 100 kW.  The Staff Proposal would transfer responsibility for programs that the utilities and SDREO have experience administering to a new entity.  We see no reason to reduce the role of the existing administrators at this time.  This would place even more pressure on a new administrator to take over the majority of the CSI program in a very short time.  There is no obvious reason to reduce the role of the existing administrators to such a great extent at this time and jeopardize the smooth transition from SGIP to CSI.

We must now determine whether to pursue non-profit administration for the residential retrofit portion of the CSI.  For now, we will shift the residential retrofit solar programs from the CEC’s single statewide administration to the existing SGIP administrators as well, i.e., PG&E, SCE, SoCalGas, and SDREO.  Although we strongly endorsed the concept of non-profit administration for residential retrofit CSI programs in D.06-01-024, and we still support the concept, we find there simply is not enough time between now and January 2007 to ensure this move is done well and without disrupting the residential solar market.  We are more concerned with ensuring a smooth and timely transition from CEC administration to experienced administrators and preventing any gaps in the provision of solar incentives to the residential retrofit market.  Essentially, we agree with the concerns expressed by many parties that there may not be one or more candidates for non-profit administration that could be competitively selected and fully operational on a statewide basis by January 2007.

We reiterate that we still endorse the concept of non-profit administration for the residential retrofit portion of CSI.  Although we make the choice to shift these programs from the CEC to the existing SGIP administrators for now, we make this choice for expediency and to ensure program continuity over the next few months.  In the longer term, there are still very good reasons to consider non-profit administration for this portion of CSI.  The residential retrofit programs have been handled by one entity, the CEC, on a statewide basis until now.  A future hand-off to one statewide entity may still prove the best long-term option.  The rationale articulated by the parties resonate with us, particularly that a non-profit administrator might achieve economies of scale by consolidating residential retrofit programs statewide, exhibit lower overhead costs, and be driven by a mission to promote solar development.  We agree with SDREO that a single non-profit entity with strong community alliances might be best positioned to maximize education, outreach and program delivery.

We will explore in Phase II of this rulemaking whether to direct the administrators to contract with a single statewide entity for marketing and outreach of CSI programs.  If we find that a reasonable option, and we direct the administrators to contract with one entity for statewide marketing and outreach, we might also consider directing the administrators to expand that statewide contract at some future date to include the actual administration of residential retrofit programs altogether.  We also may look in the future at alternate administrative approaches for a single region or utility service area if it appears that one region lags others in solar penetration, ease of interconnection, or administrative performance and cost.  In the near term, we discuss at the end of this section the development of one statewide on-line application system.  This concept of a single portal for solar incentive applications from residential customers could allow a smooth transition, at a later date, to a single statewide administrator for residential programs.

### IRS Tax Concerns

Turning to the issue of whether program administration affects the tax status of incentive payments, we find that IRS taxation issues do not impact our decision between existing administration or transfer of administrative duties to a non-profit entity.  Almost all parties commenting on CSI administration questioned whether residential solar incentives, or subsidies, would be taxable if administered by a non-utility administrator and whether it is desirable to obtain a ruling on this issue from the IRS.  Under Section 136 of the Internal Revenue Code, a taxpayer does not receive taxable income when he receives a “subsidy provided (directly or indirectly) by a public utility for the purchase or installation of any energy conservation measure.”  No question has been raised as to whether the subsidies here would be “for the purchase or installation of an . . . energy conservation measure.”  Rather, some have questioned whether the subsidies would be “provided (directly or indirectly) by a public utility” if the Commission requires the utility to enter into a contract with a third-party administrator to administer the subsidy program.  However, the clear language of Section 136 includes a subsidy provided by a public utility, even if the utility contracts with a third-party administrator to administer the subsidy program, where the money comes from utility rates and is issued in the form of a check payable from one of the utility’s checking accounts.  Indeed, the legislative history of this language shows that the purpose of Section 136 is to “provide tax-free treatment for the receipt of subsidies relating to energy conservation measures in order to encourage customers of public utilities to participate in energy conservation programs sponsored by the utilities (emphasis added).”  (H.R. Rep. No. 102-474(VI) 2nd, Sess., p. 2247 (1992).)  The subsidies to be provided here will be “sponsored by the utilities” whether or not the utilities use a third-party administrator to handle the administration of the subsidies.

Parties have expressed concern whether an IRS Private Letter Ruling (8530004 (April 30, 1985)) calls this conclusion into question.  We believe that that Private Letter Ruling does not.  In the first place that private letter ruling deals with a different section of the Internal Revenue Code and different language.  The language being interpreted there was “financing provided under a Federal, State, or local program . . .” as opposed to the language at issue here which is “subsidy provided by a public utility” (emphasis added).  Furthermore, the portion of the private letter ruling that has caused these concerns is dicta, is not supported by citation to any authority, and seems directly contradictory to a prior Revenue Ruling (Revenue Ruling 83-145).  Moreover, a Private Letter Ruling cannot be cited as precedent, whereas a Revenue Ruling can be cited as precedent.  Accordingly, we see no reason for the Commission to seek a ruling from the IRS on this issue.

### Statewide Online Application Process

In its January CSI decision, the Commission stated the intent to “encourage web-based administrative options to facilitate quick and transparent transactions for applications and other activities” noting that “a single interactive database would allow applicants, evaluators and administrators to readily access statewide project information.”  (D.06-01-024, p. 35.)

Several parties expressed support for this idea, and recommended creation of an Internet accessible, online application tool and uniform statewide database to streamline the CSI application process as well as administration and data collection activities.  As SDREO noted in its comments, CSI applicants could use this online tool to download and submit program documents (such as the program handbook and incentive application forms), while administrators could use the database for project management, monthly reporting, data collection, and possibly program tracking of system performance.  Similarly, ASPv emphasized the immediate need for such an online application tool and data accumulation system.

We remain convinced that a statewide online application system will enhance the ability of customers to take advantage of our solar programs.  In addition, a single database of project information would provide a valuable tool for ongoing program assessment.  Therefore, we direct the administrators to coordinate hiring an entity to create a statewide application process and program database as soon as possible.  The program administrators should designate one administrator to handle the competitive bidding process and contract with the entity selected to create the online application and database.  We understand that even if this effort is begun immediately, the end-result of a uniform statewide on-line application system may not be ready for implementation on January 1, 2007.  Nevertheless, we hope the program administrators can make every effort to get this statewide application system operational as soon as possible after the first of the year.  The program administrators should report back with their progress on this statewide application project through a letter to the Director of the Energy Division, copied to the service list for this proceeding, no later than December 31, 2006.

Once the program database is established as described above, the data it contains should initially be accessible only to the program administrators and CEC and Commission staff.  We will direct the CSI Program Forum, which we discuss below, to address broad access to non-confidential information in the database and consumer-oriented summary statistics, so the general public can monitor program details.

### Program Handbook

The program administrators, solar industry, and participating customers need a handbook to facilitate program implementation.  In D.06-01-024, the Commission stated its intent to use the existing SGIP manual as the foundation for the CSI Program Handbook.  (D.06-01-024, p. 35.)  It may also prove useful to build on the existing handbook from the CEC’s ERP program.

This decision confirms the process laid out in the Scoping Memo for this proceeding that the work related to the CSI Program Handbook should begin immediately following adoption of today’s order.  We direct Energy Division to convene a workshop within 15 days of the effective date of this order to discuss handbook revisions and create subgroups to work on various sections of the handbook.  The workshop efforts should produce one draft CSI Handbook that Energy Division will forward to the ALJ no later than 60 days following the workshop.  The ALJ will issue a ruling, attaching the proposed CSI Handbook, and requesting comments from all interested parties.  Depending on the proposed Handbook and the comments, the Commission shall either issue a decision or the assigned ALJ shall consult with the Assigned Commissioner to review and approve the final CSI Handbook through a ruling.  The table below indicates the anticipated timeline for handbook development.  The Assigned Commissioner or ALJ may modify these dates or events by ruling.

Table 7:  Program Handbook Schedule

| Workshop and initiation of subsequent working group activities to propose Handbook revisions | 15 days after Phase I decision adopted by Commission |
| --- | --- |
| Energy Division forwards draft CSI Handbook to ALJ and ALJ issues ruling with proposed revisions for comment | 45-60 days after workshop |
| Written Comments on Proposed Revisions | 15 days after ruling |
| Reply Comments | 10 days after comments |
| Ruling or Draft Decision Adopting Handbook | No later than 60 days after reply comments (possibly sooner if approved by ruling) |

### CSI Program Forum

In establishing the CSI in January 2006, the Commission stated that Staff should convene “regular and public meetings of the utilities, program administrator(s) and any parties interested in articulating and solving administrative or implementation problems and identifying program opportunities.”  (D.06-01-024, p. 35.)  In comments on the Staff Proposal, the Joint Solar Parties and ASPv reiterated support for creation of an industry group, with broader participation than the current SGIP Working Group, to tackle ongoing CSI program implementation issues.

Consistent with our statements in D.06-01-042, we will create a CSI Program Forum, which will provide a public venue for interested parties to identify and discuss ongoing issues related to CSI administration and implementation.  The purpose of forum meetings is to provide the opportunity for CSI stakeholders to fashion consensus-based revisions to the CSI Program Handbook.  If the group achieves consensus, it may designate one of its members to file a proposed Handbook revision by Advice Letter with the Energy Division, which should be served on the service list of this or any successor rulemaking.  If the group achieves consensus for more substantive program modifications that go beyond the level of the Program Handbook, it may designate a member to file a petition to modify a Commission order relating to CSI.

We expect participants in the Forum to include utilities, solar manufacturers, solar installers and other interested parties.  The program administrators should convene the first public meeting of the CSI Program Forum in the first quarter of 2007, after the CSI Program Handbook has been developed through the process described in the section above and the incentives and other program features discussed in this order have taken effect.  Energy Division staff should facilitate this initial meeting.  The program administrators will then arrange future public meetings of the CSI Program Forum, provide notice of all meetings to the service list for this proceeding, and work with Energy Division staff to provide meeting notices on the Commission’s Daily Calendar.  The program administrators shall also maintain meeting minutes and post them on the CSI portion of the Commission’s website, with the assistance of Energy Division.  We expect Energy Division staff to make reasonable efforts to attend or monitor all meetings of the CSI Program Forum.

# Metering Requirements

There are two critical CSI implementation issues concerning meters:  (1) whether to require separate metering of solar output, and (2) to what extent, to whom, and through what communications medium to relay solar system performance data from these meters.  Subsidiary questions relate to the associated costs and benefits of the meters and ongoing communication functions, how the metering and communications mechanisms might be integrated into the proposed advanced metering infrastructure (AMI) plans of the utilities, and TOU tariff requirements.

An explanation of the current circumstances may help put this in context. First, with regard to total solar system output, both the Commission’s SGIP program and the CEC’s ERP program currently require a second customer-owned meter, separate from the main utility meter, to measure the gross solar output performance of the solar system.  This meter is referred to as the net generation output meter.  However, there is no requirement to connect any kind of communications device to this solar meter in order to deliver real-time or periodic reports about system performance to the owner, the manufacturer, or the utility.  Some owners pay at their own expense for a reporting function. Smaller systems may have this meter installed as an integral part of inverter equipment, with accuracies in the range of plus or minus 5%.

Second, solar customers that elect to go on a net energy metering (NEM) credit system face specific metering requirements.  An NEM customer is only required to have a standard “cumulative” NEM meter that spins forward and backward, registering just the net purchase of electricity from the grid. Customers who elect to take service on a TOU tariff typically install a two-channel time-interval meter that separately records the net inflow and outflow of electricity for each applicable time interval.  Neither of these utility-owned meters collects information on the gross generation of the solar system, nor do the meters have a communication path to the customer-owned NGOM meter that measures gross solar system output.

The Commission has previously expressed the need for good metering to manage and monitor solar installations and the program generally.  (D.06-01-024, p. 31.)  Accurate solar metering helps ensure that ratepayer incentives result in expected levels of solar generation.  In D.06-01-024, the Commission identified the need for greater specificity of metering solar performance, and urged exploration of approaches rewarding on-peak solar production, including the kinds and costs of meters used in relation to quantifying solar production, utility bill savings, and NEM credits.

In its April 2006 Staff Proposal, the Staff recommended measures to address both meter accuracy and system performance feedback.  First, Staff proposed that all CSI incentive recipients must have a dedicated revenue-grade meter (i.e., plus or minus 2% accuracy) to measure solar system output.  Staff reasoned that a dedicated revenue grade meter ensures accuracy in monitoring system output for PBI payments and can support communication of accurate system performance data to all solar owners.  Staff also envisions administrative cost savings when a PBI system’s performance data can be sent remotely to the program administrator for payment processing.

Second, Staff proposed that all systems larger than 30 kW, even those not receiving PBI, have not only a dedicated solar meter measuring gross output, but also the ability to communicate this information remotely over the Internet (for a web-based reporting system) or by a utility reading and reporting system.  According to Staff’s proposal, solar performance data can better inform system owners about their system performance than the customer’s net-metered utility bill.  A specific solar report also serves as a reminder to the customer to check on system maintenance.  Further, if tens of thousands of small solar systems require remote meter communications, Staff envisions the solar market will develop affordable metering and communication devices incorporated into system designs.

Staff made no specific proposal concerning the entity that would process this performance information and report it to customers and program administrators, and suggested a working group examine the possibility of a third-party operating the performance data retrieval and reporting system.  Along with this proposal, Staff invited comments on the feasibility of including solar performance data on utility bills by January 2007.

## Metering Quality and Accuracy

There is little disagreement that revenue grade meters are required to ensure accuracy of PBI payments.  Parties were split on whether the Commission should require revenue grade meters for all other CSI participants.  FST, SCE, and Clean Power Markets support revenue grade meters (+-2% accuracy) for all CSI participants.  FST contends California may need revenue grade meters for all sizes of systems to meet the measurement and accuracy rules required by Renewable Portfolio Standard participation, if Phase II of this proceeding requires solar output measurements for DG solar renewable energy credits.  CARE advocates that all systems should have a TOU net generation output meter, which we presume would be revenue grade.  Similarly, CFC supports “real time meters” (presumably revenue grade) if the utility will be paying for the meters, but otherwise believes the meter choice must be “cost-effective” relative to performing production measurement.  Parties that support revenue grade meters for all CSI participants based their support on increased data accuracy on performance to help drive technological advancement, increased owner knowledge of system performance to foster adequate maintenance, and a meter industry ready to provide these meters at a cost-effective level.

On the other hand, the Joint Solar Parties, ASPv, SDG&E/SoCalGas, PG&E, and CCSF believe revenue grade meters should be applicable to PBI participants only, while a lesser meter with plus or minus 5% accuracy should suffice for systems receiving EPBB incentives.  While the cost for external revenue grade meters may be only slightly higher than standard accuracy meters, parties supporting an exemption from revenue grade meters for small systems argue revenue grade quality is simply unnecessary for smaller systems receiving the up-front EPBB incentive, since these do not require the same measurement function as larger systems receiving PBI incentives paid on measured performance.  PG&E is not opposed to a revenue grade requirement for smaller systems, but would exempt residential systems unless generation data is used to calculate the EPBB incentive.  SDG&E commented that it already meters all solar systems larger than 30 kW.

SDG&E offered detail on a range of revenue grade meters and their costs as indicated in the table below.

Table 8:  SDG&E Data on Meter Costs

| PV System Size | System Installed Cost | Meter Cost as a Percentage of System Installed Cost |
| --- | --- | --- |
| 2.5 kW | $15,000 | $25 meter = 0.2% $175 meter = 1.2% $750 meter = 5% |
| 10 kW | $60,000 | $25 meter < 0.1% $175 meter = 0.3% $750 meter = 1.3% |
| 30 kW | $180,000 | $25 meter < 0.1% $175 meter < 0.1% $750 meter = 0.4% |
| 100 kW | $600,000 | $25 meter < 0.1% $175 meter < 0.1% $750 meter = 0.1% |

A few parties made the distinction between the cost of external meters and less expensive meters integrated with the solar system inverter.  Others state that internal meters are not accurate enough to rely upon for program needs.  PG&E states that internal meters may be sufficient for small residential customers, but large systems participating in PBI should have a separate revenue grade meter.  Joint Solar parties state that internal meters should be satisfactory if they are revenue grade.  SCE and SDG&E/SoCalGas state that they are not aware of an internal meter that is revenue grade.

We find SDG&E/SoCalGas’ comments particularly helpful as they explain different types and costs of revenue grade meters.  Staff proposed an unspecified “revenue grade” meter to confirm solar production levels for all sizes of solar installations.  SDG&E/SoCalGas reveal that revenue grade metering of solar system production is achievable at a variety of prices.  Essentially, the meter price depends on the degree of time interval detail and the method for communicating meter information.

In its January CSI decision, the Commission expressed the desire for system performance metering that permits the customer to identify potential system problems requiring adjustments or repairs.  We will require revenue grade meters for all systems paid incentives through CSI, either through the PBI or EPBB mechanism.  We continue to believe that it is in the ratepayers’ interest to have accountability for solar generation output under the EPBB incentive structure even though the incentive mechanism itself does not require metered output.  Accurate measurement of performance for all system sizes is of paramount importance to ensure optimum value for both solar owners and ratepayers, and has the potential to better inform the solar industry and utilities about technology performance.  Moreover, such accuracy preserves options when we later turn our attention to the treatment of renewable energy credits in Phase II of this proceeding.  Using the cost data for revenue grade meters provided by SDG&E/SoCalGas, we find that requiring some level of revenue grade meter would not add a significant cost burden to CSI participants.  Thus, we find it reasonable for all PV owners participating in the CSI program to install revenue grade meters at their own cost, regardless of the type of incentive payment received.  While mutual benefits exist, we believe it is fundamentally in the interest of solar owners to include meters and communication technologies in their solar system designs.  Thus, the metering and communication hardware and software shall be installed at customer expense as a condition for receiving the CSI incentives.

In summary, we set minimum requirements for revenue grade meters as follows:

Table 9:  Metering Requirements

| Size of System | Minimum Revenue Grade Meter Required |
| --- | --- |
| < 10 kW | Basic electro-mechanical meter |
| 10-29 kW | IDR meter |
| 30+ kW | IDR meter |

To the extent that internal meters are certified as “revenue grade” based on national metering standards, these are equally acceptable to stand-alone external meters for systems smaller than 10 kW.

There are myriad technical and procedural details yet to be resolved related to the guidance provided by this decision on meters.  These include specifications, issues of standards and certification, communication protocols and platforms, eligible recipients of information, and appropriate parties to execute these arrangements.  We make general policy conclusions here, but need utility and industry metering experts to work out the technical details and to advise us further before we make decisions on further technical and procedural issues.  In Section V.C below, we discuss the process for this further work, and we encourage the appropriate parties and technical personnel in the solar, utility, and metering industries to create a metering and data committee as part of the CSI Handbook process and on-going CSI Program Forum to address these issues.

## Communicating Solar Performance

Having required revenue-grade performance meters, next we address what happens with the data collected.  Specifically, we must resolve:  (1) whether to move ahead now with reporting system performance information or wait and coordinate this effort with AMI rollout, (2) who will performing the monitoring and reporting function, i.e., what entity will receive the information and consolidate it into a report, and (3) which entities will receive the report once it is produced.

Although the Staff Proposal recommended revenue-grade meters and communication functionality, it made no specific proposals on these three issues.  Parties provided comments on the issues, and we take each issue up separately below.

### Ensuring Solar Performance is Monitored in 2007

First, we address whether to require performance reporting and communication functionality now, ahead of AMI roll-outs by the utilities.

A number of parties, namely ASPv, CCSF, SDG&E/SoCalGas, PG&E, and FST, generally support the goal of using remote communication to carry out solar system performance feedback.  Most of the utilities recommend the Commission not make a decision on requiring solar system performance monitoring until such time as AMI is decided. PG&E and SCE argue there is a potential for stranded costs if CSI meters are not compatible with AMI meters. PG&E comments that it expects a five-year roll out once it receives Commission approval for its proposed AMI plan.  It comments that remote communication capabilities “would be helpful in providing general information on system operations for smaller installations,” and that the specific meter and monitoring arrangement would need to be cost-effective.  SCE believes all metering and communication technology should be AMI-compatible, and the utility should determine the “best fit” choice of meters and their placement.  SCE states this requirement was not urgent and should be optional until AMI plans are resolved.  SCE notes it would start its AMI rollout in 2009.  SDG&E observes there needs to be flexibility of approach to fit with individual utility circumstances.  SDG&E recommended the Commission go no farther than requiring an IDR meter at this time, reserving action on requiring a remote communication meter package until AMI is decided.

A few parties indicate that remote communication requirements should be applied to larger systems.  ASPv and PG&E suggest remote communication for PBI only, while SDG&E, CCSF, and FST recommend this for all systems above 30 kW.

Offering a different view, FST supports immediate use of remote communication, indicating such methods are cost-effective now for systems 30 kW and above and amount to under 1% of system costs.  FST believes this could be extended to systems greater than 10 kW in 2008, and to all size systems in 2009.  To guide the pace of expanding remote communication and performance reporting, FST suggested the Commission require immediate remote communication capability where the combined cost of a package of hardware, software and the first five years of monitoring service does not exceed 1% of the total system installed cost up to 100 kW, 0.75% for 100 – 500 kW, and 0.25% for systems over 500 kW.  For example, this would be up to $200 for a $20,000 solar system, and $1,250 for a $250,000 system.  FST suggests individual customers can always upgrade to higher functionality.  FST also believes a general requirement of communicating meters can reduce M&E and administrative costs.

The earlier sections of this decision have discussed in great detail the redesign of CSI incentives to incorporate a performance dimension and reward solar system output.  We consider a performance feedback loop critical to achieving our goal of high performance solar technology.  Therefore, we will not delay action pending the completion of the AMI proceedings.  We will require that all solar systems receiving a CSI incentive, either PBI or EPBB, have some form of communication reporting capability.  Options include remote communications via telephone, cable, modem or wireless transmission, or utilizing a utility’s existing meter reading system.  As discussed more fully in Section V.C below, the parties participating in the CSI Handbook Process can refine and recommend the exact details of this minimum communication function, within cost limits.

While the Commission would like data for all solar systems to be accessible remotely to both support solar technology improvement and to support monitoring and evaluation data requirements, we are concerned that requiring this capability without limits could become a cost barrier.  While parties generally did not comment on who should pay for the reporting hardware and software, existing rules for SGIP and NEM make it clear that the customer typically pays for any expenses beyond providing the minimum utility revenue meter.  A dedicated solar system meter goes beyond this minimum.

To ensure reasonable balance between customer cost and value received, the metering subgroup developing the draft CSI Program Handbook should develop minimum standards and functional requirements within an overall cost constraint for inclusion in the Handbook.  We will rely on the comments of FST to specify that the total cost of the minimum metering, communication, and reporting system over the first five years for each solar installation size grouping shall be less than 1% of total installed solar project cost for systems up to 30 kW, and less than 0.5% for larger systems.  If the communications requirements should fall outside the cost cap, we urge the metering subgroup to find some effective solution for performance feedback to solar owners.

With respect to issues of coordination between CSI metering requirements and AMI, it is vital that performance monitoring be available commencing in 2007.  While we appreciate the potential value of integrating such a performance reporting system with AMI in the future, we do not want the prospect of future AMI decisions and not yet developed technical parameters to hold back solar performance monitoring.  The metering committee working to develop the initial draft CSI Program Handbook should address the tasks necessary to establish a minimum performance monitoring capability in advance of AMI.  Systems of 100 kW and larger shall have reporting capabilities as part of the incentive payment mechanism.  Systems between 30 kW and 100 kW that receive EPBB incentives shall have reporting capabilities as soon as the protocols are established by the metering subgroup.  Proposed protocols should be included in the initial draft CSI Program Handbook, which will be developed according to the schedule in Section IV.B.4.  Wherever possible, standard data communication protocols and other specifications should be selected to preserve greater likelihood of AMI integration in years ahead.

### Independent Performance Monitoring

Turning to the issue of what entity carries out the performance data collection and reporting function, Staff noted that in addition to the solar owner or installer, a utility or other third party could perform the role of system monitor.

In response to Staff’s proposal, FST explains these services can be provided by independent third parties who may be preferred to avoid potential bias from solar owner or solar manufacturer/installer performance reporting systems.  FST contends that if the Commission later decides that renewable energy credits will be available for solar system owners, the renewable energy credit rules require independent third-party verification of renewable production using revenue-quality meters.

SDG&E maintains the utility must have access to the solar system meter, although it adds that its Rule 25 is a good starting point for defining a possible role of third-party meter providers and services.  FST agrees with this in their reply comments.  PG&E states that even prior to AMI resolution, it could produce performance reports through its Alternate Billing System.

We find the entity responsible for administering the performance reporting system(s), should be an independent party – either the existing program administrators or one or more third-parties not affiliated with solar system manufacturers or installers.  We will require parties to include a proposal for independent performance monitoring as part of the initial draft CSI Program Handbook, as discussed in Section IV.B.4.  We agree with SDG&E and FST that Rule 25 regarding metering for direct access may serve as useful guidance for this effort.

### Access to Solar Performance Information

Staff made no specific proposal on who should get access to the metered information beyond customers and program administrators.

Two parties address this issue. ASPv advocates a “data accumulation service” should be available for customer use in January 2007, and that data should be made available to solar market participants as soon as possible.  FST argues that in the case of residential solar systems, performance data is far more useful when provided to solar industry stakeholders, i.e., installers and panel manufacturers, who have a business interest to ensure their systems are performing.

We will require that performance information be communicated to customers and program administrators as soon as feasible, and we direct Energy Division to ensure this issue is addressed in the initial draft CSI Program Handbook.  In addition, we agree with FST that the information could prove useful to the solar industry in their design of components and integrated systems.  We also see value to providing the information to the general public for general consumer research on prospective solar investments.  The CSI Program Forum should consider the concept of broader release of program information, and accompanying privacy or data confidentiality concerns, and make a proposal through the process described in Section V.C below.

## Further Work in CSI Handbook Process and CSI Program Forum

There was uniform support among the utility parties and FST for initiating a CSI meter and communication technology work group.  These parties recommended the group could be comprised of solar and metering industry representatives, utilities, and Commission staff.  The group would be tasked with establishing metering and data communications standards and coordinating details with unfolding AMI efforts.

In the sections above, we have directed various metering issues to be addressed either through the CSI Program Handbook development process described in Section IV.B.4, or through the CSI Program Forum that will convene in 2007.  If the parties find it beneficial, they are free to organize a metering and data communication committee of either group so that the appropriate technical representatives of utilities, solar installers and manufacturers, metering and remote data communication providers, and customers can address these issues.  In summary, we direct the parties to address the following metering issues in the CSI Program Handbook process:

1.  Propose agreed upon meter standards and data transfer protocols, within 1% of total installed cost for systems up to 30 kW, and less than 0.5% of total installed costs for larger systems, for the requisite hardware, software, and performance reporting services, with the goal of standardization and widespread utilization in California.

2.  Propose the kind of solar performance data to be included on the owner’s solar system report or energy bill and the options for providing this information.

We direct the following issues to be considered by the CSI Program Forum:

1.  Whether and how solar system manufacturers and integrators/installers should have access to performance data about their components and systems.  There should be consideration of how to use data as potential for general consumer research for those considering buying a solar system, and how solar industry might use the data to improve performance of component products and/or integrated solar system designs.

2.  AMI coordination issues once each utility’s AMI plans, schedules, and any associated fee-for-service offerings become clear.

## TOU Tariffs

A related dimension to solar system performance meters is whether we should require all CSI participants to be served on TOU tariffs to the extent participants’ default meters and tariffs do not already have time differentiation.

Both CFC and CARE commented that the Commission should consider having all solar customers use either real-time or TOU meters, respectively. PG&E commented that “currently about half of PG&E’s net metered customers take service on a TOU rate.”  (Reply comments, page 14.)  No other parties commented on this topic.

The Commission has a long history of supporting TOU tariffs for customers, where they are cost-effective.  Moreover, we understand that a large portion of solar capacity is already served by time-differentiated meters and tariffs, either because large customers required to be on TOU tariffs, or smaller customers, have opted for a TOU tariff to capture the financial advantages in bill savings and NEM credits from solar’s day-time availability.  Thus, most solar customers not already required to be on a TOU tariff voluntarily choose a TOU tariff to capture these benefits.

In the case of smaller solar systems for smaller customers not choosing a TOU tariff, the EPBB incentive structure, which pays based on a system’s design relative to optimal south-to-west orientation for on-peak production, fulfills the goal of providing incentives for on-peak solar production.  This is achieved without imposing the additional customer costs of IDR utility revenue meters and their associated monthly meter reading costs.

To properly consider the possibility of requiring small solar customers to use a time-differentiated tariff, we need to look at the overall economics of such an action for the solar owner and ratepayers, including how this interacts with the value of bill savings, net energy metering, and avoided energy supply costs.  We may also need to coordinate such a decision with other proceedings involving AMI and demand response tariffs.  We intend to address this tariff question together with the cost-effectiveness issue scheduled for Phase II of this proceeding, as outlined in the Scoping Memo.

# Incentive Adjustment Mechanism

In the January CSI decision, the Commission established a mechanism for solar incentives to automatically decline each year by 10% over the 10 years of the CSI.  (D.06-01-024, Appendix A, p. 15.)  The Commission’s objective in establishing a declining rebate schedule was to reduce incentives over time as technologies become more efficient and less costly, with the hope that incentive reductions would drive the market price of solar energy down to the level where ratepayer subsidies are no longer required.  The adjustment mechanism adopted in D.06-01-024 reduces the statewide incentive level at the start of each calendar year or when specified MW levels, or “triggers,” of solar installations are achieved, whichever occurs first.  In the same order, the Commission noted that automatic annual reductions might not adequately recognize market conditions.  The Commission delegated authority to the assigned ALJ to reduce incentives further, following  justification for incentive changes from CEC and Commission staff and an opportunity for parties to comment.  (D.06-01-024, pp. 24-25.)

In this order, the Commission makes adjustments to the 2007 starting point incentive level adopted in D.06-01-024 to incorporate a performance-based dimension and account for federal tax incentives.  Thus, it is reasonable at the same time to reconsider how these new 2007 incentive levels should adjust over time.  Moreover, in the first few months of 2006, the program administrators received a higher than anticipated level of solar incentive applications and the first MW “trigger” level appeared to be quickly reached.  When the ALJ issued a ruling notifying parties of the trigger reduction in incentive levels, parties raised concerns with myriad implementation details surrounding the trigger reduction, particularly regarding how the Commission should determine whether the MW trigger had actually been reached.

Based on this implementation difficulty with the trigger mechanism, the Staff proposed a simple 10% annual reduction in incentive levels rather than a combination of reductions based on either calendar years or MW levels as adopted in D.06-01-024.  Staff proposed a flexible approach whereby the Commission could adjust incentives to reflect breakthroughs in solar technology or could retain them at the same level for a second year if market factors do not produce a lower cost per kWh.

In response to the Staff Proposal, few parties supported the idea of a 10% annual incentive reduction.  Instead, several parties, namely ASPv, Golden Sierra, the Joint Solar Parties, SDREO, and TURN, supported incentive adjustments based solely on the volume of solar installations, measured in MWs, rather than a calendar-based schedule.  The Joint Solar Parties claim that a volume-based trigger is transparent, administratively simple, and allows for consistent development of the market by avoiding program stops and starts.  TURN contends a volume-based approach allows external market factors such as retail energy costs, installed costs per watt, and changes in the global solar marketplace to influence incentives through market demand without the burdensome task of monitoring market conditions.  In contrast, SCE and SDG&E/SoCalGas support a reduction mechanism combining calendar years and MW levels, as the Commission had adopted earlier.  SCE contends a trigger based on both time and MW levels preserves the CSI budget and gives the solar industry an incentive to lower costs on a yearly basis.

A key reason the Commission adopted an adjustment mechanism for CSI incentive levels was to manage CSI funds over the 10-year program period while achieving the goal of 2,600 MW for the Commission’s portion of the CSI.  Although the trigger mechanism we adopted in D.06-01-024 has been in operation less than one full year, the parties have provided meaningful insight into the impacts of the trigger on the solar market going forward.  Given these comments and our own experience with implementing the first incentive reduction using the trigger mechanism, we find it necessary to fine tune the incentive adjustment mechanism at this time.

There are three issues surrounding the incentive adjustment mechanism which we need to resolve:  (1) whether to base reductions solely on the volume of solar MWs installed or on a combination of calendar years and MW targets; (2) whether the incentive levels should adjust uniformly statewide or vary by utility territory; and (3) whether we should provide for further review and stakeholder involvement in the incentive adjustment process.  We address these issues below.

## Incentive Adjustment Mechanism Based Solely on Volume of MWs

First, we agree with the numerous parties who urged that any adjustment mechanism should be simple, transparent, and predictable to avoid uncertainty and confusion over incentive levels in the solar market.  Ideally, adjustments to the incentive levels should correspond to the economics of the solar marketplace, without requiring a complicated economic formula or a resource intensive review process.

We will modify the incentive adjustment mechanism adopted in D.06-01-024 to base adjustments purely on the volume of MWs of solar installations rather than the combination of calendar year and target MW levels.  As demand for solar rebates reaches the MW levels specified in D.06-01-024, measured in conditional reservations for incentive funds, the CSI incentive level will automatically drop to the next lower level.  Essentially we create a “waterfall” style trigger, where as each MW level of solar applications is attained, the incentive automatically defaults to the next lower incentive level, in a natural rhythm.

We make this change to a volume-based MW trigger mechanism because we agree with comments from the solar industry, SDREO, and TURN that we should avoid premature incentive reductions through arbitrary calendar-based adjustments.  As TURN points out, an approach based solely on achieved MW levels is administratively simple and transparent and captures market factors without burdensome market monitoring.  We agree with Sun Light that the Commission should let market forces determine the cost of solar and not incentive levels.  We also agree with SDREO that eliminating the time dimension removes the “rush” to submit applications during the final days before a scheduled reduction.  A volume-based adjustment mechanism allows the level of demand for solar facilities to drive reductions in Commission incentives.

Another reason for our modification is that we want to avoid the risk of reducing incentives before the economics of the solar industry have caught up to our incentive levels.  It is unreasonable to assume that incentive levels in California can by themselves impact the market price for solar.  We agree with several parties who have pointed out that solar labor and material costs are independent of Commission incentive levels and set to a significant degree by a worldwide market.  If we reduce incentives each calendar year before target MW levels are achieved, we run the risk of the solar market stalling in California while solar panels and installers move to other more lucrative markets.  It is more reasonable to link our incentive reductions to achieved levels of demand.

We prefer this approach even though the funds budgeted for CSI, as set forth in D.06-01-024, might be spent faster or slower than we originally envisioned.  A trigger based solely on volumes of participation means the program will not stop each calendar year if an annual budget is exhausted, only to wait for the next year’s budget allocation before starting up again.  Instead, the incentive drops whenever MW levels of participation are reached, allowing the program to continue unabated by calendar years.  Essentially, the market demand for solar power controls the pace at which incentives drop and the pace at which funds are spent.  It is an unnecessary and artificial market manipulation to allow only a certain amount of dollars to be spent each year.  If demand exceeds that estimated level, a waiting list develops and the market stalls, increasing the risk that solar materials and suppliers will turn to markets outside California.  We find it preferable to let the solar market control the pace at which budgeted dollars are spent, rather than attempt to exert artificial control over the pace of solar market development.  The overall program budget is protected by a cap on the CSI budget for each utility.  (D.06-01-024, p. 6, Table 1.)

Thus, while we maintain a cap on the total CSI budget for each utility, there is no mandate on the timing of the expenditures on a yearly basis.  One utility could move through its MW triggers quickly if demand in its service territory is high.  In that case, the incentive might drop several times in one year and the utility could move through funds rapidly.  It would essentially borrow from future years’ budget dollars, and could spend its budget in less than 10 years, ending its program early.  If this occurred, the utility would have successfully installed the MWs it was targeted to achieve.  If we achieve 2,600 MW of solar installations before 2016, we can happily close the program early as a success.  If market demand does not materialize fully, then the associated funding would be unspent.

## Incentive Levels May Vary by Utility Territory

On the issue of statewide uniformity in CSI incentive levels, a few parties suggested the Commission’s previous decision to keep incentive levels uniform statewide should be reconsidered.  TURN claims triggers by service territory will allow each distinct market to respond to incentive levels appropriately and independently.  PG&E and the Joint Solar Parties agree the Commission should allow incentives to vary on a utility by utility basis.  SCE and SDREO oppose the concept of different incentive levels in each utility territory.  SCE reasons that since CSI is a statewide program, incentives should be available to all customers under the same set of rules.

With great reluctance, we are persuaded to modify our concept of one incentive level statewide in favor of allowing each utility territory to reduce its incentive level when conditional reservations for solar incentives in that territory reach pro rata shares of the MW targets.  While it would certainly be administratively simpler to have only one statewide incentive level that adjusts everywhere at the same time, this ignores the unique characteristics of the solar market in the different geographic regions of the state.  If installations in Southern California are booming and cause the first MW target to be reached, but installations in Northern California are moving more slowly, an incentive level reduction statewide to respond to demand conditions in the south could negatively impact the economics of the solar market in the north.  Essentially, we must now trade the goal of program simplicity for a more complex program design that has a better chance of accomplishing the Commission’s long-term solar goals.

Those most burdened by this approach will be solar companies operating in multiple regions, yet these same companies advocate this non-uniform approach as do PG&E and TURN.  In the Commission’s experience with SGIP incentives, PG&E often has a higher demand for incentives in its territory and uses up its budget allocation more quickly, forcing it to close its program until the next calendar year when additional funding sources are available.  If PG&E were able to reduce its incentive ahead of other territories, it could manage its funds more efficiently and avoid starts and stops in its program activities.

Therefore, we will allocate our total MW goals across each utility, using the percentage contribution that each utility makes to the total CSI budget.  Incentives for each utility’s service area will adjust as these MW triggers are met. The table below indicates the total MW allocations for each utility, for Steps 2 through 10 of our trigger mechanism.

Table 10

MW Allocations by Utility

| Incentive Step | MWs in Step | PG&E | SCE | SDG&E | SoCalGas |
| --- | --- | --- | --- | --- | --- |
| 1 | 50 | n/a | n/a | n/a | n/a |
| 2 | 70 | 31 | 24 | 9 | 6 |
| 3 | 100 | 44 | 34 | 13 | 9 |
| 4 | 130 | 57 | 44 | 17 | 12 |
| 5 | 170 | 75 | 58 | 22 | 15 |
| 6 | 230 | 101 | 78 | 30 | 21 |
| 7 | 300 | 132 | 102 | 39 | 27 |
| 8 | 400 | 176 | 136 | 52 | 36 |
| 9 | 500 | 220 | 170 | 65 | 45 |
| 10 | 650 | 286 | 221 | 85 | 59 |
| Total | 2600 | 1122 | 867 | 332 | 230 |
|  | Percent | 44% | 34% | 13% | 9% |

## Additional Incentive Adjustments

Comments from solar industry participants generally request greater participation in the incentive adjustment process.  ASPv suggests the Commission establish a “PV Market Assessment Group” that would meet each November to evaluate all relevant market factors related to the trigger incentive adjustment.  This market assessment group would include representation from all major parties, including the solar industry, Commission staff, utilities, program administrators, environmental, and ratepayer groups.  The group would review market factors including tax credits, utility rates, market acceptance of solar technology, and other relevant factors.  The current program administrators oppose creation of any new market assessment group and see no reason for an additional incentive review process.  Instead, they generally support the existing delegation of authority to the assigned ALJ to consider incentive adjustments through a ruling and comment process.

Given the implementation difficulty after the first trigger reduction in solar incentives in 2006, it is clear that communication of pending incentive changes is critical for the success of CSI.  The solar industry needs a clear understanding of pending changes in incentive levels to provide accurate information to potential customers.  In our view, the detail we adopt in this order for future incentive reductions based on predetermined MW volumes should provide sufficient advance notice to the solar industry of the schedule for incentive changes.  To reiterate, we herein direct the program administrators to automatically lower incentive levels when the conditional reservations for CSI incentives reach the MW levels adopted in today’s order.  The administrators shall notify the ALJ and the service list of this proceeding or its successor when the MW level has been reached in their territory, and the ALJ will issue a ruling confirming the incentive reduction.

In addition, when the Commission implemented the first solar incentive reduction, the ALJ directed the program administrators to establish a website communicating solar application information so applicants could assess whether an incentive reduction is approaching.  This website is now operational and is an important tool for industry participants to gauge when an incentive level reduction is approaching.

We will not create a special group or meeting to discuss incentive changes.  We prefer that unscheduled incentive changes be implemented through the delegation process we established in D.06-01-024.  In other words, as we stated in that order, the assigned ALJ in this or a successor proceeding may issue a ruling reducing incentives where the ALJ has received written justification from CEC and Commission staff and where that written justification has been served on all parties to this or its successor proceeding for their comment.  Any ruling will clarify the effective date of the incentive change.

Moreover, we have discussed in Section IV.B.5 the CSI Program Forum where interested stakeholders can discuss on-going CSI issues.  The Forum is not intended specifically to discuss incentive levels, but if the group achieves consensus on changes, it may file a petition for modification of discrete Commission orders.  Absent consensus in the Forum, an interested party always has the opportunity to follow Commission rules and file a petition to modify a Commission decision regarding incentive levels if there are new or changed facts for the Commission to consider.

# Funding Levels

The Commission established CSI funding levels for 2007 through 2016 in D.06-01-024.  (D.06-01-024, p. 6.)  Table 1 in that order sets the annual revenue requirements by investor-owned utility, and Table 2 indicates the portion of the total CSI budget allocated to each utility.  The order provides for funding flexibility between program years because the Commission recognized that actual demand for solar incentives may vary from year to year.  Further, the Commission specified that 10% of the total CSI budget should be reserved for administrative costs, including program evaluation, marketing, and outreach, 10% for assistance to low income residential customers and affordable housing projects, and up to 5% for research, development and demonstration.

The Staff Proposal recommends refinements to the funding approach adopted in D.06-01-024 in conjunction with the overall proposal to bring a performance dimension to the incentive payments and adjust incentives to account for federal tax credits.  Specifically, Staff proposes the following:

- Adhere to the budget schedule established in D.06-01-024, with each utility’s budget based on its prorated share of CSI collections.

- Consider dividing budgets based on customer classes or system sizes.

- Allow fund shifting in the first half of each calendar year to residential and small system applications only.

- Allow fund shifting in any direction in the second half of each calendar year.

In describing its proposal, Staff highlights the importance of preserving equity across service areas by limiting CSI funds to each utility’s pro rata share of funds.  The Staff Proposal specifically requested parties comment on whether and how to divide the CSI budget based on customer class or system size.

## Parties’ Positions

Several parties, including ASPv, CFC, DRA, EPUC, the Joint Solar parties, PG&E, SDREO, and TURN, support the concept of reserving portions of the total CSI budget for discrete customer classes.  ASPv recommends the Commission reserve 50% of funds for residential solar incentives, and 50% for commercial incentives, while the Joint Solar parties suggest funds be reserved based on the collections from residential and non-residential customers.  DRA suggests a set-aside of 30% of the annual CSI budget for residential solar rebates, corresponding to the approximate percentage of residential sales to total system sales among the electric utilities.  CFC, TURN, and EPUC contend funds should be reserved based on how funds are collected from each class of customers.  They are concerned with equity and want to avoid cross-subsidization, where the majority of funds are collected from residential customers but the majority of incentives are paid to non-residential customers.  TURN recommends the Commission establish volume triggers for several customer segments to account for the various external factors on each customer group.  EPUC suggests that customer classes should contribute to CSI based on their benefits received.

Unlike the other proposals, PG&E proposes a reservation of CSI funds based on system size rather than customer class, with 50% of funds reserved for projects under 100 kW, and 50% for projects over 100 kW.  DRA opposes reserving funds based on system sizes because it fears gaming might occur.  For example, applicants might size their systems solely to fall in one category under the assumption funding will be easier to obtain, and disregarding other key sizing considerations.

In contrast to the other parties, SCE and SDG&E/SoCalGas see no need to set aside funds based on customer class, although SCE would not oppose funding allocations based on system size.  SCE argues the benefits of solar power accrue to all ratepayers regardless which customer installs a system, and these benefits will be the same whether the program results in fewer large installations, or many small ones.  SCE also cites the administrative burden of managing separate incentive budgets.

## Discussion

First of all, this order does not modify the adopted yearly revenue requirements by utility that were set forth in D.06-01-024, nor does the order modify the reservation of 10% of the total CSI budget for administration, 10% for low income and affordable housing solar programs, and 5% for RD&D, as set forth in that order.

The key funding issue that needs resolution is whether we should reserve CSI funds for specific customer classes or project sizes, i.e. residential versus commercial, or projects under 100 kW versus those over 100 kW.  The Staff proposed the concept of reserving funds, but did not provide specifics other than suggesting a limit on fund shifting within each calendar year, to allow small customers better access to program funds.  In this order, we have determined that we will not use a calendar year basis for incentive changes, but will reduce incentives as volume triggers of program participation are reached.  Thus, the Staff approach focused on calendar years of funding no longer applies.  In response to parties’ comments, however, we must decide whether CSI funds should be reserved based on customer class or system size.

### Reserve CSI Funds for Residential Customers

After considering the parties’ comments, we are persuaded to reserve a portion of CSI funds for residential and non-residential customers based on equity concerns and the desire to ensure all customer classes have access to CSI incentive funds.  This is responsive to parties’ concerns that we avoid residential ratepayers cross-subsidizing large commercial solar projects.  We conclude it is better to reserve funds based on customer class distinctions rather than system sizes because this will be administratively simpler and less prone to gaming.  By reserving a portion of CSI incentive funds for residential customers, customers who install small solar facilities will not have to compete for funds with large commercial customers, who have the added bonus of larger tax incentives and typically build larger solar projects.  Without differentiation between residential and non-residential sectors, the CSI program could be heavily dominated by commercial rather than residential systems.

An additional reason to reserve funds for residential applicants is linked to the change in administration from the CEC to the Commission.  Formerly, the CEC administered residential rebates from a single budget source, while the SGIP administrators handled medium and large solar projects through the SGIP budget.  Now, residential retrofit and small commercial incentives will be administered together with non-residential incentives under Commission oversight.  We do not know the future level of demand for residential retrofit solar rebates, and for this reason, we find it prudent to reserve a portion of CSI funds specifically for the residential market.

We must now decide what portion of CSI funds to reserve for residential customers.  Parties suggested numerous methods, but we find the simplest and most reasonable method is to reserve one-third of total CSI funds for residential customers, and two-thirds of funds for non-residential customers, i.e. commercial and tax-exempt segments combined.  We accomplish this by reserving one third of the total MWs for residential solar applicants.   DRA had suggested a 30% reservation for residential customers because they represent approximately 30% of total system sales based on data from recent general rate cases.  (DRA, 5/16/06, p. 5 and n. 1.)  The data cited by DRA actually suggests that residential customers approximate one-third of system sales, so we will use one-third rather than 30%.  This method is consistent with our pro rata allocation of CSI funding and MW among the four utilities based on their percentage of total sales.  After more experience with the CSI program, we can determine whether a reservation of one-third of MWs for residential customers is reasonable.  If we find that one class is achieving its MW targets and facing precipitous incentive reductions, we will reassess whether to reconsider the allocation of MW goals between the residential and non-residential sectors.  If necessary, we can consider adjusting the total amount of MWs available for residential vs. non-residential customers when we review the CSI program in two years.  We describe the future review of CSI more fully in Section VII.B.3 below.

### Residential and Non-Residential MW Triggers

Now that we have decided to allocate CSI funds between residential and non-residential customer groups, we must make another key refinement to our “trigger” process for incentive adjustments.  If we reserve one-third of CSI funds for residential customers, we should also allow residential incentives to adjust based on demand in the residential solar market.  This means we need to establish MW triggers not only for each investor-owned utility, but also for the residential and non-residential customer segments within each utility.  We recognize this adds more complexity to the CSI program, but we find this complexity is necessary to ensure residential customers have access to solar incentives.

In D.06-01-024, the Commission had established a ten-year schedule for incentive reductions based on either calendar year or MW levels.  We will use the same MW levels of participation for each step-down in our volume-based trigger mechanism.  The tables below indicate the MW triggers for each utility, separated into residential and non-residential portions and the total allocation of MWs between residential and non-residential sectors.  In the second table, we show Steps 2 through 10 only because the first 50 MW were allocated in Step 1 of the 2006 SGIP Program.

Table 11

CSI MW Targets by Utility and Customer Class

|  |  | PG&E (MW) |  | SCE (MW) |  | SDG&E (MW) |  | So Cal Gas (MW) |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Step | MW in Step | Res | Non-Res | Res | Non-Res | Res | Non-Res | Res | Non-Res |
| 1 | 50 | -- | -- | -- | -- | -- | -- | -- | -- |
| 2 | 70 | 10 | 21 | 8 | 16 | 3 | 6 | 2 | 4 |
| 3 | 100 | 15 | 29 | 11 | 23 | 4 | 9 | 3 | 6 |
| 4 | 130 | 19 | 38 | 15 | 30 | 6 | 11 | 4 | 8 |
| 5 | 170 | 25 | 50 | 19 | 39 | 7 | 15 | 5 | 10 |
| 6 | 230 | 33 | 68 | 26 | 52 | 10 | 20 | 7 | 14 |
| 7 | 300 | 44 | 88 | 34 | 68 | 13 | 26 | 9 | 18 |
| 8 | 400 | 58 | 118 | 45 | 91 | 17 | 35 | 12 | 24 |
| 9 | 500 | 73 | 147 | 56 | 114 | 21 | 44 | 15 | 30 |
| 10 | 650 | 94 | 192 | 73 | 148 | 28 | 57 | 19 | 39 |
| Totals |  | 1122 |  | 867 |  | 332 |  | 230 |  |
| Percent |  | 44% |  | 34% |  | 13% |  | 9% |  |

Table 12

CSI MW Allocations by Customer Sector

| Customer Sector | MW | Percent |
| --- | --- | --- |
| Residential MW | 842 | 33% |
| Non-Residential MW | 1708 | 67% |
| 2006 SGIP Program | 50 |  |
| Total MW | 2600 | 100% |

Essentially, we have taken the CSI budget allocations for each utility initially established in D.06-01-024 and used those percentages to assign each utility a pro rata portion of the total goal of 2,600 MW.  Then, we have further subdivided each utility’s MW goal into a residential and non-residential segment on a one-third, two-thirds basis.  As an example, when PG&E conditionally reserves 10 MW of solar incentives for residential customers, its incentive level will automatically lower from Step 2 to Step 3.  When that occurs, if PG&E has not yet received 21 MW of conditional reservations from the non-residential sector, then the incentive level for non-residential customers, both commercial and tax-exempt, will stay at Step 2 even if residential incentives have dropped to Step 3.

Additionally, since we changed the starting incentive level from the one originally adopted in D.06-01-024, and set a higher rate for tax-exempt customers, we must create a new schedule for how these incentives decline over the course of the CSI.  The table below indicates how the incentive levels will alter as they decrease from Steps 2 through 10.

In order to develop the table below, several important assumptions were necessary.  First, for the governmental/non-profit sector, we have kept the same $0.75 per watt differential relative to the other non-residential rebates that staff proposed.  This difference strikes a reasonable balance between the additional benefit available to the non-residential taxable entities through the federal investment tax credit and the longer payback period that comments suggest government/non-profit customers can accept (see Section III.A of this decision for more discussion).  Second, we have assumed that the composition of the non-residential installation market will be 30% governmental or non-profit, with the remainder taxable entities.  Thus, overall, government/non-profit is assumed to make up 20% of the market, residential 33%, and other non-residential 47%.  These assumptions may need to be revisited as we gain more experience with the market during the CSI review process described in the next section.

We also relied upon the MW amounts adopted in D.06-01-024 to determine the MW size of each step.  Working from these assumptions, while staying within the overall incentive budget constraint, Staff optimized to determine the maximum incentive levels that could be paid at each step and still reach the goal of 2,600 MW.  We placed several constraints on this optimization process.  First, we wanted incentive drops no bigger than $0.45 and no smaller than $0.05; any larger drops would be disruptive to the market, and any smaller would not be meaningful.  Second, we wanted incentive drops of no more than $0.30 in the first two steps, in order to minimize the potential disruptive impact on the market during the early phases of the program.  Third, we determined $0.20 per watt to be the minimum meaningful incentive to offer during the last step to close out the program (if the incentive were any lower, the incentive payment would not make a significant contribution to customers’ system costs under any scenario).  Finally, since the government/non-profit sector starts with a higher incentive, we allowed a larger drop in the incentive rate for this sector in Steps 9 and 10.

Utilizing all of these assumptions, the final resulting per-watt equivalent incentive levels are shown in the table below.  If assumptions prove to be invalid, review of the incentive levels may occur sooner than described below.

Table 13

CSI Incentive Levels by Incentive Step

and Customer Class

| Step | MW in Step | Gov’t/ Non-Profit | Res | Commercial | Total $ Disbursed in Step ($ in millions) |
| --- | --- | --- | --- | --- | --- |
| 1 | 50 | n/a | n/a | n/a | n/a |
| 2 | 70 | $3.25 | $2.50 | $2.50 | $186 |
| 3 | 100 | $2.95 | $2.20 | $2.20 | $235 |
| 4 | 130 | $2.65 | $1.90 | $1.90 | $267 |
| 5 | 170 | $2.30 | $1.55 | $1.55 | $289 |
| 6 | 230 | $1.85 | $1.10 | $1.10 | $287 |
| 7 | 300 | $1.40 | $0.65 | $0.65 | $240 |
| 8 | 400 | $1.10 | $0.35 | $0.35 | $200 |
| 9 | 500 | $0.90 | $0.25 | $0.25 | $190 |
| 10 | 650 | $0.70 | $0.20 | $0.20 | $195 |
|  |  |  |  | Total | $2,088 |

The table indicates total CSI expenditures of approximately $2.1 billion, equivalent to the CSI Budget less administrative, marketing and outreach, evaluation and RD&D costs.

### Periodic CSI Review Process

Throughout the order, we have described issues we will review after we have two years of experience with CSI.  The Commission should institute periodic reviews, every two years, through the duration of the program.  Thus, in 2009 or earlier, we anticipate opening a new rulemaking to review, among other issues, the following:

- Whether to continue to offer government and non-profit customers a higher incentive rate.

- Assess the need for incentive changes depending on federal tax credit status or other factors.

- Review the capacity factor used in the PBI payment calculation, based on M&E findings.

- Consider the impact of applying a PBI mechanism to all systems over 30 kW.

- Review whether it is reasonable to reserve one-third of CSI funds for residential customers.

- Evaluate and investigate a “feed-in tariff” approach.

- Consider adding trackers to the EPBB design factor.

The commissioner assigned to this future review proceeding may determine whether additional CSI program elements should be included in the scope of the review, or whether the above issues should be modified.

# Energy Efficiency Requirements and Incentives
    for Solar Technologies other than PV

We originally intended to address energy efficiency requirements and incentives for solar technologies other than PV in this order.  The Staff Proposal contained recommendations on this issue, and parties supplied comments on the subject as well.  We consider these important CSI issues which are critical to the success of CSI.  We intend to address these two issues as soon as possible, in a separate order that we expect to issue shortly.

# Comments on Draft Decision

The draft decision of ALJ Dorothy Duda was mailed in accordance with 311(g)(1) of the Public Utilities Code and Rule 77.7 of the Rules of Practice and Procedure.  Comments and/or replies were filed by _______________.

# Assignment of Proceeding

President Michael R. Peevey is the Assigned Commissioner and Dorothy J. Duda is the assigned ALJ in this matter.

Findings of Fact

Incentive Levels

- According to D.06-05-025, the current solar incentive rate of $2.80 per watt will drop to $2.50 per watt when 50 MW of applications are conditionally reserved.

- Data from the CEC’s solar rebate program for systems over 30 kW shows residential solar growth rates flat since 2003, and a trend toward commercial solar installations.

- The cost of solar panels has risen in the last year due to a world shortage of silicon.

- A Cal SEIA survey indicates residential customers may accept a payback of 10 to 15 years for solar investments, while commercial customers generally require a shorter payback in the range of six to eight years.

- Solar installations are experiencing capacity factors in the range of 16% to 18%.

- Tax-exempt entities, such as government and non-profit institutions, are not eligible for federal tax credits to offset solar installations costs, unless they use third-party financing and ownership techniques.

- Tax-exempt entities face a higher net effective cost per kilowatt hour for solar investments because they are not eligible for federal tax credits.

- Government and non-profit institutions are a significant percentage of current SGIP participants.

PBI for Systems 100 kW and Larger

- Incentives paid up front do not ensure a well-designed and installed system or that the system owner will attend to ongoing system maintenance and performance.

- Actual system rating may differ from reported ratings due to incorrect equipment rating and/or poor system design and installation.

- System performance is affected by compass orientation, tilt and shading.

- Poor system maintenance and weather variability can impact solar output.

- System ratings are not yet capable of estimating output for newer solar technologies, such as building integrated PV and bifacial modules.

- Solar projects over 100 kW are about 1% of total project applications each year, but account for about one-third of installed solar capacity.

- South-facing solar installations generally provide more total kWh output annually than west-facing installations, which reach peak production during a time more closely aligned to the utilities' system peak demand and yield energy of higher value.

- Net energy metering rewards on-peak performance through time-differentiated net energy credits for customers on TOU rates.

- Most customers with solar facilities participate in net energy metering.

- A shorter PBI payment period has advantages for solar buyers and lower administrative costs.

- To calculate a PBI payment, the dollar per watt incentive must be converted to cents per kilowatt hour using a capacity factor.

- SGIP data shows an average capacity factor of 16% for systems installed through 2004, while U.S. Department of Energy and CEC data projects average capacity factors will reach 18%-20% by 2010.

EPBB

- System AC ratings cannot be verified until systems are installed.

- The Design Factor in the EPBB calculation is the ratio of a customer’s simulated solar output to the simulated output for an optimal reference system.

- Variability in California's geography and climate affects the level of solar production around the state.

Program Administration

- In D.06-01-024, the Commission determined existing program administrators should administer CSI for the commercial and industrial sector.

- Residential solar retrofit projects, formerly administered by the CEC, must shift to a new administrative structure in January 2007.

- If we limited the existing administrators to projects above 100 kW, they would have few applications to administer.

- Under Section 136 of the Internal Revenue Code, subsidies are treated as non-taxable income if provided directly or indirectly by a public utility for the purchase or installation of an energy conservation measure.

Metering Requirements

- Revenue grade meters to measure solar output are available at a variety of prices, depending on the degree of time interval detail and communication system.

- Under SGIP and net energy metering rules, the customer pays for any expenses beyond the minimum utility revenue meter.

- Performance monitoring can be provided by third parties independent of solar manufacturers, installers, or owners.

- A large portion of solar capacity is already served by time-differentiated meters and tariffs.

Incentive Adjustment Mechanism

- In D.06-01-042, the Commission established a mechanism for solar incentives to automatically decline 10% a year for 10 years.

- Demand for solar incentives varies by utility territory, with some utilities using their budget allocations more quickly.

- In D.06-01-024, the Commission established a process for the ALJ to implement reductions to incentive levels.

Funding Levels

- Residential customers approximate one third of total system sales.

Conclusions of Law

Incentive Levels

- Reducing solar incentives to $1.50 per watt, as suggested by Staff, could disrupt the solar market, particularly in conjunction with the introduction of performance-based incentives.

- It is reasonable to adjust the single solar incentive rate adopted in D.06-01-024 in favor of rates tailored to the tax effects seen by residential, commercial, and tax-exempt customers.

- A single incentive rate for commercial and residential customers is reasonable given information on the record concerning customer payback periods, current capacity factors, tax effects, and solar equipment costs.

- A residential incentive rate of $2.50 per watt is reasonable given data indicating slower adoption of solar technology in this market segment.

- It is reasonable to adopt an incentive rate of $3.25 per watt for tax-exempt entities that do not use third-party financing, to bring net solar installation costs in line with those entities that receive federal tax credits.

PBI

- A performance-based incentive structure will motivate consumers to focus on the proper installation, maintenance, and performance of their systems.

- We should apply a PBI structure to solar projects 100 kW and larger based on the ability of customers investing in larger systems to finance system costs.

- We should transition smaller systems, larger than 30 kW, to a PBI structure in 2010, after we have experience with PBI and to allow sales and financing arrangements to evolve.

- It is reasonable to allow any size system to opt for PBI payments.

- Building integrated PV systems, regardless of size, should receive PBI payments because it is difficult to estimate performance for these systems.

- New construction projects, regardless of size, are exempt from PBI and should be paid up-front incentives to allow financing of net building costs by builders and developers.

- We should not adopt time differentiated PBI payments because many customers with solar facilities and most solar MW capacity already participate in TOU tariffs.

- A lengthy PBI payment period has the potential to dampen interest in solar installations because solar investors must wait to recover their investment.

- A five-year PBI payment period has lower administrative costs and less market risk than a longer payment period.

- PBI payments should be based on an 18% capacity factor initially, based on data from SGIP, the U.S. Department of Energy, and the CEC.

- To encourage increases in system performance, the capacity factor to calculate PBI payments should be increased to 20% after 220 MW are installed through the CSI program (i.e., at Step 4 of the program).

- A performance cap is inconsistent with the goal of rewarding systems for higher performance.

- A solar facility receiving PBI payments will be paid for actual output over the five-year payment period, with no cap other than the total funding cap of the CSI program.

- Each program administrator should forecast PBI payments for each solar project at the time of system installation, and deposit total expected five-year payments into a single interest-earning escrow account maintained by each administrator.

- We should incorporate a discount rate into levelized PBI payments so the payments do not penalize systems that must wait five years to receive their full PBI payments.

- A discount rate of 8% is a reasonable assumption for the range of interest rates different solar buyers might receive on deferred payment streams.

- PBI payments should be made on a monthly basis to provide frequent customer feedback on system performance.

- An immediate transition to PBI for systems 100 kW and larger should not cause market disruption to these systems which are already financed at the 60%-70% level.

EPBB

- It is reasonable to use CEC-AC ratings because System AC ratings are not verifiable at this time.

- The Design Factor for EPBB should include geographic location to more precisely estimate likely system performance and yield the highest level of overall system production per dollar of ratepayer support.

- We should allow equivalent optimal design factors for south, southwest, and west orientations to promote either peak solar production or maximum total solar output.

- The Design Factor for EPBB should:  (a) treat all systems oriented between 180º and 270º equally, (b) assign an optimal orientation tilt for each compass direction  in the range of 180 º to 270 º, (c) include location-specific criteria to account for varying degrees of insolation; and (d) determine an optimal latitude tilt that relates to local latitude.

- It is reasonable to verify system characteristics for all systems between 30 kW and 100 kW, and for a sample of systems under 30 kW.

- Trained personnel should verify system characteristics.

- Project installers who fail three random verifications shall be excluded from program participation.

Program Administration

- We should shift administration of the residential retrofit portion of CSI to the existing administrators to prevent any time gaps in the provision of residential incentives.

- We should consider one statewide entity for residential CSI administration in the future if we find economies of scale, overhead savings, or other benefits.

- Alternate administration may be reasonable for a single region or utility service area if one region lags others in solar penetration, ease of interconnection, or administrative performance and cost.

- IRS taxation issues do not impact our decision between utility or independent administration.

- Subsidies provided by a public utility are non-taxable under Section 136 of the Internal Revenue Code as long as the money comes from utility rates and the monies paid to the consumer are those provided by the utility.

- A statewide online application system will enhance the ability of customers to use CSI programs.

- A single database of project information will benefit ongoing program evaluation, but some data should initially be accessible only to program administrators and CEC/Commission staff.

- We should create a CSI Program Forum to provide a public venue for interested parties to identify, discuss, and fashion consensus-based solutions to ongoing issues related to CSI administration and implementation.

Metering Requirements

- Accurate metering of solar output should increase owner knowledge of system performance, foster adequate system maintenance, and thereby ensure ratepayer incentives result in expected levels of solar generation.

- Revenue grade meters are required to ensure accuracy of PBI payments and may be needed to meet renewables portfolio standard rules.

- Revenue grade meters will not add a significant cost burden to CSI participants.

- All systems paid incentives through CSI should install a revenue grade meter at the customer's expense that includes some form of communication reporting capability.

- The entity administering solar performance reporting should be an independent party, either existing administrators or a third party not affiliated with solar manufacturers, installers or owners.

- We should consider the overall economics of time-differentiated tariffs when we examine cost-effectiveness in Phase II.

Incentive Adjustment Mechanism

- If we decrease incentives on a calendar basis, we might reduce incentives before the economics of the solar industry and market demand match incentive levels.

- An incentive adjustment mechanism based purely on the volume of program participation allows the market demand for solar power to control the pace of incentive reductions.

- A volume based incentive reduction mechanism is transparent, administratively simple, and allows external market factors to influence incentives through market demand.

- It is reasonable to maintain a cap on the total CSI budget, as adopted in D.06-01-024, but not mandate the timing of the expenditures on a yearly basis.

- A uniform statewide incentive level ignores the unique characteristics of solar markets throughout the state.

Funding Levels

- For equity reasons, we should reserve one-third of CSI funds for residential customers.

- We should establish MW triggers for each utility, and for the residential and non-residential sectors within each utility, based on the MW levels of program participation adopted in the trigger mechanism in D.06-01-024.

- The Commission should open a rulemaking in 2009, or sooner if needed, to review major aspects of the CSI program as described in this order.

- The Commission should periodically review the CSI program at two-year intervals.

ORDER

IT IS ORDERED that:

- The California Solar Initiative (CSI) incentive levels, program structure, and budget described herein are approved through December 31, 2016.  Pacific Gas and Electric Company (PG&E), Southern California Edison Company (SCE), San Diego Gas & Electric Company (SDG&E) and Southern California Gas Company (SoCalGas), (collectively “the utilities”), shall implement this program consistent with today’s decision.  SDG&E shall contract with the San Diego Regional Energy Office (SDREO) to administer the CSI in the SDG&E service territory.

- The incentive rates adopted in Decision (D.) 06-01-024 are modified to reflect the performance-based incentives (PBI) and Expected Performance Based Buydown (EPBB) incentives set forth in Sections II.B and C and Tables 5, 6 and 13 of this order.  Beginning January 1, 2007, PG&E, SCE, SoCalGas and SDREO (collectively, the "program administrators") shall pay performance-based incentives (PBI) and EPBB incentives, as set forth in Sections III.B and C and Tables 5, 6 and 13 of this order, to gas and electric customers of the utilities for eligible residential retrofit and non-residential solar projects.

- In order to receive the higher government/non-profit incentive rate rather than the commercial rate, tax-exempt entities must include with their incentive application a certification under penalty of perjury from their Chief Financial Officer or equivalent that they are a government or non-profit organization, and they are not receiving and will not receive federal tax benefits through third-party financing or ownership arrangements.  The certification shall include a copy of the entity’s bylaws and articles of incorporation if it is a non-profit entity.

- Beginning January 1, 2007, the Commission will apply a PBI structure to all systems 100 kilowatts (kW) and larger. Any system, regardless of size, may opt for the PBI payment structure in Table 5.  The Commission will require all building-integrated photo-voltaic (PV) systems to receive incentives through a PBI structure, but will not require new construction solar installations to be paid through PBI.

- Program administrators shall pay any solar facility receiving the PBI incentive rate for its actual output over the five-year payment period, although program administrators shall not exceed their individual CSI budgets as set forth in D.06-01-024.  The rate to be paid for the five-year period is determined based on the rate in the year the project is conditionally reserved.  Program administrators may make the payment on the utility bill or separately at this time. SDREO should arrange with SDG&E for monthly on-bill payments.

- Each program administrator shall deposit the total five years expected PBI payment amount for all completed solar projects into a single interest earning escrow account for each administrator to ensure fund security over the five-year period.

- Beginning January 1, 2007, program administrators shall pay an EPBB incentive to qualifying solar projects under 100 kW, where the EPBB incentive shall equal the incentive rate multiplied by a system rating and a design factor, as set forth in Section III.C of this order.

- Within 30 days of this order, the program administrators shall issue a single solicitation for a technical expert to provide a single design factor protocol and initial estimation tool that matches the criteria set forth in this Section III.C of this order.  Program administrators shall ensure the design factor protocol and estimation tool are delivered by November 1, 2006 for inclusion in the initial CSI Program Handbook.

- Program administrators shall use trained personnel to verify system characteristics for all systems between 30 kW and 100 kW that receive EPBB incentives, and for a random sample of systems under 30 kW.

- Program administrators shall develop a coordinated training plan for EPBB site inspectors and submit the plan by Advice Letter no later than January 5, 2007.

- Program administrators shall ensure solar installers report expected annual system output on program application forms.

- Within 30 days of this order, program administrators shall designate one administrator to contract with an entity to create a statewide online application process and program database as set forth in Section IV.B of this order, and report on their progress through letter to the Director of the Energy Division no later than December 31, 2006.

- Energy Division Staff shall convene a workshop within 15 days of the effective date of this order to discuss CSI Program Handbook development and create subgroups to work on sections of the handbook.  Energy Division shall forward a draft CSI Handbook to the Administrative Law Judge (ALJ) no later than 60 days from the workshop, for review and comment according to the schedule in Section IV.B., unless modified by the Assigned Commissioner or Administrative Law Judge by further ruling.

- The program administrators shall convene the first meeting of the CSI Program Forum in the first quarter of 2007, to provide the opportunity for CSI stakeholders to discuss proposed revisions to the CSI Handbook.  Energy Division Staff shall facilitate this meeting.  The program administrators shall:  (a) arrange future meetings no less than quarterly, (b) provide notice of all meetings on the Commission's Daily Calendar and to the service list of this or any successor proceeding, and (c) maintain meeting minutes and post them on the CSI portion of the Commission's website.  The CSI Program Forum may fashion consensus handbook revisions, as needed, and file them by Advice Letter.

- All solar projects that receive an incentive through the CSI program shall install a separate revenue grade meter with communication reporting capability, as set forth in Section V and Table 9 of this order, to measure their systems’ solar production.  Internal meters certified as revenue grade are acceptable for projects under 10 KW.  Systems 100 kW and larger must have reporting capabilities before receiving PBI payments, and systems between 30 and 100 kW shall have reporting capabilities as soon as protocols are established through the CSI Handbook process.  The total cost of a customer's metering, communication, and reporting system for the first five years of solar production shall be less than 1% of total installed costs for systems up to 30 kW, and less than 0.5% for larger systems.

- Program administrators shall ensure the entity responsible for performance monitoring and reporting is not affiliated with the incentive recipient, or any solar manufacturer or installer.

- Energy Division shall ensure that parties participating in the CSI Handbook development process, or any metering subgroup within that process, address the following issues for inclusion in the CSI Handbook:  (a) meter standards and data transfer protocols, and other details of a minimum solar output communication function, within cost limits specified in this order, (b) solar performance monitoring in advance of Advanced Metering Infrastructure, (c) a method for independent performance monitoring of solar output, and (d) communication of solar performance to customers and program administrators initially, and to the general public at a later date.

- The incentive adjustment mechanism adopted in D.06-01-024 (Appendix A, Table 5) is modified to base incentive adjustments purely on the volume of megawatts (MWs) of solar installations, as set forth in Table 11 of this order.  Incentives may vary by utility service territory and customer sector, according to the MWs of achieved solar demand specified in Table 11.  Each program administrator shall automatically reduce its incentive level when conditional reservations for solar incentives in its utility service territory reach the MW targets in Table 11, and provide written notification of this incentive reduction to the ALJ and the service list of this proceeding, or any successor proceeding.  The ALJ will issue a ruling confirming the incentive reduction.

- CSI MW goals are allocated across each utility using the percentage contribution that each utility makes to the total CSI budget, as shown in Table 10.   Program administrators shall ensure a portion of program funds, equivalent to one-third of program MWs, are reserved for residential applicants.

- The ALJ may issue a ruling, according to the process established in D.06-01-024, to implement any additional or unscheduled incentive reductions.

- Program administrators shall submit estimated CSI administrative costs for 2007 and 2008 to Energy Division Staff no later than March 31, 2007, and shall spend no more than 5% of their total budget for administration until the Commission addresses marketing, outreach, and measurement and evaluation in Phase II of this proceeding.

- In 2009, or sooner if necessary, the Commission will open a rulemaking to review CSI rules and policies as described in this order.  The Commissioner assigned to this future rulemaking may determine the CSI program elements included in the review.

- The Commission shall review the CSI program at approximately two-year intervals throughout its duration.

- Rulemaking 06-03-004 shall remain open for consideration of other CSI and distributed generation issues in Phase II.

This order is effective today.

Dated 					, at San Francisco, California.

APPENDIX A

PBI Levelized Payment Explanation

Levelized PBI Monthly Payment Amounts at 8% discount rate.

|  | statewide | EPBB payments (per watt) |  |  | PBI payments (per kWh) |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Step | MW in step | Res | Non-Res | Non-Tax | Res | Non-Res | Non-Tax |
| 1 | 50 | $2.80 | $2.80 | $2.80 | ** | ** | ** |
| 2 | 70 | $2.50 | $2.50 | $3.25 | $0.39 | $0.39 | $0.50 |
| 3* | 100 | $2.20 | $2.20 | $2.95 | $0.34 | $0.34 | $0.46 |
| 4 | 130 | $1.90 | $1.90 | $2.65 | $0.26 | $0.26 | $0.37 |
| 5 | 170 | $1.55 | $1.55 | $2.30 | $0.22 | $0.22 | $0.32 |
| 6 | 230 | $1.10 | $1.10 | $1.85 | $0.15 | $0.15 | $0.26 |
| 7 | 300 | $0.65 | $0.65 | $1.40 | $0.09 | $0.09 | $0.19 |
| 8 | 400 | $0.35 | $0.35 | $1.10 | $0.05 | $0.05 | $0.15 |
| 9 | 500 | $0.25 | $0.25 | $0.90 | $0.03 | $0.03 | $0.12 |
| 10 | 650 | $0.20 | $0.20 | $0.70 | $0.03 | $0.03 | $0.10 |

* For PBI Calculations, the first three steps assume a capacity factor (CF) of 0.18; Steps 4-10 assume a CF of 0.20.

** The first 50 MW incentives are disbursed under the 2006 SGIP program; PBI payments do not apply.

Overview:

We convert from a capacity based output (in watts) to a performance based output (in kWh).  We calculate a levelized monthly payment so that we can provide a uniform per kWh incentive that adjusts for discount rate and is equivalent to an up-front EPBB payment.

In order to convert from EPBB payments to a levelized monthly PBI payment, we calculate and assume the following:

- We assume an 8% discount rate (which we divide by 12 disbursement periods)

- 60 monthly periods during the time of the five-year payment period under PBI

- The Present Value of the payment to be levelized is the value of the EPBB

- We make each payment occur at the end of the payment period

- We levelize each payment into a uniform series

- We multiply the levelized payment by the Capacity Factor (either 0.18 or 0.20 depending on which Step)

- We divide the levelized payment by the kWh/month per Watt (0.1314 or 0.146 depending on the CF)

- This gives us the levelized monthly PBI Payments in $ per kWh

(END OF APPENDIX A)

INFORMATION REGARDING SERVICE

I have provided notification of filing to the electronic mail addresses on the attached service list.

Upon confirmation of this document’s acceptance for filing, I will cause a copy of the Notice of Availability to be served upon the service list to this proceeding by U.S. mail.  The service list I will use to serve the copy of the Notice of Availability is current as of today’s date.

Dated July 24, 2006, at San Francisco, California.

/s/ FANNIE SID

Fannie Sid

| ************ APPEARANCES ************ Evelyn Kahl Attorney At Law ALCANTAR & KAHL, LLP 120 MONTGOMERY STREET, SUITE 2200 SAN FRANCISCO CA 94104 (415) 421-4143 ek@a-klaw.com For: Energy Producers & Users Coalition Seema Srinivasan Attorney At Law ALCANTAR & KAHL, LLP 120 MONTGOMERY STREET, SUITE 2200 SAN FRANCISCO CA 94104 (415) 421-4143 sls@a-klaw.com For: Cogeneration Association of California Jan Mcfarland AMERICANS FOR SOLAR POWER 1100 11TH STREET, SUITE 311 SACRAMENTO CA 95814 (916) 346-7578 janmcfar@sonic.net For: ASPv David J. Coyle ANZA ELECTRIC COOPERATIVE, INC 58470 HIGHWAY 371 PO BOX 391090 ANZA CA 92539-1909 John R. Redding ARCTURUS ENERGY CONSULTING, INC. 44810 ROSEWOOD TERRACE MENDOCINO CA 95460-9525 (707) 937-0878 johnrredding@earthlink.net For: Silicon Valley Leadership Group Karen Norene Mills Attorney At Law CALIFORNIA FARM BUREAU FEDERATION 2300 RIVER PLAZA DRIVE SACRAMENTO CA 95833 (916) 561-5655 kmills@cfbf.com For: California Farm Bureau Federation | Regina M. Deangelis Attorney At Law CALIFORNIA PUBLIC UTILITIES COMMISSION 505 VAN NESS AVENUE SAN FRANCISCO CA 94102 (415) 355-5530 rmd@cpuc.ca.gov For: DRA Les Nelson Executive Director CALIFORNIA SOLAR ENERGY INDUSTRIES ASSN 30012 AVENTURA, SUITE A RANCHO SANTA MARGARITA CA 92688 (949) 713-3500 lnelson@westernrenewables.com Vincent Schwent CALIFORNIA SOLAR ENERGY INDUSTRIES ASSN. 3013 OYSTER BAY AVENUE DAVIS CA 95616 (916) 837-6380 vschwent@sbcglobal.net For: CALSEIA Lynne M. Brown CALIFORNIANS FOR RENEWABLE ENERGY INC. 24 HARBOR ROAD SAN FRANCISCO CA 94124 (415) 285-4628 l_brown123@hotmail.com Michael E. Boyd President CALIFORNIANS FOR RENEWABLE ENERGY, INC. 5439 SOQUEL DRIVE SOQUEL CA 95073 (408) 891-9677 michaelboyd@sbcglobal.net Grant Kolling Senior Assistant City Attorney CITY OF PALO ALTO 250 HAMILTON AVENUE, 8TH FLOOR PALO ALTO CA 94301 (650) 329-2171 grant.kolling@cityofpaloalto.org For: City of Palo Alto Susan Munves CITY OF SANTA MONICA 1212 5TH STREET SANTA MONICA CA 90401 (310) 458-8229 susan-munves@smgov.net |
| --- | --- |
| Janis C. Pepper CLEAN POWER MARKETS, INC. PO BOX 3206 LOS ALTOS CA 94024 (650) 949-5719 pepper@cleanpowermarkets.com For: Self Alexis K. Wodtke Attorney At Law CONSUMER FEDERATION OF CALIFORNIA (CFC) 520 S. EL CAMINO REAL, STE. 340 SAN MATEO CA 94402 (650) 375-7847 lex@consumercal.org For: California Federation of California Howard Choy COUNTY OF LOS ANGELES 1100 NORTH EASTERN AVENUE, ROOM 300 LOS ANGELES CA 90063 (323) 881-3939 hchoy@isd.co.la.ca.us Tom Beach CROSSBORDER ENERGY 2560 NINTH STREET, SUITE 316 BERKELEY CA 94710 (510) 649-9790 tomb@crossborderenergy.com For: Self Christopher Hilen Attorney At Law DAVIS WRIGHT TREMAINE, LLP ONE EMBARCADERO CENTER, SUITE 600 SAN FRANCISCO CA 94111 (415) 276-6573 chrishilen@dwt.com For: City of Palo Alto Jane E. Luckhardt Attorney At Law DOWNEY BRAND LLP 555 CAPITOL MALL, 10TH FLOOR SACRAMENTO CA 95814 (916) 444-1000 jluckhardt@downeybrand.com For: California Clean DG Coalition | Ann L. Trowbridge Attorney At Law DOWNEY BRAND, LLP 555 CAPITOL MALL, 10TH FLOOR SACRAMENTO CA 95814 (916) 444-1000 atrowbridge@downeybrand.com For: California Clean DG Coalition James Mctarnaghan Attorney At Law DUANE MORRIS ONE MARKET, SPEAR TOWER, SUITE 2000 SAN FRANCISCO CA 94105 (415) 957-3088 jwmctarnaghan@duanemorris.com For: Self William W. Westerfield, Iii Attorney At Law ELLISON, SCHNEIDER & HARRIS L.L.P. 2015 H STREET SACRAMENTO CA 95814 (916) 447-2166 www@eslawfirm.com For: Fat Spaniel Technologies, Inc. Greggory L. Wheatland Attorney At Law ELLISON, SCHNEIDER & HARRIS, LLP 2015 H STREET SACRAMENTO CA 95814 (916) 447-2166 glw@eslawfirm.com For: Vote Solar Steve Chadima ENERGY INNOVATIONS, INC. 130 WEST UNION STREET PASADENA CA 91103 (626) 535-2784 steve@energyinnovations.com For: Energy Innovations, Inc. Carolyn Kehrein ENERGY MANAGEMENT SERVICES 1505 DUNLAP COURT DIXON CA 95620-4208 (707) 678-9506 cmkehrein@ems-ca.com For: Energy Users Forum |
| Dan Perkins ENERGY SMART HOMES 983 PHILLIPS ST. VISTA CA 92083 (760) 315-2055 perkydanp@yahoo.com Gene Beck ENVIROTECH FINANCIAL, INC. 333 CITY BLVD. W 17TH FL ORANGE CA 92868 (714) 532-2731 gbeck@etfinancial.com David Kopans FAT SPANIEL TECHNOLOGIES, INC. 2 PRINCETON ROAD ARLINGTON MA 02474 (617) 947-2454 david.kopans@fatspaniel.com Mary Luevano GLOBAL GREEN USA 2218 MAIN STREET, 2ND FLOOR SANTA MONICA CA 90405 (310) 581-2700 mluevano@globalgreen.org Ronald Moore GOLDEN STATE WATER/BEAR VALLEY ELECTRIC 630 EAST FOOTHILL BLVD. SAN DIMAS CA 91773 (909) 394-3600 rkmoore@gswater.com James D. Squeri Attorney At Law GOODIN MACBRIDE SQUERI RITCHIE & DAY LLP 505 SANSOME STREET, SUITE 900 SAN FRANCISCO CA 94111 (415) 392-7900 jsqueri@gmssr.com For: California Retailers Association Michael B. Day JOSEPH F. WIEDMAN Attorney At Law GOODIN MACBRIDE SQUERI RITCHIE & DAY LLP 505 SANSOME STREET, SUITE 900 SAN FRANCISCO CA 94111 (415) 392-7900 mday@gmssr.com For: PV Now | Joseph F. Wiedman Attorney At Law GOODIN MACBRIDE SQUERI RITCHIE & DAY,LLP 505 SANSOME STREET, SUITE 900 SAN FRANCISCO CA 94111 (415) 392-7900 jwiedman@gmssr.com Gregg Morris GREEN POWER INSTITUTE 2039 SHATTUCK AVENUE, STE 402 BERKELEY CA 94704 (510) 644-2700 gmorris@emf.net For: Green Power Institute Arno Harris PO BOX 6903 SAN RAFAEL CA 94903 (415) 298-7096 arno@arnoharris.com Michael Kyes 7423 SHAUN CT. SEBASTOPOL CA 95472 (707) 829-3447 michaelkyes@sbcglobal.net Rod Larson LARSON CONSULTING SERVICES 973 E. FRONT STREET VENTURA CA 93001 (805) 652-0104 rod.larson@sbcglobal.net For: Golden State Water Company Megan Macneil Myers Attorney At Law LAW OFFICES OF MEGAN MACNEIL MYERS PO BOX 638 LAKEPORT CA 95453 (707) 263-9662 meganmmyers@yahoo.com For: ASPv Sara Steck Myers Attorney At Law LAW OFFICES OF SARA STECK MYERS 122 - 28TH AVENUE SAN FRANCISCO CA 94121 (415) 387-1904 ssmyers@att.net For: Center for Energy Efficiency and Renewable Technologies (CEERT) |
| Joshua Harris LAW OFFICES OF STEPHAN C. VOLKER 436 14TH STREET, SUITE 1300 OAKLAND CA 94612 (510) 496-0600 jharris@volkerlaw.com John Jensen President MOUNTAIN UTILITIES PO BOX. 205 KIRKWOOD CA 95646 (209) 258-7444 jjensen@kirkwood.com Brian Cherry PACIFIC GAS AND ELECTRIC COMPANY PO BOX 770000 SAN FRANCISCO CA 94177 (415) 973-4977 bkc7@pge.com Randall J. Litteneker STACY WALTER Attorney At Law PACIFIC GAS AND ELECTRIC COMPANY PO BOX 7442, B30A SAN FRANCISCO CA 94120 (415) 973-2179 rjl9@pge.com For: Pacific Gas and Electric Company Douglas Larson PACIFICORP 201 SOUTH MAIN STREET, SUITE 2300 SALT LAKE CITY UT 84140 (801) 220-2190 doug.larson@pacificorp.com Robert Marshall PLUMAS-SIERRA RURAL ELECTRIC CO-OP PO BOX 2000 73233 HIGHWAY 70 STE A PORTOLA CA 96122-2000 (530) 832-0110 Harvey M. Eder PUBLIC SOLAR POWER COALITION 1218 12TH STREET, NO. 25 SANTA MONICA CA 90401 (310) 393-2589 For: Public Solar Power Coalition | Eric Larsen Environmental Scientist RCM BIOTHANE 2850 POPLAR STREET OAKLAND CA 94608 (510) 834-4568 e.larsen@rcmbiothane.com Lori A. Glover President S.O.L.I.D. USA, INC. 10645 N. TATUM BLVD., SUITE 200-306 PHOENIX AZ 85028 (602) 677-5741 lglover@solidsolar.com Steve Rahon SAN DIEGO GAS & ELECTRIC COMPANY 8330 CENTURY PARK COURT, CP32C SAN DIEGO CA 92123-1548 Irene M. Stillings SAN DIEGO REGIONAL ENERGY OFFICE 8520 TECH WAY, SUITE 110 SAN DIEGO CA 92123 (858) 244-1192 irene.stillings@sdenergy.org Susan Freedman SAN DIEGO REGIONAL ENERGY OFFICE 8520 TECH WAY, SUITE 110 SAN DIEGO CA 92123 (858) 244-1186 susan.freedman@sdenergy.org Mary Simmons SIERRA PACIFIC POWER COMPANY PO BOX 10100 RENO NV 89520-0026 Michael Yambrach SOLAR ENERGY PRODUCTION CORPORATION 1487 POINSETTIA AVE., SUITE 124 VISTA CA 92081 (760) 734-1700 michaely@sepcor.net Mark J. Skowronski SOLARGENIX /INLAND ENERGY 3501 JAMBOREE ROAD, SUITE 606 NEWPORT BEACH CA 92660 (949) 856-2200 mjskowronski@inlandenergy.com For: Solargenix |
| Amber Dean Attorney At Law SOUTHERN CALIFORNIA EDISON 2244 WALNUT GROVE AVENUE ROSEMEAD CA 91770 (626) 302-6961 amber.dean@sce.com For: Southern California Edison Akbar Jazayeiri SOUTHERN CALIFORNIA EDISON COMPANY PO BOX 800 2244 WALNUT GROVE AVE. ROOM 390 ROSEMEAD CA 91770 Case Administration SOUTHERN CALIFORNIA EDISON COMPANY ROOM 370 2244 WALNUT GROVE AVENUE ROSEMEAD CA 91770 (626) 302-4875 case.admin@sce.com For: Southern California Edison Michael D. Montoya Attorney At Law SOUTHERN CALIFORNIA EDISON COMPANY 2244 WALNUT GROVE AVENUE ROSEMEAD CA 91770 (626) 302-6057 mike.montoya@sce.com For: Southern California Edison Steven D. Patrick Attorney At Law SOUTHERN CALIFORNIA GAS/SDG&E 555 WEST 5TH STREET, SUITE 1400 LOS ANGELES CA 90013 (213) 244-2954 spatrick@sempra.com For: San Diego Gas & Electric/Southern California Gas Susan Kulakowski STANFORD UNIVERSITY 327 BONAIR SIDING STANFORD CA 94305-7272 (650) 723-4570 susank@bonair.stanford.edu For: Stanford University | Stephen Miller STRATEGIC ENERGY INNOVATIONS 185 N. REDWOOD DRIVE, SUITE 188 SAN RAFAEL CA 94903 (415) 507-2186 stephen@seiinc.org Gary Gerber SUNLIGHT & POWER COMPANY 1035 FOLGER AVENUE BERKELEY CA 94710 (510) 845-2997 gary@sunlightandpower.com Julie Blunden SUNPOWER CORPORATION 3939 NORTH FIRST ST. SAN JOSE CA 95134 (408) 240-5500 julie.blunden@sunpowercorp.com For: Sunpower Corp. Keith Mccrea Attorney At Law SUTHERLAND, ASBILL & BRENNAN 1275 PENNSYLVANIA AVENUE, NW WASHINGTON DC 20004-2415 (202) 383-0705 keith.mccrea@sablaw.com For: California Manufacturers & Technology Assn. Carrie Camarena, Attorney At Law THE GREENLINING INSTITUTE 1918 UNIVERSITY AVE. 2ND FLOOR BERKELEY CA 94704 (510) 926-4002 carriec@greenlining.org For: Greenlining Institute Nonya Collier THE GREENLINING INSTITUTE 1918 UNIVERSITY AVENUE, 2ND FLOOR BERKELEY CA 94704 (510) 926-4013 nonyac@greenlining.org For: Greenlining Institute Matthew Freedman, Attorney At Law THE UTILITY REFORM NETWORK 711 VAN NESS AVENUE, SUITE 350 SAN FRANCISCO CA 94102 (415) 929-8876 freedman@turn.org For: TURN |
| J. P. Ross THE VOTE SOLAR INITIATIVE 182 2ND STREET, SUITE 400 SAN FRANCISCO CA 94105 (415) 874-7437 jpross@votesolar.org Sarah Tuntland 2709 MCALLISTER, APARTMENT C SAN FRANCISCO CA 94118 (415) 385-9642 sarahtuntland@yahoo.com For: TURN ********** STATE EMPLOYEE *********** Valerie Beck Energy Division AREA 4-A 505 VAN NESS AVE San Francisco CA 94102 (415) 703-2125 vjb@cpuc.ca.gov Gary M. Yee Industrial Section CALIFORNIA AIR RESOURCES BOARD PO BOX 2815 SACRAMENTO CA 95812 (916) 327-5986 gyee@arb.ca.gov Michael Scheible Deputy Executive Officer CALIFORNIA AIR RESOURCES BOARD 1001 I STREET SACRAMENTO CA 95677 (916) 324-6021 mscheibl@arb.ca.gov Jeff Wilson CALIFORNIA ENERGY COMMISSION 1516 NINTH STREET, MS 45 SACRAMENTO CA 95814 (916) 657-4774 jewilson@energy.state.ca.us Payam Narvand CALIFORNIA ENERGY COMMISSION 1516 NINTH STREET, MS -45 SACRAMENTO CA 95814 pnarvand@energy.state.ca.us | CALIFORNIA ENVIRONMENTAL PROTECTION PO BOX 2815 SACRAMENTO CA 95812-2815 Philip D. Pettingill CALIFORNIA INDEPENDENT SYSTEM OPERATOR 151 BLUE RAVINE ROAD FOLSOM CA 95630 (916) 608-7241 ppettingill@caiso.com Michael Colvin Division Of Strategic Planning CALIFORNIA PUBLIC UTILITIES COMMISION 505 VAN NESS AVE. SAN FRANCISCO CA 94102 (415) 703-2329 mc3@cpuc.ca.gov Jeanne Clinton Executive Division RM. 4102 505 VAN NESS AVE San Francisco CA 94102 (415) 703-1159 cln@cpuc.ca.gov Regina DeAngelis Legal Division RM. 4107 505 VAN NESS AVE San Francisco CA 94102 (415) 355-5530 rmd@cpuc.ca.gov Paul Douglas Energy Division AREA 4-A 505 VAN NESS AVE San Francisco CA 94102 (415) 355-5579 psd@cpuc.ca.gov Dorothy Duda Administrative Law Judge Division RM. 5109 505 VAN NESS AVE San Francisco CA 94102 (415) 703-2800 dot@cpuc.ca.gov |
| Maryam Ebke Administrative Law Judge Division RM. 5116 505 VAN NESS AVE San Francisco CA 94102 (415) 703-2271 meb@cpuc.ca.gov Julie A. Fitch Executive Division RM. 5203 505 VAN NESS AVE San Francisco CA 94102 (415) 355-5552 jf2@cpuc.ca.gov Suzy Hong, Legal Division RM. 5125 505 VAN NESS AVE San Francisco CA 94102 (415) 703-2116 suh@cpuc.ca.gov Lisa Paulo, Energy Division AREA 4-A 505 VAN NESS AVE San Francisco CA 94102 (415) 355-5495 lp1@cpuc.ca.gov Terrie D. Prosper Executive Division RM. 5301 505 VAN NESS AVE San Francisco CA 94102 (415) 703-2160 tdp@cpuc.ca.gov Don Schultz Division of Ratepayer Advocates RM. SCTO 770 L STREET, SUITE 1050 Sacramento CA 95814 (916) 327-2409 dks@cpuc.ca.gov For: DRA Andrew Schwartz Division of Strategic Planning RM. 5119 505 VAN NESS AVE San Francisco CA 94102 (415) 355-5586 as2@cpuc.ca.gov | Anne E. Simon Administrative Law Judge Division RM. 5024 505 VAN NESS AVE San Francisco CA 94102 (415) 703-2014 aes@cpuc.ca.gov Donald R. Smith Division of Ratepayer Advocates RM. 4209 505 VAN NESS AVE San Francisco CA 94102 (415) 703-1562 dsh@cpuc.ca.gov For: DRA Christine S. Tam Division of Ratepayer Advocates RM. 4209 505 VAN NESS AVE San Francisco CA 94102 (415) 355-5556 tam@cpuc.ca.gov ********* INFORMATION ONLY ********** Marc D. Joseph, Attorney At Law ADAMS BROADWELL JOSEPH & CARDOZA 601 GATEWAY BLVD. STE 1000 SOUTH SAN FRANCISCO CA 94080 (650) 589-1660 mdjoseph@adamsbroadwell.com Ronald K. Ishii AESC, INC. 5927 BALFOUR COURT, SUITE 213 CARLSBAD CA 92008 (760) 931-2641 112 rishii@aesc-inc.com Karen Terranova ALCANTAR & KAHL, LLP 120 MONTGOMERY STREET, STE 2200 SAN FRANCISCO CA 94104 (415) 421-4143 filings@a-klaw.com Donald Brookhyser ALCANTAR & KAHL 1300 SW FIFTH AVE., SUITE 1750 PORTLAND OR 97210 (503) 402-8702 deb@a-klaw.com |
| Reed V. Schmidt BARTLE WELLS ASSOCIATES 1889 ALCATRAZ AVENUE BERKELEY CA 94703-2714 (510) 653-3399 rschmidt@bartlewells.com For: California City-County Street Light Association Tracey Drabant Energy Resource Manager BEAR VALLEY ELECTRIC SERVICE PO BOX 1547 BIG BEAR LAKE CA 92315-1547 (909) 866-1666 traceydrabant@bves.com Ryan Wiser BERKELEY LAB MS-90-4000 ONE CYCLOTRON ROAD BERKELEY CA 94720 (510) 486-5474 rhwiser@lbl.gov Mark Stout Major Accounts - Unlimited Energy BSEE/MA ENERGY AND RESOURCES 5004 E UNIVERSITY AVE FRESNO CA 93727 (559) 273-4037 mstout@unlimited-energy.com For: BSEE/MA ENERGY AND RESOURCES Bruno Jeider BURBANK WATER & POWER 164 WEST MAGNOLIA BLVD. BURBANK CA 91502 (818) 238-3700 bjeider@ci.burbank.ca.us CALIFORNIA ENERGY MARKETS 517-B POTRERO AVENUE SAN FRANCISCO CA 94110 CEM@newsdata.com Janice G. Hamrin CENTER FOR RESOURCE SOLUTIONS PRESIDIO BUILDING 97 PO BOX 29512 SAN FRANCISCO CA 94129 (415) 561-2100 jhamrin@resource-solutions.org | Steven G. Lins CITY OF GLENDALE OFFICE OF THE CITY ATTORNEY 613 EAST BROADWAY, SUITE 220 GLENDALE CA 91206-4394 (818) 548-3397 slins@ci.glendale.ca.us Tom Hoff CLEAN POWER RESEARCH 10 GLEN CT. NAPA CA 94558 (707) 224-9992 tomhoff@clean-power.com Donald C. Liddell, Pc DOUGLAS & LIDDELL 2928 2ND AVENUE SAN DIEGO CA 92103 (619) 993-9096 liddell@energyattorney.com Kevin J. Simonsen ENERGY MANAGEMENT SERVICES 646 EAST THIRD AVENUE DURANGO CO 81301 (970) 259-1748 kjsimonsen@ems-ca.com Epic Intern EPIC/USD SCHOOL OF LAW 5998 ALCALA PARK SAN DIEGO CA 92110 (619) 260-4806 usdepic@gmail.com Eric Yussman Regulatory Analyst FELLON-MCCORD & ASSOCIATES 9960 CORPORATE CAMPUS DRIVE LOUISVILLE KY 40223 (502) 214-6331 eyussman@knowledgeinenergy.com Ralph Dennis Director, Regulatory Affairs FELLON-MCCORD & ASSOCIATES 9960 CORPORATE CAMPUS DRIVE, SUITE 2000 LOUISVILLE KY 40223 (502) 214-6378 ralph.dennis@constellation.com |
| Diane I. Fellman Attorney At Law FPL ENERGY, LLC 234 VAN NESS AVENUE SAN FRANCISCO CA 94102 (415) 703-6000 diane_fellman@fpl.com Stephen Frantz 6301 S STREET, MS A353 SACRAMENTO CA 95817 (916) 732-5107 sfrantz@smud.org For: Sacramento Municipal Utility District Laura Fultz 5004 E UNIVERSITY AVE FRESNO CA 93727 (559) 486-2266 lfultz@unlimited-energy.com For: Unlimited Energy Mark Johnson GOLDEN SIERRA POWER PO BOX 551432 SOUTH LAKE TAHOE CA 96155 (530) 577-5142 markgsp@sbcglobal.net Michelle J. Breyer GOLDMAN, SACHS & CO. 85 BROAD STREET, 29TH FLOOR NEW YORK NY 10004 (212) 357-5501 michelle.breyer@gs.com Norman A. Pedersen HANNA AND MORTON LLP 444 SOUTH FLOWER STREET, SUITE 1500 LOS ANGELES CA 90071-2916 (213) 430-2510 npedersen@hanmor.com Orlando B. Foote HORTON, KNOX, CARTER & FOOTE 895 BROADWAY STREET EL CENTRO CA 92243-2341 (760) 352-2821 ofoote@hkcf-law.com | Elston K. Grubaugh IMPERIAL IRRIGATION DISTRICT 333 EAST BARIONI BLVD. IMPERIAL CA 92251 (760) 339-9224 ekgrubaugh@iid.com George Simons Principal Research Consultant ITRON 1104 MAIN STREET, SUITE 630 VANCOUVER WA 98660 (530) 756-4168 George.Simons@itron.com Tony Foster, ITRON INC. 1111 BROADWAY, STE 1800 OAKLAND CA 94607 (510) 844-2822 tony.foster@itron.com H. Clinton Porter KACO SOLAR 1002 B OREILLEY AVENUE SAN FRANCISCO CA 94129 (917) 292-7674 cp@kacosolar.com Nellie Tong, KEMA, INC. 492 NINTH STREET, SUITE 220 OAKLAND CA 94607 (510) 891-0446 nellie.tong@us.kema.com Phillip Mcleod LAW & ECONOMICS CONSULTING GROUP 2000 POWELL STREET, STE 600 EMERYVILLE CA 94608 phillip_mcleod@lecg.com Heather Hunt LAW OFFICE OF HEATHER HUNT 242 WHIPPOORWILL LANE STRATFORD CT 06614 (203) 380-1477 hfhunt@optonline.net Galen Barbose LAWRENCE BERKELEY NATIONAL LAB MS 90-4000 1 CYCLOTRON RD. BERKELEY CA 94720 (510) 495-2593 GLBarbose@LBL.gov |
| Mark Bolinger LAWRENCE BERKELEY NATIONAL LABORATORY MS 90-4000 ONCE CYCLOTRON ROAD BERKELEY CA 94720 (510) 495-2881 MABolinger@lbl.gov Karen Lindh LINDH & ASSOCIATES 7909 WALERGA ROAD, NO. 112, PMB119 ANTELOPE CA 95843 (916) 729-1562 karen@klindh.com Robert L. Pettinato LOS ANGELES DEPARTMENT OF WATER & POWER 111 NORTH HOPE STREET, SUITE 1150 LOS ANGELES CA 90012 (213) 367-1735 robert.pettinato@ladwp.com Dick Lowry 5901 BOLSA AVENUE HUNTINGTON BEACH CA 92647 (714) 903-5030 LowryD@sharpsec.com For: Sharp Electronics Corporation - Solar Energy Solutions Group Richard Mccann, Ph.D M. CUBED 2655 PORTAGE BAY, SUITE 3 DAVIS CA 95616 (530) 757-6363 rmccann@umich.edu C. Susie Berlin Attorney At Law MC CARTHY & BERLIN, LLP 100 PARK CENTER PLAZA, SUITE 501 SAN JOSE CA 95113 (408) 288-2080 sberlin@mccarthylaw.com Barry F. Mccarthy Attorney At Law MCCARTHY & BERLIN, LLP 100 PARK CENTER PLAZA, SUITE 501 SAN JOSE CA 95113 (408) 288-2080 bmcc@mccarthylaw.com | Cathy S. Woollums MIDAMERICAN ENERGY HOLDINGS COMPANY 106 EAST SECOND STREET DAVENPORT IA 52801 (563) 333-9008 cswoollums@midamerican.com Christopher J. Mayer MODESTO IRRIGATION DISTRICT PO BOX 4060 MODESTO CA 95352-4060 (209) 526-7430 chrism@mid.org MRW & ASSOCIATES, INC. 1999 HARRISON STREET, SUITE 1440 OAKLAND CA 94612 (510) 834-1999 mrw@mrwassoc.com Gordon Pickering Principal NAVIGANT CONSULTING, INC. 3100 ZINFANDEL DRIVE, SUITE 600 RANCHO CORDOVA CA 95670-6078 (916) 631-3200 gpickering@navigantconsulting.com Laurie Park NAVIGANT CONSULTING, INC. 3100 ZINFANDEL DRIVE, SUITE 600 RANCHO CORDOVA CA 95670-6078 (916) 631-3200 lpark@navigantconsulting.com Victoria P. Fleming NAVIGANT CONSULTING, INC. 3100 ZINFANDEL DRIVE, SUITE 600 RANCHO CORDOVA CA 95670-6078 (916) 631-3287 vfleming@navigantconsulting.com Liz Merry Executive Director NORCAL SOLAR 2402 WESTERNESSE RD. DAVIS CA 95616 (530) 852-0354 lmerry1@yahoo.com |
| Scott Tomashefsky NORTHERN CALIFORNIA POWER AGENCY 180 CIRBY WAY ROSEVILLE CA 95678-6420 (916) 781-4291 scott.tomashefsky@ncpa.com James Turnure PACIFIC GAS AND ELECTRIC COMPANY PO BOX 770000, MAIL CODE B9A SAN FRANCISCO CA 94177 (415) 973-4948 jtt8@pge.com Jay Luboff PACIFIC GAS AND ELECTRIC COMPANY PO BOX 770000, MC B9A SAN FRANCISCO CA 94177 (415) 973-5241 J1Ly@pge.com Josephine Wu PACIFIC GAS AND ELECTRIC COMPANY PO BOX 770000, MAIL CODE B9A SAN FRANCISCO CA 94177 (415) 973-3414 jwwd@pge.com Luke Tougas PACIFIC GAS AND ELECTRIC COMPANY PO BOX 770000, MC B9A SAN FRANCISCO CA 94177 (415) 973-3610 LATc@pge.com Michael Campbell PACIFIC GAS AND ELECTRIC COMPANY PO BOX 770000, MC B9A SAN FRANCISCO CA 94177 (415) 973-8343 MNCe@pge.com Marianne Walpert PACIFIC POWER MANAGEMENT 12970 EARHART AVE. SUITE 110 AUBURN CA 95602 (530) 887-1984 109 mwalpert@pacpower.biz Kyle L. Davis, PACIFICORP 825 NE MULTNOMAH, PORTLAND OR 97232 (503) 813-6601 kyle.l.davis@pacificorp.com | Steve Endo PASADENA DEPARTMENT OF WATER & POWER 150 S. LOS ROBLES PASADENA CA 91101 (626) 744-6246 sendo@ci.pasadena.ca.us Kari Smith POWERLIGHT CORPORATION 2954 SAN PABLO AVENUE BERKELEY CA 94706 (510) 868-1230 ksmith@powerlight.com David Hochschild PV NOW 3857 - 20TH STREET SAN FRANCISCO CA 94114 (415) 314-8042 david@pvnow.com James Ross, RCS, INC. 500 CHESTERFIELD CENTER, SUITE 320 CHESTERFIELD MO 63017 (636) 530-9544 jimross@r-c-s-inc.com Gary Hinners RELIANT ENERGY, INC. PO BOX 148 HOUSTON TX 77001-0148 (713) 497-4321 ghinners@reliant.com Charles Manzuk SAN DIEGO GAS & ELECTRIC 8330 CENTURY PARK COURT, CP 32D SAN DIEGO CA 92123 (858) 636-5548 cmanzuk@semprautilities.com Joy C. Yamagata SAN DIEGO GAS & ELECTRIC COMPANY/SCG 8330 CENTURY PARK COURT SAN DIEGO CA 92123 (858) 654-1755 jyamagata@semprautilities.com Jennifer Porter, Policy Analyst SAN DIEGO REGIONAL ENERGY OFFICE 8520 TECH WAY - SUITE 110 SAN DIEGO CA 92123 (858) 244-1180 jennifer.porter@sdenergy.org |
| Nathalie Osborn Project Manager SAN DIEGO REGIONAL ENERGY OFFICE 8520 TECH WAY, SUITE 110 SAN DIEGO CA 92123-1450 (858) 244-1193 nathalie.osborn@sdenergy.org Fraser D. Smith City And County Of San Francisco SAN FRANCISCO PUBLIC UTILITIES COMM 1155 MARKET STREET, 4TH FLOOR SAN FRANCISCO CA 94103 (415) 554-1572 fsmith@sfwater.org Michael A. Hyams Power Enterprise-Regulatory Affairs SAN FRANCISCO PUBLIC UTILITIES COMM 1155 MARKET ST., 4TH FLOOR SAN FRANCISCO CA 94103 (415) 554-1513 mhyams@sfwater.org Ellen Shafner SOLEL, INC. 701 NORTH GREEN VALLEY PARKWAY, STE. 200 HENDERSON NV 89074 (866) 677-0444 eshafner@solel.com Martin Kay Program Supervisor SOUTH COAST AIR QUALITY MANAGEMENT DISTR 21865 COPLEY DR. DIAMOND BAR CA 91765-3252 (909) 396-2000 mkay@aqmd.gov Paul Kubasek SOUTHERN CALIFORNIA EDISON 2244 WALNUT GROVE AVENUE ROSEMEAD CA 91770 (626) 302-8183 paul.kubasek@sce.com Clay E. Faber SOUTHERN CALIFORNIA GAS COMPANY 555 WEST FIFTH STREET, GT-14E7 LOS ANGELES CA 90013 (213) 244-5129 cfaber@semprautilities.com | Lisa Urick Attorney At Law SOUTHERN CALIFORNIA GAS COMPANY 555 W. FIFTH ST., M.L. GT14E7 LOS ANGELES CA 90071-2690 (213) 244-2955 lurick@sempra.com Dan Thompson SPG SOLAR 863 E. FRANCISCO BLVD. SAN RAFAEL CA 94901 (415) 459-4201 Dan.Thompson@SPGsolar.com Robert Gnaizda Attorney At Law THE GREENLINING INSTITUTE 1918 UNIVERSITY AVENUE, SECOND FLOOR BERKELEY CA 94704 (510) 926-4006 robertg@greenlining.org Tor Allen Executive Director THE RAHUS INSTITUTE 1535 CENTER AVE. MARTINEZ CA 94553 (925) 370-7262 cpucsolar@rahus.org Roger Pelote THE WILLIAMS COMPANY, INC. 12736 CALIFA STREET VALLEY VILLAGE CA 91607 (818) 761-5954 roger.pelote@williams.com Takako Morita THELEN REID & PRIEST 101 SECOND ST., SUITE 1800 SAN FRANCISCO CA 94105-3601 (415) 369-7353 tmorita@thelenreid.com Cliff Chen UNION OF CONCERNED SCIENTIST 2397 SHATTUCK AVENUE, STE 203 BERKELEY CA 94704 (510) 843-1872 cchen@ucsusa.org |
| John Galloway UNION OF CONCERNED SCIENTISTS 2397 SHATTUCK AVENUE, SUITE 203 BERKELEY CA 94704 (510) 843-1872 jgalloway@ucsusa.org Scott J. Anders Research/Administrative Center UNIVERSITY OF SAN DIEGO - LAW 5998 ALCALA PARK SAN DIEGO CA 92110 (619) 260-4589 scottanders@sandiego.edu Michael Shames Attorney At Law UTILITY CONSUMERS' ACTION NETWORK 3100 FIFTH AVENUE, SUITE B SAN DIEGO CA 92103 (619) 696-6966 mshames@ucan.org Andrew J. Horn VAN HORN CONSULTING 12 LIND COURT ORINDA CA 94563-3615 (925) 254-3358 andy.vanhorn@vhcenergy.com Christopher O'Brien Sharp Solar VP STRATEGY AND GOVERNMENT RELATIONS 3808 ALTON PLACE NW WASHINGTON DC 20016 (202) 486-3427 obrienc@sharpsec.com For: VP STRATEGY AND GOVERNMENT RELATIONS |  |

Any size project may opt for PBI payments.

The first 50 MW are allocated under the 2006 Self-Generation Incentive Program (SGIP) and are not pro-rated by customer class or service territory.  In 2006, most residential systems participated in the California Energy Commission’s Emerging Renewables Program.

The basis for these step changes is discussed in Section VII.B.2.

The first 50 MW are disbursed under the 2006 SGIP at a uniform rate of $2.80 per watt.

See “ALJ’s Ruling Requesting Comment on Staff Proposal for Performance Based Incentives and Other Elements of the California Solar Initiative,” April 25, 2006, (hereinafter “Staff Proposal”).

The comments of Solargenix and Pacific Power Management were not filed formally, but were placed in this proceeding’s correspondence file.

“Conditional reservation” is defined as the initial application screening and payment of the application fee.  As of July 18, 2006, the SGIP program administrators website indicates conditional reservations have reached a level of 46 MW, so it is expected the incentive level will automatically drop to $2.50 per watt before the end of 2006.

The federal tax credit reverts to 10% on January 1, 2008, unless currently pending legislation extends it.

The Staff proposed that in order to qualify for a higher incentive, tax exempt entities must certify they will not enter into any third party financing arrangements that qualify participants for federal solar tax credits.  (Staff Proposal, p. 13.)  Otherwise, tax-exempt entities will receive the commercial rate.

These per watt figures assume a 20% capacity factor and no discount rate.

Government/Non-Profit customers must certify they will not enter into any third party financing arrangements that qualify participants for federal solar tax credits.  Otherwise, they will be paid at the lower commercial rate.

In addition, tax-exempt entities are not able to take advantage of other tax benefits such as depreciation and interest deductions.

Staff estimates customer net cost per kWh of 13¢/kWh for tax-exempt entities versus 9.4¢/kWh for a commercial customer.  (Staff Proposal, p. 18.)

An Energy Division data request on June 16, 2006 to SGIP Program Administrators indicates SGIP applications from government and non-profit customers have amounted to 45% of the total PV capacity installed through SGIP since the program began in July 2001.

CEC-AC ratings are one means of estimating system output.  They are defined and discussed in detail in Section III.C.1 regarding EPBB incentive payments.

We will maintain the CEC-AC rating system, as we discuss in more depth in Section III.C.1.

This table is based on the EPBB per watt rates shown in Table 6, Section III.C.

Residential PBI payments are shown in this table for those cases where a residential solar owner opts in to PBI, presumably because they believe they have a high-performing system.

Incentives for the first 50 MW are disbursed under the 2006 SGIP program and PBI payments do not apply.

The PBI payments in Steps 2 and 3 are based on a capacity factor of 18%.  Steps 4 through 10 are based on a 20% capacity factor.

An inverter converts the direct-current (DC) electricity from solar panels into alternating current (AC) electricity.

We note the CEC is developing an EPBB solar output estimation tool for use in their New Solar Homes Partnership program, which pays solar incentives to residential new construction.  This tool is expected to be available by fall 2006.  Once the CEC’s tool is completed and operational, the program administrators should consider whether it or some other calculation approach is most appropriate to calculate EPBB payments.

This issue will be addressed more specifically in Phase 2 of this proceeding.

The first 50 MW incentives are disbursed at a statewide rate of $2.80 per watt through the 2006 SGIP program.

This element of the Staff Proposal was clarified in an ALJ ruling of May 9, 2006.

There are other facts present here that further support our conclusion that these would be subsidies provided by a public utility.  These include the following:  the source of the funds are utility rates (not including Public Goods Charge (PGC) funds); the funds never pass through the hands of a governmental entity; the third-party administrator is hired pursuant to a contract with the utility; while the Commission may advise about the selection of the administrator, the administrator is selected by the utility.

Thus, even if it should prove necessary to have the check that is issued to the consumer bear the name of the third-party administrator, it would seem that the subsidies are still “sponsored by” the utility and thus are still eligible for Section 136 treatment.  Of course, it will be important to have sufficient accounting controls to ensure that the monies paid to the consumer are those provided by the utility.

Rulemaking 05-06-040 is examining confidentiality generally.  Parties may wish to refer to the first decision in that proceeding, D.06-06-066, for guidance on how to treat information relevant to CSI.

See SDG&E/SoCalGas Comments, 5/16/05, p. 22.

SDG&E explains that a simple (electro-mechanical) meter costs $25, an interval data recording (IDR) meter costs $175, and a meter with remote communications for collecting historical time series data costs approximately $750.  (SDG&E/SoCalGas Comments, 5/16/05, p. 22.)

SDG&E’s percentages of solar system installed cost are based on an assumed PV system cost of $6000/kW.  Other parties’ comments indicate systems today cost considerably more than that.

PG&E’s AMI proposal (A.05-06-028) was approved by the Commission on July 20, 2006.

We realize that the metering protocols may require additional time.  If proposed performance monitoring protocols cannot be established by the deadlines for the initial draft CSI Program Handbook, the ALJ may determine a separate schedule for the metering committee to file its proposals.

Rule 25 pertains to Direct Access third-party meter and data rules.  This is Rule 22 for PG&E and SCE.

We require an IDR solar production meter for systems above 10 kW.  The cost for these meters can be substantially lower than the utility charges for rate-based utility TOU meters and utility meter reading.

The CSI Program budget for each utility is set forth in D.06-01-024, p. 7.

These percentages are set forth in Table 2 of D.06-01-024 and are 44% for PG&E, 34% for SCE, 13% for SDG&E and 9% for SoCalGas.

The first 50 MW are allocated on a first-come, first-served basis through the 2006 SGIP program.

The web address for this site is http://www.sgip-ca.com.

We address plans both for marketing and outreach, and for measurement and evaluation in Phase 2 of this proceeding. Until that time we direct administrators to spend no more than half of the funding reserved for administration (thus, up to 5% of total spending from the 10% reserved for all administrative components).  We understand that administrative activities will be detailed in the CSI Handbook, expected to be resolved by the end of 2006. Thus we direct each of the administrators to submit estimated CSI administrative costs for 2007 and 2008 to Energy Division staff by March 31, 2007.

The non-residential sector includes commercial and tax-exempt customers.

During Phase 2, we will adopt a decision regarding the program rules for affordable housing participation in CSI.  The above table now treats residential targets alike, and may be amended in Phase 2 to separate out affordable housing solar goals.

The first 50 MW are allocated under the 2006 SGIP program and are not pro-rated by customer class or service territory.

The percentages are based on one-third of 2,550 MWs because we do not include the approximately 50 MWs of solar applications received in 2006.

The first 50 MW are disbursed under the 2006 SGIP program at a uniform rate of $2.80 per watt.