STATE OF CALIFORNIA	GRAY DAVIS, Governor

PUBLIC UTILITIES COMMISSION

505 VAN NESS AVENUE

SAN FRANCISCO, CA 94102-3298

August 13, 2001									     18

8/23/01

TO:  PARTIES OF RECORD IN RULEMAKING 00-10-002

This is the draft decision of Commissioner Wood.  It will be on the Commission’s agenda at the meeting on August 23, 2001.  The Commission may act then, or it may postpone action until later.

When the Commission acts on the draft decision, it may adopt all or part of it as written, amend or modify it, or set it aside and prepare its own decision.  Only when the Commission acts does the decision become binding on the parties.

Pursuant to Rule 77.7(f)(9), comments on the draft decision must be filed no later than August 20, 2001.  Reply comments will not be accepted.

In addition to service by mail, parties should send comments in electronic form to those appearances and the state service list that provided an electronic mail address to the Commission, including ALJ Galvin at mfg@cpuc.ca.gov.  Finally, comments must be served separately on the Assigned Commissioner, and for that purpose I suggest hand delivery, overnight mail, or other expeditious methods of service.

/s/ LYNN T. CAREW

Lynn T. Carew, Chief

Administrative Law Judge

LTC:t93

Attachments

Decision DRAFT DECISION OF COMMISSIONER WOOD  (Mailed 8/13/2001)

BEFORE THE PUBLIC UTILITIES COMMISSION OF THE STATE OF CALIFORNIA

| Order Instituting Rulemaking into the Operation of Interruptible Load Programs Offered by Pacific Gas and Electric Company, San Diego Gas & Electric Company, and Southern California Edison Company and the Effect of these Programs on Energy Prices, Other Demand Responsiveness Programs, and the Reliability of the Electric System. | Rulemaking 00-10-002 (Filed October 5, 2000) |
| --- | --- |

OPINION ON RAIL TRANSIT SYSTEMS’ AND FREIGHT AND COMMUTER RAILROADS’ ROTATING OUTAGE EXEMPTION AND EMERGENCY PETITION TO MODIFY DECISION 01-06-087

TABLE OF CONTENTS

Title	Page

OPINION ON RAIL TRANSIT SYSTEMS’ AND FREIGHT AND COMMUTER RAILROADS’ ROTATING OUTAGE EXEMPTION AND EMERGENCY PETITION TO  MODIFY DECISION 01-06-087	1

A.	Summary	3

B.	Background	3

C.	Jurisdictional Issues	4

D.	Petitions for Modification	5

E.	RSCD Report	7

F.	Discussion	13

G.	Emergency Petition to Modify D.01-06-087	20

H.	Public Review and Comment.  Need for Expedited Consideration	21

Findings of Fact	22

Conclusions of Law	24

ORDER	26

# Summary

We grant rail transit systems a Category J exemption from rotating outages for those sections of track that have limited access to emergency response personnel.  We require respondent utilities Pacific Gas and Electric Company (PG&E), San Diego Gas & Electric Company (SDG&E), and Southern California Edison Company (SCE) to establish and implement health and safety mitigation measures with the rail transit systems for those sections of track and operations that have limited access to emergency response personnel.  We also require rail transit systems to maintain contingency plans for unanticipated and unannounced interruptions of electricity.

Finally, we order SDG&E to file an advice letter to make any necessary changes to comply with the Optional Binding Mandatory Curtailment (OBMC) program changes required by Decision (D.) 01-06-087 within five days after the effective date of this order.

# Background

In D.01-04-006, issued on April 3, 2001, we adopted changes to the respondent utilities’ interruptible tariffs and rotating outage programs, approving a rail transit system Category J Exemption for the Bay Area Rapid Transit District (BART) and for the underground portion of the San Francisco Municipal Railway (MUNI).  We scheduled the remaining portion of MUNI operations for review by PG&E so that mitigation measures could be established to ensure the safety of MUNI passengers and staff during rotating outages.

BART and MUNI were the only transit systems identified as parties to this proceeding.  Los Angeles County Metropolitan Transit Authority (LACMTA), Sacramento Regional Transit District (SRTD), Santa Clara Valley Transportation Authority (SCVTA), and San Diego Trolley Incorporated (SDTI) were invited to make a joint proposal, in cooperation with serving utilities, other rail transit systems, and the Commission’s Rail Safety and Carrier Division (RSCD) for necessary and reasonable public health and safety mitigation measures.

# Jurisdictional Issues

On May 17, 2001 the Sacramento Municipal Utility District (SMUD) filed a response seeking a clarification of D.01-04-006 relating to a rotating outage plan involving the rail transit facilities of SRTD.  D.01-04-006 identified SRTD as a rail transit system under the Commission’s jurisdiction.  SMUD maintains that the Commission lacks jurisdiction in these matters because all of the rail transit facilities of SRTD are located within the service territory of SMUD, a municipal utility, and powered exclusively by SMUD.

SMUD requests that we clarify that a rotating outage plan involving the electric service of SRTD is beyond our jurisdiction.  SMUD supports a plan that ensures a rotating outage would not raise public safety issues related to rail transit systems.  Thus, SMUD recommends that we consider a rotating outage plan that excludes only those electric circuits whose loss would render all or a portion of the system inoperable.

For purposes of this order, we do not assert jurisdiction over SMUD to establish a SRTD rotating outage plan.  We discuss our standard for exemptions for rail transit systems below.

# Petitions for Modification

Three parties filed petitions for modification (petitions) of D.01-04-006.

Petitioners request a blanket exemption because of health and safety issues associated with the rail transit systems’ unique environment.  For example, rail transit systems operating in at-grade alignments frequently utilize ballast (gravel type material) on their systems, a walking surface not conducive to evacuations of passengers in street shoes, high heels or other common mobility limiting apparel.

Petitioners explain that trains stranded between stations without traction power may require controlled or uncontrolled evacuation of passengers.  This, in turn, may require passengers and emergency response personnel to walk on irregular ballasted surface, posing the risk of injury to passengers.  Petitioners maintain that the risk of injury would be heightened in any such evacuation involving elderly passengers, passengers in wheelchairs, and in connection with another emergency such as a fire.

Although at-grade crossing warning systems are designed to lower to their “fail-safe” down position, petitioners believe that rotating outages will present an unacceptable risk to passengers on trains and to motorists.  In the event of a power outage, petitioners are concerned that impatient motorists waiting at grade crossings will circumvent the lowered gates and proceed through the crossing.  Petitioners are also concerned about the response time of emergency personnel due to traffic congestion at the crossings.

LCMTA also contends that federal law may prohibit imposition of rotating outages on common corridor shared grade crossings.  As part of the Union Pacific system, LCMTA explains that certain crossings are regulated by the Federal Railroad Administration, which has issued rules that preempt any regulation of at-grade crossings, including any actions that have an impact on the safety or operation of them by any state agency.

Petitioners state that rail transit systems that operate on aerial structure alignments present accessibility challenges to emergency response personnel.  Any power outage that stranded trains on an aerial structure would expose passengers to the hazard of falling from the doorway of the train into the right-of-way or from overhead structures to the ground below.

Petitioners do not accept advance notification of rotating outages from the respondent utilities as an adequate mitigation measure because the respondent utilities cannot guarantee that they will be able to comply with an advance notice requirement.

Thus petitioners recommend that the Commission authorize respondent utilities to exempt all rail transit systems from rotating outages because electrical outages for rail transit systems will negatively impact the safety of passengers on rail transit systems.

# RSCD Report

The Presiding Officer and Assigned Commissioner issued a ruling on May 30, 2001 that directed RSCD to file and serve a report by June 7, 2001 with recommendations on the rail transit systems’ petitions.

Although RSCD does not concur with the petitioners’ proposal to fully exempt rail transit systems from rotating outages, RSCD does recommend an exemption from rotating outages for those sections of track to which emergency response personnel have limited access, such as exclusive right-of-ways, ballasted tracks, underground sections, tunnels, tubes, aerial structures, and control centers.

On June 26, 2001, the Presiding Officer and Assigned Commissioner issued a ruling that required RSCD to submit a supplemental report by July 9, 2001 listing specific facilities that meet its recommended exemption from rotating outages.  The ruling asked all rail transit systems which had filed petitions to cooperate and assist RSCD in obtaining the supplemental information.  The ruling also directed respondent utilities to use RSCD’s supplemental report to conduct a load/reserve margin analysis by July 16, 2001 to determine the impact of RSCD’s proposed partial rotating outage exemption on their total system load available for rotating outage.  The ruling invited parties to file and serve comments on the RSCD and respondent utilities reports within three days from the date filed.

## RSCD Recommendations

RSCD proposed the following recommendations.

### Rail Transit Systems

- Exempt those sections of a rail transit systems’ track that have limited access to emergency response personnel from any rotating outage.

- PG&E, SDG&E or SCE, as appropriate should provide one hour advanced person-to-person telephone notifications of rotating outages to the Operations Control Center of any affected rail transit system.

- Each rail transit system should establish and implement procedures for rotating outages to ensure the safety of pedestrian evacuees on or about the right-of-way.  Where there is a shared common corridor with a freight or commuter railroad, the rail transit system should establish and implement procedures to contact the freight or commuter railroad’s train dispatching center advising of the outage, any necessary evacuations or other emergency activities.

- Rail transit systems and freight or commuter railroads operating in a common corridor should establish procedures jointly to ensure the safety of pedestrian evacuees on or about the right-of-way.

- PG&E, SDG&E, and SCE should establish necessary and reasonable mitigation measures with each impacted rail transit system.  PG&E, SDG&E, and SCE should file and serve a report within 30 days of this decision on the necessary and reasonable mitigation measures which the respondent utility and impacted rail transit system agree to including the measures that the respondent utility will implement.  Any rail transit system may file a complaint with the Commission if safety issues involving this matter are not resolved with the respondent utility.

- Rail transit systems should determine whether they are subject to rotating outages on those portions of track receiving electric power from sources other than the respondent utilities.

- The exemption from rotating outages granted to BART in D.01-04-006 should remain in effect.

- The underground exemptions from rotating outages granted to MUNI in D.01-04-006 should remain in effect.  With respect to the non-underground portion of MUNI, PG&E should establish necessary and reasonable mitigation measures with MUNI.

### Grade Crossing Warning Devices

- Rail Transit systems and freight or commuter railroads operating in common corridors should coordinate and jointly test grade crossing warning devices’ emergency battery life.

- Rail transit systems and freight or commuter railroads operating in common corridors should conduct planned exercises and safety efficiency testing of the recommended emergency procedures.

- Freight and commuter railroads should test grade crossing warning devices under simulated “power-off” to determine current condition of estimated back-up life of the emergency batteries.

- Freight and commuter railroads and rail transit systems should maintain and replace, as necessary, batteries in high rail traffic use crossings.

- Freight and commuter railroads and rail transit systems should ensure that crossing gates “fail” in the down position.

- Cities, counties, and other agencies that operate nearby preempted traffic signals connected to grade crossings should develop alternative means of providing warnings to motorists, including, but not limited to, battery backup, police, and flag persons.

- Freight and commuter railroads and rail transit systems, as necessary, should operate at “restricted speed” (e.g. ability to stop in ½ the range of vision, not to exceed 20 mph) over grade crossings interconnected with preempted traffic signals during power outages.

### Freight and Commuter Railroads

- PG&E, SDG&E, and SCE, as appropriate should provide one-hour advanced person-to-person telephone notifications of a rotating outage to each OCC or central dispatching center of any impacted freight and commuter railroad.

- Where common corridors are shared with rail transit systems, freight and commuter railroads should establish and implement procedures to ensure the safety of rail transit pedestrian evacuees on or about the right-of-way.  Those procedures should include notification from the rail transit systems’ operations control center to the respective freight or commuter railroad’s train dispatching center advising of the outage and any necessary evacuations.

- Rail transit systems and freight and commuter railroads should jointly establish procedures to ensure the safety of pedestrian evacuees on or about the right-of-way.

- PG&E, SDG&E, and SCE should establish necessary and reasonable mitigation measures with each impacted rail transit system.  PG&E, SDG&E, and SCE should file and serve a report within 30 days of this decision on the necessary and reasonable mitigation measures which the respondent utility and each impacted freight and commuter railroad agree to including the measures that the respondent utility will implement.

- Each freight or commuter railroad may file a complaint with the Commission if there are unresolved disputes.

## RSCD Supplemental Report

In its supplemental report, RSCD recommends that the entire SCE portion of LACMTA’s Green Line and the SCE portion of LACMTA’s Blue Line, except for the Blue Line street-running sections in Downtown Long Beach, be exempted from rotating outages, as detailed in Appendix A to this decision.  For SCVTA, RSCD recommended that the SCVTA Control Center and those portions of SCVTA track that are exclusive right-of-way and ballasted be exempted from rotating outages, as detailed in Appendix B to this decision.  RSCD made no recommendation for SDTI because SDTI did not submit sufficient information.

RSCD also recommends that the following common corridor mitigation measures be adopted.

- Freight and commuter railroads and rail transit systems should coordinate and jointly test grade crossing warning devices which are separately maintained within a common corridor.  Power source variability, operational characteristics and battery life of the two systems should be confirmed.

- Freight and commuter railroads and rail transit systems should test grade crossing warning devices under simulated “power-off” conditions to determine current condition of and estimated back-up life of emergency batteries.  All railroads and rail transit systems should ensure that crossing gates “fail” in the down position as designed.

- Cities, counties, and other agencies that operate nearby preempted traffic signals connected to grade crossings should determine how a power outage will affect these devices.  If the preemptive signals have no battery backup system, or they lose functionally during and after a blackout, then alternative means of providing warnings to motorists must be employed.  Freight and commuter railroads and rail transit systems not otherwise affected should, as necessary, operate at “restricted speed” (e.g. able to stop in ½ the range of vision, not to exceed 20 mph) over grade crossings interconnected with preempted traffic signals affected by a blackout but not protected by other alternative means.

- Freight and commuter railroads and rail transit systems should maintain emergency procedures that address the risks presented by the evacuation of pedestrian passengers stranded by a blackout affecting a rail transit vehicle mid-route through a common corridor right-of-way where freight and/or commuter trains may be operating at full speed.  Carriers should ensure effectiveness of emergency procedures through employee testing and unannounced mock drills.

- This order should be served on all railroad corporations operating in California and they should be added to the service list.

RSCD received additional information from SDTI and filed a second supplemental report on July 31, 2001, that identified the specific SDTI facilities and sections of track that meet RSCD’s rotating outage exemption criteria.  (Appendix C.)

## Impact of RSCD proposed Rotating Outage Exemptions

PG&E, SDG&E, and SCE timely filed and served their reports on the results of their load/reserve margin analysis and impact on total system load outages.

The following tabulation shows the number of circuits, megawatts, and total system load affected, excluding circuits already exempted, by RSCD’s recommended exemption for rotating outages.

| - Affected |  |  |  |
| --- | --- | --- | --- |
| - Utility | - Circuits | - Megawatts | - Load |
| - PG&E | - 2 | - 17.3 | - .10% |
| - SDG&E | - 15 | - 93.8 | - 2.00 |
| - SCE | - 21 | - 46.8 | - 0.21 |

# Discussion

The Commission adopted a system of priorities for statewide reduction of electric service in 1976 pursuant to Pub. Util. Code §§ 2771-2776.  D.91548 directed the utilities to maintain 50% of their system load available for rotating outages while protecting essential users to the maximum extent practical.  The Commission lowered 50% reserve margin to 40% in 1982.  Currently utilities must have 40% of their peak load available for rotating outages.

Exemptions from rotating outages do not guarantee a continuous supply of electricity or freedom from interruption.  Unanticipated and unannounced interruptions of the supply of electricity may result from factors such as an earthquake, fire, windstorm, lightning strike, and a car colliding with a power pole.  Therefore, all parties should maintain contingency plans to address unanticipated and unannounced interruptions of the supply of electricity, whether or not they are granted exemptions from rotating outages.

We must be very cautious in granting exemptions from rotating outages to ensure that electric utility operating margins are maintained at safe levels, not necessarily at the minimum reserve requirement, and so as not to burden a relative small percentage of customers.  We will allow exemptions from rotating outages based on public health and safety only upon the existence of hazardous conditions that could result in imminent death or severe injury and that cannot be minimized, controlled, corrected, or eliminated through mitigation measures.

The actual reserve margin available for rotating outages prior to granting any Category J exemptions in this order or a subsequent order that will address almost 10,000 requests for a Category M exemption is approximately 52% for PG&E, 53% for SDG&E, and 51% for SCE.  This means that PG&E has a maximum of 12% of its reserve margin available for additional exemptions from rotating outages, SDG&E 13%, and SCE 11%.

RSCD meticulously identified those sections of track to which emergency response personnel have limited access, as listed in Appendix A, B, and C of this order.  Such limited access constitutes a hazardous condition for public health and safety.  We therefore grant these locations a Category J exemption from rotating outages.  These exemptions do not adversely impact the respondent utilities’ required level of peak load available for rotating outages.

RSCD also identified those sections of track which are accessible by emergency response personnel.  RSCD does not recommend exemptions from rotating outages but does recommend mitigation measures to minimize or control the public health and safety issues at these locations.  Petitioners contend that the mitigation measures proposed by RSCD will not alleviate their public health and safety concerns.

## One-Hour Advance Notice

RSCD recommends that respondent utilities provide impacted freight and commuter railroads a one-hour person-to-person advance telephone notification of rotating outages.  Respondent utilities and petitioners contend that there is no guarantee that the respondent utilities can provide freight and commuter railroads with a one-hour advance notice.

For example, SCE explains that even though Executive Order D-38-01 (Executive Order) issued by Governor Gray Davis on June 5, 2001, required the ISO to notify utilities at least one hour in advance of any firm load curtailment, that notice is actually a “1-Hour Probability Notice.”  In other words, it serves as a forecast that rotating outages may be called within the next 90 minutes or sooner.  SCE concludes there can be no guarantee that the notice the respondent utilities obtain from the ISO and conveys to the rail transit systems will be sufficient to allow all trains to get to a safe location.

There may be no guarantee that respondent utilities will convey an actual one-hour advance notice of rotating outages to the rail transit systems.  However, as RSCD explains, the Executive Order requires the ISO, in part, to notify the general public of the potential for rolling blackouts 48 hours in advance and to update this forecast 24 hours in advance, based upon such factors as weather, outages, supply, and demand.  The Executive Order also requires frequent updates to the public during periods of forecasted electricity emergencies and notification to the utilities of any firm load curtailment at least one hour in advance.  The Executive Order also requires utilities to provide notification no less than one hour in advance of any rotating outage of the time and location where the anticipated blackout will occur.  That notice is to include common geographical boundaries, grid or block numbers, and maps or similar identifying information so the public and affected customers can readily understand where the rotating outages will occur.

The Executive Order ‘s requirement provides the utilities, rail transit systems, and general public with sufficient notice to prepare for rotating outages.  They will receive a 48-hour advance notice that will be updated 24 hours in advance, and more frequently as conditions change.  Planned rotating outages will not occur until after the ISO has called for a Stage I voluntary curtailment of energy usage and subsequently required Stage II mandatory curtailment.  Although the respondent utilities cannot provide a guarantee, they can provide reasonable notice of the probability of imminent rotating outages.

In addition, the Presiding Officer and Assigned Commissioner ordered respondent utilities to include a customer’s rotating outage block number on each customer’s bill and rotating outage information on each utility’s website.  This additional information provides rail transit systems with necessary information to determine which rotating outage block was last impacted by rotating outages and which of the rail transit systems services, if any, are subject to upcoming rotating outages.  We affirm these requirements in this decision.

Therefore, the advance notification provided by the requirements of the Executive Order, the Presiding Office and Assigned Commissioner’s April 26, 2001 ruling, and the additional mitigation measures recommended by RSCD will provide the rail transit systems with sufficient advance notice of planned rotating outages.  We adopt this proposal.

## Person- to- Person Call

RSCD recommends that PG&E, SDG&E and SCE provide telephone notification in advance of a rotating outage.  SCE states that it already has procedures in place to make contact with numerous customers and stakeholder groups such as critical care customers and public safety agencies.  For example, SCE recently contracted with a new vendor for an enhanced system that can send messages through multiple communication channels selected by SCE’s customers.  These multiple communications channels include telephone, cellular telephone, pager, telecopier, e-mail, and wireless personal digital assistance.

SCE proposes to include the rail transit systems in this multiple communications channels procedure to satisfy any advance notification obligation and provide nearly immediate notification, within five minutes of message initiation.  LACMTA also believes that SCE’s current notification method through the use of a passive auto dialer system is adequate and should be continued.

Person-to-person advance contact guarantees a positive two-way communication that rail transit systems have been properly notified and should be adopted.  Passive auto dialer systems may replace the person-to-person contact only if the passive auto dialer system is capable of receiving a confirmation that rail transit systems personnel have received the notification.  The utilities may implement these procedures if they can provide this confirmation.

## Grade Crossing Warning Devices

LACMTA contends that the RSCD recommendations for grade crossing warning devices will not necessarily result in improved safety during rotating outages.  LACMTA explains that the battery backup for its grade crossing warning devices provides power to operate the warning devices (gates, flashing lights and bells) only when utility power is available to the track circuit/train detection system.  Any loss of power to the track circuit/train detection system will cause the gates to lower, and remain in the lowered, or fail-safe position until power is restored.  With the loss of power, the battery backup only provides power to the flashing lights and warning bells until the batteries are exhausted.  The battery backup will not operate the gates under a loss of power to the track circuit/train detection system.

All freight and commuter railroad operations must comply with federal grade crossing safety regulations contained in Part 243 of Title 49 Code of Federal Regulations. Part 234.215 requires a standby source of power to be provided with sufficient capacity to operate the warning systems of grade crossings during any period of primary power interruption.  In the event of an activation failure due to a power outage or other cause, Part 234.105 sets forth specific action that the railroad carrier having maintenance responsibility for the warning system must promptly initiate, including notification to law enforcement agencies having jurisdiction over the crossing and providing for alternative means of actively warning motorists.  Nothing being authorized by this order is intended to replace or conflict with these federal grade crossing safety regulations.

RSCD recommends the mitigation measures for grade crossing warning devices that are intended to insure that the safety of rail transit system passengers and motorists are maintained at the same level as those for freight and commuter railroads.  Upon the loss of power by rotating outages, crossing gates should fail in the down position and associated backup batteries should have sufficient life to operate flashing lights and warning bells during periods of rotating outages.  Although passengers and motorists may be inconvenienced, the mitigation measures recommended by RSCD for grade crossing warning devices should be adopted.

## Station Power

Loss of power at the stations of rail transit systems could affect station lighting, escalators, elevators, public address speakers, fire/life safety systems, ventilation fans, and other safety-related systems.  Mitigation measures for the loss of station power are already in place.  Each rail transit system has an Emergency Plan in place that includes procedures and some back-up power facilities for power failures including rotating outages.  Although passengers may be inconvenienced, these emergency plans are designed to alleviate, if not eliminate, imminent danger to public health and safety.  We will therefore not exempt station power from rotating outages.

## Traction Power

Loss of traction power for rail transit systems means that rail transit vehicles are likely to be stopped anywhere on the lines in the area affected by rotating outages including underground sections, tunnels, tubes, aerial structures, the middle of major intersections, grade crossings, or in the ballasted trackway of a freeway.  If rotating outages occur, this does not affect the traction power of freight and commuter rail that use diesel-electric powered locomotives because the electric power generated aboard each locomotive runs the traction motors to propel their trains.

We do not grant additional exemptions for loss of traction power.  The exemptions we authorize in this decision resolve the public health and safety concerns of petitioners for loss of traction power in ballasted tracks, underground sections, tunnels, tubes, and aerial structures.  Although passengers may be inconvenienced because exemptions from rotating outages are not being granted for the major intersections, grade crossings, and street running alignments, the mitigation measures recommended by RSCD will reasonably minimize and control the loss of traction power.

## Summary

RSCD’s proposed mitigations for rail transit systems, grade crossing warning devices, freight and commuter railroads, and common corridor operations will reasonably minimize, control, and correct the public health and safety issues at these locations.  We will adopt the recommendations of RSCD.

# Emergency Petition to Modify D.01-06-087

On July 5, 2001 SDG&E filed an emergency petition to modify D. 01-06-087.  This decision modified the Optional Binding Mandatory Curtailment (OBMC) program to allow circuit aggregation to uniformly apply the calculation of excess energy and determination of compliance for required load reductions, and to provide flexibility in the 10-day baseline measurement.

SDG&E seeks to modify the new requirement dealing with the days of exclusion used in determining the OBMC program 10-day baseline, as set forth in Section 2.4.3.of the OBMC program.  SDG&E states that the new requirement will preclude two of its existing OBMC customers from continuing to participate in the program.  Without the participation of these customers in the OBMC program, SDG&E states that it would lose 3.4 MW of load reduction during Stage 3 events.

On July 30, 2001, SDG&E filed a motion to withdraw its emergency motion on the basis that SDG&E and its OBMC program customers have subsequently determined they would not be impacted by the 10-day baseline changes.

We will grant SDG&E’s motion to withdraw its emergency motion. SDG&E must comply with the 10-day baseline changes set forth in Ordering Paragraph 7 of D.01-06-087.  Within five days of the effective date of this decision, SDG&E should file an advice letter to make any necessary tariff changes to comply with D.01-06-087.

# Public Review and Comment.  Need for Expedited Consideration

Rule 77.7(f)(9) of the Commission’s Rules of Practice and Procedure provides in relevant part that:

“…the Commission may reduce or waive the period for public review and comment under this rule…for a decision where the Commission determines, on the motion of a party or on its own motion, that public necessity requires reduction or waiver of the 30-day period for public review and comment.  For purposes of this subsection, “public necessity” refers to circumstances in which the public interest in the Commission adopting a decision before expiration of the 30-day review and comment period clearly outweighs the public interest in having the full 30-day period for review and comment.  “Public necessity” includes, without limitation, circumstances where failure to adopt a decision before expiration of the 30-day review and comment period…would cause significant harm to public health or welfare.  When acting pursuant to this section, the Commission will provide such reduced period for public review and comment as is consistent with the public necessity requiring reduction or waiver.”

We balance the public interest in quickly addressing rotating outage exemptions for rail transit systems due to the severe electric shortage and expectations of rolling outages this summer against the public interest in having the full 30-day comment cycle on the proposed modifications.  We conclude that the former outweighs the latter.  We must respond quickly in order to provide some certainty in the upcoming months, and find that a reduced public review and comment period balances the need for input with the need for timely action before Summer 2001.

On August 13, 2001, the draft decision of Assigned Commissioner and Presiding Officer Wood on this matter was mailed to parties in accordance with Section 311(g) of the Public Utilities Code and Rule 77.7 of the Commission’s Rules of Practice and Procedure.  Comments were filed and served on ___________.

Findings of Fact

- For purpose of this order, the Commission does not assert jurisdiction over SMUD to establish a SRTD rotating outage plan.

- BART has a Category J exemption from rotating outages for its entire rail transit system.

- MUNI has a Category J exemption from rotating outages for the underground portion of its rail transit system.

- Rail transit systems operating in at-grade alignments frequently utilize gravel type material on their systems, a walking surface not conducive for evacuations of passengers.

- At-grade crossing warning systems are designed to lower the gates to a “fail-safe” down position.

- Rail transit systems that operate on aerial structure alignments present accessibility challenges to emergency response personnel.

- RSCD recommends that exemptions from rotating outages be granted for those sections of track to which emergency response personnel have limited access.

- RSCD supplemented its report with a list of specific facilities that meet its criteria proposed for rotating outage exemptions.

- RSCD recommends mitigation measures for those sections of track not found eligible for exemptions.

- Respondent utilities are required to have 40% of their peak load available for rotating outages.

- The actual reserve margin available for rotating outages prior to granting any exemptions in this order is approximately 52% for PG&E, 53% for SDG&E, and 51% for SCE.

- Exemptions from rotating outages do not guarantee a continuous supply of electricity or freedom from interruption.  Unanticipated and unannounced interruptions of the supply of electricity may result from factors such as an earthquake, fire, windstorm, lightning strike, and a car collision.

- Executive Order D-38-01 requires the ISO, in part, to forecast to the general public the potential for rolling blackouts 48 hours in advance and to update this notice 24 hours in advance.  The Executive Order also requires utilities to provide notice of the time and location where the anticipated blackout will occur no less than one hour in advance of any rotating outage.

- Planned rotating outages will not occur until after the ISO has called for a Stage I voluntary curtailment of energy usage and has subsequently required a Stage II mandatory curtailment.

- Respondent utilities are required to include a customer’s rotating outage block number on each customer’s bill and rotating outage information on each utility’s website.

- All freight and commuter rail operations must comply with federal grade crossing safety regulations.

- Federal regulations require a standby source of power to be provided so that there is sufficient capacity to operate the warning systems for grade crossings during any period of primary power interruption.

- Each rail transit system has an emergency plan in place that includes procedures and some back-up power facilities for power failures including rotating outages.

- The traction power of freight and commuter rail operations that use diesel-electric locomotives are not affected by rotating outages.

Conclusions of Law

- Exemptions from rotating outages based on public health and safety should only be allowed upon the existence of hazardous conditions that could result in imminent death or severe injury and cannot be minimized, controlled, corrected, or eliminated through mitigation measures.

- LACMTA, SCVTA, and SDTI should be granted exemptions from rotating outages for those sections of track for which RSCD determined emergency response personnel have limited access.

- The mitigation measures recommended by RSCD should be adopted.

- SDG&E’s emergency petition to modify D.01-06-087 should be dismissed.

- SDG&E should comply with the 10-day baseline changes set forth in Ordering Paragraph 7 of D.01-06-087.

- All railroad corporations operating in California should be served a copy of this order and should be added to the service list of this rulemaking proceeding

- The period for public review and comment on the draft decision should be reduced, pursuant to Rule 77.7(f)(9), as we balance the need to act quickly to address the rotating outage exemptions for rail transit systems due to the severe electric shortage and expectations of rolling outages this summer against the public interest in having the full 30-day comment cycle on the proposed modifications.

- Because of the public interest in avoiding rotating outages in the summer of 2001, the following order should be effective immediately.

ORDER

IT IS ORDERED that:

- Respondent utilities Southern California Edison Company (SCE), Pacific Gas and Electric Company (PG&E), and San Diego Gas & Electric Company (SDG&E) shall provide the Los Angeles County Metropolitan Transit Authority, Santa Clara Valley Transportation Authority, and San Diego Trolley, Inc. Category J exemptions from rotating outages for exclusive right-of-way, ballasted track, underground sections, tunnels, tubes, aerial structures, and control centers to which emergency response personnel have limited access, as listed in Appendix A, B, and C, of this decision.

- Respondent utilities and rail transit systems under Commission jurisdiction shall implement the Rail Safety and Carrier Division recommendations set forth in Appendix D of this decision.

- Respondent utilities may use a passive auto dialer system to provide one-hour advance notification of rotating outages to rail transit systems if that passive auto dialer system is capable of receiving a confirmation that rail transit systems personnel received the notification.

- Rail transit systems under Commission jurisdiction shall maintain contingency plans for unanticipated and unannounced interruptions of the supply of electricity.

- Within 30 days of the effective date of this decision respondent utilities shall file a report on necessary and reasonable mitigation measures which the respondent utility and impacted freight or commuter railroad agreed to including the measures that the respondent utility has, or will, implement.  The freight and commuter railroads may file a complaint with the Commission if unresolved disputes remain.

- The Executive Director shall serve a copy of this decision on all railroad corporations operating in California.  The Executive Director shall also add these railroad corporations on the service list of this rulemaking proceeding as information only.  Any such railroad corporation that wishes to actively participate in this proceeding may upgrade its status from information only to an appearance of record by sending a letter to the Process Office with a copy to the service list.

- SDG&E’s emergency petition to modify Decision 01-06-087 is dismissed.

- SDG&E shall file an advice letter to make any necessary tariff changes to comply with Decision (D.) 01-06-087 within five days after the effective date of this order.  The Advice Letter tariffs shall go into effect within five days of filing unless suspended by the Energy Division Director.  If the Energy Division Director suspends any tariffs, such tariffs shall become effective upon the date the Energy Division Director confirms that the tariffs are in compliance.

This order is effective today.

Dated ___________________, at San Francisco, California.

| Appendix A Los Angeles County Metropolitan Transit Authority |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Specific Facilities that meet the RSCD Rotating Outage Exemption Criteria |  |  |  |  |  |  |  |  |
| Service Account # | LINE | Purpose | Location | Street Address |
| 10098278 | Blue | BL TPSS-04 | WILLOW TPSS | 28TH ST & W AMERICAN |
| 12842471 | Blue | BL TPSS-05 | WARDLOW TPSS | 3376 PACIFIC PL |
| 10142099 | Blue | BL TPSS-06 | DIVISON 11 TPSS | 2083 SANTAFE |
| 11208880 | Blue | BL TPSS-07 | DEL AMO TPSS | 20340 S SANTA FE AVE |
| 12969214 | Blue | BL TPSS-08 | DOMINGUEZ TPSS | 18919 SANTE FE |
| 12919704 | Blue | BL TPSS-09 | ARTESIA TPSS | 1810 S ACACIA AVE |
| 10253979 | Blue | BL TPSS-10 | COMPTON TPSS | 507 N WILLOWBROOK AVE |
| 12919694 | Blue | BL TPSS-11 | PIRU TPSS | 13504 WILLOWBROOK AVE |
| 10227033 | Blue | BL TPSS-12/ ROC | IMPERIAL TPSS | 11650 E WILLOWBROOK |
| 11206983 | Blue | BL TPSS-13 | FIRESTONE TPSS | 8616 GRAHAM |
| 12969215 | Blue | BL TPSS-14 | FLORENCE TPSS | 7501 GRAHAM AVE |
| 10143021 | Blue | BL TPSS-15 | SLAUSON TPSS | 5865 RANDOLPH ST |
| 13147667 | Green | GL TPSS | DIV 22 TPSS A | 14724 AVIATON BL A |
| 12810091 | Green | GL TPSS | DIV 22 TPSS B | 14721 AVIATION BL B |
|  | Green | GL TPSS | DOUGLAS TPSS | 700 S DOUGLAS |
| 13147711 | Green | GL TPSS | EL SEGUNDO TPSS | 151 N NASH ST. |
|  | Green | GL TPSS | IMPERIAL TPSS | 5350 IMPERIAL HWY |
| 12810092 | Green | GL TPSS | HAWTHORNE TPSS | 11230 S ACACIA AVE |
|  | Green | GL TPSS | CRENSHAW TPSS | 3301 120 ST. |
|  | Green | GL TPSS | WESTERN AVE TPSS | 11725 MANHATTEN PL |
|  | Green | GL TPSS | VERMONT AVE TPSS | 11520 NEW HAMPSHIRE |
|  | Green | GL TPSS | 117TH STREET | 139 WEST 117TH ST. |
|  | Green | GL TPSS | BELLHAVEN | 11706 BELLHAVEN ST. |
|  | Green | GL TPSS | SANTE FE AVE TPSS | 2920 FERNWOOD |
|  | Green | GL TPSS | LONG BEACH TPSS | 11501 LONG BEACH BLVD |
|  | Green | GL TPSS | MARSH AV TPSS | 4106 FERNWOOD |
|  | Green | GL TPSS | WRIGHT RD TPSS | 11750 WRIGHT RD |
|  | Green | GL TPSS | PARAMOUNT TPSS | 6107 FLORENCE AVE |
| 13147712 | Green | GL TPSS | LAKEWOOD TPSS | 12939 LAKEWOOD BLVD |
|  | Green | GL TPSS | BELLFLOWER TPSS | 13046 LEAHY AVE |
| 13147713 | Green | GL TPSS | NORWALS TPSS | 13026 FLATBUSH |
|  | Green | GL TCCB | MARINE AVE TCCB | 2406 MARINE AVE |
|  | Green | GL TCCB | EL SEGUNDO TCCB | 2226 EAST EL SEGUNDO BLVD |
|  | Green | GL TCCB | MARIPOSA TCCB | 555 NORTH NASH ST. |
|  | Green | GL TCCB | DEL NORTE TCCB | 941 NORTH DOUGLAS ST. |
|  | Green | GL TCCB | HARBOR FRWY TCCB | 11600 SOUTH FIGUEROA ST. |
|  | Green | GL TCCB | WILMINGTON | 11659 WILMINGTON AVE |
|  | Green | GL TCCB | PARAMOUNT | 13706 PARAMOUNT BLVD |
|  | Green | GL Pass. Station | CRENSHAW BLVD | 11901 CRENSHAW BLVD |

End of Appendix A

| Appendix B Santa Clara Valley Transportation Authority |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Specific Facilities that meet the RSCD Rotating Outage Exemption Criteria |  |  |  |  |  |  |  |  |  |  |  |  |
| Line | Item | Location | From | To | TPSS | Account |
| Tasman | 1 | Evelyn & HWY 85, Mountain View | Mountain View Sta | Middlefield Sta | 17 | LVV 54 19951-3 |
|  | 1a |  | Mountain View Sta | Central Expwy |  |  |
|  | 1b |  | Central Expwy |  |  |  |
|  | 1c |  | Central Expwy | Whisman Sta |  |  |
|  | 1d |  | Whisman Sta | Middlefield Sta |  |  |
| Tasman | 2 | Middlefield & Ellis, Mountain View | Middlefield Sta | Moffett Park Dr | 18 | KVV 4044201-2 |
|  | 2a |  | Middlefield Sta | US 101 SB On-Ramp |  |  |
|  | 2b |  | US 101 SB On-Ramp | Bayshore NASA Sta |  |  |
|  | 2c |  | Moffett Field Depressed Section |  |  |  |
|  | 2d |  | Moffett Field Depressed Section | Moffett Park Dr |  |  |
| Tasman | 3 | Moffett Park & Jaegels, Sunnyvale | Moffett Park Dr | Java & Mathilda | 19 | JVV 31 05601-1 |
|  | 3a |  | Moffett Park Dr | Java & Mathilda |  |  |
|  | 3b |  | Java & Mathilda |  |  |  |
| Guadalupe | 6 | Woz & Auzerais | Woz & Auzerais | Tamien | 7 | DVP T2 10001-4 |
|  | 6a |  | Woz & Auzerais | Tamien |  |  |
| Guadalupe | 7 | Tamien | Tamien | Canoas Garden | 8 | DVP T2 10001-4 |
|  | 7a |  | Tamien | Canoas Garden |  |  |
| Guadalupe | 8 | Canoas Garden | Canoas Garden | Narvaez | 9 | DVP T2 10001-4 |
|  | 8a |  | Canoas Garden | Narvaez |  |  |
| Guadalupe and Almaden | 9 | Narvaez | Narvaez | Winfield / Chesbro | 10 | DVP T2 10001-4 |
|  | 9a |  | Narvaez | Chynoweth |  |  |
|  | 9b |  | Chynoweth Sta |  |  |  |
|  | 9c |  | Chynoweth | Chesbro |  |  |
|  | 9d | [Almaden Branch] | Chynoweth Sta | Blossom Hill |  |  |
| Almaden | 10 | Winfield [Almaden Branch] | Blossom Hill | Almaden Sta | 11 | DVP T2 10001-4 |
|  | 10a | [Almaden Branch] | Winfield | Blossom River Way |  |  |
|  | 10b | [Almaden Branch] | Blossom River Way | Almaden Sta |  |  |
| Guadalupe | 11 | Chesbro | Chesbro | Lean | 12 | DVP T2 10001-4 |
|  | 11a |  | Chesbro | Lean |  |  |
| Guadalupe | 12 | Lean | Lean | Miyuki | 13 | DVP T2 10001-4 |
|  | 12a |  | Lean | Miyuki |  |  |
| Guadalupe | 13 | Miyuki | Miyuki | Santa Teresa | 14 | DVP T2 10001-4 |
|  | 13a |  | Miyuki | Santa Teresa |  |  |
|  | 13b |  | Santa Teresa Sta |  |  |  |
| Guadalupe | 14 | Younger | Yard, Maintenance Facility |  | 15 | DVP T2 10001-4 |
|  | 14a |  | Yard, Maintenance Facility, Control Center |  |  |  |  |

End of Appendix B

| Appendix C SAN DIEGO TROLLEY INCORPORATED |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Specific Facilities that meet the RSCD Rotating Outage Exemption Criteria |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Meter # | Account # | Equip Type | Location | Street Address | Cir# | Block# | Volt | Pwr Type |
| 1361612 | 328460180 | Substation | Near #42 B/L | 9250 STADIUM RD B | 362 | 053B | Low | Traction |
| 1665939 | 1320174820 | Substation | Near #14 B/L | 3415 BEYER BLVD | 723 | 100B | High | Traction |
| 1343091 | 1320175550 | Substation | Near #14 B/L | 3415 BEYER BLVD | 152 | 057B | Low | Traction |
| 1486832 | 1349481359 | Substation | Near #42 B/L | 9250 STADIUM RD | 362 | 053B | High | Traction |
| 1486832 | 1349481359 | Substation | Near #42 B/L | 9250 STADIUM RD | 362 | 053B | High | Traction |
| 1564578 | 1727302464 | Substation | Betw#40 & #41 B/L | 9809 RIO SAN DIEGO DR | 145 | 035A | High | Traction |
| 654919 | 2445172254 | Substation | Near #17 B/L | 2615 MAIN ST | 129 | 061B | Low | Traction |
| 1344248 | 2654635857 | Substation | No. 35 B/L | 4009 TAYLOR ST C | 105 | 064A | High | Traction |
| 1347911 | 3011464399 | Substation | Betw #36 & #37 B/L | 5495 NAPA ST | 105 | 064A | Low | Traction |
| 1359658 | 3011464399 | Substation | Betw #36 & #37 B/L | 5495 NAPA ST | 105 | 064A | High | Traction |
| 1036413 | 3407604212 | Substation | Betw #22 & #23 O/L | 4401 K ST | 133 | 039B | High | Traction |
| 1472345 | 3570158292 | Substation | Betw #31 & #32 B/L | 718 W A ST | 117 | 078A | Low | Traction |
| 1682591 | 3570171884 | Substation | No. 14 B/L | 2418 E BEYER BLVD | 152 | 057B | High | Traction |
| 441437 | 3778122494 | Substation | Near #25 Both Lines | 8 13TH ST | 123 | 038B | Low | Traction |
| 441437 | 3778122494 | Substation | Near #25 Both Lines | 8 13TH ST | 123 | 038B | Low | Traction |
| 1355472 | 4532603851 | Substation | Near #23 O/L | 3243 K ST | 133 | 039B | High | Traction |
| 1684069 | 4563618784 | Substation | Near #37 B/L | 1209 FASHION VALLEY RD | 107 | 061A | High | Traction |
| 8000214 | 4695161592 | Substation | Betw #31 & #32 B/L | 720 W A ST | 117 | 078A | High | Traction |
| 1665792 | 4695175550 | Substation | Betw #18 & #19 B/L | 751 F ST | 255 | 060B | High | Traction |
| 1666106 | 4903112938 | Building/Shop | Near #25 Car Shop | 12 13TH ST | 123 | 038B | Low | Bldg/Shop |
| 1540374 | 5316275032 | Substation | Betw #40 & #41 B/L | 9809 RIO SAN DIEGO DR A | 145 | 035A | Low | Traction |
| 1354285 | 5657605283 | Substation | Betw #20 & #21 O/L | 5890 IMPERIAL AVE | 323 | 019B | High | Traction |
| 1036411 | 5793343651 | Substation | Near #25 Car Shops | 10 13TH ST C | 123 | 038B | High | Traction |
| 1666846 | 5820182906 | Substation | Betw #18 & #19 B/L | 749 F ST | 255 | 060B | Low | Traction |
| 888908 | 6187074322 | Substation | Near #18 O/L | 1399 SAN ALTOS PL | 322 | 020B | Low | Traction |
| 1148628 | 7875152209 | Substation | Betw #36 & #37 B/L | 6701 FRIARS RD | 107 | 061A | High | Traction |
| 1569118 | 8568159622 | Substation | Betw #36 & #37 B/L | 5221 MISSION CENTER RD | 141 | 044A | High | Traction |
| 1361610 | 9032606786 | Substation | Betw #19 & #20 O/L | 4553 NEBO DR | 733 | 104A | High | Traction |
| 1170317 | 9181850009 | Substation | Betw #22 & #23 O/L | 4403 K ST | MK02 | 019B | Low | Traction |

End of Appendix C

RSCD MITIGATION MEASURES

APPENDIX D

- Rail Transit Systems

- Exempt those sections of a rail transit systems’ track that have limited access to emergency response personnel from any rotating outage.

- PG&E, SDG&E or SCE, as appropriate should provide one hour advanced person-to-person telephone notifications of rotating outages to the Operations Control Center of any affected rail transit system.

- Each rail transit system should establish and implement procedures for rotating outages to ensure the safety of pedestrian evacuees on or about the right-of-way.  Where there is a shared common corridor with a freight or commuter railroad, the rail transit system should establish and implement procedures to contact the freight or commuter railroad’s train dispatching center advising of the outage, any necessary evacuations or other emergency activities.

- Rail transit systems and freight or commuter railroads operating in a common corridor should establish procedures jointly to ensure the safety of pedestrian evacuees on or about the right-of-way.

- PG&E, SDG&E, and SCE should establish necessary and reasonable mitigation measures with each impacted rail transit system.  PG&E, SDG&E, and SCE should file and serve a report within 30 days of this decision on the necessary and reasonable mitigation measures which the respondent utility and impacted rail transit system agree to including the measures that the respondent utility will implement.  Any rail transit system may file a complaint with the Commission if safety issues involving this matter are not resolved with the respondent utility.

- Rail transit systems should determine whether they are subject to rotating outages on those portions of track receiving electric power from sources other than the respondent utilities.

- The exemption from rotating outages granted to BART in D.01-04-006 should remain in effect.

- The underground exemptions from rotating outages granted to MUNI in D.01-04-006 should remain in effect.  With respect to the non-underground portion of MUNI, PG&E should establish necessary and reasonable mitigation measures with MUNI.

- Grade Crossing Warning Devices

- Rail Transit systems and freight or commuter railroads operating in common corridors should coordinate and jointly test grade crossing warning devices’ emergency battery life.

- Rail transit systems and freight or commuter railroads operating in common corridors should conduct planned exercises and safety efficiency testing of the recommended emergency procedures.

- Freight and commuter railroads should test grade crossing warning devices under simulated “power-off” to determine current condition of estimated back-up life of the emergency batteries.

- Freight and commuter railroads and rail transit systems should maintain and replace, as necessary, batteries in high rail traffic use crossings.

- Freight and commuter railroads and rail transit systems should ensure that crossing gates “fail” in the down position.

- Cities, counties, and other agencies that operate nearby preempted traffic signals connected to grade crossings should develop alternative means of providing warnings to motorists, including, but not limited to, battery backup, police, and flag persons.

- Freight and commuter railroads and rail transit systems, as necessary, should operate at “restricted speed” (e.g. ability to stop in ½ the range of vision, not to exceed 20 mph) over grade crossings interconnected with preempted traffic signals during power outages.

- Freight and Commuter Railroads

- PG&E, SDG&E, and SCE, as appropriate should provide one-hour advanced person-to-person telephone notifications of a rotating outage to each OCC or central dispatching center of any impacted freight and commuter railroad.

- Where common corridors are shared with a rail transit systems, freight and commuter railroads should establish and implement procedures to ensure the safety of rail transit pedestrian evacuees on or about the right-of-way.  Those procedures should include notification from the rail transit systems’ operations control center to the respective freight or commuter railroad’s train dispatching center advising of the outage and any necessary evacuations.

- Rail transit systems and freight and commuter railroads should jointly establish procedures to ensure the safety of pedestrian evacuees on or about the right-of-way.

- PG&E, SDG&E, and SCE should establish necessary and reasonable mitigation measures with each impacted rail transit system.  PG&E, SDG&E, and SCE should file and serve a report within 30 days of this decision on the necessary and reasonable mitigation measures which the respondent utility and each impacted freight and commuter railroad agree to including the measures that the respondent utility will implement.

- Each freight or commuter railroad may file a complaint with the Commission if there are unresolved disputes.

- Common Corridor

- Freight and commuter railroads and rail transit systems should coordinate and jointly test grade crossing warning devices which are separately maintained within a common corridor.  Power source variability, operational characteristics and battery life of the two systems should be confirmed.

- Freight and commuter railroads and rail transit systems should test grade crossing warning devices under simulated “power-off” conditions to determine current condition of and estimated back-up life of emergency batteries.  All railroads and rail transit systems should ensure that crossing gates “fail” in the down position as designed.

- Cities, counties, and other agencies that operate nearby preempted traffic signals connected to grade crossings should determine how a power outage will affect these devices.  If the preemptive signals have no battery backup system, or they lose functionally during and after a blackout, then alternative means of providing warnings to motorists must be employed.  Freight and commuter railroads and rail transit systems not otherwise affected should, as necessary, operate at “restricted speed” (e.g. able to stop in ½ the range of vision, not to exceed 20 mph) over grade crossings interconnected with preempted traffic signals affected by a blackout but not protected by other alternative means.

- Freight and commuter railroads and rail transit systems should maintain emergency procedures that address the risks presented by the evacuation of pedestrian passengers stranded by a blackout affecting a rail transit vehicle mid-route through a common corridor right-of-way where freight and/or commuter trains may be operating at full speed.  Carriers should ensure effectiveness of emergency procedures through employee testing and unannounced mock drills.

- This order should be served on all railroad corporations operating in California and they should be added to the service list.

End of Appendix D

D.01-04-006 footnote 25 at page 60.

The California Transit Association Rail Operations and Regulatory (CTA ROAR) Committee filed its petition on May 4, 2001; LACMTA filed on May 9, 2001; and, CTA ROAR Committee and four commuter rail operating agencies filed jointly on May 10, 2001.  Rail transit systems represented by CTA ROAR Committee and by LACMTA filed several supplemental petitions and responses for a blanket exemption from rotating outages.  Each petition seeks a blanket Category J exemption from rotating outages for the passenger rail.  Rapid rail transit systems represented by CTA ROAR include BART, LACMTA, SRTD, SCVTA, SDTI, and MUNI. The four-commuter rail operating agencies consists of the Peninsula Corridor Joint Powers Board (Caltrain), San Diego Northern Railway (Coaster), San Joaquin Regional Rail Commission (ACE), and Southern California Regional Rail Authority (Metrolink).

Traction power is electric power supplied directly from the commercial power grid to run axle-mounted traction motors that drive the car wheels to propel trains.

49 CFR 234.4.

PG&E included, in its report, circuits and megawatts already exempted from rotating outages for other purposes.  Such circuits have no further impact on the utilities’ total system load available for rotating outages.  PG&E also included circuits that have back up circuits not requiring an exemption at this time.  However, if the status of the back up circuits or exemption status of these already exempt circuits change, rail transit systems should continue to be granted an exemption from rotation outages on such circuits.

Although a total of 12 circuits are impacted, 5 circuits utilizing 73.9 MW have back-up circuits not requiring an exemption and 5 circuits utilizing 79.6 MW are already exempted.

A total of 39 circuits are impacted, of which 18 circuits are already exempt.

3CPUC2d 511 at 528 (1980).

1982 Cal. PUC LEXIS 537; 9CPUC 2d 284.

Office of Emergency Services, Implementation Plan for Executive Order D-38-01 (Final Draft), dated June 15, 2001, (mimeo.) at 7.

April 21, 2001 ruling.