STATE OF CALIFORNIA                                                                                                          EDMUND G. BROWN JR., Governor

PUBLIC UTILITIES COMMISSION

505 VAN NESS AVENUE

SAN FRANCISCO, CA  94102-3298

March 21, 2012							Agenda ID# 11158

TO PARTIES TO RESOLUTION ESRB-1

This is a Resolution of the Consumer Protection and Safety Division.  It will be on the May 10, 2012, Commission Meeting agenda.  The Commission may act then, or it may postpone action until later.

When the Commission acts on the Resolution, it may adopt all or part of it as written, amend or modify it, or set it aside and prepare its own decision.  Only when the Commission acts does the resolution become binding on the parties.

Parties may serve comments on the Resolution as provided in Article 14 of the Commission’s Rules of Practice and Procedure (Rules), accessible on the Commission’s website at www.cpuc.ca.gov.  Pursuant to Rule 14.3, opening comments shall not exceed 15 pages.  Replies to comments may be filed within five days after the last day for filing comments.  Replies shall not exceed five pages in length.

An electronic copy of the comments should be submitted to Ray Fugere (email: rgf@cpuc.ca.gov).

/s/ MICHELLE COOKE

MICHELLE COOKE, Interim Director

Consumer Protection and Safety Division

RGF/akp

Attachment

CERTIFICATE OF SERVICE

I certify that I have by mail this day served a true copy of Draft Resolution ESRB-1 on all identified parties in this matter as shown on the CPUC Website Service List, Proceeding: R0811005.

Dated March 21, 2012, at San Francisco, California

/s/ AARON K. PETE

Aaron K. Pete

NOTICE

Parties should notify the Consumer Protection and Safety Division,

California Public Utilities Commission, 505 Van Ness Avenue, 					San Francisco, CA 94102, of any change of address to ensure that 					they continue to receive documents.  You must indicate the 						Resolution number on which your name appears.

PUBLIC UTILITIES COMMISSION OF THE STATE OF CALIFORNIA

Consumer Protection and Safety Division			San Francisco, California

Electric Safety and Reliability Branch			Date: May 10, 2012

Resolution ESRB-1

R E S O L U T I O N

RESOLUTION ESRB-1, ORDER GRANTING SOUTHERN CALIFORNIA EDISON COMPANY’S REQUEST TO PERMIT SOUTHERN CALIFORNIA GAS COMPANY TO PERMANENTLY ATTACH ADVANCED METERING PROJECT DATA COLLECTION UNITS TO SCE-OWNED STREETLIGHTS IN ACCORDANCE WITH GENERAL ORDER 95, RULE 34

### SUMMARY

- By letter dated October 12, 2011, Southern California Edison Company petitioned the Commission to allow Southern California Gas Company to permanently attach advanced metering project data collection units as permanent attachments to Southern California Gas Company owned underground fed concrete streetlights under General Order 95, Rule 34.

- General Order 95, Rule 34 requires permanent attachments that are foreign to the purposes of overhead electric line construction be approved by the Commission.

- This resolution authorizes Southern California Edison Company to treat Collection Units as permanent attachments to Southern California Edison Company owned underground fed concrete streetlights under General Order 95 Rule 34.

### BACKGROUND

Currently, authorized third-party attachments to Southern California Edison Company’s (SCE) electric distribution underground fed concrete streetlights are limited in scope to electrical supply and communication systems.  SCE has received a request from Southern California Gas Company (SoCalGas) to permanently attach advanced metering project data collection units (Collection Units) to SCE-owned underground fed concrete streetlights (streetlights). SCE proposes to authorize such third-party use of its streetlights as permanent attachments in accordance with all applicable rules of General Order (GO) 95 and SCE’s construction standards.  This resolution will allow SCE to offer SoCalGas the ability to maintain such attachments on SCE streetlights for periods in excess of one year.

Under GO 95 Rule 34, an attachment is considered permanent where the duration of the attachment is estimated to be one year or more.  Rule 34 requires that all permanent

attachments be approved by the Commission and the pole owner(s) involved.  In contrast, GO 95 Rule 34 provides that temporary attachments may be authorized by a utility, provided that the installation is restricted to a period of one year or less.

SCE expects that the attachment of SoCalGas’ Collection Units will exceed one year.  For this reason, SCE requested Commission approval to treat such installations as permanent attachments.  Approval of this request will allow SCE to enter into license agreements with SoCalGas authorizing such attachments to SCE’s streetlights in accordance with the provisions of GO 69-C.  GO 69-C governs easements on utility property.  As a condition to any such license, SCE will require that the attachments be installed in accordance with all applicable construction rules in GO 95.

### DISCUSSION

The Consumer Protection and Safety Division’s Electric Safety and Reliability Branch (ESRB) evaluated this variance request taking into consideration its impact on public and worker safety.  Factors influencing the ESRB’s evaluation included the Collection Units effect on working space as well as maintenance of the collection units.  SCE stated that to minimize the impact on public and worker safety, SCE will affirm the structural integrity of the streetlights supporting the Collection Units.  In addition, SCE will require that Collection Units be installed in accordance with any applicable construction rules in GO 95.

The ESRB recommends that SCE’s request be approved, contingent on the safety measures proposed by SCE as described previously.  In addition, if and when SCE becomes aware of any GO 95 violations of a Collection Unit, SCE shall be required to document the violations and notify SoCalGas to correct the violations immediately.

### COMMENTS ON DRAFT RESOLUTION

The Draft Resolution was mailed to the parties of interest on March 21, 2012, in accordance with Cal. Pub. Util. Code § 311(g).

### FINDINGS

- SCE petitioned the Commission by letter on October 12, 2011 to allow Collection Units as permanent attachments under General Order 95 (GO 95), Rule 34.

- The requested variance applies only to Collection Units installed on underground fed concrete streetlights in which SCE is the sole owner.

- The SCE proposed safety measures will minimize the impact on public and worker safety:

  - SCE will affirm the structural integrity of the streetlights supporting the Collection Units.

  - SCE will require that Collection Units be installed in accordance with any applicable construction rules in GO 95.

- This request should be approved, subject to the safety measures proposed by SCE.

- If SCE becomes aware of any GO 95 violations that occur as a result of the installation of a Collection Unit, SCE should be required to document the violations and notify SoCalGas to correct the violations.

THEREFORE, IT IS ORDERED THAT:

- The Southern California Edison Company is authorized to allow Southern California Gas Company to permanently attach advanced metering project data collection units as permanent attachments to Southern California Edison Company owned underground fed streetlights.

- The approval of Southern California Edison Company’s must impose the safety measures described in Finding Nos. 3, 4, and 5, in any license agreement with Southern California Gas Company to permanently attach advanced metering project data collection units.

- This resolution shall be effective immediately.

I hereby certify that this Resolution was adopted by the California Public Utilities Commission at its regular meeting on May 10, 2012.  The following Commissioners approved it:

Paul Clanon

Executive Director