PUBLIC UTILITIES COMMISSION OF THE STATE OF CALIFORNIA

I.D. # 7989

ENERGY DIVISION						RESOLUTION E-4205

November 6, 2008

RESOLUTION

Resolution E-4205.  Southern California Edison (SCE), on behalf of all California Solar Initiative (CSI) Program Administrators, including the California Center for Sustainable Energy (CCSE), propose a set of revisions to the CSI Program Handbook conforming to the Final Performance Data Provider (PDP) Protocol.

SCE Advice Letter 2258-E and 2265-E (filed on July 30, 2008 and August 14, 2008) and Protest to Advice Letter 2258-E (filed August 18, 2008), and SCE Response to Protest (filed August 26, 2008).

__________________________________________________________

This resolution approves, with modifications, the final performance data provider protocols proposed by Southern California Edison, on behalf of the California Solar Initiative Program Administrators, in Advice Letter 2258-E and 2265-E.

# Summary

AL 2258-E: CSI Program Handbook Revisions Introducing a Final Performance Data Provider (PDP) Protocol.

The purpose of these proposed California Solar Initiative (CSI) Program Handbook modifications is to outline the required process and qualifications to be approved as a Performance Data Provider (PDP) for the CSI incentive program.  Under the program, a PDP reports energy production from an installed solar system in order for the solar customer to receive a stream of incentive payments under the Performance Based Incentive (PBI) portion of the CSI program.  The proposed changes also detail the data reporting requirements (format, delivery method) and schedule for Performance Based Incentive data reports. The PDP requirement is mutually exclusive of the requirements identified in the CSI Handbook for the Performance Monitoring and Reporting Services (PMRS). However, the PMRS provider may provide both PMRS and PDP services. All PDPs must meet the requirements established herein in addition to the requirements set forth in the CSI Program Handbook.

On July 30, 2008, SCE, on behalf of the CSI Program Administrators (PAs), filed AL 2258-E, which proposed a final PDP protocol to govern monitoring and reporting of solar system performance data that serves as the basis for performance based incentive (PBI) payments.  The PDP protocols proposed in AS 2258-E would replace the interim PDP protocols currently in Appendix H of the CSI Program Handbook.

AL 2265-E: Modification of proposed CSI Program Handbook Revisions Introducing a Final Performance Data Provider (PDP) Protocol to add a bond requirement

On August 14, 2008, SCE, on behalf of the CSI PAs, submitted AL 2265-E.  The purpose of this AL was to modify the previously submitted final PDP Protocols in order to add a bond requirement for PDP providers.

- SCE’s proposed revisions conform with CPUC decisions and Sections 25405.5 and 25405.6, and Chapter 8.8 to Division 15 of the Public Resources Code, and Sections 387.5 and 2851 of the Public Utilities Code.

- SCE’s proposed changes, while not directly related to either CPUC decisions or California State Law, are in the spirit of the goals of the CSI Program and further the goal of achieving 3,000 MW of installed distributed generation solar by 2016.

- Comments to this Resolution shall be returned to the CPUC no later than 5 p.m. Pacific Standard Time on October 26th, 2008, with Reply Comments being submitted no later than October 31st, 2008, by 5 p.m. Pacific Standard Time.  This Resolution will be on the next regularly scheduled meeting date after comments, likely to be November 6, 2008.

Background

On September 4, 2007, Administrative Law Judge (ALJ) Duda issued an ALJ Ruling Requesting Comments On Petition For Modification Of Metering Independence Requirements (2007 Ruling). The 2007 Ruling requested comments on a Joint Petition for Modification of D.06-08-028 Regarding California Solar Initiative Metering Requirements (PFM), which sought elimination of the metering independence requirements. Specifically, the Ruling solicited comments from interested parties on removal of the requirements for independent metering and performance monitoring adopted in D.06-08-028 in favor of explicit instructions for qualifying as a performance data provider of CSI meter information to CSI PAs.  The concept of introducing performance data providers into the CSI came out of the metering, reporting and monitoring requirements of the Direct Access Program.  The goal of introducing performance data providers into the CSI Program, and creating specific requirements to qualify as a provider of these services, was to help safeguard ratepayer funded incentive payments.

On January 31, 2008, the Commission issued D.08-01-030 modifying the CSI performance monitoring and reporting rules to remove the independence requirement and mandate that all performance monitoring services be unaffiliated with all CSI incentive recipients, solar installers, or solar manufacturers. This decision replaced the independence requirement with the PDP protocol for data validation. In addition, the Commission ordered the Energy Division (ED) to convene public workshops to discuss possible improvements and refinements to the requirements in the PDP protocol proposal that was attached to the 2007 Ruling.  This decision also ordered the CSI PAs to file an Advice Letter with a PDP protocol within 30 of the filing of a workshop report by ED staff. In February and May 2008, the ED facilitated a total of three workshops, which were well attended by the CSI PAs and interested parties. The focus of the workshops was to address and reach consensus on the seven PDP issue areas listed in D.08-01-030. The seven specific issue areas addressed at the workshops included:

1. Data format, reporting and retention.

2. Data security and confidentiality.

3. Data and payment validation.

4. Measurement and evaluation.

5. Technical and customer support.

6. PDP performance exemptions.

7. PDP non-performance and appeal process.

On July 1, 2008, ED filed a workshop report that contained a PDP protocol proposal that reflected a consensus position on each of the PDP protocol issue areas.  The ED workshop report noted that for the issue of data and payment validation the PAs should address data validation requirements and take into consideration concerns raised by PMRS providers when making any associated advice letter filing. In response, the PAs and interested parties continued to discuss the data validation and transfer requirements and reached agreement on improvements relating to this PDP issue.  Consistent with the 2008 Ruling and the ED workshop report, the CSI PAs submitted AL 2258-E on July 30, 2008, and subsequently filed 2265-E on August 14, 2008.

On August 18, 2008, the PMRS Providers filed a protest of AL 2258-E.  In their protest, the PMRS Providers requested that the CSI PAs consider modifying the following elements of the PDP Protocols:

- The date requirement for EDI 867 compliance

- Penalties for failing data transfer test

- PDP reimbursement of PA or Customer

- Proof of sufficient bond or insurance coverage

- Recognition of proposed PDP Protocols modifications made as part of March 17, 2008 post-workshop comments

On August 26, 2008, SCE filed a response to the protest of the PMRS Providers.  In this response, SCE proposed modifications to AL 2258-E and AL2265-E that directly addressed the concerns raised by the PMRS Providers in their protest.

SUMMARY OF ADVICE LETTER FILINGS

Summary of AL 2258—E

Utility customers participating in the CSI program are required to install performance meters to determine the actual output of their generation equipment. For customers enrolled under the CSI PBI program, data from these meters will be used to calculate their monthly incentive payment. This data may be read and communicated to the PA by a PDP. Customers may also elect to contract this service through their local utility company. This document provides information and instructions for non-utility providers wishing to qualify to provide PDP services.

The following are the PDP’s primary responsibilities:

- Manage meter reading/data retrieval schedule

- Read and retrieve performance meter data

- Post data on appropriate Program Administrator server on a consistent and reliable schedule, per individual Program Administrator requirements.

- Validate performance data prior to providing to the PA using the approved validation rules outlined in this document

- Calculate monthly production of solar generating system for incentive payment

- Format data using EDI 867 or other approved protocol

- Troubleshoot and resolve communications issues

- Store data in accordance with program requirements

- Make historical performance data available to Program Administrators as requested

- Provide technical support to Program Administrators as well as customer support

- Communicate meter/device changes to the Program Administrator

- Provide disaster recovery and data backup services as requested by respective Program Administrator

- Manage data on PDP server

- Ensure confidentiality of customer information and performance data

- Possess technical expertise and capability

- Comply with all State and Federal laws

Summary of AL 2265-E

After the conclusion of the ED-facilitated workshops, the PAs continued to discuss additional ways to refine and improve the PDP Protocols. As a result of these additional discussions, the PAs recommended an addition to the PDP Protocols to add a bond requirement that reflects the current market practices of participants in the CSI program. A bond requirement is a common practice that allows PDPs to remain in compliance with all applicable provisions governing the CSI Program and PDP Protocols.

The bond requirement is necessary in the event that an end-use customer suffers damages as a result of the PDP’s actions. A bond will provide a source of compensation for those damages.  The PAs recommended that the Commission add a bond requirement to the final PDP Protocols submitted in Advice 2258-E, as shown in Attachment A, and conform the CSI Handbook as necessary.

# Protests

Advice Letter 2058-E was protested by CSS-Technologies, Draker Laboratories (fka Draker Solar Design, LLC), Energy Recommerce, Inc., Fat Spaniel Technologies, Inc., Glu Networks, natcon7, PowerNab, and Pyramid Solar (jointly, hereafter, the PMRS Providers) on August 18, 2008.

In their protest, they outlined five issues and questions for the CSI PAs to answer relating to the PDP Protocols.

- The date requirement for EDI 867 compliance

In the PDP Protocols filed as part of AL 2258-E and AL 2265-E, no specific date was given for when PDP providers would have to begin compliance with EDI 876 data transfers regulations.  In their protest, the PMRS Providers requested that the CSI PAs amend the PDP Protocols to include a 6 month implementation period for the PDP Protocols, at the end of which all PDPs must be in the process of “active EDI 867 implementation testing”.

- Penalties for failing data transfer test.

In the PDP Protocols filed as part of AL 2258-E and AL 2265-E, there is a regulation that any PDP provider that fails their data transfer test three times will have their PDP eligibility revoked for 6 months.  In their protest, the PDP Providers argue that there may be valid reasons why a given provider may fail their transfer test three times.  So, instead of revoking their eligibility, the penalty should be that the PDP provider is forced to pay the CSI PA for any additional transfer tests.

- PDP reimbursement of PA or Customer

In the PDP Protocols filed as part of AL 2258-E and AL 2265-E, it states if an audit shows a discrepancy between the PDP reported data and data obtained by the Program Administrator for a specific customer that is greater than 5%, the PDP will be responsible for reimbursing the customer or Program Administrator for any such difference if it is determined that the difference is due to PDP error.  In their protest, the PDP Providers request that any financial penalties be removed, and in their place the addition of mandatory audits for PDPs who mis-report data and a revocation of eligibility for a PDP provider who has mis-reported more than three times.

- Proof of sufficient bond or insurance coverage

In the PDP Protocols filed as part of AL 2258-E, it states that PDP providers must provide a proof of sufficient bond or insurance coverage.  The PDP Providers protest requests that the CSI PAs include a specific amount of insurance coverage or bond amount.  In AL 2265-E, which modifies the PDP Protocols, the CSI PAs clarify that the bond requirement should be set at twenty thousand dollars.

- Recognition of proposed PDP Protocols modifications made as part of March 17, 2008 post-workshop comments

On March 17, 2008, a group of PMRS providers filed joint post-workshop comments.  In their comments, they requested minor changes to the then draft PDP Protocols to reflect modifications that had been discussed at the workshop.  The issues covered were deadlines for resolving data transfer testing problems, PDP non-performance, and criteria for PDP appeals.

PROTEST RESPONSE

Summary of SCE’s August 26, 2008 Response to Protest

On August 26, 2008, the CSI PAs submitted a response to the protest of the PMRS Providers.  In this response, the CSI PAs directly addressed each of the concerns raised by the PMRS Providers.  This response also included specific proposals to modify the PDP Protocols that were submitted as part of AL 2258-E and AL 2265-E.  An outline of each of these proposals is below.

1. Advice 2258-E Should be Modified to Specify that the EDI 867 Requirement be Effective 6 Months from the AL Effective Date

In its Protest, the PMRS Providers noted that a date certain is necessary to implement the EDI 867 requirement, in order to enable proper business planning for prospective PDPs, as well as to minimize confusion, increased costs, and bottlenecks during the EDI 867 testing phase.

The PAs acknowledge the PMRS Providers’ concerns and agree that a date certain is appropriate. As such, the PAs suggested that they will file a supplemental advice letter to modify the CSI Program Handbook to specify that (i) the EDI 867 Requirement will not become effective until six (6) months from the effective date of that supplemental advice letter filing; and (ii) testing requirements will commence after that effective date. Additionally, as the program develops and more information becomes available, the PAs reserve the right to revisit this issue, as necessary.

2. Advice 2258-E Should be Modified to Delete the Requirement that PDP Applicants Cease Business Activities Following an Unsuccessful Third Integration Test

In its Protest, the PMRS Providers assert that, with regard to penalties for failing

Data Transfer Testing, parties agreed to a replacement mechanism in the form of a cash payment/penalty due to the PAs for each test conducted subsequent to the third test.  However, while the parties agreed to the concept of such a replacement mechanism, no agreement was ever reached on the appropriate cost of the payment/penalty structure, as the PMRS Providers point out in their petition. Additionally, the PAs overlooked the comments of the PMRS Providers provided in Attachment B of the June 25, 2008, Energy Division (ED) workshop report and included the penalty provision for PDP failure of Data Transfer Testing in Advice 2258-E.

While the PAs are willing to continue negotiating with the PMRS Providers on the specifics of a replacement penalty mechanism, the PAs will propose, in the supplemental advice letter filing to Advice 2258-E, a mechanism that simply prohibits a PDP applicant from adding any additional customers until such PDP applicant passes Data Transfer Testing. Such a mechanism would obviate any problem of stranded PBI customers. Additionally, as the program develops and more information becomes available, the PAs reserve the right to revisit this issue, as necessary.

3. Advice 2258-E Should be Amended to Delete the Financial Penalties Associated with Audit/Investigation Discrepancies Between the PDP Reported Data and Data Obtained by the PA

In its protest, the PMRS Providers claim that financial penalties associated with audit or investigation discrepancies between the PDP reported data and data obtained by the PA for a specific customer, which are greater than +/-5%, essentially are unnecessary.  They suggest that the over/underpayments can be adjusted in successive payment periods over the life of the program.

The PAs agree with the PMRS Providers that payment adjustments in successive payment periods would be a sufficient and reasonable business practice for mitigating any over/underpayments. The PAs therefore will delete, in the supplemental advice letter filing to Advice 2258-E, the financial penalties associated with audit or investigation discrepancies between the PDP reported data and data obtained by the PA. Additionally, as the program develops and more information becomes available, the PAs reserve the right to revisit this issue, as necessary.

4. Advice 2258-E Should be Amended to Delete the “Proof of Sufficient Bond or Insurance Coverage” from Page 8 of Attachment A

In its protest, the PMRS Providers noted the inclusion of a new bond or insurance requirement that appears in Attachment A to AL 2258-E.  PMRS Providers are not necessarily against this bond or insurance requirement, but express concerns about what “sufficient” levels of coverage might be and question why this requirement would be added now since it was removed from the CSI program in September of 2007.

Subsequent to filing Advice 2258-E, SCE submitted Advice 2265-E on behalf of the PAs. Advice 2265-E seeks Commission approval of a modification to the final PDP Protocols currently under consideration by the Commission in order to add a bond requirement to the final PDP Protocols. The language cited by the PMRS Providers was inadvertently included in Attachment A of Advice 2258-E and should be deleted. The PAs will delete the “Proof of sufficient bond or insurance coverage” language from Page 8 of Attachment A in the supplemental advice letter filing to Advice 2258-E.  Additionally, as the program develops and more information becomes available, the PAs reserve the right to revisit this issue, as necessary.

5. The Commission Should Allow the PAs Sufficient Process Flexibility to Clarify the Issues Referenced In Item # 5 of the Protest

The PMRS Providers acknowledge that the PDP requirements attached to Advice 2258-E reflect the discussion on the larger specific issues targeted at the three workshops attended by parties in 2008. However, the PMRS Providers noted that, “the draft still fails to adequately address the questions, concerns and comments submitted by the majority of the PMRS Providers as part of their collective filing with the Commission on September 18, 2007.”

Although the PAs acknowledge receipt of the PMRS Providers’ issues identified in the attachment to the Protest, the PAs require time to adequately address these additional issues. The PAs are willing to continue negotiations towards attempting to resolve these issues and any other questions, concerns, and comments that arise during such negotiations. If the parties can agree on further modifications to the PDP requirements, the PAs will submit an advice letter to incorporate such modifications into the CSI Program Handbook. The PAs should retain sufficient flexibility to modify PDP requirements in the future as the CSI program evolves. The PAs recognize that three mechanisms exist for parties to resolve ongoing issues. The primary mechanism is the Sub-metering Work Group. If, for any reason the Sub-metering Work Group is dissolved, alternate mechanisms include the CSI Forum, which meets quarterly, and/or further workshops as necessary.

Nevertheless, the Commission should not delay approval of a supplemental advice letter filing to Advice 2258-E based on any perceived need for clarification of issues that are outside the scope of Advice 2258-E as they are ample forums to continue considering these issues.

# Notice

Notice of AL 2258-E and 2265-E was made by publication in the Commission’s Daily Calendar on July 30, 2008 and August 16, 2008.   SCE states that a copy of the Advice Letter was mailed and distributed in accordance with Section III-G of General Order 96-B.

# Comments

Comments to this Resolution shall be returned to the CPUC no later than 5 p.m. Pacific Standard Time on October 26th, 2008, with Reply Comments being submitted no later than October 31st, 2008, by 5 p.m. Pacific Standard Time.  This Resolution will be on the next regularly scheduled meeting date after comments, likely to be November 6, 2008.

# Discussion

The Commission adopts revised the PDP Protocols filed as part of AL 2258-E and AL 2265-E to reflect the proposed modifications set forth in SCE’s reply to the protests.  In Attachment 1 of this Resolution are the PDP Protocols filed as part of AL 2258-E and AL 2265-E, and including four modifications of the PDP Protocols based upon the protest of the PMRS providers and the reply comments of SCE.  Throughout the development of the PDP Protocols, representatives from the CSI Program Administrators, PMRS providers and other stakeholders worked closely to make sure the concerns and needs of all parties were addressed.  These PDP Protocols are the culmination of this collaboration, and the Commission is therefore adopting these PDP Protocols because they represent a consensus agreement on the substantive issues of the PDP Protocols.

PDP Protocol modification 1:

PMRS Providers requested a firm date for EDI-867 implementation, and suggested a minimum of 6 months.  In response, SCE proposed a modification to the PDP Protocols that clearly states that the EDI 867 requirement be effective 6 months from the date the PDP protocols become effective.   The Commission therefore adopts the following modification to the PDP Protocols:

“Data Reports must be formatted using the ANSI X.12 Electronic Data Interchange 867 protocol (EDI 867) unless otherwise specified. Sample EDI 867 Implementation Guides and Tutorials are available from each of the Program Administrators.  The EDI 867 requirement will go into effect 6 months from the day the PDP Protocols are ratified.  After this effective date, all PDP Providers must, at minimum, be in the process of EDI 867 data transfer tests with one or more Program Administrators.” (Instructions for Qualifying as a performance data provider for the California Solar Initiative, p.3)

PDP Protocol modification 2:

The PMRS Providers requested that a “three strikes and your out” penalty for failing data transfer testing be removed.  In response, SCE proposed removing the requirement that PDP applicants cease business activities following an unsuccessful third test, and instead be banned from adding new customers until such time as they complete and pass their testing. The Commission therefore adopts the following modification to the PDP Protocols:

“The Program Administrator will check the test file to ensure it complies with the guidelines and notify the PDP applicant within 5 business days. Once the PDP is notified it has passed the test, the PDP is considered qualified. If the PDP applicant fails the test, they will be given 2 weeks to resolve any technical or data format issues.  If a PDP applicant fails their Data Transfer Test with any individual CSI PA more than 3 times, they will not be eligible to add any additional customers in that PAs service territory until such PDP applicant passes the Data Transfer Test.” (Instructions for Qualifying as a performance data provider for the California Solar Initiative, p.9)

PDP Protocol modification 3:

The PMRS Providers requested the removal of the requirement that PDPs reimburse either the CSI Program Administrator or their customer when there is a discrepancy between reported data and data obtained by the CSI PA for a specific customer that is greater than +/-5%.  In response, SCE proposed removing the financial penalties in favor of a process whereby discrepancies can be adjusted in subsequent payment periods, with the exception that if a discrepancy is found during the last 3 months of the PBI payment, then the PDP may be held financially responsible.  The Commission therefore proposes the following modification to the PDP Protocols:

“If an audit or investigation shows a discrepancy between the PDP reported data and data obtained by the Program Administrator for a specific customer that is greater than +/-5% and within the last three months of the PBI payment cycle, the PDP will be responsible for reimbursing the customer or Program Administrator for any such difference if it is determined that the difference is due to PDP error. The PDP will also be put on an audit schedule by the Program Administrator.  If a third audit uncovers any discrepancy due to PDP error, the PDP’s approval will be revoked and the customer given an opportunity to select another PDP as described above. Audits may be conducted as stated in the CSI Handbook Section 3.4.3.” (Instructions for Qualifying as a performance data provider for the California Solar Initiative, p.6-7)

PDP Protocol modification 4:

The PMRS Providers requested clarification regarding the requirement to show proof of bond or insurance coverage.  In response, SCE cited AL 2265-E, which clearly stated that PDP providers maintain a bond of $25,000.  The Commission therefore proposes the following modification to the PDP Protocols:

“Bond Requirement: Consistent with the general market practices and requirements for installers participating in the CSI Program, the PAs are establishing a bond requirement for PDPs. The bond requirement will help to ensure that the PDPs adhere to all applicable provisions governing the CSI Program and the PDP Protocols. Should an end-use customer suffer damages as a result of the PDP’s actions, the bond will provide a source of compensation.

As such, in addition to the written application to the PA seeking PDP status, the

PDP must arrange for and maintain a bond in favor of the State of California in the amount of $25,000.  Any claim by a customer against a PDP should follow the requirements of the specific bonding agency. If a successful claim is made against the bond and reduces the bond, then the PDP must submit a copy of the hearing decision within thirty (30) days of the decision and must also replenish the bond within sixty (60) days.

If the PDP secures a bond, a copy of the bond must be submitted with the written application. The bond must insure to the benefit of anyone who may be damaged as a result of the PDP’s actions or inactions related to its services. If a customer files a complaint for damages against the PDP in civil court and makes a claim against the bond, the PDP must provide a copy of the complaint to the PA within thirty (30) calendar days of being served by registered or certified mail.” (Instructions for Qualifying as a performance data provider for the California Solar Initiative, p.2)

PDP Protocol modification 5:

The PMRS Providers requested that the CSI PAs be considerate of the need to modify the PDP regulations in the future.  In response, SCE stated that there are multiple venues to address on-going implementation of the PDP Protocols.  The Commission does not propose any modifications.

# Findings

- By SCE Advice Letter 2258-E and 2265-E filed on July 30, 2008 and August 14, 2008 SCE proposes revisions to the CSI Program Handbook.

- CSS-Technologies, Draker Laboratories (fka Draker Solar Design, LLC), Energy Recommerce, Inc., Fat Spaniel Technologies, Inc., Glu Networks, natcon7, PowerNab, and Pyramid Solar (jointly, hereafter, the PMRS Providers) submitted a protest dated August 16, 2008, on SCE AL 2258-E.  The PMRS Providers request clarification relating to:

  - the date requirement for EDI 867 compliance

  - penalties for failing data transfer test

  - PDP reimbursement of PA or Customer

  - proof of sufficient bond or insurance coverage

  - recognition of proposed PDP Protocols modifications made as part of March 17, 2008 post-workshop comments

- SCE submitted a response to the protest on August 26, 2008, which proposed specific modifications to the PDP Protocols to address the concerns of the PMRS Providers. All elements of the protest of the PMRS Providers have been addressed in SCE’s proposed modifications to the PDP Protocols included in their reply comments.

# Therefore it is ordered that:

- The CSI Program Handbook be modified pursuant to Attachment 1 of SCE AL 2058-E and AL 2065-E is approved, except for changes to the Data Format Requirements, PDP Non-Performance, Data Transfer Test sections of Attachment 1, as discussed above.

- The effective date of these changes is the effective date of this resolution, and the CSI Program Handbook should be reissued by the Energy Division as soon as practical in accordance with the details within this resolution.

- Energy Division will conform the most current edition of the CSI Program Handbook to the revisions adopted in this Resolution.

This Resolution is effective today.

I certify that the foregoing resolution was duly introduced, passed and adopted at a conference of the Public Utilities Commission of the State of California held on November 6, 2008; the following Commissioners voting favorably thereon:

_______________

Paul Clanon

Executive Director

California Public Utilities Commission

Energy Division Resolution E-4205

Attachment 1

INSTRUCTIONS FOR QUALIFYING AS A PERFORMANCE DATA PROVIDER

FOR THE CALIFORNIA SOLAR INITIATIVE PROGRAM

REVISED OCTOBER 1, 2008

The purpose of this document is to outline the required process and qualifications to be approved as a Performance Data Provider (PDP) for the California Solar Initiative incentive program. This document also details the data reporting requirements (format, delivery method) and schedule for Performance Based Incentive data reports. The PDP requirement is mutually exclusive of the requirements identified in the CSI Handbook for the Performance Monitoring and Reporting Services. However, the PMRS provider may provide both PMRS and PDP services. All PDPs must meet the requirements established herein in addition to the requirements set forth in the CSI Program Handbook.

BACKGROUND AND REQUIREMENTS

Utility customers participating in the California Solar Initiative (CSI) program are required to install performance meters to determine the actual output of their generation equipment. For customers enrolled under the CSI Performance Based Incentive (PBI) program, data from these meters will be used to calculate their monthly incentive payment. This data may be read and communicated to the Program Administrator (PA) by a third-party Performance Data Provider (PDP). Customers may also elect to contract this service through their local utility company. This document provides information and instructions for non-utility providers wishing to qualify to provide PDP services.

The following are the PDP’s primary responsibilities:

- Manage meter reading/data retrieval schedule

- Read and retrieve performance meter data

- Post data on appropriate Program Administrator server on a consistent and reliable schedule, per individual Program Administrator requirements.

- Validate performance data prior to providing to the PA using the approved validation rules outlined in this document

- Calculate monthly production of solar generating system for incentive payment

- Format data using EDI 867 or other approved protocol

- Troubleshoot and resolve communications issues

- Store data in accordance with program requirements

- Make historical performance data available to Program Administrators as requested Provide technical support to Program Administrators as well as customer support Communicate meter/device changes to the Program Administrator

- Provide disaster recovery and data backup services as requested by respective Program Administrator

- Manage data on PDP server

- Ensure confidentiality of customer information and performance data

- Possess technical expertise and capability

- Comply with all State and Federal laws

Bond Requirement

Consistent with the general market practices and requirements for installers participating in the CSI Program, the PAs are establishing a bond requirement for PDPs. The bond requirement will help to ensure that the PDPs adhere to all applicable provisions governing the CSI Program and the PDP Protocols. Should an end-use customer suffer damages as a result of the PDP’s actions, the bond will provide a source of compensation.

As such, in addition to the written application to the PA seeking PDP status, the

PDP must arrange for and maintain a bond in favor of the State of California in the amount of $25,000.  Any claim by a customer against a PDP should follow the requirements of the specific bonding agency. If a successful claim is made against the bond and reduces the bond, then the PDP must submit a copy of the hearing decision within thirty (30) days of the decision and must also replenish the bond within sixty (60) days.

If the PDP secures a bond, a copy of the bond must be submitted with the written application. The bond must insure to the benefit of anyone who may be damaged as a result of the PDP’s actions or inactions related to its services. If a customer files a complaint for damages against the PDP in civil court and makes a claim against the bond, the PDP must provide a copy of the complaint to the PA within thirty (30) calendar days of being served by registered or certified mail.

PDP TASK REQUIREMENTS

Data Format

Data must conform to the specific program requirements (for CSI requirements, see Section 12 of the CSI Handbook). The PBI Data Report must include 15-minute (as defined in Section 12.3.3 Time Granularity of Acquired Data, CSI Program Handbook) and the monthly cumulative production meter read. All PBI Data Reports must be formatted using the ANSI X.12 Electronic Data Interchange 867 protocol (EDI 867) unless otherwise specified. Sample EDI 867 Implementation Guides and Tutorials are available from each of the Program Administrators.  The EDI 867 requirement will go into effect 6 months from the day the PDP Protocols are ratified.  After this effective date, all PDP Providers must, at minimum, be in the process of EDI 867 data transfer tests with one or more Program Administrators.

Data Reporting, Security and Confidentiality

The PDP is responsible to ensure timely, consistent and accurate reporting of performance data. Data must be located in a secure facility, on a secure server and have firewall and equivalent protection. The PDP must protect the confidentiality of the customer information and performance data in accordance with all program guidelines (for CSI requirements, see Section 12 of the CSI Handbook). The data must be transferred to each PA using a secure FTP server and each PDP must contact the appropriate PA to obtain the secure FTP address. The PDP must follow all applicable state and federal privacy and data security laws.  The Program Administrator is not responsible for, and will not pay any customer incentives based on missing, estimated or invalid performance data.

Data Validation

The PDP must validate all data prior to posting it to the PAs secure FTP server.   The following data validation rules shall apply:

- Time Check of Meter Reading Device/System (all)

- Meter Identification Check (all)

- Time Check of Meter (all)

- Pulse Overflow Check (if applicable to metering system)

- Test Mode Check (if applicable to metering system)

- Sum Check

Descriptions of these validation rules are included in Attachment A.

Payment Validation, Data Audits, and Measurement and Evaluation Program

The Program Administrator may, at their discretion, perform validations on incentive payments prior to issuing payments to customers participating in this program. The validations will compare actual monthly incentive payments with expected payments based on design specifications and expected performance data submitted with the customers’ approved incentive reservation documentation. If payments fall outside expected ranges for the month, the incentive payment will be withheld until the Program Administrator determines to its satisfaction the reason for the discrepancy.

The PDP will work with the customer to resolve any discrepancies identified by the Program Administrator, which may include testing and/or recalibrating the meter/devices if deemed necessary. The Program Administrators are not responsible for the costs associated with investigating and resolving any such discrepancies (i.e. testing, meter replacement hardware, installation labor). However, if the Program Administrator requests an investigation which finds that the metering system is accurate, the Program Administrator will pay all reasonable and necessary costs for the investigation.

The Program Administrator will also perform random audits of PDP data to ensure accuracy and compliance with the requirements outlined in this document, or as part of the CSI Measurement and Evaluation Program in accordance with Section 7 of the CSI handbook. Any PDP found to be in violation of any of these requirements will be subject to the penalties outlined later in this document. The Program Administrator, via the servicing local utility or its designated contractor may, at its discretion, inspect and test the performance meter or install separate metering in order to check meter accuracy, verify system performance, or confirm the veracity of monitoring and reporting services.

Any additional metering installed by or at the request of the Program Administrator will be paid for by the Program Administrator. However, in the event metering is installed during the course of an audit or investigation initiated by the Program Administrator where cheating or tampering is suspected and confirmed, the System Owner will be charged for these costs.

Data Retention

Raw and PDP validated interval and cumulative monthly data must be retained in accordance with appropriate program requirements (see Section 12. of the CSI Handbook for CSI program requirements). The PDP must be prepared to post historical interval data at the Program Administrator’s request. The Program Administrator audit will include raw interval data which is to be maintained by the PDP for comparison with validated interval data transmitted to the Program Administrator. The PDP is also responsible for providing backup and disaster recovery services for 100% of the data (in accordance with the CSI data retention policy outlined in Section 12 of the CSI Program Handbook)

Technical and Customer Support

The PDP must provide a technical support number to the Program Administrator for use during normal business hours (8am to 5pm Pacific time, Monday through Friday, except holidays) to help resolve any data availability, format or corruption issues, communication problems, server access problems, or other technical issues.  Within those normal business hours, the PDP must respond to Program Administrator requests within two business days with a status report and plan for correcting the issues. The PDP must also provide a customer support number to respond to customer inquiries within two business days from the initial customer contact. Program Administrators will have the discretion to set deadlines for the resolution of data transfer problems/issues.

PDP Performance Exemptions

The PDP is responsible for meeting the above noted program requirements and for consistently posting performance data in accordance with the Program Administrator’s scheduling and data posting requirements. At its discretion, the Program Administrator may grant reasonable allowances for occasional issues or technical problems, as well as for large catastrophic events such as earthquakes.

In the event of such catastrophic event resulting in an energy production interruption; OR in the event of metering or communications equipment failure where the production data is irretrievable by the PDP at no fault of the customer AND it can be determined that the customer’s generating equipment was still operating and interconnected with the utility grid, the Program Administrator may extend the PBI incentive payment period beyond the established timeframes otherwise specified by the incentive program Handbook. The PBI incentive payment extension period will be equivalent to the same period the system energy production data is unavailable. In situations where a communications issue results in missing data but the data is retrieved at a later date, the Program Administrator will accept the retrieved data and process payment for the recovered data with the next payment period and no extensions of the PBI incentive payment period will be necessary. To submit a Data Report relative to missing data, the PDP will resubmit the respective Data Report, thereby replacing the previous incomplete report with a complete month of data.

PDP Non-Performance

The Program Administrator will not issue incentive payments to customers based on estimated data from the PDP, nor will the Program Administrator estimate incentive payments under any circumstances. It is the PDP’s responsibility to ensure timely (+ 5 days after the end of the specified reporting period) and accurate posting of validated performance data so customer incentive payments can be made.

The following conditions may result in penalties, suspension of activity, or revocation of PDP approval from the Program Administrator:

- Data not posted by specified date (10% of accounts serviced by PDP over a one month period are late).

- No data received for incentive period (per customer: no data posted 2 times consecutively OR 3 times in 6 months; and/or per PDP: no data posted for 10% of accounts serviced by PDP). Submittal of corrected data or previously missing monthly data must be received in cycle sequence.

- Data not validated in accordance with program requirements over the course of the CSI Program. (1 time)

- Estimated data posted instead of actual data. (1 time)

- Meter change information not reported within 30 days of the meter change. (3 times within 6 months)

- If an audit or investigation shows a discrepancy of -/+ 5% between the PDP reported data and Program Administrator check meter production data for one data report period. This discrepancy will trigger an audit schedule set by the Program Administrator for the PDP.

The PDP will be given reasonable opportunity to correct problems identified by the Program Administrator. The Program Administrator will work with the PDP to correct any such problems and avoid unnecessary delays in issuing incentive payments to customers, to the extent feasible. However, if the PDP fails to resolve any issues to the Program Administrator’s satisfaction within 60 days which result in delays in incentive payments to customers, the following penalties may apply:

- If the problem is with a single or less than 20% of customer accounts served by the PDP, the Program Administrator will suspend PDP activity with just those affected customers. The affected customers will be notified that the PDP has been unable to resolve the specified issue within an acceptable timeframe and they will be given a 30 day grace period to select and engage with another PDP.  The original PDP will be required to transfer all historical data to the newly selected PDP. No incentive payments will be made until the customer provides a contract or similar document proving they are engaged with another PDP, but the customer’s incentive payment period will be extended beyond the established period allowed under the applicable program rules to compensate for this interruption in payments. If the customer fails to engage with and provide proof that they have contracted with a new PDP within the allowable grace period, the time between the grace period expiration date and the date the Program Administrator receive such proof will be deducted from the established payment period.

- If the problem is of a more serious nature as determined by the Program Administrator and continues over 60 days, or it affects more than 20% of customers served by the PDP, the PDP’s approval will be revoked and all customers will be notified that they must select another PDP. As above, no incentive payments will be made until the customer selects another PDP, but the customers’ incentive payment period will be extended beyond the established payment period. The PDP will be eligible to reapply after six months upon demonstrating that they have successfully resolved all problems to the Program Administrator’s satisfaction.

- If an audit or investigation shows a discrepancy between the PDP reported data and data obtained by the Program Administrator for a specific customer that is greater than +/-5% and within the last three months of the PBI payment cycle, the PDP will be responsible for reimbursing the customer or Program Administrator for any such difference if it is determined that the difference is due to PDP error. The PDP will also be put on an audit schedule by the Program Administrator.  If a third audit uncovers any discrepancy due to PDP error, the PDP’s approval will be revoked and the customer given an opportunity to select another PDP as described above. Audits may be conducted as stated in the CSI Handbook Section 3.4.3.

Unless the PDP’s actions results in  revocation, upon receipt of a notice from the PA with respect to the PDP’s failure to provide the performance, the PDP must, as soon as reasonably practicable: (1) perform a root-cause analysis to identify the cause of such a failure; (2) provide the PA with a report detailing the cause of, and procedure for correcting such failure within 3 days of completion of such root-cause analysis; (3) implement such procedure after obtaining the respective PA approval of such procedure.

Criteria for a PDP Appeals Process

Should the PDP disagree with a PA decision regarding a penalty, the PDP has the right to appeal to the CSI Working Group for further consideration.

APPLICATION PROCESS

Application & Documentation

The PDP applicant completes the attached “Application for PDP Services” and provides all documentation in the attached checklist. Note that the PDP applicant must submit separate applications to and successfully complete the data transfer test described later in this document for each utility or Program Administrator.

In PG&E’s service territory, the PDP applicant forwards the completed application and required documentation to:

Application & Documentation

The PDP applicant completes the attached “Application for PDP Services” and provides all documentation in the attached checklist.  Note that the PDP applicant must submit separate applications to and successfully complete the data transfer test described later in this document for each utility or Program Administrator.

In PG&E’s service territory, the PDP applicant forwards the completed application and required documentation to:

Mail to:	 		Program Manger, California Solar Initiative

Pacific Gas & Electric Co.

P.O. Box 770000

San Francisco, CA 94177-0001

For questions, contact:	Program Manager, California Solar Initiative

Phone: (415) 973-3480

Fax:	 (415) 973-2510

Email:	 SolarPBI@pge.com

Web:	 www.pge.com/csi

In SCE’s service territory, the PDP applicant forwards the completed application and required documentation to:

Mail to:	 		Program Manager, California Solar Initiative

Southern California Edison

6042A Irwindale Ave

Irwindale, CA 91702

For questions, contact:	Program Manager, California Solar Initiative

Phone: (866)-584-7436

Fax:	 (626) 633-3402

Email:	 pbi@sce.com

Web:	www.sce.com/rebatesandsavings/CaliforniaSolarInitiative/

In San Diego Gas & Electric’s service territory, the PDP applicant forwards the completed application and required documentation to:

Mail to:			California Center for Sustainable Energy

Attn: CSI Program Manager 
8690 Balboa Avenue Suite 100 
San Diego, CA 92123

For questions, contact:	California Solar Initiative Program Manager

Phone: (858) 244-1177
Fax:  	 (858) 244-1178
Email:	 csi@energycenter.org 
Web:	 www.energycenter.org

The Program Administrator will review the submitted documentation, determine if the PDP applicant meets the program requirements and notify the PDP applicant via email.  The Program Administrator will review the application and respond to the PDP applicant within 10 business days.

Data Transfer Test

Once the Program Administrator has reviewed and accepted the prospective PDP’s application, they will contact the PDP applicant to schedule a data transfer test.

Program Administrators will provide PDP applicants with test data sets that the prospective PDP must download, validate, and format before submitting the Data Report back to the Program Administrator via secure FTP. The PDP applicant is also responsible for downloading the Program Administrator’s EDI 867 Implementation Guide and Tutorials from its website. The PDP must contact their respective Program Administrator for specific instructions regarding this testing process.

The Program Administrator will check the test file to ensure it complies with the guidelines and notify the PDP applicant within 5 business days. Once the PDP is notified it has passed the test, the PDP is considered qualified. If the PDP applicant fails the test, they will be given 2 weeks to resolve any technical or data format issues.  If a PDP applicant fails their Data Transfer Test with any individual CSI PA more than 3 times, they will not be eligible to add any additional customers in that PAs service territory until such PDP applicant passes the Data Transfer Test.

PDP Approval Initial Audit Period

Upon PA approval of the required PDP application documentation, and successful completion of the PDP data test procedures, the PDP will be qualified to provide PBI data to the Program Administrator for incentive payment. However, the PA’s will audit the raw production data from each PDP’s first data report for their first three customers for compliance with these PDP requirements. The PA will notify the PDP of noncompliance and will work to assist the PDP with resolving the issues.

Application to Provide PDP Services

This application and the attached documents are to be used by applicants for approval as a Performance Data Provider (PDP).  Please refer to the checklist to ensure your application includes all applicable documentation.

Company Name:  __________________________________________________

Primary Contact: ___________________________________________________

Address: _______________________________Address 2: _________________

City: ____________________________  State: _________  ZIP: _____________

Phone: (_____) ____-_______  Fax: (_____) ____-_______

Email: __________________________________________

Technical Support Contact

Contact Name: _____________________________________________________

Phone: (_____) ____-_______ Email: ___________________________________

Customer Support Contact

Contact Name: _____________________________________________________

Phone: (_____) ____-_______ Email: ___________________________________

PDP APPLICATION CHECKLIST

Background

- Company background (years in business, number of employees, general description, executive team, etc.)

- Meter data reading and reporting experience and capabilities, capacity, technology overview, IT capabilities, etc.

- Proof of sufficient bond or insurance coverage

Procedures

- Meter reading and data retrieval procedures

- Data communication (frequency, scalability, types, troubleshooting, etc.)

- Process for retrieving missed reads

- Data validation procedures

- Technical Support (hours of operations, staff levels, procedures, etc.)

- Customer Support (hours of operations, staff levels, etc.)

IT Systems and Processes

- Data posting (data translation, formatting, firewall access, etc.)

- Data retention plan

- Backup and recovery plans

- Hardware and software scalability plans

- Data confidentiality and security procedures

By signing this document, the applicant agrees to comply with all program requirements including those described in the CSI Handbook (signature must be someone with legal authority at the PDP).  Additionally, applicant agrees to keep confidential all data received from the PA for testing.  Information in this document will remain confidential.

Signature:  _____________________________ Date: ________________________

Printed Name:  _________________________Title:____________________________

ATTACHMENT A

CSI Data Validation Rules

| Check | Purpose |
| --- | --- |
| Time Check of Meter Reading Device/system | Check for time drift of meter reading device/system outside standard |
| Meter ID Check | Check for the following: - Meter ID reported correctly - Meter has not been changed out - Data is being reported for correct meter |
| Time Check of Meter | Check for time drift of meter clock outside standard |
| Pulse Overflow Check | Check for the following: - Improper scaling factor in meter - Improperly sized transformer - Hardware problem |
| Test Mode Check | Check that data collected when meter was in test mode represents test production rather than actual production |
| Sum Check | Check for the following in combination meter/recorder installations: - Crossed channels between meter & recorder - Pulse relay problems Check for the following in all installations: - Invalid PT & CT ratios - Invalid meter constants |

ATTACHMENT B

REQUEST FOR TEMPORARY WAIVER OF EDI 867 REQUIREMENTS

UNDER INTERIM CSI PBI DATA TRANSFER RULES

Prior to formal approval of the PDP Guidelines, PDP applicants may request a temporary waiver of the EDI 867 data transfer protocol and interim 15-minute interval data reporting requirements.  It is expected that the PDP applicant will use this time to develop the capability to meet these requirements.

PDP applicants who are unable to meet the full EDI 867 data transfer protocol requirement by the date specified in the final version of the PDP Guidebook will have their PDP qualification revoked.

PDP applicants requesting a temporary waiver of the EDI 867 data transfer protocol and/or interim 15-minute interval data reporting requirements must use the attached spreadsheet template.  Interim CSI PBI Data Transfer Rules are also attached.

______________________ hereby requests a temporary waiver from the following requirements:

- EDI 867

- 15-Minute Interval Data Reporting

We understand that this request is only for a temporary waiver and we agree to comply with all program requirements, including the 15-minute interval data and EDI 867 data transfer protocol requirements, the date to be specified in a final version of the PDP Guidebook or sooner.

PDP NAME:  ___________________________________________________________

CONTACT PERSON:  ____________________________________________________

AUTHORIZED SIGNATURE:  ________________________DATE:  _____________

Implementation Guide - Transaction Set 867 - Version 006 (CSI Specification)

28th April 2008

ST•867•000000984ª The ST is the start of the 867 Transaction

Set with a control number of 000000984

------------------------------------------------------------

BPT•00•2007-04-21-09.01.08.795475•20000421•C1••••1948•1ª The

BPT marks the Beginning Segment for Product Transfer and

Resale where 00 is an Original data transmitted, C1

Indicates interval data value and 1 indicates cycle shift number

(1 – 1st to 1st of next month, 2 – 16th to 16th of next month)

N1•55••1•006908818••41ª Identifies the Performance Data Provider

(PDP) as a uniquely assigned number that is provided by SCE

REF•10•SCE-CSI-36949ª Identifies the CSI Project ID

REF•BT•23ª Indicates Cycle number (Report number for SCCE)

REF•59•2007-04-21-09.01.08.795434ª Identifies the prior unique

transaction BPT02 number 2007-04-21-09.01.08.795434 to be

corrected. Only used when BPT01=CO

PTD•PM•••OZ•ELª Identifies the type of product transfer to

be physical meter information, and the product reference

Identification indicates Electric Service

DTM•150••••DT•200801010000ª January 01, 2008 is the Service

Period Start Date. All dates are expressed in Greenwich Mean Time

(GMT).

DTM•151••••DT•200802010000ª February 01, 2008 is the Service

Period End Date. All dates are expressed in Greenwich Mean Time

(GMT).

REF•JH•Aª Indicates Energy is generated by the end use

Customer (Addition)

REF•6W•1ª Indicates channel ID (1 for SCE)

REF•MG•O717K-001388ª The Meter Number is O717K-001388

REF•MT•KH015ª The Meter Data Type is Monthly Kilowatt Hour and 15

indicates 15 minutes interval data

QTY•32•24709ª The KWH data for each 15 minutes interval

DTM•151••••DT•200801010015ª January 01, 2008 12:15 am is the

Interval end time Date.

QTY•32•2345ª The KWH data for each 15 minutes interval

DTM•151••••DT•200801010030ª January 01, 2008 12:30 am is the

Interval end time Date.

QTY•32•3734ª The KWH data for each 15 minutes interval

DTM•151••••DT•200801010045ª January 01, 2008 12:45 am is the

Interval end time Date.

QTY•32•1232ª The KWH data for each 15 minutes interval

DTM•151••••DT•200801010100ª January 01, 2008 01:00 am is the

Interval end time Date.

QTY•32•1535ª The KWH data for each 15 minutes interval

DTM•151••••DT•200801010115ª January 01, 2008 01:15 am is the

Interval end time Date.

QTY•32•1535ª The KWH data for each 15 minutes interval

DTM•151••••DT•200801010130ª January 01, 2008 01:30 am is the

Interval end time Date.

QTY•32•1535ª The KWH data for each 15 minutes interval

DTM•151••••DT•200801010145ª January 01, 2008 01:45 am is the

Interval end time Date.

QTY•32•1535ª The KWH data for each 15 minutes interval

DTM•151••••DT•200801010200ª January 01, 2008 02:00 am is the

Interval end time Date.

QTY•32•1235ª The KWH data for each 15 minutes interval

PDF Created with deskPDF PDF Writer - Trial :: http://www.docudesk.com

Implementation Guide - Transaction Set 867 - Version 006 (CSI Specification)

Southern California Edison 28th April 2008

DTM•151••••DT•200801010215ª January 01, 2008 02:15 am is the

Interval end time Date.

..

..

..

..

QTY•32•1235ª The KWH data for each 15 minutes interval

DTM•151••••DT•200802010000ª February 01, 2008 is the Interval end

time Date.

**********

SE•209•000000984ª Total Number of Segments is 209, Control

Number is 000000984

PDF Created

867 Product Transfer and Resale Report

Functional Group ID=PT

Introduction:

This Draft Standard for Trial Use contains the format and establishes the data contents of the Product Transfer and

Resale Report Transaction Set (867) for use within the context of an Electronic Data Interchange (EDI)

environment. The transaction set can be used to: (1) report information about product that has been transferred

from one location to another; (2) report sales of product from one or more locations to an end customer; or (3)

report sales of a product from one or more locations to an end customer, and demand beyond actual sales (lost

orders). Report may be issued by either buyer or seller.

Heading:

Pos. Seg. Req. Loop Notes and

No. ID Name Des. Max.Use Repeat Comments

Must Use 010 ST Transaction Set Header M 1

Must Use 020 BPT Beginning Segment for Product Transfer and

Resale

M 1

LOOP ID - N1 5

Must Use 080 N1 Name O 1

Must Use 120 REF Reference Identification O 12

Detail:

Pos. Seg. Req. Loop Notes and

No. ID Name Des. Max.Use Repeat Comments

LOOP ID - PTD >1

Must Use 010 PTD Product Transfer and Resale Detail M 1

Must Use 020 DTM Date/Time Reference O 10

Must Use 030 REF Reference Identification O 20

LOOP ID - QTY >1

Must Use 110 QTY Quantity O 1

210 DTM Date/Time Reference O 10

Summary:

Pos. Seg. Req. Loop Notes and

No. ID Name Des. Max.Use Repeat Comments

Must Use 030 SE Transaction Set Trailer M 1

Segment: ST Transaction Set Header

Position: 010

Loop:

Level: Heading:

Usage: Mandatory

Max Use: 1

Purpose: To indicate the start of a transaction set and to assign a control number

Syntax Notes:

Semantic Notes: 1 The transaction set identifier (ST01) used by the translation routines of the

interchange partners to select the appropriate transaction set definition (e.g., 810

selects the Invoice Transaction Set).

Comments:

Data Element Summary

Ref. Data

Des. Element Name Attributes

ST01 143 Transaction Set Identifier Code M ID 3/3

Code uniquely identifying a Transaction Set

867 Product Transfer and Resale Report

ST02 329 Transaction Set Control Number M AN 4/9

Identifying control number that must be unique within the transaction set

functional group assigned by the originator for a transaction set

Segment: BPT Beginning Segment for Product Transfer and Resale

Position: 020

Loop:

Level: Heading:

Usage: Mandatory

Max Use: 1

Purpose: To indicate the beginning of the Product Transfer and Resale Report Transaction Set

and transmit identifying data

Syntax Notes:

Semantic Notes: 1 BPT02 identifies the transfer/resale number.

2 BPT03 identifies the transfer/resale date.

3 BPT08 identifies the transfer/resale time.

4 BPT09 is used when it is necessary to reference a Previous Report Number.

Comments: BPT01 = 07 is used if previously furnished information is being provided in a new file.

In this case, or if data points have been corrected, only the corrected meters’ data need

to be provided, even if multiple meters were originally sent If a previously transmitted

file is simply being reposted for download from a server, the original designation of

BPT01 = 00 or CO does not need to be changed.

Data Element Summary

Ref. Data

Des. Element Name Attributes

Must Use BPT01 353 Transaction Set Purpose Code M ID 2/2

Code identifying purpose of transaction set

00 Original

Conveys original readings for the account being reported.

52 Response to Historical Inquiry

Response to a request for historical meter reading.

CO Corrected

Indicates that the readings previously reported for the

account are being corrected.

Must Use BPT02 127 Reference Identification O AN 1/30

Reference information as defined for a particular Transaction Set or as

specified by the Reference Identification Qualifier

A unique transaction identification number, assigned by the originator.

Must Use BPT03 373 Date M DT 8/8

Date when the PDP record is created by the application (CCYYMMDD)

Must Use BPT04 755 Report Type Code O ID 2/2

Code indicating the title or contents of a document, report or supporting item

C1 Cost Data Summary

Interval values

Must Use BPT08 337 Time O TM 4/8

Time when the PDP record is created by the application (HHMM)

Must Use BPT09 127 Reference Identification O AN 1/30

Reference information as defined for a particular Transaction Set or as

specified by the Reference Identification Qualifier.

Will represent Cycle shift number (1 or 2)

Segment: N1 Name

Position: 080

Loop: N1

Level: Heading:

Usage: Optional (Must Use)

Max Use: 1

Purpose: To identify a party by type of organization, name, and code

Syntax Notes: 1 At least one of N102 or N103 is required.

2 If either N103 or N104 is present, then the other is required.

Semantic Notes:

Comments: 1 This segment, used alone, provides the most efficient method of providing

organizational identification. To obtain this efficiency the "ID Code" (N104) must

provide a key to the table maintained by the transaction processing party.

2 Three N1 segments will be used in California, with N101 = 55, 8S, and SJ, unless

the values of N104 corresponding to N101 = 8S or SJ would duplicate the value

corresponding to N101 = 55. The end-use customer’s account numbers for the

meter data management agent (N101 = 55), utility (N101 = 8S), and the energy

service provider (N101 = SJ) must be placed in REF segments following these N1

segments, with REF01 = 10, 12, and 11, respectively.

3 When N101 = 55 (Meter Data Management Agent), N106 = 41 (Submitter). When

N101 = 8S (Utility) and SJ (Energy Service Provider), N106 = 40 (Receiver).

Data Element Summary

Ref. Data

Des. Element Name Attributes

Must Use N101 98 Entity Identifier Code M ID 2/3

Code identifying an organizational entity, a physical location, property or an

individual

>> 55 Used to identify the party that manages meter data on

behalf of another. Often referred to as the Performance

Data Provider (PDP).

Must Use N103 66 Identification Code Qualifier X ID 1/2

Code designating the system/method of code structure used for Identification

Code (67)

1 SCE Assigned PDP identification code

Must Use N104 67 Identification Code X AN 2/80

PDP identification number assigned by SCE

Must Use N106 98 Entity Identification Code O ID 2/3

Code identifying an organizational entity, a physical location, property or an

individual

41 Submitter

Entity transmitting transaction set

Segment: REF Reference Identification

Position: 120

Loop: N1

Level: Heading:

Usage: Optional (Must Use)

Max Use: 12

Purpose: To specify identifying information

Syntax Notes: 1 At least one of REF02 or REF03 is required.

Semantic Notes:

Comments: See Comments related to the N1 segment.

Data Element Summary

Ref. Data

Des. Element Name Attributes

Must Use REF01 128 Reference Identification Qualifier M ID 2/3

Code qualifying the Reference Identification

10 Account manager Code (This will be used as CSI

Project ID)

BT Reference Identifier

Indicates Cycle number/Report Number

59 Prior Incorrect Batch Number

Only used when BPT01= CO

REF02 127 Reference Identification X AN 1/30

Reference information as defined for a particular Transaction Set or as

specified by the Reference Identification Qualifier

Reference the value of BPT02 for file already transmitted but intended for

correction

Segment: PTD Product Transfer and Resale Detail

Position: 010

Loop: PTD

Level: Detail:

Usage: Mandatory

Max Use: 1

Purpose: To indicate the start of detail information relating to the transfer/resale of a product and

provide identifying data

Syntax Notes: 1 If either PTD04 or PTD05 is present, then the other is required.

Semantic Notes:

Comments: 1 The PTD loop conveys consumption information for one meter or register, and for

one commodity for metered service, over a number of metering intervals. Accounts

which have multiple meters or registers require multiple PTD loops; the total

consumption from multiple meters may be summarized in another PTD loop,

qualified by SU, at the option of the Meter Data Management Agent. Accounts

which have multiple services (e.g., both electric and gas) or multiple metered

commodities require separate PTD loops for each service or commodity. For

unmetered service, multiple commodities may be reported in a single PTD loop.

Data Element Summary

Ref. Data

Des. Element Name Attributes

Must Use PTD01 521 Product Transfer Type Code M ID 2/2

Code identifying the type of product transfer

PM Physical Meter Information, including data from a

meter, totalizer, or recorder.

Must Use PTD04 128 Reference Identification Qualifier X ID 2/3

Code qualifying the Reference Identification provided in PTD05.

OZ Product Number

Must Use PTD05 127 Reference Identification X AN 1/30

Reference information as defined for a particular Transaction Set or as

specified by the Reference Information Qualifier.

EL Electric Service

Segment: DTM Date/Time Reference

Position: 020

Loop: PTD

Level: Detail:

Usage: Optional

Max Use: 10

Purpose: To specify pertinent dates and times

Syntax Notes: 1 At least one of DTM02 DTM03 or DTM06 is required.

2 If either DTM05 or DTM06 is present, then the other is required.

Semantic Notes:

Comments:

Notes:

Data Element Summary

Ref. Data

Des. Element Name Attributes

Must Use DTM01 374 Date/Time Qualifier M ID 3/3

Code specifying type of date or time, or both date and time

150 Service Period Start

151 Service Period End

MRR Meter Reading

Date of special meter read

Must Use DTM05 1250 Date Time Period Format Qualifier X ID 2/3

Code indicating the date format, time format, or date and time format

DT Date and Time Expressed in Format

CCYYMMDDHHMM

Must Use DTM06 1251 Date Time Period X AN 1/35

Expression of a date, a time, or range of dates, times or dates and times

Segment: REF Reference Identification

Position: 030

Loop: PTD

Level: Detail:

Usage: Optional

Max Use: 20

Purpose: To specify identifying information

Syntax Notes: 1 At least one of REF02 or REF03 is required.

Comments: 1 A segment containing REF01 = LU is required if PTD01 = PM

2 Segment containing REF01 = MG and MT is required unless the service delivery

point is unmetered, in which case a segment containing REF01 = SC is required.

3 For interval data, the metering interval corresponding to REF01 = MT must be the

same for all PTD loops.

Data Element Summary

Ref. Data

Des. Element Name Attributes

Must Use REF01 128 Reference Identification Qualifier M ID 2/3

Code qualifying the Reference Identification

6W Sequence Number

Identifies channel number (identifier) when there is

more than one channel on a meter measuring the same

quantity (e.g., two kWh channels).

>> JH Tag

Meter Role. Valid values for REF02 are:

A = Additive (this consumption contributes to the total

for the account),

I = Ignore (this consumption does not contribute to the

total for the account - do nothing),

S = Subtractive (this consumption must be subtracted

from the total for the account).

MG Meter Number

MT Meter Data Type (see examples in REF02)

REF02 127 Reference Identification X AN 1/30

Reference information as defined for a particular Transaction Set or as

specified by the Reference Identification Qualifier

When REF01 is MT, the meter type is expressed as a 5-character field that

identifies the type of consumption measured by this meter and the interval

between measurements. The first two characters are the type of consumption,

expressed in the units of measure from Data Element 355, as follows:

1N Count

Indicates meter pulses

70 Volt

BY British Thermal Unit (BTU)

CF Cubic Feet

EA Each

HH Hundred Cubic Feet

K1 Kilowatt Demand

Represents potential power load measured at

predetermined intervals

K2 Kilovolt Amperes Reactive Demand

Reactive power that must be supplied for specific types

of customer's equipment; billable when kilowatt

demand usage meets or exceeds a defined parameter

K3 Kilovolt Amperes Reactive Hour

Represents actual electricity equivalent to kilowatt

hours; billable when usage meets or exceeds defined

parameters

PDF Created with deskPDF PDF Writer - Trial :: http://www.docudesk.com

CA 867 (006) 99 April. 28, 2008

K4 Kilovolt Amperes

Measure of electrical power

KH Kilowatt Hour

TD Therms

TZ Thousand Cubic Feet

The 3-character metering interval is expressed as one of the following values:

Nnn = number of minutes from 001 to 999, DAY = daily, or MON = monthly.

For example, KHMON represents KWH per month, K1MON represents

maxmum kW demand during the month, and KH015 represents kWh per 15

minutes interval.

When REF01 is LU, REF02 is not used.

Segment: QTY Quantity

Position: 110

Loop: QTY

Level: Detail:

Usage: Optional (Must Use)

Max Use: 1

Purpose: To specify quantity information

Syntax Notes: 1 At least one of QTY02 or QTY04 is required.

2 Only one of QTY02 or QTY04 may be present.

Semantic Notes: 1 QTY04 is used when the quantity is non-numeric.

Comments: 1 Each QTY/MEA/DTM loop conveys consumption information about one metering

interval. QTY02 reports billable quantities, including demands, while MEA05 and

MEA06 report meter readings that are used to determine the billable quantities.

2 If MEA03 contains a multiplier, QTY02 equals the product of the multiplier and

the meter readings reported in MEA05 and MEA06. Until it is resolved by UIG

whether a MEA segment containing a multiplier (MEA02 = MU) can also contain

meter reads, it is recommended that the multiplier should be placed in a separate

MEA segment within the QTY loop.

3 QTY03 is not required if the unit of measurement has been defined by the REF02

value corresponding to REF01 = MT.

Data Element Summary

Ref. Data

Des. Element Name Attributes

Must Use QTY01 673 Quantity Qualifier M ID 2/2

32 Quantity Sold

Normal data transmission (not estimated, adjusted, or

anomalous)

Must Use QTY02 380 Quantity X R 1/15

The value specifying interval read in KH

Segment: DTM Date/Time Reference

Position: 210

Loop: QTY

Level: Detail:

Usage: Optional

Max Use: 10

Purpose: To specify pertinent dates and times

Syntax Notes: 1 At least one of DTM02 DTM03 or DTM06 is required.

2 If either DTM05 or DTM06 is present, then the other is required.

Semantic Notes:

Comments:

Notes: This segment may be sent to establish the date and time of the reported values, if the

applicable data are available and desired by the recipient. For interval data, the ending

time of each interval should be reported if the sender or receiver requires these datas

Data Element Summary

Ref. Data

Des. Element Name Attributes

DTM01 374 Date/Time Qualifier M ID 3/3

Code specifying type of date or time, or both date and time

151 Service Period End

DTM05 1250 Date Time Period Format Qualifier X ID 2/3

Code indicating the date format, time format, or date and time format

DT Date and Time Expressed in Format

CCYYMMDDHHMM

DTM06 1251 Date Time Period X AN 1/35

Expression of a date, a time, or range of dates, times or dates and times

Segment: SE Transaction Set Trailer

Position: 030

Loop:

Level: Summary:

Usage: Mandatory

Max Use: 1

Purpose: To indicate the end of the transaction set and provide the count of the transmitted

segments (including the beginning (ST) and ending (SE) segments)

Syntax Notes:

Semantic Notes:

Comments: 1 SE is the last segment of each transaction set.

Data Element Summary

Ref. Data

Des. Element Name Attributes

SE01 96 Number of Included Segments M N0 1/10

Total number of segments included in a transaction set including ST and SE

Segments

SE02 329 Transaction Set Control Number M AN 4/9

Identifying control number that must be unique within the transaction set

functional group assigned by the originator for a transaction set

STATE OF CALIFORNIA                                                             ARNOLD SCHWARZENEGGER, Governor

PUBLIC UTILITIES COMMISSION

505 VAN NESS AVENUE

SAN FRANCISCO, CA  94102-3298

I.D. #  7989

OCTOBER 6, 2008					RESOLUTION E-4205 		                                     		 Commission Meeting November 6, 2008

TO:  PARTIES TO RULEMAKING 08-03-008

Enclosed is draft Resolution Number E-4205 of the Energy Division.  It will be on the agenda at the November 6, 2008 Commission meeting. The Commission may then vote on this Resolution or it may postpone a vote until later.

When the Commission votes on a draft Resolution, it may adopt all or part of it as written, amend, modify or set it aside and prepare a different Resolution.  Only when the Commission acts does the Resolution become binding on the parties.

Parties may submit comments on the draft Resolution.

An original and two copies of the comments, with a certificate of service, should be submitted to:

Honesto Gatchalian

Energy Division

California Public Utilities Commission

505 Van Ness Avenue

San Francisco, CA  94102

Fax: 415-703-2200

A copy of the comments should be submitted in electronic format to:

Nicolas Chaset

Energy Division

California Public Utilities Commission

505 Van Ness Avenue

San Francisco, CA 94102

Email: nlc@cpuc.ca.gov

Any comments on the draft Resolution must be received by the Energy Division by October 26, 2008.  Those submitting comments must serve a copy of their comments on 1) the entire service list attached to the draft Resolution, 2) all Commissioners, and 3) the Chief Administrative Law Judge, and 4) the General Counsel on the same date that the comments are submitted to the Energy Division.

Comments shall be limited to fifteen pages in length and should list the recommended changes to the draft Resolution.

Comments shall focus on factual, legal or technical errors in the proposed draft Resolution.  Comments that merely reargue positions taken in the advice letter or protests will be accorded no weight and are not to be submitted.

Replies to comments on the draft resolution may be filed (i.e., received by the Energy Division) on October 31, 2008, five days after comments are filed, and shall be limited to identifying misrepresentations of law or fact contained in the comments of other parties.  Replies shall not exceed five pages in length, and shall be filed and served as set forth above for comments.

Late submitted comments or replies will not be considered.

Meredith Sterkel, Program and Project Supervisor

Energy Division

Enclosure:  Service List

Certificate of Service

CERTIFICATE OF SERVICE

I certify that I have by mail this day served a true copy of Draft Resolution E-4205 on all parties in these filings or their attorneys as shown on the attached list.

Dated October 6, 2008 at San Francisco, California.

____________________

Nicolas Chaset

NOTICE

Parties should notify the Energy Division, Public Utilities

Commission, 505 Van Ness Avenue, Room 4002

San Francisco, CA  94102, of any change of address to

insure that they continue to receive documents.  You

must indicate the Resolution number on the service list

on which your name appears.

Service List for Resolution E-4205

DONALD GILLIGAN                           DAVID KOPANS

PRESIDENT                                 FAT SPANIEL TECHNOLOGIES, INC.

NATIONAL ASSOCIATON OF ENERGY SERVICE     2 PRINCETON ROAD

610 MOUNTAIN STREET                       ARLINGTON, MA  02474

SHARON, MA  02067                         FOR: FAT SPANIEL TECHNOLOGIES, INC.

FOR: NAESCO

MICHAEL O. BROWN                          STEVEN HUHMAN

VP BUSINESS DEVELOP AND GEN COUNSEL       MORGAN STANLEY CAPITAL GROUP INC.

UTC POWER CORPORATION                     2000 WESTCHESTER AVENUE

195 GOVERNORS HIGHWAY                     PURCHASE, NY  10577

SOUTH WINDSOR, CT  06074                  FOR: MORGAN STANLEY CAPITAL GROUP, INC.

FOR: UTC POWER CORPORATION

STEVEN D. PATRICK                         LISA ROSEN

ATTORNEY AT LAW                           SECRETARY

SOUTHERN CALIFORNIA GAS COMPANY           ENERGY EFFICIENCY SOLAR

555 WEST FIFTH STREET, GT14E7             308 W. MONTEREY AVENUE

LOS ANGELES, CA  90013-1011               POMONA, CA  91768

FOR: SAN DIEGO GAS & ELECTRIC             FOR: ENERGY EFFICIENCY SOLAR

ANNETTE GILLIAM                           MICHAEL D. MONTOYA

ATTORNEY AT LAW                           ATTORNEY AT LAW

SOUTHERN CALIFORNIA EDISON COMPANY        SOUTHERN CALIFORNIA EDISON COMPANY

2244 WALNUT GROVE AVENUE                  2244 WALNUT GROVE AVENUE

ROSEMEAD, CA  91770                       ROSEMEAD, CA  91770

FOR: SOUTHERN CALIFORNIA EDISON COMPANY   FOR: SOUTHERN CALIFORNIA EDISON COMPANY

SCOTT DEBENHAM                            MICHAEL P. CALABRESE

DEBENHAM ENERGY LLC                       ATTORNEY AT LAW

11317 VALLE VISTA ROAD                    CITY ATTORNEY, CITY OF SAN DIEGO

LAKESIDE, CA  92040                       1200 THIRD AVENUE, SUITE 1100

FOR: DEBENHAM ENERGY, LLC                 SAN DIEGO, CA  92101

FOR: CITY OF SAN DIEGO

DONALD C. LIDDELL                         ANDREW MCALLISTER

DOUGLASS & LIDDELL                        DIRECTOR OF PROGRAMS

2928 2ND AVENUE                           CALIFORNIA CENTER FOR SUSTAINABLE ENERGY

SAN DIEGO, CA  92103                      8690 BALBOA AVENUE, SUITE 100

FOR: VRB POWER SYSTEMS INC., ICE ENERGY   SAN DIEGO, CA  92123

INC.                                      FOR: CALIFORNIA CENTER FOR SUSTAINABLE

ENERGY

KIRK MULLIGAN                             TAM HUNT

CLEAN POWER SYSTEMS                       ENERGY PROGRAM DIRECTOR/ATTORNEY

13230 EVENING CREEK DR. SOUTH, STE 203    COMMUNITY ENVIRONMENTAL COUNCIL

SAN DIEGO, CA  92128                      26 W. ANAPAMU, 2ND FLOOR

FOR: CLEAN POWER SYSTEMS                  SANTA BARBARA, CA  93101

FOR: COMMUNITY ENVIRONMENTAL COUNCIL

TAMLYN M. HUNT                            JANIS PEPPER

ENERGY PROGRAM DIRECTOR                   SUNFUND CORPORATION

COMMUNITY ENVIRONMENTAL COUNCIL           PO BOX 3206

26 W. ANAPAMU ST., 2ND FLOOR              LOS ALTOS, CA  94024

SANTA BARBARA, CA  93101                  FOR: SUNFUND CORPORATION

FOR: COMMUNITY ENVIRONMENTAL COUNCIL

SUZANNE H. EMERSON                        MARCEL HAWIGER

EMERSON ENVIRONMENTAL, LLC                ATTORNEY AT LAW

160 PLYMOUTH AVENUE                       THE UTILITY REFORM NETWORK

SAN CARLOS, CA  94070-1621                711 VAN NESS AVENUE, SUITE 350

FOR: EMERSON ENVIRONMENTAL, LLC           SAN FRANCISCO, CA  94102

FOR: TURN

CHRISTOPHER CLAY                          STEPHEN A. S. MORRISON

CALIF PUBLIC UTILITIES COMMISSION         CITY & COUNTY OF SAN FRANCISCO

LEGAL DIVISION                            CITY HALL, RM 234

ROOM 4300                                 1 DR CARLTON B. GOODLET PLACE

505 VAN NESS AVENUE                       SAN FRANCISCO, CA  94102-4682

SAN FRANCISCO, CA  94102-3214             FOR: CITY & COUNTY OF SAN FRANCISCO

FOR: DRA

MATT GOLDEN                               JENNIFER SOMERS

SUSTAINABLE SPACES, INC.                  PROGRAM OFFICER: GREEN CONNECTION

1167 MISSION STREET                       LOCAL INITIATIVES SUPPORT CORPORATION

SAN FRANCISCO, CA  94103                  369 PINE STREET, STE. 350

FOR: SUSTAINABLE SPACES INC               SAN FRANCISCO, CA  94104

FOR: LOCAL INITIATIVES SUPPORT

CORPORATION (LISC)

NORA SHERIFF                              CRAIG LEWIS

ATTORNEY AT LAW                           VP OF GOV. RELATIONS

ALCANTAR & KAHL, LLP                      GREENVOLTS

120 MONTGOMERY STREET, SUITE 2200         50 FIRST STREET, SUITE 507

SAN FRANCISCO, CA  94104                  SAN FRANCISCO, CA  94105

FOR: ENERGY PRODUCERS & USERS COALITION   FOR: GREENVOLTS

ADAM BROWNING                             SHANNON KOFFMAN

THE VOTE SOLAR INITIATIVE                 POWERNAB

300 BRANNAN STREET, SUITE 609             1812 POLK STREET

SAN FRANCISCO, CA  94107                  SAN FRANCISCO, CA  94109

FOR: VOTE SOLAR INITIATIVE                FOR: POWERNAB

ENRIQUE GALLARDO                          JOE KARP

ATTORNEY AT LAW                           ATTORNEY

LATINO ISSUES FORUM                       WINSTON & STRAWN LLP

160 PINE STREET, SUITE 700                101 CALIFORNIA STREET

SAN FRANCISCO, CA  94111                  SAN FRANCISCO, CA  94111

FOR: LATINO ISSUES FORUM                  FOR: GRID ALTERNATIVES

JOSEPH F. WIEDMAN                         MICHAEL B. DAY

ATTORNEY AT LAW                           ATTORNEY AT LAW

GOODIN MACBRIDE SQUERI DAY & LAMPREY LLP  GOODIN MACBRIDE SQUERI DAY & LAMPREY LLP

505 SANSOME STREET, SUITE 900             505 SANSOME STREET, SUITE 900

SAN FRANCISCO, CA  94111                  SAN FRANCISCO, CA  94111-3133

FOR: SOLAR ALLIANCE                       FOR: SOLAR ALLIANCE

RANDALL J. LITTENEKER                     SARA STECK MYERS

ATTORNEY AT LAW                           ATTORNEY AT LAW

PACIFIC GAS AND ELECTRIC COMPANY          122  28TH AVENUE

PO BOX 7442, B30A                         SAN FRANCISCO, CA  94121

SAN FRANCISCO, CA  94120                  FOR: CENTER FOR ENERGY EFFICIENCY AND

FOR: PACIFIC GAS AND ELECTRIC COMPANY     RENEWABLE TECHNOLOGIES (CEERT)

BILL BROBECK                              SUE KATELEY

BROBECK SOLAR ENERGY LLC                  EXECUTIVE DIRECTOR

1125 BOLLINGER CANYON ROAD                CALIFORNIA SOLAR ENERGY INDUSTRIES ASSN

MORAGA, CA  94556                         PO BOX 782

FOR: BROBECK SOLAR ENERGY LLC             RIO VISTA, CA  94571

FOR: CALIFORNIA SOLAR ENERGY INDUSTRIES

ASSN.

NEHEMIAH STONE                            ROBERT L. KNIGHT

DIRECTOR OF DSM IMPLEMENTATION            CALIFORNIA BUILDING PERFORN. CONT. ASSN.

KEMA SERVICES, INC.                       1000 BROADWAY, SUITE 410

492 NINTH STREET, SUITE 220               OAKLAND, CA  94607

OAKLAND, CA  94607                        FOR: CALIFORNIA BUILDING PERFORMANCE

FOR: KEMA SERVICES                        CONTRACTOR'S ASSOCIATION

ERICA MACKIE, P.E.                        JOSHUA HARRIS

EXECUTIVE DIRECTOR & CO-FOUNDER           LAW OFFICES OF STEPHAN C. VOLKER

GRID ALTERNATIVES                         436 14TH STREET, SUITE 1300

1610 HARRISON STREET, SUITE C             OAKLAND, CA  94612

OAKLAND, CA  94612                        FOR: CARE

FOR: GRID ALTERNATIVES

KEVIN T. FOX                              GREGG MORRIS

KEYES & FOX LLP                           DIRECTOR

5727 KEITH AVENUE                         GREEN POWER INSTITUTE

OAKLAND, CA  94618                        2039 SHATTUCK AVENUE, STE 402

FOR: INTERSTATE RENEWABLE ENERGY          BERKELEY, CA  94704

COUNCIL (IREC)                            FOR: GREEN POWER INSTITUTE

THALIA N.C. GONZALEZ                      JOHN PROCTOR

ATTORNEY AT LAW                           GENERAL MANAGER

THE GREENLINING INSTITUTE                 PROCTOR ENGINEERING GROUP

1918 UNIVERSITY AVENUE, 2ND FLOOR         418 MISSION AVENUE

BERKELEY, CA  94704                       SAN RAFAEL, CA  94901

FOR: THE GREENLINING INSTITUTE            FOR: PROCTOR ENGINEERING GROUP LTD.

SUSAN E. BROWN                            JULIE BLUNDEN

A WORLD INSTITUTE FOR SUSTAINABLE HUMANI  SUNPOWER CORPORATION

PO BOX 428                                3939 NORTH FIRST ST.

MILL VALLEY, CA  94942                    SAN JOSE, CA  95134

FOR: A WISH                               FOR: SUNPOWER CORPORATION

MICHAEL KYES                              ERIC LEE

7423 SHAUN CT.                            SR. ENGINEER

SEBASTOPOL, CA  95472                     DAVIS ENERGY GROUP

FOR: KGA ASSOCIATES LLC                   123 C STREET

DAVIS, CA  95616

FOR: DAVIS ENERGY GROUP

MATTHEW KOBER                             LYNN M. HAUG

PYRAMID SOLAR INC.                        ATTORNEY AT LAW

PO BOX 1358                               ELLISON, SCHNEIDER & HARRIS, LLP

COLFAX, CA  95713                         2015 H STREET

FOR: PYRAMID SOLAR                        SACRAMENTO, CA  95811-3109

FOR: FUEL CELL ENERGY

PATRICK STONER                            RENEE WEBSTER-HAWKINS

PROGRAM DIRECTOR                          CHIEF DEPUTY DIRECTOR

LOCAL GOVERNMENT COMMISSION               DEPT. OF COMMUNITY SERVICES AND DEVELOP.

1303 J STREET, SUITE 250                  PO BOX 1947; 700 N 10TH ST., RM 258

SACRAMENTO, CA  95814                     SACRAMENTO, CA  95814

FOR: LOCAL GOVERNMENT COMMISSION          FOR: DEPARTMENT OF COMMUNITY SERVICES &

DEVELOPMENT

JAMES L. HODGES                           ANN L. TROWBRIDGE

AND ENERGY SERVICES                       ATTORNEY AT LAW

ASSOCIATION OF CALIFORNIA COMMUNITY       DAY CARTER & MURPHY LLP

1069 45TH STREET                          3620 AMERICAN RIVER DRIVE, SUITE 205

SACRAMENTO, CA  95819                     SACRAMENTO, CA  95864

FOR: ASSOCIATION OF CALIFORNIA            FOR: CALIFORNIA CLEAN DG COALITION

COMMUNITY AND ENERGY SERVICES (ACCES)

## Information Only

EMILY N. SMITH                            MELISSA R. DORN

ATTORNEY AT LAW                           MCDERMOTT WILL & EMERY

MCDERMOTT WILL & EMERY LLP                600 THIRTEENTH STREET, N.W.

600 THIRTEENTH ST., NW                    WASHINGTON, DC  20005

WASHINGTON, DC  20005

MICHAEL A. YUFFEE                         JIM ROSS

MCDERMOTT WILL & EMERY LLP                RCS, INC.

600 THIRTEENTH STREET, N.W.               500 CHESTERFIELD CENTER, SUITE 320

WASHINGTON, DC  20005-3096                CHESTERFIELD, MO  63017

GARY HINNERS                              BURT Y. CHAO

RELIANT ENERGY, INC.                      INSTITUTIONAL RESEARCH

PO BOX 148                                SIMMONS & COMPANY INTERNATIONAL

HOUSTON, TX  77001-0148                   700 LOUISIANA, STE 5000

HOUSTON, TX  77002

JOHN ROHRBACH                             KIRBY BOSLEY

RELIANT ENERGY INC                        BEAR ENERGY LP

1000 MAIN ST                              700 LOUISIANA ST. STE 1000, 10TH FLR

HOUSTON, TX  77002                        HOUSTON, TX  77002

PAUL TRAMONTE                             PEARCE HAMMOND

BEAR ENERGY LP                            SIMMONS & COMPANY

700 LOUISIANA ST., STE 1000, 10TH FLR     700 LOUISIANA, STE 5000

HOUSTON, TX  77002                        HOUSTON, TX  77002

ROBERT HANNA                              BETH BAKER

RELIANT ENERGY INC                        SUMMIT BLUE CONSULTING

1000 MAIN ST SUITE 1100                   1722 14TH STREET, SUITE 230

HOUSTON, TX  77002                        BOULDER, CO  80304

TIM MERRIGAN                              LORRAINE A. PASKETT

NATIONAL RENEWABLE ENERGY LABORATORY      VICE PRES., POLICY & MARKET DEVELOPMENT

1617 COLE BLVD. M/S 1725                  FIRST SOLAR, INC.

GOLDEN, CO  80401                         350 WEST WASHINGTON STREET, SUITE 600

TEMPE, AZ  85281

ROBERT L. PETTINATO                       HUGH YAO

LOS ANGELES DEPARTMENT OF POWER & WATER   SOUTHERN CALIFORNIA GAS COMPANY

NATURAL GAS GROUP                         555 W. 5TH ST, GT22G2

111 NORTH HOPE STREET, ROOM 1151          LOS ANGELES, CA  90013

LOS ANGELES, CA  90012-0100

ALANA STEELE, ESQ.                        NORMAN A. PEDERSEN, ESQ.

HANNA AND MORTON LLP                      HANNA & MORTON LLP

444 S. FLOWER ST., SUITE 1500             444 S. FLOWER STREET, SUITE 1500

LOS ANGELES, CA  90071-2916               LOS ANGELES, CA  90071-2916

ARLEEN NOVOTNEY                           SUSAN MUNVES

SOUTHERN CALIFORNIA FORUM                 ENERGY AND GREEN BLDG. PROG. ADMIN.

941 PALMS BLVD.                           CITY OF SANTA MONICA

VENICE, CA  90291                         1212 5TH STREET, FIRST FLOOR

SANTA MONICA, CA  90401

TED BARDACKE                              REN ZHANG

SENIOR ASSOCIATE                          CITY OF PASADENA WATER AND POWER

GLOBAL GEEN USA                           150 S. LOS ROBLES AVENUE, SUITE 200

2218 MAIN STREET, 2ND FLOOR               PASADENA, CA  91101

SANTA MONICA, CA  90405

ERIC KLINKNER                             STEVEN P. CHADIMA

PASADENA DEPARTMENT OF WATER AND POWER    ENERGY INNOVATIONS, INC.

150 SOUTH LOS ROBLES AVENUE, SUITE 200    130 WEST UNION STREET

PASADENA, CA  91101-2437                  PASADENA, CA  91103

STEVE ENDO                                JUSTIN RATHKE

PASADENA DEPARTMENT OF WATER & POWER      CAPSTONE TURBINE CORPORATION

150 S. LOS ROBLES AVE., STE. 200          21211 NORDHOFF STREET

PASADENA, CA  91105                       CHATSWORTH, CA  91311

TOM HAMILTON                              BRUNO JEIDER

SR. MANAGER                               BURBANK WATER & POWER

ICF INTERNATIONAL                         164 WEST MAGNOLIA BLVD.

14724 VENTURA BLVD. SUITE 1001            BURBANK, CA  91502

SHERMAN OAKS, CA  91403

FOR: ICF INTERNATIONAL

MICHAEL TEN EYCK                          AKBAR JAZAYERI

UTILITY OPERATIONS MANAGER                SOUTHERN CALIFORNIA EDISON COMPANY

CITY OF RANCHO CUCAMONGA                  PO BOX 800

10500 CIVIC CENTER DRIVE                  2244 WALNUT GROVE AVE.

RANCHO CUCAMONGA, CA  91730               ROSEMEAD, CA  91770

FOR: SOUTHERN CALIFORNIA EDISON COMPANY

CASE ADMINISTRATION                       JIM LEHRER

SOUTHERN CALFORNIA EDISON COMPANY         SOUTHERN CALIFORNIA EDISON COMPANY

2244 WALNUT GROVE AVENUE, ROOM 370        2244 WALNUT GROVE

ROSEMEAD, CA  91770                       ROSEMEAD, CA  91770

FOR: SOUTHERN CALFORNIA EDISON COMPANY    FOR: SOUTHERN CALIFORNIA EDISON COMPANY

ROBERT F. LEMOINE                         RONALD K. ISHII

LAW DEPARTMENT                            AESC, INC.

SOUTHERN CALIFORNIA EDISON COMPANY        5027 BALFOUR COURT, SUITE 213

2244 WALNUT GROVE AVENUE                  CARLSBAD, CA  92008

ROSEMEAD, CA  91770

DAN PERKINS                               FREDERICK M. ORTLIEB

ENERGYSMARTHOMES.NET                      OFFICE OF CITY ATTORNEY

983 PHILLIPS ST.                          CITY OF SAN DIEGO

VISTA, CA  92083                          1200 THIRD AVENUE, SUITE 1200

FOR: CLEANTECH ENERGY SOLUTIONS INC.      SAN DIEGO, CA  92101

ANNIE HENDERSON                           CENTRAL FILES

CALIFORNIA CENTER FOR SUSTAINABLE ENERGY  SAN DIEGO GAS & ELECTRIC

8690 BALBOA AVE, STE. 100                 8315 CENTURY PARK COURT

SAN DIEGO, CA  92123                      SAN DIEGO, CA  92123

IRENE M. STILLINGS                        JENNIFER PORTER

EXECUTIVE DIRECTOR                        POLICY AND OUTREACH MANAGER

CALIF. CNTR FOR SUSTAINABLE ENERGY        CALIF. CNTR FOR SUSTAINABLE ENERGY

8690 BALBOA AVE., STE 100                 8690 BALBOA AVE., SUITE 100

SAN DIEGO, CA  92123                      SAN DIEGO, CA  92123

JOHN SUPP                                 JON BONK-VASKO

PROGRAM MANAGER                           PROGRAM MANAGER

CALIFORNIA CENTER FOR SUSTAINABLE ENERGY  CALIFORNIA CENTER FOR SUSTAINABLE ENERGY

8690 BALBOA AVENUE, SUITE 100             8690 BALBOA AVE., SUITE 100

SAN DIEGO, CA  92123                      SAN DIEGO, CA  92123

JOY C. YAMAGATA                           SEPHRA A. NINOW

REGULATORY MANAGER                        POLICY ANALYST

SAN DIEGO GAS & ELECTRIC COMPANY          CALIFORNIA CENTER FOR SUSTAINABLE ENERGY

8330 CENTURY PARK COURT, CP 32 D          8690 BALBOA AVENUE, SUITE 100

SAN DIEGO, CA  92123                      SAN DIEGO, CA  92123

CAROL MANSON                              EVELYN LEE

REGULATORY AFFAIRS                        CITY OF SAN DIEGO

SAN DIEGO GAS & ELECTRIC CO.              9601 RIDGEHAVEN COURT, SUITE 120

8330 CENTURY PARK COURT CP32D             SAN DIEGO, CA  92123-1636

SAN DIEGO, CA  92123-1530

TOM BLAIR                                 BOB RAMIREZ

ENERGY ADMINISTRATOR                      ITRON, INC. (CONSULTING & ANALYSIS DIV.)

CITY OF SAN DIEGO                         11236 EL CAMINO REAL

9601 RIDGEHAVEN COURT, SUITE 120          SAN DIEGO, CA  92130

SAN DIEGO, CA  92123-1636                 FOR: ITRON, INC.

JEFFREY M. GARBER                         CHARLES R. TOCA

GENERAL COUNSEL                           UTILITY SAVINGS & REFUND, LLC

IMPERIAL IRRIGATION DISTRICT              PO BOX 54346

333 EAST BARIONI BOULEVARD                IRVINE, CA  92619-4346

IMPERIAL, CA  92251                       FOR: UTILITY SAVINGS & REFUND, LLC

JEFF COX                                  WILLIAM A. KARAMBELAS

DIRECTOR OR BUSINESS DEVELOPMENT          VICE PRESIDENT, WESTERN REGION

FUELCELL ENERGY                           FUELCELL ENERGY

27068 LA PAZ ROAD, NO. 470                27068 LA PAZ ROAD, NO. 470

ALISO VIEJO, CA  92656                    ALISO VIEJO, CA  92656

HOWARD GREEN                              SHARYN BARATA

DIR. UTILITY PROGAMS- WEST                VP MARKETING

SUN EDISON                                OPINION DYNAMICS

1130 CALLE CORDILLERA                     28202 CABOT ROAD, STE. 300

SAN CLEMENTE, CA  92673                   LAGUNA NIGUEL, CA  92677

FOR: OPINION DYNAMICS

LES NELSON                                GEORGE DEHART

WESTERN RENEWABLES GROUP                  CITY OF ANAHEIM

30012 AVENTURA, SUITE A                   200 SOUTH ANAHEIM BOULEVARD

RANCHO SANTA MARGARITA, CA  92688         ANAHEIM, CA  92805

STEVEN SCIORTINO                          SHAUN YEAGER

CITY OF ANAHEIM                           MOHR POWER SOLAR, INC

200 SOUTH ANAHEIM BOULEVARD               1454 POMONA ROAD

ANAHEIM, CA  92805                        CORONA, CA  92882

LINDSEY TAGGART                           MARK STOUT

COMMUNITY ENVIRONMENTAL OFFICE            DIR. OF RENEWABLE TECH. PLANNING

29 W. ANAPAMU ST., 2ND FLOOR              CLEANTECH AMERICA

SANTA BARBARA, CA  93101                  1416 BROADWAY ST. SUITE B

FRESNO, CA  93721

FOR: CLEANTECH AMERICA

LES GULIASI                               JOSH RICHMAN

SUNFUND CORPORATION                       DIRECTOR OF BUSINESS DEVELOPMENT

PO BOX 3206                               BLOOM ENERGY CORPORATION

LOS ALTOS, CA  94024                      1252 ORLEANS DRIVE

FOR: SUNFUND CORPORATION                  SUNNYVALE, CA  94089

FOR: BLOOM ENERGY CORPORATION

JASON HOUCK                               JEANNE M. SOLE

DEPARTMENT OF ENVIRONMENT                 DEPUTY CITY ATTORNEY

CITY AND COUNTY OF SAN FRANCISCO          CITY AND COUNTY OF SAN FRANCISCO

11 GROVE STREET                           1 DR. CARLTON B. GOODLETT PLACE, RM. 234

SAN FRANCISCO, CA  94102                  SAN FRANCISCO, CA  94102

FRASER D. SMITH                           EVELYN KAHL

CITY AND COUNTY OF SAN FRANCISCO          ATTORNEY AT LAW

SAN FRANCISCO PUBLIC UTILITIES COMM       ALCANTAR & KAHL, LLP

1155 MARKET STREET, 4TH FLOOR             120 MONTGOMERY STREET, SUITE 2200

SAN FRANCISCO, CA  94103                  SAN FRANCISCO, CA  94104

FOR: SAN FRANCISCO PUBLIC UTILITIES COMM  FOR: ENERGY PRODUCERS AND USERS

COALITION

JACK WALKER                               KAREN TERRANOVA

PENINSULA CAPITAL MGMT. INC.              ALCANTAR & KAHL

235 PINE STREET, SUITE 1600               120 MONTGOMERY ST., STE. 2200

SAN FRANCISCO, CA  94104                  SAN FRANCISCO, CA  94104

FOR: PENINSULA CAPITAL MGMT. INC.

NICK ALLEN                                NICK ZIGELBAUM

MORGAN STANLEY RESEARCH                   NATURAL RESOURCES DEFENSE COUNCIL

555 CALIFORNIA STREET STE 2200 21ST FLR   111 SUTTER STREET

SAN FRANCISCO, CA  94104                  SAN FRANCISCO, CA  94104

FOR: NATURAL RESOURCES DEFENSE COUNCIL

SEAN HAZLETT                              CAITLIN HENIG

MORGAN STANLEY                            PROGRAM MANAGER

555 CALIFORNIA ST.,  SUITE 2200, 21ST FL  PACIFIC GAS AND ELECTRIC COMPANY

SAN FRANCISCO, CA  94104                  245 MARKET ST. MAIL CODE N4G

SAN FRANCISCO, CA  94105

CECE BARROS                               EB RUSSELL

PACIFIC GAS AND ELECTRIC COMPANY          SUNTECH AMERICA INC

245 MARKET, ROOM 445                      188 THE EMBARCADERO, 8TH FLR

SAN FRANCISCO, CA  94105                  SAN FRANCISCO, CA  94105

KRISTI PATTERSON                          SHANNON GRAHAM

PACIFIC GAS AND ELECTRIC COOMPANY         ASSOCIATE DIRECTOR

245 MARKET, ROOM 430E                     NAVIGANT CONSULTING, INC.

SAN FRANCISCO, CA  94105                  ONE MARKET, SPEAR STREET TOWER, STE 1200

SAN FRANCISCO, CA  94105

SHERIDAN J. PAUKER                        STACY W. WALTER

WILSON SONSINI GOODRICH & ROSATI          PACIFIC GAS AND ELECTRIC COMPANY

SPEAR TOWER, SUITE 3300                   77 BEALE STREET,  MC B30A

ONE MARKET ST                             SAN FRANCISCO, CA  94105

SAN FRANCISCO, CA  94105

FOR: VOTE SOLAR INITIATIVE

PETER V. ALLEN                            MICHAEL S. HINDUS

THELEN REID BROWN RAYSMAN & STEINER       ATTORNEY AT LAW

101 SECOND STREET, SUITE 1800             PILLSBURY WINTHROP SHAW PITTMAN LLP

SAN FRANCISCO, CA  94105-3606             50 FREMONT STREET

SAN FRANCISCO, CA  94105-7880

FOR: CHEVRON ENERGY SOLUTIONS COMPANY

CHESTER A. ROAMAN                         ERIK STUEBE

1180 DE HARO                              ECOPLEXUS LLC

SAN FRANCISCO, CA  94107                  1733 20TH STREET

SAN FRANCISCO, CA  94107

STEVEN MOSS                               BRIAN CRAGG

SANFRANCISCO COMMUNITY POWER COOPERATIVE  ATTORNEY AT LAW

2325 THIRD STREET, STE 344                GOODIN, MAC BRIDE, SQUERI, DAY & LAMPREY

SAN FRANCISCO, CA  94107                  505 SANSOME STREET, SUITE 900

SAN FRANCISCO, CA  94111

DEREK DENNISTON                           CHRIS RAPHAEL

DIRECTOR                                  EDITOR

EVOLUTION MARKETS INC                     CALIFORNIA ENERGY MARKETS

101 CALIFORNIA STREET, STE 2750           425 DIVISADERO ST.

SAN FRANCISCO, CA  94111-5802             SAN FRANCISCO, CA  94117

FOR: CALIFORNIA ENERGY MARKETS

CASSANDRA MAYALL                          BETSY WILKINS

PACIFIC GAS & ELECTRIC CO.                WILKINS COMMUNICATIONS

PO BOX 7433                               815 25TH AVE., NO. 204

SAN FRANCISCO, CA  94120-7433             SAN FRANCISCO, CA  94121

SARA BIRMINGHAM                           RONNIE PETTERSSON

DIRECTOR, WESTERN POLICY                  ENERGY RECOMMERCE, INC.

SOLAR ALLIANCE                            3717 BUCHANAN STREET, SUITE 333

646 19TH AVE                              SAN FRANCISCO, CA  94123

SAN FRANCISCO, CA  94121

CLINTON PORTER                            ANDREW YIP

KACO SOLAR INC.                           PACIFIC GAS AND ELECTRIC COMPANY

1002 B. OREILLY AVE                       PO BOX 770000, MC B27P

SAN FRANCISCO, CA  94129                  SAN FRANCISCO, CA  94177

FOR: KACO SOLAR INC.

BHAT SUNCHETH                             CHARLES HORNBROOK

PACIFIC GAS AND ELECTRIC COMPANY          PO BOX 770000 MAIL CODE N4G

PO BOX 770000, MC B9A                     SAN FRANCISCO, CA  94177

SAN FRANCISCO, CA  94177

JOSEPHINE WU                              GRANT KOLLING

PACIFIC GAS AND ELECTRIC COMPANY          SENIOR ASSISTANT CITY ATTORNEY

PO BOX 770000, MAIL CODE B9A              CITY OF PALO ALTO

SAN FRANCISCO, CA  94177                  250 HAMILTON AVENUE, 8TH FLOOR

PALO ALTO, CA  94301

JORDAN NEWMAN                             PAUL DETERING

TIOGA ENERGY                              TIOGA ENERGY

2755 CAMPUS DRIVE, SUITE 145              2755 CAMPUS DRIVE, SUITE 145

SAN MATEO, CA  94403                      SAN MATEO, CA  94403

RENEE H. GUILD                            JERRY JACKSON

DIRECTOR                                  838 CONSTITUTION DRIVE

SOLARCITY                                 FOSTER CITY, CA  94404-1802

393 VINTAGE PARK DR., SUITE 140

FOSTER CITY, CA  94404

JAY C. MCLAUGHLIN                         JENNIFER CHAMBERLIN

FATHOM ENGINEERING                        MGR. OF REG. AND GOV. AFFAIRS

4843 SOUTH POINT                          STRATEGIC ENERGY, LLC

DISCOVERY BAY, CA  94505                  2633 WELLINGTON CT.

CLYDE, CA  94520

SCOTT WAYLAND, P.E.                       SARAH BESERRA

WYLAND ENGINEERING, INC.                  CALIFORNIA REPORTS.COM

424 MELROSE COURT                         39 CASTLE HILL COURT

SAN RAMON, CA  94582                      VALLEJO, CA  94591

FOR: WYLAND ENGINEERING, INC.

KEVIN D. BEST                             JULIA LARKIN

REAL ENERGY, LLC                          KEMA

6712 WASHINGTON STREET                    492 NINTH STREET, STE 220

YOUNTVILLE, CA  94599                     OAKLAND, CA  94607

FOR: KEMA

NELLIE TONG                               KARIN CORFEE

KEMA, INC.                                SENIOR CONSULTANT

492 NINTH STREET, SUITE 220               KEMA INC.

OAKLAND, CA  94607                        492 NINTH STREET, SUITE 220

FOR: KEMA, INC.                           OAKLAND, CA  94607-4048

FOR: KEMA INC.

JERRY LAHR                                JODY LONDON

PROGRAM MANAGER                           JODY LONDON CONSULTING

ABAG POWER                                PO BOX 3629

101 EIGHT STREET                          OAKLAND, CA  94609

OAKLAND, CA  94607-4756

ZACH FRANKLIN                             MRW & ASSOCIATES, INC.

DEVELOPMENT DIRECTOR                      1814 FRANKLIN STREET, SUITE 720

GRID ALTERNATIVES                         OAKLAND, CA  94612

1610 HARRISON STREET, SUITE C

OAKLAND, CA  94612

DOCKET COORDINATOR                        GEOFF TEIGEN

5727 KEITH ST.                            RCM INTERNATIONAL, LLC

OAKLAND, CA  94618                        PO BOX 4716

BERKELEY, CA  94704

TARA MARCHANT                             JANICE LIN

SUSTAINABLE DEV. PROJECT COORD.           STRATEGEN CONSULTING LLC

THE GREENLINING INSTITUTE                 2855 TELEGRAPH AVENUE

1918 UNIVERSITY AVENUE                    BERKELEY, CA  94705

BERKELEY, CA  94704

FOR: THE GREENLINING INSTITUTE

TOM BEACH                                 HEIDE KATE

CROSSBORDER ENERGY                        SUN LIGHT & POWER

2560 NINTH STREET, SUITE 213A             1035 FOLGER AVENUE

BERKELEY, CA  94708                       BERKELEY, CA  94710

EDWARD VINE                               RYAN WISER

LAWRENCE BERKELEY NATIONAL LABORATORY     BERKELEY LAB

BUILDING 90R4000                          1 CYCLOTRON ROAD, MS-90-4000

BERKELEY, CA  94720                       BERKELEY, CA  94720

TAY FEDER                                 JUSTIN WEIL

LAWRENCE BERKELEY NATIONAL LABORATORY     PRESIDENT

1 CYCLOTRON ROAD, MAILSTOP 90R4000        SUNWATER SOLAR INC.

BERKELEY, CA  94720                       865 MARINA BAY PARKWAY, SUITE 39

RICHMOND, CA  94804

JOHN NIMMONS                              JOELENE MONESTIER

PRESIDENT                                 MANAGER, COMMERCIAL PROJECT DEVELOPMENT

JOHN NIMMONS & ASSOCIATES, INC.           SPG SOLAR, INC.

175 ELINOR AVE., SUITE G                  20 LEVERONI COURT

MILL VALLEY, CA  94941                    NOVATO, CA  94949

MARY TUCKER                               NANCY FOLLY

CITY OF SAN JOSE                          TURLOCK IRRIGATION DISTRICT

OFFICE OF SUSTAINABILITY                  PO BOX 949

200 EAST SANTA CLARA ST., 10TH FLOOR      TURLOCK, CA  95381

SAN JOSE, CA  95113-1905

WES MONIER                                PRESTON BOOKER

STRATEGIC ISSUES AND PLANNING MANAGER     SONOMA ENERGY MANAGEMENT

TURLOCK IRRIGATION DISTRICT               643 WRIGHT STREET

333 EAST CANAL DRIVE, PO BOX 949          SANTA ROSA, CA  95404

TURLOCK, CA  95381-0949

FOR: TURLOCK IRRIGATION DISTRICT

BARBARA R. BARKOVICH                      LIZ MERRY

BARKOVICH & YAP                           VERVE SOLAR CONSULTING

44810 ROSEWOOD TERRACE                    2402 WESTERNESSE RD.

MENDOCINO, CA  95460                      DAVIS, CA  95616

RICHARD MCCANN, PH.D                      DENNIS DE CUIR

M. CUBED                                  DENNIS W. DE CUIR, A LAW CORPORATION

2655 PORTAGE BAY, SUITE 3                 2999 DOUGLAS BOULEVARD, SUITE 325

DAVIS, CA  95616                          ROSEVILLE, CA  95661

ELIZABETH SHEPPARD                        KENNETH SWAIN

ENVIRONMENTAL SPECIALIST                  NAVIGANT CONSULTING, INC.

SIERRA ECOSYSTEM ASSOCIATES               3100 ZINFANDEL DR., SUITE 600

463 MAIN STREET, SUITE A                  RANCHO CORDOVA, CA  95670

PLACERVILLE, CA  95667

KARLY MCCRORY                             ANDREW B. BROWN

SOLAR DEVELOPMENT, INC.                   ATTORNEY AT LAW

5420 DOUGLAS BLVD. SUITE F                ELLISON  SCHNEIDER & HARRIS, LLP

GRANITE BAY, CA  95746                    2015 H STREET

FOR: SOLAR DEVELOPMENT, INC.              SACRAMENTO, CA  95811

JEDEDIAH J. GIBSON                        GREGGORY L. WHEATLAND

ATTORNEY AT LAW                           ELLISON SCHNEIDER & HARRIS L.L.P.

ELLISON SCHNEIDER & HARRIS LLP            2015 H STREET

2015 H STREET                             SACRAMENTO, CA  95811-3109

SACRAMENTO, CA  95811

AMBER RIESENHUBER                         DIANA CHONG

INDEPENDENT ENERGY PRODUCERS ASSOC.       ENERGY ANALYST

1215 K STREET, SUITE 900                  CALIFORNIA ENERGY COMMISSION

SACRAMENTO, CA  95814                     1516 9TH STREET, MS-45

SACRAMENTO, CA  95814

HEATHER DOWLING                           HOWARD E. SUSMAN

SOLAR SOLUTIONS SPECIALIST                STOEL RIVES LLP

SUNTECHNICS ENERGY SYSTEMS, INC.          980 NINTH STREET, SUITE 1900

660 J STREET, SUITE 270                   SACRAMENTO, CA  95814

SACRAMENTO, CA  95814

JAN MCFARLAND                             JOHN A. MCKINSEY

CAEATFA                                   STOEL RIVES LLP

915 CAPITOL MALL, RM. 457                 980 NINTH STREET, SUITE 1900

SACRAMENTO, CA  95814                     SACRAMENTO, CA  95814

KELLIE SMITH                              LAURENE PARK

SENATE ENERGY/UTILITIES & COMMUNICATION   THE PUBLIC SUSTAINABILITY PARTNERSHIP

STATE CAPITOL, ROOM 4038                  1215 K STREET, 17TH FLR

SACRAMENTO, CA  95814                     SACRAMENTO, CA  95814

LYNN WILEY                                RYAN BERNARDO

PROGRAM ANALYST                           BRAUN  BLAISING MCLAUGHLIN, P.C.

DEPT. OF COMMUNITY SERVICES & DEVELOP.    915 L STREET, SUITE 1270

700 NORTH 10TH STREET, ROOM 258           SACRAMENTO, CA  95814

SACRAMENTO, CA  95814

JAYSON WIMBLEY                            MARC DAVIS

MGR. OF ENERGY AND ENVIRONMENTAL SVCS.    BARNUM & CELILLO ELECTRIC, INC.

DEPT. OF COMMUNITY SERVICES & DEVELOP.    3900 TAYLOR STREET

700 NORTH 10TH ST., ROOM 258              SACRAMENTO, CA  95838

SACRAMENTO, CA  95814-0338

CHUCK SOLT                                KAREN LINDH

LINDH & ASSOCIATES                        CALIFORNIA ONSITE GENERATION

7909 WALERQA RD., STE 112, PMB 119        7909 WALERGA ROAD,  NO. 112, PMB 119

ANTELOPE, CA  95843                       ANTELOPE, CA  95843

JIM BARNETT                               RACHEL HUANG

SACRAMENTO MUNICIPAL UTILITY DISTRICT     SACRAMENTO MUNICIPAL UTILITY DISTRICT

PO BOX 15852, MS A203                     PO BOX 15852, MS A353

SACRAMENTO, CA  95852-1803                SACRAMENTO, CA  95852-1803

FOR: SACRAMENTO MUNICIPAL UTILITY         FOR: SACRAMENTO MUNICIPAL UTILITY

DISTRICT                                  DISTRICT

STEPHEN FRANTZ                            WADE HUGHES

SACRAMENTO MUNICIPAL UTILITY DISTRICT     SACRAMENTO MUNICIPAL UTILITY DISTRICT

PO BOX 15852. MS A353                     PO BOX 15852, MS A203

SACRAMENTO, CA  95852-1803                SACRAMENTO, CA  95852-1803

FOR: SACRAMENTO MUNICIPAL UTILITY         FOR: SACRAMENTO MUNICIPAL UTILITY

DISTRICT                                  DISTRICT

MICHAEL ALCANTAR                          ROD AOKI

ATTORNEY AT LAW                           ALCANTAR & KAHL LLP

ALCANTAR & KAHL LLP                       1300 SW FIFTH AVENUE, SUITE 1750

1300 SW 5TH AVE., STE 1750                PORTLAND, OR  97201

PORTLAND, OR  97201                       FOR: COGENERATION ASSOCIATION OF

FOR: COGENERATION ASSOCIATION OF          CALIFORNIA

CALIFORNIA

ERICK PETERSEN                            TOM ECKHART

VP OF SALES AND MARKETING                 CAL-UCONS

PV POWERED                                10612 NE 46TH STREET

150 SW SCALEHOUSE LOOP, NO. 101           KIRKLAND, WA  98033

BEND, OR  97702                           FOR: CAL-UCONS

MICHAEL KARP                              BRENDA LATTER

A.W.I.S.H.                                ITRON INC.

PO BOX 812                                601 OFFICERS ROW

LOPEZ ISLAND, WA  98261                   VANCOUVER, WA  98661

FOR: ITRON INC.

GEORGE SIMONS                             KURT SCHEUERMANN

PRINCIPAL RESEARCH CONSULTANT             ITRON, INC.

ITRON                                     601 OFFICERS ROW

601 OFFICERS ROW                          VANCOUVER, WA  98661

VANCOUVER, WA  98661                      FOR: ITRON, INC.

FOR: ITRON

MATT SUMMERS                              PATRICK LILLY

ITRON INC.                                ITRON, INC.

601 OFFICERS ROW                          601 OFFICERS ROW

VANCOUVER, WA  98661                      VANCOUVER, WA  98661

FOR: ITRON INC.                           FOR: ITRON, INC.

## State Service

AMY REARDON                               ANNE E. SIMON

CALIF PUBLIC UTILITIES COMMISSION         CALIF PUBLIC UTILITIES COMMISSION

ENERGY DIVISION                           DIVISION OF ADMINISTRATIVE LAW JUDGES

AREA 4-A                                  ROOM 5107

505 VAN NESS AVENUE                       505 VAN NESS AVENUE

SAN FRANCISCO, CA  94102-3214             SAN FRANCISCO, CA  94102-3214

CURTIS SEYMOUR                            DOROTHY DUDA

CALIF PUBLIC UTILITIES COMMISSION         CALIF PUBLIC UTILITIES COMMISSION

ENERGY DIVISION                           DIVISION OF ADMINISTRATIVE LAW JUDGES

AREA 4-A                                  ROOM 5109

505 VAN NESS AVENUE                       505 VAN NESS AVENUE

SAN FRANCISCO, CA  94102-3214             SAN FRANCISCO, CA  94102-3214

ELIZABETH HELTON                          JAY MORSE

CALIF PUBLIC UTILITIES COMMISSION         CALIF PUBLIC UTILITIES COMMISSION

ENERGY DIVISION                           ENERGY DIVISION

AREA 4-A                                  AREA 4-A

505 VAN NESS AVENUE                       505 VAN NESS AVENUE

SAN FRANCISCO, CA  94102-3214             SAN FRANCISCO, CA  94102-3214

JEANNE CLINTON                            JOE COMO

CALIF PUBLIC UTILITIES COMMISSION         CALIF PUBLIC UTILITIES COMMISSION

EXECUTIVE DIVISION                        LEGAL DIVISION

ROOM 4002                                 ROOM 5033

505 VAN NESS AVENUE                       505 VAN NESS AVENUE

SAN FRANCISCO, CA  94102-3214             SAN FRANCISCO, CA  94102-3214

JULIE A. FITCH                            KARIN M. HIETA

CALIF PUBLIC UTILITIES COMMISSION         CALIF PUBLIC UTILITIES COMMISSION

POLICY & PLANNING DIVISION                ENERGY DIVISION

ROOM 5119                                 AREA 4-A

505 VAN NESS AVENUE                       505 VAN NESS AVENUE

SAN FRANCISCO, CA  94102-3214             SAN FRANCISCO, CA  94102-3214

LISA PAULO                                MARYAM EBKE

CALIF PUBLIC UTILITIES COMMISSION         CALIF PUBLIC UTILITIES COMMISSION

ENERGY DIVISION                           DIVISION OF ADMINISTRATIVE LAW JUDGES

AREA 4-A                                  ROOM 5101

505 VAN NESS AVENUE                       505 VAN NESS AVENUE

SAN FRANCISCO, CA  94102-3214             SAN FRANCISCO, CA  94102-3214

FOR: ENERGY

MELICIA CHARLES                           MERIDETH STERKEL

CALIF PUBLIC UTILITIES COMMISSION         CALIF PUBLIC UTILITIES COMMISSION

ENERGY DIVISION                           ENERGY DIVISION

AREA 4-A                                  AREA 4-A

505 VAN NESS AVENUE                       505 VAN NESS AVENUE

SAN FRANCISCO, CA  94102-3214             SAN FRANCISCO, CA  94102-3214

MICHAEL COLVIN                            NICOLAS L. CHASET

CALIF PUBLIC UTILITIES COMMISSION         CALIF PUBLIC UTILITIES COMMISSION

POLICY & PLANNING DIVISION                ENERGY DIVISION

ROOM 5119                                 AREA 4-A

505 VAN NESS AVENUE                       505 VAN NESS AVENUE

SAN FRANCISCO, CA  94102-3214             SAN FRANCISCO, CA  94102-3214

ROBERT LEVIN                              SACHU CONSTANTINE

CALIF PUBLIC UTILITIES COMMISSION         CALIF PUBLIC UTILITIES COMMISSION

ENERGY PRICING AND CUSTOMER PROGRAMS BRA  ENERGY DIVISION

ROOM 4102                                 AREA 4-A

505 VAN NESS AVENUE                       505 VAN NESS AVENUE

SAN FRANCISCO, CA  94102-3214             SAN FRANCISCO, CA  94102-3214

THOMAS ROBERTS                            DAVINA FLEMINGS

CALIF PUBLIC UTILITIES COMMISSION         CALIF PUBLIC UTILITIES COMMISSION

ENERGY PRICING AND CUSTOMER PROGRAMS BRA  EXECUTIVE DIVISION

ROOM 4104                                 770 L STREET, SUITE 1050

505 VAN NESS AVENUE                       SACRAMENTO, CA  95814

SAN FRANCISCO, CA  94102-3214

FOR: ENERGY

DENNIS L. BECK JR.                        DEVORAH EDEN

SENIOR STAFF COUNSEL                      CALIFORNIA ENERGY COMMISSION

CALIFORNIA ENERGY COMMISSION              1516 9TH STREET, MS 25

1516 NINTH STREET, MS 14                  SACRAMENTO, CA  95814

SACRAMENTO, CA  95814

DON SCHULTZ                               ERIN E. GRIZARD

CALIF PUBLIC UTILITIES COMMISSION         CALIF PUBLIC UTILITIES COMMISSION

ENERGY PRICING AND CUSTOMER PROGRAMS BRA  EXECUTIVE DIVISION

770 L STREET, SUITE 1050                  770 L STREET, SUITE 1230

SACRAMENTO, CA  95814                     SACRAMENTO, CA  95814

FOR: DRA

LYNETTE ESTERNON-GREEN                    MELISSA JONES

CALIFORNIA ENERGY COMMISSION              EXECUTIVE DIRECTOR

1516 9TH STREET, MS-45                    CALIFORNIA ENERGY COMMISSION

SACRAMENTO, CA  95814                     1516 9TH STREET, MS-39

SACRAMENTO, CA  95814

MICHAEL DOUGHTON                          SANDY MILLER

SENIOR STAFF COUNSEL                      CALIFORNIA ENERGY COMMISSION

CALIFORNIA ENERGY COMMISSION              1516 9TH STREET MS NO.45

1516 9TH STREET MS-14                     SACRAMENTO, CA  95814

SACRAMENTO, CA  95814

SMITA GUPTA                               DAVID VIDAVER

CALIFORNIA ENERGY COMMISSION              CALIFORNIA ENERGY COMMISSION

1516 NINTH STREET, MS-25                  1516 NINTH STREET, MS-20

SACRAMENTO, CA  95814                     SACRAMENTO, CA  95814-5512

ROD BAYBAYAN

CALIFORNIA ENERGY COMMISSION

1516 NINTH STREET

SACRAMENTO, CA  95814-5512

The CSI Program insurance requirement is twofold. All participating CSI Program contractors must be licensed by the Contractors State License Board, and one of the requirements to be licensed includes bonding. Installers are also required to have insurance/ bonding by utility interconnection departments.

PG&E and SCE are the Program Administrators for the California Solar Initiative program for customers in their respective service territories. The California Center for Sustainable Energy is the Program Administrator for the SDG&E service territory.

The CSI Program insurance requirement is twofold. All participating CSI Program contractors must be licensed by the Contractors State License Board, and one of the requirements to be licensed includes bonding. Installers are also required to have insurance/ bonding by utility interconnection departments.