| Table 1: Distributed Generation Cost-Benefit Methodology Inputs |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Category | Participant Test | RIM Test | TRC Test | Societal Test | PA Cost Test |
| Benefits |  |  |  |  |  |
| Avoided Line Losses |  |  |  |  |  |
| Avoided purchase of energy commodity and Resource Adequacy costs |  |  |  |  |  |
| Avoided Transmission and Distribution (T&D) costs (T&D Investment Deferrals) |  |  |  |  |  |
| Combined Heat and Power (CHP) plant specific benefits |  |  |  |  |  |
| CHP gas and electric bill savings |  |  |  |  |  |
| Environmental benefits (CO2, NOx, and Particulate Matter Emissions) |  |  |  |  |  |
| Increased revenue from fuel transportation for gas-fired DG |  |  |  |  |  |
| Market transformation effects |  |  |  |  |  |
| Net Energy Metering bill credits |  |  |  |  |  |
| Rebates/Incentives |  |  |  |  |  |
| Reduced electricity bills |  |  |  |  |  |
| Reliability benefits (both system and customer ancillary services/VAR support) |  |  |  |  |  |
| Standby charge exemption |  |  |  |  |  |
| Tax credits/depreciation |  |  |  |  |  |
| Utility interconnection not charged to DG customer |  |  |  |  |  |
| Costs |  |  |  |  |  |
| Costs of DG system, interconnection, emission controls and offset purchases |  |  |  |  |  |
| Increased IOU fuel transportation costs for gas-fired DG |  |  |  |  |  |
| Net Energy Metering costs |  |  |  |  |  |
| Nonbypassable charges (PGC, DWR, Nuclear decommissioning) |  |  |  |  |  |
| Operation maintenance, fuel, ongoing emission offset purchases |  |  |  |  |  |
| Program Administration |  |  |  |  |  |
| Reduced revenue from standby charge exemptions |  |  |  |  |  |
| Reduced Transmission, distribution and non-fuel generation revenues |  |  |  |  |  |
| Reliability costs (system cost of additional ancillary services/VAR support) |  |  |  |  |  |
| Removal costs (less salvage) |  |  |  |  |  |
| Utility interconnection |  |  |  |  |  |
| Utility Rebates/Incentives (non-NEM) |  |  |  |  |  |

| Table 2: Participant Test |  |  |
| --- | --- | --- |
| Category | Input Variables | Source |
| Benefits |  |  |
| CHP gas and electric bill savings | Project Specific DG Production Data/ Applicable Tariff rates ($/kWh, etc.) | IOU DG Program Impact Evaluation Studies (i.e., SGIP Annual Impact Evaluation); IOU Tariff sheets |
| CHP plant specific characteristics | Project specific production data ($/kWh or $/therm) | DG Facilities Studies (i.e., Itron SGIP Annual Impact Evaluation); Published sources |
| Net energy metering (NEM) bill credits | Fully bundled credit (or generation credit only for biogas, fuel cells, and wind > 50 kW) | IOU Tariffs, NEM data |
| Rebates/Incentives (non-NEM) | Actual $ paid through DG Program ($/kWh or $/kW) | CPUC, IOU/PAs, CEC, etc. |
| Reduced electricity bills | IOU DG Production Data/ Applicable Tariff rates ($/kWh, etc.) | IOU DG Program Impact Evaluation Studies (i.e. SGIP Annual Impact Evaluation); IOU Tariff sheets |
| Reliability benefits (ancillary services/VAR support) | E3 Reliability Adder | E3 Avoided Cost Methodology/Calculator |
| Standby charge exemption | IOU DG Production Data/ Applicable Tariff rates | IOU tariffs |
| Tax credits/depreciation | Current approved levels | IRS/FTB |
| Utility Interconnection costs not charged to DG customer | IOU tariffs | IOUs |
| Costs |  |  |
| Costs of DG system and emission controls purchase, customer interconnection, and emission offset purchases | Actual charges from manufacturer and installer and customer data. | IOU DG Program data; Installer and Manufacturer data; IOU Interconnection costs |
| Nonbypassable charges (PGC, DWR, Nuclear decommissioning) | IOU rates | IOU tariff sheets |
| Operation and maintenance | Actual charges and historical fuel costs | DG operational data; Published reports |
| Removal costs (less salvage) | Actual values | Installer/Manufacturer data |

| Table 3: Ratepayer Impact Measure (RIM)Test |  |  |
| --- | --- | --- |
| Category | Input Variables | Source |
| Benefits |  |  |
| Avoided Line Losses | D.01-01-007 | CPUC |
| Avoided purchase of energy commodity and Resource Adequacy costs | D.06-06-0063 (E3), as updated with current inputs used to evaluate energy efficiency programs | E3 Calculator and Commission decisions and rulings on energy efficiency evaluation inputs |
| Avoided T&D costs (T&D Investment Deferrals) | 1. Grid-Side DG: Site specific. Must meet D.03-02-068 criteria 2. Customer Side DG: E3 Avoided Cost Methodology/Calculator | 1. GRC marginal costs, site-specific avoided costs. 2. Itron Year 6 SGIP Impact Report |
| Environmental benefits (CO2, NOx, and Particulate Matter Emissions) | E3 environmental adder with current energy efficiency evaluation inputs | E3 Avoided Cost Methodology/ Calculator |
| Increased revenue from fuel transportation for gas-fired DG | IOU DG Production Data/ Applicable Tariff rates ($/therm, etc.) | IOU DG Program Impact Evaluation Studies (i.e. SGIP Annual Impact Evaluation); IOU Tariff sheets |
| Reliability benefits (ancillary services/VAR support) | D.06-06-063 (E3) | E3 Avoided Cost Methodology/ Calculator |
| Costs |  |  |
| Increased IOU fuel transportation costs for gas-fired DG | DG facility production data/ IOU gas rates | IOU tariffs |
| Net Energy Metering costs (bill credits) | Fully bundled retail rate of electricity (or generation component only for biogas, fuel cells, and wind > 50 kW) | IOU Tariffs, NEM data |
| Nonbypassable charges (PGC, DWR, Nuclear decommissioning) | IOU rates | IOU tariff sheets |
| Program Administration, | Actual PA costs | CSI and SGIP PA databases and reports |
| Reduced revenue from standby charge exemptions | IOU DG Production Data/ Applicable Tariff rates | IOU tariffs |
| Reduced T&D and non-fuel generation revenues | IOU DG Production Data/ Applicable Tariff rates ($/kWh, etc.) | IOU DG Program Impact Evaluation Studies (i.e. SGIP Annual Impact Evaluation); IOU Tariff sheets |
| Reliability costs (cost of additional ancillary services/VAR support) | D.06-06-063 (E3) | E3 Avoided Cost Methodology/Calculator |
| Utility Rebates/Incentives (non-NEM) | Actual $ paid through DG Program ($/kWh or $/kW) or Net Energy Metering | CSI and SGIP PAs, |
| Utility interconnection not charged to DG customer | IOU tariffs | IOUs |

| Table 4: Total Resource Cost Test |  |  |
| --- | --- | --- |
| Category | Input Variables | Source |
| Benefits |  |  |
| Avoided Line Losses | D.01-01-007 | CPUC; |
| Avoided purchase of energy commodity and Resource Adequacy costs | D.06-06-0063 (E3) as updated with current inputs used to evaluate energy efficiency programs | E3 Avoided Cost Methodology/Calculator and Commission decisions and rulings on energy efficiency evaluation inputs |
| Avoided T&D costs (T&D Investment Deferrals) | 1. Grid-side DG: Site specific. Must meet D.03-02-068 criteria 2. Customer-side DG: E3 Avoided Cost Methodology/Calculator | 1. GRC marginal costs, site-specific avoided costs. 2. Itron Year 6 SGIP Impact Report |
| CHP plant specific benefits | Project specific production data ($/kWh or $/therm) | DG Facilities Studies (i.e. Itron SGIP Annual Impact Evaluation); Published sources |
| DG customer Reliability, backup power, voltage support (net benefit) | Project/Technology specific estimate, based on input from Parties | IOU DG Program Impact Evaluation Studies (i.e. SGIP Annual Impact Evaluation); Published sources; Project specific data and estimates |
| Reliability benefits (ancillary services/VAR support) | D.06-06-063 (E3) | E3 Avoided Cost Methodology/ Calculator |
| Tax Credits/Depreciation | Federal tax credits only (State tax credits are considered a transfer) | IRS/FTB |
| Costs |  |  |
| DG system and emission controls purchase, emission offset purchases | Actual charges from manufacturer and installer. | IOU DG Program data; Installer and Manufacturer data |
| Operation maintenance, fuel, ongoing emission offset purchases | Actual and historical market costs | DG operational data; Published reports |
| Program Administration | Actual PA Costs | CSI and SGIP PA databases and reports |
| Reliability costs (cost of additional ancillary services/VAR support) | D.06-06-063 (E3) | E3 Avoided Cost Methodology/ Calculator |
| Removal costs (less salvage) | Actual values | Installer/Manufacturer data |
| Utility interconnection | IOU tariffs | IOUs |

| Table 5:Societal Test (variant of the TRC Test) |  |  |
| --- | --- | --- |
| Category | Input Variables | Source |
| Benefits |  |  |
| Avoided Line Losses | D.01-01-007 | CPUC |
| Avoided purchase of energy commodity and Resource Adequacy costs | D.06-06-0063 (E3) as updated with current inputs used to evaluate energy efficiency programs | E3 Avoided Cost Methodology/ Calculator and Commission decisions and rulings on energy efficiency evaluation inputs |
| Avoided T&D costs (T&D Investment Deferrals) | 1. Grid-side DG: Site specific. Must meet D.03-02-068 criteria 2. Customer-side DG: E3 Avoided Cost Methodology/Calculator | 1. GRC marginal costs, site-specific avoided costs. 2. Itron Year 6 SGIP Impact Report |
| CHP plant specific benefits | Project specific production data ($/kWh or $/therm) | DG Facilities Studies (i.e. Itron SGIP Annual Impact Evaluation); Published sources |
| DG customer Reliability, backup power, voltage support (net benefit) | Project/Technology specific estimate, based on input from Parties | IOU DG Program Impact Evaluation Studies (i.e. SGIP Annual Impact Evaluation); Published sources; Project specific data and estimates |
| Environmental benefits (CO2, NOx, and Particulate Matter Emissions) | E3 environmental adder with current energy efficiency evaluation inputs | E3 Avoided Cost Methodology/ Calculator |
| System Reliability benefits | D.06-06-063 (E3) | E3 Avoided Cost Methodology/ Calculator |
| Tax Credits/Depreciation | Federal tax credits only (State tax credits are considered a transfer) | IRS |
| Costs |  |  |
| DG system and emission controls purchase, emission offset purchases | Actual charges from manufacturer and installer. | IOU DG Program data; Installer and Manufacturer data |
| Operation maintenance, fuel, ongoing emission offset purchases | Actual and historical market costs | DG operational data; Published reports |
| Program Administration | Actual PA Costs | CSI and SGIP PA databases and reports |
| Reliability costs (cost of additional ancillary services/VAR support) | D.06-06-063 (E3) | E3 Avoided Cost Methodology/ Calculator |
| Removal costs (less salvage) | Actual values | Installer/Manufacturer data |
| Utility interconnection | IOU tariffs | IOUs |

| Table 6: Program Administrator (PA) Cost Test |  |  |
| --- | --- | --- |
| Category | Input Variables | Source |
| Benefits |  |  |
| Avoided Line Losses | D.01-01-007 | CPUC |
| Avoided purchase of energy commodity and Resource Adequacy costs | D.06-06-0063 (E3) as updated with current inputs used to evaluate energy efficiency programs | E3 Avoided Cost Methodology/ Calculator and Commission decisions and rulings on energy efficiency evaluation inputs |
| Avoided T&D costs (T&D Investment Deferrals) | 1. Grid-side DG: Site specific. Must meet D.03-02-068 criteria 2. Customer-side DG: E3 Avoided Cost Methodology/Calculator | 1. GRC marginal costs, site-specific avoided costs. 2. Itron Year 6 SGIP Impact Report |
| Environmental benefits (CO2, NOx, and Particulate Matter Emissions) | E3 environmental adder with current energy efficiency evaluation inputs | E3 Avoided Cost Methodology/ Calculator |
| Reliability benefits (ancillary services/VAR support) | D.06-06-063 (E3) | E3 Avoided Cost Methodology/ Calculator |
| Costs |  |  |
| Increased IOU fuel transportation costs for gas-fired DG | DG facility production data/ IOU gas rates | IOU tariffs |
| Program Administration | Actual PA Costs | CSI and SGIP PA databases and reports |
| Net Energy Metering bill credit | Fully bundled retail rate of electricity (or generation component only for biogas, fuel cells, and wind > 50 kW,) | Utility tariffs, NEM data |
| Reliability costs (cost of additional ancillary services/VAR support) | D.06-06-063 (E3) | E3 Avoided Cost Methodology/ Calculator |
| Utility Rebates/Incentives (non-NEM) | Actual $ paid through DG Programs ($/kWh or $/kW) | CSI and SGIP PAs |
| Utility interconnection not charged to DG customer | IOU tariffs | IOUs |

(END OF ATTACHMENT A)

The RIM test is not a required DG cost-benefit test, but it is shown here in the event it is performed for other purposes.

Market transformation is not listed in the tables that follow as an input variable with specific data sources because market transformation effects will be analyzed qualitatively after a first set of cost-benefit tests are conducted.  See Section 5.7 of this decision where a methodology for market transformation assessment is discussed, based on the Itron Solar Cost Report and an E3 draft methodology.

The RIM Test is not a required DG cost-benefit test.

To the extent standby charge exemptions are already captured as reduced T&D and non-fuel generation revenues, they should not be counted twice.