ALJ/VSK/eap 						Date of Issuance  11/24/2009

Decision 09-11-007  November 20, 2009

BEFORE THE PUBLIC UTILITIES COMMISSION OF THE STATE OF CALIFORNIA

| In the Matter of the Application of Southern California Edison Company (U-338-E) for a Certificate of Public Convenience and Necessity Concerning the Devers-Palo Verde No. 2 Transmission Line Project. | Application 05-04-015 (Filed April 11, 2005) |
| --- | --- |

DECISION MODIFYING DECISION 07-01-040
GRANTING A CERTIFICATE OF PUBLIC CONVENIENCE AND NECESSITY

On May 14, 2008, Southern California Edison Company (SCE) filed a petition for modification of Decision (D.) 07-01-040 in Application 05-04-015.  D.07-01-040 grants a certificate of public convenience and necessity to SCE to construct the Devers-Palo Verde No. 2 Transmission Line Project (Project).  Most significantly, SCE seeks modifications to the Decision that will permit SCE to construct only the California portion of the Project.  This decision grants the requested relief, as adjusted herein, and modifies D.07-01-040 as set forth in Attachment 1.

# Background

The Commission granted an application for a certificate of public convenience and necessity (CPCN) for the Project in D.07-01-040 (the Decision) dated January 25, 2007.  The Commission granted the CPCN on the basis, among other things, that the Project would generate significant economic benefits to California ratepayers.

The Project approved in the Decision was originally comprised of two major transmission lines, one of which is intrastate, and one of which is interstate.  Together, the elements of the Project were intended to increase the transfer capability between load centers in Southern California and electrical resources in Arizona by 1,200 megawatts (MW).  This would allow Southern California ratepayers to access competitively priced electrical resources in Arizona, as well as reduce congestion on existing transmission lines, thus providing significant ratepayer benefits in the form of lower energy prices and reduced congestion charges.  These ratepayer savings were estimated to be well in excess of the annual ratepayer costs of the Project.  As a result of these findings, the Decision conditioned construction of the California portion of the Project upon approval for construction of the Arizona portion of the Project.

The intrastate portion of the Project is a 41.6-mile transmission line known as the “Devers-Valley No. 2” transmission line, a second 500 kilovolt (kV) transmission line between SCE’s Devers substation in North Palm Springs, Riverside County, and SCE’s Valley substation in the unincorporated portion of Riverside County.  The interstate line is an approximately 230-mile 500 kV line known as the “Devers-Harquahala” transmission line, which would connect Devers substation in California to a location 102 miles inside Arizona near the Palo Verde nuclear generating plant.

On June 6, 2007, the Arizona Corporation Commission (ACC) denied SCE’s application to construct the Project in Arizona.

On May 14, 2008, SCE filed the Petition for Modification (Petition) requesting modifications to the Decision to allow SCE to construct the Project in phases.  Specifically, SCE sought authority to construct all of the California portions of the Project, up to and including the proposed Midpoint Substation east of Blythe, about 15 miles west of the California/Arizona border.  SCE sought to access “potential new renewable and conventional gas-fired generation in the Blythe, California area” and the Petition stated that “[s]uch authorization will help enable California to meet its renewable energy goals.”  The Petition stated that “SCE is committed to constructing the DPV2 facilities in Arizona” notwithstanding ACC denial, and claimed that phasing the construction “does not change the cost-effectiveness of the DPV2 project. … DPV2 will still provide net benefits.”

The Commission’s Division of Ratepayer Advocates (DRA) and The Utility Reform Network (TURN) filed separate responses to the Petition on June 13, 2008.  TURN filed in support of SCE, arguing that it had resolved any environmental concerns with SCE.  DRA raised objections to SCE’s proposal, arguing that a new cost-effectiveness study was necessary and that without the Arizona portion of the Project, the California portion might be unnecessary.

In response to the concerns raised by DRA, assigned Commissioner Dian Grueneich and Administrative Law Judge (ALJ) Timothy J. Sullivan issued a joint ruling on July 17, 2008 (Joint Ruling).  The Joint Ruling found that SCE had not provided sufficient information to allow the Commission to grant the Petition.  It found:

SCE’s Petition fails to provide facts to demonstrate that ratepayer benefits accrue:  (1) if only the California portion of DPV2 is constructed, or (2) if construction of the Arizona portion of DPV2 is constructed far beyond the time frame estimated in the original CPCN decision.

Consequently, the Joint Ruling ordered SCE to amend the Petition “to provide this missing information and therefore demonstrate that construction of the California portion of DPV2 will serve the public interest.”

ALJ Victoria S. Kolakowski was co-assigned to the proceeding on August 14, 2008.

In response to the Joint Ruling, SCE filed an amendment to the Petition (Amendment) on September 2, 2008 and a supplement on September 12, 2008.  The Amendment included additional information regarding the renewable resources in the Blythe area, as well as updated information regarding the costs and benefits of the Project.  No party filed comments on the Amendment or the supplement.

More than eight months later, on May 15, 2009, SCE filed an ex parte notice with two attachments.  The first attachment was a copy of a letter to the Commissioners, dated May 15, 2009, referring them to the attached letter to the ACC of the same date and informing them that SCE intended to discontinue pursuit of ACC approval of the Arizona portion of the Project at this time, and stating SCE’s intention to pursue the California portion of the Project.  The second attachment was a copy of the letter to the ACC dated May 15, 2009, stating that SCE had updated its economic analysis and that the benefits of the Project are “significantly lower as a result of recent developments.”  The letter stated that SCE would not be refiling with the ACC at this time for authorization of the Arizona portion of the Project.  Consistent with these notices, SCE withdrew its May 16, 2008 pre-filing request to initiate Federal Energy Regulatory Commission (FERC) preemption of the ACC denial in Docket No. PT08-1-000 in a May 18, 2009 letter to FERC.  SCE had submitted the FERC request as an initial step in obtaining a FERC permit for the Arizona portion of the Project pursuant to Section 216 of the Federal Power Act.

In response to the May 15, 2009 ex parte notice, ALJ Kolakowski issued a ruling on June 3, 2009, directing SCE to supplement the record for what had become a California-only Project.  The ruling directed that SCE supplement the Petition regarding four matters:  (1) the current status of the California-only Project, including any changes to cost estimates, applications before other agencies and the California Independent System Operator Corporation (CAISO), power purchase agreements between SCE and generation developers served by the Project, projections of renewable energy resources identified by the Renewable Energy Transmission Initiative (RETI), and any other relevant information; (2) information regarding the status of the CAISO’s approval of the California-only Project; and (3) information regarding the status of the Blythe Energy Project Phases I and II generation facilities.

SCE filed its supplemental information on June 26, 2009 (Supplemental Filing).  The Supplemental Filing provides as Attachment I a June 19, 2009 letter from the CAISO to the ALJ setting forth the conditions for CAISO approval of a California-only Project (CAISO Letter).  The CAISO Letter explains that, given a California-only Project, “the economic justification for the project … is no longer applicable.”  However, the CAISO Letter suggests that “the California portion of the project continues to provide operational and reliability benefits, and the ISO has identified the anticipated need for the project as a generation interconnection facility, which provides the basis for the ISO’s agreement to the construction of the California portion of the project, should the requirements below be met.”  The CAISO Letter provides a summary of the status of generator interconnection requests in the Blythe area, where the California-only Project would terminate, and states that “[t]he ISO anticipates that the California portion of the project will be an important facility in furtherance of state goals regarding the long-term acquisition of power from renewable energy resources.”  In summary, the CAISO Letter explains that the CAISO’s approval of the California-only Project is contingent upon the execution of a sufficient number of Large Generator Interconnection Agreements for interconnection to the California-only Project.  SCE estimates CAISO approval of the California-only Project by as early as December 2009 or as late as January 2011, depending upon the successful execution of large generator interconnection agreements in the near term, or a much later determination of need based upon certain clusters of interconnection requests.

In response to the Supplemental Filing, DRA filed a response on July 6, 2009 (DRA Response) arguing that “[t]here is nothing in the record that demonstrates that the California portion of this transmission project is needed; no such determination has yet been made by the CAISO, and any determination is at least six months away.”  DRA seeks denial of the Petition, without prejudice to a later SCE filing.

# Procedural Requirement Under Rule 16.4

Rule 16.4 of the Commission’s Rules of Practice and Procedure (Rules) governs the process for the filing and consideration of Petitions for Modification (PFM).  Rule 16.4(b) requires that a PFM concisely state the justification for the proposed relief and propose specific wording for all requested modifications.  SCE’s Petition and Amendment contain concise but thorough statements of justification for the proposed modifications.  SCE’s Petition and Amendment propose specific wording for all requested modifications.  Hence, this requirement has been fulfilled.

Rule 16.4(d) states that if more than one year has elapsed since the effective date of the decision, then the petitions must explain why they could not have been presented within one year of the effective date of the decision.  SCE’s Petition did not expressly address this issue.  However, it is clear from the sum of the discussion throughout the record that the Petition was necessitated by the ACC’s denial of SCE’s permit to construct the Arizona portion of the Project, SCE’s subsequent appeal of that decision, and SCE’s inability to remedy this situation in the months that followed.  Attachment B to the Supplemental Filing provides a procedural background for the Petition and explains that SCE filed the Petition “in anticipation of obtaining the approvals it needed to construct the Arizona portion of DPV2, and to position itself and the State of California to take advantage of potential generation sources (most of which are renewable) near Blythe, California.”  We find that this is a reasonable justification for the delay.

Hence, we conclude that SCE’s Petition and Amendment comply with the requirements of Rule 16.4.

# Need For The California-Only Project

## The Prior Economic Need For The Project Does Not Apply To A California-Only Project

As described above, this Commission approved the Project contingent upon construction of both the California and Arizona portions because the Arizona portion of the Project was critical to delivering the economic benefits that justified approval of the line.  Nevertheless, SCE’s Petition provided insufficient information to confirm that the Arizona portion would ever be approved by the ACC and constructed.  Consequently, the Joint Ruling ordered SCE to provide an updated economic analysis to explain the economic benefits of a California-only Project.  SCE provided limited economic analysis in its Amendment and stated that it would complete a more detailed analysis by the end of the year to accompany an application to construct with either FERC or the ACC, and that analysis would be presented to the Commission.

The issue of the economic benefits of the Project has been rendered moot by SCE’s subsequent admission in the Supplemental Filing that the economic benefits of the Project have been reduced and that it will not be pursuing construction of the Arizona portion of the Project at this time.  The Supplemental Filing points to SCE’s May 15, 2009 letter to the ACC to explain that the economic benefits of the Project from Arizona to California have diminished since Commission approval:

[T]here has been a narrowing of the economic spread between the costs of California and Arizona generating resources, and a reduced load forecast due to changed economic conditions and the expansion and success of energy efficiency.  As a result, the benefits to California consumers of SCE pursuing the Arizona portion have been reduced from the level forecast at the time of SCE’s initial filing in [sic] with the ACC.

On this basis, SCE informed the ACC in its May 15, 2009 letter that it would not pursue authorization to construct the Arizona portion of the Project at this time.  SCE clarified that it might do so in the future if further interconnection studies establish the need for new transmission in western Arizona to interconnect generation resources to the CAISO system.

SCE’s decision at this time to pursue a California-only Project changes the nature of the Project approved by this Commission.

SCE does not seek to justify a California-only Project on purely economic grounds.  Rather, SCE seeks to justify the California-only Project as “needed to interconnect significant amounts of new generation.”  Consequently, we analyze here that showing and whether it may be relied upon to justify construction of a California-only Project.

## Interconnection Requests and Other Indicia of the Need for Transmission in the Blythe Area

SCE’s Petition sought Commission approval to accelerate SCE’s construction of the California portion of the Project on the basis that SCE had “received a large number of interconnection requests for new generation in the Blythe area.”  SCE stated that “[d]evelopment of these projects requires construction of the California portion of the DPV2 project if the power from these projects is to reach markets in Southern California.”

The size and number of interconnection requests associated with the Blythe area have changed during the pendency of SCE’s Petition, and are likely to change again on December 1, 2009 when additional deposits will be required from certain generators in the CAISO interconnection queue.  In the May 14, 2008 Petition, SCE reported 5,128 MW of renewable generation interconnection requests in the Blythe Area (including the Midpoint and Julian Hinds-Eagle Mountain Areas) and 1,210 MW of conventional gas-fired generation for a total of 6,338 MW seeking interconnection.  SCE’s more recent June 26, 2009 Supplemental Filing reports 11 interconnection requests comprised of 4,900 MW of renewable generation and the same 1,210 MW of conventional gas-fired generation for a total of 6,110 MW.  While the interconnection request numbers have changed slightly over time, due in part to CASIO interconnection queue reform, they have not changed dramatically and generator interest in the Blythe area appears to remain constant and significant.

We do not approve construction of transmission lines based solely on the evidence of generator interconnection requests, which have most recently reflected a certain amount of speculation, rather than firm commitments to development.  Consequently, SCE was compelled to provide additional information in support of its Petition.

In support of its claim that the California-only Project is needed to interconnect renewable generation, SCE points to the U.S. Department of Interior, Bureau of Land Management (BLM) “Solar Energy Applications list” to demonstrate that over 10,000 MW of solar projects are proposed to be located along the corridor of a California-only Project:

[A]s of August 7, 2008, [the Solar Energy Applications list] indicated that 10,850 MW of solar projects have requested rights-of-way through the California Desert District BLM office at Palm Springs, the office that oversees projects in the Blythe area.  These 10,850 MW have proposed locations that are physically located along the DPV 2 Corridor.  [Footnote omitted.]  Out of the 10,850 MW of proposed solar project locations, 3,700 are expected to be solar thermal and 7,150 are solar photovoltaic and together they account for roughly 22% of all solar energy projects that have requested for [sic] rights-of-way with California’s BLM offices.  This shows that the Blythe area is an important area for California if solar resources are [sic] which could be used to serve California electric customers.

SCE also provided a “snapshot” of a BLM map showing the locations of the Blythe-area solar projects along the Project corridor.  SCE concludes that “[t]hese projects’ proximity to the DPV2 corridor demonstrates that the California portion of DPV2, along with the Midpoint switchyard, is the most logical transmission line to be developed to help interconnect solar energy onto the California system.”  SCE concludes:

A close examination of the CAISO interconnection queue and the BLM right-of-way requests suggests that the total solar resources being planned and developed in the Blythe area may actually be greater than either of the queue sizes because some projects in the CAISO interconnection queue are being developed on privately-owned land and therefore do not require BLM application [sic] and some of the projects on the BLM list have not yet submitted CAISO interconnection requests.  Thus, the total amount of solar energy being planned in the Blythe area exceeds 10,800 MW.

SCE’s Supplemental Filing points to RETI findings to justify the California-only Project as needed to interconnect renewable generation.  Specifically, SCE cites to the RETI Phase 1B Final Report (RETI 1B Report) and the RETI Phase 2A Draft Report (RETI 2A Draft Report).  Both of these RETI Reports are public documents of which we take official notice.

The RETI 1B Report analyzed potential Competitive Renewable Energy Zones (CREZs) to determine how they ranked in terms of economic and environmental factors.  The RETI 1B Report indicates that the Riverside East CREZ, which includes the Blythe area, has the potential for 7,800 MW of large-scale solar projects.

SCE explains that the RETI 2A Draft Report (which has subsequently been modified and adopted as a final report) identifies a Conceptual Transmission Plan for California “which includes major transmission lines and other facilities likely to be required not only to deliver renewable energy, but also provide important additional benefits to the grid.”  SCE goes on to explain that “[t]he California portion of the DPV2 is included as a component of this Conceptual Transmission plan.  This project has the advantage of being before the Commission and can be completed in a timely fashion, provided the Commission acts quickly.”

The Supplemental Filing also includes the CAISO Letter at Attachment I which states that: “[t]he ISO’s studies have determined that the interconnection of 1,030 MW of new full capacity generating facilities to the Devers-Palo Verde No. 1 line in the Blythe area near the Colorado River would trigger the need for construction of the new Midpoint to Valley transmission line in order for the generation from those facilities to be fully deliverable.”

## Commission Standards for Determining Need

Historically, under California Pub. Util. Code § 1001, need for a transmission project is established based upon a project’s contribution to reliability or the ratepayer savings it will produce.  The Commission does not approve a new transmission line unless it is required for the “present or future public convenience and necessity.”

More recently, with the advent of California’s Renewable Portfolio Standard (RPS) and the adoption of Pub. Util. Code § 399.2.5, the Commission has recognized the necessity of approving new transmission projects in anticipation of future renewable energy projects to meet RPS goals.  However, and significantly, while SCE has asserted that the Project will help California meet its RPS goals, SCE has not asserted that the California-only Project is necessary to meet those goals.  SCE has also not requested retail rate recovery for the California-only Project pursuant to § 399.2.5.  Rather, SCE has claimed that the California-only Project is needed to interconnect both renewable and conventional generation resources proposed to be located in the Blythe area.  Nevertheless, because of the extensive renewable potential of the Blythe area, and the RETI 2A Draft Report’s identification of the previously CPUC-approved Project as a potential transmission path for delivering those resources to Southern California load centers, we will consider the § 399.2.5-based need analysis applied in previous renewable transmission CPCN cases to determine the need for the California-only Project.

In D.07-03-012 and D.07-03-045, we considered the need for Segments 1, 2, and 3 of what has become known as the Tehachapi Renewable Transmission Plan (TRTP) to build transmission to the wind rich Tehachapi Wind Resource Area.  In those decisions we established a three-part test for determining need under Pub. Util. Code § 399.25, requiring that a project proponent demonstrate:  (1) that a project would bring to the grid renewable generation that would otherwise remain unavailable; (2) that the area within the line’s reach would play a critical role in meeting the RPS goals; and (3) that the cost of the line is appropriately balanced against the certainty of the line’s contribution to economically rational RPS compliance.

SCE has provided uncontested information that the California-only Project will be an essential component to delivering renewable generation in the Blythe area to California load centers.  The RETI analysis confirms that the East Riverside CREZ, which includes the Blythe area, contains some of the most promising renewable resources in California, taking both economic and environmental considerations into account.

Notwithstanding this unchallenged showing, SCE has failed to take the information to the next stage and make an argument of need for the California-only Project under the three part test established in D.07-03-012 and D.07-03-045.  Instead, SCE asserts that the line is needed to respond to interconnection requests – requests that have not been formalized into Interconnection Agreements, and could be withdrawn at any time.

This Commission does not approve transmission lines based solely on interconnection requests, and we decline to do so here.  Nevertheless, as set forth below, we find unique circumstances here that support approval of SCE’s request to authorize construction of the California-only Project.

## Prudent Decision Analysis Weighing All Factors

As described above, SCE’s showing in support of the renewable need for the California-only Project is deficient.  Nevertheless, the cumulative weight of the uncontested facts and the unique circumstances surrounding this transmission line lead us to conclude that construction of the California-only Project is required to meet future public convenience and necessity.

The California-only Project will allow access to significant potential renewable resources, particularly proposed large-scale solar projects in the Riverside East CREZ.  We do not have significant specific information about these resources, and they may not be needed to meet the current 20% RPS mandates.  However, information in the RETI 2A Draft Report reflects that resources from the Riverside East CREZ would be desirable for reaching the 33% by 2020 levels set forth in California policy.  RETI anticipates that the East Riverside CREZ will be comprised exclusively of large solar resources.  Because such resources are more expensive than other technologies, the economic score for this CREZ is worse than average.  However, the East Riverside CREZ has a significantly better than average environmental score, potentially reflecting fewer obstacles to developing resources in the East Riverside CREZ.

Two other factors unique to this Petition clearly weigh in favor of a California-only Project.  First, the transmission lines would be built within existing high-voltage transmission rights-of-way containing towers similar to those proposed, thus significantly minimizing the environmental impact of the line.  The 500 kV towers for the California-only Project would be placed adjacent to the existing 500 kV towers of the Devers-Palo Verde No. 1 and Devers-Valley No. 1 transmission lines.  Second, almost all of the planning and environmental siting review has been completed.  The Commission has already certified the Final Environmental Impact Report (Final EIR) for the Project.  The final engineering and economic evaluations are underway.

No other transmission project could access the Riverside East CREZ without significant time delays in terms of environmental review and significant cost.  In addition, in order to reach the 33% goal, California will likely need to construct significant new transmission resources in SCE’s service territory, and delay could make it more difficult for both SCE and the Commission to pursue development of these projects simultaneously.  Further, and significantly, there is no environmental opposition to this line.  Hence, there is a benefit to completing a project, like this one, that faces no environmental challenges and for which construction can begin imminently.

This is clearly a unique and unprecedented opportunity to construct a transmission line project that has already undergone environmental review to support a large and desirable RETI-identified CREZ.  We should not pass up this opportunity to quickly and efficiently, with little environmental damage, expand the transmission grid to support this CREZ.

Given the potential for renewable resources in the Riverside East CREZ, the substantial work and study already completed on the Project - including certification of the Final EIR - the constrained environmental impacts of building in an existing corridor, the lack of environmental opposition, and the uncertainty in terms of delay and cost in considering an alternative project to access this CREZ, we find that it is necessary, reasonable, and prudent to construct the California-only Project.

However, because construction of the Arizona portion of the Project would potentially reduce the California-only Project’s ability to transmit energy from the Riverside East CREZ, we require SCE to seek Commission approval prior to resuming pursuit of the Arizona portion of the Project in the future.

# Environmental Impact

SCE’s Petition raises two issues which led us to question the need for additional environmental review under the California Environmental Quality Act (CEQA).  The first issue is the construction of the Midpoint Substation, which was not authorized in the Decision, and the second issue is the possibility that development of renewable resources in Blythe may constitute a connected action that would require a supplemental Environmental Impact Report (EIR)/Environmental Impact Statement (EIS).  Both issues are addressed in this section.

The environmental impacts of two alternative substation locations – the Midpoint Substation and the Midpoint-Desert Southwest Substation - were fully evaluated in the Final EIR/EIS.  The Final EIR/EIS concluded that either location was “equally environmentally superior/preferable.”  Hence, SCE may chose to pursue either of the studied locations for purposes of CEQA/NEPA, and our approval of construction of the Midpoint Substation does not trigger the need for additional environmental review.

The issue of whether development of renewable resources in Blythe constitutes a “connected action” within the CEQA framework is more complicated.  CEQA § 21166 states three conditions that may require the issuance of a subsequent or supplemental EIR (SEIR):

- Substantial changes are proposed in the project which will require major revisions of the environmental impact report.

- Substantial changes occur with respect to the circumstances under which the project is being undertaken which will require major revisions in the environmental impact report.

- New information, which was not known and could not have been known at the time the environmental impact report was certified as complete, becomes available.

SCE argues that nothing in the Petition or Amendment rises to the level of requiring an SEIR, as the Project will be constructed in the same manner as studied in the Final EIR/EIS, any renewable resources anticipated to be constructed in the Blythe area are too speculative to allow for meaningful environmental review, and they will likely undergo thorough environmental review prior to their approval and construction.  SCE also argues that requiring environmental review for what is essentially “mere ‘interconnection requests’” would create an extraordinarily burdensome standard for the Commission, which would hamper development of renewable resources system-wide and would extend the scope of the project description to include future actions overseen by other state agencies.

To address the “connected action” issue, Energy Division staff (Staff) directed its environmental consultant to develop an Addendum to the Final EIR/EIS based upon the new information presented by the Petition, Amendment, and Supplemental Filing.  The Addendum is attached hereto as Attachment 2.  The Addendum explores the environmental impacts of renewable development in the Riverside East CREZ and concludes, and therefore we find, that “most of the future renewable energy projects that would interconnect to the California portion of DPV2 are in the preliminary planning stages and thus none of the projects are sufficiently detailed to allow meaningful, non-speculative review.”  Because the California-only Project remains the same as what was studied in the Final EIR/EIS and because performing any analysis beyond that contained in the Addendum would not provide meaningful information to the decision-making process, we conclude that undertaking an SEIR is unnecessary here.

Finally, the Decision recognized that significant and unavoidable impacts would result from construction of the Project, and made a finding pursuant to CEQA § 15093 that overriding considerations merited construction of the Project notwithstanding those impacts.  Those considerations included the economic benefits originally contemplated by the Project’s interconnection to Arizona and access to inexpensive generation resources.  Those benefits will not be obtained from a California-only Project.

The California-only Project will play a valuable role in meeting the state’s long-term renewable goals and thereby provides benefits that outweigh its unavoidable adverse environmental effects.  Hence, we find that these benefits constitute an overriding consideration warranting approval of the California-only Project.

# CAISO Approval and Cost Recovery Issues

Similar to the Commission’s own decision, CAISO Board approval of the Project was based upon construction of the entire Project and the economic analysis assuming access to low-cost energy in Arizona.  The CAISO Letter reflects that the CAISO intends to consider the California-only Project separately with regard to SCE’s compliance with the CAISO tariff, which impacts SCE’s ability to recover costs through FERC’s ordinary transmission charges.  While CAISO approval for the California-only Project is not necessary for the Commission to issue this decision on SCE’s Petition, CAISO approval will be a determinative factor in whether construction costs are recovered from transmission users in FERC-administered rates.

The CAISO Letter sets forth the conditions for CAISO approval of the California-only Project, based upon the CAISO’s tariff at FERC.  In response to the CAISO Letter, DRA protested that the Commission should deny the Petition because the record does not demonstrate the need for the California-only Project and need has not yet been determined by the CAISO.  DRA proposes that SCE re-file the Petition after the CAISO has determined the need for the California-only Project.

We disagree with DRA’s contention that the Petition should be denied.  Withholding Commission approval until CAISO approval, and then reconsidering the need for the California-only Project, will only serve to delay construction of this important transmission resource.

However, we recognize that CAISO approval is necessary to FERC rate-recovery, and thus beneficial to SCE ratepayers.  Thus, our approval here is contingent upon CAISO approval of the California-only Project.  As CAISO approval will likely be conditioned upon executed interconnection agreements, among other things, this condition will prevent construction of the line if no interconnection requests materialize into actual projects.

Further, we recognize that the status of the CAISO’s interconnection queue and executed interconnection agreements are critical to CAISO approval and the ultimate use of the California-only Project.  We also understand that interconnection requests in Arizona could impact the use of the California-only Project.  Consequently, we require SCE to provide notice to the Director of the Commission’s Energy Division and the Director of the Division of Ratepayer Advocates on the status of interconnection requests and agreements as they relate to the Project every six months.  Such notices shall include information on both renewable interconnection requests and agreements, as well as information on conventional generation seeking interconnection to the California-only Project approved here, and any expansion of that project to Arizona.

# Maximum Reasonable and Prudent Cost

The Decision established a maximum reasonable and prudent cost (maximum cost) for the Project pursuant to Pub. Util. Code § 1005.5(a) of $545,285,000 in 2005 dollars, including pension and benefits, and administrative and general overheads, but excluding Allowance for Funds Used During Construction (AFUDC).  The Decision provided for increases and decreases to the maximum cost dependent upon various routing options that SCE might pursue for the Arizona portion of the Project.

The Decision recognized that SCE’s cost estimate for the Project would be more accurate once SCE developed a final detailed engineering design-based construction estimate, particularly given the fact that certain routing options remained under consideration.  Consequently, it required SCE to file an advice letter within 30 days of the availability of such an estimate so that the Commission could reconsider the appropriate maximum cost for the project.

SCE requests that, in lieu of modifying the maximum cost at this time, we retain the advice letter process set forth in the Decision.

We grant SCE’s request.  However, we note that SCE’s current showing of the costs for the California-only Project raises several concerns which we expect SCE to fully address in its advice letter filing.  SCE estimates that the California-only Project will cost between $526.3 million and $536.6 million in 2009 dollars, dependent upon routing around Alligator Rock.  This estimate includes escalation to the estimate for the original Project from 2005 to 2009 dollars.  It subtracts those portions of the original Project which will not be constructed at this time, and it adds $106.3 million to construct the Midpoint Substation, including a 35% contingency factor for the substation.  SCE does not explain how it calculated the escalation of 2005 dollars to 2009 dollars.  Additionally, the 35% contingency factor for the Midpoint Substation is concerning.  SCE’s advice letter filing should provide the most current cost estimates available, including contingency factors, and a justification for any contingency over 15%.  To the extent escalators are used, they should be explained and justified.  Additionally, if SCE’s method for escalating 2005 dollars to 2009 dollars results in a different amount compared to using a Bureau of Labor Statistics escalation/inflation calculator, SCE should fully explain the difference and why SCE’s chosen method is more appropriate.  The cost differences between the Project we approved in the Decision and the California-only Project should be clearly explained.

SCE should also carefully review its assumptions and arithmetic in future filings, as there appear to be several errors in SCE’s current filing.  For example, SCE estimates AFUDC of $135 million.  This may be an error.  SCE’s advice letter filing should update the amount of AFUDC projected for the California-only Project, explain how it was calculated, including the rate used to calculate AFUDC (i.e., 90 day commercial paper rate).  Additionally, SCE states in the Supplemental Filing that "Attachment K shows that construction of the DPV2 would include an estimated $113 million for DPV2, $333 million for Devers to the California border, and $235 million for the California border to Harquahala for an estimated total of $686 million in $2009."  However, if we add up these numbers - 113 + 333 + 235 – they equal $681 million, not $686 million.  Further, Attachment K reflects $112 million for DPV2, not the $113 million cited in the Supplemental Filing.  While these errors or omissions are not significant given the scope of the project at issue here, we note that this listing is not exhaustive.  Repeated errors and omissions of this type reflect a concerning lack of attention to detail which we expect to be corrected in future filings.

# Conclusion

The Petition, Amendment, and Supplemental Filing have been found to be procedurally sufficient to support a Petition for Modification.  Based upon the information contained in the Petition, the Amendment, the Supplemental Filing, the RETI 1B and Draft 2A Reports, and the CPUC-prepared Addendum, we conclude that SCE’s proposed modifications should be adopted, as adjusted herein.  We modify D.07-01-040 as set forth in Attachment 1.

# Comments on Proposed Decision

The proposed decision of the ALJ in this matter was mailed to the parties in accordance with Section 311 of the Public Utilities Code and comments were allowed under Rule 14.3.  Comments were filed by SCE, the CAISO, and DRA on October 19, 2009, and reply comments were filed by SCE and DRA on October 26, 2009.  The proposed decision was modified in response to comments to correct errors and provide clarification.

# Assignment of Proceeding

Dian M. Grueneich is the assigned Commissioner and Victoria S. Kolakowski and Timothy J. Sullivan are the assigned ALJs in this proceeding.

Findings of Fact

- The Commission approved SCE’s Application (A.) 05-04-015 for a CPCN for the Devers-Palo Verde No. 2 Transmission Line Project in D.07-01-040 on January 25, 2007.

- The approved Project required construction in both Arizona and California.

- The California-only Project would be constructed almost entirely within the existing high voltage transmission rights-of-way occupied by the 500 kV Devers-Palo Verde No. 1 and the 500 kV Devers-Valley No. 1 transmission lines.

- D.07-01-040 certified a Final EIR for the Project.

- SCE filed a Petition for Modification of D.07-01-040 on May 14, 2008.  SCE filed an Amendment to the Petition on September 2, 2008, and a supplement to the Amendment on September 12, 2008, in accordance with a joint Commissioner-ALJ Ruling issued on July 17, 2008.  Due to a number of changed circumstances, SCE made a Supplemental Filing on June 26, 2009.

- The Petition was filed as a consequence of the ACC’s June 6, 2007 decision to deny SCE a permit to construct the Arizona portion of the Project and various SCE efforts after that time to resolve this issue, and therefore the delay in filing the Petition was reasonable.

- SCE did not present cost-effectiveness information sufficient to demonstrate need for a California-only Project on economic grounds.

- There is no guarantee that the Arizona portion of the Project will ever be completed, and SCE’s letter to the ACC dated May 15, 2009 states that SCE does not intend to file a new application for approval of the Arizona portion of the Project at this time, but may do so in the future based on further interconnection studies.

- SCE asserts that it has received a large number of interconnection requests for new generation in the Blythe, California area, which would be served by a California-only Project.

- SCE asserts that the California-only Project is necessary for the power from this new generation in the Blythe area to reach markets in Southern California.

- SCE’s Supplemental Filing identified interconnection requests totaling 6,110 MW that would access the California-only Project, including 2,950 MW of renewable generation at the Midpoint Substation, 1,950 MW of renewable generation in the Julian Hinds-Eagle Mountain area, and 1,210 MW of conventional generation at the Midpoint Substation.

- SCE cites BLM data stating that as of August 7, 2008, BLM had identified 10,850 MW of solar projects requesting rights-of-way along the Project corridor.  These projects are proposed to be physically located along the corridor of the California-only Project.

- SCE relies upon this data to conclude that the total resources being planned and developed in the Blythe area may actually be greater than evidenced by the CAISO interconnection queue or the BLM data because the lists do not overlap.  Thus, the total amount of solar energy being planned in the Blythe area may exceed 10,800 MW.

- The RETI 1B Report identified a potential of 7,800 MW of large-scale solar generation capacity for the Riverside East-A and Riverside East-B CREZs, which would be served by a California-only Project.

- The RETI 2A Draft Report presents a Conceptual Transmission Plan which identifies the segments of the California-only Project as capable of delivering the resources in the Riverside East CREZ to load.

- The RETI analysis confirms that the East Riverside CREZ, which includes the Blythe area, contains some of the most promising renewable resources in California, taking both economic and environmental considerations into account.

- The CAISO represents that it has studied the impacts on the transmission system of interconnecting new renewable resources in the Blythe area of the Riverside East CREZ and has determined that interconnection of 1,030 MW or more of new generation will trigger the need for construction of a Midpoint to Valley transmission line.

- No party has challenged any of these facts.

- Given the potential for renewable resources in the Riverside East CREZ, the substantial work and study already completed on the Project including certification of the Final EIR, the limited environmental impacts of building in an existing high voltage transmission corridor next to an existing 500 kV line, the lack of environmental opposition, and the uncertainty in terms of delay and cost in considering an alternative project to access this CREZ, it is necessary, reasonable and prudent to construct the California-only Project, subject to CAISO approval.

- Construction of the Arizona portion of the Project would potentially reduce the Project’s ability to access the Riverside East CREZ.

- The California-only Project provides substantial benefits, including access to renewable resources in Riverside County, which outweigh the unavoidable adverse environmental effects of the Project as set forth in D.07-01-040.  Hence, these benefits of the California-only Project constitute an overriding consideration warranting approval of the California-only Project.

- Energy Division staff developed an Addendum to the Final EIR, and that Addendum is appended to this decision as Attachment 2.

- The California-only Project remains the same as what was studied in the Final EIR/EIS.

- The renewable resources in the Blythe area are in the preliminary planning stages and thus none of the projects are sufficiently detailed to allow meaningful, non-speculative review.  Consequently, a Supplemental EIR is unnecessary for approval of the proposed modifications.

- The CAISO has not approved a California-only Project, and such approval is necessary to recover construction costs in FERC-administered transmission rates.

- The modifications necessary for D.07-01-040 are in Attachment 1.

- A.05-04-015 should be closed.

Conclusions of Law

- SCE’s Amended Petition, as supplemented, satisfies the requirements of Rule 16.4.

- SCE has not demonstrated that the costs and economic benefits of a California-only Project justify its construction on a purely economic basis.

- SCE has not demonstrated that construction of a California-only Project is required to meet the state’s RPS.

- SCE has not demonstrated that the California-only Project meets the requirements set forth in California Pub. Util. Code § 399.2.5(b)(4) for cost recovery.

- It is appropriate to take official notice of RETI Phase 1B Final Report and the RETI Phase 2A Draft Report.

- The record demonstrates that the cumulative impact of the potential for renewable resources in the Riverside East CREZ, the substantial work and study already completed on the Project including certification of the Final EIR, the limited environmental impacts of building in an existing high voltage transmission corridor next to an existing 500 kV line, the lack of environmental opposition, and the uncertainty in terms of delay and cost in considering an alternative project to access this CREZ, make construction of the California-only Project necessary, reasonable, and prudent, subject to approval by the CAISO.

- Because construction of the Arizona portion of the Project would potentially reduce the Project’s ability to access resources in the Riverside East CREZ, SCE should seek Commission approval prior to pursuing the Arizona portion of the Project in the future.

- Because the status of the CAISO’s interconnection queue and executed interconnection agreements are critical to CAISO approval and the ultimate use of the California-only Project, we should require SCE to provide notice to the Director of the Commission’s Energy Division and the Director of the Division of Ratepayer Advocates on the status of interconnection requests and agreements as they relate to the Project every six months.  Such notices shall include information on both renewable interconnection requests and agreements, as well as information on conventional generation seeking interconnection to the California-only Project approved here, and any expansion of that project to Arizona.

- The California-only Project remains the same as what was studied in the Final EIR/EIS and the renewable resources in the Blythe area are in the preliminary planning stages and thus none of the projects are sufficiently detailed to allow meaningful, non-speculative review.  Consequently, a Supplemental EIR is unnecessary for approval of the proposed modifications.

- The benefits of the California-only Project constitute an overriding consideration warranting approval of the California-only Project.

- The Addendum designated as Attachment 2 should be incorporated in the record of this proceeding.

- To protect California ratepayers the Commission should direct SCE not to begin construction of the California-only Project until the CAISO approves the California-only Project.

- A.05-04-015 should be closed.

- This order should be effective immediately.

ORDER

IT IS ORDERED that:

- Decision (D.) 07-01-040 is modified as shown in Attachment 1.  All other language in D.07-01-040 shall be read and understood to conform to those modifications.

- The Addendum to the Final Environmental Impact Report designated as Attachment 2 is hereby incorporated into the record of this proceeding.

- Southern California Edison Company shall seek Commission approval before resuming pursuit of the Arizona portion of the Devers-Palo Verde No. 2 Transmission Line Project.

- Southern California Edison Company shall not begin construction of the California-only Project until the California Independent System Operator Corporation approves construction of the California-only Project.

- Southern California Edison Company shall provide notice to the Director of the Commission’s Energy Division and the Director of the Division of Ratepayer Advocates on the status of interconnection requests and agreements as they relate to the Project every six months.  Such notices shall include information on both renewable interconnection requests and agreements, as well as information on conventional generation seeking interconnection to the California-only Project approved here, and any expansion of that project to Arizona.

- Application 05-04-015 is closed.

This order is effective today.

Dated November 20, 2009, at San Francisco, California.

MICHAEL R. PEEVEY

President

DIAN M. GRUENEICH

JOHN A. BOHN

RACHELLE B. CHONG

TIMOTHY ALAN SIMON

Commissioners

D0911007 Attachment 1

D0911007 Attachment 2

D0911007 Attachment 2 (Appendices B-C)

# Footnotes

Decision at 104, Findings of Fact 2-4, and 6.

The Decision states that approval is conditioned upon construction according to the approved route, which encompassed the entire Project.  Approval for the Arizona portion would have to be obtained from another agency, which would either be the Arizona Corporation Commission (ACC) or the Federal Energy Regulatory Commission (FERC).

The exact location of the Arizona terminus of the Devers-Harquahala transmission line was subject to ongoing negotiations at the time of the Decision.  The environmental document certified in the Decision studied three routing alternatives with different termination points for the Project.  The Decision concluded that SCE should seek to terminate the Project at a new Harquahala Junction, subject to ACC approval and any other needed authorizations.  Decision at 65-67.

Arizona Corporation Commission Decision No. 69638 (June 6, 2007), docket No. L-00000A-06-0295-00130.

Petition at 1.

Petition at 4-6.

Joint Ruling at 2.

Joint Ruling at 2.

The May 15, 2009 letter to the CPUC Commissioners was included in the Supplemental Filing as Attachment A.

The May 15, 2009 letter to the ACC was included in the Supplemental Filing as Attachment B.

“California-only Project” is used herein to describe a modified version of the original Project wherein only the California segments west of and including the Midpoint Substation are constructed, and the segments east of the Midpoint Substation are not constructed.

RETI is a collaborative study effort among California stakeholders seeking to develop renewable generation and associated transmission. The RETI effort is overseen by a Coordinating Committee composed of the Commission, the California Energy Commission, the CAISO, the Southern California Public Power Authority, the Northern California Power Agency, and the Sacramento Municipal Utility District.  The Stakeholder Steering Committee is comprised of investor-owned utilities, publicly owned utilities, renewable developers, federal land use agencies, environmental organizations, consumer organizations, local government organizations, and others. Additional information about RETI is available at http://www.energy.ca.gov/reti.

The letter was also delivered to the ALJ on June 19, 2009, and the CAISO filed a concurrent ex parte notice with the letter attached.

Supplemental Filing, Attachment I, CAISO Letter at 2.

Supplemental Filing, Attachment I, CAISO Letter at 2.

Supplemental Filing, Attachment I, CAISO Letter at 2.

Supplemental Filing, Attachment I, CAISO Letter at 2.

Supplemental Filing at 15.

DRA Response at 4.

Amendment, Attachment B, 2nd paragraph.

Amendment at 13.

Supplemental Filing at 3-4.

Supplemental Filing at 3.

Supplemental Filing, Attachment B, SCE Letter to ACC, at 1.

Supplemental Filing at 4 citing SCE Letter to ACC at 2.

Petition at 5.

Petition at 5.

Supplemental Filing at 13 (emphasis added).

Amendment at 5.

Amendment at 7.

Amendment at 8.

Supplemental Filing at 8-11.  All of these RETI reports are available at:  http://www.energy.ca.gov/reti/documents/index.html

RETI 1B Report, Economic Analysis of CREZ, Table 4-9 at 4-16.  The RETI 1B Report divided the Riverside East CREZ into two CREZs – A and B.  The CREZs were consolidated in the RETI 2A Draft Report.

Supplemental Filing at 8.

Supplemental Filing at 8.

CAISO Letter at 3.

Formerly Pub. Util. Code § 399.25.

See, e.g., Petition at 12 “Granting SCE’s request will allow California to access potential new renewable and conventional gas-fired generation in the Blythe area, which will help California achieve its renewable goals and the RPS goals for the state of California.”

See, e.g. Amendment at 20 (“… SCE is not requesting in this petition that the Commission authorize cost-recovery under Pub. Util. Code Section 399.25.  However, SCE is not waiving its statutory right to seek such recovery in the future.”)

The relevant provisions of Pub. Util. Code § 399.25 were not modified when the statute was recodified as § 399.2.5.

See, e.g., RETI 2A Draft Report at Figure 2-4, Phase 2 CREZ Economic and Environmental Scores, Bubble Chart.

Nothing in this decision is intended to change any part of the three part test established in D. 07-03-012 and D.07-03-045.

The Energy Action Plan, adopted by the Commission and the California Energy Commission in May 2003, accelerated the compliance date to 2010.  SB 107, passed in 2006, codified that policy.  The Governor’s Executive Order S-14-08 (issued on November 17, 2008) promotes the 33% renewable goal and identifies adequate transmission for renewable energy an issue of critical importance.  More recently, the Governor’s Executive Order S-21-09 (signed on September 15, 2009) orders the California Air Resources Board to adopt regulations implementing a 33% renewable resources by 2020 RPS program consistent with the California Global Warming Solutions Act of 2006, codified at California Health and Safety Code §§ 38500-38599.

See, e.g., RETI 2A Draft Report at Figure 2-4, Phase 2 CREZ Economic and Environmental Scores, Bubble Chart.

California Public Resources Code § 21000, et seq.

Final EIR/EIS, Vol. 2, Section E.2.1.3, at E-12.

Amendment at 20-33.

Amendment at 21 and 31.

Decision at 99.

Supplemental Filing, Attachment I.

SCE is not seeking backstop cost recovery under Pub. Util. Code § 399.2.5.

Supplemental Filing, Attachment I at 3.

Response of the [sic] Division of Ratepayer Advocates to Southern California Edison Company’s Supplemental Information on Petition for Modification of D.07-01-040, July 6, 2009.

Decision at Ordering Paragraph 10.

Decision at Ordering Paragraphs 11 and 12.

Supplemental Filing, Attachment L.

Supplemental Filing at 19.