ALJ/LRR/acr 
Date of Issuance 6/14/2012
Decision 12-06-016  June 7, 2012
BEFORE THE PUBLIC UTILITIES COMMISSION OF THE STATE OF CALIFORNIA

	Application of California-American Water Company (U210W) for Authorization to Increase its Revenues for Water Service by $4,134,600 or 2.55% in the year 2011, by $33,105,800 or 19.68% in the 2012, by $9,897,200 or 4.92 % in 2013, and by $10,874,600 or 5.16% in the year 2014.

	Application 10-07-007

(Filed July 1, 2010)



	And Related Matter.


	Application 11-09-016


(See Attachment A for a list of appearances)
DECISION ADOPTING THE 2011, 2012, 2013, AND 2014 
REVENUE REQUIREMENT FOR
CALIFORNIA-AMERICAN WATER COMPANY

1DECISION ADOPTING THE 2011, 2012, 2013, AND 2014  REVENUE REQUIREMENT FOR CALIFORNIA-AMERICAN WATER COMPANY


21.
Summary


32.
Settled Issues Approved in this Decision


43.
Settled Issues Not Approved in this Decision


44.
Disputed Issues Resolved in this Decision


55.
Standards of Review


55.1.
General Standard of Review


55.2.
Commission Rules on Settlements


66.
Discussion of the Settled Issues Approved by This Decision


76.1.
Customers, Non-Revenue Water, and Operating Revenues


86.2.
Operations and Maintenance


96.3.
Adjustments to the General Office Revenue Requirement


96.4.
Conservation


116.5.
Utility Plant in Service


116.6.
Special Requests


126.6.1.
Special Request #1 – Change to Monthly Meter Reading


126.6.2.
Special Request #6 – Continue WRAM/Modified Cost Balancing Account (MCBA)


136.6.3.
Special Request #8 – Ventura Main Break


136.6.4.
Special Request #9 – Eliminate Distribution System Improvement Charge (DSIC) in the Los Angeles District


146.6.5.
Special Request #10 – Duarte Irrigation System Water Use Restriction


146.6.6.
Special Request #12 – Remove the Tariff in Toro


146.6.7.
Special Request #13 – File Plans on All Items Required for General Order 103-A Compliance


156.6.8.
Special Request #14 – Recover all Balancing and Memorandum Accounts


156.6.9.
Special Request #16 – Memorandum Account for 
Chromium 6


166.6.10.
Special Request #20 – Amortization of Depreciation Study


166.6.11.
Special Request #21 – Recover All American Water Service Company (Service Company) Costs


166.6.12.
Special Request #23 – Retire the Bradbury Irrigation System


166.6.13.
Special Request #25 – Fire Flow Test Fee


176.6.14.
Special Request #26 - Finalize Citizens Acquisition Premium


176.6.15.
Special Request #27 - Annual Depreciation Updates


176.6.16.
Special Request #30 - Duarte Irrigation Rate Design


176.6.17.
Special Request #33 – Allow Rate of Return on Advice Letter Projects


186.6.18.
Special Request #36 – Low-Income Ratepayer Assistance Program (LIRAP)


186.7.
Low-Income Tariff Consolidation


186.8.
Non-Revenue Water Action Plans


206.9.
Conclusion


217.
Discussion of the Settled Issues Not Approved by this Decision


217.1.
Special Request #15 – Reporting Non-Revenue Water as Volumes Rather Than Percentages


217.2.
Regulatory Expenses


227.3.
Special Request #31 – Walerga Special Facilities Fees


237.4.
Background on the Unique Supply Challenges in the Monterey County District and the Commission’s Treatment of Non‑Revenue Water


247.5.
Settlement on Non-Revenue Water Amounts for Ratemaking Purposes in the Monterey County District


267.6.
Adopted Non-Revenue Water for Ratemaking Purposes and the Penalty/Reward Mechanism in the Monterey County District


287.7.
Settlement on the Monterey District Penalty/Reward Program


307.8.
Adopted Revision to the Monterey County District Penalty/Reward Program


317.9.
Irrigation Rates, Billing Format, Advanced Metering Infrastructure and Volumetric Rate Structure for Wastewater


327.10.
Increase Low-Income Surcredit


337.11.
Special Request #5 – Establish a WRAM/MCBA for the Sacramento District


347.12.
Conclusion


348.
Disputed Issues


358.1.
Monterey District Plant


358.1.1.
Special Request #19 – Toro Arsenic Treatment Plant


388.1.2.
Supervisory Control and Data Acquisition (SCADA)


398.1.3.
Special Request #32 – Monterey Billing System Modification Costs


408.2.
Income Tax and Related Issues


418.2.1.
Domestic Production Activity Deduction


438.2.2.
Cal‑Am Repairs Deduction FIN 48


448.2.3.
Bonus Depreciation


458.3.
Special Requests


458.3.1.
Special Request #4 Requesting Rate of Return on Deferred Balances on Memo and Balancing Accounts


478.3.2.
Special Request #14 Requesting Recovery of Balances on Memorandum and Balancing Accounts


498.3.3.
Special Request #18 Contamination Proceeds


498.3.4.
Special Request #24 to Recover Toro Goodwill


518.3.5.
Special Request #34 to Amortize Balancing Accounts in Rates on an Annual Basis


518.4.
General Office Adjustments


518.4.1.
Labor and Labor-Related Expense


538.4.2.
Pension Expense


558.4.3.
Group Insurance


588.4.4.
Special Request #11 - Business Transformation Memorandum Account


629.
Background of Cal‑Am’s Service Territory


639.1.
Larkfield District


639.2.
Los Angeles County District


649.3.
Monterey County District


649.4.
Sacramento District


659.5.
San Diego County District


659.6.
Ventura County District


6610.
Procedural Background


6711.
Comments on Proposed Decision


6812.
Assignment of Proceeding


68Findings of Fact


76Conclusions of Law


83ORDER





ATTACHMENT A:  LIST OF APPEARANCES

ATTACHMENT B:  THE SETTLEMENTS

ATTACHMENT C:  SUMMARY OF EARNINGS
ATTACHMENT D:  CORONADO/SAN DIEGO COUNTY DISTRICT
ATTACHMENT E:  LARKFIELD DISTRICT
ATTACHMENT F:  LOS ANGELES COUNTY DISTRICT
ATTACHMENT G:  MONTEREY COUNTY DISTRICT 
ATTACHMENT H:  MONTEREY WASTEWATER DISTRICT
ATTACHMENT I:  SACRAMENTO DISTRICT
ATTACHMENT J:  TORO SERVICE AREA
ATTACHMENT K:  VILLAGE/VENTURA COUNTY DISTRICT
DECISION ADOPTING THE 2011, 2012, 2013, AND 2014 REVENUE REQUIREMENT FOR CALIFORNIA‑AMERICAN WATER COMPANY
0. Summary
This decision authorizes a revenue requirement for California-American Water Company’s six districts for the years 2011, 2012, 2013 and 2014.  The table below illustrates the revenue requirement for the 12 months beginning January 1, 2012, for each of California‑American Water Company's districts. 

	Test Year 2012
	Adopted Revenue 
Requirement
	Percentage Increase

	Larkfield
	$3,134,300
	25.81%

	Los Angeles
	$27,018,000
	18.70%

	Monterey
	$48,843,800
	16.96%

	Monterey Wastewater
	$3,419,900
	8.00%

	Sacramento
	$48,858,300
	25.51%

	San Diego
	$19,472,100
	1.45%

	Toro
	$724,300
	75.16%

	Ventura
	$29,116,600
	-4.96%


This decision grants in part and denies in part three separate joint motions for adoption of partial settlements between various parties to the proceeding on diverse issues.  This decision also resolves the remaining issues not covered by the three separate settlement agreements.  Only the Summary of Earnings tables are included in this decision as Attachment C, however, all tariff pages will be attached to the final decision.
Applications (A.) 10-07-007, A.11-09-016 remain open for Phase 2. 

1. Settled Issues Approved in this Decision
The majority of the issues in this proceeding were settled among various parties and are contained in three separate partial settlement agreements presented to the Commission for adoption.  This decision grants in part and denies in part each of the three joint motions for adoption of the partial settlement agreements.  The Division of Ratepayer Advocates (DRA) and Mark West Community Services Committee (Mark West) filed comments on the settlement between California‑American Water Company (Cal‑Am) and the Natural Resources Defense Council (NRDC).  Mark West also filed comments on the settlement between Cal‑Am, DRA and The Utility Reform Network (TURN). 
A more complete description of each of the settlements, a list of the signatories to each settlement and parties’ comments on the settlements are contained in Attachment B to this decision.  

The settled issues we approve in this decision include:

· Customers, Water Consumption and Revenues;

· Operations and Maintenance Expense;

· General Office Revenue Requirement;

· Most Administrative and General Expenses;

· Conservation Program Budgets;

· Ad Valorem, Payroll and Franchise Tax;

· Utility Plant in Service; 

· Special Requests (29 of 36 were settled or withdrawn);

· Low-Income Ratepayer Assistance Program in the Monterey County District; 
· Low-income tariff consolidation; and,
· Non-revenue water action plans.
This decision adopts the majority of the settled issues, with the exceptions listed below.  A more detailed discussion of the approved settlement issues is contained in section 6.  
2. Settled Issues Not Approved in this Decision

The settled issues we do not approve include:

· Regulatory Expenses

· Special Request #31 - Walerga Special Facilities Fees (moved to Phase 2 for consideration);

· Non-revenue water reporting as volumes only;

· Non-revenue water reporting for the Monterey County District;

· Revisions to the Penalty/Reward Mechanism for the Monterey County District;

· Special Request #5 to establish a Water Revenue Adjustment Mechanism (WRAM) for the Sacramento District (moved to Phase 2 for consideration);

· Irrigation Rates for Larkfield, San Diego, Ventura, and Toro in the Monterey County District; 

· Billing format changes;

· Advanced Metering Infrastructure;
· Volumetric rate structure for wastewater; and,
· Low-income surcredit increase (moved to Phase 2 for consideration).

A more detailed discussion of the settlement issues not approved is contained in section 7.  

3. Disputed Issues Resolved in this Decision

This decision also resolves the disputed issues not contained in the settlement agreements.  Some of the disputed items are:

· Special Requests #4, #11, #14, #19, #24, #32, #34, 

· Supervisory Control and Data Acquisition System Update Costs;

· Domestic Production Activities Deduction; and,

· General Office Expense Adjustments.
A more complete discussion and resolution of the disputed items is contained in section 8.

4. Standards of Review

4.1. General Standard of Review

Cal‑Am, as the applicant, bears the burden of proof to show that the regulatory relief it requests is just and reasonable and the related ratemaking mechanisms are fair.  

4.2. Commission Rules on Settlements

The Commission’s Rules of Practice and Procedure (Rules) specifically address the requirements for adoption of proposed settlements in Rule 12.1 Proposal of Settlements, and subject to certain limitations in Rule 12.5 Adoption Binding, Not Precedential.
  
Rule 12.1(a) states:

Parties may, by written motion any time after the first prehearing conference and within 30 days after the last day of hearing, propose settlements on the resolution of any material issue of law or fact or on a mutually agreeable outcome to the proceeding.  Settlements need not be joined by all parties; however, settlements in applications must be signed by the applicant….

When a settlement pertains to a proceeding under a Rate Case Plan or other proceeding in which a comparison exhibit would ordinarily be filed, the motion must be supported by a comparison exhibit indicating the impact of the settlement in relation to the utility’s application and, if the participating staff supports the settlement, in relation to the issues staff contested, or would have contested, in a hearing. 

Rule 12.1(d) provides that:

The Commission will not approve settlements, whether contested or uncontested, unless the settlement is reasonable in light of the whole record, consistent with the law, and in the public interest.  

Rule 12.5 limits the future applicability of a settlement:

Commission adoption of a settlement is binding on all parties to the proceeding in which the settlement is proposed.  Unless the Commission expressly provides otherwise, such adoption does not constitute approval of, or precedent regarding, any principle or issue in the proceeding or in any future proceeding.  

5. Discussion of the Settled Issues Approved by This Decision

All parties to the proceeding received notice of the settlement conference.  Cal‑Am, DRA, TURN, NRDC, the Monterey Peninsula Water Management District (Monterey Peninsula), Mark West and the City of Bradbury participated in the all-party settlement conferences.  However, only Cal‑Am, DRA, NRDC, and TURN are signatories to the various partial settlement agreements.  

5.1. Customers, Non-Revenue Water, and Operating Revenues

The table below represents the settlement between the parties for the total number of customers of all types, non-revenue water,
 and operating revenue for all districts for test year 2012.  

Table 1
	Test Year 2012
	Customers
	Non-revenue Water (ccf)
	Operating Revenues

	Larkfield
	2,428
	28,717
	$2,491,281

	Los Angeles
	27,900
	598,083
	$23,071,877

	Monterey
	43,389
	580,219
	$45,344,403

	Sacramento
	57,373
	1,841,304
	$38,926,558

	San Diego
	20,887
	130,600
	$16,658,521

	Ventura
	20,834
	416,193
	$25,874,642


Average consumption per customer is included in this portion of the settlement.  However, because each district has various types of customers, the aggregate amounts for each district are not meaningful and therefore are not included in the table. 

The settlements do not provide for any assumed level of improvement in non-revenue water for the duration of this rate case cycle and the totals are based on Cal‑Am’s 2009 actual non-revenue water.  However, as discussed in section 6.7., the parties have agreed to develop non-revenue water action plans to reduce non‑revenue water in all Cal‑Am’s districts.  Those plans will be presented in Cal‑Am’s next general rate case.  For that reason we find the settlements’ non‑revenue water for the districts other than Monterey are in the public interest.  The non-revenue water amounts for the Monterey County District are discussed in more detail in section 7.6.

The settlement on the consumption figures requires that Cal‑Am, NRDC, TURN, and DRA must agree to a rate design for each district.  In the event no rate design agreement is reached, DRA reserves the right to withdraw from the forecasted consumption agreement and has agreed not to oppose the original forecast requested by Cal‑Am in its application.  

5.2. Operations and Maintenance

Of the 34 operations and maintenance accounts contained in the settlement, the parties found Cal‑Am’s initial estimates for 29 of the accounts reasonable.  For the other five accounts (purchased water, purchased power, transmission and distribution maintenance, meter reading and uncollectible expense), the parties adopted a compromise.  

In its comments on the settlement regarding operations and maintenance Account 711 (Source of Supply – Wells), Mark West recommends that more current data be used to evaluate the need for the Faught Road Well in the Larkfield District.  Mark West suggests that any supply deficit be addressed by first seeking additional supply from the Sonoma County Water Agency and that Cal‑Am seek a service connection moratorium in compliance with General Order 103-A.  

In the settlement, Cal‑Am agrees to actively pursue purchasing additional water from the Sonoma County Water Agency rather than constructing the Faught Road Well.  Additionally, Cal‑Am filed A.11-09-016 on September 23, 2011 seeking a service connection moratorium in the Larkfield district.  The December 12, 2011, revised scoping memo established a Phase 2 in the proceeding and A.11-09-016 was consolidated with the proceeding.  Cal‑Am’s requested service connection moratorium in the Larkfield District will be addressed in Phase 2. 

5.3. Adjustments to the General Office Revenue Requirement

DRA recommended 16 adjustments to Cal‑Am’s initial general office expense estimates, which in turn reduced the general office revenue requirement to be recovered from ratepayers.  The table below summarizes the settlement on 12 of the recommended adjustments.  The other four adjustments to the general office revenue requirement remain in dispute.  

Table 2
	Test Year 2012
	Cal‑Am 
	DRA
	Settlement

	Incentive Compensation Recovery
	$1,333,640
	$532,435
	$666,820

	Business Development Expense
	$138,670
	$0
	$0

	Charitable  Contributions
	$62,988
	$0
	$0

	Legislative and Political Influence
	$12,670
	$0
	$0

	Administrative Expense
	$84,624 
	$0
	$22,066

	Sales & Marketing
	$81,232
	$0
	$0

	Post-Retirement Benefits Other than Pensions
	$1,194,988
	$741,652
	$800,327

	Employee Savings Plan
	$409,578
	$366,088
	$409,578

	Employee Expense
	$274,747
	$167,952
	$221,249

	Insurance
	$2,510,301
	$1,755368
	$1,755,368

	Software & ITS Depreciation
	$1,551,018
	$1,384,761
	$1,551,018


The parties settled on regulatory expenses, but we do not adopt the settlement on regulatory expenses.  Regulatory expenses are resolved in section 7.2.
5.4. Conservation

The table below summarizes the settlement on a 3-year conservation budget for Cal‑Am’s Monterey County District and Monterey Peninsula. 

Table 3
	District
	Cal‑Am 
	DRA
	Settlement

	Monterey County District
	$4,285,495
	$3,020,627
	$3,055,375

	Monterey Peninsula 
	$1,660,200
	$1,112,200
	$1,135,200



Parties also agreed to continue the Cal‑Am -Monterey Peninsula joint conservation report and the water conservation program annual summary report for each district indicating water savings per year, per measure and lifetime measure of savings for each program.  Parties also agree to include 10 random audits per year for each program in the annual report. 

The table below summarizes the annual conservation budget for Cal‑Am’s districts other than Monterey.  

Table 4
	Test Year 2012
	Cal‑Am 
	DRA
	Settlement

	Larkfield
	$53,321
	$29,386
	$29,386

	Los Angeles
	$374,922
	$138,877
	$173,877

	Sacramento
	$800,243
	$318,310
	$455,200

	San Diego
	$282,654
	$139,277
	$153,277

	Ventura
	$524,446
	$215,122
	$234,122


The conservation budgets for Larkfield, Los Angeles, Sacramento, San Diego, and Ventura will be increased by a combined labor/non‑labor weighted escalation rate for inflation of 1.0266 for years 2013 and 2014.

The parties agree to continue tracking conservation expenses in a capped, one-way balancing account and refund to ratepayers any unspent funds on December 31, 2014. 

5.5. Utility Plant in Service

This section of the settlement resolves, among other issues, escalation rates, overhead, recurring projects, in-progress projects, new investment projects, advice letter projects, and memorandum accounts.  The resolution of each issue was achieved by one party accepting the position of another or by a compromise between the two positions.  

In its comments on the settlement, Mark West fundamentally agrees with the settlement on the issue of a special facilities fee or connection fee for the Larkfield District, but suggests that certain conditions be added.  Mark West recommends that the Special Facilities Fee be implemented as soon as possible and that new customers pay for constructing the Faught Road Well since Mark West believes the Faught Road Well is unnecessary.

In the settlement, the parties agree that a connection fee should be implemented as soon as possible and that the monies collected would be directed at funding new capital projects.

5.6. Special Requests

The settlement resolves 29 of Cal‑Am’s 36 special requests; 24 were settled, three were withdrawn, one has been moved to Phase 2 of this proceeding and one is no longer in dispute as the issue was settled in another proceeding.
  Some examples of the settled special requests are described below.

5.6.1. Special Request #1 – Change to Monthly Meter Reading

The parties agree that the Los Angeles County, Sacramento and San Diego County Districts change from bi-monthly to monthly metering reading, adding five meter reader positions and including all payroll and benefit expenses.  Cal‑Am agrees not to include the cost for mailing service, bill forms and bank service charges in the revenue requirement for this proceeding.  

In its comments on the settlement between Cal‑Am and NRDC, DRA initially opposed the settlement on Special Request #1.  However, during settlement talks Cal‑Am provided sufficient analysis to satisfy DRA that the benefit was near or equal to the cost.  DRA ultimately incorporated this provision into the later settlement it reached with Cal‑Am and NRDC.  DRA also ultimately incorporated the section regarding Non-Revenue Water Action Plans into the settlement it reached with Cal‑Am and NRDC.  
This issue was included in the partial settlement agreement between Cal‑Am and NRDC.  DRA initially recommended rejection of the issue, but in the more comprehensive settlement between Cal‑Am, DRA and NRDC, the issue was settled.  
5.6.2. Special Request #6 – Continue WRAM/Modified Cost Balancing Account (MCBA)
The parties agree that Cal‑Am shall continue all WRAMs and MCBAs under the terms of the previously authorized pilot programs.  The parties agree to abide by any decision in Application (A.)10-09-017, the currently open proceeding to determine the amortization of WRAM-related accounts.  The parties further agree that Cal‑Am shall close the Incremental Cost Balancing Accounts in the San Diego County and Ventura County Districts and shall establish MCBAs in these districts to be netted with any WRAM balances prior to amortization in the same manner as the WRAM/MCBAs in the Los Angeles and Larkfield districts. 

The settlement on this issue was developed prior to Cal‑Am filing a motion to withdraw from A.10-09-017.  On December 12, 2011, a revised scoping memo was issued establishing Phase 2 of this proceeding that will include a review of Cal‑Am’s WRAM/MBCA mechanisms.  On April 30, 2012, the Commission issued D. 12-04-048 which, among other things, granted Cal-Am’s motion to withdraw from A.10-09-017.   Therefore, the settlement on this issue is moot and a decision in Phase 2 of this proceeding may revise Cal‑Am’s WRAM/MCBA program.  

5.6.3. Special Request #8 – Ventura Main Break

The settlement proposes that $223,000 in main fixtures and appurtenances costs be allowed for recovery in rate base in utility plant in service.  The settlement states that 90% of the costs will be booked now with 10% booked once Cal‑Am agrees to pursue a good faith effort to resolve the potential litigation to recover expenses from responsible third parties.  The documentation of Cal‑Am’s good faith effort is to be included in a Tier 3 advice letter to recover the expenses for the hillside repair and clean-up.  The expenses will be amortized over three years.  

5.6.4. Special Request #9 – Eliminate Distribution System Improvement Charge (DSIC) in the Los Angeles District 

The parties agree to eliminate the DSIC in the Los Angeles District.  DRA recommends that the Commission require Cal‑Am to report and make available to the Commission the results of the American Water Works Company currently ongoing research project regarding predicting main failures.  The parties also agree to support and advocate for methods to improve Cal‑Am’s data collection methods to utilize failure prediction models already commercially available.

5.6.5. Special Request #10 – Duarte Irrigation System Water Use Restriction

The parties agree that day and time of use restrictions will become effective upon Cal‑Am filing a Tier 1 advice letter  and that for Test Year 2012, Cal‑Am shall only issue warnings to customers who violate the day and time of use restrictions.  In 2013 Cal‑Am may impose penalties if peak use in 2012 continues to necessitate supplementation of the system with potable water.  

5.6.6. Special Request #12 – Remove the Tariff in Toro

The parties agree to Cal‑Am’s request to eliminate the Public Fire Hydrant Tariff for the Toro service area as there are currently no customers on this tariff.  Parties agree that the elimination of the Public Fire Hydrant tariff will become effective five days after Cal‑Am files a Tier 1 advice letter following a final decision in this phase of the general rate case.  

5.6.7. Special Request #13 – File Plans on All Items Required for General Order 103-A Compliance

Cal‑Am states that it is generally in compliance with General Order 103-A except for the following areas:

· Some water supply is not coming from a permitted source in the Monterey County District;

· The Larkfield District and the Duarte subsystem in the Los Angeles District do not meet the Potable Water System Capacity; 

· The required system maps do not include:
· All mains;

· Type of material for all mains;

· Location and size of valves;

· Location of hydrants; and

· Current records do not include:

· Location, size and material of each service line;

· A schematic drawing of all pumping stations, water or wastewater plants to show the size and location of all major equipment, pipelines, connections, valves and other equipment; and

· Construction date of all plant.

Cal‑Am states that it is in the process of developing an Operations and Maintenance plan that will address the areas in which it is out of compliance with General Order 103-A.  The parties agree that Cal‑Am shall provide one quarterly status update on the Operations and Maintenance plan development before September 30, 2011, and file plans on all areas in which it is out of compliance with General Order 103-A by December 31, 2011. 

5.6.8. Special Request #14 – Recover all Balancing and Memorandum Accounts 

The parties agree to global terms of recovery for the majority of Cal‑Am’s 37 memorandum and balancing accounts.  Cal‑Am’s proposals for about half of the accounts are unopposed and 12 balancing or memorandum accounts are eliminated.  Cal‑Am’s request for recovery of memorandum and balancing accounts for the Monterey County District is not part of the settlement.  Interest on all settled accounts will accrue at the 90-day commercial paper rate. 

5.6.9. Special Request #16 – Memorandum Account for Chromium 6  
The parties agree that Cal‑Am shall recover a total of $164,208 in base rates amortized over three years for well testing and data collection expenses and to study Chromium 6 treatment technologies.  Based on this agreement to recover expenses, Cal‑Am withdraws Special Request #16 from the general rate case.  
5.6.10. Special Request #20 – Amortization of Depreciation Study 

The parties agree that the amortization of depreciation study was reasonable and that Cal‑Am shall recover $60,000 amortized over six years beginning in 2012.  

5.6.11. Special Request #21 – Recover All American Water Service Company (Service Company)
 Costs

If the Commission orders an audit of Cal‑Am, the parties agree that Cal‑Am will file a Tier 1 advice letter to establish a customer surcharge to recover the costs of the Division of Water and Audits (DWA) Contract 10PS5881.
5.6.12. Special Request #23 – Retire the Bradbury Irrigation System

The parties agree that Cal‑Am shall retire the Bradbury irrigation system and transfer the customers to the potable system during the years 2015 to 2017.  

5.6.13. Special Request #25 – Fire Flow Test Fee

The parties agree to charge fire flow test fees to the specific customers causing the expense rather than distributing it among all customers.  The parties agree that $500 is a reasonable fee covering all expenses and that it will not be increased for three years (2012-2014).  The $500 fire flow test fee will become effective 5 days after Cal‑Am files a Tier 1 advice letter.  The tariffs for this fee are attached to the revenue requirement settlement at Appendix 3-5.

5.6.14. Special Request #26 - Finalize Citizens Acquisition Premium

The parties agree on a revenue requirement schedule for the recovery of and return on the Citizens Acquisition Premium through 2041.  The allocations will be 59% to the legacy Cal‑Am water districts (San Diego, Ventura, Monterey, and Los Angeles) and 41% to the legacy Citizen's districts (Sacramento and Larkfield).  Among the two legacy groups, amounts will be allocated to the individual districts based on customer counts.  

5.6.15. Special Request #27 - Annual Depreciation Updates

The parties agree to a specific calculation of the annual accruals to the depreciation reserve.  Cal‑Am shall review and submit the results to DWA annually with a request to implement the results for book depreciation purposes.  Cal‑Am is to submit the results annually on July 1 based on prior year December 31 balances.  

5.6.16. Special Request #30 - Duarte Irrigation Rate Design

The parties agree not to implement inclining block rates for the Duarte irrigation system.  Instead, the irrigation sector rates will be increased proportionately by the same percentage as that authorized by the Commission for the overall revenue requirement increase for the Duarte system.  The irrigation system will be retired in the next general rate case and the customers shifted to the potable water tariff.  Cal‑Am will make any requests regarding tariffs and rate design during the next general rate case.  
5.6.17. Special Request #33 – Allow Rate of Return on Advice Letter Projects

The parties agreed to conditions on interest accrual and a methodology for calculating the weighted average cost of debt for advice letter projects.  

5.6.18. Special Request #36 – Low-Income Ratepayer Assistance Program (LIRAP)

The parties agree to establish a LIRAP memorandum account in the Monterey County District consistent with the LIRAP accounts currently established in Cal‑Am’s other districts.  The memorandum account will become effective upon Cal‑Am’s filing a Tier 2 advice letter.  The draft tariff is attached to the revenue requirement settlement as Appendix 3-6.  
5.7. Low-Income Tariff Consolidation

The parties recommend that Cal-Am be allowed to file a single company‑wide tariff for low-income water customers and a single tariff for low-income wastewater customers.  Cal-Am states that it currently has nine separate tariffs for low-income water and all nine tariffs have the same parameters and conditions.  Cal-Am asserts that consolidation will make the tariffs much easier to administer for both Cal-Am and the Commission. 

Cal-Am’s consolidated low-income tariffs will become effective five days after Cal-Am files a Tier 1 advice letter.
  
5.8. Non-Revenue Water Action Plans

The settlement requires Cal‑Am to initiate studies and perform analysis to develop fully justified water loss reduction plans.  The plans will be based on a cost/benefit analysis that will assist Cal‑Am in ensuring that priorities are set for further water loss reduction projects in all of its districts.  Some of the information to be collected and reported is a database of repair crew leak reports, a census of all customer service meters by customer class, size, type, year installed and manufacturers' warranted accuracy when new, and an engineering and financial evaluation of measures to reduce non‑revenue water in each district.  

In its comments on the settlement between Cal‑Am and NRDC, DRA initially opposed the settlement on developing Non-Revenue Water Action Plans.  However, the Non-Revenue Water Action Plans were ultimately incorporated into the settlement DRA reached with Cal‑Am and NRDC.  
The settlement originally included no costs associated with the development of the plans.  The parties state that any expense related to the Non‑Revenue Water Action Plan development, in excess of that included in the revenue requirement request for this rate case cycle, should be recovered in the next general rate case. 

In response to a February 13, 2012, ruling by the Administrative Law Judge, the parties have clarified their position and recommend that Cal‑Am be authorized to establish a memorandum account to track the costs of engineering and financial evaluations and studies of measures to reduce non‑revenue water in each district.  The parties assert that the memorandum account meets the four‑prong test in that:

1. The expense is caused by an event of an exceptional nature;

2. The expense could not have been reasonably foreseen in the utility’s last general rate case and will occur before the utility’s next scheduled rate case;

3. The expense is of a substantial nature; and

4. Ratepayers will benefit from the memorandum account.  


We agree that plans to reduce non‑revenue water in all Cal‑Am’s districts are reasonable, especially in light of the record of high non‑revenue water in the Monterey County District and the need to reduce non‑revenue water in all of Cal‑Am’s districts.  Developing plans to reduce non‑revenue water is in the public interest as it may also reduce costs to ratepayers and it should not be put off until the next general rate case.  We also find the proposal to develop and institute water loss reduction plans is consistent with the law.  

Therefore, Cal‑Am is authorized to file a Tier 1 advice letter with the Commission’s DWA to establish a memorandum account.  The memorandum account will track the costs of engineering and financial evaluations and studies of measures to reduce non‑revenue water in each district.  The amounts tracked in the memorandum account should be off the books and not reflected on Cal‑Am’s financial statement as regulatory assets.  

Cal‑Am will seek recovery of the costs in the memorandum account in its next general rate case.  In addition to the expenses tracked in the memorandum account, Cal‑Am’s next general rate case application should identify the expenses that were covered by the revenue requirement adopted in this proceeding.  

5.9. Conclusion 

Based upon the record of this proceeding we find the parties complied with Rule 12.1(a) by making the appropriate filings and noticing settlement conferences.  Based upon our review of the settlement documents we find that the settlement contains a statement of the factual and legal considerations adequate to advise the Commission of the scope of the settlement and of the grounds for its adoption; that the settlement, with the exceptions listed below, was limited to the issues in this proceeding; and that the settlement included comparisons indicating the impact of the settlement in relation to the utility’s application and issues the other parties contested in their prepared testimony, or would have contested in a hearing.  We conclude, pursuant to Rule 12.1(d) that the settlement, with the exceptions outlined below, is reasonable in light of the whole record, consistent with the law and in the public interest.  

6. Discussion of the Settled Issues Not Approved by this Decision  
6.1. Special Request #15 – Reporting Non‑Revenue Water as Volumes Rather Than Percentages

The settlement requests permission to report non‑revenue water in a volumetric amount rather than as a percentage as has been the practice in the past.  We have no objection to including volumetric representation so long as the traditional percentage is also reported.  We find that both the volumetric and percentage measures provide meaningful information and context for the overall non-revenue water picture.  We further require that both components of non‑revenue water, apparent losses and real losses, be reported.  Apparent losses include billing and metering errors, which are critical to improving overall non‑revenue water performance.  

Therefore, the provision of the settlement regarding a switch from presenting non‑revenue water as a percentage to presenting it as a volume is not in the public interest.  We require continued reporting of the non‑revenue water as a percentage as well as the requested volumetric measure. 

6.2. Regulatory Expenses

In its application, Cal‑Am sought to defer the $4,180,177 projected costs of this rate case and cost of capital case and recover the costs over the three year rate case cycle.  Cal‑Am also sought to recover the projected $4,215,000 for the next general rate case and cost of capital case during the effective period of this case.  

In the settlement, the parties agree to defer $3,364,185 of regulatory expense related to this proceeding and amortize $1,121,395 annually over the three‑year period of this rate case cycle.  Similarly, the parties agree to defer the rate case expenses of $4,215,000 for the 2015-2017 rate case and amortize the expense over the three-year rate case cycle of 2015 -2017.  

We do not adopt this portion of the settlement.  Deferring the current rate case expense and recovering it in future rates constitutes retroactive ratemaking.  Although Cal‑Am has been allowed to defer rate case expense in the past, the Commission’s longstanding practice is to set rates based on forecasted expenses and recover them during the rate case cycle in which they occur.  Allowing Cal‑Am to defer rate case expense is not consistent with the law.  
Therefore, we adopt $3,364,185, the settled amount of regulatory expenses for this rate case cycle, which is 80% of Cal‑Am’s original request.  We will use the settlement’s calculation and adopt $3,372,000, 80% of Cal‑Am’s forecasted general rate case expense for 2015 to 2017.  These reductions are supported by Cal‑Am’s hiring of in-house counsel, which reduces its legal fees for hiring outside counsel.  The reductions also take into account the $1,050,000 in regulatory expenses that Cal‑Am received in D.08‑01‑027 for the Monterey County District for 2009, 2010 and 2011.  The total regulatory expense of $6,736,185 will be amortized over the three year rate case cycle in this proceeding.  This will move Cal‑Am from recovering regulatory expenses on a deferred basis to a fully forecasted recovery basis. 
6.3. Special Request #31 – Walerga Special Facilities Fees

The settlement proposes to replace the current Walerga Special Facilities Fee of $750 per dwelling unit with a new $6000 per dwelling unit fee.  On September 14, 2011, Towne Development of Sacramento, Inc. (Towne) filed a motion to become a party to the proceeding stating that it did not learn of the increase to the special facilities fees until August 23, 2011.  On the same day Towne filed a separate motion seeking to reopen the comment period on the settlement.  

In the December 12, 2011 revised scoping memo, Towne’s motion for party status was granted and the motion to reopen the comment period was denied.  Rather than reopen the comment period, the scoping memo has scheduled a review of the Walerga Special Facilities Fee in Phase 2 of this proceeding, providing Towne an opportunity to participate in the review and analysis of this issue.  Therefore, the section of the settlement on the Walerga Special Facilities Fees is not approved, as it will be considered in Phase 2.  
6.4. Background on the Unique Supply Challenges in the Monterey County District and the Commission’s Treatment of Non‑Revenue Water

In D.09-07-021, the Commission addressed Cal‑Am’s particularly acute need to reduce its non‑revenue water
 in the Monterey County District.  The Commission noted that non‑revenue water is a measure of operational efficiency used by this Commission and others to assess utility operations.  The Commission rejected Cal‑Am’s first proposal to use a historical level of non‑revenue water during the rate period, because Cal‑Am was then and continues to suffer from dramatic supply limitations in its Monterey County District.  The water supply situation in the district is desperate and requires continuous reductions in water waste on both the company and customer sides of the meter.

In D.09-07-021, the Commission concluded that supply constraints and conservation rate design in the Monterey District require the highest quality program to reduce non‑revenue water and on that basis found that it was in the public interest to develop an appropriate financial incentive for Cal‑Am to improve its non‑revenue water performance.  The Commission noted that Cal‑Am’s WRAM ensured that Cal‑Am will recover all its fixed and variable costs regardless of the amount of water billed, which also fully insulated Cal‑Am from any financial consequences of non‑revenue water.  The Commission created a non-revenue water penalty/reward program to be calculated based on a 9% on-revenue water target.  If Cal‑Am reduced its non-revenue water below the 9% mark, Cal‑Am would earn a financial reward and should Cal‑Am fail to achieve that standard, Cal‑Am would incur a financial penalty.  The per‑acre‑foot amount of $1,820.30 was adopted for use in calculating the financial penalty/reward. 

6.5. Settlement on Non-Revenue Water Amounts for Ratemaking Purposes in the Monterey County District

The settlements on non‑revenue water for ratemaking purposes in the Monterey County District provide inconsistent totals and are also inconsistent in the manner of calculating the totals.  One settlement provides non‑revenue water volumes based on compromise between the parties.
  The non‑revenue water amounts are given in hundred cubic feet (ccf), but when converted to acre-feet, the totals do not agree with the acre-feet non‑revenue totals adopted in the other settlement.
  

One settlement is internally inconsistent.  It provides the adopted non‑revenue water volumes for the Monterey County District for years 2012 through 2014 in a table.  The table shows that the adopted non‑revenue water amount for the years 2012 through 2014 for each subsystem is based on Cal‑Am’s actual non‑revenue water for 2009.
  However, on the very next page, the settlement states:

The parties agree that using the last recorded year of water production data as the forecast for ratemaking purposes in this General Rate Case ("GRC") for its Monterey County District is inappropriate, given the significance of water loss reduction programs in Monterey County.  Parties agree that it is appropriate for California‑American Water to use the results of the AWWA Water Loss Audit Report for each of its sub-systems in its Monterey County District, including trends in water loss efficiency metrics, volumetric quantities, and the known feasible cost-effective methods available to reduce non‑revenue water.
  (Emphasis added.) 

Further complicating matters, the parties propose to use different non‑revenue water targets for the penalty/reward mechanism discussed below.
  The parties acknowledge that different methods and resulting amounts are used to calculate non‑revenue water for ratemaking purposes and non‑revenue water for the penalty/reward mechanism.
  
The parties give no reason and we find no support in the record for having one non‑revenue water amount for ratemaking purposes and another for the penalty/reward mechanism.  The amount of non‑revenue water impacts the calculations for purchased water, purchased power and chemicals and the results of those calculations affect the revenue requirement for ratepayers.  It is not in the public interest to adopt a non‑revenue water amount for ratemaking purposes that does not provide an incentive for Cal‑Am to minimize non‑revenue water and ensure its production estimates are as accurate as possible.  Therefore, we do not approve this portion of the settlement.

6.6. Adopted Non-Revenue Water for Ratemaking Purposes and the Penalty/Reward Mechanism in the Monterey County District

The water supply situation in the Monterey County District is dire and requires continuous, vigilant efforts to reduce the amount of non-revenue water.  We find no reason why one non-revenue water figure is used for ratemaking purposes and another is used for the penalty/reward mechanism.  Most of the non‑revenue water target percentages adopted in D.09-07-021, and converted to volumetric measures as requested in this application, will be maintained.  However, the total non‑revenue water targets will be calculated using Cal‑Am’s 2012 water production estimates presented in this general rate case application rather than the 2009 adopted water production estimate proposed by the settlement.  

In addition, D.09-07-021 adopted a mid-point percentage for the Ambler, Hidden Hills, and Ralph Lane subsystems, whose percentages varied from 16.16% to 21%, since a drop to the industry average of 10% would have been too steep.
  The amounts adopted in D.09-07-021 for Ambler, Hidden Hills, and Ralph Lane were 13.5%, 13.8% and 15.5% respectively.  In this decision we take the next step and adopt 10% non‑revenue water targets for Hidden Hills and Ambler and 11% for Ralph Lane.  

Although the Ryan Ranch and Toro subsystems were not part of the non‑revenue water penalty/reward program in the last rate case cycle, we adopt non-revenue water target amounts for those districts here.  

The table below represents the non‑revenue water percentages adopted by D.09-07-021, the 2009 and 2010 actual percentages, the settlement’s 2012 proposed volumes, and our 2012 adopted percentages and volumes.

Table 5
	
	2009 Adopted

%
	2009 Actual

%
	2010 Actual

%
	2012 
Proposed Volume 
(Ac-Ft)
	2012

Adopted %
	2012

Adopted Volume

(Ac-Ft)

	Ambler Park
	13.5%
	5.7%
	9.1%
	29.0
	10%
	19.0

	Bishop
	9%
	1.5%
	3.4%
	29.0
	9%
	16.7

	Chualar
	9%
	-30.5%
	2.7%
	19.0
	9%
	10.5

	Hidden Hills
	13.8%
	13.3%
	9.7%
	12.0
	10%
	16.3

	Monterey
	9%
	9.9%
	12%
	1,187
	9%
	1025.1

	Ralph Lane
	15.5%
	11.6%
	11.2%
	1.4
	10%
	1.0

	Ryan Ranch
	
	13.3%
	19.2%
	8
	14.6%
	9.6

	Toro
	
	57.1%
	8.1%
	25%
	10%
	26.6


We believe the non‑revenue water target should be based on the forward‑looking production estimates contained in the application rather than historical amounts that do not anticipate or encourage a reduction in non‑revenue water.  

The settlement sets the non‑revenue water target at 1,187 acre-feet for 2012 through 2014.  We have calculated the non‑revenue water target volumes for the Monterey Main system by applying the percentage targets to Cal‑Am’s estimated 2012 production.
  These figures should be used for both ratemaking purposes and the non‑revenue water penalty/reward program discussed below.  

The settlement as proposed on the penalty/reward mechanism for non‑revenue water is not in the public interest.  Therefore we do not approve the settlement’s proposed calculation of non‑revenue water for use in the penalty/reward mechanism. 

6.7. Settlement on the Monterey District Penalty/Reward Program

According to the settlement, the parties propose that the amount used to calculate the penalty/reward be reduced from the current $1,820.30 per acre foot, to $275 per acre-foot.
  The parties intentionally selected a marginal cost of water production from a “higher production cost facility” such as the Ord Grove Plant because the resulting reward or penalty is more reasonable. 
  Parties state that they are intentionally not using the system average marginal cost of production and intentionally not using the marginal cost of the Regional Desalination Plant, which is not currently in use.  
In A.10-04-019, Cal‑Am seeks Commission authorization to include in Monterey County District’s revenue requirement the costs of water produced at the Sand City Desalination Plant.  Cal‑Am’s most recent ratemaking proposal would result in a cost to ratepayers of $2,599 per acre-foot.  The current price of water reflected in the penalty/reward mechanism of $1,820.30 per acre-foot, is below Cal‑Am’s own proposed current marginal water production costs at the Sand City Plant.  The current amounts reflected in the mechanism appear to be realistic and in line with other unrelated metrics.  Therefore, we fail to see how reducing the penalty mechanism from $1,820.30 per acre foot to $275 per acre foot, would result in a greater reduction in non‑revenue water.  Consequently, we give no weight to Cal‑Am’s assertion that the marginal cost of water in the Monterey County District is $275 per acre-foot.  

The parties offer no rationale for Cal‑Am’s failure to reduce its non‑revenue water in the Monterey County District during the three years since the mechanism was adopted.  The parties merely state that the penalty incurred by Cal‑Am is “unrealistic and resulting in excessively high penalties.”

  Monterey Peninsula has set 7% as the non‑revenue water target amount; the Commission adopted 9% as the non‑revenue water target amount for the Monterey Main system, however, the actual non‑revenue water continues to approach 12%.  
Cal‑Am incurred penalties because it did not meet the target reductions to non‑revenue water that were established in D.09-07-021.  Reducing the penalty to $275 per acre-foot will not have the desired result of reducing non‑revenue water in the Monterey County District.  We conclude that parties have not demonstrated that the proposed revision of the penalty/reward mechanism will reduce the amount of non‑revenue water.  Therefore this provision of the settlement is not in the public interest and is not approved.  
6.8. Adopted Revision to the Monterey County District Penalty/Reward Program 

 Although we do not approve the revision to the penalty/reward program amount proposed by the settlement, we recognize that non‑revenue water amounts can be affected by a variety of factors.  Therefore, we revise the existing penalty/reward program here.  The non‑revenue water target amount will be based on the percentage of Cal‑Am’s 2012 estimated production discussed earlier, rather than the 2009 targets.  However, a 5% one-way dead band
 will provide a cushion between the reduced non‑revenue water targets and the triggering of the penalty/reward mechanism.  For example, the Monterey system’s non‑revenue water target volume is 1,025 acre feet.  However, no penalty would be imposed unless non‑revenue water exceeds 1,076 acre feet, which is 1,025 acre feet plus the 5% dead band.  If Cal‑Am’s non‑revenue water amount is below 1,025 acre feet, the reward will accrue.  

We believe this revision to the program more adequately promotes the Commission’s goal of reducing non‑revenue water, but allows for some leeway in triggering the penalty/reward mechanism.  The Monterey County District non‑revenue water penalty/reward mechanism will be changed as described above for this rate case cycle, but the issue will be further examined in the next rate case.

The table below illustrates the settlement’s 2012 proposed non‑revenue water targets by percentage and volume, our adopted non‑revenue water targets by percentage and volume and the adopted amounts by volume that will trigger a penalty for each sub-system.  

Table 6
	
	2012

Proposed 

%
	2012 Proposed Volumes (Ac-Ft)
	2012

Adopted %
	2012

Adopted Volumes

(Ac-Ft)
	Adopted

Penalty 

Triggers (Ac-Ft)

	Ambler Park
	13.5%
	29.0
	10%
	19.0
	20.0

	Bishop
	9%
	29.0
	9%
	16.7
	18.0

	Chualar
	9%
	19.0
	9%
	10.5
	11.0

	Hidden Hills
	13.8%
	12.0
	10%
	16.3
	17.0

	Monterey
	9%
	1,187
	9%
	1,025.1
	1,076.0

	Ralph Lane
	15.5%
	1.4
	10%
	1.0
	1.1

	Ryan Ranch
	n/a
	
	14.6%
	9.6
	10.1

	Toro
	n/a
	
	10%
	26.6
	28.0


6.9. Irrigation Rates, Billing Format, Advanced Metering Infrastructure and Volumetric Rate Structure for Wastewater 

There is no evidentiary record to support the irrigation rates, billing format, advanced metering infrastructure, and volumetric rate structure for wastewater proposals in the settlement.  Cal‑Am’s initial request for irrigation rates is very different.  Similarly, no party filed persuasive testimony on the settlement’s irrigation rates, billing format, advanced metering infrastructure or wastewater volumetric rate proposals.  In addition, and more importantly, the settlement does not include an adequate estimate of costs, a detailed cost benefit analysis or a sufficiently descriptive explanation of how the costs associated with implementing these proposals will be recovered.  

DRA responded to the settlement between Cal‑Am and NRDC and is opposed to the settlement on these items.  DRA argues that the record does not support sections of the settlement and that the settlement is silent on the cost and ratepayer impact of the settled issues.  

We do not address the merits of these proposals here, but as submitted, the proposals are not supported by the record.  On that basis, we do not approve the settlement’s proposed provisions for irrigation rates, billing format, advanced metering infrastructure and volumetric rate structure for wastewater.  
6.10. Increase Low-Income Surcredit
Cal-Am and NRDC recommend that the low-income surcredit for the Larkfield, Los Angeles County, Sacramento, San Diego County and Ventura County Districts and the Ambler Park, Ralph Lane and Toro service areas of the Monterey County District be increased from 15% to 20% of the average residential bill.  Additionally, the parties recommend that, with the exception of the Monterey County District (other than Ambler Park, Ralph Lane and Toro service areas) and Monterey Wastewater District, Cal-Am administer and recover the net costs of the low-income assistance program on a statewide basis via a meter surcharge on all non-low-income customers.  Customers in the Monterey County District (except the Ambler Park, Ralph Lane and Toro service areas) and the Monterey Wastewater District would not be subject to the non-low-income meter surcharge.  Parties believe this measure will avoid the problem of disproportionately burdening customers in districts with a high percentage of customers receiving low-income assistance. 

We do not adopt the settlement here because the proposal lacks an analysis of the rate impact on customers.  However, we believe this issue is appropriately moved to Phase 2 of the proceeding, where parties can provide additional analysis of the proposal in the context of rate design.  An ALJ ruling will establish the timeline for filing supplemental testimony on the increased low-income surcredit.  
6.11. Special Request #5 – Establish a WRAM/MCBA for the Sacramento District

The settlement between Cal‑Am and NRDC allows Cal‑Am to establish a WRAM/MCBA in its Sacramento District.  The parties state that a key action to increase water conservation is to remove the financial disincentive for water utilities to encourage customers to save water.  The parties agree that the implementation of tiered rates is not the only means to influence customers’ water consumption levels.  The parties assert that metering also significantly reduces consumption and therefore, Cal‑Am should be authorized to implement a WRAM/MCBA in the Sacramento District.  The parties further assert that a WRAM/MCBA will provide water companies and customers with revenue neutrality regarding conservation and is consistent with the Commission’s revenue decoupling mechanisms for gas and electric utilities.  

In its testimony and comments on the settlement between Cal‑Am and the NRDC, DRA opposes Cal‑Am’s special request and the settlement’s terms for implementing a WRAM/MCBA in the Sacramento District.  DRA states that the purpose of the WRAM/MCBA is not simply to make utilities whole in the event that water consumption goes down, but also serves to remove disincentives to implementing conservation programs and rates, and to pass savings on to customers and reduce overall water consumption.  DRA contends that converting from flat to metered rates is not the same as implementing tiered conservation rates.  

DRA also opposes establishing a WRAM/MCBA account in Sacramento on the basis that WRAMs and MCBAs were first approved when the Commission had very little information about the impact of tiered rates.  DRA claims that the same cannot be said about flat-rate-to-meter conversions in which the Commission has a lot of experience.  DRA goes on to describe instances where Cal‑Am could double collect due to the lag time in billing after a meter is installed.  
Mark West also commented on the Cal‑Am and NRDC settlement on Special Request #5 to establish a WRAM/MCBA in the Sacramento District.  Mark West’s comment’s echoed the comments of DRA opposing the proposal. 

We find that establishing a WRAM/MCBA in the Sacramento District prior to full metering and implementation of tiered rates is not warranted.  The conditions that merit a WRAM/MCBA are not present.  More importantly, we are conducting a full review of the WRAM/MCBA mechanisms in Phase 2 of this proceeding and it would be premature to establish one in the Sacramento District prior to the full review.  Therefore, we do not approve the settlement on Special Request #5, but refer the issue to Phase 2 of this proceeding.  An ALJ ruling will establish the timeline for filing supplemental testimony on Special Request #5.  
6.12. Conclusion

Should the parties decline to accept the modifications to the settlement set forth in this decision, then the assigned Commissioner shall issue a revised scoping memo to set the matters for hearing.  
7. Disputed Issues

The Commission regulates water service provided by Class A water utilities pursuant to Article XII of the California Constitution and the Public Utilities Code.
  For Class A water utilities, Pub. Util. Code § 455.2, as implemented in D.04‑06-018 and updated in D.07-05-062, provides for a general rate case proceeding every three years.  Cal‑Am is a Class A water company with six districts:  Larkfield District, Los Angeles County District, Monterey County District, Sacramento District, San Diego County District and Ventura County District.  
7.1. Monterey District Plant

7.1.1. Special Request #19 – Toro Arsenic Treatment Plant

Cal‑Am seeks to include $1,955,400 in rate base for construction of the Toro arsenic treatment facility.  The facility became operational in March 2010 and included the installation of the Pureflow coagulation/filtration system.  DRA argues that only $685,000 should be included in rate base as it is the amount included in the settlement agreement adopted by D.09-07-021.  The $685,000 settlement was based on the Siemens filtration system bid.  That bid was ultimately rejected by Cal‑Am in favor of the Pureflow system.  DRA claims Cal‑Am did not exercise sound engineering practices or business principles in installing the Pureflow system and rejecting the lower cost Siemens bid. 

Cal‑Am cites multiple reasons for not selecting the Siemens filtration system such as permitting difficulties which could have delayed the project and the incompatibility of the Siemens technology with the water quality at Toro.  DRA counters that the project was not completed until March 2010, two years later than anticipated, providing Cal‑Am sufficient time to deal with any permitting delays.  DRA also claims that unlike the Pureflow bid, the Siemens bid was based on a filtration system tailored to the Toro system water conditions. 

Both the Pureflow and Siemens filtration systems bring the Toro water quality to acceptable levels.  Thus, the crux of the issue here is which system’s combined capital and ongoing operation and maintenance costs results in a lower annual revenue requirement for ratepayers.  

Cal‑Am claims that even though the initial capital cost for the Pureflow system is higher at $1,955,400, its overall annual operations and maintenance cost is lower.  Cal‑Am claims the Siemens filtration system needs to be changed out 4 times per year at a cost of $85,000 per change out.  In addition, there is a back flush requirement every 1 to 3 months at a cost of $3,000 per back flush.  

DRA and Cal‑Am provide conflicting data supporting their respective positions on the frequency of the Siemens system filtration media change out.  DRA relies on the Siemens’ bid information stating that the filtration media lasts 395 days, essentially 13 months, before a change out is required.  Cal‑Am provides data based on higher levels of contamination than that present in the Toro system to support its position that the Siemens system is incompatible.  The table below illustrates the cost difference between the Pureflow system installed by Cal‑Am and the Siemens system recommended by DRA.

Table 7
	
	Siemens System
	Pureflow System

	Capital Cost
	$685,000
	$1,955,400

	Annual Revenue Req.
	$77,131
	$220,178

	Annual Operation and Maintenance Costs
	$96,461

	$18,660


	TOTAL ANNUAL COSTS
	$173,592
	$238,838


Although not considered in the cost comparison above, all capital projects added to rate base receive a return on equity based on a company’s approved rate of return.  Here, Cal‑Am sought to include a $1,955,400 capital project in rate base, an almost $1.3 million increase over the previously approved project cost of $685,000.  If included in rate base, the $1.3 million would be subject to rate of return and the revenue requirement borne by Cal‑Am ratepayers would be increased accordingly.  
We do not find Cal‑Am’s installation of the Pureflow system reasonable given that its annual costs are higher to achieve the same result as the Siemens system.  Therefore, only $685,000 should be included in rate base and the actual annual operation and maintenance costs for the Pureflow system, $18,660, should be included in the revenue requirement. 

7.1.2. Supervisory Control and Data Acquisition (SCADA)

Cal‑Am requests $1,953,000 for improvements to the SCADA system in its Monterey District.  Cal‑Am states the improvements include standardizing the software, updating remote site hardware and adding SCADA to sites that currently have no SCADA coverage.  Cal‑Am also states that the current SCADA software was installed in 1998 and since the life expectancy of SCADA software is five years, an upgrade is long overdue.  Cal‑Am supports its claim for the improvements with a record of 400-500 monthly SCADA alarms, many of which Cal‑Am claims are caused by communication errors and transmitter failures.  Cal‑Am asserts that the amount of non‑revenue water will be decreased since transmitters may currently fail open, causing overflows.  

DRA recommends that the Commission deny Cal‑Am’s request as unmerited.  DRA asserts that there is no documented system failure requiring a new system.  DRA analyzed the 400-500 monthly SCADA alarms and states that at least half of the alarms required little or no action as they were confirmations or advisory messages that are the result of a properly functioning system.  DRA also claims that the remaining five to ten alarms per day might require an operator action or field visit, but states that five to ten alarms per day does not seem excessive given the size and complexity of the system.  DRA also notes that the software standardization has already occurred, so the entire SCADA system is currently using the same software.  DRA points out that it has also recommended approval of $320,000 in recurring SCADA system improvement projects and upgrades through 2014. 

Although Cal‑Am claims the new SCADA system would reduce non‑revenue water, its testimony provided no breakdown of how many alarms relate to overflows due to transmitter failures.  This information would have been useful in evaluating Cal‑Am’s request for this expenditure in a district with extremely high rates and high non‑revenue water.  

Cal‑Am states that 57% of the budget proposed for this project is to address the current need for replacement and upgrades of existing equipment and adding SCADA capabilities to sites that currently do not have SCADA coverage.
  We find Cal‑Am’s request to provide SCADA coverage for areas not currently covered is reasonable.  Therefore, Cal‑Am will receive 57% of its request, reduced by the $320,000 that DRA has already agreed to for SCADA improvements and upgrades for 2009 through 2014.  Cal‑Am will receive $793,210
  for SCADA system improvements and upgrades. 

7.1.3. Special Request #32 – Monterey Billing System Modification Costs

Cal‑Am seeks authorization to include as plant in service $960,000 for modifications to its Monterey billing system to calculate and track usage allotments by account for residential, nonresidential and dedicated irrigation customers.  Cal‑Am claims that the amount includes $400,000 that it was authorized to track in a memorandum account and an additional $560,000 it incurred to make further billing system changes.

DRA opposes Cal‑Am’s request on several counts.  DRA claims that Cal‑Am did not track the costs in a memorandum account that would allow recovery in this proceeding.  DRA also asserts that the costs are administrative and general, not project costs to be capitalized.  Finally, DRA states that Cal‑Am already had its opportunity to forecast administrative and general expenses due to rate design changes in the last general rate case and the Commission already ruled on those matters, including billing system modifications, in D.09-07-021.  DRA points out that Cal‑Am’s petition to modify D.09-07-021 seeking authorization to recover $945,720 in billing system modification expenses via advice letter was denied. 

Cal‑Am asserts that although D.10-11-006 denied its petition to modify D.09-07-021, the decision did not address the reasonableness of the billing system modification costs or the merits of the request.  Rather, D.10-11-006 denied the petition to modify because “The Commission does not implicitly and unilaterally impose additional terms on settlement agreements.”
  Cal‑Am claims that nothing in D.10-11-006 bars it from seeking recovery here.  

We disagree.  It is clear from Cal‑Am’s petition to modify D.09-07-021 that Cal‑Am was seeking to add to its settlement with DRA to recover additional costs associated with the billing system modification in its settlement with DRA.  Although Cal-Am’s petition was denied because the Commission cannot unilaterally change the terms of a settlement, the fact remains that the costs and their recovery should have been requested in the last general rate case.  Cal‑Am’s request that the Commission reclassify those costs and allow recovery in this proceeding constitutes retroactive ratemaking.  For that reason, Cal‑Am’s Special Request #32 is denied.  

7.2. Income Tax and Related Issues

Cal‑Am filed A.10-07-007 on July 1, 2010 claiming taxable income and expenses for the test year including $2,698,590 in California Corporate Franchise Tax and $10,282,710 in Federal Income Tax.  Cal‑Am’s application also originally reflected certain tax deductions that reduce its revenue requirement request. 

 The Small Business Jobs Act was signed into law on September 27, 2010.  The Tax Relief, Unemployment Insurance Reauthorization and Job Creation Act of 2010 was also enacted on December 17, 2010.  Both laws affect aspects of Cal‑Am’s tax calculations.  Because Cal‑Am filed its application prior to the enactment of the laws, Cal‑Am’s rebuttal testimony addresses the impacts of the new laws on its tax situation.  

7.2.1. Domestic Production Activity Deduction

Cal‑Am claims that it is ineligible for the Domestic Production Activities Deduction (DPAD) because it is in a net operating loss position.
  Cal‑Am relies on D.09-03-007, the Suburban Water Company (Suburban) general rate case, in which the Commission found that if a deduction is not used, it should not be considered for ratemaking purposes.  Cal‑Am also requests approximately $13 million in revenue requirement for California Corporate Franchise Tax and Federal Income Tax.  Cal‑Am’s explanation for this apparent inconsistency is that the Commission requires Cal‑Am to calculate income taxes for ratemaking purposes based on a “stand alone” basis and for tax reporting purposes on the American Water Works consolidated income tax return.
  

DRA distinguishes the circumstances in this case from those in the Suburban case.  Suburban showed an overall loss on its returns.  Here, Cal‑Am anticipates paying approximately $12 million in California Corporate Franchise Tax and Federal Income Tax in 2012.
 

TURN also objects to Cal‑Am’s explanation.  TURN asserts that Cal‑Am is asking ratepayers to fund tax obligations in the revenue requirement while also claiming a net operating loss, thus making Cal‑Am ineligible to take tax deductions which reduce the revenue requirement for ratepayers.  TURN points out that Cal‑Am’s own witness said that the net operating loss position is directly attributable to Cal‑Am’s WRAM deferrals and that absent the large deferrals, Cal‑Am would have positive taxable income in 2011 and 2012.
  

TURN recommends that the Commission remove the California Corporate Franchise Tax and Federal Income Tax request from the revenue requirement.
  However, if the Commission relies on Cal‑Am’s original filing that assumes taxable income in 2012 for ratemaking purposes, then TURN recommends that the taxable income be reduced consistent with normal ratemaking adjustments such as the DPAD.

We agree with DRA that the facts in Suburban are distinct from the facts here.  Suburban did not include income taxes in its revenue requirement request for ratemaking purposes, and claimed a net operating loss for actual tax reporting purposes.  Suburban’s tax situation was the same for both ratemaking and actual tax purposes.  

We dislike inconsistent treatment of tax positions when the disparate treatment adversely impacts ratepayers, as it does in this case.  As noted by TURN, Cal‑Am includes the WRAM balances in income for ratemaking purposes, which results in taxable income.  However, Cal‑Am’s calculation of its income for tax reporting purposes excludes the WRAM balances from income, which results in a net operating loss.
 

The issue here is which of Cal‑Am’s tax positions should be used to determine whether the DPAD is applicable.  In this case, because Cal‑Am’s tax position for ratemaking purposes resulted in income tax, it is reasonable to apply the DPAD to reduce the income tax obligation for ratemaking purposes.  

In D.10-11-034, the Great Oaks Water Company general rate case, the Commission approved DRA’s calculation of the DPAD.  DRA uses the same methodology here as in the Great Oaks general rate case.  DRA’s methodology is supported by TURN.  Cal‑Am proposed a methodology in its initial application, but its rebuttal testimony claims that it is ineligible for the DPAD.  As explained above, we disagree.  Therefore we find DRA’s DPAD methodology reasonable and we adopt it here.
  

7.2.2. Cal‑Am Repairs Deduction FIN 48

This issue is no longer in dispute.  In its reply brief, Cal‑Am stated that it had inadvertently excluded the FIN 48 in its original application and it will accept its full repairs deduction which will increase deferred taxes.
  On that basis, Cal-Am should remove from rate base the increased accumulated deferred income tax for 2010, 2011 and 2012 associated with its FIN 48 recorded deferred income tax.  

7.2.3. Bonus Depreciation

Bonus depreciation is a result of the Economic Stimulus Act of 2008 (2008 Act) and the Tax Relief, Unemployment Insurance Reauthorization, and Job Creation Act of 2010 (2010 Act).  The Acts permit a company to take deductions for investment in certain property recently purchased or acquired and placed into service.  The 2008 Act added section 168(k) to the Internal Revenue Code that allows a company to take a 50% deduction or bonus depreciation of the adjusted basis of qualified property.  The 2010 Act extended the 2008 Act and increased the deduction amount to 100%.  

According to Internal Revenue Code Section 168(k)(2)(D)(iii), “taxpayers” are entitled to “elect” whether or not to take bonus depreciation at the legal entity level.  Additionally, pursuant to Cal. Rev. & Tax Code § 24349, California does not allow bonus depreciation to be claimed on a California State income tax return.  

Cal‑Am has elected not to take the bonus depreciation for 2011, although it has elected to do so in 2010 and 2012.  DRA asserts that there is nothing significantly different between 2011 and the years 2010 and 2012, when Cal‑Am says it will take the bonus depreciation and therefore, the Commission should impute the maximum legally allowable amount of bonus depreciation for 2011.
  TURN and DRA assert that Cal‑Am’s decision not to take the bonus depreciation in 2011 is unsupported.  

Cal‑Am utilizes accelerated tax depreciation and normalizes its Federal Income taxes consistent with requirements in the Internal Revenue Code.  To continue to utilize accelerated tax depreciation, the taxpayer must comply with those normalization requirements.  The taxpayer decides whether to elect bonus depreciation.  For the Commission to impute bonus depreciation not taken by the taxpayer would be an interference with Cal-Am’s normalization of its taxes that could result in Cal-Am losing its ability to use accelerated income tax depreciation.  If Cal-Am violates Internal Revenue Code normalization requirements, it would no longer be allowed to use accelerated tax depreciation for federal income tax purposes.  There would be no deferred taxes to offset rate base relating to the use of accelerated tax depreciation, resulting in a substantially higher rate base entitled to earn rate of return.  Therefore, we will not impute the bonus depreciation for 2011.  
7.3. Special Requests

7.3.1. Special Request #4 Requesting Rate of Return on Deferred Balances on Memo and Balancing Accounts

Cal–Am seeks authority to earn its authorized weighted average cost of capital on all deferred balances in excess of its $33 million short-term debt limit.  Cal‑Am’s deferred balances currently earn at the 90-day commercial paper rate.  Cal‑Am states that this request is supported by Commission precedent.  In D.08‑05-036 regarding the San Clemente Dam, the Commission looked at the “circumstances at hand and the type of financing being used to fund the project.”
  Cal‑Am claims the request allows the company the opportunity to recover its actual carrying costs.  Cal‑Am states that the current carrying costs exceed recovery, currently based on the 90-day commercial paper rate, by millions of dollars each year.  

Cal‑Am asserts that the 90-day commercial paper rate is only intended to cover items of a short term nature, items that remain on the books for 12 months or less, not items that continue to grow and remain on the balance sheet for multiple years.  Cal‑Am’s application placed its total deferred balances earning the 90-day commercial paper rate at $90 million and estimated the balances would reach $120 million by the end of 2011.
  At the time Cal‑Am filed its application, the 90-day commercial paper rate was 0.24%.  Cal‑Am’s current deferred balances represent approximately 20% of its requested rate base of $421 million for 2012.
  Cal‑Am asserts that failure to allow recovery at just and reasonable rates is confiscatory. 

Both DRA and TURN oppose Cal‑Am’s request for several reasons.  TURN claims that Cal‑Am appears to rely on the Commission’s decision to authorize rate of return on the San Clemente Dam memorandum account, but fails to recognize the special nature of that situation.  TURN asserts that the San Clemente Dam decision merely demonstrated the Commission’s discretion to authorize a different rate of recovery.  TURN points out that in the San Clemente Dam decision the Commission stated that “we did not intend to establish policy regarding AFUDC
 for all long-term projects.”
  Cal‑Am also points out that the Commission decided to leave the multi-million dollar Coastal Water Project account at the 90-day commercial paper rate.

DRA claims that a blanket approval allowing Cal‑Am to earn rate of return on all memorandum and balancing accounts denies the Commission the opportunity to evaluate the individual facts of each account, as it did with San Clemente.  DRA also points out that after the fact reasonableness review incorrectly places the burden of proof on intervenors to prove that it is unreasonable for a particular account to earn rate of return, rather than placing the burden on Cal‑Am to prove that for a particular account, recovery at the 90‑day commercial paper rate is insufficient. 

Given the number and variety of Cal‑Am’s deferred balances, we agree with DRA and TURN that a blanket approval for rate of return on all deferred balances is not reasonable.  Also, neither Cal‑Am’s testimony nor it witness was able to say with certainty which accounts would be included in the rate of return treatment, how long the rate of return treatment would be in effect or how the fluctuating balances receiving rate of return treatment would be monitored.
  Therefore, Special Request #4 is not reasonable and is denied.  
7.3.2. Special Request #14 Requesting Recovery of Balances on Memorandum and Balancing Accounts

The only one of 37 memorandum and balancing accounts in Special Request #14 that was not part of the settlement agreement between the parties is the Monterey Style WRAM and Monterey Interim Rate True-Up (MIRTU).  

Cal‑Am filed advice letters 735 and 838 to recover the balances in its Monterey Count District WRAM.  DRA protested advice letter 735 and DWA rejected both advice letter 735 and 838.  The rejection letters included instructions for Cal‑Am to follow prior DWA instructions before submitting another advice letter.
  This issue was included within the scope of this proceeding by an April 14, 2011 Administrative Law Judge Ruling.

Cal‑Am seeks to have customer billing adjustments due to leaks, included in the WRAM balances for its Monterey County District.  For billing adjustments in the Monterey County District, Cal‑Am bills the customer for water usage above historical levels at the second tier of the conservation rate.  For billing adjustments in its other districts, Cal‑Am adjusts the billed usage to a more normal amount, which results in lower revenues and higher non‑revenue water.

Cal‑Am asserts that this is a rate issue not a consumption issue, claiming that the lost revenue is due to steeply tiered conservation rates and therefore the lost revenue should be tracked and recovered in the WRAM balance.  DRA objects to Cal‑Am’s request and states that any losses due to billing adjustments should be borne by shareholders.

Neither DRA’s nor Cal‑Am’s recommended resolution of this issue reflects the realities of the situation.  Cal‑Am claims the losses are a direct result of the steeply tiered conservation rates and therefore capturing the lost revenue in the WRAM is appropriate.  We disagree.  The losses are not directly attributable to the tiered conservation rates, but to Cal‑Am’s treatment of billing adjustments.  Cal‑Am’s method creates two distortions – one in the WRAM account, which was not meant to include reduced revenue due to billing adjustments, and a distortion of the actual water loss in the Monterey County District. 

DRA’s recommended resolution of shareholders bearing the loss is counter to how billing adjustments are dealt with in Cal‑Am’s other districts and completely unsupported. 

We agree with Cal‑Am that billing adjustments benefit ratepayers and we agree that Cal‑Am should be able to recover the revenue lost due to billing adjustments, but we disagree with Cal‑Am’s current recovery through the WRAM.  Therefore, to recover its WRAM balances, Cal‑Am should remove all billing adjustments from its computation of the Monterey County District WRAM and file a Tier 2 advice letter for recovery.  Additionally, Cal‑Am’s advice letter should also comply with any outstanding requests and/or instructions contained in DWA’s rejection of Advice Letter 735 and 838.  
We will not revisit DWA’s approval of Cal‑Am Advice Letter 826 regarding the MIRTU.  DRA claims there was a mistake in the methodology, but DRA had an opportunity to protest advice letter 826 when it was filed, and it did not.  
7.3.3. Special Request #18 Contamination Proceeds

This special request is no longer in dispute as the Commission issued D.10‑10-018 and D.10-12-058 in Order Instituting Rulemaking 09-03-014.  Those decisions adopt rules for treatment of contamination proceeds arising from damage awards. 

7.3.4. Special Request #24 to Recover Toro Goodwill

Cal‑Am seeks authorization to recover an additional $155,000 related to the acquisition of Toro Water Service (Toro).  According to Cal‑Am, the $155,000 Cal‑Am represents goodwill, or the cost of the acquisition above the book value of the asset.  
DRA and Cal‑Am entered into a settlement agreement for the purchase of Toro.  The settlement agreement provided that Cal‑Am would seek and DRA would support recovery of $408,000 in Cal‑Am’s 2008 general rate case.  In D.07‑11-034, the Commission approved Cal‑Am’s acquisition of Toro and the settlement between Cal‑Am and DRA on the acquisition.

DRA disputes Cal‑Am’s claim for additional funds representing Toro acquisition goodwill.  DRA maintains that the settlement agreement did not provide for any additional goodwill costs.  DRA contends that Cal‑Am assumed the risk of any misstatement from Cal‑Am’s failure to include other costs when it settled on the purchase price of $408,000, which therefore capped goodwill at $105,403.
  

Cal‑Am states that true-ups and adjustments are common and appropriate
 and nothing in the settlement agreement, or the decision approving it, prohibits Cal‑Am from seeking future recovery of other related costs.  Cal‑Am also states that the settlement does not refer to goodwill and, accordingly, DRA cannot rely on the inferences drawn from the settlement agreement that Toro goodwill was capped at $105,403.  

We disagree.  Because the $408,000 purchase price included in rate base exceeded the book value of Toro by $105,403, we find it reasonable for DRA to have inferred that the additional amount was goodwill.  If Cal‑Am wanted to protect its ability to recover the true-ups, adjustments, or other related costs, it could have done so by including such language in the settlement or at least putting DRA on notice that the amounts included in the settlement were estimates.  Cal‑Am did not do so.  To allow recovery of the additional costs now is unreasonable and undermines the settlement process.  Therefore we deny Cal‑Am’s request to recover an additional $155,000 in goodwill related to the acquisition of Toro.  

7.3.5. Special Request #34 to Amortize Balancing Accounts in Rates on an Annual Basis

A full review of the WRAM program will occur in Phase 2 of this proceeding, which includes an examination of amortization periods.  Until a decision is issued in Phase 2 of this proceeding, the WRAM program, including amortization periods will continue as currently designed. 

7.4. General Office Adjustments

7.4.1. Labor and Labor-Related Expense

Cal‑Am’s requested labor and labor-related expense of $127,771,286 for the Service Company and $6,883,653 for Cal‑Am is based on budgeted positions and assumes no vacancies.  DRA has recommended an adjustment to Cal‑Am’s request based on the number of actual employees on December 31, 2010.  Cal‑Am claims that its 2010 budgeted labor expenses were within 2% of its actual expenses and demonstrates the accuracy of its budgeting forecast.  

Cal‑Am argues that the DRA recommendation incorrectly focuses on the employee headcount as of December 31, 2010, a snapshot in time when 68 employees had been recently transferred to the business transformation project and those vacancies had not been backfilled yet.  Cal‑Am also claims that using the December 31, 2010 headcount is beyond the Rate Case Plan’s 100-day update period.  Cal‑Am is incorrect.  The update deadline is for the utility to update its application.  However, there is no prohibition against DRA seeking updated information through the data request process or for the Commission considering that updated information.  

DRA counters Cal‑Am’s claim that the 2010 budgeted and actual expenses were within 2% of each other.  DRA’s calculation results in a 6% gap between the 2010 budgeted and actual expenses.  We find that Cal‑Am’s budget-based expenses and DRA's one-day employee count are extreme positions and neither represents the best basis for determining labor expenses.  

The budget-based method includes no allowance for vacancies and there will always be vacancies.  Cal‑Am provides inconsistent statements regarding vacancies in the company.  In support of its budget-based labor expense Cal‑Am states that "positions never remain vacant, therefore, there is no ongoing vacancy rate.”
  Yet Cal‑Am’s witness Hobbs states, "…every business - particularly a complex business organization such as the Service Company - always has some level of vacancies in its employee ranks.  For example, employees go on leave, get sick or disabled, quit, die or are transferred.  So I can comfortably say that the Service Company will continue to have some level of vacancy, as any normal business would."
  We find the latter statement more credible than the former.  

While it may be true that most positions do not remain vacant, they are vacant for some period of time.  It is impossible to fill 100% of the positions 100% of the time.  Cal‑Am’s testimony on the 68 vacancies in December 2010 stated that as of March 2011, not all the positions had been filled, demonstrating that there continued to be vacancies over a period of time.  Even if those vacancies are ultimately filled, other vacancies will occur in another area of the company.  Cal‑Am’s budget-based labor expense calculations ignore this fact, although its witness confirmed it.  Some level of turnover is inevitable and to ensure ratepayers are not funding empty positions, there has to be some acknowledgement of this in the labor expense.  
Similarly, we do not find that DRA's one-day headcount provides for any fluctuations in vacancies throughout the year.  DRA's one-day headcount occurred at a time when the company had just shifted a large number of staff to the business transformation project and therefore skewed the count.  DRA's reliance on the adoption of a one-day headcount in D.09-07-021 is misplaced.  In D.09-07-021 a one-day headcount was used because Cal‑Am failed to support its request.  In this general rate case, Cal‑Am provides the information that was lacking in the earlier general rate case, but overstates the expense by assuming there will be no vacancies.  As the parties were unable to find a middle ground between these two extreme positions, we must fashion one based on other information in the record.  

Cal‑Am disputed DRA's claim that there is a declining trend of 57 employees per year.  Cal‑Am calculated the decline trend in employees as 22.
  Therefore, we will adopt Cal‑Am’s figure and reduce Cal‑Am’s labor and labor related expense by 22 positions to account for vacancies.
7.4.2. Pension Expense

Cal‑Am requests pension benefits expenses for Cal‑Am employees, which include Cal-Corp employees and the various district employees, and the Cal‑Am‑allocated pension expense of the Service Company.  Cal‑Am requests the continuation of calculating the revenue requirement for pension expense based on actuarial projections of FAS 87 (Federal Accounting Standard) for the Service Company and of Employee Retirement Income Security Act (ERISA) for Cal‑Am.  Cal‑Am also asks to track in its pension balancing account the difference between the ERISA expense authorized and actual amount incurred.
  
DRA objects to Cal‑Am’s request because Cal‑Am seeks one pension treatment, Generally Accepted Accounting Principles (GAAP), for the Service Company and a different one, ERISA, for Cal‑Am.  The GAAP treatment results in lower pension contributions for the Service Company than ERISA treatment does for Cal‑Am.  DRA initially requests that GAAP, rather than ERISA be used to calculate the pension expense for Cal‑Am.
Cal‑Am responds that it has always based pension expense for the Service Company on FAS 87.  For Cal‑Am, pension expenses are based on the ERISA minimums authorized in D.10-06-038, the last general rate case that included general office expenses.  Upon further reflection, DRA recommends that the Commission continue to authorize "capped" recovery at ERISA minimum funding levels for ratemaking purposes as established in D.10‑06-038.  DRA had overlooked or forgotten about the settlement achieved with Cal‑Am in the last general rate case that allowed pension expenses to be capped at ERISA minimums.  

DRA recommends that the Commission adopt the February 2011
 updated estimates of pension expense for the Service Company and Cal‑Am, which is lower than the April 2010 forecast amount initially sought by Cal‑Am.  DRA does not dispute the FAS 87 calculations, as those expenses are declining during the rate case period.

We find no reason to discontinue recovery as established in D.10-06-038.  The February 2011 updated figures reflect the improvement in the financial markets.  Therefore we find the pension expense based on the February 2011 ERISA forecast for the Cal‑Am and Cal Corp employees reasonable.  We also find the FAS 87 pension expense calculation for the Service Company reasonable.  Those amounts are set forth below.

Table 8
	Cal‑Am and Cal Corp
ERISA Forecasts
	American Water Service Company
FAS 87 Pension Expenses

	2011 - $93.5 million
2012 - $93.9 million
2013 - $84.5 million
2014 - $50.2 million
	2011 - $61.5 million
2012 - $54.3 million
2013 - $47.9 million
2014 - $41.5 million


Cal‑Am’s total expenses are based on its allocation of the Service Company and American Water expenses shown in Table 8.  

Cal‑Am will continue the capped recovery of pension expense established in D.10-06-038.  Therefore, Cal‑Am is authorized to continue to track the difference between the level of expense authorized in rates and the actual costs.  Cal‑Am’s recovery for ratemaking purposes shall be capped at the minimum level of Benefit Plan expense calculated according to the ERISA minimum funding levels.  

7.4.3. Group Insurance

Cal‑Am states that group insurance expense includes employee life insurance, medical, dental, prescription drug, vision, accidental death and dismemberment insurance, long‑term disability insurance, and short-term managed disability insurance.  
Cal‑Am requests insurance expense of $4,010,255.  This amount represents the cost for all Cal‑Am employees as well as expense allocated from American Water Service Company.  Cal‑Am’s increase in group insurance includes a 20.3%
 increase for 2010 to 2011 actual rates plus an 8% escalation factor for 2011 to 2012.  Cal‑Am claims these increases are necessary in order to cover current and forecast increases in program expenses.

DRA recommends that Cal‑Am’s group insurance expense be based on 2010 actual costs, adjusted for inflation by applying the labor and labor-related expense escalation rates reflected in D.04-06-018.  In the alternative, DRA recommends that if the Commission allows increases above the labor escalation rates in D.04-06-018, that the increase be limited to the utility industry health insurance costs trend rate of 8.2% annually applied to 2010 actual insurance expense.  
Cal‑Am argues that nothing in D.04-06-018 restricts utilities from proposing alternative escalation factors for general office expenses.  Cal‑Am also argues that the methods in D.04-06-018 ignore the actual increases in insurance expense over time.  Cal‑Am points to measures it has taken to keep costs down such as conducting an employee dependent audit in 2007 and ensuring that non‑covered expenses are not paid.  Cal‑Am states that it reduced the number of plan options and, increased employee co-payments, the cap on out of pocket expenses and payroll contributions.  
DRA claims that from 2007 to 2010 Cal‑Am’s insurance expenses have been higher than the industry average except for a 0.1% drop below the industry average for non‑Union employees in 2009.  DRA points to the fact that Cal‑Am employees still pay much less toward their health care costs than the water industry average despite the changes Cal‑Am instituted.  In 2009 Cal‑Am employees were only paying 17% of the gross health care costs while the industry average was 32.2%.  Although Cal‑Am has since increased its employee contributions to 23%, they are still significantly lower than the 2009 industry average of 32.2%.  There is nothing in the record regarding the current industry average, but relying on the 2009 data indicates that Cal‑Am ratepayers have been and are being asked to continue subsidizing Cal‑Am employee’s contributions to health care costs.
Cal‑Am admits that its employees contribute less than the industry average for medical benefits.  This fact contradicts Cal‑Am’s claim that its insurance expense is a “cost over which the company has little control.”
  Cal‑Am certainly has some control over the group insurance benefit package and the amount of insurance expense being passed on to ratepayers. 
We find Cal‑Am’s requested 20.3% increase for 2010 to 2011 and the 8% escalation factor for 2011 to 2012 are not reasonable given that its expenses exceed the industry trend and its employees continue to contribute much less than the industry average toward health care costs.  
Therefore we adopt the labor escalation factor as Cal‑Am’s increase for group insurance expense.
7.4.4. Special Request #11 - Business Transformation Memorandum Account
Cal‑Am’s business transformation project was implemented to automate, update and modernize all aspects of the information technology platforms and business processes used by American Water Works and all its operating companies, including Cal‑Am.
  The original estimate for the project was $280 million with Cal‑Am’s portion set at $14 million.  An updated estimate is set at $317 million with Cal‑Am’s allocation increasing proportionately.  
Cal‑Am proposes that:  1) the revenue requirement on Cal‑Am’s allocated portion of the full $280 million originally requested for the business transformation project be included in rate base; 2) that Cal‑Am be authorized to earn a return on and recovery of those business transformation project capital expenditures; and either that 3) Cal‑Am track in a memorandum account the revenue requirement of all additional business transformation project costs as well as any cost savings generated by the project and that the memorandum account be the subject of review by all parties and the Commission pursuant to a Tier 3 advice letter filing in May 2015, or (in the alternative) 4) the revenue requirement on the updated $317 million budgeted for the business transformation project be included in rate base.

Cal‑Am’s position regarding how the business transformation project costs should be recovered has evolved over the course of this proceeding.  In Special Request #11, Cal‑Am originally sought to include its estimated business transformation project costs in revenue requirement and requested a balancing account to track differences between the estimated and actual project costs.  Special Request #11 also requested that the balancing account earn interest at Cal‑Am’s authorized rate of return. 

In its opening brief, Cal‑Am requests a memorandum account rather than a balancing account to track project costs, but still seeks to earn rate of return.  And, for the first time in its reply brief, Cal‑Am seeks to track the savings generated by the business transformation project in the memorandum account.  
DRA agrees that the business transformation project costs should be allowed in revenue requirement, but only under three conditions.
  First, DRA recommends that the Commission adopt only Cal‑Am’s original estimated costs of the project.  Second, DRA requests that the Commission impute a 5.3% reduction in the costs to Cal‑Am in recognition of the benefits of the business transformation project that inure to the parent company’s unregulated affiliates.  Third, DRA proposes that the Commission reduce the revenue requirement by savings that have been identified in a confidential document prepared by American Water Works and presented to its board of directors in May 2010.  

DRA points out that the Commission already rejected a Cal‑Am request for a balancing account to track all costs of the business transformation project because it was determined that the program costs were within the control of Cal‑Am’s parent company, American Water Works, the costs were not exceptional in nature and were more like standard operating expenses that could be reasonably forecast.
  

TURN objects to Cal‑Am’s request for memorandum account treatment since the costs are within the company’s control.  TURN, like DRA asks that the Commission recognize the cost savings identified in the document presented to American Water Work’s board of directors and reduce the revenue requirement accordingly. 

Cal‑Am claims that capitalizing rather than expensing the project costs is the proper regulatory treatment and the Commission should reject both DRA’s and TURN’s recommendation.  Cal‑Am justifies the need for memorandum account treatment stating that even if memorandum account treatment is approved, there will still be substantial under-recovery of costs because a return on the costs incurred prior to authorization will never be recovered.  Cal‑Am points out that ratepayer interests are protected because a Tier 3 advice letter is subject to review by all parties and the Commission prior to recovery.  

Cal‑Am states that the alleged savings identified in the confidential document are only estimates and that both DRA’s and TURN’s recommendations ask the Commission to recognize savings without recognizing the costs that are necessary to produce the savings.  Although Cal‑Am agrees that there will likely be savings in reduced personnel costs over time, the ability to measure those savings today is a matter of timing.  Cal‑Am states that attempts to estimate savings before system implementation would be very preliminary and of limited predictive value and therefore should not be imputed.  
We agree with DRA and TURN that the estimated benefit or savings identified by Cal‑Am should inure to ratepayers during this rate case cycle.  Cal‑Am states that the estimates are preliminary and of limited predictive value.  We understand Cal‑Am’s concern regarding the accuracy of estimates, but general rate cases are fundamentally based on estimates of future expenses.  Also, the estimates were provided to American Water Work’s board of directors, the people who use the information to make decisions affecting the company.  We assume that the accuracy of a presentation for the board of directors is at least the same as that of a general rate case filing.  And, as Cal‑Am’s witness stated, there have been no revisions to the estimates of savings since that information was presented to the American Water Work’s board of directors in May 2010.
  

Therefore, we will adopt Cal‑Am’s estimated savings for 2012, 2013 and 2014, as presented to the American Water Work’s board of directors and entered into the record of this general rate case by DRA.  The estimated savings are calculated using figures from the confidential document; however, the figures here do not compromise the confidentiality of that document.  

As with most estimates in a general rate case, if Cal‑Am realizes greater savings than those identified, Cal‑Am retains the savings.  If project costs exceed the amount authorized, Cal‑Am absorbs them.  This equilibrium provides the incentive for Cal‑Am to estimate projects accurately, which benefits ratepayers, and reduces costs, which benefits Cal‑Am.  
We do not approve Cal‑Am’s request for a memorandum account to track the difference between the estimated costs of the business transformation project and the actual costs of the project.  We have confidence in Cal‑Am’s estimates and assurances by its witness that the project will be brought in on-time and within the budget.  

However, Cal‑Am is authorized to file a Tier 2 advice letter to move project costs into rate base when each phase of the business transformation project is complete, used and useful.  Total recovery for the business transformation project will be capped at $14 million, reduced by 5.3% in recognition of the benefits of the business transformation project that inure to the parent company’s unregulated affiliates.   Cal‑Am’s initial Tier 2 advice letter to move costs associated with the first live phase of Enterprise Resource Planning will include the savings of $111,066 as an expense offset to the rate base addition requested in the initial Tier 2 Advice Letter.  The projected savings for 2013 of $998,037 and 2014 of $1,777,056 attributable to Enterprise Resource Planning will be included in the advice letter filing for the attrition years as expense offsets.  Cal‑Am’s Tier 2 advice letter to move costs associated with the first live phase of Customer Information Systems, which is scheduled for 2014, will include the savings of $873,996, attributable to the Customer Information Systems as an expense offset.  We will not impute the project savings until the project costs have been added to rate base.  
Additional estimated savings from the business transformation project that Cal‑Am projects to occur after this rate case cycle should be recovered in the next general rate case.  

8. Background of Cal‑Am’s Service Territory

The Commission regulates water service provided by Class A water utilities pursuant to Article XII of the California Constitution and the Public Utilities Code.
  For Class A water utilities, Pub. Util. Code § 455.2, as implemented in D.04‑06-018 and updated in D.07-05-062, provides for a general rate case proceeding every three years.  Cal‑Am is a Class A water company with six districts:  Larkfield District, Los Angeles County District, Monterey County District, Sacramento District, San Diego County District, and Ventura County District.  
8.1. Larkfield District
The Larkfield Water Company was constructed and granted a certificate of public convenience and necessity in 1959.  It was merged into Citizens Utilities Company of California (Citizens) in 1995, which was then acquired by American Water Works, Inc., Cal‑Am’s parent company, in 2002.
  The Larkfield District provides water service to an unincorporated portion of Sonoma County about four miles north of the City of Santa Rosa, California.  The service area includes the Larkfield and Wikiup subdivisions which lie along the eastern boundary of U.S. Highway 101 and the community of Fulton which is located west of U.S. Highway 101.  An interconnected distribution system serves the three areas of the district which provides water to approximately 2,400 customers.  The mix of water provided to Larkfield District customers consists of well water and water purchased from the Sonoma County Water Agency. 

8.2. Los Angeles County District
There are approximately 28,000 customers in the Los Angeles District.  The district has three physically separated subsystems, San Marino, Duarte and Baldwin Hills.  The San Marino service area, which is the largest, is ten miles northeast of downtown Los Angeles in the San Gabriel Valley.  The Duarte subsystem is adjacent to the San Marino subsystem.  The Baldwin Hills service area is centrally located in an unincorporated area of Los Angeles County southwest of downtown Los Angeles and just a few miles east of the Los Angeles International Airport.

The district is served by wells and irrigation water utilizing Cal‑Am’s groundwater rights and by purchases from municipal wholesalers.  The San Marino and Duarte subsystems use primarily groundwater while the Baldwin Hills subsystem uses approximately 50% purchased water from the Metropolitan Water District and the West Basin Municipal Water District.

8.3. Monterey County District

In 1882 the Pacific Improvement Company supplied water to the Del Monte Hotel.  In 1905 it was renamed the Monterey County Water Works.  In 1915, it was purchased along with 7000 thousand acres of land by a group of investors.  After another sale in 1930, it was purchased by California Water and Telephone Company in 1935.  Cal‑Am’s parent company, American Water Works Company, Inc., acquired it in 1966.  

The Monterey County District serves approximately 43,000 customers in Carmel-by-the-Sea, Pacific Grove, Monterey, Seaside, Sand City, Del Rey Oaks, and the county areas of the Carmel Valley and the Highway 68 corridor.  Water supply in the area is affected by rainfall and various regulations and court orders that restrict Cal‑Am’s ability to withdraw water from the Carmel River and nearby shallow wells.  Efforts to address the current and long-term water supply deficit in the Monterey County District are ongoing.  
8.4. Sacramento District

In 1928 the North Sacramento Light and Water Company was purchased by Public Utilities California Corporation.  The name was changed to Citizens Utilities Company of California (Citizens) in 1949.  Over the years, through a series of mergers and acquisitions, Citizens grew to encompass the ten distinct water systems that now comprise the Sacramento District.  

In January 2002 Cal‑Am’s parent company, American Water Works, Inc., acquired Citizens.  The Sacramento District provides water service to areas North, East and South of the City of Sacramento.  It also includes an area west of the City of Roseville in Placer County and the smaller communities of Isleton and Walnut Grove located southwest of the City of Sacramento.  The ten water systems are now operated as one.  The ten systems are Antelope, Arden, Isleton, Lincoln Oaks, Parkway, Rosemont, Security, Suburban, Walnut Grove and West Placer.  The Sacramento District serves approximately 57,000 customers. 

8.5. San Diego County District

In 1886 the San Diego County District was established for the purpose of supplying water to the residents of the area known today as the City of Coronado.  American Water Works acquired the company in 1966.  Cal‑Am is a wholly owned subsidiary of American Water Works.  The San Diego County District serves the Cities of Coronado and Imperial Beach, a portion of the City of San Diego lying south of San Diego Bay and a small area of South Chula Vista located in the County of San Diego.  All of the water provided to the San Diego District’s approximately 21,000 customers is purchased from the City of San Diego. 

8.6. Ventura County District

The Ventura County District was established to serve land developers in the Conejo Valley.  It was acquired by Cal‑Am in 1967.  Between 1970 and 2006 the number of customers in the Ventura County District grew from approximately 7,200 to slightly less than 21,000 with the completion of several new developments in the area.  With the increase in customers, the amount and quality of water the district was able to supply to its customers from local wells became inadequate.  In 1974, the use of local well water was discontinued.  Since then all water provided to the Ventura County District has been purchased from the State Water Project.  

9. Procedural Background

On July 1, 2010, Cal‑Am filed its general rate case A.10-07-007.  Protests to the application were filed by Mark West on July 27, 2010, and Monterey Peninsula and DRA on August 9, 2010.  Cal‑Am timely replied to the protests on August 19, 2010.  

A prehearing conference was held on August 26, 2010 and a scoping memorandum was issued on September 9, 2010.  Public participation hearings were noticed and held as follows:

February 9, 2011 - Rancho Cordova (Sacramento District)

February 10, 2011 - Windsor (Larkfield District)

February 15, 2011 – Thousand Oaks (Ventura County District)

February 16, 2011 – Arcadia (Los Angeles County District)

February 17, 2011 – Coronado (San Diego County District)

February 23, 2011 – Seaside (Monterey County District)

February 24, 2011 – Chualar (Monterey County District) 

The public participation hearings were generally well attended with many attendees taking the opportunity to speak.  The prevalent theme at the public participation hearings was the size of the increases sought by Cal‑Am and the impact on the ratepayers’ already sizable water bills.  

The City of San Marino, the Monterey County Hospitality Association and Independent Reclaimed Water Users Group filed to become parties to the proceeding on March 14, 18 and 25, 2011, respectively.  By Administrative Law Judge Ruling on April 14, 2011, the motions for party status were granted.

On April 29, 2011, the Central Coast Coalition of Concerned Communities for Wastewater Equity filed to become a party to the proceeding.  The Administrative Law Judge (ALJ) granted the motion by e-mail ruling.  We affirm this and all other rulings made by the Judge during this proceeding.

DRA provided notice of an all-party settlement conference to be held April 4, 2011.  Parties engaged in settlement negotiations and alternative dispute resolution until May 6, 2011.  The parties worked until the deadline of July 28, 2011 to finalize the settlement agreements.  
Evidentiary hearings were held on May 20, 25, 26, 27, 31 and June 28, 2011.  Opening briefs were filed by Cal‑Am, DRA, TURN, and Mark West on June 30, 2011.  Reply briefs were filed on July 15, 2011.

Three settlement agreements were filed in this proceeding.  A prehearing conference was noticed and held on September 8, 2011 to discuss the settlement agreements.  More information on the three settlement agreements, the signatories, issues, and comments is contained in Attachment B to this decision. 

On December 12, 2011, a revised scoping memo was issued consolidating Cal‑Am’s A.11-09-016 with A.10-07-007, establishing a Phase 2 to the proceeding and assigning Administrative Law Judges Rochester and Long as co-presiding officers. 
The record for the revenue requirement phase of this proceeding was submitted on April 16, 2012.  The proceeding remains open for Phase 2.
10. Comments on Proposed Decision

The proposed decision of Administrative Law Judge Linda A. Rochester in this matter was mailed to the parties in accordance with § 311 of the Public Utilities Code and comments are allowed pursuant to Rule 14.3 of the Commission’s Rules of Practice and Procedure.  Opening comments were filed by Cal-Am, DRA, TURN, NRDC, and Monterey Peninsula on May 14, 2012, and reply comments were filed by Cal-Am, DRA, and TURN on May 21,  2012.  All comments were considered and changes were made as appropriate.  
11. Assignment of Proceeding

Michel Peter Florio is the assigned Commissioner and Linda Rochester and Douglas Long are the assigned Administrative Law Judges in this proceeding.

Findings of Fact


The Settlements

1. May 20, 2011, Cal‑Am and NRDC filed a motion to adopt a partial settlement agreement on various issues. 

2. DRA filed comments on the Cal‑Am and NRDC partial settlement agreement.

3. Mark West filed comments on the Cal‑Am and NRDC partial settlement agreement.

4. On July 28, 2011, Cal‑Am, DRA, and TURN filed a motion to adopt a partial settlement agreement on revenue requirement issues.  

5. On July 28, 2011, Cal‑Am, DRA and TURN filed a motion to adopt a partial settlement agreement on non‑revenue issues. 

6. Mark West filed comments on the Cal‑Am, DRA and TURN partial settlement agreement on non‑revenue issues.

Settled Issues Not Adopted


Special Request #15 - Reporting Non-revenue Water as Volumes Rather than Percentages

7. The settlement proposes that non‑revenue water be reported volumetrically rather than as a percentage.  


Regulatory Expense
8. In the settlement, the parties agree to defer $3,364,185 of regulatory expense related to this proceeding and amortize $1,121,395 annually over the three‑year period of this rate case cycle.
9. In the settlement, the parties agree to defer the rate case expenses of $4,215,000 for the 2015-2017 rate case and amortize the expense over the three‑year rate case cycle of 2015 -2017. 
10. Recovering total regulatory expense of $6,736,185, amortized over the three year rate case cycle of this proceeding will move Cal‑Am from recovering regulatory expenses on a deferred basis to a fully forecasted recovery basis.  

Special Request #31 - Walerga Special Facilities Fees

11. The Walerga Special Facilities Fee issue has been moved to Phase 2 of this proceeding. 

Background on Supply Challenges in the Monterey County District 

12. The Monterey District County water supply situation is desperate and requires continuous reductions in water waste on both the company and customer sides of the meter. 

13. The Commission created a non‑revenue penalty/reward mechanism based on a 9% non‑revenue water target.  If Cal‑Am reduced its non‑revenue water below the 9% mark, it would receive a reward.  If Cal‑Am failed to achieve the 9% non‑revenue water standard, it would incur a penalty.  

14. The per-acre-foot amount of $1,820.30 was adopted for use in calculating the non‑revenue water financial penalty/reward.


Settlement on Non-Revenue Water Amounts for Ratemaking Purposes in the Monterey County District

15. The settlement on non‑revenue water for ratemaking purposes in the Monterey County District is inconsistent.  

16. The settlement uses different methods to calculate non‑revenue water for ratemaking purposes and non‑revenue water for the penalty/reward mechanism in the Monterey County District. 


Adopted Non-Revenue Water for the Monterey County District

17. D.09-07-021 adopted non‑revenue water percentages for most of the Monterey County District systems for the penalty/reward mechanism.  

18. Target non‑revenue water amounts for Hidden Hills, Ambler and Ralph Lane for the penalty/reward mechanism have been reduced to the industry average of 10% for Hidden Hills and Ambler and 11% for Ralph Lane.


Settlement on the Monterey County District Penalty/Reward Mechanism  
19. The settlement proposes that the amount used to calculate the non‑revenue water penalty/reward amount be reduced from $1,820.30 per acre-foot to $275 per acre-foot based on the marginal cost of water production at the Ord Grove Plant.  

20. The marginal water production cost at the Sand City Plant is $2,599 per acre-foot.  
21. The parties state that the non‑revenue water penalty incurred by Cal‑Am is unrealistic and excessively high.  

22. The Commission set 9% as the non‑revenue water target amount in the Monterey Main system, but the actual non‑revenue water continues to approach 12%.

Irrigation Rates, Billing Format, Advanced Metering Infrastructure and Volumetric Rate Structure for Wastewater

23. The settlement adopts irrigation rates, billing format changes, advanced metering infrastructure and a volumetric rate structure for wastewater.

Increase the Low-Income Surcredit

24. The settlement adopts an increase to the low-income surcredit from 15% to 20% in the Larkfield, Los Angeles County, Sacramento, San Diego County and Ventura County Districts and the Ambler Park, Ralph Lane and Toro service areas of the Monterey County District.

25. The settlement recommends that, with the exception of the Monterey County District (other than Ambler Park, Ralph Lane and Toro service areas) and Monterey Wastewater District,  Cal-Am administer and recover the net costs of the low-income assistance program on a statewide basis via a meter surcharge on all non-low-income customers.
Special Request #5 - Establish a WRAM/MCBA in the Sacramento District

26. The settlement establishes a WRAM/MCBA in the Sacramento District.

27. Parties state that metering, like tiered rates, can significantly reduce consumption.  

28. Converting from flat to metered rates is not the same as implementing tiered conservation rates.

29. A WRAM/MCBA review will occur in Phase 2 of this proceeding.


Disputed Issues


Special Request #19 - Toro Arsenic Treatment Plant

30.   Cal‑Am seeks to include $1,955,300 in rate base for the cost of the Pureflow coagulation/filtration system in the Toro arsenic treatment facility.  

31. A settlement agreement adopted by D.09-07-021 included $685,000 for the Siemens filtration bid.

32. Both the Pureflow System and the Siemens System bring the Toro water quality to acceptable levels. 

33. The Siemens System's total annual costs are $173,592.

34. The Pureflow System's total annual costs are $238,838.


SCADA 

35. Cal‑Am requests $1,953,000 for improvements to the Monterey County District SCADA system to standardize the software, update hardware and provide SCADA to sites that currently do not have it.  

36. Cal‑Am states that 57% of the budget is to provide SCADA coverage for sites that currently do not have coverage.


Special Request #32 - Monterey Billing System Modification Costs 

37. Cal‑Am seeks to include as plant in service $960,000 for Monterey Billing System Modifications. 

38. D.09-07-021 in Cal‑Am’s last general rate case for the Monterey County District included a settlement between Cal‑Am and DRA on administrative and general expenses, including the billing system modification costs.

39. Cal‑Am’s petition to modify D.09-07-021 to recover the additional billing system modification costs via advice letter was denied.  


Domestic Production Activities Deduction

40. Cal‑Am claims it is in a net operating loss position and therefore ineligible for the DPAD. 

41. Cal‑Am is seeking approximately $13 million in California Corporation Franchise Tax and Federal Income Tax.

42. Cal‑Am uses one tax position for ratemaking purposes and a different tax position for tax reporting purposes.  


Repairs Deduction FIN 48

43. Cal‑Am inadvertently excluded the FIN 48 in its application but will accept the full repairs deduction, which will increase deferred taxes. 


Bonus Depreciation

44. Cal‑Am has elected not to take the bonus depreciation for 2011.

45. The bonus deduction was taken in 2010 and is anticipated for 2012.  

46. To impute the bonus depreciation would be an interference with Cal‑Am’s normalization of its taxes and result in a substantially higher rate base.


Special Requests


Special Request #4 - Requesting Rate of Return on Deferred Balances on Memorandum and Balancing Accounts  

47. Cal‑Am seeks authority to earn its rate of return rather than the 90-day commercial paper rate on its deferred balances in excess of its $33 million short‑term debt limit.

48. Cal‑Am’s deferred balances currently represent 20% of its requested rate base of $421 million for 2012.

49. Granting a blanket approval to earn rate of return on all memorandum and balancing accounts denies the Commission the opportunity to evaluate the individual facts of each account.  


Special Request #14 Requesting Recovery of Balances on Memorandum and Balancing Accounts  

50. Cal‑Am includes billing adjustments in its Monterey County District WRAM balances claiming the losses are a result of the steeply tiered conservation rates.  

51. DWA rejected Cal‑Am’s advice letters 735 and 838 to recover the WRAM balances.  DWA rejection letters included instructions for Cal‑Am to follow prior resubmitting. 

52. The losses are due to Cal‑Am’s billing adjustment practices rather than the conservation rates. 


Special Request #24 Recover Toro Goodwill  

53. Cal‑Am and DRA entered into a settlement agreement for the purchase of the Toro system for the price of $408,000.  The purchase price exceeded the book value by $105,403.

54. Cal‑Am seeks $155,000 for goodwill in addition to the settlement agreement of $408,000, stating that nothing in the settlement agreement mentioned goodwill.


Special Request #34 Amortize Balancing Accounts in Rates on Annual Basis

55. Phase 2 of this proceeding includes a full review of the WRAM. 


General Office Adjustments


Labor and Labor-Related Expense

56. Cal‑Am’s budget-based labor and labor related expenses assume that positions never remain vacant and the vacancy rate is zero.  
57. DRA's position imputes a one-day headcount as the basis for Cal‑Am’s labor expense.


Pension Expense

58. Cal‑Am’s pension expense is based on ERISA forecasts for the Cal‑Am and Cal Corp employees.  

59. The Cal‑Am and Cal Corp allocated portion of American Water Service Company's pension expense is based on FAS 87. 

60. Cal‑Am’s request continues the pension expense calculation based on ERISA adopted in D.10-06-038.


Group Insurance 

61. Cal‑Am provides employee life insurance, medical, dental, prescription drug, vision, accidental death and dismemberment insurance, long-term disability insurance, and short-term managed disability insurance.
62. Cal‑Am requests group insurance expense of $4,010,255 to cover current and forecast program expense increases.

63. From 2007 to 2010, Cal‑Am’s insurance expenses exceeded the industry trend except for 2009 when non‑Union employee’s costs were below the industry average by 0.1%.

64. Cal‑Am employees contribute 23% toward health care coverage, less than the 2009 industry average of 32.2%. 


Special Request #11 - Business Transformation Memorandum Account  
65. Cal‑Am requests a memorandum account to track the difference between the business transformation project’s original costs and actual costs.

66.  Cal‑Am requests to earn its rate of return on the memorandum account tracking business transformation project costs.
67. Cal‑Am seeks to have the memorandum account track savings generated by the business transformation project.
68. Cal‑Am’s projected savings generated by the business transformation project were presented to the American Water Works board of directors.

69. Cal‑Am states the savings presented to the board of directors are preliminary estimates and of limited predictive value. 

70. DRA and TURN object to Cal‑Am’s request for memorandum account treatment since the costs are within Cal‑Am’s control.
71. DRA and TURN request that the estimated savings be recognized as a reduction to revenue requirement for each year of this rate case cycle.  

Conclusions of Law

The Settlements

1. Rule 12.1(d) provides that the Commission will not approve settlements, whether contested or uncontested, unless the settlement is reasonable in light of the whole record, consistent with law, and in the public interest. 
2. The settlements, with the exceptions noted below, are reasonable in light of the whole record.

3. The settlements, with the exceptions noted below, are consistent with law.  

4. The settlements, with the exceptions noted below, are in the public interest. 

5. The settlements, with the exceptions noted below, should be adopted. 

Settled Issues Not Adopted


Special Request #15 - Reporting Non-revenue Water as Volumes Rather than Percentages

6. Both volumetric and percentage measures provide meaningful information.  

7. The settlement's request to present non‑revenue water in a volumetric measure only, is not in the public interest and therefore is not reasonable.  

8. The settlement on reporting non‑revenue water as volumes only should not be adopted.

9. Non-revenue water should be reported as percentages as well as volumes.

Regulatory Expense
10. The settlement defers recovery of rate case expense to future rates, which constitutes retroactive ratemaking.

11. Allowing Cal‑Am to defer rate case expense is not consistent with Commission practice.

12. The settlement’s treatment of regulatory expense should not be adopted.
13. Cal‑Am should recover regulatory expense on a fully forecasted recovery basis. 

14. Cal‑Am’s regulatory expense of $6,736,185, amortized over the three year rate case cycle in this proceeding, should be adopted. 


Special Request #31 - Walerga Special Facilities Fees

15. The settlement on the Walerga Special Facilities Fee should not be adopted. 

Settlement on Non-Revenue Water Amounts for Ratemaking Purposes in the Monterey County District

16. The record does not support one non‑revenue water calculation for ratemaking purposes and another non‑revenue water calculation for the penalty/reward mechanism in the Monterey County District.  

17. The settlement on non‑revenue water amounts for ratemaking purposes in the Monterey County District is not in the public interest and therefore is not reasonable. 

18. The settlement on non‑revenue water amounts for ratemaking purposes in the Monterey County District should not be adopted. 

Adopted Non-Revenue Water for the Monterey County District

19. The settlement's proposal to calculate non‑revenue water targets for the penalty/reward mechanism using the 2009 actual non‑revenue water amounts is not in the public interest and therefore is not reasonable.

20. The settlement on non‑revenue water amounts for the penalty/reward mechanism should not be adopted.

21. Calculating the non‑revenue water targets for the penalty/reward mechanism using Cal‑Am’s estimated 2012 production is in the public interest and therefore reasonable.  
22. The non‑revenue water targets for the penalty/reward mechanism should be calculated using Cal‑Am’s estimated 2012 production. 

Settlement on the Monterey County District Penalty/Reward Mechanism 

23. Reducing the non‑revenue water penalty mechanism from $1,820.30 per acre-foot to $275 per acre-foot will not result in a greater reduction of non‑revenue water.

24. The proposed reduction of the non‑revenue water penalty from $1,820.30 to $275 is not reasonable in light of the whole record, consistent with the prior Commission decision or in the public interest.

25. The settlement reducing the non‑revenue water penalty from $1,820.30 to $275 should not be adopted.

26. The non‑revenue water target amount based on the percentage of Cal‑Am’s 2012 estimated production, with a 5% dead band added before the penalty is triggered, promotes the Commission's goal of reducing non‑revenue water and is therefore in the public interest. 

27. The non‑revenue water target amount based on the percentage of Cal‑Am’s 2012 estimated production, with a 5% dead band added before the penalty is triggered, is reasonable and should be adopted. 


Irrigation Rates, Billing Format, Advanced Metering Infrastructure and Volumetric Rate Structure for Wastewater

28. The settlement on these issues is not supported by the record and is silent on the cost and ratepayer impact.

29. The settlement's proposals on irrigation rates, billing format, advanced metering infrastructure and volumetric rate structure for wastewater should not be adopted.

Increase Low-Income Surcredit

30. The settlement lacks an analysis of the ratepayer impact of increasing the low-income surcredit from 15% to 20%.

31. The settlement’s proposal to increase the low-income surcredit from 15% to 20% should not be adopted. 

32. The issue of increasing the low-income surcredit should be moved to Phase 2 of the proceeding, where parties can provide additional analysis of the proposal in the context of rate design.     

Special Request #5 - Establish a WRAM/MCBA in the Sacramento District 

33. Implementing a WRAM/MCBA in the Sacramento District prior to the full review of the WRAM in Phase 2 of this proceeding would be premature.  

34. The settlement establishing a WRAM/MCBA in the Sacramento District should not be adopted.
35. Special Request #5 should be resolved in Phase 2 of this proceeding.

36. The schedule for supplemental testimony on Special Request #5 will be set by ALJ Ruling.
Disputed Issues


Special Request #19 - Toro Arsenic Treatment Plant

37. Cal‑Am’s installation of the Pureflow System is not reasonable.

38. The $1,955,300 cost of the Pureflow System should not be included in rate base. 

39. The $685,000 cost of the Siemens System is reasonable.  

40. The $685,000 cost of the Siemens System should be included in rate base.  
41. The $18,660 annual operation and maintenance cost of the Pureflow System is reasonable.

42. The $18,660 annual operation and maintenance cost of the Pureflow System should be included in revenue requirement.


SCADA
43. Cal‑Am’s request for $1,953,000 for improvements to the Monterey County District SCADA system is not reasonable. 

44. Cal‑Am’s request to provide SCADA coverage to areas not currently covered is reasonable.

45. The $793, 210 to provide SCADA to sites not currently covered should be included in revenue requirement.


Special Request #32 - Monterey Billing System Modification Costs

46. Cal‑Am’s request to reclassify the additional billing system modification costs and recover them in this proceeding is retroactive ratemaking and therefore is not reasonable. 
47. Cal‑Am’s request to include $960,000 for Monterey Billing System Modifications as plant in service should be denied. 


DPAD
48. Cal‑Am’s tax position for ratemaking purposes resulted in income tax, therefore it is reasonable to apply the DPAD for ratemaking purposes.

49. DRA's calculation of the DPAD is reasonable and should be applied to Cal‑Am’s taxable income.


Repairs Deduction FIN 48

50. Cal‑Am should take the repairs deduction FIN 48 and remove from rate base the increased accumulated deferred income tax for 2010, 2011 and 2012 associated with its FIN 48 recorded deferred income tax.


Bonus Depreciation
51. Cal‑Am’s election not to take the bonus depreciation is reasonable.  

52. Bonus depreciation should not be imputed on Cal‑Am.  

Special Requests

Special Request #4 - Requesting Rate of Return on Deferred Balances on Memorandum and Balancing Accounts

53. Cal‑Am’s request to earn rate of return on all deferred balances is not reasonable.  
54. Cal‑Am’s request to earn rate of return on all deferred balances should be denied.


Special Request #14 - Requesting Recovery of Balances on Memorandum and Balancing Accounts

55. Including billing adjustments in WRAM is not reasonable. 

56. Cal‑Am should remove all billing adjustments from its WRAM account in the Monterey County District and file a Tier 2 advice letter for recovery complying with DWA instructions or requests related to advice letters 735 and 838.

Special Request #24 - Toro Goodwill  
57. It is reasonable for DRA to infer that the purchase price in excess of the book value represented goodwill.  

58. Cal‑Am’s claim for an additional $155,000 for goodwill is not reasonable.  

59. Cal‑Am should not recover an additional $155,000 for Toro goodwill. 


Special Request #34 - Amortize Balancing Accounts in Rates on an Annual Basis

60. Cal‑Am’s request to amortize balancing accounts in rates on an annual basis should be denied. 

General Office Adjustments


Labor and Labor-Related Expense  

61. For determining labor and labor-related expenses, neither Cal‑Am’s budget-based labor expense nor DRA's one-day headcount is reasonable. 

62. Imputing some reduction to the budget-based labor expense for ongoing vacancies is reasonable.

63. Labor and labor-related expenses should be reduced by 22 positions, the decline calculated by Cal‑Am, to account for ongoing vacancies. 


Pension Expense 

64. Cal‑Am’s pension expense based on the February 2011 ERISA forecast for the Cal‑Am and Cal Corp employees is reasonable. 
65. Cal‑Am’s pension expense for American Water Service Company based on FAS 87 is reasonable.

66. Continuing Cal‑Am’s pension expense balancing account to track the difference between the authorized pension expense and the actual expense, with recovery capped at ERISA minimums, is reasonable.  
67. Cal‑Am’s pension expense balancing account to track the difference between the authorized pension expense and the actual expense, with recovery capped at ERISA minimums, should be continued.

Group Insurance

68.  Cal‑Am’s request for $4,010,255 in group insurance expense is not reasonable.
69. Cal‑Am’s request for $4,010,255 in group insurance expense should not be granted. 

70. Group insurance expense based on the labor escalation rate pursuant to D.04-06-08 is reasonable.

71. Cal‑Am should recover group insurance expense based on the labor escalation rate pursuant D.04-06-018.


Special Request #11 - Business Transformation Memorandum Account  

72. Cal‑Am’s request for a memorandum account to track the difference between the business transformation project’s original costs and actual costs is not reasonable.

73. Cal‑Am’s original estimate of the business transformation costs is reasonable.

74. Cal‑ original estimate of business transformation project costs should be moved into rate base via a Tier 2 advice letter filing once each phase is complete, used, and useful. 

75. Cal‑Am’s projected savings from the business transformation project are reasonable.

76. Cal‑Am’s projected savings for 2012 from each phase of the business transformation project should be included in its initial Tier 2 advice letter filings as offsets to the costs associated with the rate base additions.  The projected savings for 2013 and 2014 should be reflected as expense offsets in the 2013 and 2014 attrition advice letter filings.
77. The next general rate case should include a review of the business transformation project for savings that are projected by Cal‑Am to occur after this rate case cycle. 
ORDER

IT IS ORDERED that:

1. The joint motion of California‑American Water Company and the Natural Resources Defense Council to adopt the May 20, 2011 settlement is granted to the extent set forth in this order and denied to the extent set forth in this order.  

2. The joint motion of California‑American Water Company, the Division of Ratepayer Advocates and The Utility Reform Network to adopt the July 28, 2011 settlement on revenue requirement issues is granted to the extent set forth in this order and denied to the extent set forth in this order.

3. The joint motion of California‑American Water Company, the Division of Ratepayer Advocates and the Natural Resources Defense Council to adopt the July 28, 2011,  settlement on non‑revenue issues is granted to the extent set forth in this order and denied to the extent set forth in this order.

4. California‑American Water Company is authorized to file a Tier 1 advice letter to recover the difference between the 2011 interim and final rates from its customers in the San Diego County and Ventura County Districts.  This calculation will be based on the 2011 rate tariff schedules attached to this decision that would have been implemented under the present rate design.  California‑American Water Company will also recalculate the 2011 Water Revenue Adjustment Mechanism/Modified Cost Balancing Account balance for these districts to include the final revenue requirement adopted today and the recorded revenue California‑American Water Company would have received if final rates had been effective on January 1, 2011.  California‑American Water will update its 2011 Water Revenue Adjustment Mechanism/Modified Cost Balancing Account annual report to the Commission for changes resulting from today’s order and is authorized to file a Tier 1 advice letter for the revised 2011 Water Revenue Adjustment Mechanism/Modified Cost Balancing Account balance.  California‑American Water Company will also update its Pension and Other Post Employment Benefits balancing account to account for the variations in rate case authorizations for 2011.  The implementation of the name convention change should be made simultaneously with the filing of the Tier 1 advice letter. 
5. California‑American Water Company is authorized to file by Tier 1 advice letter the revised tariff schedules for 2012 attached to this decision for the Sacramento, Monterey County (except Toro service area) and Monterey County Wastewater Districts and to concurrently cancel its present schedules for such service.  This filing shall be subject to approval by the Commission’s Division of Water and Audits.  The effective date of the revised schedule shall be no earlier than five days after the effective date of this decision, and shall apply only to service rendered on or after the effective date for these districts.  For these districts, California‑American Water Company is authorized to file a Tier 1 advice letter to recover the difference between the 2012 interim and final rates from its customers for the period January 1, 2012 to the implementation date of the tariffs included in this order.  Calculation of final rates shall be based on the revenue requirement as authorized herein and the rate designs currently in effect.  For the Monterey County District, California‑American Water Company will incorporate the final revenue requirement adopted today and the recorded revenue California‑American Water Company would have received if final rates had been effective on January 1, 2012 in its 2012 Water Revenue Adjustment Mechanism/Modified Cost Balancing Account. Unlike the revenue requirements granted today, the final rate design that is approved for Monterey will not be retroactive back to January 1, 2012.  California‑American Water Company will also update its Pension and Other Post Employment Benefits balancing accounts to account for the variances in rate case authorizations for 2012.  
6. The 2012 revenue requirement for the San Diego County, Ventura County, Los Angeles County, Larkfield Districts and Toro service area shall be effective back to January 1, 2012 in accordance with the interim rates process.  However, California‑American Water Company shall continue to bill customers at interim rates until the final rate designs for each district are adopted and attached to a final decision in Phase 2 of the proceeding.  At that time, California‑American Water Company shall file by Tier 1 advice letter the revised tariff schedules for 2012 based on the final rate designs, and concurrently cancel it present schedules for such service.  These filings shall be subject to approval by the Commission’s Division of Water and Audits.  California‑American Water Company is then authorized to file a Tier 1 advice letter to recover the difference between the 2012 interim and final rates from its customers in these districts for the period January 1, 2012 to the implementation date of final rates.  Unlike the revenue requirements granted today, the rate designs approved for these districts are not retroactive back to January 1, 2012.  Therefore, for the purpose of the interim rate true-up calculation, California‑American Water Company shall calculate final rates by running the adopted revenue requirements through the current rate designs in each district, a copy of which is attached to the decision for calculation of the interim rate true-ups.  Finally, California‑American Water Company will incorporate the final revenue requirement and the recorded revenue caw would have received if final rates had been effective on January 1, 2012 in its 2012 Water Revenue Adjustment Mechanism/Modified Cost Balancing Account.  California‑American Water Company will also update it pension and Other Post Employment Benefits balancing accounts to account for the variances in rate case authorizations for 2012.  
7. For escalation years 2013 and 2014, California‑American Water Company shall file Tier 2 advice letters in conformance with General Order 96-B proposing new revenue requirements and corresponding revised tariff schedules for each district.  The filing shall include rate procedures set forth in the Commission’s Rate Case Plan (Decision 07-05-062) for Class A Water Utilities and shall include appropriate supporting workpapers.  The revised tariff schedules shall take effect no earlier than January 1, 2013 and January 1, 2014, respectively and shall apply to service rendered on and after their effective dates.  The proposed revisions to revenue requirements and rates shall be reviewed by the Commission’s Division of Water and Audits.  The Division of Water and Audits shall inform the Commission if it finds that the revised rates do not conform to the Rate Case Plan, this order, or other Commission decisions, and if so, reject the filing.  Should a delay in Phase 2 of this proceeding prevent the implementation of the final rate designs, California‑American Water Company is authorized to file its 2013 escalation filing based on the current rate designs and implement its step filings upon Commission approval. 
8. California‑American Water Company shall submit the results of its annual depreciation updates to the Division of Water and Audits by July 1st each year.
9. California‑American Water Company is authorized to file a Tier 2 advice letter to establish a Low Income Ratepayer Assistance Program memorandum account for the Monterey County District. 

10. California‑American Water Company is authorized to file a Tier 1 advice letter with consolidated low-income tariffs which will become effective 5 days after the advice letter is filed. 

11. California‑American Water Company is authorized to file a Tier 1 advice letter to establish a memorandum account to track the costs of engineering and financial evaluations and studies of measures to reduce non-revenue water in each district.
12. California‑American Water Company shall report non‑revenue water as percentages as well as volumes.
13. California‑American Water Company’s revenue requirement will include $6, 736,185 in regulatory expense.  
14. California‑American Water Company is authorized to file a Tier 1 advice letter to establish a memorandum account to track engineering costs and financial evaluation and studies of measures to reduce non‑revenue water in each district.  Recovery of expenses tracked in the memorandum account shall be sought in California‑American Water Company's next general rate case.  
15.  California‑American Water Company’s estimated 2012 production shall be used as the basis for calculating the Monterey County District non‑revenue water targets for the penalty/reward program. 

16.  The Monterey County District’s non‑revenue water target amounts will be increased by a 5% dead band.  California‑American Water will only be subject to the penalty if the non‑revenue water amount exceeds the 5% dead band. 
17. Increasing the low-income surcredit from 15% to 20% will be reviewed in Phase 2 of this proceeding.  An Administrative Law Judge’s ruling will establish the schedule for filing supplemental testimony. 

18. Special Request #5 - Establishing a Water Revenue Adjustment Mechanism in the Sacramento District will be resolved in the Phase 2 of this proceeding.  An Administrative Law Judge’s ruling will establish the schedule for filing supplemental testimony. 
19.   The $685,000 annual cost of the Siemens System is included in California‑American Water Company’s rate base and the $18,660 annual operation and maintenance cost of the Pureflow System is included in California‑American Water Company’s revenue requirement.

20. California‑American Water Company’s revenue requirement will include $793,210 to provide Supervisory Control and Data Acquisition to sites not currently covered.

21. California‑American Water Company’s taxable income shall be reduced by the Domestic Production Activities Deduction calculated using the Division of Ratepayer Advocates’ methodology.

22. California‑American Water Company will take the repairs deduction Federal Accounting Standards Board Interpretation Number (FIN) 48 and remove from rate base the increased accumulated deferred income tax for 2010, 2011 and 2012 associated with its FIN 48 recorded deferred income tax.

23. California‑American Water Company may file a Tier 2 advice letter seeking amortization of its Water Revenue Adjustment Mechanism balance in the Monterey County District once it has removed billing adjustments from the Water Revenue Adjustment Mechanism account and complies with the Division of Water and Audits instructions contained in the letters rejecting advice letters 735 and 838.  
24. California‑American Water Company's labor and labor-related expenses are reduced by 22 positions to account for ongoing vacancies.  

25. California‑American Water Company shall continue its pension expense balancing account to track and recover the difference between the level of pension expenses authorized in rates and the actual costs.  California‑American Water Company's recovery for ratemaking purposes shall be capped at the minimum level of expenses calculated according to the minimum funding levels in the Employee Retirement Income Security Act, updated by the Pension Protection Act.  

26. California‑American Water Company’s group insurance expense shall be increased according to the labor escalation rates pursuant to Decision 04-06-018.

27. California‑American Water Company is authorized to file a Tier 2 advice letter to move project costs into rate base when each phase of the business transformation project is complete, used and useful.  Total recovery for the business transformation project will be capped at $14 million, reduced by 5.3% in recognition of the benefits of the business transformation project that inure to the parent company’s unregulated affiliates.

28. California‑American Water Company’s initial Tier 2 advice letter to move costs associated with the first live phase of Enterprise Resource Planning will include the savings of $111,066 as an expense offset to the rate base.

29. California‑American Water Company’s projected savings for 2013 of $998,037 and 2014 of $1,777,056, attributable to Enterprise Resource Planning, will be included in the advice letter filing for the attrition years as expense offsets.

30. California‑American Water Company’s Tier 2 advice letter to move costs associated with the first phase of Customer Information Systems will include the savings of $873,996, as an expense offset.
31. Applications 10-07-007 and 11-09-016 remain open for Phase 2.

This order is effective today.

Dated June 7, 2012, at San Francisco, California.

MICHAEL R. PEEVEY


President

TIMOTHY ALAN SIMON

MICHEL PETER FLORIO

CATHERINE J.K. SANDOVAL

MARK J. FERRON


Commissioners

ATTACHMENT A

LIST OF APPEARANCES
Applicants:

Sarah E. Leeper, Vice President, Legal, Regulatory
((415) 863-2057 sarah.leeper@amwater.com) 
For:  California‑American Water Company
333 Hayes Street, Suite 202
San Francisco CA  94102
Lori Anne Dolqueist, ((415) 291-7452, ldolqueist@manatt.com)
Manatt Phelps & Phillips LLP
One Embarcadero Center, 30th Floor
San Francisco CA  94111-3719 
Interested Parties:  
Nina Suetake ((415) 929-8876  X 308, nsuetake@turn.org), Christine A. Mailloux, ((858) 558-7930, cmailloux@turn.org.), and Regina Costa ((415) 929-8876 X312, rcosta@turn.org) 
For:  The Utility Reform Network
115 Sansome Street, Suite 900
San Francisco CA  94104)
James Bouler, ((707) 546-3097, jbouler@comcast.net  )
For: Mark West Area Community Services Committee,
133 Eton Court
Santa Rosa CA  95403
Doug Obegi, Staff Attorney, Water Program, ((415) 875-6100, dobegi@nrdc.org) and 
Edward R. Osann, ((310) 434-2300, eosann@nrdc.org)
For:  Natural Resources Defense Council
111 Sutter Street, 20th Fl.
San Francisco CA  94104
Fran Farina and David Loredo, Attorneys at Law, 
((805) 681-8822, ffarina@cox.net  and 
(831) 646-1502 , dave@laredolaw.net) 
De Lay & Laredo, 606 Forest Avenue, Pacific Grove CA  93950-4221
For:  Monterey Peninsula Water Management District.
Division of Ratepayer Advocates: 
Joyce Steingass, Representative, 
Consumer Protection & Safety Division RM. 2106 
(415) 355-5532, jws@cpuc.ca.gov
Martha Perez, Attorney at Law, Legal Division RM. 4107,
 (415) 703-1219 mpg@cpuc.ca.go )
Linda Barrera, Attorney at Law, Legal Division RM. 4107
(415) 703-1477, lb3@cpuc.ca.gov 
Daryl Gruen, Attorney at Law, Legal Division RM. 4107
(415) 703-1973, djg@cpuc.ca.gov 
For:  Division of Ratepayer Advocates
California Public Utilities Commission
505 Van Ness Avenue
San Francisco CA  94102 3298
(END OF ATTACHMENT A)

ATTACHMENT B

THE SETTLEMENTS

Cal‑Am and NRDC Settlement

On May 20, 2011, Cal‑Am and NRDC filed a settlement on nine items resolved by the parties. 
  The items are:

· Special Request #1 requesting monthly meter reading;

· Establishing Irrigation rates for all districts except Toro, and the Sacramento and Monterey Districts;

· Billing format modifications;

· Advanced Metering Infrastructure;

· Low-Income tariff consolidation;

· Increase low-income customer surcredit; 

· Special Request #5 - Establish a WRAM/MCBA in the  Sacramento District; and
· Establish a volumetric rate structure for waste water customers; and

· Water loss reporting.

DRA Comments on the Cal‑Am/NRDC Settlement

On June 20, 2011, DRA responded to the Cal‑Am/NRDC settlement opposing the settlement in its entirety because of the lack of facts, data or analysis in the record and the lack of cost or customer impact analysis supporting  each of the proposals.  

Mark West Comments on the Cal‑Am/NRDC Settlement
On June 20, 2011, Mark West filed comments on the settlement between Cal‑Am and NRDC objecting to the settlement on Special Request #5. 

Cal‑Am, DRA and TURN Settlement on Revenue Requirement 
Issues

On July 28, 2011, DRA, Cal‑Am and TURN filed a motion for adoption of a partial settlement agreement on revenue requirement issues. 
  The settlement on revenue requirement issues encompasses most of the issues in the proceeding, resulting in a 363 page document and 4 appendices. 

The issues settled between Cal‑Am, DRA and TURN include:

· Water consumption and revenue;

· Customer Service;

· Operations and Maintenance;

· Administrative and General Expenses;

· Adjustments to General Office expenses;

· Conservation Program Budgets;

· Depreciation Reserves;

· Taxes;

· Utility Plant in Service; and
·  Special Requests.
Mark West Comments on Cal‑Am, DRA and TURN Settlement on Revenue Requirement Issues

 Cal‑Am Mark West’s comments on the settlement focus on three issues related to the Larkfield District; the continuation of the Water Revenue Adjustment Mechanism and the associated Modified Cost Balancing Account, the necessity of the Faught Road Well and the special facilities fee or connection fee proposal.
Cal‑Am, DRA and NRDC Settlement on Non-Revenue Issues

 On July 28, 2011, DRA, Cal‑Am and NRDC filed a partial settlement agreement on non‑revenue issues. 
  The issues settled between Cal‑Am, DRA and NRDC include:

· Establishing non‑revenue water target amounts;
· Special Request #15 – converting non‑revenue water from percentages to volumetric measures;

· Establishing annual report of non‑revenue water program accomplishments;

· Revising the non‑revenue water penalty/reward mechanism amount; and

· Supporting Cal-Am/NRDC settlement on developing Water Action Plans.

(END OF ATTACHMENT B)

ATTACHMENT C
SUMMARY OF EARNINGS
[image: image1.emf]STAFF UTILITY UTILITY

EXCEEDS UPDATED 

ORIGINAL REVISED BRANCH REVISED FILING ADOPTED

DIFFERENCE

Operating Revenues

   Water 172,680.1 159,711.7 0.0 159,711.7 168,372.4 156,260.5

Operating Expenses

   Payroll 14,269.9 14,534.6 0.0 14,534.6 14,904.6 14,534.6

   Purchased Water 40,344.5 34,289.0 0.0 34,289.0 40,728.4 34,289.0

   Purchased Power 7,684.8 6,637.1 0.0 6,637.1 7,533.9 6,637.1

   Chemicals 1,815.1 1,934.3 0.0 1,934.3 2,088.3 1,934.3

   Uncollectibles 819.6 898.4 0.0 898.4 1,104.6 879.0

   Other Operating Exp 4,073.0 4,135.7 (66.0) 4,069.7 4,134.1 4,208.6

   T & D - Reservoirs & Tanks 1,152.7 1,170.7 0.0 1,170.8 1,180.4 1,170.8

   Other Maintenance Exp    3,049.1 3,286.9 (0.0) 3,286.9 3,308.9 3,286.9

   Insurance  33.9 33.9 0.0 33.9 33.9 33.9

   Pension & Benefits 919.6 944.4 0.0 944.4 920.7 944.4

   Regulatory Expense 0.0 1.5 0.0 1.5 6.6 1.5

   Outside Services 1,588.8 1,605.0 0.0 1,605.0 1,647.7 1,605.0

   Rents  956.3 955.7 0.0 955.7 956.4 955.7

   Misc General Expense 5,098.0 5,098.3 0.0 5,098.3 6,372.2 5,098.3

   Other Admin & General  265.0 277.5 0.0 277.5 285.5 277.5

      Subtotal  82,070.2 75,803.0 (66.0) 75,737.0 85,206.1 75,856.4

   Allocated General Office 27,889.6 29,465.1 6,033.0 35,498.1 39,836.1 33,881.8

   Acquisition Premium 4,081.0 4,081.0 (0.0) 4,081.0 4,080.9 4,081.0

     Total Operating Expense 114,040.7 109,349.1 5,966.9 115,316.0 129,123.2 113,819.3

   Depreciation  18,978.2 19,107.7 148.2 19,255.9 20,080.2 19,153.9

   Ad Valorem Taxes 4,735.5 4,850.8 18.0 4,868.8 4,951.6 4,866.6

   Franchise Taxes 124.4 112.0 0.0 112.0 126.7 112.0

   Payroll Taxes 995.9 1,002.8 2.0 1,004.8 1,010.0 1,004.8

     Total Exp. Before Inc. Taxes 138,874.8 134,422.3 6,135.1 140,557.4 155,291.6 138,956.6

Net Revenue Before Inc. Taxes 33,805.3 25,289.4 (6,135.1) 19,154.3 13,080.9 17,303.9

State Income Taxes 1,789.2 1,020.9 (586.6) 434.3 (212.3) 279.1

Federal Income Taxes 6,553.5 3,455.1 (1,988.1) 1,467.0 (1,087.2) 828.9

      Total Expenses 147,217.5 138,898.4 3,560.4 142,458.8 153,992.1 140,064.7

Net Operating Revenue 25,462.5 20,813.3 (3,560.4) 17,252.9 14,380.3 16,195.8

Rate Base 358,516.0 363,225.5 13,679.5 376,905.0 409,917.3 374,404.1

Rate of Return 7.10% 5.73% 4.58% 3.51% 4.33%

"2012 @ ESTIMATED PRESENT RATES"



TABLE A1



2012 GENERAL RATE CASE



CALIFORNIA AMERICAN WATER

CALIFORNIA TOTAL



COMPARATIVE SUMMARY OF EARNINGS FOR TEST YEAR AT PRESENT RATES

[image: image2.emf]STAFF UTILITY UTILITY

EXCEEDS UPDATED 

ORIGINAL REVISED BRANCH REVISED FILING ADOPTED

DIFFERENCE

Operating Revenues

   Water 177,505.4 174,482.2 8,319.8 182,802.0 201,385.5 180,587.0

Operating Expenses

   Payroll 14,269.9 14,534.6 0.0 14,534.6 14,904.6 14,534.6

   Purchased Water 40,344.5 34,289.0 0.0 34,289.0 40,728.4 34,289.0

   Purchased Power 7,684.8 6,637.1 0.0 6,637.1 7,533.9 6,637.1

   Chemicals 1,815.1 1,934.3 0.0 1,934.3 2,088.3 1,934.3

   Uncollectibles 842.6 977.6 45.9 1,023.6 1,318.4 1,011.7

   Other Operating Exp 4,073.0 4,135.7 (66.0) 4,069.7 4,134.1 4,208.6

   T & D - Reservoirs & Tanks 1,152.7 1,170.7 0.0 1,170.8 1,180.4 1,170.8

   Other Maintenance Exp    3,049.1 3,286.9 (0.0) 3,286.9 3,308.9 3,286.9

   Insurance  33.9 33.9 0.0 33.9 33.9 33.9

   Pension & Benefits 919.6 944.4 0.0 944.4 920.7 944.4

   Regulatory Expense 0.0 1.5 0.0 1.5 6.6 1.5

   Outside Services 1,588.8 1,605.0 0.0 1,605.0 1,647.7 1,605.0

   Rents  956.3 955.7 0.0 955.7 956.4 955.7

   Misc General Expense 5,098.0 5,098.3 0.0 5,098.3 6,372.2 5,098.3

   Other Admin & General  265.0 277.5 0.0 277.5 285.5 277.5

      Subtotal  82,093.1 75,882.2 (20.1) 75,862.2 85,419.9 75,989.2

   Allocated General Office 27,889.6 29,465.1 6,033.0 35,498.1 39,836.1 33,881.8

   Acquisition Premium 4,081.0 4,081.0 (0.0) 4,081.0 4,080.9 4,081.0

     Total Operating Expense 114,063.7 109,428.4 6,012.9 115,441.2 129,336.9 113,952.0

   Depreciation  18,978.2 19,107.7 148.2 19,255.9 20,080.2 19,153.9

   Ad Valorem Taxes 4,735.5 4,850.8 18.0 4,868.8 4,951.6 4,866.6

   Franchise Taxes 130.5 131.0 (17.8) 113.2 126.5 113.2

   Payroll Taxes 995.9 1,004.8 0.0 1,004.8 1,010.0 1,004.8

     Total Exp. Before Inc. Taxes 138,903.9 134,522.6 6,161.3 140,683.9 155,505.1 139,090.5

Net Revenue Before Inc. Taxes 38,601.5 39,959.6 2,158.5 42,118.1 45,880.4 41,496.4

State Income Taxes 2,203.0 2,317.6 146.6 2,464.2 2,687.2 2,417.7

Federal Income Taxes 7,889.0 8,438.0 912.4 9,350.4 10,239.3 8,974.9

      Total Expenses 148,996.0 145,278.3 7,220.3 152,498.6 168,431.7 150,483.2

Net Operating Revenue 28,509.4 29,203.9 1,099.5 30,303.4 32,953.8 30,103.7

Rate Base 358,516.0 363,225.5 13,679.5 376,905.0 409,917.3 374,404.1

Rate of Return 7.95% 8.04% 8.04% 8.04% 8.04%

TABLE A2



2012 GENERAL RATE CASE



CALIFORNIA AMERICAN WATER

CALIFORNIA TOTAL

"2012 @ PROPOSED RATES"



COMPARATIVE SUMMARY OF EARNINGS FOR TEST YEAR AT PROPOSED RATES

[image: image3.emf]STAFF UTILITY UTILITY

EXCEEDS UPDATED 

ORIGINAL REVISED BRANCH REVISED FILING ADOPTED

DIFFERENCE

Operating Revenues

   Water 18,440.7 16,658.5 0.0 16,658.5 17,452.7 16,656.6

Operating Expenses

   Payroll 1,076.7 1,143.2 0.0 1,143.2 1,156.7 1,143.2

   Purchased Water 11,742.7 10,452.5 0.0 10,452.5 11,258.7 10,452.5

   Purchased Power 0.0 0.0 0.0 0.0 0.0 0.0

   Chemicals 0.0 0.0 0.0 0.0 0.0 0.0

   Uncollectibles 87.7 93.7 0.0 93.7 114.6 93.7

   Other Operating Exp 73.0 72.9 0.0 72.9 73.1 72.9

   T & D - Reservoirs & Tanks 27.4 27.4 0.0 27.4 27.4 27.4

   Other Maintenance Exp    57.0 56.7 0.0 56.7 57.0 56.7

   Insurance  0.4 0.4 0.0 0.4 0.4 0.4

   Pension & Benefits 63.1 64.9 0.0 64.9 65.1 64.9

   Regulatory Expense 0.0 0.0 0.0 0.0 0.0 0.0

   Outside Services 38.5 38.3 0.0 38.3 38.5 38.3

   Rents  46.6 46.5 0.0 46.5 46.6 46.5

   Misc General Expense 334.6 334.4 0.0 334.4 335.5 334.4

   Other Admin & General  9.7 10.5 0.0 10.5 11.1 10.5

      Subtotal  13,557.4 12,341.5 0.0 12,341.5 13,184.7 12,341.5

   Allocated General Office 2,496.7 2,512.4 308.8 2,821.3 2,928.6 2,797.9

   Acquisition Premium 474.1 474.1 0.0 474.1 474.1 474.1

     Total Operating Expense 16,528.3 15,328.0 308.8 15,636.9 16,587.4 15,613.5

   Depreciation  859.4 859.5 0.0 859.5 872.0 859.5

   Ad Valorem Taxes 145.8 145.8 0.0 145.8 145.6 145.8

   Franchise Taxes 0.0 0.0 0.0 0.0 0.0 0.0

   Payroll Taxes 56.9 84.2 0.0 84.2 84.7 84.2

     Total Exp. Before Inc. Taxes 17,590.4 16,417.5 308.8 16,726.3 17,689.6 16,703.0

Net Revenue Before Inc. Taxes 850.3 241.1 (308.8) (67.8) (236.8) (46.4)

State Income Taxes 33.6 (22.7) (28.3) (51.0) (68.7) (48.6)

Federal Income Taxes 133.4 (89.7) (70.5) (160.2) (230.4) (150.9)

      Total Expenses 17,757.4 16,305.1 210.0 16,515.1 17,390.5 16,503.5

Net Operating Revenue 683.3 353.5 (210.0) 143.4 62.3 153.1

Rate Base 12,263.0 13,013.4 295.0 13,308.4 14,144.2 13,168.6

Rate of Return 5.57% 2.72% 1.08% 0.44% 1.16%

TABLE A3



COMPARATIVE SUMMARY OF EARNINGS FOR TEST YEAR AT PRESENT RATES



2011 @ PRESENT RATES

2012 GENERAL RATE CASE

CALIFORNIA AMERICAN WATER

SAN DIEGO DISTRICT

[image: image4.emf]STAFF UTILITY UTILITY

EXCEEDS UPDATED 

ORIGINAL REVISED BRANCH REVISED FILING ADOPTED

DIFFERENCE

Operating Revenues

   Water 19,370.4 17,848.5 469.2 18,317.7 19,379.4 18,278.2

Operating Expenses

   Payroll 1,076.7 1,143.2 0.0 1,143.2 1,156.7 1,143.2

   Purchased Water 11,742.7 10,452.5 0.0 10,452.5 11,258.7 10,452.5

   Purchased Power 0.0 0.0 0.0 0.0 0.0 0.0

   Chemicals 0.0 0.0 0.0 0.0 0.0 0.0

   Uncollectibles 93.8 102.0 1.0 103.0 127.3 102.8

   Other Operating Exp 73.0 72.9 0.0 72.9 73.1 72.9

   T & D - Reservoirs & Tanks 27.4 27.4 0.0 27.4 27.4 27.4

   Other Maintenance Exp    57.0 56.7 0.0 56.7 57.0 56.7

   Insurance  0.4 0.4 0.0 0.4 0.4 0.4

   Pension & Benefits 63.1 64.9 0.0 64.9 65.1 64.9

   Regulatory Expense 0.0 0.0 0.0 0.0 0.0 0.0

   Outside Services 38.5 38.3 0.0 38.3 38.5 38.3

   Rents  46.6 46.5 0.0 46.5 46.6 46.5

   Misc General Expense 334.6 334.4 0.0 334.4 335.5 334.4

   Other Admin & General  9.7 10.5 0.0 10.5 11.1 10.5

      Subtotal  13,563.5 12,349.8 1.0 12,350.8 13,197.3 12,350.6

   Allocated General Office 2,496.7 2,512.4 308.8 2,821.3 2,928.6 2,797.9

   Acquisition Premium 474.1 474.1 0.0 474.1 474.1 474.1

     Total Operating Expense 16,534.3 15,336.3 309.9 15,646.2 16,600.0 15,622.6

   Depreciation  859.4 859.5 0.0 859.5 872.0 859.5

   Ad Valorem Taxes 145.8 145.8 0.0 145.8 145.6 145.8

   Franchise Taxes 0.0 0.0 0.0 0.0 0.0 0.0

   Payroll Taxes 56.9 84.2 0.0 84.2 84.7 84.2

     Total Exp. Before Inc. Taxes 17,596.4 16,425.8 309.9 16,735.6 17,702.2 16,712.1

Net Revenue Before Inc. Taxes 1,774.0 1,422.7 159.3 1,582.1 1,677.2 1,566.1

State Income Taxes 115.2 81.6 13.3 94.9 100.5 93.9

Federal Income Taxes 427.6 294.8 122.4 417.2 439.5 413.5

      Total Expenses 18,139.2 16,802.2 445.6 17,247.7 18,242.2 17,219.5

Net Operating Revenue 1,231.2 1,046.3 23.6 1,070.0 1,137.2 1,058.7

Rate Base 12,263.0 13,013.4 295.0 13,308.4 14,144.2 13,168.6

Rate of Return 10.04% 8.04% 8.04% 8.04% 8.04%

TABLE A4



COMPARATIVE SUMMARY OF EARNINGS FOR TEST YEAR AT PROPOSED RATES



2011 @ PROPOSED RATES

2012 GENERAL RATE CASE

CALIFORNIA AMERICAN WATER

SAN DIEGO DISTRICT

[image: image5.emf]STAFF UTILITY UTILITY

EXCEEDS UPDATED 

ORIGINAL REVISED BRANCH REVISED FILING ADOPTED

DIFFERENCE

Operating Revenues

   Water 20,180.6 19,386.4 0.0 19,386.4 19,389.5 18,286.6

Operating Expenses

   Payroll 1,089.2 1,255.2 0.0 1,255.2 1,286.4 1,255.2

   Purchased Water 11,584.0 10,454.6 0.0 10,454.6 11,260.8 10,454.6

   Purchased Power 0.0 0.0 0.0 0.0 0.0 0.0

   Chemicals 0.0 0.0 0.0 0.0 0.0 0.0

   Uncollectibles 96.0 109.0 0.0 109.0 127.3 102.9

   Other Operating Exp 238.4 239.1 0.0 239.1 239.5 245.7

   T & D - Reservoirs & Tanks 10.5 10.5 0.0 10.5 10.5 10.5

   Other Maintenance Exp    58.7 58.4 0.0 58.4 58.8 58.4

   Insurance  0.5 0.5 0.0 0.5 0.5 0.5

   Pension & Benefits 65.0 75.4 0.0 75.4 75.6 75.4

   Regulatory Expense 0.0 0.0 0.0 0.0 0.0 0.0

   Outside Services 39.7 39.5 0.0 39.5 39.7 39.5

   Rents  48.0 47.9 0.0 47.9 48.0 47.9

   Misc General Expense 356.3 342.4 0.0 342.4 357.2 342.4

   Other Admin & General  10.0 10.8 0.0 10.8 11.4 10.8

      Subtotal  13,596.3 12,643.3 0.0 12,643.3 13,515.8 12,643.8

   Allocated General Office 3,127.4 3,215.2 796.5 4,011.7 4,517.6 3,825.3

   Acquisition Premium 458.9 458.9 0.0 458.9 458.9 458.9

     Total Operating Expense 17,182.5 16,317.4 796.5 17,114.0 18,492.4 16,928.0

   Depreciation  720.4 710.5 0.0 710.5 980.0 710.5

   Ad Valorem Taxes 149.2 150.1 0.0 150.1 149.1 150.1

   Franchise Taxes 0.0 0.0 0.0 0.0 0.0 0.0

   Payroll Taxes 81.2 92.9 0.0 92.9 93.4 92.9

     Total Exp. Before Inc. Taxes 18,133.3 17,270.9 796.5 18,067.5 19,714.9 17,881.6

Net Revenue Before Inc. Taxes 2,047.3 2,115.5 (796.5) 1,319.0 (325.5) 405.0

State Income Taxes 133.3 139.0 (72.2) 66.8 (81.1) (13.2)

Federal Income Taxes 549.8 572.2 (342.4) 229.8 (355.8) (87.1)

      Total Expenses 18,816.4 17,982.1 381.9 18,364.1 19,278.0 17,781.3

Net Operating Revenue 1,364.2 1,404.3 (381.9) 1,022.4 111.4 505.3

Rate Base 14,102.8 14,215.6 525.1 14,740.6 15,512.5 14,518.8

Rate of Return 9.67% 9.88% 6.94% 0.72% 3.48%

TABLE A5



CALIFORNIA AMERICAN WATER



SAN DIEGO DISTRICT

2012 GENERAL RATE CASE

COMPARATIVE SUMMARY OF EARNINGS FOR TEST YEAR AT PRESENT RATES



2012 @ PRESENT RATES

[image: image6.emf]STAFF UTILITY UTILITY

EXCEEDS UPDATED 

ORIGINAL REVISED BRANCH REVISED FILING ADOPTED

DIFFERENCE

Operating Revenues

   Water 19,950.4 18,931.0 747.0 19,678.0 21,425.2 19,472.1

Operating Expenses

   Payroll 1,089.2 1,255.2 0.0 1,255.2 1,286.4 1,255.2

   Purchased Water 11,584.0 10,454.6 0.0 10,454.6 11,260.8 10,454.6

   Purchased Power 0.0 0.0 0.0 0.0 0.0 0.0

   Chemicals 0.0 0.0 0.0 0.0 0.0 0.0

   Uncollectibles 94.9 106.5 4.2 110.7 140.7 109.5

   Other Operating Exp 238.4 239.1 0.0 239.1 239.5 245.7

   T & D - Reservoirs & Tanks 10.5 10.5 0.0 10.5 10.5 10.5

   Other Maintenance Exp    58.7 58.4 0.0 58.4 58.8 58.4

   Insurance  0.5 0.5 0.0 0.5 0.5 0.5

   Pension & Benefits 65.0 75.4 0.0 75.4 75.6 75.4

   Regulatory Expense 0.0 0.0 0.0 0.0 0.0 0.0

   Outside Services 39.7 39.5 0.0 39.5 39.7 39.5

   Rents  48.0 47.9 0.0 47.9 48.0 47.9

   Misc General Expense 356.3 342.4 0.0 342.4 357.2 342.4

   Other Admin & General  10.0 10.8 0.0 10.8 11.4 10.8

      Subtotal  13,595.2 12,640.8 4.2 12,645.0 13,529.2 12,650.5

   Allocated General Office 3,127.4 3,215.2 796.5 4,011.7 4,517.6 3,825.3

   Acquisition Premium 458.9 458.9 0.0 458.9 458.9 458.9

     Total Operating Expense 17,181.5 16,314.9 800.8 17,115.6 18,505.7 16,934.7

   Depreciation  720.4 710.5 0.0 710.5 980.0 710.5

   Ad Valorem Taxes 149.2 150.1 0.0 150.1 149.1 150.1

   Franchise Taxes 0.0 0.0 0.0 0.0 0.0 0.0

   Payroll Taxes 81.2 92.9 0.0 92.9 93.4 92.9

     Total Exp. Before Inc. Taxes 18,132.2 17,268.4 800.8 18,069.1 19,728.3 17,888.2

Net Revenue Before Inc. Taxes 1,818.2 1,662.6 (53.8) 1,608.9 1,696.9 1,583.8

State Income Taxes 113.1 98.9 (6.4) 92.5 97.7 91.0

Federal Income Taxes 476.7 420.8 (89.5) 331.3 352.0 325.5

      Total Expenses 18,722.0 17,788.1 704.9 18,492.9 20,178.0 18,304.7

Net Operating Revenue 1,228.4 1,142.9 42.1 1,185.1 1,247.2 1,167.3

Rate Base 14,102.8 14,215.6 525.1 14,740.6 15,512.5 14,518.8

Rate of Return 8.71% 8.04% 8.04% 8.04% 8.04%

TABLE A6



CALIFORNIA AMERICAN WATER



SAN DIEGO DISTRICT

2012 GENERAL RATE CASE

COMPARATIVE SUMMARY OF EARNINGS FOR TEST YEAR AT PROPOSED RATES



2012 @ PROPOSED RATES

[image: image7.emf]STAFF UTILITY UTILITY

EXCEEDS UPDATED 

ORIGINAL REVISED BRANCH REVISED FILING ADOPTED

DIFFERENCE

Operating Revenues

   Water 25,114.9 22,772.4 0.0 22,772.4 24,511.9 22,761.7

Operating Expenses

   Payroll 1,932.2 1,846.8 0.0 1,846.8 1,891.4 1,846.8

   Purchased Water 6,631.9 5,313.3 0.0 5,313.3 6,602.6 5,313.3

   Purchased Power 1,887.2 1,670.0 0.0 1,670.0 1,862.6 1,670.0

   Chemicals 93.7 89.4 0.0 89.4 83.9 89.4

   Uncollectibles 119.5 128.1 0.0 128.1 158.3 128.0

   Other Operating Exp 475.7 475.8 0.0 475.8 476.8 484.8

   T & D - Reservoirs & Tanks 201.2 201.2 0.0 201.2 201.2 201.2

   Other Maintenance Exp    571.9 569.5 0.0 569.5 571.8 569.5

   Insurance  0.7 0.7 0.0 0.7 0.7 0.7

   Pension & Benefits 118.1 119.4 0.0 119.4 119.6 119.4

   Regulatory Expense 0.0 0.0 0.0 0.0 0.0 0.0

   Outside Services 101.8 101.3 0.0 101.3 101.8 101.3

   Rents  45.8 45.7 0.0 45.7 45.8 45.7

   Misc General Expense 652.2 638.8 0.0 638.8 661.6 638.8

   Other Admin & General  10.8 10.8 0.0 10.8 10.9 10.8

      Subtotal  12,842.7 11,210.8 0.0 11,210.8 12,788.8 11,219.7

   Allocated General Office 4,303.6 4,423.8 1,044.9 5,468.7 6,176.2 5,215.6

   Acquisition Premium 613.2 613.2 (0.0) 613.2 613.2 613.2

     Total Operating Expense 17,759.5 16,247.8 1,044.8 17,292.7 19,578.2 17,048.5

   Depreciation  2,400.0 2,407.4 0.0 2,407.4 2,418.3 2,452.7

   Ad Valorem Taxes 736.9 743.0 0.0 743.0 740.4 757.9

   Franchise Taxes 0.0 0.0 0.0 0.0 0.0 0.0

   Payroll Taxes 140.3 135.5 0.0 135.5 136.3 135.5

     Total Exp. Before Inc. Taxes 21,036.7 19,533.8 1,044.8 20,578.6 22,873.1 20,394.7

Net Revenue Before Inc. Taxes 4,078.2 3,238.6 (1,044.8) 2,193.8 1,638.7 2,367.0

State Income Taxes 175.1 101.0 (101.1) (0.1) (54.3) 12.2

Federal Income Taxes 657.1 392.2 (385.5) 6.7 (208.1) 55.4

      Total Expenses 21,868.9 20,027.0 558.2 20,585.2 22,610.7 20,462.3

Net Operating Revenue 3,246.0 2,745.4 (558.2) 2,187.2 1,901.1 2,299.4

Rate Base 55,356.9 55,328.4 57,999.1 59,566.2 58,909.8

Rate of Return 5.86% 4.96% 3.77% 3.19% 3.90%

2012 @ PRESENT RATES



2012 GENERAL RATE CASE

TABLE A7



COMPARATIVE SUMMARY OF EARNINGS FOR TEST YEAR AT PRESENT RATES



CALIFORNIA AMERICAN WATER

LOS ANGELES DISTRICT

[image: image8.emf]STAFF UTILITY UTILITY

EXCEEDS UPDATED 

ORIGINAL REVISED BRANCH REVISED FILING ADOPTED

DIFFERENCE

Operating Revenues

   Water 27,171.6 25,854.0 1,329.0 27,183.0 29,668.4 27,018.0

Operating Expenses

   Payroll 1,932.2 1,846.8 0.0 1,846.8 1,891.4 1,846.8

   Purchased Water 6,631.9 5,313.3 0.0 5,313.3 6,602.6 5,313.3

   Purchased Power 1,887.2 1,670.0 0.0 1,670.0 1,862.6 1,670.0

   Chemicals 93.7 89.4 0.0 89.4 83.9 89.4

   Uncollectibles 129.3 145.4 7.5 152.9 195.1 152.0

   Other Operating Exp 475.7 475.8 0.0 475.8 476.8 484.8

   T & D - Reservoirs & Tanks 201.2 201.2 0.0 201.2 201.2 201.2

   Other Maintenance Exp    571.9 569.5 0.0 569.5 571.8 569.5

   Insurance  0.7 0.7 0.0 0.7 0.7 0.7

   Pension & Benefits 118.1 119.4 0.0 119.4 119.6 119.4

   Regulatory Expense 0.0 0.0 0.0 0.0 0.0 0.0

   Outside Services 101.8 101.3 0.0 101.3 101.8 101.3

   Rents  45.8 45.7 0.0 45.7 45.8 45.7

   Misc General Expense 652.2 638.8 0.0 638.8 661.6 638.8

   Other Admin & General  10.8 10.8 0.0 10.8 10.9 10.8

      Subtotal  12,852.5 11,228.1 7.5 11,235.6 12,825.7 11,243.7

   Allocated General Office 4,303.6 4,423.8 1,044.9 5,468.7 6,176.2 5,215.6

   Acquisition Premium 613.2 613.2 (0.0) 613.2 613.2 613.2

     Total Operating Expense 17,769.3 16,265.2 1,052.3 17,317.5 19,615.0 17,072.4

   Depreciation  2,400.0 2,407.4 0.0 2,407.4 2,418.3 2,452.7

   Ad Valorem Taxes 736.9 743.0 0.0 743.0 740.4 757.9

   Franchise Taxes 0.0 0.0 0.0 0.0 0.0 0.0

   Payroll Taxes 140.3 135.5 0.0 135.5 136.3 135.5

     Total Exp. Before Inc. Taxes 21,046.5 19,551.1 1,052.3 20,603.4 22,910.0 20,418.6

Net Revenue Before Inc. Taxes 6,125.1 6,302.9 276.7 6,579.6 6,758.4 6,599.3

State Income Taxes 356.1 371.9 15.7 387.6 398.2 386.4

Federal Income Taxes 1,260.3 1,482.8 46.2 1,529.0 1,570.9 1,476.3

      Total Expenses 22,662.9 21,405.8 1,114.2 22,520.0 24,879.1 22,281.3

Net Operating Revenue 4,508.7 4,448.2 214.8 4,663.0 4,789.3 4,736.6

Rate Base 55,356.9 55,328.4 2,670.7 57,999.1 59,566.2 58,909.8

Rate of Return 8.14% 8.04% 8.04% 8.04% 8.04%

2012 @ PROPOSED RATES



2012 GENERAL RATE CASE

TABLE A8



COMPARATIVE SUMMARY OF EARNINGS FOR TEST YEAR AT PROPOSED RATES



CALIFORNIA AMERICAN WATER

LOS ANGELES DISTRICT

[image: image9.emf]STAFF UTILITY UTILITY

EXCEEDS UPDATED 

ORIGINAL REVISED BRANCH REVISED FILING ADOPTED

DIFFERENCE

Operating Revenues

   Water 29,957.8 25,874.6 0.0 25,874.6 28,311.6 25,874.6

Operating Expenses

   Payroll 1,060.5 1,140.1 0.0 1,140.1 1,148.9 1,140.1

   Purchased Water 18,856.7 15,961.2 0.0 15,961.2 18,002.3 15,961.2

   Purchased Power 305.6 290.6 0.0 290.6 290.6 290.6

   Chemicals 0.1 0.1 0.0 0.1 0.1 0.1

   Uncollectibles 142.6 145.5 0.0 145.5 185.9 145.5

   Other Operating Exp 199.8 199.5 0.0 199.5 200.0 199.5

   T & D - Reservoirs & Tanks 284.2 284.2 0.0 284.2 284.2 284.2

   Other Maintenance Exp    81.3 81.1 0.0 81.1 81.3 81.1

   Insurance  5.3 5.3 0.0 5.3 5.3 5.3

   Pension & Benefits 70.3 70.9 0.0 70.9 44.5 70.9

   Regulatory Expense 0.0 0.0 0.0 0.0 0.0 0.0

   Outside Services 34.1 34.0 0.0 34.0 34.1 34.0

   Rents  303.8 303.8 0.0 303.8 303.8 303.8

   Misc General Expense 365.2 369.3 0.0 369.3 371.5 369.3

   Other Admin & General  23.1 32.6 0.0 32.6 38.7 32.6

      Subtotal  21,732.6 18,918.3 0.0 18,918.3 20,991.1 18,918.3

   Allocated General Office 2,557.4 2,570.6 253.5 2,824.2 2,929.7 2,807.4

   Acquisition Premium 472.9 472.9 0.0 472.9 472.9 472.9

     Total Operating Expense 24,762.9 21,961.8 253.5 22,215.4 24,393.8 22,198.6

   Depreciation  2,116.5 2,114.9 0.0 2,114.9 2,066.5 2,114.9

   Ad Valorem Taxes 332.2 333.7 0.0 333.7 333.7 333.7

   Franchise Taxes 0.0 0.0 0.0 0.0 0.0 0.0

   Payroll Taxes 55.8 81.0 0.0 81.0 81.2 81.0

     Total Exp. Before Inc. Taxes 27,267.3 24,491.4 253.5 24,745.0 26,875.2 24,728.2

Net Revenue Before Inc. Taxes 2,690.5 1,383.2 (253.5) 1,129.7 1,436.5 1,146.4

State Income Taxes 133.1 16.4 (24.3) (7.9) 16.0 (5.7)

Federal Income Taxes 527.3 65.1 (88.5) (23.4) 71.2 (14.8)

      Total Expenses 27,927.7 24,572.9 140.7 24,713.7 26,962.4 24,707.7

Net Operating Revenue 2,030.1 1,301.7 (140.7) 1,161.0 1,349.3 1,166.9

Rate Base 31,175.6 31,531.7 577.3 32,109.0 33,077.0 31,901.3

Rate of Return 6.51% 4.13% 3.62% 4.08% 3.66%



2011 @ PRESENT RATES

VENTURA DISTRICT

2010 GENERAL RATE CASE



COMPARATIVE SUMMARY OF EARNINGS FOR TEST YEAR AT PRESENT RATES

TABLE A9



CALIFORNIA AMERICAN WATER

[image: image10.emf]STAFF UTILITY UTILITY

EXCEEDS UPDATED 

ORIGINAL REVISED BRANCH REVISED FILING ADOPTED

DIFFERENCE

Operating Revenues

   Water 31,124.8 28,019.6 398.9 28,418.5 30,660.4 28,378.2

Operating Expenses

   Payroll 1,060.5 1,140.1 0.0 1,140.1 1,148.9 1,140.1

   Purchased Water 18,856.7 15,961.2 0.0 15,961.2 18,002.3 15,961.2

   Purchased Power 305.6 290.6 0.0 290.6 290.6 290.6

   Chemicals 0.1 0.1 0.0 0.1 0.1 0.1

   Uncollectibles 148.1 157.6 2.2 159.9 201.3 159.6

   Other Operating Exp 199.8 199.5 0.0 199.5 200.0 199.5

   T & D - Reservoirs & Tanks 284.2 284.2 0.0 284.2 284.2 284.2

   Other Maintenance Exp    81.3 81.1 0.0 81.1 81.3 81.1

   Insurance  5.3 5.3 0.0 5.3 5.3 5.3

   Pension & Benefits 70.3 70.9 0.0 70.9 44.5 70.9

   Regulatory Expense 0.0 0.0 0.0 0.0 0.0 0.0

   Outside Services 34.1 34.0 0.0 34.0 34.1 34.0

   Rents  303.8 303.8 0.0 303.8 303.8 303.8

   Misc General Expense 365.2 369.3 0.0 369.3 371.5 369.3

   Other Admin & General  23.1 32.6 0.0 32.6 38.7 32.6

      Subtotal  21,738.1 18,930.4 2.2 18,932.6 21,006.5 18,932.4

   Allocated General Office 2,557.4 2,570.6 253.5 2,824.2 2,929.7 2,807.4

   Acquisition Premium 472.9 472.9 0.0 472.9 472.9 472.9

     Total Operating Expense 24,768.4 21,973.9 255.8 22,229.7 24,409.2 22,212.7

   Depreciation  2,116.5 2,114.9 0.0 2,114.9 2,066.5 2,114.9

   Ad Valorem Taxes 332.2 333.7 0.0 333.7 333.7 333.7

   Franchise Taxes 0.0 0.0 0.0 0.0 0.0 0.0

   Payroll Taxes 55.8 81.0 0.0 81.0 81.2 81.0

     Total Exp. Before Inc. Taxes 27,272.9 24,503.5 255.8 24,759.3 26,890.6 24,742.3

Net Revenue Before Inc. Taxes 3,851.9 3,516.1 143.1 3,659.2 3,769.8 3,635.9

State Income Taxes 235.8 204.9 10.9 215.8 222.3 214.4

Federal Income Taxes 898.4 776.2 85.7 861.9 887.9 856.5

      Total Expenses 28,407.1 25,484.6 352.4 25,837.0 28,000.8 25,813.2

Net Operating Revenue 2,717.7 2,535.0 46.5 2,581.5 2,659.6 2,565.0

Rate Base 31,175.6 31,531.7 577.3 32,109.0 33,077.0 31,901.3

Rate of Return 8.72% 8.04% 8.04% 8.04% 8.04%



2011 @ PROPOSED RATES

VENTURA DISTRICT

2010 GENERAL RATE CASE



COMPARATIVE SUMMARY OF EARNINGS FOR TEST YEAR AT PROPOSED RATES

TABLE A10



CALIFORNIA AMERICAN WATER

[image: image11.emf]STAFF UTILITY UTILITY

EXCEEDS UPDATED 

ORIGINALREVISED BRANCH REVISED FILING ADOPTED

DIFFERENCE

Operating Revenues

   Water 32,466.5 30,827.1 0.0 30,827.1 30,807.9 28,454.9

Operating Expenses

   Payroll 1,073.9 1,169.7 0.0 1,169.7 1,195.9 1,169.7

   Purchased Water 18,959.4 15,933.0 0.0 15,933.0 17,994.7 15,933.0

   Purchased Power 306.4 291.3 0.0 291.3 291.3 291.3

   Chemicals 0.1 0.1 0.0 0.1 0.1 0.1

   Uncollectibles 154.5 173.4 0.0 173.4 202.3 160.1

   Other Operating Exp 369.4 368.6 0.0 368.6 369.3 375.3

   T & D - Reservoirs & Tanks 299.9 299.9 0.0 299.9 299.9 299.9

   Other Maintenance Exp    83.9 83.5 0.0 83.5 83.9 83.5

   Insurance  5.5 5.5 0.0 5.5 5.5 5.5

   Pension & Benefits 71.7 72.8 0.0 72.8 46.9 72.8

   Regulatory Expense 0.0 0.0 0.0 0.0 0.0 0.0

   Outside Services 35.2 35.0 0.0 35.0 35.2 35.0

   Rents  313.5 313.5 0.0 313.5 313.5 313.5

   Misc General Expense 379.5 377.6 0.0 377.6 400.6 377.6

   Other Admin & General  23.9 33.8 0.0 33.8 40.0 33.8

      Subtotal  22,076.6 19,157.6 0.0 19,157.6 21,279.0 19,151.0

   Allocated General Office 3,122.1 3,208.9 726.8 3,935.7 4,437.9 3,754.8

   Acquisition Premium 457.8 457.8 0.0 457.8 457.8 457.8

     Total Operating Expense 25,656.5 22,824.2 726.8 23,551.1 26,174.6 23,363.5

   Depreciation  1,635.8 1,627.3 0.0 1,627.3 1,912.1 1,627.3

   Ad Valorem Taxes 355.1 369.0 0.0 369.0 369.7 369.0

   Franchise Taxes 0.0 0.0 0.0 0.0 0.0 0.0

   Payroll Taxes 76.7 81.0 2.0 83.0 83.2 83.0

     Total Exp. Before Inc. Taxes 27,724.2 24,901.6 728.8 25,630.4 28,539.6 25,442.8

Net Revenue Before Inc. Taxes 4,742.3 5,925.5 (728.8) 5,196.7 2,268.3 3,012.1

State Income Taxes 310.3 413.7 (67.9) 345.8 75.0 153.8

Federal Income Taxes 1,221.3 1,630.5 (338.9) 1,291.6 219.6 531.5

      Total Expenses 29,255.8 26,945.8 322.0 27,267.8 28,834.2 26,128.1

Net Operating Revenue 3,210.7 3,881.3 (322.0) 3,559.3 1,973.7 2,326.8

Rate Base 32,438.6 32,811.7 1,059.5 33,871.2 37,453.4 33,534.0

Rate of Return 9.90% 11.83% 10.51% 5.27% 6.94%



VENTURA DISTRICT

2010 GENERAL RATE CASE

COMPARATIVE SUMMARY OF EARNINGS FOR TEST YEAR AT PRESENT RATES

TABLE A11



2012 @ PRESENT RATES



CALIFORNIA AMERICAN WATER

[image: image12.emf]STAFF UTILITY UTILITY

EXCEEDS UPDATED 

ORIGINAL REVISED BRANCH REVISED FILING ADOPTED

DIFFERENCE

Operating Revenues

   Water 31,600.9 28,651.5 678.5 29,330.0 32,667.9 29,116.6

Operating Expenses

   Payroll 1,073.9 1,169.7 0.0 1,169.7 1,195.9 1,169.7

   Purchased Water 18,959.4 15,933.0 0.0 15,933.0 17,994.7 15,933.0

   Purchased Power 306.4 291.3 0.0 291.3 291.3 291.3

   Chemicals 0.1 0.1 0.0 0.1 0.1 0.1

   Uncollectibles 150.4 161.2 3.8 165.0 214.5 163.8

   Other Operating Exp 369.4 368.6 0.0 368.6 369.3 375.3

   T & D - Reservoirs & Tanks 299.9 299.9 0.0 299.9 299.9 299.9

   Other Maintenance Exp    83.9 83.5 0.0 83.5 83.9 83.5

   Insurance  5.5 5.5 0.0 5.5 5.5 5.5

   Pension & Benefits 71.7 72.8 0.0 72.8 46.9 72.8

   Regulatory Expense 0.0 0.0 0.0 0.0 0.0 0.0

   Outside Services 35.2 35.0 0.0 35.0 35.2 35.0

   Rents  313.5 313.5 0.0 313.5 313.5 313.5

   Misc General Expense 379.5 377.6 0.0 377.6 400.6 377.6

   Other Admin & General  23.9 33.8 0.0 33.8 40.0 33.8

      Subtotal  22,072.5 19,145.4 3.8 19,149.2 21,291.2 19,154.7

   Allocated General Office 3,122.1 3,208.9 726.8 3,935.7 4,437.9 3,754.8

   Acquisition Premium 457.8 457.8 0.0 457.8 457.8 457.8

     Total Operating Expense 25,652.4 22,812.0 730.7 23,542.7 26,186.8 23,367.2

   Depreciation  1,635.8 1,627.3 0.0 1,627.3 1,912.1 1,627.3

   Ad Valorem Taxes 355.1 369.0 0.0 369.0 369.7 369.0

   Franchise Taxes 0.0 0.0 0.0 0.0 0.0 0.0

   Payroll Taxes 76.7 83.0 0.0 83.0 83.2 83.0

     Total Exp. Before Inc. Taxes 27,720.0 24,891.3 730.7 25,622.0 28,551.8 25,446.6

Net Revenue Before Inc. Taxes 3,880.9 3,760.2 (52.2) 3,708.0 4,116.1 3,670.0

State Income Taxes 234.1 222.2 (8.0) 214.2 238.4 212.0

Federal Income Taxes 946.9 899.8 (129.2) 770.6 866.3 761.7

      Total Expenses 28,901.0 26,013.3 593.5 26,606.8 29,656.5 26,420.3

Net Operating Revenue 2,699.9 2,638.2 85.0 2,723.2 3,011.4 2,696.3

Rate Base 32,438.6 32,811.7 1,059.5 33,871.2 37,453.4 33,534.0

Rate of Return 8.32% 8.04% 8.04% 8.04% 8.04%



VENTURA DISTRICT

2010 GENERAL RATE CASE

COMPARATIVE SUMMARY OF EARNINGS FOR TEST YEAR AT PROPOSED RATES

TABLE A12



2012 @ PROPOSED RATES



CALIFORNIA AMERICAN WATER

[image: image13.emf]STAFF UTILITY UTILITY

EXCEEDS UPDATED 

ORIGINAL REVISED BRANCH REVISED FILING ADOPTED

DIFFERENCE

Operating Revenues

   Water 44,326.6 41,759.3 0.0 41,759.3 43,294.1 41,759.3

Operating Expenses

   Payroll 5,807.8 5,836.4 0.0 5,836.4 5,975.3 5,836.4

   Purchased Water 512.1 514.5 0.0 514.5 2,019.4 514.5

   Purchased Power 2,681.1 2,306.7 0.0 2,306.7 2,590.4 2,306.7

   Chemicals 934.3 930.9 0.0 930.9 926.5 930.9

   Uncollectibles 210.9 234.9 0.0 234.9 284.7 234.9

   Other Operating Exp 1,651.7 1,699.5 0.0 1,699.5 1,737.6 1,712.2

   T & D - Reservoirs & Tanks 415.9 431.7 0.0 431.7 438.5 431.7

   Other Maintenance Exp    1,417.8 1,664.8 0.0 1,664.8 1,674.4 1,664.8

   Insurance  19.3 19.3 0.0 19.3 19.3 19.3

   Pension & Benefits 297.9 298.6 0.0 298.6 299.4 298.6

   Regulatory Expense 0.0 0.0 0.0 0.0 0.0 0.0

   Outside Services 568.4 564.4 0.0 564.4 568.4 564.4

   Rents  471.2 470.9 0.0 470.9 471.2 470.9

   Misc General Expense 2,102.4 2,105.2 0.0 2,105.2 3,229.8 2,105.2

   Other Admin & General  121.9 121.2 0.0 121.2 122.0 121.2

      Subtotal  17,212.7 17,198.8 0.0 17,198.8 20,356.9 17,211.6

   Allocated General Office 7,124.6 7,308.3 1,993.3 9,301.6 10,466.4 8,910.4

   Acquisition Premium 877.9 877.9 0.0 877.9 877.9 877.9

     Total Operating Expense 25,215.2 25,385.1 1,993.3 27,378.4 31,701.1 27,000.0

   Depreciation  5,672.7 5,843.2 112.2 5,955.4 6,041.8 5,843.2

   Ad Valorem Taxes 1,606.4 1,697.9 5.3 1,703.2 1,722.8 1,698.0

   Franchise Taxes 0.0 0.0 0.0 0.0 0.0 0.0

   Payroll Taxes 385.6 379.5 0.0 379.5 382.0 379.5

     Total Exp. Before Inc. Taxes 32,879.9 33,305.7 2,110.8 35,416.5 39,847.7 34,920.7

Net Revenue Before Inc. Taxes 11,446.7 8,453.6 (2,110.8) 6,342.8 3,446.4 6,838.6

State Income Taxes 612.7 326.2 (191.5) 134.7 (152.5) 182.9

Federal Income Taxes 2,143.4 1,116.3 (659.3) 457.0 (680.1) 619.5

      Total Expenses 35,636.1 34,748.3 1,260.0 36,008.3 39,015.2 35,723.2

Net Operating Revenue 8,690.5 7,011.1 (1,260.0) 5,751.1 4,278.9 6,036.1

Rate Base 118,837.4 125,437.5 1,646.5 127,084.1 136,465.9 125,772.4

Rate of Return 7.31% 5.59% 4.53% 3.14% 4.80%

2012 @ PRESENT RATES



TABLE A13



2010 GENERAL RATE CASE

COMPARATIVE SUMMARY OF EARNINGS FOR TEST YEAR AT PRESENT RATES



CALIFORNIA AMERICAN WATER

MONTEREY DISTRICT

[image: image14.emf]STAFF UTILITY UTILITY

EXCEEDS UPDATED 

ORIGINAL REVISED BRANCH REVISED FILING ADOPTED

DIFFERENCE

Operating Revenues

   Water 45,000.1 47,109.0 2,500.0 49,609.0 55,159.4 48,843.8

Operating Expenses

   Payroll 5,807.8 5,836.4 0.0 5,836.4 5,975.3 5,836.4

   Purchased Water 512.1 514.5 0.0 514.5 2,019.4 514.5

   Purchased Power 2,681.1 2,306.7 0.0 2,306.7 2,590.4 2,306.7

   Chemicals 934.3 930.9 0.0 930.9 926.5 930.9

   Uncollectibles 214.1 265.0 14.1 279.1 362.7 274.7

   Other Operating Exp 1,651.7 1,699.5 0.0 1,699.5 1,737.6 1,712.2

   T & D - Reservoirs & Tanks 415.9 431.7 0.0 431.7 438.5 431.7

   Other Maintenance Exp    1,417.8 1,664.8 0.0 1,664.8 1,674.4 1,664.8

   Insurance  19.3 19.3 0.0 19.3 19.3 19.3

   Pension & Benefits 297.9 298.6 0.0 298.6 299.4 298.6

   Regulatory Expense 0.0 0.0 0.0 0.0 0.0 0.0

   Outside Services 568.4 564.4 0.0 564.4 568.4 564.4

   Rents  471.2 470.9 0.0 470.9 471.2 470.9

   Misc General Expense 2,102.4 2,105.2 0.0 2,105.2 3,229.8 2,105.2

   Other Admin & General  121.9 121.2 0.0 121.2 122.0 121.2

      Subtotal  17,215.9 17,228.9 14.1 17,243.0 20,434.9 17,251.5

   Allocated General Office 7,124.6 7,308.3 1,993.3 9,301.6 10,466.4 8,910.4

   Acquisition Premium 877.9 877.9 0.0 877.9 877.9 877.9

     Total Operating Expense 25,218.4 25,415.2 2,007.4 27,422.5 31,779.2 27,039.8

   Depreciation  5,672.7 5,843.2 112.2 5,955.4 6,041.8 5,843.2

   Ad Valorem Taxes 1,606.4 1,697.9 5.3 1,703.2 1,722.8 1,698.0

   Franchise Taxes 0.0 0.0 0.0 0.0 0.0 0.0

   Payroll Taxes 385.6 379.5 0.0 379.5 382.0 379.5

     Total Exp. Before Inc. Taxes 32,883.1 33,335.8 2,124.9 35,460.7 39,925.8 34,960.6

Net Revenue Before Inc. Taxes 12,117.0 13,773.2 375.1 14,148.3 15,233.7 13,883.2

State Income Taxes 671.9 796.4 28.3 824.7 889.5 805.6

Federal Income Taxes 2,338.8 2,891.0 214.9 3,105.9 3,362.4 2,964.8

      Total Expenses 35,893.9 37,023.3 2,368.1 39,391.3 44,177.7 38,731.0

Net Operating Revenue 9,106.2 10,085.7 131.9 10,217.7 10,981.7 10,112.7

Rate Base 118,837.4 125,437.5 1,646.5 127,084.1 136,465.9 125,772.4

Rate of Return 7.66% 8.04% 8.04% 8.05% 8.04%

2012 @ PROPOSED RATES



TABLE A14



2010 GENERAL RATE CASE

COMPARATIVE SUMMARY OF EARNINGS FOR TEST YEAR AT PROPOSED RATES



CALIFORNIA AMERICAN WATER

MONTEREY DISTRICT

[image: image15.emf]STAFF UTILITY UTILITY

EXCEEDS UPDATED 

ORIGINAL REVISED BRANCH REVISED FILING ADOPTED

DIFFERENCE

Operating Revenues

   Water 3,166.6 3,166.6 0.0 3,166.6 3,166.6 3,166.6

Operating Expenses

   Payroll 920.5 930.6 0.0 930.6 948.0 930.6

   Purchased Water 0.0 0.0 0.0 0.0 0.0 0.0

   Purchased Power 89.8 89.8 0.0 89.8 89.8 89.8

   Chemicals 261.0 327.5 0.0 327.5 413.5 327.5

   Uncollectibles 15.1 17.8 0.0 17.8 24.4 17.8

   Other Operating Exp 325.5 326.0 0.0 326.0 327.1 326.0

   T & D - Reservoirs & Tanks 0.0 0.0 0.0 0.0 0.0 0.0

   Other Maintenance Exp    56.6 56.2 0.0 56.2 59.6 56.2

   Insurance  0.0 0.0 0.0 0.0 0.0 0.0

   Pension & Benefits 61.5 62.7 0.0 62.7 62.7 62.7

   Regulatory Expense 0.0 1.5 0.0 1.5 1.5 1.5

   Outside Services 288.1 309.5 0.0 309.5 327.9 309.5

   Rents  30.2 30.2 0.0 30.2 30.2 30.2

   Misc General Expense 74.0 75.2 0.0 75.2 78.8 75.2

   Other Admin & General  1.7 1.6 0.0 1.6 1.7 1.6

      Subtotal  2,124.0 2,228.5 0.0 2,228.5 2,365.0 2,228.5

   Allocated General Office 597.8 610.6 192.8 803.4 893.8 773.2

   Acquisition Premium 0.0 0.0 0.0 0.0 0.0 0.0

     Total Operating Expense 2,721.8 2,839.2 192.8 3,031.9 3,258.9 3,001.8

   Depreciation  133.3 147.2 0.0 147.2 155.0 147.2

   Ad Valorem Taxes 12.4 14.2 0.0 14.2 15.2 14.2

   Franchise Taxes 14.3 14.2 0.0 14.2 16.8 14.2

   Payroll Taxes 61.4 61.8 0.0 61.8 62.2 61.8

     Total Exp. Before Inc. Taxes 2,943.1 3,076.6 192.8 3,269.3 3,508.1 3,239.2

Net Revenue Before Inc. Taxes 223.5 90.0 (192.8) (102.7) (341.5) (72.6)

State Income Taxes 15.5 3.3 (17.1) (13.8) (35.2) (11.1)

Federal Income Taxes 61.4 12.9 (59.0) (46.1) (130.6) (35.5)

      Total Expenses 3,020.0 3,092.8 116.7 3,209.4 3,342.3 3,192.6

Net Operating Revenue 146.6 73.8 (116.7) (42.8) (175.7) (26.0)

Rate Base 1,275.2 1,414.2 12.0 1,426.3 1,498.5 1,424.8

Rate of Return 11.50% 5.22% -3.00% -11.73% -1.82%

TABLE A15



COMPARATIVE SUMMARY OF EARNINGS FOR TEST YEAR AT PRESENT RATES



MONTEREY WASTEWATER DISTRICT

2010 GENERAL RATE CASE



2012 @ PRESENT RATES



CALIFORNIA AMERICAN WATER

[image: image16.emf]STAFF UTILITY UTILITY

EXCEEDS UPDATED 

ORIGINAL REVISED BRANCH REVISED FILING ADOPTED

DIFFERENCE

Operating Revenues

   Water 2,913.3 3,251.5 196.8 3,448.4 3,691.9 3,419.9

Operating Expenses

   Payroll 920.5 930.6 0.0 930.6 948.0 930.6

   Purchased Water 0.0 0.0 0.0 0.0 0.0 0.0

   Purchased Power 89.8 89.8 0.0 89.8 89.8 89.8

   Chemicals 261.0 327.5 0.0 327.5 413.5 327.5

   Uncollectibles 13.9 18.3 1.1 19.4 24.3 19.2

   Other Operating Exp 325.5 326.0 0.0 326.0 327.1 326.0

   T & D - Reservoirs & Tanks 0.0 0.0 0.0 0.0 0.0 0.0

   Other Maintenance Exp    56.6 56.2 0.0 56.2 59.6 56.2

   Insurance  0.0 0.0 0.0 0.0 0.0 0.0

   Pension & Benefits 61.5 62.7 0.0 62.7 62.7 62.7

   Regulatory Expense 0.0 1.5 0.0 1.5 1.5 1.5

   Outside Services 288.1 309.5 0.0 309.5 327.9 309.5

   Rents  30.2 30.2 0.0 30.2 30.2 30.2

   Misc General Expense 74.0 75.2 0.0 75.2 78.8 75.2

   Other Admin & General  1.7 1.6 0.0 1.6 1.7 1.6

      Subtotal  2,122.8 2,229.0 1.1 2,230.1 2,364.9 2,230.0

   Allocated General Office 597.8 610.6 192.8 803.4 893.8 773.2

   Acquisition Premium 0.0 0.0 0.0 0.0 0.0 0.0

     Total Operating Expense 2,720.6 2,839.6 193.9 3,033.5 3,258.8 3,003.2

   Depreciation  133.3 147.2 0.0 147.2 155.0 147.2

   Ad Valorem Taxes 12.4 14.2 0.0 14.2 15.2 14.2

   Franchise Taxes 13.1 14.6 0.9 15.5 16.6 15.4

   Payroll Taxes 61.4 61.8 0.0 61.8 62.2 61.8

     Total Exp. Before Inc. Taxes 2,940.8 3,077.4 194.8 3,272.2 3,507.8 3,241.7

Net Revenue Before Inc. Taxes (27.4) 174.1 2.1 176.2 184.1 178.2

State Income Taxes (6.7) 10.7 0.1 10.8 11.3 11.0

Federal Income Taxes (19.0) 49.7 1.0 50.7 52.3 52.6

      Total Expenses 2,915.1 3,137.8 195.9 3,333.7 3,571.4 3,305.3

Net Operating Revenue (1.7) 113.7 1.0 114.7 120.5 114.6

Rate Base 1,275.2 1,414.2 12.0 1,426.3 1,498.5 1,424.8

Rate of Return -0.14% 8.04% 8.04% 8.04% 8.04%

TABLE A16



COMPARATIVE SUMMARY OF EARNINGS FOR TEST YEAR AT PROPOSED RATES



MONTEREY WASTEWATER DISTRICT

2010 GENERAL RATE CASE



2012 @ PROPOSED RATES



CALIFORNIA AMERICAN WATER

[image: image17.emf]STAFF UTILITY UTILITY

EXCEEDS UPDATED 

ORIGINAL REVISED BRANCH REVISED FILING ADOPTED

DIFFERENCE

Operating Revenues

   Water 44,261.6 38,888.5 0.0 38,888.5 44,150.7 38,926.6

Operating Expenses

   Payroll 3,058.9 3,103.5 0.0 3,103.5 3,206.6 3,103.5

   Purchased Water 2,236.0 1,690.2 0.0 1,690.2 2,429.8 1,690.2

   Purchased Power 2,567.9 2,136.4 0.0 2,136.4 2,552.3 2,136.4

   Chemicals 478.7 539.3 0.0 539.3 617.5 539.3

   Uncollectibles 210.6 218.7 0.0 218.7 290.3 219.0

   Other Operating Exp 753.4 769.9 0.0 769.9 791.0 788.4

   T & D - Reservoirs & Tanks 199.6 201.9 0.0 201.9 201.9 201.9

   Other Maintenance Exp    806.7 801.2 0.0 801.2 806.8 801.2

   Insurance  7.8 7.8 0.0 7.8 7.8 7.8

   Pension & Benefits 281.7 291.8 0.0 291.8 292.5 291.8

   Regulatory Expense 0.0 0.0 0.0 0.0 5.1 0.0

   Outside Services 539.4 537.2 0.0 537.2 554.5 537.2

   Rents  15.1 15.0 0.0 15.0 15.1 15.0

   Misc General Expense 1,387.4 1,414.0 0.0 1,414.0 1,494.9 1,414.0

   Other Admin & General  63.5 63.3 0.0 63.3 63.6 63.3

      Subtotal  12,606.7 11,790.4 0.0 11,790.4 13,329.7 11,809.0

   Allocated General Office 9,206.9 10,180.3 1,132.3 11,312.6 12,698.5 10,764.7

   Acquisition Premium 1,605.3 1,605.3 0.0 1,605.3 1,605.3 1,605.3

     Total Operating Expense 23,418.9 23,576.0 1,132.3 24,708.2 27,633.5 24,179.0

   Depreciation  7,901.0 7,843.1 0.0 7,843.1 7,959.2 7,843.1

   Ad Valorem Taxes 1,760.0 1,755.7 0.0 1,755.7 1,787.3 1,755.7

   Franchise Taxes 101.8 89.5 0.0 89.5 101.5 89.6

   Payroll Taxes 222.4 223.7 0.0 223.7 224.3 223.7

     Total Exp. Before Inc. Taxes 33,404.0 33,487.9 1,132.3 34,620.2 37,705.8 34,091.1

Net Revenue Before Inc. Taxes 10,857.6 5,400.5 (1,132.3) 4,268.3 6,444.9 4,835.5

State Income Taxes 531.0 56.3 (120.4) (64.1) 79.4 (13.0)

Federal Income Taxes 1,872.0 (199.5) (141.2) (340.7) 227.5 (133.7)

      Total Expenses 35,807.0 33,344.7 870.7 34,215.4 38,012.7 33,944.4

Net Operating Revenue 8,454.6 5,543.7 (870.7) 4,673.1 6,138.0 4,982.2

Rate Base 129,011.5 126,678.9 6,247.4 132,926.3 147,645.7 132,644.3

Rate of Return 6.55% 4.38% 3.52% 4.16% 3.76%

2012 @ PRESENT RATES



COMPARATIVE SUMMARY OF EARNINGS FOR TEST YEAR AT PRESENT RATES



SACRAMENTO DISTRICT

2010 GENERAL RATE CASE

TABLE A17



CALIFORNIA AMERICAN WATER

[image: image18.emf]STAFF UTILITY UTILITY

EXCEEDS UPDATED 

ORIGINAL REVISED BRANCH REVISED FILING ADOPTED

DIFFERENCE

Operating Revenues

   Water 47,437.4 46,994.0 2,569.0 49,563.0 54,330.4 48,858.3

Operating Expenses

   Payroll 3,058.9 3,103.5 0.0 3,103.5 3,206.6 3,103.5

   Purchased Water 2,236.0 1,690.2 0.0 1,690.2 2,429.8 1,690.2

   Purchased Power 2,567.9 2,136.4 0.0 2,136.4 2,552.3 2,136.4

   Chemicals 478.7 539.3 0.0 539.3 617.5 539.3

   Uncollectibles 225.7 264.3 14.5 278.8 357.3 274.8

   Other Operating Exp 753.4 769.9 0.0 769.9 791.0 788.4

   T & D - Reservoirs & Tanks 199.6 201.9 0.0 201.9 201.9 201.9

   Other Maintenance Exp    806.7 801.2 0.0 801.2 806.8 801.2

   Insurance  7.8 7.8 0.0 7.8 7.8 7.8

   Pension & Benefits 281.7 291.8 0.0 291.8 292.5 291.8

   Regulatory Expense 0.0 0.0 0.0 0.0 5.1 0.0

   Outside Services 539.4 537.2 0.0 537.2 554.5 537.2

   Rents  15.1 15.0 0.0 15.0 15.1 15.0

   Misc General Expense 1,387.4 1,414.0 0.0 1,414.0 1,494.9 1,414.0

   Other Admin & General  63.5 63.3 0.0 63.3 63.6 63.3

      Subtotal  12,621.8 11,836.0 14.5 11,850.4 13,396.7 11,864.9

   Allocated General Office 9,206.9 10,180.3 1,132.3 11,312.6 12,698.5 10,764.7

   Acquisition Premium 1,605.3 1,605.3 0.0 1,605.3 1,605.3 1,605.3

     Total Operating Expense 23,434.0 23,621.6 1,146.7 24,768.3 27,700.4 24,234.9

   Depreciation  7,901.0 7,843.1 0.0 7,843.1 7,959.2 7,843.1

   Ad Valorem Taxes 1,760.0 1,755.7 0.0 1,755.7 1,787.3 1,755.7

   Franchise Taxes 109.1 108.1 (18.7) 89.5 101.5 89.6

   Payroll Taxes 222.4 223.7 0.0 223.7 224.3 223.7

     Total Exp. Before Inc. Taxes 33,426.4 33,552.2 1,128.0 34,680.2 37,772.7 34,146.9

Net Revenue Before Inc. Taxes 14,011.0 13,441.8 1,441.0 14,882.8 16,557.7 14,711.3

State Income Taxes 809.8 767.2 107.0 874.2 973.4 860.0

Federal Income Taxes 2,796.7 2,489.5 831.4 3,320.9 3,713.5 3,186.1

      Total Expenses 37,032.9 36,808.9 2,066.4 38,875.3 42,459.6 38,193.0

Net Operating Revenue 10,404.5 10,185.1 502.6 10,687.7 11,870.8 10,665.2

Rate Base 129,011.5 126,678.9 6,247.4 132,926.3 147,645.7 132,644.3

Rate of Return 8.06% 8.04% 8.04% 8.04% 8.04%

2012 @ PROPOSED RATES



SACRAMENTO DISTRICT

2012 GENERAL RATE CASE

COMPARATIVE SUMMARY OF EARNINGS FOR TEST YEAR AT PROPOSED RATES



TABLE A18



CALIFORNIA AMERICAN WATER

[image: image19.emf]STAFF UTILITY UTILITY

EXCEEDS UPDATED 

ORIGINAL REVISED BRANCH REVISED FILING ADOPTED

DIFFERENCE

Operating Revenues

   Water 2,744.8 2,497.9 0.0 2,497.9 2,633.3 2,491.3

Operating Expenses

   Payroll 328.4 334.3 0.0 334.3 342.2 334.3

   Purchased Water 421.1 383.2 0.0 383.2 421.1 383.2

   Purchased Power 77.9 68.5 0.0 68.5 73.1 68.5

   Chemicals 20.2 23.1 0.0 23.1 26.8 23.1

   Uncollectibles 13.1 14.1 0.0 14.1 17.3 14.0

   Other Operating Exp 87.7 85.8 0.0 85.8 87.7 86.6

   T & D - Reservoirs & Tanks 25.6 25.6 0.0 25.6 28.4 25.6

   Other Maintenance Exp    21.4 21.3 (0.0) 21.3 21.4 21.3

   Insurance  0.1 0.1 0.0 0.1 0.1 0.1

   Pension & Benefits 21.8 21.9 0.0 21.9 22.0 21.9

   Regulatory Expense 0.0 0.0 0.0 0.0 0.0 0.0

   Outside Services 16.2 18.1 0.0 18.1 20.3 18.1

   Rents  28.2 28.2 0.0 28.2 28.3 28.2

   Misc General Expense 112.2 111.3 0.0 111.3 115.2 111.3

   Other Admin & General  33.2 36.0 0.0 36.0 36.0 36.0

      Subtotal  1,207.1 1,171.5 0.0 1,171.5 1,239.9 1,172.2

   Allocated General Office 345.3 441.3 125.8 567.1 631.2 544.5

   Acquisition Premium 67.9 67.9 0.0 67.9 67.9 67.9

     Total Operating Expense 1,620.3 1,680.7 125.8 1,806.5 1,939.0 1,784.7

   Depreciation  415.7 417.3 0.0 417.3 460.0 417.3

   Ad Valorem Taxes 109.8 111.3 0.0 111.3 139.3 111.3

   Franchise Taxes 0.0 0.0 0.0 0.0 0.0 0.0

   Payroll Taxes 24.3 24.5 0.0 24.5 24.7 24.5

     Total Exp. Before Inc. Taxes 2,170.1 2,233.9 125.8 2,359.7 2,563.1 2,337.9

Net Revenue Before Inc. Taxes 574.8 264.0 (125.8) 138.2 70.2 153.4

State Income Taxes 26.7 1.0 (11.8) (10.8) (24.2) (9.4)

Federal Income Taxes 108.4 7.9 (43.4) (35.5) (88.3) (29.9)

      Total Expenses 2,305.2 2,242.8 70.6 2,313.4 2,450.6 2,298.6

Net Operating Revenue 439.7 255.1 (70.6) 184.5 182.7 192.7

Rate Base 7,260.0 6,734.5 6,941.5 9,144.5 6,915.4

Rate of Return 6.06% 3.79% 2.66% 2.00% 2.79%

TABLE A19



CALIFORNIA AMERICAN WATER

LARKFIELD DISTRICT

 GENERAL RATE CASE



2012 @ PRESENT RATES

COMPARATIVE SUMMARY OF EARNINGS FOR TEST YEAR AT PRESENT RATES

[image: image20.emf]STAFF UTILITY UTILITY

EXCEEDS UPDATED 

ORIGINAL REVISED BRANCH REVISED FILING ADOPTED

DIFFERENCE

Operating Revenues

   Water 3,018.2 3,012.8 146.9 3,159.7 3,615.9 3,134.3

Operating Expenses

   Payroll 328.4 334.3 0.0 334.3 342.2 334.3

   Purchased Water 421.1 383.2 0.0 383.2 421.1 383.2

   Purchased Power 77.9 68.5 0.0 68.5 73.1 68.5

   Chemicals 20.2 23.1 0.0 23.1 26.8 23.1

   Uncollectibles 14.4 16.9 0.8 17.8 23.7 17.6

   Other Operating Exp 87.7 85.8 0.0 85.8 87.7 86.6

   T & D - Reservoirs & Tanks 25.6 25.6 0.0 25.6 28.4 25.6

   Other Maintenance Exp    21.4 21.3 (0.0) 21.3 21.4 21.3

   Insurance  0.1 0.1 0.0 0.1 0.1 0.1

   Pension & Benefits 21.8 21.9 0.0 21.9 22.0 21.9

   Regulatory Expense 0.0 0.0 0.0 0.0 0.0 0.0

   Outside Services 16.2 18.1 0.0 18.1 20.3 18.1

   Rents  28.2 28.2 0.0 28.2 28.3 28.2

   Misc General Expense 112.2 111.3 0.0 111.3 115.2 111.3

   Other Admin & General  33.2 36.0 0.0 36.0 36.0 36.0

      Subtotal  1,208.4 1,174.4 0.8 1,175.2 1,246.3 1,175.8

   Allocated General Office 345.3 441.3 125.8 567.1 631.2 544.5

   Acquisition Premium 67.9 67.9 0.0 67.9 67.9 67.9

     Total Operating Expense 1,621.6 1,683.6 126.6 1,810.2 1,945.5 1,788.3

   Depreciation  415.7 417.3 0.0 417.3 460.0 417.3

   Ad Valorem Taxes 109.8 111.3 0.0 111.3 139.3 111.3

   Franchise Taxes 0.0 0.0 0.0 0.0 0.0 0.0

   Payroll Taxes 24.3 24.5 0.0 24.5 24.7 24.5

     Total Exp. Before Inc. Taxes 2,171.4 2,236.8 126.6 2,363.4 2,569.6 2,341.5

Net Revenue Before Inc. Taxes 846.8 776.0 20.3 796.3 1,046.3 792.8

State Income Taxes 50.7 46.2 1.1 47.3 62.1 47.1

Federal Income Taxes 191.7 188.3 2.6 190.9 249.5 189.7

      Total Expenses 2,413.8 2,471.3 130.3 2,601.6 2,881.2 2,578.3

Net Operating Revenue 604.4 541.5 16.6 558.1 734.7 556.0

Rate Base 7,260.0 6,734.5 207.0 6,941.5 9,144.5 6,915.4

Rate of Return 8.33% 8.04% 8.04% 8.03% 8.04%

TABLE A20



CALIFORNIA AMERICAN WATER

LARKFIELD DISTRICT

 GENERAL RATE CASE



2012 @ PROPOSED RATES

COMPARATIVE SUMMARY OF EARNINGS FOR TEST YEAR AT PROPOSED RATES

[image: image21.emf]STAFF UTILITY UTILITY

EXCEEDS UPDATED 

ORIGINALREVISED BRANCH REVISED FILING ADOPTED

DIFFERENCE

Operating Revenues

   Water 418.5 413.5 0.0 413.5 418.5 413.5

Operating Expenses

   Payroll 59.0 58.1 0.0 58.1 59.0 58.1

   Purchased Water 0.0 0.0 0.0 0.0 0.0 0.0

   Purchased Power 74.5 74.5 0.0 74.5 74.5 74.5

   Chemicals 27.1 24.0 0.0 24.0 20.0 24.0

   Uncollectibles 0.0 2.3 0.0 2.3 0.0 2.3

   Other Operating Exp (incl Arsenic Toro) 171.2 171.1 (66.0) 105.1 105.2 189.7

   T & D - Reservoirs & Tanks 0.0 0.0 0.0 0.0 0.0 0.0

   Other Maintenance Exp    32.1 31.9 0.0 31.9 32.1 31.9

   Insurance  0.0 0.0 0.0 0.0 0.0 0.0

   Pension & Benefits 1.9 1.9 0.0 1.9 1.9 1.9

   Regulatory Expense 0.0 0.0 0.0 0.0 0.0 0.0

   Outside Services 0.0 0.0 0.0 0.0 0.0 0.0

   Rents  4.3 4.3 0.0 4.3 4.3 4.3

   Misc General Expense 34.0 33.8 0.0 33.8 34.0 33.8

   Other Admin & General  (0.0) (0.0) 0.0 (0.0) (0.0) (0.0)

      Subtotal  404.1 402.0 (66.0) 336.0 331.0 420.5

   Allocated General Office 61.9 76.7 0.0 97.3 14.5 93.3

   Acquisition Premium 0.0 0.0 0.0 0.0 0.0 0.0

     Total Operating Expense 466.0 478.7 (66.0) 433.3 345.5 513.8

   Depreciation  99.3 111.5 0.0 147.5 153.7 112.4

   Ad Valorem Taxes 5.9 9.7 0.0 22.4 27.6 10.5

   Franchise Taxes 8.4 8.2 0.0 8.2 8.4 8.2

   Payroll Taxes 4.0 3.9 0.0 3.9 4.0 3.9

     Total Exp. Before Inc. Taxes 583.6 612.0 (66.0) 615.2 539.2 648.8

Net Revenue Before Inc. Taxes (165.1) (198.5) 66.0 (201.7) (120.7) (235.3)

State Income Taxes (15.4) (19.6) 0.0 (24.2) (19.4) (23.1)

Federal Income Taxes (59.9) (77.4) 0.0 (95.8) (71.4) (91.3)

      Total Expenses 508.3 515.0 (66.0) 495.2 448.4 534.4

Net Operating Revenue (89.8) (101.5) 66.0 (81.7) (29.9) (120.9)

Rate Base 233.7 604.6 0.0 1,916.0 2,630.6 684.5

Rate of Return -38.41% -16.78% 0.00% -4.27% -1.14% -17.66%

2012 @ PRESENT RATES



TORO DISTRICT

 GENERAL RATE CASE

COMPARATIVE SUMMARY OF EARNINGS FOR TEST YEAR AT PRESENT RATES



TABLE A21



CALIFORNIA AMERICAN WATER

[image: image22.emf]STAFF UTILITY UTILITY

EXCEEDS UPDATED 

ORIGINALREVISED BRANCH REVISED FILING ADOPTED

DIFFERENCE

Operating Revenues

   Water 413.5 678.4 152.5 831.0 826.4 724.3

Operating Expenses

   Payroll 59.0 58.1 0.0 58.1 59.0 58.1

   Purchased Water 0.0 0.0 0.0 0.0 0.0 0.0

   Purchased Power 74.5 74.5 0.0 74.5 74.5 74.5

   Chemicals 27.1 24.0 0.0 24.0 20.0 24.0

   Uncollectibles 0.0 0.0 0.0 0.0 0.0 0.0

   Other Operating Exp (incl Arsenic Toro) 171.2 171.1 (66.0) 105.1 105.2 189.7

   T & D - Reservoirs & Tanks 0.0 0.0 0.0 0.0 0.0 0.0

   Other Maintenance Exp    32.1 31.9 0.0 31.9 32.1 31.9

   Insurance  0.0 0.0 0.0 0.0 0.0 0.0

   Pension & Benefits 1.9 1.9 0.0 1.9 1.9 1.9

   Regulatory Expense 0.0 0.0 0.0 0.0 0.0 0.0

   Outside Services 0.0 0.0 0.0 0.0 0.0 0.0

   Rents  4.3 4.3 0.0 4.3 4.3 4.3

   Misc General Expense 34.0 33.8 0.0 33.8 34.0 33.8

   Other Admin & General  (0.0) (0.0) 0.0 (0.0) (0.0) (0.0)

      Subtotal  404.1 399.6 (66.0) 333.6 331.0 418.2

   Allocated General Office 61.9 76.7 20.6 97.3 14.5 93.3

   Acquisition Premium 0.0 0.0 0.0 0.0 0.0 0.0

     Total Operating Expense 466.0 476.3 (45.4) 430.9 345.5 511.4

   Depreciation  99.3 111.5 36.0 147.5 153.7 112.4

   Ad Valorem Taxes 5.9 9.7 12.7 22.4 27.6 10.5

   Franchise Taxes 8.4 8.2 0.0 8.2 8.4 8.2

   Payroll Taxes 4.0 3.9 0.0 3.9 4.0 3.9

     Total Exp. Before Inc. Taxes 583.6 609.6 3.3 612.9 539.2 646.4

Net Revenue Before Inc. Taxes (170.1) 68.8 149.2 218.0 287.2 77.8

State Income Taxes (26.0) 4.1 8.8 12.9 16.6 4.6

Federal Income Taxes (103.1) 16.1 35.0 51.1 72.4 18.2

      Total Expenses 454.5 629.8 47.1 676.9 628.2 669.2

Net Operating Revenue (41.0) 48.6 105.4 154.0 198.2 55.0

Rate Base 233.7 604.6 1,311.3 1,916.0 2,630.6 684.5

Rate of Return -17.53% 8.04% 0.00% 8.04% 7.54% 8.04%

2012 @ PROPOSED RATES



TABLE A22



CALIFORNIA AMERICAN WATER

TORO DISTRICT

 GENERAL RATE CASE

COMPARATIVE SUMMARY OF EARNINGS FOR TEST YEAR AT PROPOSED RATES


[image: image23.png]“

Home | Inset  Pagelaout  References  Mailngs  Review  View  Adddns - @
L
Quick Change | Edting
AT | s shies | -
Cipboard Font = Paragraph ol syes o
N A AR AR SR MALALM WALALA LML WELALE S WS S %
[ General Office Summary of Earnings
(In thousands)
. 2012 Final Adopted
Service Company S 112643
California Corporate Function
N Labor and Other Benefits, net of amount capitalized 75438 =
Pension, net of amount capitalized 48067
PBOP, et of amount capitalized 635.8
N O&M (non.labor) 63196
Depreciation 90.1
N Rate Case Expenses 22521
Depreciation Study Amortization (2012-2017) 100
9 Rate Base 17945
Multplied by 11.26% Pre-Tax Authorized Rate of Return 2021
H General Taxes 531
Citizen's Acquisition Premium 40810
Total Allocations.
Coronado 42842
Los Angelesg 58288,
| Village 42125
Toro 933
i Monterey Wastewater 7732
Monterey 97884
Sacramento 11,6658
| Larkfield 6125
Total s 372887 2
~ °

Pageitof1 | Words7 | B |





 (END OF ATTACHMENT C)

ATTACHMENT D:  CORONADO/SAN DIEGO COUNTY DISTRICT

[image: image119.png]CPUCSHEETNO.
1033 B Avanus, St 200
CORONADO, CA92118 CPUCSHEETNO.

APPLICABILITY
Applicableto allwater senvice furnishedforfire hydrant service.
TERRITORY.

‘Goronad, Imperal Beach, andportons of San Diego, angvicity, San Diego County, allas set
forth onService Area maps onfil withine Calforna PublicUtiies Commission.

RaTES
Ber lonth

Private Fire Hycrant Service Instaled at Cost of Applcant:
FOF €801 Fire HYCHANT ISIAIE ..o oo S1282

(Continued)

osE NsERTED Sy vILITY svEDsY. osEmsEREDEYCIUC)
ADVICELETTER XO. D.P. STEPHENSON. DATEFILED
. EFFECTIVE

DECISIONNO. A1007-007 _ DIRECTOR - Rates & Regulation _ RESOLUTIONNO..





[image: image120.png]Wome | et  pageloyout  References  Mallngs  Review  View Adolns o @
A M s
ek Change Eating
N Q
WA h AN BB T et -
Cipposrs Fort [ e
(1] o R RN R RN R KRR TR TR RS R RS AR i § 5]
e p— s crvcomee o
[~ 1
coresubie oo
o
H et bl
B P
P
H F——
o el e o o an D vy 30D Gy
S
g
B The o
S0
S 80
- Commercial Customers: |
Smemgmemes . FE—
| By Authority Customers:
e W sses 0
. ERE i g0
e
B e o
[ ———
-
: et
For 5/8 x 3/4-inch mater. $5.10 o
| For 3nen matar 5786 o
il it o
For 1-12:nch mater. 5252 e
N For 2nzn meter s4084 o
For 3anch meter $76.57 o
oo i o
B b it o
o eions e H
H S
ittt et bR
{(Continued) |
7 ADVICE LETTER YO. ____ D. P, STEPHENSON DATEFILED ___ 4
B Ereecme :
B
prcison o Alooiss  _DIFECTOR ~ate & Raplaton _ RESOLUTION YO °
< [ m ]

Page:1of1 | Wordsi199 | OB |

[EFE)

o U





[image: image121.png]Insert

Page Layout

References  Mailings.

arial

Review

View

L

Addns

)

Quick Change | Editing

CALIFORNLA-AMERICAN WATER COMPANY Rese
B P —— —
CORONADO, CA 2118 CANCELLNG _Osgiza

CPUC.SHEETNO.

CPUC.SHEETNO.

B-A-m | AQ Hiv 8L sitesv styles~ |
Cipboard | Font Paragraph syies 5| |
g I I I I I I ] [

]
‘Schaduis No. CO-1 (Continusd)
Coronado Dt Tartt rss
GENERAL METERED SERVICE

BATES (Conthuse)

Sanves Crarga: Rasants Fre Sernar System (RFSS)

sine Quanisy Ratas.

et
H e
For 818 x3/4-ncn rasntal o 1neh resdenti matered 2 v 502
For 88 x 3/4uncn rasntalto 1 112-nen rsdartal matarsd frs sornkar 553
B For 88 x 3/4-ncn rascntal to 2ineh resdents matered 2 sarnir. 5370
For3iéoncn rastanta! o 1-neh resdental matarsd frs sornkar 535
For3iéoncn rassanta!fo 1 1/2-ncn rasaantal metares fre sormcar sitis
W For3itonen rassantal to 2-nen resdantal metarss frs sorncar 1202
For T-nen rascants! to 1 1/2-nen resdnt metered e sorcar si557
E For 1unch rascanta! to 2-nen ressdantal mataras frs sornkar st645
For 1 112:n0n rssental & 2-nen rmsdent metered e somicar 52528
M Tne Senvcs Charge s & rasdinass fo-senva charg which s applcabisfo sl Residants Fie

‘Sprinkier System metarad sanvcss only nd 1o whieh s addad tha cnarge for water used computed

(Continues)
Bl  sovcererERvo. D.?. STEPEENSON. DATE FILED
B B EFFECTIVE

'DECISION No. Alogroor  _ DIRECTOR - Rates & Repulstion  RESOLUTION

“omd

< o

Page:of1 | Wordsi169 | B |






[image: image24.jpg]CALIFORNIA-AMERICAN WATER COMPANY Revised  C.P.U.C. SHEET NO. TBD-W
1033 B Avenue, Suite 200

CORONADO, CA 92118 CANCELLING Revised C.P.U.C. SHEET NO. 6326-W

Schedule No. CO-4
Coronado District Tariff Area
PRIVATE FIRE PROTECTION SERVICE

APPLICABILITY
Applicable to all water service furnished for privately owned fire protection system.
TERRITORY

Coronado, Imperial Beach, and portions of San Diego, and vicinity, San Diego County, all as set
forth on Service Area maps on file with the California Public Utilities Commission.

RATES

Per Month

For each 4-inch connection or smaller...................ocooiiioooeoeeeee $21.43 (1)

For each 6-inch connection $44.87 (:)

For each 8-inch connection $66.38 8

For each 10-inch connection $98.74 (0

For each 12-inch connection $143.84 ()

(Continued)
(TO BE INSERTED BY UTILITY) ISSUED BY (TO BE INSERTED BY CP.U.C)
ADVICE LETTER NO. D. P. STEPHENSON DATE FILED
WAME EFFECTIVE

DECISION NO. A.10-07-007 DIRECTOR — Rates & Regulation  RESOLUTION NO.

TITLE





[image: image25.png][CIN= AR =T=18 SD Comp Exh [Compatibility Mode] - Microsoft Word - @ %

nome | imen_ magetmon Reterences v

o Revew  View  Adting 2@
caor

B 7 U -ae x, X : &% @

Rl

Paste Quick Change | Editing
- Styles - Styles~ |~
Ciipboard Font 5 Paragraph 5| syles &
] i = = = = = N
e, T @ dms 2w s
g T o o @ @ @ @

“omid

Page: 10136 | Words 5,485 | B |





TABLE B-3
CALIFORNIA-AMERICAN WATER CO.
SAN DIEGO DISTRICT
WATER SALES PER AVERAGE CUSTOMER ESCALATION YEAR 2013
CCF
STAFF 

UTILITY
UTILITY EXCEEDS 

UPDATED
ITEM 
ORIGINAL 
REVISED 
BRANCH 
REVISED 
FILING 
ADOPTED
 DIFFERENCE
	Residential
	138.9
	124.5
	0.0
	124.5
	133.2
	124.5

	Commercial
	848.2
	824.4
	0.0
	824.4
	865.5
	824.4

	Public Authority
	2,759.6
	2,029.3
	0.0
	2,029.3
	2,128.3
	2,029.3

	Industrial
	0.0
	0.0
	0.0
	0.0
	0.0
	0.0

	Irrigation
	0.0
	0.0
	0.0
	0.0
	0.0
	0.0

	Construction
	0.0
	0.0
	0.0
	0.0
	0.0
	0.0

	Other
	1,158.1
	706.7
	0.0
	706.7
	978.5
	706.7

	Unmetered
	0.0
	0.0
	0.0
	0.0
	0.0
	0.0

	Private Fire Service
	0.0
	0.0
	0.0
	0.0
	0.0
	0.0


[image: image26.png][CI= AR ET=15 SD Comp Exh [Compatibility Mode] - Microsoft Word - @ %
Home | Inset  Pagelaout  References  Mailings  Review  View  Addns )

N

B 7 U-aex x
Quick Change | Editing
Shles~ Styles~ |~

Clipboard Font 5 Paragraph 5| shis s
[Of I T I 2 I 3 I E3 I 5 I 5 I RN 7]
e nry ma
Jrep—
s e o P s
) Er -] H i =
Sty R H R ES
| S H H : H H H
A o masscomee B mm o B me 20
s ez 2 am o 2 zm 2 -
RIS = o H 3= &R 2 z
°
“ [ m

Page 20136 | Words 5485 | B |





TABLE D-1
CALIFORNIA-AMERICAN WATER COMPANY SAN DIEGO DISTRICT
TOTAL SALES AND SUPPLY TEST YEAR 2011
STAFF 

UTILITY
UTILITY EXCEEDS 

UPDATED
ITEM 
ORIGINAL 
REVISED 
BRANCH 
REVISED 
FILING 
ADOPTED
    DIFFERENCE 

	METERED SALES  KCCF Residential
	2,540.7
	2,251.3
	0.0
	2,251.3
	2,409.2
	2,251.3

	Commercial
	1,782.4
	1,692.5
	0.0
	1,692.5
	1,776.9
	1,692.5

	Public Authority
	869.3
	639.2
	0.0
	639.2
	670.4
	639.2

	Industrial
	0.0
	0.0
	0.0
	0.0
	0.0
	0.0

	Irrigation
	0.0
	0.0
	0.0
	0.0
	0.0
	0.0

	Construction
	0.0
	0.0
	0.0
	0.0
	0.0
	0.0

	Other
 
26.6 
16.3  
 
0.0  
 
16.3 
22.5  
 
16.3 


	TOTAL METERED SALES
	5,219.0
	4,599.3
	0.0
	4,599.3
	4,879.0
	4,599.3

	UNMETERED SALES
	0.0
	0.0
	0.0
	0.0
	0.0
	0.0

	PRIVATE FIRE SERVICE
	0.0
	0.0
	0.0
	0.0
	0.0
	0.0

	Non Revenue Water
	93.5
	130.6
	0.0
	130.6
	215.4
	130.6

	TOTAL WATER REQUIREMENTS-KCCF
	5,312.
	4,729.9
	0.0
	4,729.
	5,094.4
	4,729.

	TOTAL WATER REQUIREMENTS-AF
	12,195.8
	10,858.4
	0.0
	10,858.4
	11,695.2
	10,858.4


	PRODUCTION -KCCF
	

	Purchased water-
	5,313.4
	4,730.6
	0.0
	4,730.6
	5,094.4
	4,730.6


 Company Wells 

 
(0.9) 
(0.7) 
 
0.0  
 
(0.7) 
0.0  
 
(0.7)
	Total WATER REQUIREMENTS-KCCF
	5,312.5
	4,729.9
	0.0
	4,729.9
	5,094.4
	4,729.9


[image: image27.png][CI= AR ET=15

Insert  Page Layout

Clipboard Font

References

SD Comp Exh [Compatibility Mode] - Microsoft Word

Mailings

Review  View

A M -

Siyles Styles~ | *
Paragraph 5| styes  n

Adddns

o B %

N = s R

3 0 5 5 0

Sameassrmer

Rl [

oremsse s
X _afmnce
e remwss e
s s s o a2
9 P o @ p
SR ] @ r=r)
e 1 @ @
o o uETERED wma s o s
e I 8 b b b
9 ot emvEs e e o wems  me s

“omid

Page: 40136 | Words 5,485 | B |





[image: image28.png]% |calibri

Paste

WE9- R SD Comp Exh [Compatibility Mode] - Microsoft Word

References  Mailings  Review  View  Adddns

L

o B %

Quick Change | Editing

- Styles - Styles~ |~

Cipboard Font Paragraph s sy &

] s o e o s o R e s

S
Frral T
E— E—

S e ms o v w7
o suses R o IS ez
- [ o - ez

E o

k] [

Page:5 0136 | Words 5485 | B |





[image: image29.png][CI= AR ET=15

SD Comp Exh [Compatibility Mode] - Microsoft Word

References  Mailings

Review  View  Addins

o B %

)

A a
B 7 U-aex x AaBbCcDc | AaBbCcD: AaBb( [
- TNormal | No Spacing  Heading 1 Change  Editing
Ax &-meslw padng Hesang1 || Chanar | FOL
Cipbord Fort i egmn o Syes 5
[ I T I 2 I 3 I E3 I 5 I 5 I 7 I &
s
pr———
== o
B e R
et e e
JRS— J— o e v s
=) = = & I =
JR—— R P -
=) = = = = =
[— e s 5 e wm e
. . 2 R &
-, o= H 2w i
= R e . s S

“ [

“omid

Page: 6 0136 | Wordsi5.485 | B |





[image: image30.png][CI= AR ET=15

SD Comp Exh [Compatibility Mode] - Microsoft Word

Wome | Inset  Pagelaout  References  Mailngs  Review  View  Adddns )
% cabni INIE
G B L U-aex X AaBoceDe | AsBbceDe AaBb( [
Paste Thommal | NoSpacing  Heading1 - Change | Edting
R A A AR He 8w pang 9115 syies~ | -
Cipboard Font 5 Paragraph 5 styes 5
[ I T I 2 I 3 I E3 I 5 I 5 I 7 I &
cnsom s CoaY
wssTmacesEnE
e i
E——— —
Pech e = Er ) E 5
e R E 8 ER E d
°
T m
Page:7 o136 | Wordsi 5485 | B |





[image: image31.png][CI= AR ET=15

SD Comp Exh [Compatibility Mode] - Microsoft Word

A o
WA mar AN D 8T Thormal | NoSpacing  Heading1 |-

Change | Editing

“

= e
(] == T T . 2 . 5 a £ T 5 T & T 7 T &
P

H mmnn
IS P PR

| [ O i
e [ [ :
e [ A i
ety [ [ I

i ISt [ FI I B
N — s s
SaiE . [ H
[ E [ A
T i G e —

“omid

Page 8 o136 | Words 5485 | B |





[image: image32.png][CI= AR ET=15

SD Comp Exh [Compatibility Mode] - Microsoft Word

o B %

Home | mnset  Pagelsyout  References  Mailngs  Reiew  View  Addns )
% [cattn INIE
Gy B Z Uk % AaBoceD: | Assbced: AaBb( o
Paste e Thomal | NoSpacing  Heading1 || Change | Editing
- & YAt (AN D80 peang ° shles~ | -
Cipboard Font Parsgraph 5 Styies 5
| RN SR ey
ety
Eirca grure
- ==y
Ee—— [E——
——r ——% —mr—mr —=%
N wm s o e oTm s
wmms e = sz e
s s s mmr s s
@ iy & @ =
3 amy  dm & am) dEp =3
@ Gy G Gy dme s
—r e Er e
°
< m
Page:9 of36 | Words: 5485 | B |





[image: image33.png][CI= AR ET=15

Insert

Page Layout

SD Comp Exh [Compatibility Mode] - Microsoft Word

References

Mailings

Review

View  Adddns

assoceoe] assoceoe AaBb( | A 8

o B %

)

Thommal | NoSpacing  Heading1 - Change | Edting
4 A ESa=AE R 4 peang 98 =l stes~ |-
Cipbo.. Font 5 Paragraph 5 styes 5
[ I T I 2 I 3 I E3 I 5 I 5 I 7 [ 7]
pre=rtir
JERERTR
SE T =
aEmir
— e
. oy s o wms e s
T - = Wt s s
e Y. w5 @ % 8 %
s 58 i@ - g
At ri A z Za i} 22
e
= T =5 s om7
= b H- ks - - it
rosoence wm: aea s @n o s
o w @ @s @ @ @
erarenconzaces =@ @ @5 @ @
s w2 aap @ @y eon @
e w e @ oy amn ey
pats
receenncouenac W e @ mn  aug [EII
o s on scone wo  oms @ @y @ ws ©

“ [

Page: 100136 | Words: 5485 | B |





[image: image34.png][CI= AR ET=15

SD Comp Exh [Compatibility Mode] - Microsoft Word

o B %

Home | Inset  Pagelaout  References  Mailings  Review  View  Addns - @
1= . IINIE
B 7 U -ae x, X =
° Quick Change | Editing
PrA-fa (KA S [T sy sy | -
Font 5 Paragraph syles
LT T T 2 T ERATRN] 3 T ENRENERE Ty &
. o=t
. P P
- - o P s
N Gross Adans. 10980 10980 00 10980 10980 10980
sssaremann P o P =
| - e e o e e e
P w o o o o
R s me o . sz
T — - o mems  mams aes
E °
T m
Page: 11 0136 | Words: 5485 | <5 |





[image: image35.png][CI= AR ET=15

Insert

SD Comp Exh [Compatibility Mode] - Microsoft Word

Pagelayout  References  Mailings  Review  View  Addns - @
% [aral -5 - A
aasbcede | Aasbcede AaBb( |
Thomal | NoSpacng Heading1 | Chenge | Edting
A i 98 =l shies |~
Clipbo.. s Font 5 Paragraph 5 stes 5
[T T 2 . ST £ . AT R . 7 &
SR
e may
_nfmmaie
[E— E—
osscumon sesmmie- 0. wem e o wems s wemo
e ] @ 5 ] 55
sy @ @e @ @ @ @8
e @ @ i G )
e & & o & & @
[ —— —— —— e o
osmscumon sesmmie- 2o usms  mss o wsa  nsss s

“« [ m ]
Page: 120136 | Words: 5485 | B |






[image: image36.png]@19 - B 28> 5D Comp Exh [Compatibility Mode] - Microsoft Word  [izituatels| wilees | o @ 2

DR ore | e pagemout Reteencs Matinge Revew view Adoins | Fomst | Design o | o
% aral -6 % 5
G B 7 U -aex X Aasbcede | Aasbcede AaBb(
o o jormal | No Spacing  Headins Change | Editing
4 WA A A A RPN | Ttomal | Nospacng Headingt [5| Glefs =
% Font % Paragraph % syes .
T 3 0 1 0 2 ] E] NS X3 [ TN LIPS Ao &7

g Sameassrmer

WD AGomR RESERIE )

NI R R
Sethe S T s
Seci 5 ST asn

oumces o consTa oz

e wme wons =0 wwss wmz e
M °

‘ [ m
Page:13 0136 | Words: 5485 | B |





[image: image37.png]W9~ O @A+ SD Comp Exh [Compatibility Mode] - Microsoft Word

BT rone it reelmout Reeencs atings | revew | view agoins & @

Y8 s me

22 3 o

o B %

Speling & gy | Languase|  Niew Tracking| Accept Compare Protect
Grammar i | Comment 21 | - B - S
Prooting Comments Changes | Compare
] S B B R R R RSB O AR T
o=t
rsmcrosmp aren B
S e
L] PSP - e 5 RS
el
METERED REVENUES o
5 e szt 22 sz
P i B &
T =E = e
o I H i
TS —— P e

“ m S

“omid

Page: 140136 | Words: 5485 | <B |

[EEEEEE





[image: image38.png]| e e, Sl et e b B R L e

BRI o et it Reeences bangs | reven | View  Adoins 6 @
<Y = B =
ves @i ez @y 3

Speling & gy |language|  New Tracking Accept oy | Compare | Protect
Grammar i | Comment 21 | - % - S
rocting Comments Changes | compare
L] ]
preesety
oz
I Fre]
[ P v o i Y
e
[ [
P — s maes oz oww owme wm B
[ - ms o owsmr mms e
Ema E] BOUED EOUE
B Raoms 3 2 omonoR
frr 58 -
s il o _d BB
[ —
22 s e s o oms s
- e =omamom
— R o emows s
sz o oms W owowms o
s & & £ 8
— R e oums s v
e - womsowmeoem
et e S S N
weovscous s e w s s e °

w3 >
Page: 14 of 36 | Words: 5485 | B | [EEEEEE el





[image: image39.png]Wl = 9~ O

SD Comp Exh [Compatibility Mode] - Microsoft Word

o 8%
BED vome et Pagelmout  References | Maiings | Review  View  Addins )
(2 start it Merge - B rweoes B N I
[ select Recipients = B Greetingtne 3 £3Find Recipient M
Create Highlight oy Prevew Finish &
7| B et Recpient ist | warge Peias B3 nsertMerge Fiela - [ | Resuts | B Auto Checkfor Erars | Wierge

Start Ml Merge Wite & nsert Fields Preview Resuits Finish
[ [RERS EREN S KRN} RN A Y AN RS AN} &

«

“omid

Poge: 16 0136 | Wordsi5.485 | B |





[image: image40.png]WE9- R

SD Comp Exh [Compatibility Mode] - Microsoft Word

NI

B o et reelvow  Reenes | voings | fevew  Vew  Addins -Q
3 Eovetopes | [CaStart il Merge - j B Address Block @ K4 [
[ Select Recipients - B Greeting Line £ Find Recipient -
) . T . 2 . £ m £y g 5 . 3 . &
= o .
p—
pr [ P -
e = - g
£ I : A E
1 == [ : . :
i [N [ L e e e
J— P S ae ome s
e A :omo=m o=

<

“omid

Poge: 170136 | Wordsi 5,485 | B |





[image: image41.png]WE9-vER&s SD Comp Exh [Compatibility Mode] - Microsoft Word NI

B o et reelvow  Reeens | voings | nevew  Vew Addins -Q

ames 2 [@ 50 D) Baonx K >
& [ Greeting Line @3Find Recipient M
Bubes | Sovan et et | womon ) . s
3 Werge ™ Reapent - Recen s | erge el 84 nsrt e i 8 suto checetor s | e
e St i erge wite & nser e e et i
[ T T 0 2 0 3 L 3 0 3 T 3 T oy
o]
P
p— e ©me s e
e oo g oEm S
B ] 8 E =
= R 8 . B
[p— - w  am ams -
[ w o w - =
o e e s ow P =
[t ettt O - e
e o om © e e B
e pel bt P R
[re— P ER=— B
4 [ m
Pagei 18 o 36 | Wordsi 5485 | <F |





[image: image42.png]WiE9- R SD Comp Exh [Compatibility Mode] - Microsoft Word m
BEDE ore et ragelout  Reteencs | baings | Reiew  View  Addins | Deson  Lyou
Er = B & D) Do K ]
& [ Greeting Line 2] Find Recipient M
Lbels | Stathsl seec  cor Hignignt preview | o Finish &
U Merge - Recipients - Recipient List | Merge Fields G4 Insert Merge Field = [ | pesuits = R Auto Checkfor Errors | perge
Greste Start Ml Merge Wite & nsert Fields prevew Results Finish
[ T 3 0 1 0 753 - %] 0 £ D) [ KN & [ IR ¥ 05
WERE
R
- _atmnce
N Fe—— B
L was mme o wame
Frr @ Fr
i @ =OE
o, cmvemn, uerenes [ — o [
Jr— B o o w w0
o smss ErT— o wame e s
4 o
< [ m
Page:19 0136 | Words: 5485 | <5 |






[image: image43.png][Cl>]

T T D Comp Exh [Compatibiity Mode] - Microsoft Word m =@ =
I o et reelow  Reens | voings | fevew  Vew  Adgins | oeson -Q

Layout

[ E m = B B Address Blodk @ K4 BLIN:
& B Greeting Line . £qFind Recipient
S iabes | StartMail Select it Highlight oy Preview | o Finish &
U Merge - Recipients - Recipient List | Merge Fields G4 Insert Merge Field = [ | pesuits = R Auto Checkfor Errors | perge
Create Start Mail Merge Wite & Insert Fields Preview Resuts Finish
[ T 3 0 1 0 753 - %] 0 £ D) [ KN & (I IR %2055
SR e
— —
s e s o s e s
oA svEs . o s a7
ToTa neT AL v o e a2
13
‘ [ m
Poge 200136 | Wordsi 5485 | B |





[image: image44.png]M9 oER&Es SD Comp Exh [Compatibility Mode] - Microsoft Word m =@ %
DB rove et raociow  Reteencs | vaings | Resew  view  dsins | Deign o | 6@
ames 2 @ 57 D) Do K >
& [ Greeting Line 2] Find Recipient M
Sisbe | StatMal Seled  Eat | Hiohiont o prevew | = Finisn &
U Merge - Recipients - Recipient List | Merge Fields G4 Insert Merge Field = [ | pesuits = R Auto Checkfor Errors | perge
Greate Star Wil Merge Wie & nset Fields review Resutts Finish
[ T 3 0 1 0 753 - %] 0 £ D) [ KN & (31 ZCMNCKE %80 7]
prepy
cemsmac. memat
— —
A ) o wat ot st
e = T e
ms  mese o wmme s wass
wme o o wewe mem e
s e s w0 omms nmms s
it = o @ om P
S o = & -] =
= s e = o
« [ m
Page: 21 036 | Words: 5485 | <5 |





[image: image45.png]Wid9- o0&
amens| [ B G | B

Inset  Pagelayout  References | Maiings | Review

B Address Blodk

B Greeting Line

View

SD Comp Exh [Compatibility Mode] - Microsoft Word

LK

Adddns | Design

NI

)

Finish &

« [ o

S isbels | StatMail  Seledt Eait Highiight ) preview | o
U Merge - Recipients - Recipient List | Merge Fields G4 Insert Merge Field = [ | pesuits = R Auto Checkfor Errors | perge
Greate Start Ml Merge Wite & nsert Fields Preview Resuits Finish
L] £l I ;3 N o g F TN 1 © E¥A
ey
-
[ [
e ey wsows o s o o

°

Page: 220136 | Words: 5485 | B |






[image: image46.png]Wi 0 D Comp Exh [Compatibiity Mode] - Microsoft Word m =@ %
[re ugeioyout_retenies | Watngs | fiew  View _pdans | uign ot | 0 @

Insert
s 2 Adress Block K >
=3 Envelopes =7
& [ Greeting Line 2] Find Recipient M
S isbels | StatMail  Seledt Eait Highiight ) Preview | 5 Finish &
U Merge - Recipients - Recipient List | Merge Fields G4 Insert Merge Field = [ | pesuits = R Auto Checkfor Errors | perge
Greate Start Ml Merge Wite & nsert Fields Preview Resuits Finish
== . T . 2 T E 3 [E KN 05 TN A A E3 E 3 A 10 7]
e
Jugn—
p— P—

[y e — ™ s o o - o
| e = o o @ I S

o e e = @ @ @ 8 8

i e e 4 & o @ = =

Pt & I H ] ]
o Emmee = =0 H =

et R H F & F

e — = @ P wi
B °
“ [ )
Pagei 23 0136 | Words: 5485 | B |





[image: image47.png]9- ORI om ‘ompatibility Mode] - Microsoft Wor =
Wid9-o | SD Comp Exh [Compatibility Mode] - Mi ft Word ® =
BED vore et Pagelmout  References | Maiings | Review  View  Adddns | Desn  lmowt | & @
ames 2 @ 57 D) Do K >
& [ Greeting Line 2] Find Recipient M
S isbels | StatMail  Seledt it Highiight ) Preview | 5 Finish &
U Merge - Recipients - Recipient List | Merge Fields G4 Insert Merge Field = [ | pesuits = R Auto Checkfor Errors | perge
Create Start Mail Merge Wite & Insert Fields Preview Resuts Finish
== . T . 2 T E 3 [E KN 05 TN A A E3 E 3 A 10 7]
ey
_semmmoe
[ [
Bms  wzm o wme oman P
mess s -as wsws s nams
ame mm o nmo mams 2200
o ima @ e s )
@3 coan @ [ ]
s gams @ @ws s o]
T = T =y
13
“ [ )
Page; 24 of 365 | Words: 5485 | B |





[image: image48.png]Wd9-oEds D Comp Exh [Compatibiity Mode] - Microsoft Word m =@ =
BT vore et e e | vings | feiew  vew  Adsws | Do e -Q

ams [ [P G2 D B & K >
& [ Greeting Line £JFind Recipient v
Subes | Swthm seea ot | oo o review | S s &
B Werge - Redpints - Recpent Lt | Merge s 8 nset MergeFeta - [ | R | B Auto Checktorrrs | Firge
Crate Start i erge wite & nset Fecs reew Resuts Finn
] (]
pebte
g ey
e
[— [
PR FI— s wme e -
P T — P - s e -
ek % E ] WO =
e R H % ]
Sl = ] - o
ETER Y it HH =
[
o e = e omms e
= o o @ b=t
e P o - o
sesn o @ o @ (s El
ERa— P = = @ s
— R e PR @ea
rpm PR o2 = @
ey 22
s o o - [E— B
o s o ncsue = n s e . :
o

“ [ m
Page: 24 of 36 | Words: 5485 | B |





[image: image49.png]WiE9- R SD Comp Exh [Compatibility Mode] - Microsoft Word NI
BED vome et Pagelmout  References | Maiings | Review  View  Addins )

semecpss [ 3 D) B

B Greeting Line

V| @arinaredpent

S iabes | StartMail Select it Highlight oy 2 | preview | o1 Finish &

U Merge - Recipients - Recipient List | Merge Fields G4 Insert Merge Field = [ | pesuits = R Auto Checkfor Errors | perge
Create Start Mail Merge Wite & Insert Fields Preview Resuts Finish

] i 0 T T T OB S R R — — 5

Sum0osTer

st nssmed

e (s a5

s n e -50 e e o e s s

W s s sz o s mo 1z
P i E I wsa s ey

4 s s o EEE s
| cwrs-zor s e w e aws _ sem

N -cwe s e o w2 =

s msavce - 20 mao s o mawo msss wwo

IRAS AT NamRE EET o s mas s

“omid

4 [ m
Page: 26 0136 | Words: 5485 | B |






[image: image50.png]W9 oE&

SD Comp Exh [Compatibility Mode] - Microsoft Word

= =

[ o o rovgn oo Ol oo o D -0
Er = B & D) B K > 0|
& B Greeting Line 2 £3Find Recipient v
Hubels | SartMal et  cat | Hghignt o preview | S Finih &
L Merge~ Recipients + Recipient List | Merge Fields G Insert Merge Field ~ [2] | Resuts = 3 Auto Check for Errors | Merge
T Start il Merge Wite . iner Feds e =
LT T T 1 5 5 I 0 5 I 7 o
s
e e T
. i
[E— s 25
[ e —— s s w0 ums s ass
st S - ] R =
M e e g H ) s
s o] H ] ElE
oty I M B B 2
[ [ — w wee wes e
M WTD.AVG. DEPRECIATION RESERVE 12325 12881 o0 128981 12086 128981
o
Rl [

Page: 27 0136 | Words: 5485 | B |





[image: image51.png]WiE9- R SD Comp Exh [Compatibility Mode] - Microsoft Word NI

B o et reelvow  Reeens | voings | fevew  vew Adeins -Q

semecpss [ 3 7 D) Bueeon @ N4 ]
& B Greeting Line a5 V| @3Find Recipient M
Bubes | Sanwel sded  Eat | roniont o review - Finih &
U Werge  Redpients - Redpient st | Meroe Felds 38 nsert Merge Feld - (3 | Resus | B Auto Check forErors | erge
T Start il Merge Wite . iner Feds e =
LT v 1 T 2 0 3 0 @ 3 0 7 ;5]
WESWE
[ - [ e e e
FS—— [ - s e
e o ey 2 e =
ST e ] ey e )
ST s omi & et s
oo = w % = e =
J— [RE— = [ .
e R = [ — e
o
4 [ m
Pagei 28 0 36 | Wordsi 5485 | <¥ |





[image: image52.png]WiE9- R SD Comp Exh [Compatibility Mode] - Microsoft Word

« [ o

=@ =
B o et reelow  Reeenes  Mongs  fevew  View | Adans -@
Workshare + (5} Save With Options X Exitword [ Compare and Merge Documents DM Mail Merge 25
open Blsevess Fie @ About Hummingbird DM
el save B Workshare Send For Review 7 Footer From File 5
LIET I o P I e an P e
= . -
p—
pr [ L e e s
e R o ow oz
£ A : s s =
2 R : I :

Page: 300136 | Words: 5485 | B |





[image: image53.png]WiE9- R SD Comp Exh [Compatibility Mode] - Microsoft Word o B %

B o et reelow  Reeenes  waings  revew  view | Adans -Q

Workshare - () Save With Options X Extword [ Compare and Merge Documents DM MailMerge 5
open Blsevess Fie @ About Hummingbird DM
i sme 2R Workshare Send For Review ) Footer 3] From Fie 5
Menu Commands Tootbar Com.
LIET I o P I oy P s ——
Pt
s P
sz
e ams o sms e s
R H R E
o,z s RN o [P e
epm—— aome o we ome = g
o, res szcumsiETE e e ms o s P
Rttt = i dme e e
S v sasoms o me s s
=z i . S
F—— Gas oms o e PR
T m ] >
Page: 31 of 36 | Words: 5485 | B |





[image: image54.png]W9 oE&

SD Comp Exh [Compatibility Mode] - Microsoft Word

NI

B o et reelow  Reeenes  waings  revew  view | Adans -@
Workshare + (5} Save With Options X ExitWord [ Compare and Merge Documents DM Mail Merge. =
open Blsevess Fie @ About Hummingbird DM
el save B Workshare Send For Review 7 Footer From File 5
[T T T . 2 . 5 . £ . T T & T &

W
P,
R aBan
METERED REVENUSS o
] 22 v e om
1 wom
e -
= I H
I — e
. e e wa wew e e g

“ [

Page 320136 | Words: 5485 | B |





[image: image55.png]WiE9- R SD Comp Exh [Compatibility Mode] - Microsoft Word

=@ =
B o et reelow  Reeenes  vaings  fevew  View | Adans -@
Workshare + (5} Save With Options X ExitWord [ Compare and Merge Documents DM Mail Merge. =
open Blsevess Fie @ About Hummingbird DM
el save B Workshare Send For Review 7 Footer From File 5
[T T T . 2 . 5 . £ . T T &l
W
s e
R v e am e
(— e wmmsme e s
et R v E oo
- D H P T
et . O
[
= e emom wm ome e
= momomooEm omnoom
S e m e e
s e e e e
E— - w e e
J— s e ms e e
srom v www om
ek R R FE
Jg— w wm ws ms m m
[E—— @ w ome ow w e g

o o

Page: 33 0136 | Words: 5485 | B |





[image: image56.png]WiE9- R SD Comp Exh [Compatibility Mode] - Microsoft Word o B %

BRI v et Fcloost R Naings  Reen  View | Adois -@
Workshare ~ (&) Save With Options X it Word (3 Compare and Merge Documents DM bail Merge 5
open R savess Fie @ About Hummingbird DM

Hisee & Workshare Send For Review 2 Footer [ From File 5
Vienu Commands Toolsar Com
[=T . T T z X . £y . T ; 3 ; &

Sum0osTer

Nacrn ee wms e o G wemn s
Pepe—— s memr o s mmr omsw (5]
s 2T sz [ o s mme wes

e (s a5

ma wm o EE wwo
ses s o sae e s
P o smrssas sz
s s o s ams e

VS TS Y P S N

“omid

“ [

Page: 34 0136 | Words: 5485 | B |





[image: image57.png]WiE9- R SD Comp Exh [Compatibility Mode] - Microsoft Word

“

=@ =
B o et reelow  Reenes  waings  fevew  View | Adains -@
Workshare + (5} Save With Options X ExitWord [ Compare and Merge Documents DM Mail Merge. =
open Blsevess Fie @ About Hummingbird DM
el save B Workshare Send For Review 7 Footer From File 5
[T T T . 2 . 5 . £ . T T I &l
W
i
[E— B w o am e e
S o S m e owm
. - H E e o
- B W A A
et - = H ol B
[ U — B e e
[E—— R [

“omid

Page: 35 0136 | Words: 5485 | B |





[image: image58.png]WiE9- R SD Comp Exh [Compatibility Mode] - Microsoft Word o B %

B o et reelow  Reenes  wings  fevew  Vew | Adains -Q

Workshare - (8 Save With Options X Bt Word [ Compare and Merge Documents DM Mail Merge 3
open Blsevess Fie @ About Hummingbird DM
i sme o Workshare Send For Review ) Footer ] From Fle 5
Menu Commands Tootbar Comma,
LT 0 1 0 2 0 3 0 3 0 3 0 & 0 7 [l
P
pEE
mosws 55 .
R . [EE—. o mimswsss ws
i [ asmn s o @ oswn s
ey N H oy )
SRR ISR e H b B B 1
3 TSN 0sss  qs7w = omn @i ame
Ko om g ET = @ ma @
o e e [ = e s s
3 ST wess o = v wmws  mmu 2
et sons T w S = o
“ [ m ] >

Page: 36 0136 | Words 5485 | B |





(END OF ATTACHMENT D)

ATTACHMENT E:  LARKFIELD DISTRICT

[image: image59.png]Home | mset  pagelsyout  References  Malings  Revew  View  adeans 0 @

Paste e Quick Change | Editing
-7 YAt (KA S [T sy sy | -
Clipboard Font 5 Paragraph 5| syles &
] B R R S R KRy XX Y RN RERY SR XY KRN RS ARRN R G

« o4

< m ] T
Page:10f 21 | Words: 2981 | EeEsz= %0 —U-——®





[image: image60.png]Inset  Pagelajout  References

Mailings

Review  View  Adddns

L

.7 Quick Change | Edting
-7 LAt (K0 &-m- (BT i syes- | -
Clipboard i Font 5 Paragraph 5| syes
] ERRRRRRS TRRNRRRS TRRN T N RS TRRN AR ARRNRRRS ERRNRRY
o
< [ [
Page: 20121 | Words: 2961 |





[image: image61.png]Home | mset  pagelyout  Refeences  Maings  Revew  view  Adsins & @)
.2 NI
paste e Quick Change | Edting
B WA A AL AR TN § Styles~ Styles~ |~

B O 8 e R R A g4 T RS RS Ry Eopy s T
== e == <.

“ [ . ] »

e





[image: image62.png]Home | mset  pagelyout  Refeences  Maings  Revew  view  Adsins & @)
.2 NI
Paste oo Quick Change | Editing
B WA A AL AR TN § Styles~ Styles~ |~
DO o RN RN e T4 R e R B e e e xS
:
T m
Page:4of 21 | Words: 2981 |





[image: image63.png]G 4 calibi

i B 7 U e x X

It Pageloyout  References  Malings  Review  View  Addins & @

L

-

“

paste s Quick Change | Editing
-7 - A-Aa AL b2 Styles - Stes™ | *
Cipboard Font % Paragraph il sy w
n} " 1 " 2 " 3 " 4 " s " & " 7 " ]

e B

« o4

Page:5.0f 21 | Words: 2981 |

>
s 0 &)





[image: image64.png]ﬂ % calibri -l

i B 7 U e x X

View o

L

paste 3 Quick Change | Editing
-7 - A-Aa AL stles~ Styes™ |~
Clipboard s Font shles o
o e e e o R LR L e LR ek D Lo s o B

« o4

Page:6of 21 | Words: 2961 | 7%





[image: image65.png]BED vome et meoelmout  Refences  Maiings  Revew | view | Adsins & @
& Web Layout 8 New Window (1)
[ 3o s ] B | BB

5
Full Screen Show | zoom  100%

Switch | Macros

Reading (= Draft 2| Bseit 83 windows | -
Document Views Zoom Window Macros
[ NN EREN NS SRR N RN CE N R SR KR RN RS K] &

. ot = %o

T o
Fage:7 12 | Worasi 2991 |





[image: image66.png]BED vome et meoelmout  Refences  Maiings  Revew | view | Adsins & @
g Seeem o Q Bt 0 0]
rursacen 2O | oo | spom om | S arment B L
Reading (= Draft S 2| Bseit 83 windows | -
- e Window e

[ RN R R R A KRN R NERNERREEREN RRRY ERRNRERYARRNERED ;|

= mure e E

I

« o4

«

Page:8of 21 | Words: 2981 |





[image: image67.png])

Veis @I ey 3

s o ©

Spelling & . |language  New Tracking Accept Compare | Protect,

] - [EREF EERNRRES EERNRRET) 5 [RRES]

«
Page:9of 21 | Words: 2981 |





[image: image68.png]BED ome et recelyout  Retrences  Molings | Revew | view  adeins o @
-3 1] B =
ves @i ez @y 3

Spelling & e |LanOUAGE Hiew Tracking  Accept Compare | Protect
Grammar i | Comment 21 | - % - S

Proofing Comments Changes | Compare
I T o O T T T T O ST O S IO

« o4

« T m ] »

Page: 10 0f 21 | Words: 2981 | IO )





[image: image69.png]“

Insert  Pagelajout  References  Maiings | Review | View  Addins
Yois @3 » > 3
$ L] 2
Spelling & o | Language|  New Tracking Accept Compare | Protect
Grammar i | Comment 21 | - % - S
Proofing Comments Changes | Compare
1| s caaa E RN R KRN R SN R SXRN WS KR &

« o4

Page: 11 of 21 | Words: 2981 |





[image: image70.png]Yils my e ¥ 30
Grammar 4| | Comment 23 © - % - -
I T T T T T T T T O ST T T TR
. = —
;
< Il
Page:120f21 | Words: 2,381 |





[image: image71.png]BED rome et Pecelvout  Retrences  Moiings | Revew | View  adeins o @
-3 1] B
VEs @y sy 9 s

Spelling & g |Language  New Tracking | accept Compare | Protect
Grammar i * | Comment2d | - - - s

Procfing Comments Changes | Compare
] B o i SR R, KRN KK Tk IR SRR RERY ARRNRRRN AR =

. = . N
| o

Page: 13 of 21 | Words: 2981 |





[image: image72.png]B o et mooetsout Reterences | iiings | Revew view adeans & @

(2 start it Merge - B Brmoes <
[ select Recipients ~ [ Greeting Line 3 A
create Highlight oy Prevew | Finish &
| B it Recpient st | wirge Felas B8 Insert Merge Field - (21| Results+| werge
Start Ml Merge Wite & nsert Fields Finish

e e e e

=

°

T o
Page: 14 of 21 ‘ \Words: 2981





[image: image73.png]B o et mooetsout Reterencs | iiings | Revew View adeans & @
2y start Ml Merge = j B Address Block 3 =

Select Recipients ~ B Greetngtne 93 M
e B Hignignt Prevew | Finish &
| B it Recpient st | wirge Felas B8 Insert Merge Field - (21| Results+| werge
Start Ml Merge Wite & nsert Fields Finish
LT v 1 0 2 0 3 0 3 0 0 & 0 7y
°
CI m ]

>
[EFEEE R C)

Page: 15 of 21 | Words: 2981 |





[image: image74.png](24 Start M Merge - 2 ) Address Block 7 (e

Select Recpients B Greeting Line o M
e B Highlight oy Preview | Finisn &
" | B edit Recipient Lst | prerge Fields B8 Insert Merge Field = [B | Resits~| perge
Start Mail Merge Wite & Insert Fields Finish

] S R E AR SRRNRE * KRR RARE SERNERY SEXN AR SERRRRRE

« o4

<« m |
Page: 16 of 21 | Words: 2981 | [EEEEERE)





[image: image75.png]B e et meoetsout  Reteences | vaiings | Reiew  view adsins & @

2y start Ml Merge = j B Address Block 3 (e
[ select Recipents - B R

B Greeting Line 5
Prevew | Finish &

Create Highiight
7| & edit Recipient List | perge Frelas B8 Insert Merge Field = [B | Results +| Merge
Start Mail Merge Wite & Insert Fields Finish

[ [EEES ERRN RN 3 E3 5 PN 7

« o4

T o
Page: 17 0121 | Words: 2961 |





[image: image76.png]References | Mailings

Review

View

Adddns

)

| [Bastort il Merge - ) Bseronn
Select Recipients ~ B Gresting line M
e B Highlight oy Prevew | Finish &
| B it Recpient st | wirge Felas B8 Insert Merge Field - (21| Results+| werge
Start Ml Merge Wite & nsert Fields Finish
LT v 1 0 2 0 3 0 3 0 0 & 0 7 iy

<«

« o4

Page:18 of 21 | Words: 2981 |





[image: image77.png]References [ Maiings | Review View Adddns & @
(2 start it Merge - . <
Select Recipients ~ B Greetngtne 93 M
e B Highlight oy Prevew | Finish &
7| & et Recpient List | viarge petcs B3 Insert Merge Field - (A | Results+| wierge
Start Ml Merge Wite & nsert Fields Finish
[ [EEES ERENEENS SRR KRN RRRY ) CEEENERR AR} &
E °
< m

Page:19 of 21 | Words: 2981 |





[image: image78.png]B vore v oot eteences | woiings | Reiew view adsins o @)
2y start Ml Merge = j B Address Block

Select Recipients ~ B Greetngtne 93 M
e B Hignignt Prevew | Finish &
| B it Recpient st | wirge Felas B8 Insert Merge Field - (21| Results+| werge
Start Ml Merge Wite & nsert Fields Finish
[ EEES EREN NS SRR KRN RN E N R SN K RN S KX

[

« o4

T o
Page: 20 0121 | Words: 2961 |





[image: image79.png](2 Start Ml Merge - 2

References | Mailings | Review

Block

B Addre

View

Addins

)

Select Recipients ~ B Greetngtne 93 M
e B Highlight oy Prevew | Finish &
| B it Recpient st | wirge Felas B8 Insert Merge Field - (21| Results+| werge
Start Ml Merge Wite & nsert Fields Finish
[ EEES EREN NS SRR KRN RN E N R SN K RN S KX

@ o

»

Page: 21 of 21 | Words: 2981 |

Besss 5x0—0——0©





(END OF ATTACHMENT E)

ATTACHMENT F:  LOS ANGELES COUNTY DISTRICT

[image: image80.png]Home | Inset  Pagelajowt  References  Mailings  Review  View  Addins )
[ ree 6 AN A o= N
B a | f AN M ENE 8019 [aamocene] asmcene AaBbC | A #
e B L U e x X ¥-A- B Tomsl | THoSpaci.. Hesding: | Change Editing
Clipboard s Font 5 Paragraph 5 stes 5
LI : T : : : 5 £ : s : : &
TaaLE 52
‘CALIFORNIAAUERICAN WATER CO.
L0 ANGELES DISTRICT)
WATERSALES PER AVERAGE CUSTOMER
TEsT YEAR 2012
cor
B ummy
sxczens GemRTeD
men omGmAL | revissd SRANCH revisen | FLNG apoPTED
oiFreRENCE
Rescantal 293 s 00 214 250 214
Camaresl e s 00 7135 a0 7135
Fomie aumorty sis  1ae1 00 1871 1340 11871
nsesial 33600 30870 00 300 33600 30570
Graueyimgaton 5350 0 00 0 5350 0
Prassus aaton 25550 20753 00 21755 2m0 21753
e 3 s 00 s 0 s
Gnmaterss 20 20 00 20 20 00 |y
P Fra Serves o0 o0 o0 o0 o0 oo
? o
“« [ ) ] >
Page: 1121 | Wordsi3053 | B | - ®





[image: image81.png]Wome | inset  Pagelmout  References  Mallngs  Revew  View  Adgins @
% L. HArina-
B2 s AN A 9 [acoocen| assoccoc AaBbC . A DT
Paste B Z U-aex x A = || Tvomai |7nospaci.. Heacing1 | Change
B 4 = et 7| Stytes~ | R Select -
Cipbo... Font % Paragraph 5 styes 5| eating
[ T . T . 2 . 3 . Y . 5 . 5 . 7 &
TasEc2 B
] CALIFORNIAIZRICAN WATER CO.
(oS ANGELES DISTRICT AVERAGE
NUNBER OF SUSTOUERS
TesTveaR 2012
Eird uny unuy
J xceeos Ueoeren
omemaL | revisso SR mevseo rine so0sTED
mn oFfERNGE
Maisred Comesions
—— a2 o s aesr a5
pssaiien) Isoe  2es ° el el 256
Punta Aoty 250 250 o 250 250 250
Tl 65 & ° e e 65
9 ety psten B B o H H B
S s o P H P o o
Shar = 4 ° 4 4 4
H Totalmsares connsions st zmses ° 2ss 270 27505
Unmatard ° o o o o o
Prai P Sarves a5 s H s s s
4 Tota Acivaconnaciors
Incude Frn Promcton s 2 o s s 27300 -
St Fou Pt Fa o Fae H Fae e s :
H o
< [ m ] >
Page: 201 21 | Wordsi3053 | B | o ®





[image: image82.png]Wome | Inset  Pagelaout  References  Mailngs  Review  View  Addns - @
# - AN 3 EYR
B2 b s AR 209 [asmocend assoccoc AaBbC - A DT
paste B I U-akx x < e || Tomal |ThoSpaci. Headingt [ Change | %
- = &-= 7| Stytes~ | R Select -
Cipboard Font 5 Paragraph 5 styes 5| eating
] = 0 T n : : s : 5 : < : . : 7 &
] TaeLE D2
CALIFORMAAUERICAN WATER COMPANY |
Los ANGELES DISTRIGT
- “oTaLsaLes ADSURRLY =
TesTveAR 2012
S unury
xcEzos Geowres
mem omamaL | Revised SRanch Reviss> | FLNG spomTED
o oeremEnce
ETERED SaLEs Kee
9 Ressenial ssmos  sosas 00 sesea st 5593
Commarcal 2a Taas 00 has  Tasms Taeas
P Aunorty e s 00 3443 prens preey
ooy A s 00 T 3 T
u Gravey mgston a7 o0 00 ) 37 o0
Prassurs mgston s aas 00 1243 154 12
e i £t o3 s pil s
TOTALNETERED SALES sams a0 00 simo  ssmas s1380
UwETERED SALES 00 00 00 00 00 00
PRIVATE FIRE SERVICE 00 00 00 00 00 00
. tan Besanug e ses  sea 00 591 25 591
TOTAL WATER REQURENENTS KCCF ome  s7ss0 00 s7s0 98403 s7s0
TOTAL WATER REQURENENTS AF 2ant 229 00 itz 2ewss 2ta2s
PRODUCTION CoF
Purcnasad vata rems a2 00 23 s 23
N Comosnywers ssasz  sgrar 20 somay  slzat somr v
TotslWATER REQURENENTSKCCF womo  saso 00 srms0 ssses arss0 o
« [ m ] >
Page:3 0f 21 | Words:3,053 | ¥ | Beszs vxO——0—0©





[image: image83.png]Wome | inset  Pagelyout  References  Malings  Revew  View  Addins @
¥ T e . N Brna-
B2 b s AR 209 [asmocend assoccoc AaBbC - A DT
paste B I U-akx x < e || Tomal |ThoSpaci. Headingt [ Change | %
B u &-= Styies~ | L select~
Cipboara Font Faragrapn . sotes < tating
) : T ; > > D - D s ; s ; 7 =
eiees
L FORNA AER A ATER CONPAT
e R ae
oseRaTING REVENUES E
ervesn oz
s s
== e
St o=
e R p— B wvseo | s somren
oremmce
naussr 15 RS
[
i ieiss oz a0 oz s P
i Coes T o T o
Si ramors e G i Pkt
bl Gis s o FE- s
Gy igsn i i G i 12 i
Fsei amran s e oo e s
o ui s 2 &2 o i
~omas cmnERaL e [ — o [ — 2
e o o o o o o
[——
[ ses s o s ses 053
s E I 33 FrE e
~omas omeEn AvpFLAT maTe ses s o wss s <ass
“omac reverEs s mrmae o e zeens e
o
. [ m 5
Pageid o121 | Wordsi3053 | B | -





[image: image84.png]B vome et sciwow  Reeencs  wlings  Revew | view | Adgins
[EE] \i Ruler Q - ([@onepage  cE NewWindow [N View Side by Side E?
L < .
) crdines B (T tvo pages | 5 Amange Al | 31 Synchronous Scrling
Full Screen e Outine Dratt Zoom 100% Suitch | bacros
Resing Layout ) avigation pane ) Page wictn | S spit 9 Reset Window Position | windows« | |+
Document views show Zoom Window Mo
T : i > : > o 7 o s o s o > &
TasiE F
CALIFORNIA-AUERICAN WATER COUPANY
o5 ANGELES DISTRICT
e —
TesTveAR 2012
Eird uny
sxceins S
omemaL | revisso SrancH wevseo | FiNG so0sTED
mn oFfERNGE
(nousands fs) (nousands fs)
savanies 21es 2es 00 205 20s0 20215
e iz i o0 s vz s
ToaL saLares 22 arss 00 218 287 218
capmaLIzED PAROLL s asmo 00 20 aws 220
ToTAL NETPAVROLL 1oz sms 00 s reste rass
SxcastionRei 2% oo 0% 0% 0% 0%

“ [

“omid

Pageisor2t | wordsi3053 | B |





[image: image85.png]BE rome et sl Reeenes  waiings  Revew | view | Addins @
B < Ruler Q [ Dorerse | Brwuinsow Dvewsieoy s B =
[ Gridines B @ two pages | 5 Armange Al | (3] Synchronaus Scrlling &
Full Screen e Outine Dratt Zoom 100% Suitch | bacros
Resing Layout 0] Navigation pane ) Page wictn | S spit 8 Reset Window Positon | windows« |~
Document views show Zoom Window Mo
LIET . T . 2 . 5 . 3 . 5 . © . 7 5]
TasLErs
CALIFORNIAAVERICAN WATER COUPANY
LGS ANGELES DISTreT
sesmaTG BisENE
TesTvesr 2012
Firia uny
sxceens e
cuc | omemaL | reviseo SR wevseo | Fine so0sTED
mn secouniti oFFERENCE
rossanofs) rossanofs)
T T— 7o 37 e 20 e 337 P
“lnesee e 7o ses  sans 20 533 sewes 53155
“lmons Bowne -Oosins i T2 20 20 20 25 0 95
Sl Bomes Hiaea anenn T2 140 135 20 129 5 155
“lneses o 72 1z 1700 20 we0a ress a0
Tisir e T 73 03 20 o3 o3 03
e T 1 e 20 e 51 e
Cramees Tas 57 a9 20 a9 E) a9
TED Smae T 20 ] 2 o 2
Teoiines 75 25 25 20 25 25 25
Ti0 e Te X X 20 X X X
720 Comomarnsten 7s 20 20 20 20 20 0
728 mmiansocs T e a0 20 210 e a1
Cosomar e aiarFasdng 2 o3 11 20 11 i b
i e s et i a2 22 20 22 a2 22
CuamerAccours \ncolsciais s ves s o0 1251 i3 1280
TOTAL OPERATION EXPENSES ST 75 e =S
OTHER OPERATING EXPENSE e s 0 e s s
Renien PeniRes s mrm2e 20 e 2sis 27617
Ureotecive fue Daask  ossas 00000% Osszsw  ossore se25%
priseeoly Yos o 20 T2t s oo
Revnien oo s s amsseo 13250 ime  sess 2010
Ureotecive Suesx  oseasw 950005 Osasw  ossers o se2sw
priseeoly s e & Teas o o
[— seats  sama 00 sams  esozs sana
Pirchused Fovar Terz rsteo 00 Tose  ress Tee
Crarens %7 9 00 s 5 LR
snsalssibies s 2 20 1251 s e T
i Gosming Bxoense Rt o0 Py e w7
ol ST < e =T ©

“ [

Page 6 o2t | wordsi3053 | B |





[image: image86.png]BE rome et sl Reeenes  waiings  Revew | view | Addins
g o Ruler Q CDonepoge  SBNewWindow ) ViewSide by ide
. [0 Gridines B @ 1worages | [ Amange Al | (3] Synchronous Scroling
Fullsacen web utine Dt Zoom 100% Vacros
Reacing  Layout 3 Navgation Pane & roge widtn | Esoit 93 Reset Window Postion 8
e S e Window e
LT D . I > D > &
[
CaroRA AR CA AR CONPANT
RIS
e
R
e ey g
e e
R I - e e | rine | soorres
e gt ot
rosssrss o) rosssrss o)
S oty -sisisas s o as sz o0 sz s s
o oSy Fasmort Tos b i o5 i 3 i
o oSy s T P 3i b 3i i i
froepebwicitond T ©s s 35 s kS kS
Sirong Suseison T 5o 5 35 5 2 o
Faming- S 70 s s b Py 5 B
By o Frucion I e 35 b b b
Firaing omer 7 PER b a2 i3 e
e s Siucisas o 5 % 35 % 3 o
e e Eesam Tie s s b kY ks B
Fretimi 7o i I 35 I I i
T3 mesnar £ Tems 7en 55 55 b 55 55 55
e 7o w3 s 35 w3 s 23
23 rans 7er o5 % b o5 25 o5
Tidamar e 87 s 35 s 5t B
e Tea g S b g5 g g3
72Dt Tes s P 35 s - -
D neous P et s s 35 s o 253
TOTAL HANTENANGE EXPENSES S <3 T =
[ w2 ooz o0 me oz 912
i irrence 25 s oo R '
By T <3 o5 e

“ [

“omid

Pagei7 o2t | wordsi3053 | B |





[image: image87.png]B vome et sciwow  Reeencs  wlings  Revew | view | Adgins @
[EE] \i Ruler Q - ([@onepage  cE NewWindow [N View Side by Side E?
‘ . =
) crdines B (T tvo pages | 5 Amange Al | 31 Synchronous Scrling
Full Screen e Outine Dratt Zoom 100% Suitch | bacros
Resing Layout ) avigation pane ) Page wictn | S spit 9 Reset Window Position | windows« | |+
Document views show Zoom Window Mo
T : T D > : > o 7 o s o s o > —
eEc2
CALIFORNIAAVERICAN WATER COUPANY
LGS ANGELES DISTreT
he.ExEENSE
TesTveaR 2012
Eird unuy
sxceins Sorres
suc | omemaL | reviseo SR wevseo | PG so0sTED
mn secounit oFfERNGE
(rousands i5) (rousands i5)
Otfcn Suppies & Orar Sanses 752 a5 a5 00 a5 a5 a5
2oy s 75 a7 a7 00 o7 o7 o7
Toars Comp. ez & Damages T a5 a5 9 % % %
Eroyes Parson s Sansts Tse Her s 00 o ras o
Sy B 75 2 o 29 ey ey ey
Pyt T W 9 e s e
Visoelaneaus Serars Somse Tes w2 e 00 wss eers sss
GorarPart aos 23 23 9 23 P 23
pig o e 52 00 52 e 52
TOTAL AG EXPENSES =T 75 s w5
Totsnsuance o7 o7 00 o7 o7 o7
TotalPansiond Sanatis wer o rree 00 o res o
TotlRagulatry Soaree a0 a0 00 0 0 Py
ToiaOotete Sarvons Wi 9 P s s
TotaRanie s P 00 P e P
ol sanar Sxoanse w2 oms 29 sas  esre s
ToalOheaza Tos o5 I Tos o5 s v
TOTAL ADIIN S GENERAL EXPENSES s o s L
o
‘ [ m
Pageis orzi | Wordsi3053 | B |





[image: image88.png]B vome et sciwon  Rereencs  waiings | Revew | view  adgins @

& Research a& F ‘ BhDelete @3 Final: Show Markup - ¥ Reject -+ j v &
Shesaurus Eapreiions | A Show Markup - & revious N
Speling & e Transiate Language Track Acept Compare | Block Restrict
Grammar 425 Word Count |- 25 comment Tt cranges - [ Reveuing Pane - Bet = | Authors - Eaiting

Proofing Longuage Comments Tracking Changes Compare | __rotect

T : T D z n s n £ n s n T n 7 e
TasLE 2
(CALIFORNAAHERICAN WATER COMPANY
Los anGELES DIsTRICT
TAXES OTHER THAN INCOME
TEsTvEAR 2012
B unury
sxcezs GeoaTED
rem omomaL | revise Srancs meviss> | FinG apoPTED
oFreREice g
CTnousands ofs) CTnousands ofs)

AavaremTaies mes a0 00 30 o4 7578

Francrce Toxes 00 00 00 00 00 00

Netmey o Teres 1803 1355 00 135 133 1355

Toxas sinarnanncoms s E e B =%

Erasent oes

Fevenues 245954 220843 00 2603 2038 2637

Francnse Toxate Sooox  oo0o% 0000% Soox  oooo% 000%

Francnse Tax 00 00 00 00 00 00

[

Revenies mons  2s7oss 13215 o1 2sanss 28650

Francnse Toxate So00%  oo00% 000% o00%  oo00% 000%

Francnse Tax 00 00 00 00 00 00

Aavsorem Taves Caston

GEnaran 1073070 1077525 00 wirsas s 100853

YiEna Advances Gen  @an 00 @n  Gen G5

YEnd Convoutons geny  aenn 00 JIES IR ey

YiEnaapracaion Gaisiz @2y X waitsy  d2se2s w2220

NetPint —w sy sy T —mT v

Aavaorem R aoeT 12097 000000 s r0ame TaoeE s

Aavaorem Taes Tes 7a0 ) 430 a4 ws o
“ [ m >
Page:9 of 21 | Words:3,053 | ¥ | [EEEEER I )





[image: image89.png]B vome et sciwon  Rereencs  waiings | Revew | view  adgins @

& Research a& F ‘ BhDelete @3 Final: Show Markup - ¥ Reject -+ j v &
S Thesaurus Earreions | A Show Markup = ) Previous -
Spelling & e Transiate Language Track Acept Compare | Block Restrict
Grammar 123 Word Count | - 259 | comment TNt | cranges- [ Reviewing Pane - Pest = | Authors - Editing
Procfing Language Comments Tracking Changes Compare | Protect
T : T D z n s n £ n s n T n 7 T
TAXES ON INCONE
TaLE 1
‘CALIFORNIAAUERICAN WATER COMPANY
oS ANGELES DISTRICT
TAXES BASED ONINCOME
TesT vEAR 2012
(EREsENT RATES)
B .
sxciens GeoaTeD
orGAL | ReviseD SRANCH revisen | PG apoPTED
oereRENCE
(Tnoussnds ofs) (Tnoussnds ofs)
OpersingRevemes mis 227724 00 2m2s 2esms 2787
oasustons
Opersing Less Uncalasiolss 78400 161197 10848 asss  ras1ss 55205
nsaiasines 1185 1281 00 1281 Tees 250
Somasie Fros actsy Dacst 1382 565 63 00 00 ]
SookDeprecaion 24000 24074 00 20078 24183 26527
- 2081 20203 0. 2787 228 22125
Texe O Thaninzome 772 a5 (] 725 a7 s
Previous YesrCCFT 530 s30) 145 i 185 ey
Tots| Operating Revenue Dedustons:
Fase 22233 216378 11012 27es 2m0s23 225891
s 2e1 20141 P 2ws wmir 2075
Texaoie Nt 1ssss 11s83 a2z 181 ey 1541
seer 755 1024 orn 13 23 s
Lo
DetraTena 1s 1s 20 1s 1s 1s
STATE INCOME TAXES 751 1010 orn o1 643 122
[ 1eets 11348 w012 s 504 25
FIT @35% 521 w72 o5 " aosn s0s
L
DetraTena 50 50 20 50 50 50
FEDERAL INCOUE TAX. 571 22 o5 57 a0 s5s 3
TOTAL TAXES ONINCOME a2 w2 usss) 55 s o5 o
‘ [ m
Pagei 00121 | Wordsi3053 | B |





[image: image90.png][re
Y A d &

References  Mailings | Review | View

e

Adddns

93 Final: Show Markup

S g-tonye

)

Y

Eapreious Show Markup -

Speing & Tansiate anguage Tack et Compare | siock_ Resrct

Erammen (55 word Count | "I 08 TR 90| crages - [l Revewing ane - et P | adtvors - Eating
ooting f— . Tacing e e

) ; ; rrrra ; 5

ThBLE K2

‘CALIFORNIAANERICAN WATER COMPANY.

LOS ANGELES DISTRICT

DEPRECIATION RESERVE & EXFENSE

“ [

TEsTVEAR 2012
STREE ULy
exceens UFDATED
oRGNAL | RevisED BRANCH REvisED | FILING. ADOPTED
DiFFERENCE
Toussnss ofs) Toussnss ofs)

DEPRECIATION RESERVE -5.0Y. 98827 398830 00 93830 404004 99335
cHANGES

Ppe— 24000 24074 00 25078 24183 24527

Conirbutons Dapreciston 1130 1120 00 1120 180 180

Fetramans @ssy @02 00 @02 6129 2502

Savags Costof Ramoval W w20 00 w20 s w20

Adusimens 00 00 00 00 00 00
ToTaL cranGEs EESLE R R EE T T T 7755
DEPRECIATION RESERVE-E.0.Y. w2192 21760 00 w2161 s2m29 s22320
WEIGHTING FACTOR sarew sarew 0.00% sarew ssenk s
WTD. AVG. DEPRECIATION RESERVE siamis snis20 00 sie20 414138 11989

“omid

Page 120121 | Wordsi3053 | B |





[image: image91.png]BET vome et Pagelmout  References  Malings | Review | View  Addins )
& Research a& F ‘ B Delete ' Final: Show Markup - @ &) Previous j o &
S Thesaurus Earreions | A Show Markup = e -
Spelling & e Transiate Language Track Accept Reject Compare | Block Restrict
Grammar 123 Word Count | - 259 | comment TNt | cranges- [ Reviewing Pane - B = uthors - Editing
Procfing Language Comments Tracking Changes Compare | Protect
[~ T . 2 . 3 . E3 . 5 . 5 . 7 . )
THaLE L3
‘CALIFORNIAAUERICAN WATER COMPANY
oS ANGELES DISTRICT
WEIGHTED AVERAGE DEPRECIATED RATE BASE
TesT vEAR 2012
i Ly
sxczens UroATE
oRiGmAL | RevissD SRANCH revisen | FLNG apoPTED
e oFFeRENCE
(Tnoussnds ofs) (Tnoussnds ofs)
WD AVG FLANT INSERVICE 1068703 107.1885 00 onises  w0naens 1084799
WATERIALS 3 SUPPLES 77 77 00 717 77 77 B
WORKING CASH, OPERATIONAL 1ams 129 00 1ams  ers 11283
WORKING CASH LEADLAG toss 12310 ) 120 120 12310
WTDAVG DEPRRESERVE @Tie  @ris2g 00 @iise @i w1583
ADVANCES FORCONSTR Ges  Gesd) 00 Ges3  @ees) ey
UNANORTIZED ADVANCES 20%R 00 00 00 00 20 00
‘CONTRIBUTIONS INAIDOF CONST Gs:3y  @sw3) 00 Ge33y  @sz3) @523
UNANORTIZED CONTRE- 20VR 00 00 00 20 20 00
ACCUM. DEF. FEDINCTAX. 5050 @983 26707 64152 @10 ©7811)
ACCUM.DEF. STATE INCTAX ams (1302 00 102 1082 st
GENERAL OFFICE ALLOC. FY s 23 s by Y
AVERAGE RATE BASE ssases  sssass 26707 sesen  ssesa 25098
INTEREST CALCULATION
AVG RATE BAsE ssames  ssams 26707 ssser  sssee: 5095 -
XWEIGHTED CoSTOF DEBT arew s 00% 37 7% a7 .
13
INTEREST Expanse TeeTe Zos EX 7T 2EE 7778 N

“

Page 130121 | Wordsi303 | B |

IEEES

,
RO U o





[image: image92.png]Speing & oy
Grammar

e o m B

Translate Language

Proofing Language

Pagelayout  References  Mailings

2 Previous

Comment ZANext
Comments

Track

Review

View

93 Final: Show Markup

Show Markup ~

Changes - [B] Reviewing Pane ~
Tracking

Adddns

B G

Accept

Pnet

Changes

g

Compare | Block Restrict:
Authors - Editing

Compare Protect

L]

T 1

0 2 0

“

ThBLE B3

‘CALIFORNIA-ANERICAN WATER CO.
LOS ANGELES DISTRICT

WATER SALES PER AVERAGE CUSTOMER
ESCALATION YEAR 2013

cer
STREE ULy
exceens UFDATED,
mem oRGNAL | REviSED BRANCH REvisED | FILNG ADOPTED
DiFFERENCE
Ressantal 2653 214 00 214 2550 214
Commares a7 7138 00 7138 7480 7138
Fuse Aty 14515 1aT1 00 11871 13480 11871
Inauer 33900 30870 00 30470 33400 30470
Gravay Imgstion 5350 00 00 00 5350 00
Prassura Ingaton 25550 21783 00 2155 25850 21758
omer T s 00 s 1280 s
nmeteres 00 00 00 00 00 00
Frusia Fre Saves 00 00 00 00 00 00

Page: 140121 | Wordsi3053 | B |





[image: image93.png]B vome et sciwon  Reeences  aiings | Revew | view  adgins @

y ﬁ aﬁ, F ‘ duaf‘f ‘ 93 Final: Show Markup - 3::;; j o} &

2 Previous Show Markup ~

Speling & o | Trandate Langusge Track Accept Compare | Block Restrict

Grammar i - 259 | comment TNt | cranges- [ Reviewing Pane - P ext + | Authors - Editing
Proofing Language Comments Tracking Changes Compare Protect

©

LIET . 1 0 2 T

TaBLEC3
‘CALIFORNIAANERICAN WATER CO.
LOS ANGELES DISTRICT AVERAGE

NUMBER OF CUSTOMERS
ESCALATION YEAR 2013
STREE oLy wr
exceens UrpaTED
omGNAL | REVISED BRANCH REVISED  FLING ADOPTED
mem DiEFERENCE
Msteres Comastons
P 26438 2843 m 20087 207 2607
Commares 2508 250 o 2508 2508 2508
Fuic Autnorty 291 Bl o 291 291 291
ey 5 5 o 5 5 5
Graviy Imgstion + ] 1] s I
Prassira imgaton 5 5 @ 52 &2 52
omar 2 2 o 2 2 2
Tots matarad comsstons rese arsss ® 259 27 278
[ o o o o o o
Frusia Fre Saves 01 w01 ) 00 00 00
Totslctue connactons E
Incuse Fr Eromaton 2rsss e © s 27ss 27588 8
Secute Fra Froston s aess 5] s 27 s °

< | [
Page: 15 0121 | Wordsi3053 | B |





[image: image94.png]BED vome et Pagelmout  References  Mallings  Review | View | Addins )
B B weblwout [ Ruler { onerase | Bnewwnaon 0 ) =
Houine | [ Gridines B @ rwopages | 5 Amange Al | i} =
Full Srcen Zoom 1005 Switch | Macros
Readmg =l Drott 0] Navigation Pane ) page width | 3 spit 2 windows+ |~
Document Views show Zoom Window Macos
] I , I > I > 3
TasLe 03
CALIFORNIAANERICAN WATER COMPANY
o5 ANGELES DISTRICT
TOTAL SALES ANDSUPPLY
EscaLaTiON vEAR 2013
B unuy
excezos emrEn
mem oRGNAL | Revised | smancA Reviszo | PG A00rTED
oFeeRgNcE
wETERED St g5 Ko
Ressan ses seses 02 ssses  samiz 5505
Cormarea Ioms  caers a9 Tirs  Tams Taors
=l aemrty 228 s 00 s P
ey s e 20 1 am T8
Gravy gaton 3 00 09 20 37 0
Prssu mgaton s s &7 e s 1285
e 73 g 57 £¥y o £}
TOTAL METERED SALES se2s  saims 55 sxss ssss s
uMwETERED SAES 20 20 20 20 20 20
PRIVATE FRE SERVCE 20 20 20 20 20 20
oo Becaous Weter ses s 00 e s )
TOTAL WATER REQURENENTSKCCF 0007 ssies 59 se sssec 5507
TOTAL WATER REQUREMENTS A7 07 makr @5 a2 zems 22
PRODUCTION #CCF 3
~lneses st Lems 3 00 ma nens ms ]
Sompanyiets 5050 somes e sosss s sosss
°
Totsl WATER REQURENENTS KCCF 0on7  ssres e ssms sesec sams g
“ [ m ]
Pagei16 0 21 | Wordsi3053 | < | [EFEE





[image: image95.png]BED vore et Peselyout  Refrences  Molings  Revew | view | Adens )
B B web Layout  [4] Ruler Q Onepage R Newwindow [ =
Houtine | [ Gridiines B [ rwopages | [ Amange Al | @}
R [T | o o R e 8 | e - | 2
LI T n T ; 7 R =

“

TABLEE4

‘CALIFORNIAANERICAN WATER COMPANY.
LOS ANGELES DISTRICT

OPERATING REVENUES
TESTvEAR 2012

(a7 PROPOSED RaTES)

mem

STREE ULy
exceens UFDATED,
oRGNAL | REviSED BRANCH REVisED | FLNG ADOPTED
DiFFERENCE
Toussnss ofs) Toussnss ofs)

METERED REVENUES

Ressanisl sii1s isisse 533 150343 207487 150283
Commares 552 53wz 2753 55315 sasT 5551
Fuse Aty 1135 10383 535 tes21 1217 10852
Inauera ess 257 272 E B st
Gravay Ingaton 72 51 03 53 55 e
Pressura Irgston 2287 2087 105 2205 2515 2115
omr 225 752 35 791 Fur) Eik)
TOTAL GENERAL METERED w5264 284087 13110 w7187 282 268537
UNMETERED 00 00 00 00 00 00
OTHERREVENUES

Eruste Fra Saves 22 e 180 3855 24 350
T Senves 3130 S8 01 £ EfT s
TOTAL OTHER ANDFLAT RATE 552 w83 180 g0 22 o0z
TOTAL REVENUES 2amis 2sasio 132900 im0 2msses 270180

B

Page: 170121 | Wordsi303 | B |

J
[EEEE





[image: image96.png]BE rome et sl Reeenes  waiings  Revew | view | Addins @
] ©welyou [ Ruer Q orersee im0 ) =
Douine | [ Grdines B (o pages | 5 Amange al | 3 =
Fut screen Zoom 100% Sutcn | Macros
Heae” = pratt 0 Navgation Pane S page wictn | st 33 windows+ | -
Document views Snow Zo0m Window Macros
T : T : > : > o 7 o s o s o &
“asie 4
CALIFORNAAUERICAN WATER COUPANY
o5 Aneties Darmcr
~axes saseD o couE
“estvean 012
(eRop0sen mares)
s unury
sxceess e
omonaL | revess | smance sevses | mine | asoeteo
oerentice
(rousands i5) (rousands is)
Sparming Rerenas s assseo raz0 2o messs oo
Seduetons
[T p— o ey roses mists  sass tssws
frsiobiony Tea wse s s i ey
SEREEES, kit e s s s ety e 22
Sookcarecmon 2da0  zeore oo 2ire 2ams s
v Ire 3oms s e i ey
oS Trsnincoms s ems oo Sos s s
Pttt Wo o by Tes  Ten s
ot Oparing Revana Dacutions
ey se0s 21677 niz2s a0z amesr 27
s e aesrs Tise s s zers
Toaveteisee somr e a3 sa0s ass s
sesL ws s e o e s
Less:
SeitreaTanes 1 1 0 1 1 1
smarenconeTaxes st ams 157 we sz st
L sss  wier 201 sam2s asoer sz
sim g s s 22 ess0 ismas naas
e
Sefered Tos 50 50 o0 50 50 50
Raiosimant 30 a0 35 o5 a5
SEDERAL INCOUETAX THr—TaEs =z TemT s e v
TOTAL TAXES ONINCOME 18154 18547 513 13165 1369.1 18627 °
« [ W
Page: 18 0121 | Wordsi3053 | B |





[image: image97.png]BE rome et sl Reeenes  waiings  Revew | view | Addins @
[§ Bvews Drua Q [ Dorerse  Brwwmsow m
Houtine | [ Gridines B (o pages | 5 Amange al | 3
rasaeen o | ) awgatonpane | 2 ™ @8 rge wnom | Eisp B winaoms- | 5
Document views show Zoom Window Mo
LT . L —t a2 R R YR o I &
Tasie s
CALIFORNIA-AUERICAN WATER COUPANY
o5 ANGELES DISTRICT
PLaT sERviCE
sscaLamon vesa0ma
Firia uny
sxceens e
omemaL | Revised | SRancn wevseo | AN | avosTEd
oReERENCE
[ES— [ES—
mn
Pantin Sanics 50V wrame  tor7as 00 wrrms  tremt tososss
asdtons
GrossAdtons sans oz 00 wosz a7t 1e0282
Ratrameni e o%n  aan 20 own  un on
Netadstons resssz 1s7oss 00 s sanzs rs0es
cwe-sov s asss 00 asss  aswme 25085
cwe-zov im0 raseo 00 im0 raseo 1aseo
NetCrang-CHiP 2sen s 0 ey ewmsy  ewms (5]
Pantin Sanies-£0Y mama e 00 et meer e
VIR, AYG, PLANT INSERVCE Heiwr  1asen0 0 veswo  iams  meanes v
o
‘ [ m ] >
Pagei 19021 | Wordsi3053 | < | [EF © x





[image: image98.png]BE rome et sl Reeenes  waiings  Revew | view | Addins @
] ©welyou [ Ruer Q orerse B 1 00 =
Douine | [ Grdines 85 Drworages | HAmngear | B} =
Fut screen Zoom 100% Sutcn | Macros
Heae” = pratt ) avigation pane S page wictn | st 33 windows+ | -
Document views Snow Zo0m Window Macros
T : T : > : > o 7 o s o s o &
“asiz ks
CALIFORNAAUERICAN WATER COMPANY
Los anesLes dammc
seeeciaTonEsERE  xPENE
sscaLamion vear 2013
s unury
sxceess e
omonaL | revess | smace sevses | mime | aoosred
oeressice
rosssrss o3, (rousands i5)
SeeRECIATION RESERVE 5.0 2z e o0 Y]
cuances
snusihcens 2esss 2708 00 27081 27as 2751
Pt I Tz Tia 35 oz s s
S EoEREE) b aon  eun ann
St Costotmamoval e ey 35 ws ez ]
Sasmns 35 55 35 o5 oo 5
ToTAL CHANGES TRT—zEs a5 Towr—zas T
SeeReciATIONRESERVE £.0. sessss seno o0 w0 ssomo s
weiGKTING FACTOR sren  sarew o0 sren s P
WD, Ave. DEPRECATON RESERE s sss o0 aes  wmss aser o

“ [

Page: 200121 | Wordsi3053 | B |

»
w00





[image: image99.png]BE rome et sl Reeenes  waiings  Revew | view | Addins @
] B Weblayout [ Ruler Q - [@onepage B Newwindow M E? .
& Douine | [ Grdines B (o pages | 5 Amange Al =
Ful sreen Zoom 100% Suitch | bacros
Hesang ot ) avigation pane ) Page wictn | S spit o]
Document views show Zoom Window Mo
T : T : > : > o 7 o s o s o &
asELa
CALIFORNIAAUERICAN WATER COUPANY
Lo5 ANaeLes DT
WEIGHTED AVERAGE DEPRECIATED RATE 8462
sscaLaion vesr 2013
Firia uny
sxceens o
omemaL | Revised | SRancn wevseo | ALNG | avosTEd
mn Pe
(nousands fs) (nousands fs)
WTD AVG PLANT INSERVICE Hermr im0 00 vesso  rems  wmanes
o5
aTERIALS 8 sUPPLES ns me 00 s 3 s
WWORNG e, OPERATIONAL s rges 9 19e 2088 1o
WORKING CAGH LEADLAG Ties  rae o0 e smo e
WD Ave DEPRRESERIE wsey  wss 00 wums  warsy  wason
sovaNcES FORCONSTR @ eno 00 [ ano)
ORANORTIZED ADVANGES201R 20 %5 00 20 20 20
CONTRIBUTIONS N AID O CONST ) 00 Qsn  @sen  @ssen
CRAUORTIZED SONTRS, 207 % % 99 o5 5 9
CSUN BE FED INCTR w2y ez 22107 G @y Goorn
'ACSUI, DEF STATE INCTAX a8 @09 00 e ome (e
SERERISTALE FY) 55 Et] b P 33
Averac:raTEBASE saus10 saesse 22007 sz st ssanaz
TesEsT CaLcuLATION
NeSA hase susi0 ssmse 22007 sz east  sesmz v
werarmes cosToroesT Treware 00 7w etk S
INTEREST EXPENSE 73487 23858 508 24867 25695 25120 °

“ [

Page: 21121 | Wordsi303 | B |

J
[EEEE

>
=emO U O





(END OF ATTACHMENT F)

ATTACHMENT G:  MONTEREY COUNTY DISTRICT 

[image: image100.png]Wome nsett  Pageloyout  References  Mailngs  Review  View  Addins °@

CALIFORNLA-AMERICAN WATER COMPANY, cPUC SHETNO. _1EDW
1053 8 Avemss, Suite 200 — —
CORONADO, CaS2118 caxceLLG cruC SHETNO. _gnow

[
Senasus o 1104
Nontarey Distrct Terfl Ares
"PRIVATE FIRE PROTECTION SERVICE

apeLcasIITY
‘Aopicabie to s water senvcs fumishad fo pruate e protaction systams.
TERRITORY

Tns incorporated iies of Moriarey. Pacc Grove, Camaloy-ins-Sss, Dsl Rey Osis, Sand Ciy. s
porion of Sessids, Chusisr snd Raioh Lena sub-unts and carsin unincorporsied aress i tha County of

Fartiser
Earons

B3

For 1120 comnacton sies3
For 2:nn connacton siss2
For 3onn comnacton 523328
For $onzn comnacton 53303
For 5onzn comnacton 57300
For 2-nn comnacton si2ess
For 10:nen connsaton sitss

Other Private Fire Servies

Eerion
Forasen sonzn comnacton 53503

Forasen Sunn comnacton s7s00
For asch 8:nch connecton si2ess
Forasen 10-nen cannecion sitss

Tne retes for prvata fra senvics are bssed upon ha siza of the senos and no addons! charges il be
et for fra hydans. Sa0nKas, K% SannEchons of and pS% ConnZciad o and usR d By 2uh
pruate fre servie

‘sPECIAL conpiTions

1. T fre protscton sanies and connsston snal be nstalid by ths Uty orunderine Uitys
iraction. Costof ina anira e protaction nstalaton snai b psid for by he sppicant. Such
symant sne! notos susezt i i

(r0s2 missren sy v sy T p—
ADVICE LETTER YO. D.?. STEPEENSON. DATE FILED

- EFFECTIVE

'DECISION No. Alo07007 _ DIRECTOR - Rates & Regulstion _ RESOLUTION NO.

[EFE)





[image: image101.png](W] 9 - O &+ TBD 6372-W Example (MO-4H) (Protected View) - Microsoft Word o= %

Home inset  Pagelmout  Refernces  Malings  Review  View  Addins @

CALIFORNLA-AMERICAN WATER COMPANY. e CPUC SHEETNO 1D
1053 B v, Suits 200

‘CORONADD, CASIIS CANCELLING _Ravissd _ C.P.UC. SHEETXO.

Senssus o, 104
Montarey Distrct Torf Area
"PRIVATE FIRE HAYDRANT SERVICE

‘apeLcasiTY
opieani sl nstersenves fumishad foraruate e hydrant senvee.
‘TERRITORY

Tns incorporstad sies of Montaray, Pscfio Grove, Carmstoy-dna-Sas, Dal ey Osts, Ssnd Gy,
porion of Saasids, cartain unincorporsted arass n ina County of Moaray, e Amblar Park
Suodision. Rim Rock suodiiion. Rencho EI Toro Country Cup ocstad nine miss soutnwest of
‘Sainas, Moniarey County, e ar2s knownas Laguns Seca Ranéh Extates,snd viondy.

Rates

Eeronn
Erust Fr Hysrent Ssrves Instaied st Costof Apgicant:
For aseh Fie Hydrant nstsled 53770

‘SPECIAL CONDITIONS

T T ir2 proacton sanios snd sonnacion snal b8 ntalidby s Uty orundirine Liktys

iracion Costofna entra fre protacton nstaliston 3nai o2 psd forby ine sppicant Such
symantsnalnot o8 supsctia efunt

Tns nstalaton housing the descirtype shack vaiva and matarsnd sppurisnsncas,inareto,
ain's location mutusly agresst f na sppicart and e Uity Nomaly such msislaton 3h

5 locatad on tha pramise3 of applant, sdjsoantio re propert ina. Tha sxpanseof meniaining sl
facitas which ara he 50/ propary of e appicen (noding iveveu, matar. datacorypa chack
Va3, D2cHTon a2 ok 20 a3utansnses 2ha) 92 941 012y ne 203 cant

Al facitas paidfor by ina sppicant, sxciingina connsction stthe main and sny sence ppe
ocatad n 3 pubiergntof-ney. il a i soie popary of ina appicant Tha Uity and 1 auly
sutnorzad sgents shal nave tha rghtio ngrass 0 3nd agress fomthe premsss for sl purposes
rasting o sau acitas.

T minimum dismstar il be 6 inches, snd he maximum dismatar il s iha dismstarof ina msin
o nen e senves & connacizd

(Continues)

oz s svuTy sy osnxavcaue)
ADVICELETTERNO. D.?. STEPHENSO! DATEFILED
EFFECTIVE

DECISIONYO. Alo0roor  _DIRECTOR - Rates & Regulstion  RESOLUTIONY

“
Page:1of1 | Words: 208





[image: image102.png]|

-

Home.

Insert  Page Layout

SUTRTIEETEY AR R AT TR IR TR R

References  Mailings  Review

View  Adddns

“

REVENUE
TABLE 81
‘CALIFORNIA-AMERICAN WATER CO.
MONTEREY DISTRICT
WATER SALES PER AVERAGE CUSTOMER
TEST YEAR 2012
==
STREE vy INig
Excezns UFDATED
mem oRGNAL | RevisED BRANCH RevissD | FILING. ADOPTED
DIFFERENCE
Rasdznial 2 738 00 738 53 738
PAR (Low Income) i 708 00 708 557 708
MatRezantal 5105 e 00 753 562 e
Commarea 7387 61 00 61 7073 61
Industrs! 5370 ssess 00 55458 57038 55:53
Fusie Autnorty 5570 621 00 4621 523 P
Gof Course ssmss  Tesie 00 Tess:  1asses Tes3e
Viscsino Raciamston Tenk 30880 13530 00 13830 125087 13830
Canstructon presy 262 00 262 e 262
Seis forassie 1575 20885 00 20355 1507 20355
Ot 5320 04 00 04 065 04
el 225 1878 00 1878 2285 1878
[ 2535 155 00 155 2535 1584
Fdsen HisRysn Rench isss 150 00 150 Tess 1504
Ralon Lens 1235 1235 00 238 235 238
o 2555 2555 00 25 25 2555
Frusts Fre Sames 00 00 00 00 00 00
Fire Hyarant 00 00 00 00 00 00

Pagei 10 2L | Wordsi 3659





[image: image103.png]Home  Insert  Pagelajout  References

Mailings  Review  View

i

CALIFORNIA-AMERICAN WATERCOMPANY Revised

1033 B Avanue, Suite 200
CORONADO, CA 92118

CANCELLING _ Revised

CP.UC.SHEETNO,

CPUC SHEETNO. _ 637

TBD-W

APPLICABILITY

TERRITORY

RATES

Residential PrivateFire Service

private fire service.

'SPECIAL CONDITIONS

1
‘Schedule No. MO-48
Montersy District Tariff Area

"PRIVATE FIRE PROTECTION SERVICE

'BISHOP SERVICE AREA

Applicableto allwater service fumishedfor privately ownedire protection systems

‘Bishop subdivision, inclucing the area known a5 Laguna Seca Ranch Estates, and vicinty.

Per Meter
Per onth
For t4nch connection 5975 )
For 1-1124nch connection. 51463
For 24nch connection. 51952
For 34nch connection 52928
For 44nch connection 53903
For G4nch connection 5§79.00
For 84nch connection 512499
For 10-nch comnecton 517692
Al Other Private Fire Service
Per Monty
For each 4inch connection 53903
For each Ginch connection 57900
For each 8inch connection 512499
For each 10-nch connection 517692 h

The rates for private ire service are based upon the size of the senvics and no addtionalcharges wil be.
‘made forfire hydrants, sprinklers, hoss connections or standpipes connected to and supplisdby such

1

“The fire protection service comnection shallbe installed by the utity andthe cost paidby the
applicant. Such paymert shallnot be subjectto refund

f adistribution main of adequatesize to a private fire protection systemin addtionto al other
nomalservice doss notexistinthe strest o alley adjacentto the premiseto be served, then a
service mainformthe nearestexisiing main of adequate capadity shall be installed by the utiity and
the cost paid by the applicart. Such payment shallnot be subjecto refund.

(Continued) °

ADVICELETTERNO.

DECISIONNO.

(0 3 nvsERTED BYUTILITY) msEDsY oz NEREDBYCRUC)

D.P. STEPHENSON DATE FILED

e EFFECTIVE

A10.07007 _DIRECTOR - Rates & Regulation  RESOLUTIONNO.

»





[image: image104.png]|-

e 1B Ra/37U EAGITIPIE (VIR FY L) IFTOTELIEU vIEw) = IVIILTOSOIL Wortkh

Home  Inset  Pagelajout  References  Mailings  Review  View  Addns

CALIFORNIA-AMERICAN WATER COMPANY Revisd  CPUCSHEETNO. _ TBD-W

1033 B Avense, Suita 200

CORONADO, CA 92118 CANCELLING _ Revissd  CPU.CSHEETNO. _ 375-W

T
‘Schedule No. MO-14
Monterey District Tarif Area
GENERAL VETERED SERVICE
AMELER PARK SERVIGE AREA

APPLICABILITY
Applicableto all metered water service.
TERRITORY

Ambler Park Subdivision, Oaks Subdivision, Rim Rock Subdivision, Rancho I Toro Gourtry Club,
Tocated nine miles southwestof Salinas, Morterey County, and vicinty.

RaTES
Quantiy Rates:
Base Rate
Residential Customers: Bertoet [0
Block 1: For he frst 80cfs delivered. 02105
Black 2: For e next 160 cs delivered. 505473
Block 3 For allwater delivered over 240 cfs. s1.3662
Non-Residential Customers:
For allwater deeres 505473
Meter Rates:

Per Meter

Ber blonth
For 515 x /a-nch meter. 972
For 3a-inch meter staso
For 1Hlinch meter. 2431
For 1-1/2-nch meter. 48,
For 2-inch meter. s7779
For Sinch meter. st4585
For 4-inch meter 524308
For &-inch meter. 48817
For 8-inch meter strer

The meter chargeis areadiness—io-serve charge whichis applicableto all metered service andto which
is added the charge for water used computedatine Quantiy Rate.

‘SPECIAL CONDITIONS

1. Allbils are subjectts the reimbursement fee as setforth in Schedule o, UF.

(Continued)
(1038 INSERTED BY UTLITY) svEDsY. o
ADVICE LETTER. NO. D.P. STEPHENSON. DATEFILED

EFFECTIVE

DECISION O,

DIRECTOR - Rates & Regulation _ RESOLUTION NO.

»

Kl

Page:10f1

Words: 185

Begz= 20 0 ®





(END OF ATTACHMENT G)

ATTACHMENT H:  MONTEREY WASTEWATER DISTRICT

[image: image105.png]@9 0E&

Home.

Insert  Page Layout

References.

Mailings.

Review

= TED 112-5 Example (Schedule SP) (Protected View) - Microsoft Word

View

CALIFORNAVERICAN WATER CONEANY fews | cprcsmET _mmps
H 16538 Aven, S 00
CoroxaDs, cAIE CANCELING _pmint PG STEETYO.
mi T
Scned o 52
E Veriarey iess Ware TerAves
pAi
serucauy
q Applicable to sl sewer sarvics.
| P
Subcivions of Ok Has nd Inden Spings, and e commiyofSrecels e iy of
E et
sares
B ParSenies Grage
oat ot
e R P — e o
Sorettes
H Sirves Shrge for Resdenia and St Commerist. st
B Sas02
Sarves CrrgeforCormmeroe i 4o e Erlore. Stor
E Sarves Grrge o e stones 0
- ParSanics Grage
potfriey
ndin Springs
- ‘Senvice Cnarge for Residentisl and Small Commercisl. 12881 o
sezou comons
1. AW re sttt he Put Ui Commision Reimrsamen Fes set o on
S O
2. Spacals cusiomersmay e cusaty s in e squlinsabimanis on e it eyt e
o
5. e Advos Lot 20:5, Ganr Ofcs AusCoss and riansnercompenssin it o
Coreamar Fadruion o oo i TURN o st oo+ commacion
E o 55170 o ana i o S Janoes 8 5013 T ol smoun o
20T 12 b ecovred o o St 7 oo
B oz v — [ ——
AoV EETTER Mo, Dp STEREON  DATEFLED
H EmrECTIVE
DECrsIoN Yo. Alesror _ DIRECTOR - Rats & Relion _ RESOLUTION X,
L o
Page 1ot1 | Woras 187 Bes





[image: image106.png]@9 0E&

Home inset  Pagelmout  Refernces  Malings  Review  View  Addins @

TED 111-5 Example (Schedule S) (Protected View) - Microsoft Word = @ 5%

CALIFORNLA-AMERICAN WATER COMPANY. CPUC. SHEETNO.
1053 B v, Suits 200
‘CORONADD, CASIIS CANCELLING _ Ravissd _ CPUC. SHEETNO.

Senssus .5

Nontarey Waste Wetar Tart A
“SewiR service

apeLcasIITY
Aopicsni o sisawersence.
TERRITORY
Montarey County.
mates

Farsanes Crarge
Residentsl Serviee Charge Fertontn
Viegs Gmans — wm
Whia Oaks. 55753
ey si2s51

‘Commercisiunicipsl Service Charge
Fotal (144 003} sissesss

‘Sehoo! (5 EDUs). 6403
) sm2s
Goif Coursa (4 EDUS) ss127

‘SPECIAL CoNDITIONS
T A1 b 2 subjec o iha Public Utites Commission Reimbursament Fae setforh on
Senssus o,

ParAdvios Lattar20-5, Ganars! Offca Aud Costs snd intenvenor compsnsatonpsid o
Cansirmar Fataraton of Caltom s nd TURN . o4 rz0iarad hrauzh s connasien
Surchargs of $1.70 forana biling cyca ffectve Janusry 5, 2012. The tos amauntof
5233.072 12 wilbs racovared Fom sl casses of cusiomers.

1oz pezsrED sy vy [ —
ADVICELETTERNO. DATEFILED
EFFECTIVE

DECISIONYO. RESOLUTIONNO.

< m I3
Page:Lot1 | Words 132





[image: image107.png][CIN= A== 15 Mont W Comp Exh (Protected View) - Microsoft Word - @ %

Wome nsett  Pageloyout  References  Mailngs  Review  View  Addins )

REVENUE
ThBLE 81
‘CALIFORMA-ANERICAN WATER CO.
WONTEREY WASTEWATER DISTRICT
N \WATER SALES PER AVERAGE CUSTOMER
TesT veAR 2012
er
i3 vy Rty
exceeos TPoRTED
mem omamaL | meviss SRANGH Revisep | FLING. spomTED
N oiFreREnc
— 00 00 00 00 00 00
Commarcal 00 00 00 00 00 00
ooty 00 00 00 00 00 00
K Fuvie Autnrty 00 00 00 00 00 00
ot Cousa 00 00 00 00 00 00
el 00 00 00 00 00 00
Frvae Fre saves 00 00 00 00 00 00
N Fie Hyrant ) 00 00 00 00 00
< [ ) ] >
Page: 0121 | Words: 3054





(END OF ATTACHMENT H)

ATTACHMENT I:  SACRAMENTO DISTRICT

[image: image108.png]L

1B B34/-W Example (bAC-4 Fg 1) (Frotected View) - Microsott .. = =

Home insen  Pagelmot  Refersnces  Malings _ Review  View _ Adgins © @

CALIFORNLA-AMERICAN WATER COMPANY. e CPUC SHEETY
1053 B v, Suits 200
CORONADD, Ca

2118 CANCELLING _Ravissd _ C.P.UC. SHEETXO.

T
Senesus o SACH
Sacramanic Dairet Tark Arss
"PRIVATE FIRE PROTECTION SERVICE

E apeLcasIITY
‘Aopicsbie o siwstarsenvos rendared for prvata fra protacton purposes.
TERRITORY

E Tne unincorporated communitss subdivsions, snd adjacentsrass ganersly known ss

‘Cordovs. Rosamont, Pariwey Esistes, Lindsls, Foofi Farms, Aringion Heigns, Linwood.
Lorato Heighis, Arden Highiands, Ardan Estatss, and Sunvs Securty Pk A pariof ina Ciy
of Cirys Heghis snd ina commurntias of Anielops and Sabre Ciy n Sacramento and Placar
‘Countas. Tns Ciyof 5ieton and vionty and s unincorporstadcommnty of Wainut Gove i
‘Sacramanto County. Tha owar Southwastar porion ofPlacar County nciuding he areas
Known a5 Morgan Creek. Doyis Ranch, Sun Valey Osis and oo Graans.

Rates

- [

[ — oo
ot s oo sms 0
v egabond G 0
ot 0nen o i
it ugeennt e 0

‘SPECIAL CONDITIONS
1. The customerwil psy winout refund iha antra cost ofinstsing inasanios connaction.

2. Tha mexmum demetarofing sanics conncton wi notos mars then e diamatara s
e 2 ann ne s2rves & sannciss

3. Ths customers nstalaton must o8 suen ss1o factual seasrsts s fra sarniar
systamirom inst of ina cusiomer s reguiarwstarsenvie. A28 par of he sprnkarsenice
nstaliston here shallba  detactorcheck win by pass metarorother smiar devis
‘sccapisbie i ina company which wil ndcata e use of wr. The ity mey 12quve s
S-annus!estof s datactrnack nsta Ston st susiomar cost S5 & condan of &g
5arvie. Anyunauthonzad use wiloe chargad for st na raguisr astabisnad o for
ganeraimatared senvos. and/ormsy ba gounds fo ine company's dsconinung thefre

B Sornicar senves winout labity o ha company

(Continues)

oz s svuTy sy osnxavcaue)
ADVICELETTERNO. D.?. STEPEENSON. DATEFILED
EFFECTIVE

DECISIONYO. Alo0ro0r _DIRECTOR - Rates & Regulation  RESOLUTIONYNO.

< [ [
Pageilofl | Wordsi300

[EFE)





[image: image109.png]@9 0e&

Home  Insert  Page Lajout

TBD 6341-W Example (SAC-1 Pg 1) (Protected View) - Micros.

References.

Mailings  Review  View

CALIFORNLAAMERICAN WATER COMPANY, e CPUCSHETNO _ TED
1053 8 Avemss, Suite 200 — E—
CORONADO, CAs211s CANCELLNG _Rasst  CPUC SHEETNO

Senesus e SAC
Sscramenio Datvat Tarkt s
GENERAL NETERED SERVICE

apeLcasIITY
Aopicsbe fosi metared weter senics
TERRITORY

Tns unincorporstad communiias, subdiiions. snd adjacent aass ganaral known a5 Cordovs.
Rozamont. Parivey Extstss, Lndais, Footn! Fams. Arington Sagnis, Lo, Loratto Fe N,
Ardan Highisnds, Ardan Estates snd Sunrse Sacurty Park. A par ofthe iy of Cirs Heigh's
‘snd ina communites of Antalope snd Sabra Ciy in Sacramanto and Placer countes. Tha oty of
55t0n 80 venty S0 the unnsorsorsted sammuniy of WAt Grave 1 Sscremanto Caunty.
Tne lowar southwestam porion of Fscer County inoudng tha arass Known 85 Morgsn Creak,
Doy Rancn. Sun Valey Osis 30 %o Greens,

matEs
Quaniy Rates:
sess R
Al Customers Earex
Forsh waier daivared par 100 cu. . EXE o
Sanvcs Chargs: GenersiMeterad
et
e
For 58 x 3sinen e Sissi o
For 3/éunen matar 2537
For teinen mater si228
For 141/2:nen matar sa657
For 2inen mater 13531
For 3nen mater 25370
For snen mater se2281
For Gnen mater sais62
For gnen mater s135300
For 10:nen mater sissem
For 12:nen mater s273057 d

Tne Sanvis Charge s 8 rasdiness-fo-senve charga which s sppicabie t all gansral matarad
52rvs sndto whicn s 0 62 sdded tna montly Charga computed stine Qusntty Ratas.

“

(Continues)
sy vy s s T p—
ADVICE LETTER YO. D.?. STEPEENSON. DATE FILED
- EFFECTIVE
DECISION Alo07007 _ DIRECTOR - Rates & Regulstion _ RESOLUTION NO.

Pageiofl | Wordsi2i4

IEEES

)
78% :)—()—‘4(5 5





[image: image110.png]@9 0E&

Home  Insert

TBD 6345-W Example (SAC-2R Pg 1) (Protected View) - Microsoft

o B %

Pagelyout _ Refeences__ Mallngs__ Reiew _ View _ Adains_© @

CALIFORNLAAMERICAN WATER COMPANY e CPUCSHEETYO _tDW

33 B Avemss, Suits200
CORONADO, CA 2118

CANCELLNG _ et CPUC SHEETNO.

apeLcasIITY

T
Senesus o SAC2R
Sacramanto Datret Tart Ares
'RESIDENTIAL FL AT RATE SERVICE

‘Aopicsbie o sl msidantlwstar senios on 8 istrate basis

TERRITORY

Tne unincorporstad communiias, subdisions, snd adjacent rass ganarsly known a5 Cordoa.
Fosamont, Parkwsy Eststas, Lindse, Footnil Farms. Arngion Heigns, Linood, Loratto Hegns,
Ardan Fgands an Aren tsias. A parof 18 oty of Cins He s S na sammun e of
Antaions and Sara Cty n Sazamants and Placer Countes. Tha unncarmarsiad communts of
Wit Grove n Sacramans County.

“

Rates
Fors singlefamily residence inelucing premises. Parhister
having the following areas Earionin
33005 % orkess sees )
50155000 3 1. seest ]
For asen sstons!rsdncs onthe sams premess and sened
From tne same connazon. s g
Forasch 1,000 33,1 orpar of e srea n axcess of3.000 53,1 s
‘SPECIAL CONDITIONS
1. Tha sbova resdntslatrets chargas applyto servis connsctons notlsrger than 34 inch in
samatar
(Continues)
(10 s2 pisesres s vy s s e —
ADVICE LETTERNO. D.?. STEPEENSON. DATE FILED
- EFFECTIVE
'DECISION No. Alo0roor _ DIRECTOR - Rates & Repulstion  RESOLUTION NO.

Pageilofl | Wordsi165

[EFE)





[image: image111.png]M9 0| ‘Sacramento Comp Exh (Protected View) - Microsoft Word o B =
Home  Inset  Pagelaout  References  Mailings  Review  View  Adddns v @
REVENUE
ThBLE 81
CALIFORMA ANERICAN WATER CO.
SACRAVENTO DISTRICT
N \WATER SALES PER AVERAGE CUSTOMER
TesT vEAR 2012
er
i3 wnury it
sxceeos oA
mem omamaL | meviss SRaNCH revisso | NG spomTED

N orreRence

[— 277 e 00 e 277 e

Commarcal S35 3575 00 75 S35 3575

i Auporty aoess 27803 00 2703 aomes 27603
K nausval 01 03 00 00 o1 o0

imaston 00 00 00 00 o0 00

Unmsirss 227 1851 00 1851 2013 1851

Prvais Frs Ssvs ) 20 00 20 o0 20
« [ ) ] >
Page: 10121 | Words: 2933 |





[image: image112.png]@9 0E&

Home inset  Pagelmout  Refersnces  Mallngs  Review  View _Adtins _ © @

TBD 6342-W Example (SAC-L Pg 2) (Protected View) - Microsoft W.. = & 52

CALIFORNLA-AMERICAN WATER COMPANY. e CPUC SHEETNO 1D
1053 B v, Suits 200
‘CORONADD, CASIIS CANCELLING _Ouginal _ C.P.UC. SHEETXO.

T
Senasuis Mo, SAC (Contnuss)
“Sacramenic Datnet Tark e
'GENERAL METERED SERVICE

aa7ES (Contnuns)
S ———

Bt

| [l
For 58 3tincn mssantal s - el maiasa s s g
For 58 3t nch madntal 1 12,001 rescariel mamrea s prnr. s O
E o758 3 nch msaarial o 2-non el maiess 8 ncr S O
For 3/4-nch residentel to 1nch resgentisl metmred fire sprinkier. $26.13 ‘:’
Ford-nen escanial i | V2o assarial e s v e
W For 3/4-nen rassantal to 2inen rescantal matsred e sorcar saes )
ot 1inen esaamal® 1 130 e At e 1 arnr. Sex )
E ot Vinch sl o 2 cinia s s ncer Seo
For 1 Vsinen el 30 oA e o o Sz O

Tne Sanica Charge s 8 msdinass-to-sarve chirga which s applsiis f sl Residanti e
‘SprinkiarSystam materad sanicas only snd 1o which s addad ina cnarge orwatar used computsd

sfine Quaniity Retes.
(Continues)
B (2052 peexreD sy UTILTY) - oz s sv o
ADVICELETTERNO. D.?. STEPEENSON. DATEFILED B
M - EFFECTIVE
DECISIONYO. Alo0ro0r _DIRECTOR - Rates & Regulation  RESOLUTIONYNO. M

m
Pageiofl | Wordsi169 IEEES





(END OF ATTACHMENT I)

ATTACHMENT J:  TORO SERVICE AREA

[image: image113.png]@90 & Toro Comp Exh (Protected View) - Microsoft Word o= %

Wome nsett  Pageloyout  References  Mailngs  Review  View  Addins )

REVENUE
ThBLE 81
‘CALIFORMA-ANERICAN WATER CO.
om0 DISTRICT
N \WATER SALES PER AVERAGE CUSTOMER
TesT veAR 2012
er
i3 vy Rty
exceeos TPoRTED
mem omamaL | meviss SRANGH Revisep | FLING. spomTED

N orrreRence

— 225 225 00 225 277 225

Commarcal 20 20 00 20 00 20

Fuble Autnrty 00 00 00 00 00 00
K nausa 00 00 00 00 00 00

Ingaion 00 00 00 00 00 00

Unmeiars 00 00 00 00 00 00

Frvie Fre semes 00 00 00 00 00 00
< [ ) ] >
Page: 0121 | Words: 2974





(END OF ATTACHMENT J)

ATTACHMENT K:  VILLAGE/VENTURA COUNTY DISTRICT

[image: image114.png](= I ANUREY- 1] Ventura Comp Exh (Protected View) - Microsoft Word o= %

Wome nsett  Pageloyout  References  Mailngs  Review  View  Addins )

TABLE B9
CALIFORNIAANERICANWATER-CO|
VENTURA DISTRICTY

- WATER SALESPERAVERAGE CUSTOMER
TeeTvEAR 0T
==
9 L — wnury = s
Scemos [+ TEOATERT
mem - oRamAL | RevisED [+ sRAvGH v | Reviszo Jo FLNG | |+ AvorTED
Sirerencen
[— - 238 o 20+ 00 o w0 o s o a0y
Commarcal Py 1oz o tsms o 00 tsms o tsea o teme
Sloieaamorty ~ doms L o2ss o 0o L et o Jase o sen
ey - 4 AR X SR B - B S 0
K ngaion ~ oo L% T o 7. G LS L g
Consimeton s B O v S e
Soner - 20 L s 2 oo Lo e L% L Y
Crmsirss - o0 T 0o L 9s L a0 L oa I aa
N P Frasees - X I B 1 A I B 1
< [ ) ] >
e ®

Page; 10136 | Words: 5404





[image: image115.png]vone. [l ) IR

el o -
£

B .U dexx 8 EEEE A A
S ek change ot
WA a AN BT St

Font 5| Paragraph 5| syles 6| |

Ll B

Page:10f1

CALIFORNLA AVERICAN WATER COMPANY et CPUCSHEETNO _TEDW

Fy e ——"

CORONADO. CAS2IIS CANCELLING _Oisizal _ CP.UC.SHEETXO.

‘Scheduis No. V-1 (Contnuse)
Viags Diirct Terf Area
GENERAL NETERED SERVICE

‘BATES (Continuss)

Sanvos Crarge: Gensailetared
et

Eren

For 58 x34anen mtar BEd
For 3/4nen maer si03
For teinen meter sis30
For 1212200 reter 53559
For 2unen mater. sss5n
For 3inen mater. 10573
For dunen mater. sis29
For Gnen mater. 35530
For Snen mater. a5 51

Tne Sanica Charge's a asdiness-o-senva chargahich s sppica o sl ganers! materad senvioss
50 1o which 5 saded inacharge forwata used compiaad atthe Qusnisy Reres.

Sanves Crargs: Resdental Fre Sornier Sy (RFSS)
et

Eatonn

For 58 x3/4unn resgantalto 1-nen esdntal maserad i Srniar EX
For 58 x3/4inen resgantalio | 12-nen madantal maired frs sokar stz
For 58 x3/4nn resgantlto 2ncn essntal meierad 12 Srniar s
For 3t nn mssent o 1-nen msdantal meired frs somkr 5175
For éonn macenta 2 1 12-nen et cant e 8 S0k 51460
For 4o macent 1o 2-nen mesartal meired frs somcr si537
For nen e sentalio 1 12-nn mesental meiersd e sormiar 52122
For f-non e entalto 2onen =scents meered fm ok s2138
Fort 12nen madarta o 2-nn medental meirsd 8 somiar 5373

Tne Sanica Charge's  rasdiness-o-senve chargawhich s spofcse o sl ResidartalFre
‘SprinkiarSystam matered sanvioss only and f whch's sddd s cnargefor watar used compusd
sfine Quanty Retes

(Continues)

PrT e p— . [ ——
ADVICELETTERNO. D. P. STEPHENSON DATEFILED |

EFFECTIVE

DECISIONYO. DIRECTOR - Ratss & Remlation RESOLUTIONYO.

Words; 257 | 5 |

» [E

“omd





[image: image116.png]Ll R -

=
wome | men_ magetmon_ eterences v

*

(18D B353-WW Example (V-SMIL Fg 1) [Read-Only] [Compatibility Viode]ivl.

g5 Review  View  Adddns

L

Quick Change | Editing
Stles~ Styles~ |~

arial R

Clipboard | Font 5| Paragraph 5| syles 6| |

]

NS EREN RN RN RS KRN R RN AR SRR

Y@

CALIFORNLAAMERICAN WATER COMPANY, et CPUC SHEETNO _tBDW

1053 8 Avemss, Suite 200
CORONADO, CaS2118 CANCELLNG _Rasst  CPUC SHEETNO

Senasui o, VSIE.
Viags Distrct Tertt Ares
METERED CONSTRUCTION SERVICE

apeLcasIITY

opieani to sl wster samice fumsnad for sonstructon supesas.

TERRITORY
Portons of Thoussnd Osks, Nawoury Psrk, an sres sdjscant fo Camsrio, snd isny, Venturs
Caunty
Rates
Qusnity Retas:
Earons
For sl wster deliverad, per 100 u. . EEE o
M Crargs
PerDey
Forat sizas of maters e o

The Minimum Charga wil anite ina customsr 1 the qusnity of watar which that minimum charge
o purensss i e Quantty Retes.

Continses)
f— e —
AoviE ETTER MO, Dp STEREON  DATEFLED
- EmrECTIVE v
DECrsIoN Yo. Alesror _ DIRECTOR - Rats & Relion _ RESOLUTION X, 2
o ]

Worasi56 | 5





[image: image117.png]B o | et resciwowt  Reeences  Malings  Revew  view  Addins

*

ipbosra |

PP T NE

1o Quick Change  Editing
L-A-Aa [Ax &-E (8T shies- sylest | -
Font 5 pasgrapn T

]

CALIFORNLAAMERICAN WATER COMPANY, e CPUC SHEETNO.
1053 8 Avemss, Suite 200 —
CORONADO, CAs211s CANCELLNG _Rasst  CPUC SHEETNO

T
Senssus o V-1
Viags Diirct Tertt Ares
'GENERAL METERED SERVICE

apeLcasIITY
Aopicsbe fo sl metared weter senis
TERRITORY

Portons of Thoussnd Osks, Nawoury Psrk, an sres sdjscant fo Camsrio, snd isny, Venturs
Saunt.

Rates
Qusnity Retas:

Basemae
Residential Customers Zarest
Forina s 12 21 B
Foring nae 12 oot sz
Foral water 2aiverad over 24 s se357s

Commercisl Customers:
Wetar Gaivarzd, per 100 cu. . 53705

3578

Industrisl Customers:
Wetar daivared, par 100 cu. . 535380

(Continues)

J e sy T p—
ADVICE LETTER YO. D.?. STEPEENSON. DATE FILED

- EFFECTIVE

'DECISION No. DIRECTOR - Rate: & Regslation_ RESOLUTION 0.

» [





[image: image118.png]Insert

References

Page Layout Review  View  Addins

Mailings

)

L

.

Quick Change | Editing
Siyles Styles~ | *

u ¥
Y-A-m (AL &m0

CALIFORNLA-AMERICAN WATER COMPANY
1053 B Avemss, Suits200
CORONADO, CA 2118

CPUC.SHEETNO.

CANCELLNG _ et CPUC SHEETNO.

D

Senstus o vt
Viage Disrct Tarf Ares
PRIVATE FIRE PROTECTION SERVICE

E apeLcasIITY

‘Aopicabie o sl wstar senvs fmishad for prataly ownsd e protaction systams.

TERRITORY
E Portons of Tnoussnd Osks, Newoury Psrk snd srass sdjscantio Camarfo, and sy
Vanturs County.
il ae
R
Forsacn nen of damatarof sanves connsston
B minimum charge bssed on ¢ senves sesa0 O

Tns retssfor prusta fra senvios sra bssed upon the size ofthe senvce and no sddons!
N charges wi b made for fra hydrants, sprnkars, Noss connactons or standp pes connacisd o
and suppled by such prvsts fre sanics

- ‘SPECIAL CONDITIONS

1. Tra frs potacton senves and connecton 2nal be nstaied 5y s Uity or undaring
Bl Utitys draction. Cost of tne anire fr protacion nsialaton shsl 2 psd fr by e
sppicant Such paymentshal not s subjacto rfund.

Tns instaliston nousing iha dstaciortype chick vaie and mater and sppurisnances hared
181 52 1 = ston mutualy 8312820 fo s spalent and e Uity Nommaly suen
alaton £7a! 55 Geiad o0 e 8remass of 5 cant. 294540t 0 7 8rapery e, The
N Sxo2nze of mantanng 81 fazitaE A &1 1a 208 0998 of 08 208 cant (nudng

the vaut, metar, daiaciortyps chack veves, backTow devee and spouRansnces)shel o
paifor by the spocant

3. Alfacitas paid fo by ina sppicant, sxcuding the connaction st the main and sny servee
bipeocsiad n & publorghiotvay. s0alos he 501 proparyof re spoicant Tna Uity
5nd 5 duly autnorzed sgants snal nave ina ighi o ngress o and agress fom the
pramsas forsi puposes reistng o ssd facites.

(Continues)

F|  aovice erTERYO. D.?. STEPEENSON. DATE FILED i}
B EFFECTIVE
'DECISION No. Alooroor RESOLUTIO?

DIRECTOR - Rates & Remltion

< o

Cipbourd e = Faragapn 5| sy
P e e e s ek ettt





 (END OF ATTACHMENT K)
�  � HYPERLINK "http://docs.cpuc.ca.gov/published/RULES_PRAC_PROC_/105138-11.htm#P623_143939" ��http://docs.cpuc.ca.gov/published/RULES_PRAC_PROC_/105138-11.htm#P623_143939�. 


�  Non-revenue water is the difference between the amount of water produced by Cal�Am and the amount of water billed to customers.


�  In its comments on the proposed decision, Monterey Peninsula pointed out an inconsistency in the settlement regarding the Monterey Peninsula conservation budget.  Two different numbers are given in the settlement.  Monterey Peninsula cites to text in the settlement supporting the accuracy of one of the numbers and we make the correction here.  


�  Special Request #31 – Walerga Special Facilities Fees was moved to Phase 2 and Special Request #18 – Contamination Proceeds, was resolved by Decision (D.)10-10-018 and D.10-12-058.


� American Water Service Company provides services to all American Water Works Inc., subsidiaries and its costs are allocated among the various subsidiaries.  


�  NRDC’s opening comments on the proposed decision pointed out that treatment of this issue had been omitted from the proposed decision.  


�  In the 2009 decision, the term “unaccounted for” rather than “non�revenue” water was used.  The more modern term is used throughout this decision.


�  Cal-Am, DRA, and TURN Settlement on Revenue Requirement Issues, at 8 and 9.


�  Cal-Am, DRA, and NRDC Settlement on Non�Revenue Issues, at 4, Table 2.


�  The text on page 4 of the Cal-Am, DRA and NRDC settlement states that the 2009 non�revenue water for the Monterey Main System is 1241.  However, the table shows 1261 acre-feet for 2009, 1252 acre-feet for 2012, and 1251 acre-feet for 2013 and 2014.


�  Cal-Am, DRA and NRDC Settlement on Non�revenue Issues, Section 3.1.2 and Table 2 at 4, and Section 3.1.4 at 5. 


�  For the penalty/reward mechanism, the settlement converts the percentage goals adopted in D.09-07-021 to volumetric amounts using 2009 actual water production.


�  Cal-Am, DRA and NRDC settlement on non-revenue issues at 7.


�  D.09-07-021 at 53-54.


�  (10,365 acre-feet/0.91) * 0.90 = 1,025 acre-feet where 10,365 represents the Monterey Main system water consumption from Section 2.1.3 and 2.3.3 of the Settlement.


�  Cal-Am, DRA and NRDC non�revenue settlement at 8-10.


�  Id. at 10. 


�  Id. at 9.


�  The dead band allows Cal-Am to exceed the non-revenue target amounts by 5% before incurring a penalty.


�  A Class A utility is defined as an investor-owned water utility with over 10,000 service connections.


�  12/13 of $85,000 = $78,461 in annual expense based on the 395 day life of the filtration media.  $18,000 represents six back flushes per year, the mid range of every one to three months at $3000 per back flush.  Therefore, 78,461 + 18,000 = $96,461 in annual operations and maintenance expense.


�  D.10-11-006 modified D.09-07-021 and adopted $96,100 as the annual operation and maintenance cost of the Siemens system.  In its cost comparison testimony, DRA uses $96,100 as the annual operation and maintenance costs for the Pureflow System, however, the Pureflow system’s annual operation and maintenance costs are $18,660.


�  Cal-Am Opening Brief at 8.


�  57% of $1,953,000 = $1,113,210; $1,113,210 – $320,000 = $793,210.


�  D.10-11-006 at 4.


�  Exhibit CAW-45 at 2.


�  Cal-Am Reply Brief at 14.


�  Reporter’s Transcript at 1145:22-27.


�  Reporter’s Transcript at 1120:10-19.


�  TURN Opening Brief at 7.


�  TURN Opening Brief at 14.


�  TURN Opening Brief at 12.


�  We note there is a pending application for rehearing of D.10-11-034.  Today’s decision does not and is not intended to prejudge the issues in the rehearing application, which will be addressed in a subsequent Commission Decision.


�  FIN stands for Federal Accounting Standards Board Interpretation Number.


�  Cal-Am Opening Brief at 19.


�  DRA Opening Brief at 17.


�  D.08-10-019 at 8.


�  Exhibit CAW-43 at 2, 4.


�  A.10-07-007, Exhibit A, Chapter 2.


�  AFUDC – Allowance for Funds Used During Construction.


�  D.08-10-019 at 8.


�  D.08-05-036 at 10.


�  Reporter’s Transcript at 550-552.


�  Exhibit DRA-14, Appendices 10 and 11 contain DWA’s rejections of Cal-Am’s Advice Letters 735 and 838, with instructions for refilling.


�  Exhibit DRA-13 at 4-5.


�  Exhibit CAW-40 at 5.


�  Exhibit CAW-55 at 6. 


�  Reporter’s Transcript 795:3-12 and 796:3-9.


� Cal-Am Reply Brief at 55.


�  Cal-Am characterizes the balancing account authorized in the last decision as tracking the difference between the amounts authorized in the decision and the actual pension expense.  Cal-Am's recovery is capped at actual ERISA minimums.


�  Calculated by Cal-Am's actuary.


�  Cal-Am’s original request sought $4,388,096, a 30% increase from 2010 rates.  Cal-Am stated that its original request was amended in response to changing circumstances and forecasts. 


�  Exhibit CAW-27 at 106-107.


�  Exhibit CAW-27 at 54.


�  Cal-Am’s Reply Brief at 70. 


�  DRA does not comment on Cal-Am’s requested rate base treatment of the business transformation project expenses.


�  Exhibit DRA-13 at 2.2-2.3.


�  Reporter’s Transcript 890:3-13.


�  A Class A utility is defined as an investor-owned water utility with over 10,000 service connections.


�  The transaction was authorized by the Commission in D.01-09-057.


�  � HYPERLINK "http://docs.cpuc.ca.gov/efile/MOTION/135724.pdf" ��http://docs.cpuc.ca.gov/efile/MOTION/135724.pdf� 


�  � HYPERLINK "http://docs.cpuc.ca.gov/efile/MOTION/141195.pdf" ��http://docs.cpuc.ca.gov/efile/MOTION/141195.pdf�


�  � HYPERLINK "http://docs.cpuc.ca.gov/efile/MOTION/140665.pdf" ��http://docs.cpuc.ca.gov/efile/MOTION/140665.pdf�





583308

- 1 -
- iv -

