ALJ/MEG/sid		Mailed 1/17/2003

Decision 03-01-006  January 16, 2003

BEFORE THE PUBLIC UTILITIES COMMISSION OF THE STATE OF CALIFORNIA

| Order Instituting Rulemaking on the Commission’s Proposed Policies and Programs Governing Energy Efficiency, Low-Income Assistance, Renewable Energy and Research Development and Demonstration. | Rulemaking 98-07-037 (Filed July 23, 1998) |
| --- | --- |

INTERIM OPINION REGARDING MAFI-TRENCH CORPORATION’S

PETITION FOR MODIFICATION OF DECISION 01-03-073

# Summary

By Decision (D.) 01-03-073, dated March 27, 2001, the Commission adopted program incentives for demand-responsiveness and self-generation, pursuant to Public Utilities Code Section 399.15(b).  Today’s decision addresses the Petition for Modification of D.01-03-073 (Petition) filed by Mafi-Trench Corporation U.S.A (Mafi-Trench) to include expansion turbines (referred to as “turbo-expanders”) in the self-generation incentive program.  Turbo-expanders can be used to recover the energy that would otherwise be wasted during the process of stepping down high-pressure natural gas in the gas transmission pipeline to lower pressures for distribution to customers.  This waste heat is then used to produce electrical power.

We find that Mafi-Trench’s Petition leaves several questions unanswered concerning this technology, and raises several concerns about its inclusion in the incentive program.  For this reason, we deny the Petition at this time.  However, we afford Mafi-Trench the opportunity to respond to our concerns by answering several questions.

We direct Energy Division to develop recommendations for our consideration concerning the appropriateness of including turbo-expanders within the self-generation program, based on Mafi-Trench’s responses to these questions and the comments of interested parties.  As discussed in this decision, Energy Division may request additional data from Mafi-Trench and other sources, as appropriate, and consult with members of the Self-Generation Working Group in developing its recommendations.  We also direct Energy Division to develop a process for evaluating technologies proposed for inclusion in the self-generation program, for our consideration.

# Background

“Self-generation” refers to distributed generation technologies (micro-turbines, small gas turbines, wind turbines, photovoltaics, fuel cells and internal combustion engines) installed on the customer’s side of the utility meter that provide electricity for either a portion or all of that customer’s electric load.  Under the program adopted in D.01-03-073, as modified by D.02-09-051, financial incentives are provided to three different categories (or levels) of distribution technologies:

Level 1:  The lesser of 50% of project costs or $4.50/watt for photovoltaics, wind turbines and fuel cells operating on renewable fuels;

Level 2:  The lesser of 40% of project costs or $2.50/watt for fuel cells operating on non-renewable fuel and utilizing sufficient waste heat recovery, and

Level 3:  The lesser of 30% of project costs or $1.00/watt for micro-turbines, internal combustion engines and small gas turbines operating on non-renewable fuel that both utilize sufficient waste heat recovery and meet reliability criteria.  For these same technologies operating on renewable fuel:  The lesser of 40% of project costs or $1.50/watt.

The Commission authorized combined annual budgets of $125 million for the self-generation programs administered by Pacific Gas and Electric Company (PG&E), Southern California Gas Company (SoCal), Southern California Edison Company (SCE), and San Diego Regional Energy Office (SDREO) over a four-year period.  The program was officially launched on June 29, 2001.

On April 24, 2002, Mafi-Trench filed a Petition requesting that the Commission permit turbo-expanders to qualify for the Level 1 incentive payments under the program.  In its Petition, Mafi-Trench argues that turbo-expanders represent a “super clean” resource because there are no emissions resulting from the pressure drop that enables the technology to produce electrical power.  Therefore, in Mafi-Trench’s view, this technology should be eligible for the higher incentives offered under Level 1.

SCE responded to Mafi-Trench’s Petition on May 24, 2002.  SCE opposes the Petition on the basis that there is nothing on the record to substantiate Mafi-Trench’s assertions that turbo-expanders offer “super clean” electrical generation or that the Level 1 incentive is the appropriate incentive level for this technology.  SCE requests that the Commission reject the Petition until a sufficient record is developed to establish the qualification of turbo-expanders for Level 1 incentives.  In the alternative, SCE suggests that the Commission allow this technology to qualify for Level 2 or 3 incentives until the appropriate record is established.  In its reply comments, Mafi-Trench urges the Commission to accept the turbo-expander technology as qualifying for Level 2 incentives at this time, while it works with the Commission staff and parties “in developing the record to permit the technology to qualify for Level 1 incentives in the near future.”

# Discussion

In D.02-09-051, we addressed the eligibility of renewable-fuel combustion turbines (e.g., micro-turbines) for self-generation program incentives.  This decision was issued in response to a Petition filed by Capstone Turbine Corporation approximately one month earlier than Mafi-Trench’s Petition.  Our discussion in that decision is relevant to the consideration of Mafi-Trench’s Petition.  Specifically, we discuss at some length the basis for the incentive structure adopted in D.01-03-073:

“…the incentives were structured to subsidize a certain percentage of total project costs (i.e, 50%, 40%, 30% for Level 1, 2 and 3, respectively) subject to per-watt dollar limits on total subsidy costs.  These limits were based on the average capital costs of the technologies within each category.  For example, the per-watt limit for Level 1 was designed with projects that have average capital costs of $9.00/watt in mind (i.e., $4.50/watt divided by 50%)…. Similarly, Level 2 incentives were designed for projects with costs of approximately $6.25/watt (i.e., $2.50 divided by 40%), and level 3 incentives were designed for projects that cost about $3.33/watt (i.e., $1.00 divided by 30%. ”

Mafi-Trench has provided no information concerning the average project capital costs of the turbo-expander technology it proposes to include under the self-generation program.  Therefore, its assertion that the technology should qualify for Level 1 incentives cannot be substantiated by the record due to the lack of cost data.

More importantly, we not persuaded that turbo-expanders should be considered in isolation when evaluating the eligibility of this technology for distributed generation incentives.  In practice, turbo-expanders allow for the recovery of excess pressure in natural gas transmission to produce electrical power much in the same way (although by different processes) as co-generation units allow for the recovery of waste or process heat to produce electrical power.  Both increase the efficiency with which fossil fuel inputs are utilized.  However, neither technology can generate electricity in isolation, i.e., without fossil fuel inputs somewhere down the line.  Natural gas pipelines require fossil-fueled compressors approximately every 50 to 100 miles to boost and maintain the high-pressure transmission that creates the pressure differential used to produce electrical power via turbo-expanders.  Were we to consider this technology eligible for self-generation incentives, we believe it is necessary to consider additional data on efficiency based on a broader definition of the energy inputs involved.

Because turbo-expander generation relies on fossil fuel inputs, we do not find this technology to be either super clean or renewable.  The record lacks any data on the relative emissions of fuel cells (the only Level 1 technology with operational emissions) and turbo-expander generation when taking the fuel input requirements of compression stations into consideration.  Therefore, nothing in the record compels us to equate turbo-expander generation in terms of air emissions with Level 1, Level 2 or Level 3 renewable technologies.  However, this technology could be considered eligible for Level 3 non-renewable incentives depending on the efficiency characteristics of turbo-expander generation and the project costs.  As discussed above, we require additional information on these issues.

Mafi-Trench’s request raises other unanswered questions and concerns. One of the primary objectives of the self-generation program is peak load reduction.  Mafi-Trench provides no evidence that this application of turbo-expanders can provide peak load relief to its customers.  We also have very limited information on the range of benefits for turbo-expander generation.  Since only large industrial customers that receive high pressure natural gas can utilize this technology, the potential appears to be relatively small.  In addition, we have concerns about how to monitor the use of turbo-expanders to ensure that they are used for electrical production and not a different industrial process once they are installed.

For these reasons, we deny the Petition at this time.  We afford Mafi-Trench the opportunity to respond to our concerns by answering the following questions:

1.  What are the installed system costs (on a dollar per kilowatt basis), both average costs and with project examples included?

2.  What is the market potential for the application of this technology to recovery waste heat for the production of electrical power, both in terms of customer classes and total potential in California?

3.  How would this application aid in peak load reduction and what is an average expected generation profile?

4.  What efficiency does electrical power production from turbo-expanders achieve considering total inputs, including those required to produce the pressure differential in the first place?  What is the total energy use for compression stations in California?

5.  How would this application meet the waste heat recovery and reliability requirements for Level 3 incentives, assuming it was eligible for incentives under that category?

6.  How could this application be monitored to ensure that the turbo-expanders are used for electrical production and not a different industrial process once they are installed?

In its December 12, 2002 comments on the draft decision, Mafi-Trench filed and served responses to these questions.  Interested parties may provide comments on Mafi-Trench’s responses within 15 days from the effective date of this decision, and Mafi-Trench may reply within 10 days thereafter.  After reviewing this information, Energy Division should develop recommendations for our consideration concerning the appropriateness of including turbo-expanders within the self-generation program.  Energy Division may request additional data from Mafi-Trench and other sources, as appropriate, and consult with members of the Self-Generation Working Group in developing its recommendations.  Energy Division should forward its recommendations to the Assigned Commissioner and Administrative Law Judge no later than 90 days from the effective date of this decision.

Since initiating the self-generation program in D.01-03-073, we have received several petitions for modification that request an evaluation of additional technologies to include in the program.  As suggested by SCE, it would be more effective to establish a process by which the Commission could give careful consideration to proposed new technologies that does not rely on procedures related to petitions for modification.  We agree.  In particular, we believe that Energy Division, in consultation with the Working Group, should assist us in this process by (1) reviewing proposals for new technologies, (2) requesting and obtaining additional data from the proponent or other sources that would, among other things, address the types of concerns raised in this decision and D.02-09-051 and (3) develop specific recommendations for our consideration.  We envision that the Energy Division/Working Group recommendations on whether  to include the proposed technology in the program (and if so, under what incentive level) would be issued for comment via an Assigned Commissioner’s Ruling.  Energy Division’s recommendations and parties’ comments would subsequently be addressed by Commission decision in this proceeding.

We direct Energy Division, in consultation with the Working Group, to develop the details of such a process, including a timeline for the various steps involved, within 30 days from the effective date of this decision.  Comments on the proposed process are due 15 days thereafter.  We delegate to the Assigned Commissioner the task of establishing a process for our consideration of proposals to add technologies to the program, via Assigned Commissioner’s ruling.

# Comments on Draft Decision

The draft decision of Administrative Law Judge (ALJ) Meg Gottstein in this matter was mailed to the parties in accordance with Public Utilities Code § 311(g)(1) and Rule 77.7 of the Rules of Practice and Procedure.  Comments were filed on December 12, 2002 by Mafi-Trench.  No reply comments were filed.

In its comments, Mafi-Trench submits additional information in response to the questions posed above, and requests that we approve its Petition on the basis of this submittal.  We note that none of this information has been reviewed, verified or considered by Energy Division and the Working Group, and parties to the proceeding have not been afforded the opportunity to comment.  We do not believe that it is in the public interest to add technologies to the self-generation incentive program without a careful, independent review of information that responds to the concerns we raise in response to Mafi-Trench’s Petition and have articulated in prior decisions.  Accordingly, we will proceed with the process established in the draft decision to address these concerns.  We are persuaded by Mafi-Trench’s comments, however, that the timeframe for Energy Division’s review should be shortened in order to complete our evaluation in an expeditious manner.  We believe that a 90-day period should afford Energy Division sufficient time to consult with the Working Group and complete its review, provided of course, that Mafi-Trench responds without delay to any further inquiries that Energy Division or the Working Group may have regarding its proposal.  Accordingly, we reduce from 150 to 90 days the schedule set forth in the draft decision.

In addition, in response to the filings in this proceeding, we direct Energy Division to develop a proposal for the review of future requests to include new technologies in the program.  To date, the only procedural vehicle available has been a petition for modification of D.01-03-073.  As discussed in this decision, we envision a more expeditious process whereby the Energy Division, in close consultation with the Working Group, reviews proposals, requests additional information as needed, and develops recommendations for public comment and Commission action.

# Assignment of Proceeding

Loretta Lynch is the Assigned Commissioner, and Meg Gottstein is the assigned ALJ in this proceeding.

Findings of Fact

- As discussed in this decision, the incentives adopted in D.01-03-073 were structured to subsidize a certain percentage of project capital costs.  However, Mafi-Trench has provided no information concerning the average costs of the turbo-expander technology it proposes to include under the self-generation program.

- Considering turbo-expanders in isolation as a stand-alone generation technology would ignore the fact that this technology cannot produce electrical power without the existence of fossil-fueled compressors.

- Because turbo-expander generation relies on fossil fuel inputs, it is neither super clean nor renewable.

- The record lacks any data on the relative emissions of fuel cells (the only Level 1 technology with operational emissions) and turbo-expander generation when taking the fuel input requirements of compression stations into consideration.

- There is no basis in the record to equate turbo-expander generation in terms of air emissions with Level 1, Level 2 or Level 3 renewable technologies.  This technology could be considered eligible for Level 3 non-renewable incentives depends on the efficiency characteristics of turbo-expander generation and project costs.  As discussed in this decision, we require additional information on these issues.

- As discussed in this decision, Mafi-Trench’s request raises other unanswered questions and concerns that should be addressed before a final determination on the eligibility of this technology for self-generation incentives can be made.

Conclusions of Law

- Mafi-Trench’s Petition should be denied at this time, without prejudice, pending the receipt and review of additional information concerning turbo-expander generation described in this decision.

- Energy Division should develop recommendations for our consideration concerning the appropriateness of including turbo-expanders within the self-generation program.  Energy Division may request additional data from Mafi-Trench and other sources, as appropriate, and consult with members of the Self-Generation Working Group in developing its recommendations.

- As described in this decision, Energy Division should develop a proposal for the Commission’s evaluation of additional technologies to be included in the self-generation program.  Based on Energy Division’s proposal and parties’ comments, the Assigned Commissioner should establish such a process via Assigned Commissioner’s ruling.

- This order should be effective today.

INTERIM ORDER

IT IS ORDERED that:

- The Petition for Modification of Decision 01-03-073 (Petition) filed by Mafi-Trench Corporation U.S.A (Mafi-Trench) on April 24 2002 (Petition) is denied without prejudice, pending the receipt and consideration of Mafi-Trench’s responses to the questions listed in Ordering Paragraph 2.  Should Mafi-Trench elect to forego the opportunity to respond to these questions, the Petition is denied with prejudice.

- Mafi-Trench may respond to the concerns discussed in this decision by filing and serving responses to the following questions within 45 days from the effective date of this decision:

- What are the installed system costs (on a dollar per kilowatt basis), both average costs and with project examples included?

- What is the market potential for the application of this technology to recovery waste heat for the production of electrical power, both in terms of customer classes and total potential in California?

- How would this application aid in peak load reduction and what is an average expected generation profile?

- What efficiency does electrical power production from turbo-expanders achieve considering total inputs, including those required to produce the pressure differential in the first place?  What is the total energy use for compression stations in California?

- How would this application meet the waste heat recovery and reliability requirements for Level 3 incentives, assuming it was considered eligible for incentives under that category?

- How could this application be monitored to ensure that the turbo-expanders are used for electrical production and not a different industrial process once they are installed?

- Interested parties shall provide comments on Mafi-Trench’s responses within 15 days from the effective date of this decision, and Mafi-Trench may reply within 10 days thereafter.  After reviewing this information, Energy Division shall develop recommendations for our consideration concerning the appropriateness of including turbo-expanders within the self-generation program.  Energy Division may request additional data from Mafi-Trench and other sources, as appropriate, and consult with members of the Self-Generation Working Group in developing its recommendations.  Energy Division shall forward its recommendations  to the Assigned Commissioner and Administrative Law Judge no later than 90 days from the date of this decision.

- As discussed in this decision, Energy Division shall propose a process for Commission consideration of additional technologies to include in the self-generation program, including a schedule for submittals and review time.  Energy Division’s proposal shall be filed within 30 days from the effective date of this decision, and served on all parties to this proceeding.  Comments on Energy Division’s recommendations are due 15 days thereafter.  Based on Energy Division’s proposal and parties’ comments, the Assigned Commissioner shall establish a process for the evaluation of proposals to add technologies to the program via Assigned Commissioner’s ruling.

- All filings required by this decision shall be filed at the Commission’s Docket Office and served electronically on all appearances and the state service list in this proceeding.  Service by U.S. mail is optional, except that one hard copy shall be mailed to the Assigned Administrative Law Judge.  In addition, if there is no electronic mail address available, the electronic mail is returned to the

- sender, or the recipient informs the sender of an inability to open the document, the sender shall immediately arrange for alternate service (regular U.S. mail shall be the default, unless another means—such as overnight delivery—is mutually agreed upon).  The current service list for this proceeding is available on the Commission’s web page, www.cpuc.ca.gov.

- The Assigned Commissioner may, for good cause, modify the due dates required by this decision.

This order is effective today.

Dated January 16, 2003, at San Francisco, California.

MICHAEL R. PEEVEY

President

CARL W. WOOD

LORETTA M. LYNCH

GEOFFREY F. BROWN

SUSAN P. KENNEDY

Commissioners

D.01-03-073 has subsequently been corrected by D.01-04-048 and modified by D.01-07-028, D.02-02-026, D.02-04-004 and D.02-09-051, in response to petitions for modification.  However, none of these modifications have altered the language in D.01-03-073 concerning the issue raised by Mafi-Trench’s Petition.

PG&E, SoCal and SCE are the program administrators for the self-generation program within their service territories.  Per D.01-06-035, San Diego Gas & Electric Company (SDG&E) subcontracts to SDREO to administer the self-generation program within its service territory.  We refer to PG&E, SoCal, SCE and SDREO collectively as “the program administrators ” throughout this decision and in Attachment 1.  We refer to PG&E, SoCal, SCE and SDG&E collectively as “the utilities.”

Reply of Mafi-Trench to Response of SCE to Petition, June 4, 2002, p. 2.

D.02-09-051, p. 11.

The self-generation program administrators, working with the Energy Division, comprise the Self-Generation Working Group.  The California Energy Commission has also participated in Working Group meetings on program coordination issues.  The Working Group continues to meet on an as-needed basis to review program compliance and address coordination and consistency issues.  See D.02-02-026, pp. 15-17.

In addition to Mafi-Trench’s Petition, we addressed a request filed by Capstone Turbine Corporation to include renewable-fuel micro-turbines in the program (D.02-09-051) and on October 28, 2002, Solel Solar Systems filed a petition to classify solar thermal electric technologies as a Level 1 technology under the program.

See SCE’s May 24, 2002 Response to Mafi-Trench’s Petition, p. 4.