- ALJ/JBW/epg 		Mailed 10/11/2000

- Decision 00-10-029  October 5, 2000

- BEFORE THE PUBLIC UTILITIES COMMISSION OF THE STATE OF CALIFORNIA

| In the Matter of the Application of Southern California Water Company (U 133 W) for a Certificate of Public Convenience and Necessity pursuant to California Public Utilities Code Section 1001 to extend its West Orange County System to the Bolsa Chica Planned Community. | Application 98-11-003 (Filed November 5, 1998) |
| --- | --- |
| In the Matter of the Application of Southern California Water Company (U 133 W) for a Certificate of Public Convenience and Necessity pursuant to California Public Utilities Code Section 1001 to Operate and Maintain a Wastewater System to Provide Service to the Bolsa Chica Planned Community. | Application 98-11-015 (Filed November 10, 1998) |

Patricia A. Schmiege, Attorney at Law, of O’Melveny & Myers, LLP, and Susan L. Conway, for Southern California Water Company, applicant.

James Squeri, Attorney at Law, of Goodin, MacBride, Squeri, Ritchie & Day, and Russell G. Behrens, Attorney at Law, of McCormick, Kidman & Behrens, for Hearthside Homes, Inc., interested party.

Ronald A. Van Blarcom and David H. Mann, Attorneys at Law, of Van Blarcom, Liebold, McClendon & Mann, for the City of Huntington Beach, and Donald Horgan, Attorney at Law, of the Law Offices of Dennis P. Riordan, and Alys E. Masek, Attorney at Law, for Bolsa Chica Land Trust, protestants

Peter G. Fairchild, Attorney at Law, for the Ratepayer Representation Branch of the Water Division.

TABLE OF CONTENTS

TITLE	PAGE

OPINION	2

1.	Summary	2

2.	Statement of Facts	2

2.1.	The Applicant	2

2.2.	The Applications	3

2.2.1.	A.99-11-003	3

2.2.2.	A.99-11-015	3

2.3.	The Protests	4

3.	Background History	4

4.	Rule 6.1 Aspects	14

5.	Procedural History	14

5.1.	The February 25, 1999 Prehearing Conference (PHC)	14

5.2.	The Resulting Scoping Memo	16

5.3.	The April 22, 1999 2nd PHC	17

5.4.	The August 23, 1999 EH	18

5.5.	Briefing	19

6.	The Environmental Review Process	20

7.	Discussion	24

7.1.	Project Considerations	24

7.2.	Environmental Considerations	33

7.2.1.	Draft SEIR	33

7.2.1.1.	Public Comments and Input	33

7.2.2.	Final SEIR	34

7.2.2.1.	Alternatives Screening Process	34

7.2.2.2.	Alternatives Eliminated from Full Consideration	34

7.2.2.3.	Alternatives Evaluated in the SEIR	35

7.2.2.4.	Environmentally Superior Alternative	35

7.2.3.	Environmental Analysis of the Proposed Project	37

7.2.4.	Significant Environmental Effects of the Proposed Project	38

7.2.4.1.	Beneficial Impacts (Class IV)	38

7.2.4.2.	Adverse, But Not Significant Impacts (Class III)	38

7.2.4.3.	Significant Impacts That Can be Mitigated To a Level 
That Is Less Than Significant (Class II Impacts)	38

7.2.4.3.1.	Noise	39

7.2.4.3.2.	Traffic and Circulation	39

7.2.4.3.3.	Environmental Contamination	40

7.2.4.3.4.	Geology and Soils	40

7.2.4.3.5.	Cultural Resources	41

7.2.4.3.6.	Biological Resources	41

7.2.4.3.7.	Public Services and Utilities	41

7.2.4.4.	Significant Impacts That Cannot Be Mitigated To Insignificant Levels (Class I Impacts)	42

7.2.5.	Environmental Findings and Statement of Overriding Considerations	43

7.2.6.	Adequacy and Certification of the Final SEIR	45

7.2.6.1.	Adequacy of the Final SEIR	45

7.2.6.2.	Certification of the Final EIR	46

Comments on the Proposed Decision of the ALJ	46

Findings of Fact	50

Conclusions of Law	54

ORDER	55

Appendix A – Final Supplemental Environmental Impact Report

Appendix B – General Metered Sewer Tariff

OPINION

# Summary

This decision approves Application (A.) 98-11-003 and A.98-11-015 of Southern California Water Company (SCWC) for Certificates of Public Convenience and Necessity (CPCN):  (1) to extend SCWC’s West Orange System from the City of Cypress via a 6.7-mile, 18-inch pipeline to be constructed through intervening cities of Seal Beach, Westminster, and Huntington Beach in public rights of way, and traversing through portions of unincorporated Orange County and rights of way under the jurisdiction of the California Department of Transportation, the Orange County Flood Control District, and the Armed Forces Reserve Center in the City of Los Alamitos, to serve a residential development to be constructed by Hearthside Homes (Developer) in unincorporated territory known as the Bolsa Chica Mesa (Mesa); and (2) to operate, manage, and control a wastewater collection system in the same residential development.

The decision also certifies the Final Supplemental Environmental Impact Report for the project.

# Statement of Facts

## The Applicant

SCWC is a California public utility under the jurisdiction of this Commission providing public utility water services to over 240,000 customers in the state through 41 separate systems in ten counties.  SCWC obtains its water from (1) the Colorado River and the State Water Project, and (2) local groundwater from the Santa Ana River Groundwater Basin obtained through 27 wells.  The SCWC West Orange County System has 36,241 gallons per minute (gpm) of water flow available from all sources to meet maximum day demand.  At present, this system has an approximate available surplus of 5,979 gpm.  The Mesa project’s total flow requirement for domestic and fire flow protection is estimated to be 4,040 gpm.

Apart from its public utility water services, SCWC also operates two wastewater treatment plants in California.  One is at the Naval Air Facility Station in El Centro and the second is at the City of Calipatria.  In those latter two activities, SCWC employs 12 persons.

## The Applications

### A.99-11-003

Pursuant to provisions of Public Utilities Code Section 1001, SCWC seeks from the Commission a CPCN authorizing SCWC to extend the service territory of its West Orange County District to include a noncontiguous residential community to be located on the Mesa segment of the Bolsa Chica in an unincorporated area of Orange County; authorization to construct a 6.75-mile water transmission pipeline to interconnect the District to the Mesa community development; authorization to file a new tariff map to reflect this noncontiguous extension of its service territory; authorization to charge such rates and tariffs in the Mesa project as are in effect in SCWC’s West Orange County District; and authorization to treat the water facilities as contributed plant not in rate base.

### A.99-11-015

Pursuant to provisions of Public Utilities Code Section 1001, SCWC seeks from the Commission a CPCN authorizing SCWC to provide wastewater service to the Mesa community development; authorization to file a tariff map reflecting the provision of wastewater service to the development; and authorization to apply certain rates and tariffs in the development as set forth in the application.

## The Protests

Timely protests were filed by the City of Huntington Beach (the City), the Bolsa Chica Land Trust (Land Trust), and the Ratepayer Representation Branch of the Water Division (RRB).

# Background History

In the unincorporated portion of northwestern Orange County there is an approximate 1600-acre area known as the Bolsa Chica.  Bolsa Chica is bounded to the north, east, and south by the City of Huntington Beach (the City), and to the southwest by the Pacific Coast Highway and the Pacific Ocean.  The Bolsa Chica embraces three general areas:  the Bolsa Chica Mesa (the Mesa); the considerable larger area of the Bolsa Chica lowlands (Bolsa Chica wetlands) and the Huntington Mesa.  The entire Bolsa Chica lies entirely within the Coastal Zone (as defined by the California Coastal Act), and therefore is subject to the land use planning and regulatory jurisdiction of both Orange County and the California Coastal Commission.  Orange County land use regulation is done in accord with the County’s General Plan.

In 1979, Signal Landmark owned the Bolsa Chica area, and began working through the County jurisdiction for entitlement to develop the area.  By early 1986, a land use plan for Bolsa Chica was proposed and certified by the Coastal Commission.  It provided for 5,700 residential units and a marina-commercial complex.  But local opposition formed, leading in 1988 to formation of a Bolsa Chica Planning Coalition.  The Coalition included State, County, and City representatives, the landowner, and a local environmental group, Amigos de Bolsa Chica (Amigos).  The purpose in forming the Coalition was to facilitate negotiation of a revised land use plan for the Bolsa Chica.

Some conflicts were resolved and a concept plan adopted which substantially reduced residential development.  By mid-1990, the City and the County signed a Memorandum of Agreement, with the City to be the lead agency to process a new Local Coastal Plan (LCP) and an Environmental Impact Statement/Environmental Impact Report (EIS/EIR).  The City took three years in planning studies and drafting EIS/EIRs for the project.  Despite the wide public input, when the City finally released its draft EIS/EIR, it drew wide criticism.  New opposition groups formed.  An organization called the Bolsa Chica Land Trust organized to advocate public acquisition of the Bolsa Chica.  The City decided its land use plan should be changed, and the Coalition broke-up when the City left the Coalition.

In view of the City’s changed view on development of the Bolsa Chica, the breakup of the Coalition, and processing delays by the City, the Koll Real Estate Group (KREG), then the project Developer for Signal Landmark, determined to exercise its right to process its entitlement requests through the County.  The County-City Memorandum of Agreement was cancelled, and the County assumed the lead agency role for development of the Bolsa Chica under the California Environmental Quality Act (CEQA).  Late in 1993, the County issued a draft EIR following the land use plan for Bolsa Chica that earlier had been devised by the now defunct Coalition.  The draft EIR was revised following public comment and recirculated.  The draft EIR provided two alternatives: one provided for 2,500 residential units on the Mesa and 800 units on the lowlands; the second alternative limited residential development to the 2,500 units on the Mesa.

The County Planning Commission following public comment approved the first plan as the LCP for Bolsa Mesa.  In April 1995, over objections from the City, the County Supervisors approved a development agreement with the Developer.

In January 1996, after public hearings, the Coastal Commission approved the County’s LCP for Bolsa Chica with suggested modifications.  In March 1996, in response to a legal challenge from the Land Trust and other groups to the County’s adoption of the Bolsa Chica LCP draft EIR, the Superior Court ordered the County to prepare a revised draft EIR so as to reflect a more stable project description, and then to recirculate the revised draft EIR.  In June 1996, the County did this.  After this was recirculated, the County Supervisors ratified the suggested Coastal Commission modifications and adopted a Final EIR.  The Superior Court in 1996 found that the County had complied with its earlier order by recirculating the draft EIR.  The Land Trust group appealed in September 1996, and their appeal was rejected by the Court of Appeals in June 1998.

Back in March of 1996, the Land Trust and other community groups also challenged the Coastal Commission’s January 1996 approval of the County’s LCP for the Bolsa Chica.  The Commission approval had included residential development on the wetlands (800 units), the filling of Warner Pond, and relocation of a raptor habitat eucalyptus grove.  The Superior Court on August 7, 1997 found against the Commission’s approvals as to the wetland development and filling of Warner Pond, but rejected the Land Trust claim that relocation of the eucalyptus grove would result in a significant impact or that there was an inadequate buffer zone.  The Coastal Commission modified its LCP accordingly, eliminating wetland residential development and filling of Warner Pond, and again approved the LCP.  Various appeals followed, leading to a Court of Appeals decision on April 16, 1999 that, while upholding the Coastal Commission’s previous approval of the LCP in all practical aspects except as to the preservation and protection of the raptor habitat eucalyptus grove, ordered Superior Court to remand the Bolsa Chica LCP to the Coastal Commission.  Superior Court on June 25, 1999 ordered the Coastal Commission to reconsider the LCP in its entirety, and to conduct a full public hearing on any LCP it proposes before again approving the LCP.

While these Court decisions have no material impact on the design, construction or operation of the proposed pipeline, the area of the Mesa project may require some modifications, particularly as it relates to the area near the eucalyptus grove.  This could result in minor relocations of water distribution and sewage collection lines in the project itself.

The LCP is conterminous with the area of the Bolsa Chica Planned Community.  That portion of the Planned Community that the Developer projects for residential purposes is the northerly subarea of Bolsa Chica, approximately 230 acres referred to as the “Mesa.”  The Mesa consists primarily of grasslands ranging in elevation from 7 to 57 feet mean sea level.  The Developer plans approximately 1,235 lots, with the development to be primarily of single family detached homes and a limited number of townhouses.

The Mesa, while in the City’s sphere of influence, lies entirely in the unincorporated area of the County.  In these unincorporated areas of Orange County, the County provides police and fire protection services for any developments, but it does not provide water and sewer services.  Typically, water and sewer services are provided either by adjacent cities or by special districts.  In the situation present here, the principal alternatives open to the Developer to obtain water and sewer services were either to contract with an adjacent city, or form its own service entity.  The adjacent city here was Huntington Beach.

To explore the possibility of obtaining water from the City, in June of 1996 the Developer met with the City Administrator.  As inducements the range of discussion included the Developer providing certain capital infrastructure improvements to the City’s water system as well as per unit contributions based upon the number of proposed units the Developer would build on the Mesa.  The City Council was ambivalent about allowing the City’s staff to negotiate with the Developer.  Several members were opposed unless the Developer would agree to further reductions in the density allowed in the Developer’s County entitlements, and would agree to apply the City’s building standards.  However, the Council finally asked its City Administrator to provide a process for discussions and possible negotiations with the Developer.  The Council wanted the fiscal impacts to the City to be considered in the process.

By a 4-3 vote in the April 1997 meeting, the City Council rejected the Developer’s 1996 water proposals, but agreed to evaluate any new water proposals if proffered.  The Council also voted to continue negotiations on library, police, sewer, and traffic agreements.

In the same month (April of 1997), although the City’s staff had been precluded from discussing water and sewer services with it, the Developer none-the-less submitted a comprehensive concept proposal regarding City delivery of public services to the Developer’s Mesa project.  The water component of that proposal (making use of an earlier study by the City) noted the City’s need for a reservoir in the vicinity of the Mesa to correct the City’s existing pressure problems, and proposed to build and lease a 9-million gallon reservoir site to the City at a dollar a year with the property to pass to the City in ten years.  The Developer would contribute $8.75 million of the cost in exchange for the City providing, operating, and maintaining water and sewer facilities to the Mesa development.  Other portions of the package deal addressed fiscal benefits relating on fire and emergency medical services, law enforcement and library services.  The Developer observed that there had been two years of discussion regarding City provision of services to the Mesa project, and asked for some resolution on the issues.

During the summer of 1997, the Developer also explored with the City of Westminster the possibility of that city furnishing water to the Mesa project.  A written proposal was submitted whereby the Developer would provide funding to enable Westminster to make capital improvements to that city’s water system in exchange for Westminster furnishing water.  In October of 1997, in the face of strong opposition from the Land Trust, the Westminster City Council voted to reject the Developer’s proposal.

Well cognizant of the depth of continuing opposition to any development on the Mesa from local groups such as the Land Trust, Amigos, Surf Rider Foundation, Huntington Beach Tomorrow and others, and seeking to explore all alternatives, the Developer had also entered negotiations with Southern California Water Company.  This led to a March 1997 agreement for SCWC to provide water through a transmission pipeline from existing sources in SCWC’s West Orange County System, to the project.  SCWC would also be responsible for operation and maintenance of the on-site distribution system, and for provision of on-site wastewater services.

Meanwhile, following months of meetings, the City’s Administrator in October of 1997 informed the Developer that he would not recommend that the City serve water to the Mesa development unless the Developer would agree to annex the Mesa into the City.

Annexation, however, presents significant legal, process and timing challenges to the Developer.  Hearthside, the present Developer, and its predecessors have been in land use approval processes with more than 25 public agencies, and in land use litigation with local activist organizations, for almost 30 years with regard to Bolsa Chica development.  Throughout these processes the City has taken positions on a variety of matters affecting the property that the Developer construes as being in opposition to development of the Mesa, and sympathetic to delay.

Despite these obstacles, the Developer had obtained a Development Agreement with the County on April 18, 1995 that is valid for 15 years with respect to its development of the Mesa.  As an undeveloped area under the County’s jurisdiction, this Development Agreement provides the Developer with certain land-use entitlements.  Hearthside’s concern regarding any annexation was that the Developer’s hard won and expensively obtained entitlements would then be jeopardized by protraction of the annexation process on the part of the City, and by the virtual certain attendant litigation that would result, designed to delay and/or limit project implementation and prevent ultimate project build-out.

Trying to move the project along, the Developer was proceeding with SCWC.  But when SCWC’s engineering contractor approached the City with preliminary plans relating to construction of the interconnecting 18-inch pipeline in the City, the City responded that legally it could not proceed unless SCWC first secured a CPCN from the California Public Utilities Commission (PUC), and that an environmental assessment on the pipeline would be required.

The City Council, at its December 15, 1997 meeting, had asked its staff for an updated report on the Bolsa Chica to include water and other services and any EIR requirements for the proposed pipeline.  At its January 20, 1998 council meeting, this report update was received, and the City Administrator was then directed to return with a cost-benefit analysis of annexation.  He was also to obtain from the Developer a written statement regarding the Developer’s receptiveness to annexation.

The City next hired a small team of outside consultants to work with the City’s departments and staff to prepare a report analyzing the fiscal impacts to the city of annexing the Bolsa Chica unincorporated area.  Three scenarios were initially examined, using a four-year horizon (consistent with the Developer’s four-year build out plan).  The three assumed there would be development on the Mesa segment of the Bolsa Chica.  The scenarios were: (1) annexation prior to development; (2) development without annexation, and (3) annexation after development.

A draft report was publicly issued on July 29, 1998.  Following public workshops (August 28, 1998, September 24, 1998, and November 30, 1998) revisions were made and a fourth scenario was added (annexation without

development).  The report on the fiscal trend that would result from annexation showed that annexation in every case would produce a fiscal benefit to the City.

The 18 years of delay and disputes that had held up the Developer in its plans to develop on Bolsa Chica led the Developer to proceed through SCWC or risk losing its investment.  Despite the repeated opportunities that the environmental and public interest groups had had during the numerous public hearings, public workshops, and comment periods to express concerns, and the significant opportunities that the City had had to be involved with the Mesa project and to work with the Developer, the Developer felt that negotiations had come to a standstill.  With the City’s staff precluded from discussing provision of water and sewer services to the Mesa project, it appeared to the Developer that the City was deliberately delaying any final response.  To the Developer there appeared to be no other presently available water and sewer services than those offered through SCWC.  And this ultimate conclusion led to the contract with SCWC and SCWC’s application to the Commission.

# Rule 6.1 Aspects

As relevant to proceedings filed on or after January 1, 1998, Rule 6.1 of the Commission’s Rules of Practice and Procedure requires that the Commission preliminarily determine the category of the proceeding and whether or not a hearing is indicated.

By Resolution ALJ 176-3003 dated November 19, 1998 (A.98-11-003) and Resolution ALJ 176-3004 dated December 3, 1998 (A.98-11-015), the Commission preliminarily categorized these proceedings as being ratesetting and preliminarily determined that a hearing was necessary.

# Procedural History

## The February 25, 1999 Prehearing Conference (PHC)

A duly noticed PHC was held in San Francisco on February 25, 1999 before Assigned Commissioner Henry M. Duque and Administrative Law Judge (ALJ) John B. Weiss.

On February 19, 1999 the City had filed a PHC statement wherein it recognized that the Developer’s need to resolve the water and sewer issues was time sensitive, but also stated its view that local resolution of annexation issues could resolve the water/sewer issues without the PUC.  In support of this view, the PHC statement noted that on January 19, 1999, a Council subcommittee had approved an annexation study (commissioned a year earlier with a first draft issued July 1998), and that the full City Council would consider the study’s recommendations on February 22, 1999 to develop an annexation strategy with negotiation parameters.  The PHC statement asked for a 60-day continuance of the PHC after which the City would report its progress.

The City did not respond at the February 23, 1999 PHC to the Commissioner’s PHC notice posing four questions.  Nonetheless, the ALJ during the PHC, with the approval of the Commissioner, stated that if the City was unequivocally willing and able to serve with no further delay, its proposal to serve would be heard as an alternative to SCWC’s request for a CPCN in an Evidentiary Hearing (EH) which the ALJ was scheduling.  The ALJ noted that the Commission was constrained to render a decision on the SCWC application within 18 months; that the issue before the Commission was not “annexation,” but whether SCWC should be authorized to serve, and our proceeding would go forward without delay.  Should the parties reach a pre-annexation agreement providing for City service, the Commission proceeding could be aborted at any time by the Applicant.  A second PHC was scheduled for April 22, 1999 providing negotiation opportunity, but an EH schedule was also tentatively established.

## The Resulting Scoping Memo

Following the February 25 PHC, the Assigned Commissioner issued his Scoping Memo and Ruling pursuant to Rule 6.3 of the Commission’s Rules of Practice and Procedure.  The Memo and Ruling affirmed the ratemaking categorization of the proceedings, designated ALJ Weiss as the principal hearing officer, adopted the timetable schedule discussed in the PHC, and set forth the scope of the proceeding.

## The April 22, 1999 2nd PHC

As scheduled, the 2nd PHC was held in San Francisco before Commissioner Duque and ALJ Weiss.  Both the City and the Developer reported on their negotiations.

Negotiation meetings had been held on March 4, 11, 18, and 25, 1999 and on April 1 and 15, 1999.  At the last meeting, the City’s staff and the Developer agreed upon a list of “deal points” for a draft pre-annexation agreement.  Its staff was to present the Council a proposed draft pre-annexation agreement, but not until June 28, 1999.

The Developer noted (1) a continuing May 1997 Council Resolution to support public purchase of the Developer’s property for open space, and (2) a March 29, 1999 Council majority directive to its staff that as a condition to annexation, the Developer must agree to sell its property for public open space.  The Developer concluded that good faith of the city’s staff notwithstanding, it saw no reasonable expectation of any pre-annexation agreement.  In view of the certain litigation challenges that would attend any agreement, the Developer will not agree to annexation until its development is actually built.  Finally, the Developer observed that it was committed to pay $500,000 to SCWC should SCWC not be the service provider.  The parties did agree to continue negotiations.

Minor scheduling adjustments were made and affirmed by the Assigned Commissioner on April 26, 1999 in an Addendum Ruling to this Scoping Memo.

## The August 23, 1999 EH

The scheduled EH was held in San Francisco on August 23, 1999 before ALJ Weiss (a City request for a delay having been denied).  As ordered by the Commissioner’s Scoping Memo, prepared testimony had been submitted on August 4, 1999 and rebuttal prepared testimony on August 18, 1999.

The applicant utility’s testimony and evidence was introduced by Patrick R. Scanlon, District Manager of SCWC’s Orange County District.  The Developer’s testimony and evidence was introduced by Lucy Dunn, Executive Vice President of Hearthside Homes.

The City’s testimony and evidence was introduced by Thomas A. Rulla, Principal Civil Engineer in the City’s Public Works Department, Dennis E. MacLain, Water Resources Consultant and the City’s Interim Water Operations Manager, and Laurie J. McKinley, Principal Partner, McKinley Nielsen Associates, public policy and governmental affairs consultants.

The RRB introduced no witnesses but did provide a staff report and brief and participated in cross-examination.

## Briefing

Concurrent Closing and Reply Briefs were submitted, respectively, on September 8, 1999 and September 22, 1999.  The proceeding was submitted for decision on September 22, 1999.

## Oral Argument

Pursuant to timely written request, an ALJ Ruling set oral argument before a quorum of the Commission for May 2, 2000.  SCWC, Hearthside, the City, and the Land Trust presented oral argument to Commissioners Duque, Bilas, Neeper, and Wood as scheduled.

# The Environmental Review Process

In late 1993, following dissolution of the Coalition, the County released a draft EIR for its local coastal program applicable to the Bolsa Chica.  This was subsequently revised and ultimately resulted in the “1996 Recirculated Draft Environmental Impact Report for Bolsa Chica Local Coastal Program (County of Orange 1996).”  The on-site water distribution and sewer collection systems were subjected to environmental review in that document, and the facilities described in that EIR remain basically the same.  However, that EIR contemplated the City as the water supplier, but acknowledged that other alternatives would be pursued if a service agreement could not be executed with the City.  As the present plan is for a water transmission line to connect SCWC’s West Orange County System to the Developer’s Mesa project, a proposal not contemplated or examined in the previous 1996 EIR, a supplemental environmental review is now required pursuant to the CEQA (Section 21000 et seq. of the California Public Resources Code) and in accordance with the Guidelines for the Implementation of the CEQA (Section 15000 et seq. of the California Code of Regulations).  The Guidelines stipulate that an EIR must be prepared for any project that may have a significant impact on the environment.  The transmission line under consideration is a “project” as defined by Section 15180 of the Guidelines.  Upon initial review the Commission determined that the proposed project may have a significant adverse impact on the environment and the preparation of an EIR was required.

As the public agency with the principal responsibility for authorizing the water transmission pipeline project that may have an adverse environmental impact, the Commission is the Lead Agency under CEQA for the project.  Section 15163 of the CEQA Guidelines indicates that a supplement to an EIR is prepared to augment a previously certified EIR when substantial changes under which a project is undertaken necessitate changes to the EIR because new significant environmental effects are involved.  A supplement to an EIR need contain only the information necessary to make the previous EIR adequate for the revised project, but has the same notice and review requirements as other EIRs, and may be circulated by itself without recirculating the final previous EIR.  The Supplemental EIR here is intended to supplement the 1996 Recirculated Draft Environmental Impact Report for Bolsa Chica Local Coastal Program (County of Orange 1996).  It was prepared to evaluate the proposed water transmission pipeline and changes in management of the on-site water and wastewater facilities.  It is not intended to re-evaluate any components of the Mesa project previously examined in the 1996 Recirculated Draft Environmental Impact Report for Bolsa Chica Local Coastal Program (Count of Orange 1996).

The process of preparing the Final Supplemental Environmental Impact Report (SEIR) included the following steps, which offered numerous opportunities for public involvement.

- An Initial Study was prepared in July of 1999 that identified potentially significant environmental impacts that could result from construction and operation of the Proposed Project.  Based on the findings of the Initial Study, the Commission determined that an SEIR was required.  The SEIR supplements the 1996 Recirculated Draft Environmental Impact Report for the Bolsa Chica Local Coastal Program (SCH# 93-071064) that was certified by the County of Orange.

- A Notice of Preparation (NOP) for the SEIR was distributed on July 8, 1999, to cities along the proposed route and the alternatives proposed by SCWC, as well as to potentially affected public agencies, organizations known to have an interest in the Proposed Project, and the State Clearinghouse.  The Initial Study was attached to the Notice of Preparation.

- Notices of public Scoping Meetings were published in four newspapers:  The Orange County Register (July 15, 1999); The Huntington Beach Independent (July 15 and 22, 1999); The Westminster Journal (July 15, 1999); and The Seal Beach News Enterprise (July 15, 1999).  In addition to providing notice of the meetings in the NOP, meeting notices were mailed to over 500 owners of property adjacent to the proposed water transmission line route and to potentially interested groups and organizations.

- Public Scoping Meetings were held on July 22 and 23, 1999, in Seal Beach and Huntington Beach, respectively.

- A project website and an information and comment telephone line were established to provide updated information regarding the Proposed Project and the CPUC environmental review process.  In addition, a dedicated e-mail address was established for use by the members of the public to provide information and comments to the CPUC.

- On December 6, 1999, copies of the Draft SEIR and Notice of Completion were delivered to Parties to the proceeding, Responsible Agencies, other affected public agencies, interested organizations, and the State Clearinghouse.  In addition, a Notice of Completion, with information on where the Draft SEIR was available for review, was mailed to over 350 organizations and individuals.

- The Draft SEIR was sent to two public libraries to be made available for public review -- the Huntington Beach Central Library and the Westminster Library.  In addition, the Draft SEIR was made available on the project website.

- A 45-day comment period was established for public review of the environmental document from December 7, 1999, through January 20, 2000.

- A Public Information Meeting was held on January 6, 2000, in Huntington Beach to present to the public information contained in the Draft SEIR.  In addition to being announced in the Notice of Completion accompanying the Draft SEIR, notice of this meeting (and the availability of the Draft SEIR) was published in the Huntington Beach Independent (December 9 and 16, 1999), the Seal Beach News Enterprise (December 8 and 15, 1999), and the Westminster Herald (December 9 and 16, 1999).

- On January 21, 2000, a Public Participation Hearing (PPH) was convened in Huntington Beach by the assigned Administrative Law Judge.  Notice of the PPH was mailed to over 350 organizations and individuals, including parties to the proceeding, responsible agencies, other affected public agencies, and interested organizations and individuals.  Legal notice of the PPH was published in the Orange County Register  (January 16, 2000), the Seal Beach News Enterprise (January 19, 2000), and the Huntington Beach Independent (January 20, 2000).

- The Final SEIR was filed with the Commission’s Docket Office on February 11, 2000.  The Final SEIR includes responses to 19 sets of written comments and 10 speakers who attended the PPH.

The Final SEIR must be certified by the lead agency under CEQA before a project may be approved.  Certification consists of two steps.  First, the agency must conclude that the document has been completed in compliance with CEQA, and second, the agency must have reviewed and considered the SEIR prior to approving the project.  Additionally, the lead agency must find that the Final SEIR reflects its independent judgment (Pub. Res. Code Section 21082.1(c)(3).)

The Commission is designated as lead agency under CEQA and as such has had the responsibility to prepare the SEIR.

# Discussion

## Project Considerations

With regard to SCWC’s proposed extension of its West Orange County System’s service territory to include the noncontiguous territory of the Developer’s Mesa project and SCWC’s proposed construction of an interconnecting 6.75-mile, 18-inch water transmission pipeline (A.99-11-003), and SCWC’s proposed provision of wastewater services to the Mesa project (A.99-11-015), Public Utilities Code Section 1001 provides that before making such an extension or beginning such construction, or providing such services, SCWC must first obtain from the Commission a CPCN.

In determining whether or not the Commission will grant a CPCN, it must be reasonably assured that there is a public need for the services or facility; that the applicant possesses the resources, technical competence, and operational experience to provide the service and to construct the facility required; and that granting a CPCN would be in the public interest.

That there would be a need for water and sewer services when the Developer’s Mesa project is started is obvious.  SCWC’s evidence shows that it has an adequate and reliable water supply available, sound plans for the design and construction of the interconnecting pipeline, the proven resources, technical competence, and operational experience to manage, operate, and maintain the water and sewer systems proposed for the Developer’s Mesa project, and that it proposes fair and reasonable rates.  In addition, SCWC asserts that most importantly, the record in this consolidated proceeding demonstrates that SCWC is the only provider presently “ready, willing and able” to provide the services.

Stating that it is the logical and natural service provider for the Mesa project; that the Mesa, while located in the unincorporated part of the County, is also within the City’s sphere of influences, the City claims that the Developer is really “shopping around” for municipal type services for its own benefit to the detriment of the public.  The City’s evidence shows that the City has adequate and reliable water sources as well as the technical competence and operational experience to provide water and sewer services to the Mesa project.  Were it to provide the water service, only 0.5 miles of paved roads would be temporarily disrupted, rather than the 7.5 miles if SCWC serves.  As the City does not charge for sewer service, its total rate package charge would be about 6/7th of the SCWC’s average proposed rates for the combined services.  But the City since 1996 has taken the position that it would provide these services only in connection with annexation into the City.  The City asks that SCWC’S application be denied.

The Developer does not deny that the City is both “ready and able” to provide both water and sewer services to its Mesa project.  Indeed, earlier it sought to contract with the City for these services, offering considerable financial inducements to improve some deficiencies in the City’s water system, but to no avail.  Subsequently, the Developer worked aggressively with the City’s staff toward development of a mutually acceptable pre-annexation proposal, including $12 to $15 million in public benefits for the City.  Staff and the Developer mutually determined upon “deal points,” only to have the City Council in June 1999, reject the proposal ostensibly in favor of pursuing additional negotiations.  The Council wanted to keep its options open with regard to the Appeal Court ordered remand of the LCP back to the Coastal Commission.  In view of the City’s long-standing and continued efforts in support of no development on the Mesa or delay, the Developer considers that its hard-won land entitlements obtained from the County (as an unincorporated area entity) would be jeopardized if the Developer opted to annex.  While the City could not defeat an annexation application, under annexation it would assume the lead role in regulating development and permit issuance.  This is a powerful mechanism and ultimately determines whether a project gets built.  If not supported by the City, processing can be delayed and approvals be overly conditioned.  Accordingly, in the absence of specific and enforceable guarantees from the City, the Developer feels it could never assume the risk of annexation with its realistic possibility that local politics would undermine its existing County land-use approvals, and determine whether the project would ever get built.  Concluding that while the City is “able” it is neither “ready nor willing” to provide service or facilitate the Mesa project, the Developer has turned to SCWC as the only viable alternative.

The Background History set forth herein, and the record adduced in this proceeding, provide the basis for the Commission’s conclusion that as the City appears to be politically or otherwise unable to unequivocally agree to be the provider of services at present, we must look to the SCWC applicant as being the only “ready, willing and able” provider.  There has been, as the Developer points out, no testimony from the City Council stating that the City does not oppose the project; no City Council resolution that unequivocally states the City’s willingness to serve.  As the Developer points out, four of seven Council members are either sympathetic to project opposition or are actual members of the Land Trust whose avowed mission is to stop development at all costs.  And one Council Member (Bauer) is listed on the Land Trust stationery as advisor to the Land Trust.

For many years the Developer has tried to work with the City, first through the Coalition, and thereafter as directly as the City Council would permit, but to no avail.  The Council will not accept the County entitlement agreement that would go with a pre-annexation agreement; it wants changes – - less density, more affordable housing, application of City standards, a series of issues.  It would not agree not to testify or oppose the Developer’s Mesa project before the Coastal Commission re-hearing of the LCP.  Annexation would involve the LAFCO with procedural delays and legal appeals that would be virtually certain.  And the past delays have cost the Developer and Landowner heavily.

In the City’s response to the question posed in the Assigned Commission’s Ruling noticing a PHC as to whether the City “desires” to provide service, the City avoided a direct response.  It stated it would not provide service outside its boundary without LAFCO approval.  But as the records shows, the City is and has been providing service to a number of others on the Bolsa Chica, with no mention of any LAFCO approval (Aera Energy operating over 250 active oil wells and water injection wells, John Thomas operating over 70 active oil wells and water injection wells, Woodman Pole Yard operating a landscaping business and horse stables, and others).  But it refuses service to the Developer as exemplified by its abrupt revocation of a temporary use permit (allowing the Developer to tap a City hydrant across the street from the Mesa for use in drilling an exploratory on-site water well) when Land Trust members discovered the use and pressured the Council to end it.

After years and years of addressing the issue, at most the City is only prepared to assert that it has never unequivocally informed the Developer that it would not provide services to the Developer’s Mesa project under any circumstances.  But such a stance is not a demonstration of the willingness of the City to presently provide the needed services.  On the other hand, SCWC is presently “ready, willing and able” to provide the services required as exemplified by its present applications.

Turning to consideration of the merits of SCWC’s applications, it is the Commission’s conclusion from the record in this combined proceeding, that SCWC has shown itself to be well qualified and competent to provide both the proposed water and sewer services to the Mesa project and to design and construct the proposed pipeline.

The water distribution and sewer collection systems SCWC will manage, operate, and maintain are both relatively simple systems presenting no unusual or difficult challenges to any experienced operator.  SCWC currently operates 39 water systems serving over 240,000 customers in ten counties and 75 communities, and has over 70 years experience and adequate experienced staff numbering 475 employees.  SCWC also currently operates two wastewater treatment plants and has 12 employees experienced in wastewater operations.  In addition, the utility’s everyday water operations include operation of facilities that are very similar operationally to wastewater facilities.  Further, SCWC intends to hire contractors who specialize in sewer system maintenance to maintain the principal components of the wastewater system.  SCWC has extensive experience in meeting the standards of the California Department of Health, and meets all federal and state requirements for monitoring, reporting, and treatment.  SCWC has service personnel 9 miles away, and available 24 hours daily to respond to service emergencies.  In its proposed water input area, its West Orange County District, SCWC has over 5,900 gpm excess capacity, far more than needed to supply the total build-out residential and fire protection requirements of the Mesa project.

SCWC has extensive experience in the planning, construction, and supervision of construction of water pipelines.  In the West Orange County District alone, each year it installs 4 to 5 miles of pipeline.  These include 14- and 16-inch lines; some crossing under major freeways, storm drain channels and around underground construction.  SCWC’s role in construction of this proposed pipeline will be to have SCWC’s Engineering and Planning Department review the design, plans, and specifications provided by the Developer’s engineering consultant before construction is to be performed pursuant to a bidding procedure.  SCWC will provide inspection, and after inspection will own, operate, and maintain the pipeline as a contributed facility.

The 6.75-mile underground 18-inch ductile iron pipeline will originate at the SCWC Orange County System in the City of Cypress, and terminate at the 4-million gallon buried concrete reservoir on-site at the Mesa project.  The location for the pipeline between these points was determined by the Developer’s engineers and approved by SCWC after evaluation of multiple locations based on criteria including impact on traffic, ease of construction, rights-of-way and environmental impacts.  The pipeline is divided into three segments which will be constructed concurrently, using open trench construction with typical trenches ranging 3.5 to 15 feet deep, and three feet wide.  Open trench construction will approximate 100 feet per day in each of the three segments.  Boring and jacking will be employed at three locations, (1) The U.S. Naval Weapons Station rail tracks crossing of Bolsa Chica Street just south of Westminster Boulevard; (2) the intersection of Bolsa Chica Road and Westminster Boulevard; and (3) the crossing of I-405/SR-22 freeway interchange).  Special methods of construction will be employed at two flood control crossings.

Again, there is nothing particularly difficult, distinctive, or uncommon about either the proposed pipeline or in its construction.  The pipeline will run parallel to, or cross, other public utilities already in most of the right-of-way route.  These other utilities include water mains, sewer pipes, power lines, natural gas mains, telephone lines, and petroleum pipelines.  While most are between 6 to 12 inches in diameter, others go to over 3 feet with one being 42 inches.  The repair, maintenance, and replacement of such utility piping is a common place in any urban setting such as the City.

Here, about 2/3 of the route selected is on Bolsa Chica Street and Road where the daily traffic volume ranges between 23,000 to 49,000 vehicles.  This flow would be disrupted in part by the construction but the disruption would be relatively of short duration, and one common in cities where underground utilities must be maintained or replaced.  The major portion of the rest of the route will be in maintenance or service roads or on a golf course.  Other routes were considered, but this one was chosen as preferable, it being the most direct route, thus requiring the least construction and disruption.  The disruptive effects from water system construction, albeit relatively minimal and of temporary duration, are a factor considered in the granting of a CPCN.

The rates SCWC proposes to charge for water to the Mesa project customers are those in effect in the rest of SCWC’s West Orange County District, and are those determined to be just and fair in SCWC’s last general rate proceeding for the district.  SCWC’s proposed sewer rates, being based on estimated costs of service for a ½ build-out, appear to be fair and reasonable start-up period rates.  After a period of operations, these can be reviewed using actual costs in a later rate proceeding.

Approximately $12 to $13 million in facilities will be contributed to SCWC by the Developer, and will be excluded from rate base for ratemaking purposes.  Staff and the City on brief propose that any approval of the SCWC applications should be conditioned by a requirement that SCWC should not receive compensation for the cost or value of these contributed facilities in the event of a subsequent sale, condemnation, or transfer of the utility systems in the Planned Community.

This is not a new proposal.  The Commission’s general position in the past has been that the matter should be addressed only on a specific case-by-case basis when the issue arises; that the Commission will not prejudge either Superior Court or a future Commission’s ability to judge each case on its merits (See New Water Main Extension Rule (1982) 7 CPUC2d 778, where expert  witnesses from both the then Hydraulic Branch and the Revenue Requirements Division of the Commission opposed adoption.)  In addition, contributed plant may be an element in whether a premium over rate base is found in a just compensation proceeding.  Finally, in the July 14, 1997 Committee Report for Senate Bill 1268 (enacted as Public Utilities Code § 2720), the Assembly Committee on Utilities and Commerce proposed that “[t]he author may wish to consider amending the bill to … limit the application of the selected valuation to that portion of the system for which the Developers paid.”  That such limiting language was not adopted in the final version of the statute indicates that contributed plant may be considered in determining either fair market value or RCNLD value of the acquired system.  Thus the legislative history of Section 2720 makes clear that the Legislative intended to allow a purchaser to include the fair market value of contributed plant in rate base.

The Commission is not responsible for local land use decisions.  Here the County and the Coastal Commission have a shared jurisdiction and the Developer has been granted development entitlements under the LCP.  That this LCP is under review as the result of an Appeals Court decision, and that the result could possibly be a diminished Mesa development, does not affect this Commission’s obligation to act with regard to the application before us.  If the project should be smaller, a smaller diameter pipeline may suffice the Developer’s needs, but that would not significantly effect the pipeline construction process, essentially the same size trench, etc. would still be required.  Nor would it change the Commission’s conclusions as to the ability of SCWC to ably and reliably provide the water and sewer services on-site and to construct the water pipeline.  Delay would only serve partisan interests.  SCWC’s proposals to provide water and sewer services to the Mesa project and to construct the pipeline are in the public interest and should be granted.

## Environmental Considerations

### Draft SEIR

The first step in the process of preparing a Final SEIR is the preparation of a Draft SEIR.  The Draft SEIR in this instance was prepared by an independent environmental consultant, the Aspen Environmental Group, under the supervision of the Energy Division, and was distributed on December 6, 1999, for public review.  It includes the analysis of four alternatives (plus the No Project Alternative) to the proponent’s Proposed Project and identifies over 30 mitigation measures to avoid or minimize impacts.

#### Public Comments and Input

Public comments on the Draft SEIR were solicited through its distribution, as well as through an Informational Meeting held on January 6, 2000, and a PPH conducted on January 21, 2000.  The latter two meetings were held in Huntington Beach.  Written comments were accepted through January 20, 2000.  The Commission received 19 sets of written comments and 10 people commented verbally at the PPH.

### Final SEIR

The Final SEIR was filed with the Commission’s Docket Office on February 11, 2000.  The Final SEIR consists of the Draft SEIR, with minor revisions in response to comments and other information received by the Commission, plus the actual comments received on the Draft SEIR along with responses to these comments.

#### Alternatives Screening Process

CEQA requires an EIR to evaluate alternatives to a proposed project (Guidelines § 15126(d)).  As part of the preparation of the SEIR, a number of alternatives were studied that could meet most of SCWC’s project objectives.  The alternatives evaluation process focused on finding alternatives that (1) were feasible, (2) would substantially avoid or lessen the Proposed Project’s significant environmental effects, and (3) would attain most of SCWC’s basic project objectives.  The assessment of feasibility was directed toward reverse reason, that is, an attempt was made to identify anything about the alternative that would not be feasible on technical or regulatory grounds.  The alternatives analysis addresses two types of alternate projects:  (1) alternate pipeline routes for the SCWC water transmission line; and (2) possible alternative water providers.

#### Alternatives Eliminated from Full Consideration

Five alternatives were evaluated and determined to be either infeasible or not having environmental benefits over the Proposed Project.  The eliminated alternatives included a variety of other pipeline routes as well as the installation of new groundwater wells on Bolsa Chica Mesa.  The rationale for eliminating each of these alternatives is explained in detail in Section D.1.4 of the Final SEIR.

#### Alternatives Evaluated in the SEIR

Four alternatives were described and evaluated in the SIER that were judged to be capable of satisfying SCWC’s basic project objectives and having some potential to reduce the impacts of the Proposed Project.  Two of these alternatives involved alternate pipeline routes; two involved alternative water providers.  In addition to the No Project Alternative, the following alternatives were evaluated in the Final SEIR:  (1) Connection to the City of Huntington Beach Water System; (2) Anaheim-Barber City Channel Diagonal (Rancho Road); (3) Springdale Street/Graham Street; and (4) North Seal Beach Wellfields.

#### Environmentally Superior Alternative

The Final SEIR identifies Connection to the City of Huntington Beach Water System as the environmentally superior alternative.  This alternative was selected because it would have substantially reduced environmental impacts compared to both the Proposed Project and the other project alternatives, which each involve construction of a significantly longer water transmission line.  The environmentally superior alternative would involve  construction of an underground pipeline connection to the City’s water main in Warner Avenue, approximately one-third of a mile from the proposed reservoir on the Bolsa Chica Planned Community site.

With respect to the other project alternatives, the types of environmental impacts associated with these alternatives are largely similar to each other and to the Proposed Project, although the impacts differ slightly in magnitude.  The basic impacts shared by these alternatives include disruption of local traffic due to construction activities in public streets, air quality and noise impacts, and various other construction-related impacts.  As the Proposed Project is more direct and offers the least amount of construction in public street rights-of-way and has relatively fewer sensitive land uses along its route, the Proposed Project is preferred over the remaining alternatives.

Although we have identified connection to the City of Huntington Beach as the environmentally superior alternative, we are rejecting that alternative as infeasible, based on the administrative record and the reasons discussed in Section 7.1.  The SEIR, in subsection D.2.1, found the connection to the City of Huntington to be feasible “from a technical and regulatory standpoint,” and proceeded to describe and analyze it.  This was the prudent approach to take at the time of preparation of the SEIR.  As the Commission stated in response to comments on the draft SEIR submitted by O’Melveny & Myers on behalf of SCWC, “[T]he scoping memorandum prepared by the CPUC Administrative Law Judge (dated March 16, 1999.) specifically identified the prospect of the City providing water service as an issue to be addressed in the CPCN proceeding.”  (SEIR, p. J-144.)  The issue has now been addressed, and with the significantly more developed administrative record before us, we find that the alternative of connection to the City of Huntington Beach is infeasible.

The CEQA Guidelines indicate that an EIR need examine in detail only those alternatives that the lead agency determines “could feasibly attain most of the basic objectives of the project.”  (CEQA Guideline 15126.6(f).)  More specifically, the Guidelines state that “Among the factors that may be taken into account when addressing the feasibility of alternatives are … economic viability … and whether the proponent can reasonably acquire, control or otherwise have access to the alternative site … “  (CEQA Guideline 15126.6(f)(1).)  And they continue:  “An EIR need not consider an alternative whose effect cannot be reasonably ascertained and whose implementation is remote and speculative.”  (CEQA Guideline 15126.6(f)(3).)  Applying these criteria with the benefit of hindsight, the SEIR may not have been required to regard the connection to the City of Huntington Beach as feasible, but that determination could not have been definitively made without the administrative record now before the Commission.

### Environmental Analysis of the Proposed Project

The Proposed Project and each of the various alternatives have potentially significant adverse impacts that vary in severity and in the ability of mitigation measures to reduce their impacts.  Section C of the Final SEIR describes and examines the environmental impacts associated with the Proposed Project.  The detailed significant environmental impacts of the environmentally superior alternative and the other alternatives considered are presented in Section D of the Final SEIR.  Tables D.5-1 and D.5-2 in the Final SEIR compare the major environmental issues of the alternatives with the Proposed Project.  The mitigation measures for the Proposed Project are discussed in Section C of the Final SEIR.  The Final SEIR includes a Mitigation Monitoring, Compliance, and Reporting Program for the mitigation measures proposed for the project in Section K.  The roles and responsibilities of governmental agencies in implementing and enforcing the adopted mitigation measures are discussed therein.

### Significant Environmental Effects of the Proposed Project

The environmental review indicates that the construction and operation of the Proposed Project will have significant adverse environmental impacts, which are typical of a project of this type and magnitude.  Some of the adverse impacts can be mitigated or avoided; others cannot.  Although there are significant adverse impacts that cannot be mitigated or avoided, we find that overall there are overriding considerations that make the Proposed Project worthwhile and cause us to grant approval of the Proposed Project.

#### Beneficial Impacts (Class IV)

The Final SEIR does not identify any beneficial effects to the environment from project construction and operation.

#### Adverse, But Not Significant Impacts (Class III)

The Final SEIR identifies a number of adverse, but less-than-significant impacts including:  short-term air pollutant emissions during construction; minor air pollutant emissions and noise associated with project operation; traffic added to local streets by construction vehicles; effects on surface water quality; and construction impacts on residences, recreational facilities, and businesses.  Because these impacts are not considered significant, no mitigation measures are required.  The details of these impacts are described in Section C of the Final SEIR and summarized in Table ES-2.

#### Significant Impacts That Can be Mitigated To a Level That Is Less Than Significant (Class II Impacts)

The Final SEIR identifies several significant environmental effects of the Proposed Project that can be mitigated to a less-than-significant level or avoided.  The Final SEIR includes a Mitigation Monitoring, Compliance, and Reporting Program to assure that mitigation measures are implemented effectively.  The Mitigation Monitoring, Compliance, and Reporting Program set out in Section K of the Final SEIR describes how the following adverse effects will be mitigated or avoided.  The program is based on the Proposed Project as described in Section B of the Final SEIR and the impact analysis presented in Section C.

The following sections describe the significant but mitigable (Class II) impacts identified in the Final SEIR, including a description of each impact and the relevant mitigation measures.  The impacts and mitigation measures are described in more detail in Section C of the Final SEIR.

##### Noise

Short-term construction noise could disturb land uses, e.g., business and residents, adjacent to the pipeline alignment.  Mitigation Measures N-1 through N-3 include procedures to reduce noise impacts by requiring SCWC to notify residents of construction timing, to implement complaint procedures, and to use noise reduction techniques on construction equipment.

##### Traffic and Circulation

Project construction would have a short-term impact on local circulation and property access:  vehicular access to adjacent properties could be temporarily blocked, and bus, bicycle, and pedestrian routes would be temporarily disrupted.  Mitigation Measures T-3 through T-7 require advance notification to businesses and residents of access disruptions, implementation of techniques to minimize access problems, coordination with transit providers to minimize disturbance to bus service, provisions for keeping bus stops accessible, and preparation of management plans for bicycle routes and pedestrian crosswalks affected by construction.

##### Environmental Contamination

Construction through areas with contaminated soils could affect workers or the nearby public.  Mitigation Measures EC-1 through EC-3 require site evaluation prior to construction so that contaminants and their locations are identified.  These mitigation measures also require use of trained personnel to assess areas of contamination and develop procedures for worker protection, and hazardous material handling, treatment and disposal, as needed.  All evaluations of contaminated sites require review and approval by the Commission, the County Health Department, and the Department of Toxic Substances Control prior to construction.  Construction could also potentially disturb previously undiscovered areas of contamination.  Mitigation EC-4 requires SCWC to assign trained personnel to be present during construction to observe excavation and perform testing as necessary when evidence of contamination is encountered.

##### Geology and Soils

Various geologic hazards identified in the SEIR could damage and rupture the proposed pipeline, including strong ground shaking, liquefaction of soils, lateral spreading, and differential settlement.  Mitigation Measures G-2 through G-4 require geologic/geotechnical investigations for the development of design measures to reduce the likelihood and severity of pipeline damage.  The pipeline could also be damaged by the corrosive effects of local soils.  Mitigation Measure G-4 requires further investigation of the presence, extent, and corrosion potential of soils along the pipeline alignment and the implementation of appropriate measures to minimize corrosion potential.

##### Cultural Resources

Pipeline construction could disturb prehistoric site CA-ORA-83/86/144 or prehistoric site CA-ORA-84/85/288 on Bolsa Chica Mesa, or result in discovery of unrecorded cultural resources.  Mitigation Measures CR-1 through CR-4 establish procedures to protect cultural resources by requiring SCWC to conduct testing in sensitive areas prior to construction, to monitor for cultural resources during construction, and to follow the recommendations of a qualified archaeologist if any resources are found during the course of construction.

##### Biological Resources

Construction of the pipeline along Old Bolsa Chica Road has the potential to disturb nesting birds utilizing the adjacent riparian habitat in Bolsa Chica Channel.  If construction is scheduled in this area during the nesting season, Mitigation Measure B-1 requires a survey of the area prior to construction to locate territorial pairs or nests of any birds listed under the Migratory Bird Act.  Construction will avoid the area if territorial pairs or nests are located.

##### Public Services and Utilities

During construction, lane closures and traffic congestion could impede local access for emergency service providers.  Mitigation Measure PS-1 requires SCWC to coordinate with emergency service providers regarding construction in public streets, to provide advance notice of any anticipated access restrictions, and to make provisions to accommodate emergency vehicles.

#### Significant Impacts That Cannot Be Mitigated To Insignificant Levels (Class I Impacts)

The Final SEIR identifies several significant effects of the Proposed Project that cannot be fully mitigated or avoided.  Two of these impacts are temporary effects caused by construction activities – emissions of nitrogen oxides (NOx) from construction equipment emissions and increased traffic congestion during construction in heavily traveled streets.  In addition, because the pipeline route crosses two fault zones, the potential for pipeline rupture during fault displacement cannot be completely avoided.  As it is not possible to completely eliminate the adverse traffic and air quality effects of construction activities or to avoid pipeline damage from fault displacement, these impacts remain significant and unmitigable.  The significant and unmitigable impacts described in the Final SEIR are the following:

- The estimated maximum daily and quarterly emissions associated with construction of the pipeline would exceed the South Coast Air Quality Management District’s (SCAQMD) significance thresholds for NOx (100 lbs/day).  Nine mitigation measures are included in the SEIR (Section C.1 - Air Quality) to reduce NOx emissions through equipment specifications, specific engine maintenance procedures, use of certain electric- and solar-powered equipment, cessation of construction during smog alerts, scheduling equipment and material deliveries outside of peak traffic hours, and prohibition against prolonged vehicle idling.  Emission levels are expected to exceed SCAQMD thresholds even with the implementation of the mitigation measures prescribed in the SEIR.

- The loss of roadway/intersection capacity during pipeline construction would adversely affect service levels along the Bolsa Chica Street/Road corridor.  Mitigation Measure T-1 of the SEIR requires the preparation of detailed traffic control plans for construction that are to be reviewed and approved by local cities (Section C.3 – Traffic and Circulation).  The traffic control plans shall address permitted time periods for construction, placement of traffic control and warning devices, designation of detours and haul routes, and a coordination program with affected agencies.  Mitigation Measure T-2 requires the implementation of a public information program to inform area residents, workers, and businesses to the construction and anticipated impacts to traffic.  Despite the implementation of these measures, temporary but significant impacts to local traffic are still expected.

- A large earthquake on the Newport-Inglewood Fault or the Los Alamitos Fault could cause pipeline rupture.  Mitigation Measure G-1 of the SEIR requires SCWC to complete geologic/geotechnical investigation of the fault crossing locations and to implement specific design measures to reduce the likelihood of pipeline rupture in an earthquake (Section C.5 – Geology and Soils).  Nevertheless, a large earthquake could still cause pipeline damage.

### Environmental Findings and Statement of Overriding Considerations

As required by CEQA, we cannot approve the Proposed Project unless we find that the project has been modified to mitigate or avoid each significant effect on the environment, or that specific considerations make the mitigation measures or alternatives identified in the Final SEIR infeasible and specific overriding economic, legal, social, technological, or other benefits of the Proposed Project outweigh the significant effects on the environment.  The following address (1) significant effects of the Proposed Project, and (2) alternatives considered.

As described above, all significant impacts resulting from the Proposed Project cannot be avoided or eliminated.  The significant and unmitigable effects of the Proposed Project include short-term NOx emissions, loss of roadway/intersection capacity, and potential pipeline rupture due to fault displacement.  The NOx emissions are considered to be acceptable due to their relatively short duration, and the implementation of nine mitigation measures that will reduce construction emissions to the extent feasible.  With respect to traffic circulation, this impact is considered acceptable given the temporary nature of the impact during the construction period only, plus the implementation of mitigation measures that require the development and use of traffic control/management plans.  Construction of the pipeline will be contingent upon SCWC securing approval of a traffic control plan from each city affected by the Proposed Project.  Lastly, with respect to potential pipeline rupture due to fault displacement, this impact is considered acceptable due to implementation of a mitigation measure requiring SCWC to incorporate design features intended to reduce the likelihood and severity of rupture (based on further geologic/geotechnical investigations).  Therefore, the significant impacts of the Proposed Project are considered to be mitigated to the extent feasible, and as the benefits of the pipeline meet the objectives of the project in that in addition to provision of needed additional housing, they produce significant cultural and recreational benefits to the county, enhanced tax revenues, and a fire station, and they provide a long-term domestic water supply by means of constructing a water transmission system designed specifically to meet the particular projected domestic water demands and fire protection needs of the Bolsa Chica Planned Community, benefits of not inconsiderable public interest, and benefits considered to outweigh the potential impacts.

As described in Sections 7.2.2.1-7.2.2.4, several alternative projects were considered in the SEIR, one of which was found to be environmentally superior to the project proposed by SCWC:  connection to the City of Huntington Beach water system.  While this alternative has environmental advantages, as discussed in Section 7.1 and 7.2.2.1, we are overriding this alternative in favor of the Proposed Project and its concomitant benefits.  As explained in Sections 7.1 and 7.2.2.1, the Proposed Project is preferred over the remaining alternatives as it is more direct and offers the least amount of construction in public street rights-of-way and has relatively fewer sensitive land uses along its route.

### Adequacy and Certification of the Final SEIR

#### Adequacy of the Final SEIR

The Final SEIR must contain specific information according to CEQA Guidelines, Sections 15122 through 15131.  The various elements of the Final SEIR satisfy these CEQA requirements. The Final SEIR consists of the Draft SEIR with minor revisions in response to comments and other information received.  Section J of the Final SEIR contains the comments received on the Draft SEIR along with responses to these comments.  (Guidelines, Section 15132.)

#### Certification of the Final EIR

The Commission must conclude that the Final SEIR is in compliance with CEQA before finally approving the applications.  The basic purpose is to insure that the environmental document is a comprehensive, accurate, and unbiased tool to be used by the lead agency and other decisionmakers in addressing the merits of the project.  The document should embody “an interdisciplinary approach that will ensure the integrated use of the natural and social sciences and the consideration of qualitative as well as quantitative factors.”  (CEQA Guidelines, Section 15142.)  It must be prepared in a clear format and in plain language. (CEQA Guidelines Sections 15006 (q) and (r); 15120; 15140.)  It must be analytical rather than encyclopedic, and emphasize alternatives over unnecessary description of the project.  (CEQA Guidelines, Sections 15006, 15141; Pub. Res. Code Section 21003(c).)  Most importantly, it must be “organized and written on such a manner that [it] will be meaningful and useful to decisionmakers and the public.”  (Pub. Res. Code Section 21003(b).)

We believe that the Final SEIR meets these tests.  It is a comprehensive, detailed, and complete document that clearly discusses the advantages and disadvantages of the various alternatives compared to the Proposed Project.  We find that the Final SEIR is the competent and comprehensive informational tool that CEQA requires it to be.  The quality of the information therein is such that we are confident of its accuracy.  We have considered that information in reaching that decision.

The Commission should certify the Final SEIR.

# Comments on the Proposed Decision of the ALJ

As provided by Pub. Util. Code § 311(d), the Proposed Decision (PD) of ALJ Weiss was served on the parties to this proceeding on April 4, 2000.  Timely comments were submitted by Hearthside, the City and RRB.  Timely reply comments were submitted by SCWC and Hearthside.

In their comments both Hearthside and the City identified minor factual and typographical errors which have been corrected.  Hearthside recommends adoption of the PD in its entirety, stating its view that each of the findings of fact and conclusions of law represent reasonable and appropriate reflections of the evidence of record.  The City states that although the PD improperly imputes “no growth” motives to the City’s protest, the City’s opposition to the applications is because the City opposes development without annexation.  But City avoided a preannexation agreement that would accept the Developer-County entitlement agreement.  Citing various federal and state laws, it deprecates Heartheside’s concerns.  We believe the multi-year Background History in the PD speaks for itself as to the facts that lead to the PD’s finding that the City was not “willing” to serve the Developer’s project, but was willing to serve adjacent properties in the County.  The City misconstrues the standard in Radisavljevic v. Cal-Am Water Co. (1979) 1 CPUC 2d 311.  The SCWC extension at issue here is to logical natural boundaries (the Mesa), will provide service to a small unserved enclave, and is not gerrymandered to exclude customers – precisely the standard of Radisavljevic.  With reference to the comments that approval of the applications would violate CEQA, we note that while the City alternative was identified in Subsection D.2.1 of the SEIR at the time of preparation of the SEIR as being environmentally superior and feasible, it was subsequently rejected in the PD based upon consideration of the administrative record which ultimately found the prospect of present City service to be infeasible (see Subsection 7.2.2.4 of the SEIR).

RRB’s comment repeats its hearing and briefing position that approval of the applications should be conditioned by a requirement that SCWC, in the event of a subsequent sale, condemnation, or transfer of the systems, should not receive compensation for the cost or value of the contributed plants.  The City’s comment supports RRB’s position on this issue.  As discussed in the PD, the Commission’s historical position has been to address the matter on a case-by-case basis when the issue of a sale, condemnation, or transfer arises, and recent 1997 legislative history does not change the conclusion that the Commission should not prejudge either Superior Court or a future Commission’s ability to adjudicate each case on its merits.

SCWC’s reply to the City’s comment asserts that City wrongly accuses the PD of second-guessing City’s reasons for requiring annexation before serving.  SCWC states it is proper for the PD to analyze the City’s past actions and statements to ascertain whether the City is ready and willing to serve.  SCWC notes that the cases City cites to support its contention that the PD should not examine “motives” are not on point.  (For example, Ensign Bickford Realty Corp. v. City of Council of Livermore (1977) 68 CA3d, 467 dealt with a state court’s standard of review of zoning ordinances in a mandamus proceeding; similarly, County of Del Norte v. City of Crescent City (1999) 71 CA 4th, 965 dealt with a state court’s standard of review of a legislative act in a mandamus proceeding).  As SCWC points out, the issue here is not whether the City’s motives are proper, but whether the City’s actions and motives support the finding that the City is not ready, willing, and able to serve the project.  SCWC further notes that while the City’s comments argue that the evidence shows it is “ready” and “able” to serve, City “coyly omits the crucial admission that it is “willing” to serve—as it has done throughout this proceeding.

SCWC’s reply to the RRB and City comments relative to conditioning the sale to a requirement that SCWC not receive any compensation for the contributed facilities in the event of a future sale, condemnation or transfer, states that these comments do not outweigh the Commission’s rationale in D.82-01-062 (New Water Main Extension Rule) for not prejudging the issue, both as to future condemnation or voluntary scenarios.  SCWC states this is an issue related to the amount of purchase price includable in a hypothetical future purchaser’s rate base-not SCWC’s rate base upon granting of the SCWC applications, and the issue is determined by Pub. Util Code § 2720(a) at present.  SCWC observes that the legislative history of Pub. Util. Code § 2720 contradicts RRB.  Contributed plant may be considered in determining either fair market value and RCNLD value of the acquired system, and thus under Evidence Code § 820 would enhance the value to a purchaser, and could be attributed value in an appraisal.

Hearthside’s reply to the City’s comment stresses that to date there has never been any representation by the City that it is willing to serve Hearthside’s development, as is manifest by contrasting City’s treatment of Hearthside vis-a-vis City’s treatment of others outside its boundaries on the Bolsa Chica (where annexation has not been required).  Hearthside further states that the fact that the SEIR erred on the conservative side by including review of a project alternative that may be feasible neither precludes the Commission from determining that the City alternative in reality is infeasible, nor requires recirculation of the SEIR simply to inform the public that an alternative considered was ultimately found by the decisionmaker actually to be infeasible.  The SEIR in no way considered, as the PD did, the demonstrated unwillingness of the City to provide service as evidentiary proof of infeasibility of City service.

Where appropriate, changes in the text of the decision have been made.  No substantive changes to the decision have been otherwise deemed necessary or appropriate as the issues posed by the comments have been adequately addressed and resolved in the decision.

# Findings of Fact

- SCWC is a Class A California public utility within the jurisdiction of the Commission, and provides water and sewer services to communities and governmental entities in the State.

- Hearthside is the Developer for Signal Landmark, owner of the Mesa segment of the Bolsa Chica which is located in the unincorporated area of Orange County and subject to County and Coastal Commission jurisdiction as to land uses.

- Hearthside holds entitlements to develop a 1,235 unit planned residential community on the approximate 220 acres of the Mesa pursuant to a 1995 County Bolsa Chica Local Coastal Plan approved by the Coastal Commission in 1996.

- While the County provides various other services in the unincorporated areas, it does not provide water or sewer services, and Developers in these areas must turn to adjoining cities, districts or public utilities for these services.

- Local interest groups, with considerable influence upon and membership on the City’s Council, want the entire Bolsa Chica for open space, and repeatedly over many years have brought pressure as well as successive legal challenges to prevent or delay any development on the Bolsa Chica.

- While the City is “able” to provide water and sewer services to Hearthside’s development, being contiguous to Bolsa Chica on three sides, despite offers of very substantial benefits involving millions of dollars from the Developers to do so, the City repeatedly has demonstrated that it is not “ready and willing” to do so, except possibly upon its terms which include annexation.

- State law provides that a city cannot annex unincorporated areas without the consent of the landowners of the area it would annex.

- Fearing that by annexation before its project is completed, it would suffer loss or diminishment of its County entitlements and administrative delays through City use of its police and permitting powers, thereby further endangering the owner’s considerable financial investment in the project, Hearthside will participate and accept annexation only after the project is built.

- Following years of unfruitful efforts to obtain water and sewer services from the City, except upon the City’s terms, which in view of the City’s past hostility the Developer with reason believes could jeopardize its entitlement and with virtual certainty spur further lengthy delaying legal challenges, Hearthside contracted with SCWC for the latter to incorporate the Mesa development project into SCWC’s West Orange County District; construct a 7.5 mile, 18-inch interconnecting water transmission pipeline to the Mesa project, and provide sewer services to the Mesa project.

- The Mesa project is not contiguous to SCWC’s local district.  SCWC filed the present applications, seeking CPCN authorization for the utility to perform its contracts with the Developer.

- The City, the Bolsa Chica Land Trust and the RRB filed timely protests to the SCWC applications.

- Except for the short-term disruptions that would attend construction of an SCWC length of pipeline which could substantially be avoided by City source, there is little difference between the two as service providers, both have adequate water available; both would be competent to operate the relatively basic and simple on-site water and sewer systems contemplated, and the rates of both over a term are generally comparable when the City’s lack of a monthly sewer charge is offset by its considerable sewer connection fee.

- City service, if presently available, would be an environmentally superior alternative to SCWC service.

- But by avoidance of a commitment to provide present service unencumbered by conditions, the City’s protest when considered in context with its past and present actions appears merely a device to seek further delay, if not prevention of the Developer’s Mesa project.

- There is a present need for water and sewer services to the Developer’s Mesa project and SCWC is “ready, willing, and able” to provide the services requested.

- The City is not presently willing to provide the Developer’s Mesa project the service requested, although it presently provides water service to the majority of adjacent, unincorporated area property owners; thus accepting services from SCWC is not a matter of picking or choosing between neighboring utility entities, rather it is a matter of accepting the only presently feasible alternative.

- As water services rates and charges presently authorized by the Commission for SCWC’s West Orange County District were determined to be just and reasonable for that district, and for the future must also be found just and reasonable before being authorized, application of these same rates and charges to the Planned Community addition to that district is reasonable.

- As wastewater rates and charges proposed by SCWC to apply to the Planned Community will be based upon the projected costs to operate and maintain the wastewater system rather than upon any rate base, the rates proposed by the application should be authorized.

- The proposed 6.75-mile pipeline is a necessary and integral element to enable SCWC to provide the services needed by the Developer’s Mesa project.

- The Commission is the lead agency under CEQA with respect to the environmental review of the Project and preparation of the Final SEIR.

- The Commission has conducted an environmental review of the Project pursuant to CEQA.

- The Final SEIR consists of the Draft SEIR, revised to incorporate comments received by the Commission from the proponent, agencies, and the public, and the responses to comments.

- The Final SEIR has been completed in accordance with CEQA Guidelines, Sections 15120 through 15132.

- The Commission has reviewed and considered the information in the Final SEIR before approving the Project.

- The Final SEIR identifies significant environmental effects of the Project that can be mitigated or avoided to the extent that they become not significant.  The Final SEIR describes measures that will reduce or avoid such effects.

- The mitigation measures identified in the Final SEIR are reasonable.

- As lead agency under CEQA, the Commission is required to monitor the implementation of mitigation measures adopted for this Project to ensure full compliance with the provisions of the monitoring program.

- The Mitigation Monitoring, Compliance, and Reporting Plan in Section K of the Final SEIR conforms to the recommendations of the Final SEIR for measures required to mitigate or avoid environmental effects of the Project that can be reduced or avoided.

- The Commission will develop a detailed implementation plan for the Mitigation Monitoring, Compliance, and Reporting Plan.

- The Final SEIR identifies connection to the City of Huntington Beach as the environmentally superior alternative to the Proposed Project.

- The Final SEIR identifies several significant environmental effects of the Project that cannot be mitigated or avoided, as follows:  (a) the estimated maximum daily and quarterly emissions associated with construction of the pipeline would exceed the South Coast Air Quality Management District’s significance thresholds for NOx (100 lbs./day); (b) the loss of roadway/intersection capacity during pipeline construction would adversely affect service levels along the Bolsa Chica Street/Road corridor; (c) a large earthquake on the Newport-Inglewood Fault or the Los Alamitos Fault could cause pipeline rupture.

- For significant effects where no feasible mitigation exists to reduce the environmental effects to less than significant, the specific overriding benefits of the Project, including substantial monetary inputs to the County’s Mesa Conservation Fund and a child care center, traffic improvements, substantial additions to Wieder Regional Park, contributions to a Park ecological interpretative center, additional pedestrian and bicycle trails, a new fully equipped fire station, tax revenues, and additional housing and jobs, outweigh the significant effects on the environment.

# Conclusions of Law

- SCWC is the only service provider unconditionally presently “ready, able, and willing” to provide water and sewer services to the Developer’s Mesa project and to construct the necessary pipeline.

- Commission approval of SCWC’s applications is in the public interest.

- The processing of the SEIR in this proceeding complies with the requirements of CEQA.

- The contents of the Final SEIR comply with the requirements of CEQA and represent the Commission’s independent judgement.

- The Final SEIR should be certified for the Project in accordance with CEQA.

- The approval of the application as provided herein should be conditioned upon the completion of the mitigation measures identified in the Final SEIR.

- ORDER

- IT IS ORDERED that:

- A Certificate of Public Convenience and Necessity is granted to Southern California Water Company (SCWC) to effect a non-contiguous extension of its West Orange County District to include the Bolsa Chica Mesa Planned Community on the Bolsa Chica being developed by Hearthside Homes, Inc. (Hearthside); to provide public utility water distribution and wastewater collection services within the Bolsa Chica Mesa Planned Community; and to construct a 6.75-mile water transmission pipeline to interconnect the SCWC West Orange County System with the planned on-site water distribution system at the Bolsa Chica Mesa Planned Community.

- Within 60 days after the effective date of this order, SCWC shall file with the Commission, in conformity with General Order (GO) 96-A, a tariff service area map applicable to the extension service area certified.

- Within 60 days after initiation of service, SCWC shall file for each system a comprehensive map, drawn to an indicated scale not smaller than 300 feet to the inch, delineating by appropriate markings the tract of land and territory certificated herein for each utility system, the principal water distribution facilities and sewer collection facilities, and the location of the various system properties of SCWC used to provide the services.

- Once service is initiated, SCWC is authorized to charge such water service rates and tariffs in the Bolsa Chica Mesa Planned Community as are in effect concurrently in SCWC’s West Orange County District.

- Before service is initiated, SCWC is authorized and directed to file with this Commission, in conformity with GO 96-A, the schedule of rates and charges shown in Appendix B attached hereto, and upon not less than five days’ notice to the Commission and to the resident customers, to make said rates effective for wastewater services rendered thereafter.

- Within 10 days of the event, SCWC shall notify the Commission’s Executive Director in writing of the date service is first rendered to the public by each utility system under the rates and tariffs authorized herein.

- The Final Supplemental Environmental Impact Report (SEIR) is certified as the EIR for the Project which is the subject of the applications and is certified for use by responsible agencies in considering subsequent approvals for the Project, or for portions thereof.

- SCWC shall, as a condition of approval, comply with all mitigation measures specified in Section K of the Final SEIR (which is reproduced in Appendix A attached hereto) as directed by the Executive Director.

- The Executive Director shall supervise and oversee construction of the Project insofar as it relates to monitoring and enforcement of the mitigation conditions described in Appendix A.  The Executive Director may delegate his duties to one or more Commission staff members or outside staff.  The Executive Director is authorized to employ staff independent of the Commission staff to carry out such functions, including, without limitation, the on-site environmental inspection, environmental monitoring, and environmental mitigation supervision of the construction of the Project.  Such staff may be individually qualified professional environmental monitors or may be employed by one or more firms or organizations.  In monitoring the implementation of the environmental mitigation measures described in Appendix A, the Executive Director shall attribute the acts and omissions of SCWC’s employees, contractors, subcontractors, or other agents to SCWC.  SCWC shall comply with all orders and directives of the Executive Director concerning implementation of the environmental mitigation measures described in Appendix A.

- The Executive Director shall not authorize SCWC to commence actual construction until SCWC shall have entered into a cost reimbursement agreement with the Commission for the recovery of the costs of the mitigation monitoring program described in Appendix including, but not limited to, special studies, outside staff, or Commission staff costs directly attributable to mitigation monitoring.  The Executive Director is authorized to enter into an agreement with SCWC that provides for such reimbursement on terms and conditions consistent with this decision in form satisfactory to the Executive Director.  The terms and conditions of such agreement shall be deemed conditions of approval of the application to the same extend as if they were set forth in full in this decision.

- SCWC shall file a written notice with the Commission, served on all parties to this proceeding, of its agreement, executed by an officer of SCWC duly authorized (as evidenced by a resolution of its boards of directors duly authenticated by a secretary or assistant secretary of SCWC) to acknowledge SCWC acceptance of the conditions set forth in Ordering Paragraphs 8 through 10 inclusive.  Failure to file such notice within 45 days of the effective date of this decision shall result in the lapse of the authority granted by this decision.

- The Executive Director shall file a Notice of Determination for the Project as required by the California Environmental Quality Act and the regulations promulgated pursuant thereto.

- Upon satisfactory completion of the Project, a notice of completion shall be filed with the Executive Director by the Energy Division.

- Application (A.) 98-11-003 and A.98-11-015 are closed.

This order is effective today.

Dated October 5, 2000, at San Francisco, California.

HENRY M. DUQUE

JOSIAH L. NEEPER

RICHARD A. BILAS

Commissioners

I dissent.

/s/  LORETTA M. LYNCH

President

I dissent.

/s/  CARL W. WOOD

Commissioner

- APPENDIX A

- NOTE

- The Final Supplemental Environmental Impact Report was mailed to selected active parties to the application.  Hard copy is available at CPUC Central Files and it is also posted on the Commission’s web site at http://www.cpuc.ca.gov/Static/Environment/info/aspen/bolsachica/fseir/fseir.htm.

- APPENDIX B

SOUTHERN CALIFORNIA WATER COMPANY

GENERAL METERED TO RESIDENTS’ SEWER

- APPLICABILITY

- Applicable to all Planned Community sewer collection service.

- TERRITORY

- The Planned Community, Bolsa Chica Mesa, Orange County, California.

- RATES

- Per Month

- For all water used

Per 100 cubic feet	$0.267

Minimum charge	$6.00

- SPECIAL CONDITIONS:

- All bills are subject to the Public Utilities Commission Reimbursement Fee.

(END OF APPENDIX B)

The original Developer for the Bolsa Chica Planned Community, Koll Real Estate Group, has since reorganized.  Signal Landmark is the current owner of the property on which development is proposed and Hearthside Homes, Inc. is the Developer.  Signal Landmark and Hearthside Homes are both wholly-owned subsidiaries of California Coastal Communities, Inc.

The City Council meeting of August 5, 1996 reflects that while staff requested authorization to negotiate regarding provision of water and sewer services, the Council was split.  The Mayor indicated no consideration unless the project density was reduced and the project was built to City standards, and agreed with another councilman that the project should be stopped due to impacts on the city.  Finally, 6 to 1, the Council asked the City Administrator to develop a process for discussions and “possible negotiations,” considering the financial impacts on the City.

From the record in this proceeding, including the minutes of City Council meetings, it was clear that the City Council would prefer to have no development at all on the Bolsa Chica.  One or more Council members are members or advisors to the Land Trust, and the pressures on the Council to do all it can to prevent development are enormous, and are applied at every opportunity.

The Development Agreement between the County and Hearthside granting development entitlements also commits Hearthside to a long and wide ranging list of public benefits which go beyond those inherent in the development project.  Hearthside must pay residential permit fees up to approximately $2½ million to the County’s Mesa Conservation Fund; provide area traffic improvements; pay fees for a Child Care Fund; contribute 49 acres to Wieder Regional Park and up to $1/2 million for a Park ecological interpretative center; provide recreational trails for bicycles and pedestrians; construct, equip, and dedicate a fire station; mitigate fiscal impacts on the County General Fund; pay $100,000 to maintain the County’s General Plan; and provide plans for emergency services and flood control.

The organization with perhaps the greatest clout with the City, and an active litigant regarding the Bolsa Chica is the Land Trust.  With a 4,700 membership, it supports the concept that a nature/wilderness park should be developed on the Mesa with no residential development.

The Agreement between the County and the Developer is already five years old and there is still no development started on the Mesa.

While the Developer could initiate annexation proceedings on its own, it told the City that it will not do so without a pre-annexation agreement with the City setting forth terms and conditions and clarifying development rights, development standards, and infrastructure requirements.  But the Developer will not agree to annexation as long as the City’s opposition to the Developer’s Mesa project continues.  And nothing in state law compels a landowner to annex.

The results of the Report:

- Annexation prior to development

The fiscal impact to the City under this scenario resulted in a negative cash flow the first year after annexation and positive cash flow annually thereafter.  The four-year cumulative surplus to the City totaled $1,412,041.

- Development without annexation

This scenario resulted in a negative fiscal impact to the City during the first three years of project build-out.  By the fourth year, however, the City begins to realize a surplus ($167,249).  This is principally due to required up-front capital expenditures in the initial years to construct a new fire station.  The overall cumulative deficit over the four-year horizon is $2,989,749.

- Annexation after development is complete

This scenario assumes annexation in the fifth year, after build-out of the project is complete.  During the four years of project construction, while the area remains unincorporated, a total deficit impact to the City of $2,989,749 has been created.  After annexation in year five, an annual surplus to the City begins to reduce this deficit.  By year eight, the deficit remains, but is reduced to $2,116,896.

- Annexation without development

This scenario results in a small revenue surplus for all four years with a cumulative surplus of $72,575.  The fourth-year annual surplus dwindles to under $6,000, however, principally due to expected reductions in oil extraction tax revenues.

Although the Council meeting has transpired only a couple days previously, the City did not report that at its February 22, 1999 meeting, two Council members stated their opposition to any annexation agreement and were against any negotiations at all with the Developer.  And as the minutes of that meeting revealed, it was a majority that voted to proceed.

In the notice for the PHC, the Assigned Commissioner directed the City to respond to a question at the PHC.  Although the City’s response was dated February 23, 1999, it was filed March 8, 1999 (after the PHC) in form of a “Supplement to City’s PHC Statement.”  These four questions and a summary of the City’s responses follow:

Question 1.  “Does the City presently desire to itself provide water service or sewer service to the Planned Community?”  While stating that it considered itself to be the most direct supplier, being the closest in proximity and capable of providing a reliable looped service, the City’s response avoided answering the question.  It did not state whether or not it wanted to provide service.  It stated it could not provide service beyond its boundaries without LAFCO approval and that it had to work within defined legal procedures with the Developer, and that the Developer had not applied to annex.

Question 2.  “Does the City presently have surplus water or immediate access to water supplies sufficient to meet the stated requirements of the Planned Community?”  Again, the direct question is not answered.  Instead, the response stated that if annexed, the City would have to provide water service, and sets forth its two basic sources and states that details of supporting infrastructure are expected to be refined during pre-annexation negotiations.

Question 3.  “If the City prefers annexation, is it able to immediately proceed with the annexation formalities to annex the Planned Community?”  The City Council 5-2, on February 22, 1999 authorized discussions with the Developer on a pre-annexation agreement.  But there was no acknowledgement of the existing County-Developer Agreement (the real “sticking point”), rather reference was to provisions of earlier “Bolsa Chica Principles” adopted in 1994 by the Council containing requirements pertaining to lot size, design, height, density, etc.

Question 4.  “If the City is unwilling or unable to annex at this time, but is now willing and able to provide water and sewer services to the Planned Community, and desires to do so, is the City willing to expeditiously negotiate and execute a binding service contract or contracts for provision of water and/or sewer services to the Planned Community?”  The response was that while the City rejected the Developer’s 1997 proposal for extra-territorial service, the City has never said it would not contract under any circumstances, although LAFCO would have to approve.  The response stated that at present it was moving toward an annexation strategy beneficial to both City and Developer.

When the staff returned to the City Council June 28, 1999 with the “deal points” for a mutually acceptable pre-annexation agreement, and recommended approval, the Council rejected the proposal and directed staff to continue negotiations subject to new conditions and modifications of the “deal points.”  The City wanted to be able to voice its objections on the Mesa project to the Coastal Commission at that Commission’s forthcoming LCP hearing and to be free to take any position.

On July 21, 1999, the City requested rescheduling the EH to November 21, 1999, a date after the November 2-5, 1999 period in which the Coastal Commission would perhaps conduct a hearing on the LCP, pursuant to Superior Court’s June 25, 1999 order.

The City stated that an extension would facilitate negotiations between the City and the Developer on a pre-annexation agreement, noting that a majority of the Council indicated approval of a list of 21 “deal points” arrived at between City’s staff and the Developer, but could not support approval until they knew the extent of any Mesa development included in the Coastal Commission approval of an LCP.

The Developer strongly opposed delay in the EH, contending that the pending return of the Developer to the Coastal Commission “to remedy defects in the LCP” has no bearing on the PUC’s consideration of the SCWC applications; that there is no reasonable expectation that the Coastal Commission’s action will change the City’s long-standing unwillingness and unreadiness to provide water and sewer services to the Developer’s project, and that the City’s request is an attempt to inject uncertainty where none exists.  SCWC joined the Developer in opposition to any delay in the EH.

In his denial of the delay request, the ALJ observed that while the Coastal Commission had scheduled a hearing for during the November 2-5, 1999 period, there could be no assurance as to when it would issue a decision after such hearing (and as of February 2000, no decision has resulted).  Furthermore, whether or not the City elects to pursue annexation was not a matter within the purview of the PUC.  Should a City-Developer pre-annexation agreement be reached before a PUC decision, the applications can be withdrawn; and should a CPCN be issued, SCWC can still elect not to exercise it and let the CPCN authorization lapse.  But as the Assigned Commissioner made clear in his April 26, 1999 addendum to his Scoping Memo, it would be the firm intention of this Commission to conclude the application process by April 2000 (within the 18-month provisions for ratemaking cases) to comply with the Legislative intent expressed in Section 1 of Senate Bill 960, Chapter 856 of 1996 statutes.

See Appendix B for SCNC’s sewer rates.

As relevant here, a proposal to annex territory into a city may be initiated by the city affected, the county, or by a property owner.  The Local Agency Formation Commission (LAFCO) decides whether or not the annexation should follow; however, a protest by 50% of the property owners or 50% of the assessed value holders in the annexation area terminates the annexation.  If the city initiates it for environmental purposes it, becomes the lead agency; if the county initiates it, it becomes the lead agency; and if a property owner initiates, LAFCO is the lead agency.

If the City here were to initiate annexation, the County-Hearthside Development Agreement would limit the City, unless the City finds that application would be injurious to the health, safety, and welfare of the City’s residents.  Then the City could exercise its police powers to revise or suspend the Agreement.  Hearthside considers that the City exercising its power to police is a powerful mechanism for regulating development, and ultimately determines whether a project gets built.  If a project gets opposition, as the record here seems to guarantee, the City could delay processing, condition approvals, or ensure that the matter goes before the voters in the City.

Indeed, were the City to provide service to the Mesa project, it states it would have to replace over 2,000 feet of existing water pipes in Lynn and Bolsa Chica Streets.  There also is a stretch of Bolsa Chica Street south of Heil Street recently dug up for an installation.