Page 1
Page 2

	STATE OF CALIFORNIA
	Public Utilities Commission

Fresno

	M e m o r a n d u m



	Date:
	 May 8, 2012

	
	

	To:
	The Commission

(Meeting of May 10, 2012)

	
	
	

	From:
	Lynn Sadler, Director

Office of Governmental Affairs (OGA) — Sacramento

	
	

	Subject:
	SB 594 (Wolk) – Energy: net energy metering.

As amended: March 1, 2012

	



Legislative Subcommittee Recommendation:  SUPPORT WITH TECHNICAL AMENDMENTS
 

SUMMARY OF BILL


SB 594 would allow Net Energy Metering (NEM) customer-generators with multiple meters to aggregate the electrical load of the meters located on the property where the generation facility is located and on all property adjacent or contiguous to the property on which the generation facility is located, if those properties are solely owned by the eligible customer-generator. This will allow a customer to install one renewable energy facility sized to serve their entire aggregated multi-meter on-site load (up to one megawatt) instead of installing separate generators at each meter. This bill would prohibit an eligible customer-generator that chooses to aggregate from receiving net surplus electricity compensation (NSC) and require the electric utility to retain surplus kilowatt-hours generated in a 12-month period.  

SUMMARY OF SUPPORTING ARGUMENTS FOR RECOMMENDATION


This bill expands the NEM program in helpful ways that support the State’s achievement of distributed generation (DG) related policy goals:

(1) NEM meter aggregation across multiple meters allows a customer to install one renewable energy facility sized to offset their entire aggregated multi-meter on-site load (up to one megawatt) instead of installing separate facilities at each meter. This is particularly important for agricultural, commercial, school, and government customers who can have several meters on one property.

(2) Significant obstacles continue to block some customers from efficiently and economically participating in the NEM program. Specifically, customers with multiple meters, such as farmers with separate meters for each of their irrigation pumps and other functions, are currently required to have separate renewable facilities for each meter to utilize NEM. This can be very costly and inefficient.
(3) Aggregation of multiple meters behind larger DG systems will improve the cost-effectiveness of NEM by enabling larger more efficient installations which represent a lower marginal cost to ratepayers.

SUMMARY OF SUGGESTED AMENDMENTS
1. After the sentence:

An eligible customer-generator with multiple meters may elect to aggregate the electrical load of the meters located on the property where the generation facility is located and on all property adjacent or contiguous to the property on which the generation facility is located, if those properties are solely owned by the eligible customer-generator.
Insert the sentence:

Parcels may be divided by a street, highway or public thoroughfare as long as

they are otherwise contiguous, and under the same ownership.

DIVISION ANALYSIS (Energy Division)

1. Offering NEM to more non-residential customer-generators will lower the cost of NEM to ratepayers.

The vast majority of renewable facilities that will take advantage of the multiple meter aggregation opportunity created by this bill will be larger non-residential applications.  On that basis, any modification of the NEM program that incentivizes non-residential projects will result in the NEM program costing ratepayers less on a per project and per kWh basis.  

The CPUC analyzed the net cost of the NEM program to ratepayers in March 2010
, and found that commercial customer-generators cost comparatively less per kWh of exported generation than do residential customer-generators.  The NEM program is currently capped at 5% of utility system peak load (known as the NEM “cap”).
 As of 2008, NEM solar commercial-generators supplied about 56% of the capacity enrolled in the NEM program, but were responsible for just 10% of the total cost of the solar NEM program.  Thus, while the NEM program overall represents a net cost to ratepayers, through this bill, the NEM program is likely to be more frequently subscribed by larger DG resources, which represent a lower marginal cost to ratepayers.

CPUC’s study found that the nature of the customer being served made a difference in the cost borne by ratepayers.  Because of their lower rates, non-residential projects cost non-participating ratepayers substantially less: the levelized net total cost of non-residential NEM facilities averages $0.03 per kWh-exported, compared to an average $0.19 per kWh-exported for residential facilities, as shown in Table 1.
  

Table 1 also summarizes the characteristics of the solar NEM participation and impacts by residential and non-residential-sectors.


· Non-residential NEM facilities represent the majority of the MWs enrolled in the program.  By the end of 2008, 7% of all solar NEM accounts were non-residential, and at the same time, non-residential NEM represented 56% of installed generation capacity.

   

· Non-residential NEM facilities represented a net cost of $2.5 million/year, which was 13% of the total net cost of the NEM program on a per annum basis in 2008.


· The NEM program represented an annual net cost to ratepayers of $19.7 million in 2008, which is equivalent to 0.08% of annual utility revenue. 


Table 1. Net Cost of Net Energy Metering Program (Solar NEM only installed through 2008)

	
	Residential 
	Non-Residential 
	Total

	Number of Solar NEM Projects
	38,380 accounts (93%)
	2,864 accounts  (7%)
	41,244 accounts

	Installed Solar NEM Capacity
	162 MW (44%)
	203 MW (56%)
	365 MW

	20-year Annualized Cost for Solar NEM Installed through 2008

	$17.2 Million (87%)
	$2.5 Million (13%)
	$19.7 Million (0.08% of total utility revenue)

	Levelized ($/kwh-exported) for Solar NEM installed through 2008
	$0.19/ 
kWh-exported
	$0.03/ 
kWh-exported
	Average $0.12/ kWh-exported


2. Facilitating non-residential NEM applications would move California closer to reaching its DG goals and closer to reaching the NEM cap, but those are not reasons to oppose the bill.

As set out in the PU Code, when NEM penetration levels reach 5% of each utility’s aggregate customer peak demand (known as the NEM “cap”)
, the IOUs can stop interconnecting new NEM facilities.   This bill’s expansion of larger non-residential NEM systems is likely to accelerate the advance toward the cap.  However, this also means that California is moving faster toward its DG policy goals, and the reconsideration of the NEM cap will be an inevitable part of the conversation. 

3. The bill maintains alignment between NEM, CSI, and Interconnection rules regarding generators sized up to 1.0 MW. 

The bill does not alter the current structure of the NEM program regarding the 1 MW system size cap and thus maintains alignment between the NEM, CSI, and the CPUC’s Rule 21 interconnection standards for customer-side generators.  Under the CSI program, rebates are offered for up to 1.0 MW of capacity, and capacity above 1.0 MW does not receive an incentive.  Under Rule 21, systems sized up to 1.0 MW on the customer side of the meter are eligible for “Simplified Interconnection,” which is a form of accelerated and less-expensive interconnection.

4. Ratepayers would incur NEM-related costs, in the form of billing credits for T&D services, to a higher degree than otherwise permitted.
Under current rules, NEM is only offered to customer-generators who are using NEM to offset onsite load at a specific meter. It would encourage facilities sized up to 1 MW to serve the aggregated load of multiple meters, but would only offset the load of one meter. The net generation would be exported to the grid.  The other aggregated meters would still consumer energy from the grid, but not be charged for the T&D costs associated with the serving those meters which would be a cost borne by non-NEM customers.

PROGRAM BACKGROUND

NEM is an electricity tariff billing mechanism whose intent is to facilitate the installation of DG by offering retail-rate billing credits for any electricity exported to the grid at times when there is no simultaneous energy demand to utilize the generation onsite.

Under existing complementary state laws, the CPUC oversees a range of policies that support self-generation: 


1. Rebates: Rebates through the California Solar Initiative (CSI) and Self Generation Incentive Program (SGIP).  The CSI program provides rebates for systems up to 1 MW (and allows systems up to 5 MW), with the exception of certain state-owned facilities (per AB 2724, 2010).


2. Simplified Interconnection:  Reduced interconnection costs are available under utility Rule 21 tariffs that exempt self-generation renewable energy systems under 1 MW from most studies and fees.  Rule 21 also offers these systems accelerated interconnection timelines.  Separately, the CPUC exempted renewable self-generation systems from standby charges in 2003. 


3. Net Energy Metering: Per PU Code 2827, NEM customer-generators who take service from IOUs have their net generation valued at the full retail rate at the time the energy is exported.
  AB 920 requires compensation of net surplus generation above annual load.

4. Virtual Net Energy Metering: First established as part of the Multifamily Affordable Solar Housing (MASH) Program
 in D.08-10-036, VNM allows customers to allocate the kilowatt-hour credits from the electricity generated from a single solar energy system on an affordable housing property to multiple customer accounts within that property. VNM was originally limited to MASH customers only, and D.11-07-031, among other directives, expanded both the types of customers and generation technologies eligible for VNM.
Specifically, D.11-07-031 does not limit the expanded VNM to CSI customers. Whereas VNM was previously limited to solar PV technologies, D.11-07-031 now allows all technologies that are eligible for the full retail NEM tariff to participate in VNM. D.11-07-031 also limits the expanded VNM to customers served by a single service delivery point (SDP).
 
LEGISLATIVE HISTORY

1. At least four other bills modifying the NEM program are pending as of this writing in this legislative session: 


· AB 2165 (Hill): Increases the generation-only NEM program cap for eligible fuel cell projects;

· AB 2514 (Bradford): Requires the CPUC to complete a study by June 30, 2013, to determine the extent to which each class of ratepayers receiving service under NEM is paying the full cost of the services provided to them by electrical corporations and the extent to which those customers pay their share of the costs of public purpose programs;

· SB 843 (Wolk): Facilitates a Community-Based Renewable Energy Self-Generation Program with unlimited virtual full retail rate bill credit sharing and RECs owed by interconnecting utility;

· SB 1537 (Kehoe): Prohibits the CPUC from adopting any new demand charges for NEM customers.

2. The NEM statute has been modified numerous times in the past decade.  It was first established in response to AB 656 (1996), and subsequently modified by: AB 1755 (1998), AB 918 (2000), AB X1-29 (2001), SB 1038 (2002), AB 2228 (2003), AB 1214 (2004), AB 920 (2009), AB 510 (2010), and SB 489 (2011).

FISCAL IMPACT

SB 594 would require ongoing costs for 1 PURA V, for a total cost of approximately $120,234.

STATUS:  

SB 594 is pending consideration in the Assembly Utilities and Commerce Committee.

SUPPORT/OPPOSITION
Support 

None on file.

Opposition 

None on file.

STAFF CONTACTS

Lynn Sadler, Director-OGA


(916) 327-3277

ls1@cpuc.ca.gov


Nick Zanjani, Legislative Liaison-OGA
(916) 327-3277

nkz@cpuc.ca.gov


BILL LANGUAGE

BILL NUMBER: SB 594
AMENDED


BILL TEXT


AMENDED IN ASSEMBLY  MARCH 1, 2012


AMENDED IN SENATE  MAY 25, 2011


AMENDED IN SENATE  MAY 11, 2011


AMENDED IN SENATE  APRIL 28, 2011

INTRODUCED BY   Senator Wolk

    (   Coauthor:   Senator  
Blakeslee   ) 
    (   Coauthor:   Assembly Member  
Williams   ) 
                        FEBRUARY 17, 2011

   An act to amend  Sections 101150 and 101160 of, and to add

Sections 101161 and 101162 to, the Health and Safety  
Section 2827 of the Public Utilities  Code, relating to 
public health   energy  .


LEGISLATIVE COUNSEL'S DIGEST

   SB 594, as amended, Wolk.  Local public health

laboratories.   Energy: net energy metering.  
   Existing law relative to private energy producers requires every

electric utility, as defined, to make available to an eligible

customer-generator, as defined, a standard contract or tariff for net

energy metering on a first-come-first-served basis until the time

that the total rated generating capacity used by eligible

customer-generators exceeds 5% of the electric utility's aggregate

customer peak demand. Existing law requires the electric utility,

upon an affirmative election by the eligible customer-generator to

receive service pursuant to this contract or tariff, to either: (1)

provide net surplus electricity compensation for any net surplus

electricity generated in the 12-month period, or (2) allow the

eligible customer-generator to apply the net surplus electricity as a

credit for kilowatthours subsequently supplied by the electric

utility to the surplus customer-generator.  
   This bill would authorize an eligible customer-generator with

multiple meters to elect to aggregate the electrical load of the

meters located on the property where the generation facility is

located and on all property adjacent or contiguous to the property on

which the generation facility is located, if those properties are

solely owned by the eligible customer-generator, as provided. This

bill would prohibit an eligible customer-generator that chooses to

aggregate from receiving net surplus electricity compensation and

require the electric utility to retain kilowatthours, as prescribed.

   Existing law establishes the State Department of Public Health and

sets forth its powers and duties relating to the prevention and

control of disease, including, but not limited to, the duty to

approve local public health laboratories.  
   This bill would recast those provisions to specify the duties of

the local public health laboratories, to require the department to

develop the examination for the certificate of public health

microbiologist for public health laboratories in consultation with

the California Association of Public Health Laboratory Directors, to

require the department to adopt regulations related to training

laboratories and continuing education requirements, and to define

related terms. The bill would authorize the department to charge a

fee as specified for providing, approving, and monitoring the

continuing education program.  
   By requiring local agencies to comply with these certification

requirements, this bill would impose a state-mandated local program.

   The California Constitution requires the state to reimburse local

agencies and school districts for certain costs mandated by the

state. Statutory provisions establish procedures for making that

reimbursement.  
   This bill would provide that, if the Commission on State Mandates

determines that the bill contains costs mandated by the state,

reimbursement for those costs shall be made pursuant to these

statutory provisions. 
   Vote: majority. Appropriation: no. Fiscal committee: yes.

State-mandated local program:  yes   no  .

THE PEOPLE OF THE STATE OF CALIFORNIA DO ENACT AS FOLLOWS:

   SECTION   1.    Section 2827 of the 
   Public Utilities Code   is amended to read:

   2827.  (a) The Legislature finds and declares that a program to

provide net energy metering combined with net surplus compensation,

co-energy metering, and wind energy co-metering for eligible

customer-generators is one way to encourage substantial private

investment in renewable energy resources, stimulate in-state economic

growth, reduce demand for electricity during peak consumption

periods, help stabilize California's energy supply infrastructure,

enhance the continued diversification of California's energy resource

mix, reduce interconnection and administrative costs for electricity

suppliers, and encourage conservation and efficiency.

   (b) As used in this section, the following terms have the

following meanings:

   (1) "Co-energy metering" means a program that is the same in all

other respects as a net energy metering program, except that the

local publicly owned electric utility has elected to apply a

generation-to-generation energy and time-of-use credit formula as

provided in subdivision (i).

   (2) "Electrical cooperative" means an electrical cooperative as

defined in Section 2776.

   (3) "Electric utility" means an electrical corporation, a local

publicly owned electric utility, or an electrical cooperative, or any

other entity, except an electric service provider, that offers

electrical service. This section shall not apply to a local publicly

owned electric utility that serves more than 750,000 customers and

that also conveys water to its customers.

   (4) "Eligible customer-generator" means a residential customer,

small commercial customer as defined in subdivision (h) of Section

331, or commercial, industrial, or agricultural customer of an

electric utility, who uses a renewable electrical generation

facility, or a combination of those facilities, with a total capacity

of not more than one megawatt, that is located on the customer's

owned, leased, or rented premises, and is interconnected and operates

in parallel with the electric grid, and is intended primarily to

offset part or all of the customer's own electrical requirements.

   (5) "Renewable electrical generation facility" means a facility

that generates electricity from a renewable source listed in

paragraph (1) of subdivision (a) of Section 25741 of the Public

Resources Code. A small hydroelectric generation facility is not an

eligible renewable electrical generation facility if it will cause an

adverse impact on instream beneficial uses or cause a change in the

volume or timing of streamflow.

   (6) "Net energy metering" means measuring the difference between

the electricity supplied through the electric grid and the

electricity generated by an eligible customer-generator and fed back

to the electric grid over a 12-month period as described in

subdivisions (c) and (h).

   (7) "Net surplus customer-generator" means an eligible

customer-generator that generates more electricity during a 12-month

period than is supplied by the electric utility to the eligible

customer-generator during the same 12-month period.

   (8) "Net surplus electricity" means all electricity generated by

an eligible customer-generator measured in kilowatthours over a

12-month period that exceeds the amount of electricity consumed by

that eligible customer-generator.

   (9) "Net surplus electricity compensation" means a per

kilowatthour rate offered by the electric utility to the net surplus

customer-generator for net surplus electricity that is set by the

ratemaking authority pursuant to subdivision (h).

   (10) "Ratemaking authority" means, for an electrical corporation,

the commission, for an electrical cooperative, its ratesetting body

selected by its shareholders or members, and for a local publicly

owned electric utility, the local elected body responsible for

setting the rates of the local publicly owned utility.

   (11) "Wind energy co-metering" means any wind energy project

greater than 50 kilowatts, but not exceeding one megawatt, where the

difference between the electricity supplied through the electric grid

and the electricity generated by an eligible customer-generator and

fed back to the electric grid over a 12-month period is as described

in subdivision (h). Wind energy co-metering shall be accomplished

pursuant to Section 2827.8.

   (c) (1) Every electric utility shall develop a standard contract

or tariff providing for net energy metering, and shall make this

standard contract or tariff available to eligible

customer-generators, upon request, on a first-come-first-served basis

until the time that the total rated generating capacity used by

eligible customer-generators exceeds 5 percent of the electric

utility's aggregate customer peak demand. Net energy metering shall

be accomplished using a single meter capable of registering the flow

of electricity in two directions. An additional meter or meters to

monitor the flow of electricity in each direction may be installed

with the consent of the eligible customer-generator, at the expense

of the electric utility, and the additional metering shall be used

only to provide the information necessary to accurately bill or

credit the eligible customer-generator pursuant to subdivision (h),

or to collect generating system performance information for research

purposes relative to a renewable electrical generation facility. If

the existing electrical meter of an eligible customer-generator is

not capable of measuring the flow of electricity in two directions,

the eligible customer-generator shall be responsible for all expenses

involved in purchasing and installing a meter that is able to

measure electricity flow in two directions. If an additional meter or

meters are installed, the net energy metering calculation shall

yield a result identical to that of a single meter. An eligible

customer-generator that is receiving service other than through the

standard contract or tariff may elect to receive service through the

standard contract or tariff until the electric utility reaches the

generation limit set forth in this paragraph. Once the generation

limit is reached, only eligible customer-generators that had

previously elected to receive service pursuant to the standard

contract or tariff have a right to continue to receive service

pursuant to the standard contract or tariff. Eligibility for net

energy metering does not limit an eligible customer-generator's

eligibility for any other rebate, incentive, or credit provided by

the electric utility, or pursuant to any governmental program,

including rebates and incentives provided pursuant to the California

Solar Initiative.

   (2) An electrical corporation shall include a provision in the net

energy metering contract or tariff requiring that any customer with

an existing electrical generating facility and meter who enters into

a new net energy metering contract shall provide an inspection report

to the electrical corporation, unless the electrical generating

facility and meter have been installed or inspected within the

previous three years. The inspection report shall be prepared by a

California licensed contractor who is not the owner or operator of

the facility and meter. A California licensed electrician shall

perform the inspection of the electrical portion of the facility and

meter.

   (3) (A) On an annual basis, every electric utility shall make

available to the ratemaking authority information on the total rated

generating capacity used by eligible customer-generators that are

customers of that provider in the provider's service area and the net

surplus electricity purchased by the electric utility pursuant to

this section.

   (B) An electric service provider operating pursuant to Section 394

shall make available to the ratemaking authority the information

required by this paragraph for each eligible customer-generator that

is their customer for each service area of an electrical corporation,

local publicly owned electrical utility, or electrical cooperative,

in which the eligible customer-generator has net energy metering.

   (C) The ratemaking authority shall develop a process for making

the information required by this paragraph available to electric

utilities, and for using that information to determine when, pursuant

to paragraphs (1) and (4), an electric utility is not obligated to

provide net energy metering to additional eligible

customer-generators in its service area.

   (4) An electric utility is not obligated to provide net energy

metering to additional eligible customer-generators in its service

area when the combined total peak demand of all electricity used by

eligible customer-generators served by all the electric utilities in

that service area furnishing net energy metering to eligible

customer-generators exceeds 5 percent of the aggregate customer peak

demand of those electric utilities.

   (d) Every electric utility shall make all necessary forms and

contracts for net energy metering and net surplus electricity

compensation service available for download from the Internet.

   (e) (1) Every electric utility shall ensure that requests for

establishment of net energy metering and net surplus electricity

compensation are processed in a time period not exceeding that for

similarly situated customers requesting new electric service, but not

to exceed 30 working days from the date it receives a completed

application form for net energy metering service or net surplus

electricity compensation, including a signed interconnection

agreement from an eligible customer-generator and the electric

inspection clearance from the governmental authority having

jurisdiction.

   (2) Every electric utility shall ensure that requests for an

interconnection agreement from an eligible customer-generator are

processed in a time period not to exceed 30 working days from the

date it receives a completed application form from the eligible

customer-generator for an interconnection agreement.

   (3) If an electric utility is unable to process a request within

the allowable timeframe pursuant to paragraph (1) or (2), it shall

notify the eligible customer-generator and the ratemaking authority

of the reason for its inability to process the request and the

expected completion date.

   (f) (1) If a customer participates in direct transactions pursuant

to paragraph (1) of subdivision (b) of Section 365, or Section

365.1, with an electric service provider that does not provide

distribution service for the direct transactions, the electric

utility that provides distribution service for the eligible

customer-generator is not obligated to provide net energy metering or

net surplus electricity compensation to the customer.

   (2) If a customer participates in direct transactions pursuant to

paragraph (1) of subdivision (b) of Section 365 with an electric

service provider, and the customer is an eligible customer-generator,

the electric utility that provides distribution service for the

direct transactions may recover from the customer's electric service

provider the incremental costs of metering and billing service

related to net energy metering and net surplus electricity

compensation in an amount set by the ratemaking authority.

   (g) Except for the time-variant kilowatthour pricing portion of

any tariff adopted by the commission pursuant to paragraph (4) of

subdivision (a) of Section 2851, each net energy metering contract or

tariff shall be identical, with respect to rate structure, all

retail rate components, and any monthly charges, to the contract or

tariff to which the same customer would be assigned if the customer

did not use a renewable electrical generation facility, except that

eligible customer-generators shall not be assessed standby charges on

the electrical generating capacity or the kilowatthour production of

a renewable electrical generation facility. The charges for all

retail rate components for eligible customer-generators shall be

based exclusively on the customer-generator's net kilowatthour

consumption over a 12-month period, without regard to the eligible

customer-generator's choice as to from whom it purchases electricity

that is not self-generated. Any new or additional demand charge,

standby charge, customer charge, minimum monthly charge,

interconnection charge, or any other charge that would increase an

eligible customer-generator's costs beyond those of other customers

who are not eligible customer-generators in the rate class to which

the eligible customer-generator would otherwise be assigned if the

customer did not own, lease, rent, or otherwise operate a renewable

electrical generation facility is contrary to the intent of this

section, and shall not form a part of net energy metering contracts

or tariffs.

   (h) For eligible customer-generators, the net energy metering

calculation shall be made by measuring the difference between the

electricity supplied to the eligible customer-generator and the

electricity generated by the eligible customer-generator and fed back

to the electric grid over a 12-month period. The following rules

shall apply to the annualized net metering calculation:

   (1) The eligible residential or small commercial

customer-generator, at the end of each 12-month period following the

date of final interconnection of the eligible customer-generator's

system with an electric utility, and at each anniversary date

thereafter shall, be billed for electricity used during that 12-month

period. The electric utility shall determine if the eligible

residential or small commercial customer-generator was a net consumer

or a net surplus customer-generator during that period.

   (2) At the end of each 12-month period, where the electricity

supplied during the period by the electric utility exceeds the

electricity generated by the eligible residential or small commercial

customer-generator during that same period, the eligible residential

or small commercial customer-generator is a net electricity consumer

and the electric utility shall be owed compensation for the eligible

customer-generator's net kilowatthour consumption over that 12-month

period. The compensation owed for the eligible residential or small

commercial customer-generator's consumption shall be calculated as

follows:

   (A) For all eligible customer-generators taking service under

contracts or tariffs employing "baseline" and "over baseline" rates,

any net monthly consumption of electricity shall be calculated

according to the terms of the contract or tariff to which the same

customer would be assigned to, or be eligible for, if the customer

was not an eligible customer-generator. If those same

customer-generators are net generators over a billing period, the net

kilowatthours generated shall be valued at the same price per

kilowatthour as the electric utility would charge for the baseline

quantity of electricity during that billing period, and if the number

of kilowatthours generated exceeds the baseline quantity, the excess

shall be valued at the same price per kilowatthour as the electric

utility would charge for electricity over the baseline quantity

during that billing period.

   (B) For all eligible customer-generators taking service under

contracts or tariffs employing time-of-use rates, any net monthly

consumption of electricity shall be calculated according to the terms

of the contract or tariff to which the same customer would be

assigned, or be eligible for, if the customer was not an eligible

customer-generator. When those same customer-generators are net

generators during any discrete time-of-use period, the net

kilowatthours produced shall be valued at the same price per

kilowatthour as the electric utility would charge for retail

kilowatthour sales during that same time-of-use period. If the

eligible customer-generator's time-of-use electrical meter is unable

to measure the flow of electricity in two directions, paragraph (1)

of subdivision (c) shall apply.

   (C) For all eligible residential and small commercial

customer-generators and for each billing period, the net balance of

moneys owed to the electric utility for net consumption of

electricity or credits owed to the eligible customer-generator for

net generation of electricity shall be carried forward as a monetary

value until the end of each 12-month period. For all eligible

commercial, industrial, and agricultural customer-generators, the net

balance of moneys owed shall be paid in accordance with the electric

utility's normal billing cycle, except that if the eligible

commercial, industrial, or agricultural customer-generator is a net

electricity producer over a normal billing cycle, any excess

kilowatthours generated during the billing cycle shall be carried

over to the following billing period as a monetary value, calculated

according to the procedures set forth in this section, and appear as

a credit on the eligible commercial, industrial, or agricultural

customer-generator's account, until the end of the annual period when

paragraph (3) shall apply.

   (3) At the end of each 12-month period, where the electricity

generated by the eligible customer-generator during the 12-month

period exceeds the electricity supplied by the electric utility

during that same period, the eligible customer-generator is a net

surplus customer-generator and the electric utility, upon an

affirmative election by the net surplus customer-generator, shall

either (A) provide net surplus electricity compensation for any net

surplus electricity generated during the prior 12-month period, or

(B) allow the net surplus customer-generator to apply the net surplus

electricity as a credit for kilowatthours subsequently supplied by

the electric utility to the net surplus customer-generator. For an

eligible customer-generator that does not affirmatively elect to

receive service pursuant to net surplus electricity compensation, the

electric utility shall retain any excess kilowatthours generated

during the prior 12-month period. The eligible customer-generator not

affirmatively electing to receive service pursuant to net surplus

electricity compensation shall not be owed any compensation for the

net surplus electricity unless the electric utility enters into a

purchase agreement with the eligible customer-generator for those

excess kilowatthours. Every electric utility shall provide notice to

eligible customer-generators that they are eligible to receive net

surplus electricity compensation for net surplus electricity, that

they must elect to receive net surplus electricity compensation, and

that the 12-month period commences when the electric utility receives

the eligible customer-generator's election. For an electric utility

that is an electrical corporation or electrical cooperative, the

commission may adopt requirements for providing notice and the manner

by which eligible customer-generators may elect to receive net

surplus electricity compensation. 
   (4) (A) An eligible customer-generator with multiple meters may

elect to aggregate the electrical load of the meters located on the

property where the generation facility is located and on all property

adjacent or contiguous to the property on which the generation

facility is located, if those properties are solely owned by the

eligible customer-generator. If the eligible customer-generator

elects to aggregate the electric load pursuant to this paragraph, the

electric utility shall use the aggregated load for the purpose of

determining whether an eligible customer-generator is a net consumer

or a net surplus customer-generator during a 12-month period.

   (B) If an eligible customer-generator chooses to aggregate

pursuant to subparagraph (A), the eligible customer-generator shall

be permanently ineligible to receive net surplus electricity

compensation, and the electric utility shall retain any kilowatthours

in excess of the eligible customer-generator's aggregated electrical

load generated during the 12-month period.  
   (4) 
   (5)  (A) The ratemaking authority shall establish a net

surplus electricity compensation valuation to compensate the net

surplus customer-generator for the value of net surplus electricity

generated by the net surplus customer-generator. The commission shall

establish the valuation in a ratemaking proceeding. The ratemaking

authority for a local publicly owned electric utility shall establish

the valuation in a public proceeding. The net surplus electricity

compensation valuation shall be established so as to provide the net

surplus customer-generator just and reasonable compensation for the

value of net surplus electricity, while leaving other ratepayers

unaffected. The ratemaking authority shall determine whether the

compensation will include, where appropriate justification exists,

either or both of the following components:

   (i) The value of the electricity itself.

   (ii) The value of the renewable attributes of the electricity.

   (B) In establishing the rate pursuant to subparagraph (A), the

ratemaking authority shall ensure that the rate does not result in a

shifting of costs between eligible customer-generators and other

bundled service customers. 
   (5) 
    (6)  (A) Upon adoption of the net surplus electricity

compensation rate by the ratemaking authority, any renewable energy

credit, as defined in Section 399.12, for net surplus electricity

purchased by the electric utility shall belong to the electric

utility. Any renewable energy credit associated with electricity

generated by the eligible customer-generator that is utilized by the

eligible customer-generator shall remain the property of the eligible

customer-generator.

   (B) Upon adoption of the net surplus electricity compensation rate

by the ratemaking authority, the net surplus electricity purchased

by the electric utility shall count toward the electric utility's

renewables portfolio standard annual procurement targets for the

purposes of paragraph (1) of subdivision (b) of Section 399.15, or

for a local publicly owned electric utility, the renewables portfolio

standard annual procurement targets established pursuant to Section

387. 
   (6) 
    (7)  The electric utility shall provide every eligible

residential or small commercial customer-generator with net

electricity consumption and net surplus electricity generation

information with each regular bill. That information shall include

the current monetary balance owed the electric utility for net

electricity consumed, or the net surplus electricity generated, since

the last 12-month period ended. Notwithstanding this subdivision, an

electric utility shall permit that customer to pay monthly for net

energy consumed. 
   (7) 
    (8)  If an eligible residential or small commercial

customer-generator terminates the customer relationship with the

electric utility, the electric utility shall reconcile the eligible

customer-generator's consumption and production of electricity during

any part of a 12-month period following the last reconciliation,

according to the requirements set forth in this subdivision, except

that those requirements shall apply only to the months since the most

recent 12-month bill. 
   (8) 
    (9)  If an electric service provider or electric utility

providing net energy metering to a residential or small commercial

customer-generator ceases providing that electric service to that

customer during any 12-month period, and the customer-generator

enters into a new net energy metering contract or tariff with a new

electric service provider or electric utility, the 12-month period,

with respect to that new electric service provider or electric

utility, shall commence on the date on which the new electric service

provider or electric utility first supplies electric service to the

customer-generator.

   (i) Notwithstanding any other provisions of this section,

paragraphs (1), (2), and (3) shall apply to an eligible

customer-generator with a capacity of more than 10 kilowatts, but not

exceeding one megawatt, that receives electric service from a local

publicly owned electric utility that has elected to utilize a

co-energy metering program unless the local publicly owned electric

utility chooses to provide service for eligible customer-generators

with a capacity of more than 10 kilowatts in accordance with

subdivisions (g) and (h):

   (1) The eligible customer-generator shall be required to utilize a

meter, or multiple meters, capable of separately measuring

electricity flow in both directions. All meters shall provide

time-of-use measurements of electricity flow, and the customer shall

take service on a time-of-use rate schedule. If the existing meter of

the eligible customer-generator is not a time-of-use meter or is not

capable of measuring total flow of electricity in both directions,

the eligible customer-generator shall be responsible for all expenses

involved in purchasing and installing a meter that is both

time-of-use and able to measure total electricity flow in both

directions. This subdivision shall not restrict the ability of an

eligible customer-generator to utilize any economic incentives

provided by a governmental agency or an electric utility to reduce

its costs for purchasing and installing a time-of-use meter.

   (2) The consumption of electricity from the local publicly owned

electric utility shall result in a cost to the eligible

customer-generator to be priced in accordance with the standard rate

charged to the eligible customer-generator in accordance with the

rate structure to which the customer would be assigned if the

customer did not use a renewable electrical generation facility. The

generation of electricity provided to the local publicly owned

electric utility shall result in a credit to the eligible

customer-generator and shall be priced in accordance with the

generation component, established under the applicable structure to

which the customer would be assigned if the customer did not use a

renewable electrical generation facility.

   (3) All costs and credits shall be shown on the eligible

customer-generator's bill for each billing period. In any months in

which the eligible customer-generator has been a net consumer of

electricity calculated on the basis of value determined pursuant to

paragraph (2), the customer-generator shall owe to the local publicly

owned electric utility the balance of electricity costs and credits

during that billing period. In any billing period in which the

eligible customer-generator has been a net producer of electricity

calculated on the basis of value determined pursuant to paragraph

(2), the local publicly owned electric utility shall owe to the

eligible customer-generator the balance of electricity costs and

                                            credits during that

billing period. Any net credit to the eligible customer-generator of

electricity costs may be carried forward to subsequent billing

periods, provided that a local publicly owned electric utility may

choose to carry the credit over as a kilowatthour credit consistent

with the provisions of any applicable contract or tariff, including

any differences attributable to the time of generation of the

electricity. At the end of each 12-month period, the local publicly

owned electric utility may reduce any net credit due to the eligible

customer-generator to zero.

   (j) A renewable electrical generation facility used by an eligible

customer-generator shall meet all applicable safety and performance

standards established by the National Electrical Code, the Institute

of Electrical and Electronics Engineers, and accredited testing

laboratories, including Underwriters Laboratories Incorporated and,

where applicable, rules of the commission regarding safety and

reliability. A customer-generator whose renewable electrical

generation facility meets those standards and rules shall not be

required to install additional controls, perform or pay for

additional tests, or purchase additional liability insurance.

   (k) If the commission determines that there are cost or revenue

obligations for an electrical corporation that may not be recovered

from customer-generators acting pursuant to this section, those

obligations shall remain within the customer class from which any

shortfall occurred and shall not be shifted to any other customer

class. Net energy metering and co-energy metering customers shall not

be exempt from the public goods charges imposed pursuant to Article

7 (commencing with Section 381), Article 8 (commencing with Section

385), or Article 15 (commencing with Section 399) of Chapter 2.3 of

Part 1.

   (l) A net energy metering, co-energy metering, or wind energy

co-metering customer shall reimburse the Department of Water

Resources for all charges that would otherwise be imposed on the

customer by the commission to recover bond-related costs pursuant to

an agreement between the commission and the Department of Water

Resources pursuant to Section 80110 of the Water Code, as well as the

costs of the department equal to the share of the department's

estimated net unavoidable power purchase contract costs attributable

to the customer. The commission shall incorporate the determination

into an existing proceeding before the commission, and shall ensure

that the charges are nonbypassable. Until the commission has made a

determination regarding the nonbypassable charges, net energy

metering, co-energy metering, and wind energy co-metering shall

continue under the same rules, procedures, terms, and conditions as

were applicable on December 31, 2002.

   (m) In implementing the requirements of subdivisions (k) and (

 l  ), an eligible customer-generator shall not be required

to replace its existing meter except as set forth in paragraph (1) of

subdivision (c), nor shall the electric utility require additional

measurement of usage beyond that which is necessary for customers in

the same rate class as the eligible customer-generator.

   (n) It is the intent of the Legislature that the Treasurer

incorporate net energy metering, including net surplus electricity

compensation, co-energy metering, and wind energy co-metering

projects undertaken pursuant to this section as sustainable building

methods or distributive energy technologies for purposes of

evaluating low-income housing projects. 
  SECTION 1.    Section 101150 of the Health and

Safety Code is amended to read:

   101150.  (a) For the purpose of protecting the community and the

public health, the local health department of a city or county shall

have available the services of a public health laboratory for the

examination of specimens from suspected cases of infectious and

environmental diseases, that may include, but need not be limited to,

the examination of specimens from milk, milk products, waters, food

products, vectors, and the environment.

   (b) The public health laboratory shall provide the analyses

required to assist in community disease surveillance and to meet the

responsibilities and support the programs of the local health

department.

   (c) In matters concerning the public's health, the public health

laboratory director shall be responsible to the local health officer

whose duty it is to enforce the law in accordance with Section

101030, 101375, 101460, or 101470. This subdivision does not preclude

the local health department from requiring the public health

laboratory director to be administratively responsible to other local

health department personnel.

   (d) After consulting with the health officer, a local health

department may contract with any official city or county public

health laboratory or with the laboratories of the State Department of

Public Health to provide the services required by this chapter.

   (e) The laboratories of the State Department of Public Health are

hereby designated as the public health laboratory for all local

health department jurisdictions that do not otherwise have access to

local public health laboratory service.  
  SEC. 2.    Section 101160 of the Health and Safety

Code is amended to read:

   101160.  (a)  Any city or county public health laboratory

established for the purposes set forth in this chapter and its

personnel shall be certified by the State Department of Public Health

to be in compliance with state and federal statutory or regulatory

requirements pertaining to municipal and county public health

laboratories and public health laboratory personnel pursuant to

applicable provisions of Title 17 of the California Code of

Regulations, including, but not limited to, Sections 1076, 1078, and

1079, and in compliance with the requirements of CLIA.

   (b) For purposes of this article, the following terms have the

following meanings:

   (1) "CLIA" means the federal Clinical Laboratory Improvement

Amendments of 1988 (42 U.S.C. Sec. 263a; Public Law 100-578) and the

regulations adopted thereunder by the federal Health Care Financing

Administration and effective on January 1, 1994, or any later date,

when adopted in California pursuant to subdivision (b) of Section

1208 of the Business and Professions Code.

   (2) "Public health laboratory director" means a person who meets

the CLIA requirements for laboratory director and who is qualified by

the State Department of Public Health to direct a public health

laboratory certified under this article and pursuant to applicable

provisions of Title 17 of the California Code of Regulations,

including, but not limited to, Section 1302.

   (3) "Public health microbiologist" means a person who meets the

CLIA requirements for testing personnel and who is authorized to

perform laboratory tests or analyses pursuant to a certificate issued

under this article and applicable provisions of Title 17 of the

California Code of Regulations, including, but not limited to,

Section 1079.

   (4) "Public health microbiologist-trainee" means a person meeting

the academic qualifications and approved by the State Department of

Public Health to train in an approved public health laboratory

leading to examination and certification as a public health

microbiologist under this article and pursuant to applicable

provisions of Title 17 of the California Code of Regulations,

including, but not limited to, Section 1080.  
  SEC. 3.    Section 101161 is added to the Health

and Safety Code, to read:

   101161.  The examination developed pursuant to Section 1079(c) of

Title 17 of the California Code of Regulations shall be developed in

consultation with the California Association of Public Health

Laboratory Directors.  
  SEC. 4.    Section 101162 is added to the Health

and Safety Code, to read:

   101162.  The State Department of Public Health, by January 1,

2014, shall adopt regulations, in consultation with the California

Association of Public Health Laboratory Directors, to do all of the

following:

   (a) Establish minimum requirements for training laboratories that

train public health microbiologist-trainees.

   (b) Approve of and monitor a program of continuing education for

public health microbiologists certified pursuant to this article.

   (c) (1) Require a maximum of 12 hours of continuing education

completed within a 12-month period, or 24 hours of continuing

education completed within a 24-month period, as a condition for

renewal of a certificate issued under this article.

   (2) The department may charge public health microbiologists a fee,

not exceeding the reasonable amount necessary to cover the costs of

providing, approving, and monitoring the continuing education

program, as applicable. No fee shall be imposed on a public health

laboratory, or county or city health department, for approving or

renewing any certificate or maintaining the continuing education

program pursuant to this article.  
  SEC. 5.    If the Commission on State Mandates

determines that this act contains costs mandated by the state,

reimbursement to local agencies and school districts for those costs

shall be made pursuant to Part 7 (commencing with Section 17500) of

Division 4 of Title 2 of the Government Code. 
� Net Energy Metering Cost-Effectiveness Evaluation (“NEM Cost-Effectiveness Evaluation”) (March 2010). � HYPERLINK "http://www.cpuc.ca.gov/PUC/energy/DistGen/nem_eval.htm" �http://www.cpuc.ca.gov/PUC/energy/DistGen/nem_eval.htm�.  A summary of the key findings is attached as Appendix A.�


� The statutory definition of the NEM cap is the point where “total rated generating capacity used by eligible [NEM] customer-generators exceeds 5 percent of the electric utility's aggregate customer peak demand.”  PU Code 2827(c)(1). �


� NEM Cost-Effectiveness Evaluation, p. 11.  


� Id., pp. 15-16.


� The 20-year annualized cost considers the net (or sum) of the bill impacts (the bill savings of a NEM customer), the billing cost (the utility’s cost to bill a customer), and the avoided costs (the amount of energy the utility did not have to buy).  See id., p. 47.


� The statutory definition of the NEM cap is the point where “total rated generating capacity used by eligible [NEM] customer-generators exceeds 5 percent of the electric utility's aggregate customer peak demand.”  PU Code 2827(c)(1). �


� PU Code 2827(h)(2)(B).


� The MASH Program is a component of the CSI Program that provides incentives to multifamily affordable housing residences.


� Multifamily Affordable Solar Housing (MASH) participants remain the exception to the single SDP limitation in VNM.





581513


