
June 6, 2003

Wesley Franklin - Executive Director

California Public Utilities Commission

505 Van Ness Avenue, Room 5222

San Francisco, California  94102-3298

RE:
PacifiCorp’s (U901-E) Plan for Inspections, Record Keeping, and Reporting

D.97-03-070


I.95-02-015/R.96-11-004

As required by California D.97-03-070, Appendix A, dated March 31, 1997, PacifiCorp provides six copies of the attached Plan for Inspections, Record Keeping, and Reporting.  In addition, an electronic copy has been e-mailed to Wade McCartney @ WSM@cpuc.ca.gov.

Should you have any questions regarding this report, please contact Jack Vranish, Asset Programs Director, at (503) 813-6885.

Respectfully submitted on behalf of PacifiCorp.

By:
Paul Capell

Director, Asset Performance

825 NE Multnomah

Portland, Oregon 97201

Phone (503) 813-5334

FAX (503) 813-6893

Enclosure

c:
Wade McCartney, Energy Division, via email

Brian Schumacher, Energy Division  

bc:
J. Payne, C. Omohundro - 800 LCT 

A. Nelson, C. Rockney - Portland Business Center

BEFORE THE PUBLIC UTILITES COMMISSION 

OF THE STATE OF CALIFORNIA

Commission Order Instituting Investigation
)

into the rates, charges, services, and

)
I.95-02-015

practices of Pacific Gas and Electric

)
(Filed February 22, 1995)

Company.  (U 39 M)



)


____________________________________

Order Instituting Rulemaking for electric
)
R.96-11-004

distribution facility standard setting.

)
(Filed November 8, 1996)


PACIFICORP’S (U901-E) IMPLEMENTATION PLAN FOR INSPECTIONS

USING INDICES SET FORTH IN APPENDIX A OF D.97-03-070

FOR CALENDAR YEAR 2002

PacifiCorp

Inspection and Maintenance Programs

California 2002

The attached sheets demonstrate the status of 2002 Inspections, Conditions found and Corrections in the state of California for PacifiCorp owned facilities.  PacifiCorp has four districts in California: Tulelake, Alturas, Crescent City and Yreka/Mt. Shasta.

Inspections

Inspections of poles and equipment were completed in 2002 for Urban & Rural Patrol, Detail and Intrusive inspection types.  The information includes the type of equipment, the plan for each inspection category and the actuals of the inspection plan.

Conditions

Conditions found by the inspections were rated as either A or B priority, with A priority requiring more immediate action than B priority conditions.  All A priority conditions will be completed as soon as possible but in no case later than 12/31/2003.  The B priority conditions found in 2002 will be corrected by 12/31/2003.  

The report outlines the following requirements aggregated by district: 

· number of conditions found in 2002; 

· number of conditions corrected as of December 31, 2002; 

· number of conditions outstanding as of December 31, 2002; 

· the final date outstanding conditions will be corrected by. 

Dated in Portland, Oregon this 6th day of June 2003.


Respectfully Submitted,

Paul Capell

Director, Asset Performance

825 NE Multnomah

Portland, Oregon 97201

Phone (503) 813-5334

FAX (503) 813-689

